## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
13/01/2024 08:00 | 1865.98 | 1896.594 | 1833.836
13/01/2024 08:30 | 1867.412 | 1905.967 | 1828.857 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
13/01/2024 09:00 | 1896.451 | 1942.856 | 1850.046 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
13/01/2024 09:30 | 1941.04 | 1995.957 | 1886.124 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
13/01/2024 10:00 | 1998.741 | 2062.931 | 1934.551 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
13/01/2024 10:30 | 2056.237 | 2128.099 | 1984.375 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
13/01/2024 11:00 | 2128.83 | 2205.086 | 2052.573 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
13/01/2024 11:30 | 2216.16 | 2297.853 | 2134.467 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
13/01/2024 12:00 | 2322.532 | 2410.564 | 2234.499 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
13/01/2024 12:30 | 2433.434 | 2528.204 | 2338.663 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
13/01/2024 13:00 | 2557.08 | 2659.33 | 2454.831 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
13/01/2024 13:30 | 2692.811 | 2803.293 | 2582.33
13/01/2024 14:00 | 2843.186 | 2957.438 | 2723.573 | Summary view - for each schedule horizon (dispatch, week-ahead)
13/01/2024 14:30 | 3005.245 | 3130.017 | 2875.685
13/01/2024 15:00 | 3166.199 | 3302.922 | 3026.402 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
13/01/2024 15:30 | 3356.262 | 3503.003 | 3204.579 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
13/01/2024 16:00 | 3518.417 | 3675.729 | 3350.85 | Scenario | Violations
13/01/2024 16:30 | 3632.023 | 3799.75 | 3456.686 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
13/01/2024 17:00 | 3692.868 | 3866.555 | 3510.123 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
13/01/2024 17:30 | 3715.512 | 3894.685 | 3528.285 | Reference Scenario | 0 | 0 | 2 | 2 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0
13/01/2024 18:00 | 3685.402 | 3867.922 | 3496.73 | High Demand Scenario | 0 | 0 | 1 | 1 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0
13/01/2024 18:30 | 3616.29 | 3798.972 | 3429.136 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
13/01/2024 19:00 | 3550.391 | 3731.657 | 3366.916
13/01/2024 19:30 | 3493.13 | 3673.534 | 3312.725 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
13/01/2024 20:00 | 3395.821 | 3572.094 | 3219.547
13/01/2024 20:30 | 3279.559 | 3450.661 | 3108.458 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
13/01/2024 21:00 | 3153.049 | 3318.381 | 2987.718 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
13/01/2024 21:30 | 3019.906 | 3179.051 | 2860.76 |  |  |  | 16/01/2024 17:30 | 16/01/2024 17:30 |  |  | 13/01/2024 08:00 | [7 empty] | 15/01/2024 17:30 | 15/01/2024 17:30 |  |  | 13/01/2024 08:00 | [11 empty] | 13/01/2024 08:00
13/01/2024 22:00 | 2888.089 | 3041.049 | 2735.13 |  |  |  | 16/01/2024 18:00 | 16/01/2024 18:00 |  |  | 13/01/2024 08:30 | [11 empty] | 13/01/2024 08:30 | [11 empty] | 13/01/2024 08:30
13/01/2024 22:30 | 2762.36 | 2909.388 | 2615.333 | [7 empty] | 13/01/2024 09:00 | [11 empty] | 13/01/2024 09:00 | [11 empty] | 13/01/2024 09:00
13/01/2024 23:00 | 2655.095 | 2797.113 | 2513.078 | [7 empty] | 13/01/2024 09:30 | [11 empty] | 13/01/2024 09:30 | [11 empty] | 13/01/2024 09:30
13/01/2024 23:30 | 2564.499 | 2702.346 | 2426.653 | [19 empty] | 16/01/2024 17:30 | [11 empty] | 13/01/2024 10:00
14/01/2024 00:00 | 2483.771 | 2617.932 | 2349.609 | [19 empty] | 16/01/2024 18:00
14/01/2024 00:30 | 2418.016 | 2549.263 | 2286.77 | [19 empty] | 19/01/2024 11:00
14/01/2024 01:00 | 2365.164 | 2494.164 | 2236.164 | [19 empty] | 19/01/2024 11:30
14/01/2024 01:30 | 2314.679 | 2441.535 | 2187.823 | [19 empty] | 19/01/2024 12:00
14/01/2024 02:00 | 2274.298 | 2399.54 | 2149.056 | [19 empty] | 19/01/2024 12:30
14/01/2024 02:30 | 2240.806 | 2364.793 | 2116.819 | [19 empty] | 19/01/2024 13:00
14/01/2024 03:00 | 2212.876 | 2335.901 | 2089.852
14/01/2024 03:30 | 2193.735 | 2316.274 | 2071.197
14/01/2024 04:00 | 2174.665 | 2296.71 | 2052.619
14/01/2024 04:30 | 2138.112 | 2258.668 | 2017.555
14/01/2024 05:00 | 2106.141 | 2225.449 | 1986.832
14/01/2024 05:30 | 2090.369 | 2209.335 | 1971.403
14/01/2024 06:00 | 2064.908 | 2182.968 | 1946.847
14/01/2024 06:30 | 2070.938 | 2189.835 | 1952.04
14/01/2024 07:00 | 2085.66 | 2205.792 | 1965.528
14/01/2024 07:30 | 2077.067 | 2197.1 | 1957.033
14/01/2024 08:00 | 2081.583 | 2202.275 | 1960.891
14/01/2024 08:30 | 2113.109 | 2236.033 | 1990.185
14/01/2024 09:00 | 2174.168 | 2301.059 | 2047.276
14/01/2024 09:30 | 2278.942 | 2412.384 | 2145.501
14/01/2024 10:00 | 2386.921 | 2527.141 | 2246.7
14/01/2024 10:30 | 2480.708 | 2626.912 | 2334.504
14/01/2024 11:00 | 2594.579 | 2747.99 | 2441.168
14/01/2024 11:30 | 2710.895 | 2871.701 | 2550.089
14/01/2024 12:00 | 2817.712 | 2985.394 | 2650.031
14/01/2024 12:30 | 2930.231 | 3105.167 | 2755.294
14/01/2024 13:00 | 3020.896 | 3201.822 | 2839.969
14/01/2024 13:30 | 3167.213 | 3357.508 | 2976.918
14/01/2024 14:00 | 3306.618 | 3505.921 | 3107.316
14/01/2024 14:30 | 3433.549 | 3641.158 | 3225.94
14/01/2024 15:00 | 3529.508 | 3743.594 | 3315.422
14/01/2024 15:30 | 3632.918 | 3853.97 | 3411.866
14/01/2024 16:00 | 3742.493 | 3970.928 | 3514.058
14/01/2024 16:30 | 3832.943 | 4067.631 | 3598.255
14/01/2024 17:00 | 3886.935 | 4125.671 | 3648.198
14/01/2024 17:30 | 3886.309 | 4123.726 | 3646.868
14/01/2024 18:00 | 3832.028 | 4067.002 | 3595.199
14/01/2024 18:30 | 3745.738 | 3976.191 | 3513.526
14/01/2024 19:00 | 3666.383 | 3892.71 | 3439.559
14/01/2024 19:30 | 3595.76 | 3818.524 | 3372.714
14/01/2024 20:00 | 3482.519 | 3698.953 | 3265.85
14/01/2024 20:30 | 3346.958 | 3555.588 | 3138.068
14/01/2024 21:00 | 3202.193 | 3402.543 | 3001.842
14/01/2024 21:30 | 3053.97 | 3245.63 | 2862.31
14/01/2024 22:00 | 2904.949 | 3087.812 | 2722.086
14/01/2024 22:30 | 2774.774 | 2949.973 | 2599.575
14/01/2024 23:00 | 2667.995 | 2836.961 | 2499.028
14/01/2024 23:30 | 2572.863 | 2731.141 | 2414.585
15/01/2024 00:00 | 2483.724 | 2627.114 | 2340.335
15/01/2024 00:30 | 2413.483 | 2554.038 | 2272.928
15/01/2024 01:00 | 2362.285 | 2500.248 | 2224.322
15/01/2024 01:30 | 2321.296 | 2457.249 | 2185.344
15/01/2024 02:00 | 2290.123 | 2424.627 | 2155.618
15/01/2024 02:30 | 2264.058 | 2397.406 | 2130.71
15/01/2024 03:00 | 2243.5 | 2376.007 | 2110.992
15/01/2024 03:30 | 2239.589 | 2372.235 | 2106.943
15/01/2024 04:00 | 2248.833 | 2382.397 | 2115.268
15/01/2024 04:30 | 2263.784 | 2398.611 | 2128.958
15/01/2024 05:00 | 2296.734 | 2433.902 | 2159.566
15/01/2024 05:30 | 2340.506 | 2480.676 | 2200.337
15/01/2024 06:00 | 2374.812 | 2517.427 | 2232.196
15/01/2024 06:30 | 2399.476 | 2543.969 | 2254.983
15/01/2024 07:00 | 2409.631 | 2554.917 | 2264.129
15/01/2024 07:30 | 2424.858 | 2571.547 | 2277.99
15/01/2024 08:00 | 2458.314 | 2607.642 | 2308.874
15/01/2024 08:30 | 2492.686 | 2644.659 | 2340.523
15/01/2024 09:00 | 2558.072 | 2714.693 | 2401.45
15/01/2024 09:30 | 2628.425 | 2789.928 | 2466.922
15/01/2024 10:00 | 2682.747 | 2848.175 | 2517.32
15/01/2024 10:30 | 2744.102 | 2913.912 | 2574.292
15/01/2024 11:00 | 2838.266 | 3014.523 | 2662.009
15/01/2024 11:30 | 2911.945 | 3093.414 | 2730.476
15/01/2024 12:00 | 2956.669 | 3141.571 | 2771.767
15/01/2024 12:30 | 3033.724 | 3224.108 | 2843.34
15/01/2024 13:00 | 3119.61 | 3316.065 | 2923.155
15/01/2024 13:30 | 3196.82 | 3398.836 | 2994.804
15/01/2024 14:00 | 3264.256 | 3471.246 | 3057.265
15/01/2024 14:30 | 3378.28 | 3593.239 | 3163.321
15/01/2024 15:00 | 3454.685 | 3675.261 | 3234.109
15/01/2024 15:30 | 3557.956 | 3785.902 | 3330.009
15/01/2024 16:00 | 3671.873 | 3907.919 | 3435.825
15/01/2024 16:30 | 3760.71 | 4003.29 | 3518.131
15/01/2024 17:00 | 3824.76 | 4072.307 | 3577.213
15/01/2024 17:30 | 3816.17 | 4063.995 | 3568.346
15/01/2024 18:00 | 3741.924 | 3985.744 | 3498.103
15/01/2024 18:30 | 3644.213 | 3882.463 | 3405.963
15/01/2024 19:00 | 3541.06 | 3773.34 | 3308.78
15/01/2024 19:30 | 3462.143 | 3690.003 | 3234.284
15/01/2024 20:00 | 3342.211 | 3562.907 | 3121.514
15/01/2024 20:30 | 3200.012 | 3412.018 | 2988.007
15/01/2024 21:00 | 3050.238 | 3252.988 | 2847.489
15/01/2024 21:30 | 2902.95 | 3096.544 | 2709.357
15/01/2024 22:00 | 2761.005 | 2945.736 | 2576.274
15/01/2024 22:30 | 2647.016 | 2824.698 | 2469.334
15/01/2024 23:00 | 2559.376 | 2731.735 | 2387.018
15/01/2024 23:30 | 2488.307 | 2656.424 | 2320.191
16/01/2024 00:00 | 2423.02 | 2587.255 | 2258.785
16/01/2024 00:30 | 2370.525 | 2531.72 | 2209.331
16/01/2024 01:00 | 2334.693 | 2493.961 | 2175.425
16/01/2024 01:30 | 2292.272 | 2449.146 | 2135.397
16/01/2024 02:00 | 2260.43 | 2415.619 | 2105.24
16/01/2024 02:30 | 2236.083 | 2390.09 | 2082.076
16/01/2024 03:00 | 2214.85 | 2367.878 | 2061.822
16/01/2024 03:30 | 2208.833 | 2361.928 | 2055.739
16/01/2024 04:00 | 2215.469 | 2369.508 | 2061.43
16/01/2024 04:30 | 2228.095 | 2383.498 | 2072.691
16/01/2024 05:00 | 2263.766 | 2422.152 | 2105.379
16/01/2024 05:30 | 2322.36 | 2485.353 | 2159.367
16/01/2024 06:00 | 2376.234 | 2543.527 | 2208.94
16/01/2024 06:30 | 2420.021 | 2590.925 | 2249.116
16/01/2024 07:00 | 2450.993 | 2624.621 | 2277.365
16/01/2024 07:30 | 2470.007 | 2645.521 | 2294.493
16/01/2024 08:00 | 2508.093 | 2686.861 | 2329.324
16/01/2024 08:30 | 2554.793 | 2737.449 | 2372.138
16/01/2024 09:00 | 2615.649 | 2803.227 | 2428.072
16/01/2024 09:30 | 2665.62 | 2857.364 | 2473.876
16/01/2024 10:00 | 2722.088 | 2918.488 | 2525.688
16/01/2024 10:30 | 2797.138 | 2999.564 | 2594.711
16/01/2024 11:00 | 2907.201 | 3118.228 | 2696.174
16/01/2024 11:30 | 2979.612 | 3196.546 | 2762.678
16/01/2024 12:00 | 3072.56 | 3296.932 | 2848.187
16/01/2024 12:30 | 3244.65 | 3482.298 | 3007.002
16/01/2024 13:00 | 3361.168 | 3608.085 | 3114.252
16/01/2024 13:30 | 3391.188 | 3641.051 | 3141.326
16/01/2024 14:00 | 3395.643 | 3646.576 | 3144.71
16/01/2024 14:30 | 3484.148 | 3742.383 | 3225.914
16/01/2024 15:00 | 3569.139 | 3834.452 | 3303.825
16/01/2024 15:30 | 3690.041 | 3965.148 | 3414.934
16/01/2024 16:00 | 3808.912 | 4093.714 | 3524.111
16/01/2024 16:30 | 3916.76 | 4210.481 | 3623.038
16/01/2024 17:00 | 3971.812 | 4270.529 | 3673.094
16/01/2024 17:30 | 3964.365 | 4263.388 | 3665.341
16/01/2024 18:00 | 3896.032 | 4190.752 | 3601.311
16/01/2024 18:30 | 3798.429 | 4086.596 | 3510.261
16/01/2024 19:00 | 3696.311 | 3977.539 | 3415.083
16/01/2024 19:30 | 3616.767 | 3892.732 | 3340.801
16/01/2024 20:00 | 3491.227 | 3758.377 | 3224.077
16/01/2024 20:30 | 3334.614 | 3590.509 | 3078.72
16/01/2024 21:00 | 3156.87 | 3399.813 | 2913.926
16/01/2024 21:30 | 2985.145 | 3215.526 | 2754.764
16/01/2024 22:00 | 2826.098 | 3044.821 | 2607.374
16/01/2024 22:30 | 2693.263 | 2902.294 | 2484.231
16/01/2024 23:00 | 2587.401 | 2788.782 | 2386.021
16/01/2024 23:30 | 2496.333 | 2691.17 | 2301.494
17/01/2024 00:00 | 2414.236 | 2603.193 | 2225.278
17/01/2024 00:30 | 2347.035 | 2531.246 | 2162.824
17/01/2024 01:00 | 2290.772 | 2471.067 | 2110.476
17/01/2024 01:30 | 2250.896 | 2428.544 | 2073.247
17/01/2024 02:00 | 2222.472 | 2398.363 | 2046.581
17/01/2024 02:30 | 2195.029 | 2369.228 | 2020.83
17/01/2024 03:00 | 2174.942 | 2348.022 | 2001.862
17/01/2024 03:30 | 2172.785 | 2346.168 | 1999.402
17/01/2024 04:00 | 2183.247 | 2357.942 | 2008.552
17/01/2024 04:30 | 2191.205 | 2367.015 | 2015.395
17/01/2024 05:00 | 2214.719 | 2392.9 | 2036.538
17/01/2024 05:30 | 2252.182 | 2433.869 | 2070.495
17/01/2024 06:00 | 2270.341 | 2453.989 | 2086.693
17/01/2024 06:30 | 2272.708 | 2457.044 | 2088.373
17/01/2024 07:00 | 2255.475 | 2438.906 | 2072.044
17/01/2024 07:30 | 2224.319 | 2405.681 | 2042.957
17/01/2024 08:00 | 2193.32 | 2372.572 | 2014.069
17/01/2024 08:30 | 2151.747 | 2328.013 | 1975.481
17/01/2024 09:00 | 2138.246 | 2313.816 | 1962.676
17/01/2024 09:30 | 2148.14 | 2324.934 | 1971.346
17/01/2024 10:00 | 2186.524 | 2366.896 | 2006.152
17/01/2024 10:30 | 2241.314 | 2426.636 | 2055.993
17/01/2024 11:00 | 2274.988 | 2463.53 | 2086.446
17/01/2024 11:30 | 2313.789 | 2505.989 | 2121.588
17/01/2024 12:00 | 2340.235 | 2535.082 | 2145.389
17/01/2024 12:30 | 2402.466 | 2602.954 | 2201.978
17/01/2024 13:00 | 2493.536 | 2702.102 | 2284.97
17/01/2024 13:30 | 2530.99 | 2743.174 | 2318.807
17/01/2024 14:00 | 2577.423 | 2793.994 | 2360.853
17/01/2024 14:30 | 2699.134 | 2926.449 | 2471.82
17/01/2024 15:00 | 2798.721 | 3034.958 | 2562.483
17/01/2024 15:30 | 2921.441 | 3168.598 | 2674.285
17/01/2024 16:00 | 3065.591 | 3325.53 | 2805.652
17/01/2024 16:30 | 3189.304 | 3460.345 | 2918.264
17/01/2024 17:00 | 3252.432 | 3529.461 | 2975.404
17/01/2024 17:30 | 3261.593 | 3540.027 | 2983.159
17/01/2024 18:00 | 3219.057 | 3494.477 | 2943.636
17/01/2024 18:30 | 3140.652 | 3409.966 | 2871.339
17/01/2024 19:00 | 3050.104 | 3312.238 | 2787.97
17/01/2024 19:30 | 2975.934 | 3232.264 | 2719.604
17/01/2024 20:00 | 2867.932 | 3115.508 | 2620.355
17/01/2024 20:30 | 2745.609 | 2983.153 | 2508.066
17/01/2024 21:00 | 2617.979 | 2844.982 | 2390.976
17/01/2024 21:30 | 2498.773 | 2715.919 | 2281.628
17/01/2024 22:00 | 2391.492 | 2599.773 | 2183.211
17/01/2024 22:30 | 2299.502 | 2500.212 | 2098.792
17/01/2024 23:00 | 2222.773 | 2417.212 | 2028.334
17/01/2024 23:30 | 2156.727 | 2345.801 | 1967.652
18/01/2024 00:00 | 2097.241 | 2281.503 | 1912.979
18/01/2024 00:30 | 2050.802 | 2231.377 | 1870.228
18/01/2024 01:00 | 2016.009 | 2193.907 | 1838.111
18/01/2024 01:30 | 1987.089 | 2162.816 | 1811.363
18/01/2024 02:00 | 1969.107 | 2143.621 | 1794.594
18/01/2024 02:30 | 1957.503 | 2131.364 | 1783.643
18/01/2024 03:00 | 1951.179 | 2124.852 | 1777.506
18/01/2024 03:30 | 1956.561 | 2131.088 | 1782.034
18/01/2024 04:00 | 1976.034 | 2152.677 | 1799.392
18/01/2024 04:30 | 1996.608 | 2175.472 | 1817.744
18/01/2024 05:00 | 2025.113 | 2206.92 | 1843.307
18/01/2024 05:30 | 2060.351 | 2245.716 | 1874.986
18/01/2024 06:00 | 2096.685 | 2285.721 | 1907.65
18/01/2024 06:30 | 2117.116 | 2308.399 | 1925.833
18/01/2024 07:00 | 2105.638 | 2296.288 | 1914.988
18/01/2024 07:30 | 2073.772 | 2261.934 | 1885.61
18/01/2024 08:00 | 2033.04 | 2217.896 | 1848.184
18/01/2024 08:30 | 1987.487 | 2168.581 | 1806.392
18/01/2024 09:00 | 1956.738 | 2135.406 | 1778.07
18/01/2024 09:30 | 1967.925 | 2147.991 | 1787.858
18/01/2024 10:00 | 1964.157 | 2144.255 | 1784.059
18/01/2024 10:30 | 1942.715 | 2121.22 | 1764.211
18/01/2024 11:00 | 1928.715 | 2106.303 | 1751.127
18/01/2024 11:30 | 1850.601 | 2021.351 | 1679.851
18/01/2024 12:00 | 1867.811 | 2040.507 | 1695.115
18/01/2024 12:30 | 2023.272 | 2210.729 | 1835.814
18/01/2024 13:00 | 2122.136 | 2319.16 | 1925.111
18/01/2024 13:30 | 2192.174 | 2396.121 | 1988.227
18/01/2024 14:00 | 2267.339 | 2478.713 | 2055.964
18/01/2024 14:30 | 2344.672 | 2563.705 | 2125.639
18/01/2024 15:00 | 2428.634 | 2655.976 | 2201.291
18/01/2024 15:30 | 2540.805 | 2779.134 | 2302.475
18/01/2024 16:00 | 2645.406 | 2894.054 | 2396.758
18/01/2024 16:30 | 2710.863 | 2966.183 | 2455.543
18/01/2024 17:00 | 2760.646 | 3021.185 | 2500.108
18/01/2024 17:30 | 2797.335 | 3061.871 | 2532.798
18/01/2024 18:00 | 2791.454 | 3055.97 | 2526.939
18/01/2024 18:30 | 2769.979 | 3032.99 | 2506.967
18/01/2024 19:00 | 2744.634 | 3005.765 | 2483.503
18/01/2024 19:30 | 2698.118 | 2955.341 | 2440.896
18/01/2024 20:00 | 2616.847 | 2866.823 | 2366.871
18/01/2024 20:30 | 2516.615 | 2757.5 | 2275.731
18/01/2024 21:00 | 2408.494 | 2639.491 | 2177.498
18/01/2024 21:30 | 2308.278 | 2530.105 | 2086.451
18/01/2024 22:00 | 2222.189 | 2436.169 | 2008.209
18/01/2024 22:30 | 2145.98 | 2353.033 | 1938.927
18/01/2024 23:00 | 2079.962 | 2281.043 | 1878.88
18/01/2024 23:30 | 2024.486 | 2220.593 | 1828.379
19/01/2024 00:00 | 1976.452 | 2168.284 | 1784.619
19/01/2024 00:30 | 1938.564 | 2127.09 | 1750.037
19/01/2024 01:00 | 1910.272 | 2096.413 | 1724.13
19/01/2024 01:30 | 1888.941 | 2073.366 | 1704.516
19/01/2024 02:00 | 1875.818 | 2059.322 | 1692.315
19/01/2024 02:30 | 1869.347 | 2052.576 | 1686.119
19/01/2024 03:00 | 1866.419 | 2049.718 | 1683.12
19/01/2024 03:30 | 1873.736 | 2058.114 | 1689.359
19/01/2024 04:00 | 1896.405 | 2083.376 | 1709.433
19/01/2024 04:30 | 1924.887 | 2115.036 | 1734.739
19/01/2024 05:00 | 1953.031 | 2146.334 | 1759.729
19/01/2024 05:30 | 1972.579 | 2168.195 | 1776.964
19/01/2024 06:00 | 2012.605 | 2212.576 | 1812.635
19/01/2024 06:30 | 2057.739 | 2262.588 | 1852.889
19/01/2024 07:00 | 2085.646 | 2293.673 | 1877.619
19/01/2024 07:30 | 2115.654 | 2327.188 | 1904.12
19/01/2024 08:00 | 2054.77 | 2260.923 | 1848.616
19/01/2024 08:30 | 1897.538 | 2088.552 | 1706.523
19/01/2024 09:00 | 1783.16 | 1963.258 | 1603.061
19/01/2024 09:30 | 1731.385 | 1906.835 | 1555.935
19/01/2024 10:00 | 1690.079 | 1861.911 | 1518.249
19/01/2024 10:30 | 1674.101 | 1844.869 | 1503.333
19/01/2024 11:00 | 1691.088 | 1864.156 | 1518.021
19/01/2024 11:30 | 1704.357 | 1879.354 | 1529.36
19/01/2024 12:00 | 1695.551 | 1870.212 | 1520.889
19/01/2024 12:30 | 1678.797 | 1852.295 | 1505.298
19/01/2024 13:00 | 1681.424 | 1855.758 | 1507.091
19/01/2024 13:30 | 1673.341 | 1847.397 | 1499.284
19/01/2024 14:00 | 1689.521 | 1865.828 | 1513.215
19/01/2024 14:30 | 1780.245 | 1966.615 | 1593.874
19/01/2024 15:00 | 1877.581 | 2074.77 | 1680.391
19/01/2024 15:30 | 2042.311 | 2257.486 | 1827.136
19/01/2024 16:00 | 2228.353 | 2463.876 | 1992.829
19/01/2024 16:30 | 2392.511 | 2646.187 | 2138.835
19/01/2024 17:00 | 2491.059 | 2756.019 | 2226.099
19/01/2024 17:30 | 2545.901 | 2817.547 | 2274.254
19/01/2024 18:00 | 2573.038 | 2848.443 | 2297.633
19/01/2024 18:30 | 2556.588 | 2831.089 | 2282.086
19/01/2024 19:00 | 2516.926 | 2788.013 | 2245.839
19/01/2024 19:30 | 2492.995 | 2762.34 | 2223.649
19/01/2024 20:00 | 2435.82 | 2699.805 | 2171.834
19/01/2024 20:30 | 2366.057 | 2623.275 | 2108.839
19/01/2024 21:00 | 2289.866 | 2539.568 | 2040.163
19/01/2024 21:30 | 2220.598 | 2463.492 | 1977.704
19/01/2024 22:00 | 2151.682 | 2387.759 | 1915.605
19/01/2024 22:30 | 2086.469 | 2316.09 | 1856.847
19/01/2024 23:00 | 2024.746 | 2248.254 | 1801.238
19/01/2024 23:30 | 1969.87 | 2186.699 | 1753.04
20/01/2024 00:00 | 1923.207 | 2133.145 | 1713.269
20/01/2024 00:30 | 1886.133 | 2093.091 | 1679.176
20/01/2024 01:00 | 1858.198 | 2062.921 | 1653.474
20/01/2024 01:30 | 1837.416 | 2040.672 | 1634.16
20/01/2024 02:00 | 1821.918 | 2024.275 | 1619.561
20/01/2024 02:30 | 1808.114 | 2009.747 | 1606.481
20/01/2024 03:00 | 1798.881 | 2000.29 | 1597.473
20/01/2024 03:30 | 1799.194 | 2001.442 | 1596.945
20/01/2024 04:00 | 1804.518 | 2008.172 | 1600.864
20/01/2024 04:30 | 1802.088 | 2006.274 | 1597.901
20/01/2024 05:00 | 1803.337 | 2008.472 | 1598.202
20/01/2024 05:30 | 1809.384 | 2016.017 | 1602.751
20/01/2024 06:00 | 1779.107 | 1983.078 | 1575.136
20/01/2024 06:30 | 1719.652 | 1917.576 | 1521.728
20/01/2024 07:00 | 1631.028 | 1819.482 | 1442.574
20/01/2024 07:30 | 1499.028 | 1672.9 | 1325.155