## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
14/01/2024 08:00 | 2124.77 | 2160.515 | 2089.024
14/01/2024 08:30 | 2149.483 | 2193.862 | 2105.104 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
14/01/2024 09:00 | 2173.725 | 2226.915 | 2120.536 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
14/01/2024 09:30 | 2220.963 | 2283.799 | 2158.127 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
14/01/2024 10:00 | 2282.155 | 2355.447 | 2208.863 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
14/01/2024 10:30 | 2359.26 | 2441.712 | 2276.808 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
14/01/2024 11:00 | 2436.016 | 2523.276 | 2348.756 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
14/01/2024 11:30 | 2540.739 | 2634.397 | 2447.082 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
14/01/2024 12:00 | 2653.325 | 2749.751 | 2548.912 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
14/01/2024 12:30 | 2747.064 | 2847.39 | 2633.919 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
14/01/2024 13:00 | 2854.646 | 2962.004 | 2734.23 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
14/01/2024 13:30 | 3005.416 | 3124.364 | 2878.094
14/01/2024 14:00 | 3138.408 | 3264.745 | 3001.14 | Summary view - for each schedule horizon (dispatch, week-ahead)
14/01/2024 14:30 | 3223.694 | 3358.448 | 3080.841
14/01/2024 15:00 | 3336.529 | 3482.115 | 3187.627 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
14/01/2024 15:30 | 3487.788 | 3640.223 | 3325.416 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
14/01/2024 16:00 | 3631.896 | 3793.908 | 3458.584 | Scenario | Violations
14/01/2024 16:30 | 3744.894 | 3917.873 | 3564.144 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
14/01/2024 17:00 | 3815.06 | 3992.22 | 3624.204 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
14/01/2024 17:30 | 3833.716 | 4015.393 | 3637.637 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0
14/01/2024 18:00 | 3781.692 | 3966.419 | 3585.775 | High Demand Scenario | 0 | 3 | 5 | 5 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 0
14/01/2024 18:30 | 3687.21 | 3875.871 | 3498.549 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0
14/01/2024 19:00 | 3607.693 | 3793.065 | 3422.322
14/01/2024 19:30 | 3525.566 | 3707.646 | 3343.486 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
14/01/2024 20:00 | 3398.823 | 3575.251 | 3222.394
14/01/2024 20:30 | 3252.381 | 3422.065 | 3082.697 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
14/01/2024 21:00 | 3093.056 | 3255.241 | 2930.87 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
14/01/2024 21:30 | 2936.448 | 3091.195 | 2781.701 | [7 empty] | 17/01/2024 10:30 | [6 empty] | 16/01/2024 17:00 | 16/01/2024 16:30 | 16/01/2024 16:30 |  |  | 16/01/2024 16:30 | [11 empty] | 17/01/2024 11:30
14/01/2024 22:00 | 2790.099 | 2937.869 | 2642.33 | [7 empty] | 17/01/2024 11:00 | [6 empty] | 16/01/2024 17:30 | 16/01/2024 17:00 | 16/01/2024 17:00 |  |  | 16/01/2024 17:00 | [11 empty] | 17/01/2024 12:00
14/01/2024 22:30 | 2664.687 | 2806.516 | 2522.859 | [7 empty] | 17/01/2024 11:30 | [6 empty] | 16/01/2024 18:00 | 16/01/2024 17:30 | 16/01/2024 17:30 |  |  | 16/01/2024 17:30
14/01/2024 23:00 | 2561.703 | 2698.725 | 2424.681 | [7 empty] | 19/01/2024 13:00 | [7 empty] | 16/01/2024 18:00 | 16/01/2024 18:00 |  |  | 16/01/2024 18:00
14/01/2024 23:30 | 2465.625 | 2592.507 | 2338.743 | [7 empty] | 19/01/2024 13:30 | [7 empty] | 16/01/2024 18:30 | 16/01/2024 18:30 |  |  | 16/01/2024 18:30
15/01/2024 00:00 | 2376.166 | 2488.394 | 2263.938 | [7 empty] | 19/01/2024 14:00 | [11 empty] | 16/01/2024 19:00
15/01/2024 00:30 | 2306.592 | 2417.357 | 2195.826 | [7 empty] | 19/01/2024 14:30 | [11 empty] | 17/01/2024 10:00
15/01/2024 01:00 | 2256.057 | 2365.279 | 2146.835 | [7 empty] | 20/01/2024 13:00 | [11 empty] | 19/01/2024 10:00
15/01/2024 01:30 | 2216.598 | 2324.777 | 2108.419 | [7 empty] | 20/01/2024 13:30 | [11 empty] | 19/01/2024 10:30
15/01/2024 02:00 | 2186.624 | 2294.196 | 2079.052 | [7 empty] | 20/01/2024 14:00 | [11 empty] | 19/01/2024 11:00
15/01/2024 02:30 | 2164.326 | 2271.648 | 2057.004 | [7 empty] | 20/01/2024 14:30 | [11 empty] | 19/01/2024 11:30
15/01/2024 03:00 | 2145.419 | 2252.644 | 2038.195 | [19 empty] | 19/01/2024 12:00
15/01/2024 03:30 | 2143.707 | 2251.685 | 2035.73 | [19 empty] | 19/01/2024 12:30
15/01/2024 04:00 | 2154.452 | 2263.814 | 2045.09 | [19 empty] | 19/01/2024 13:00
15/01/2024 04:30 | 2172.227 | 2283.342 | 2061.112 | [19 empty] | 19/01/2024 13:30
15/01/2024 05:00 | 2187.254 | 2299.994 | 2074.515 | [19 empty] | 19/01/2024 14:00
15/01/2024 05:30 | 2210 | 2324.777 | 2095.223 | [19 empty] | 19/01/2024 14:30
15/01/2024 06:00 | 2247.385 | 2364.983 | 2129.787 | [19 empty] | 20/01/2024 11:00
15/01/2024 06:30 | 2268.134 | 2387.523 | 2148.745 | [19 empty] | 20/01/2024 11:30
15/01/2024 07:00 | 2267.552 | 2387.253 | 2147.851 | [19 empty] | 20/01/2024 12:00
15/01/2024 07:30 | 2237.959 | 2356.468 | 2119.451 | [19 empty] | 20/01/2024 12:30
15/01/2024 08:00 | 2213.94 | 2331.543 | 2096.338 | [19 empty] | 20/01/2024 13:00
15/01/2024 08:30 | 2194.393 | 2311.32 | 2077.467 | [19 empty] | 20/01/2024 13:30
15/01/2024 09:00 | 2189.694 | 2306.732 | 2072.657 | [19 empty] | 20/01/2024 14:00
15/01/2024 09:30 | 2209.42 | 2327.876 | 2090.963 | [19 empty] | 20/01/2024 14:30
15/01/2024 10:00 | 2267.566 | 2389.515 | 2145.618
15/01/2024 10:30 | 2359.971 | 2487.279 | 2232.664
15/01/2024 11:00 | 2452.506 | 2585.21 | 2319.802
15/01/2024 11:30 | 2547.009 | 2685.247 | 2408.771
15/01/2024 12:00 | 2645.75 | 2788.963 | 2501.716
15/01/2024 12:30 | 2745.462 | 2894.514 | 2595.547
15/01/2024 13:00 | 2841.74 | 2996.487 | 2686.097
15/01/2024 13:30 | 2942.389 | 3103.11 | 2780.749
15/01/2024 14:00 | 3092.074 | 3261.488 | 2921.7
15/01/2024 14:30 | 3236.958 | 3414.844 | 3058.067
15/01/2024 15:00 | 3376.61 | 3562.727 | 3190.616
15/01/2024 15:30 | 3527.987 | 3723.027 | 3333.069
15/01/2024 16:00 | 3678.891 | 3882.878 | 3475.026
15/01/2024 16:30 | 3807.357 | 4019.089 | 3595.738
15/01/2024 17:00 | 3892.361 | 4109.453 | 3675.366
15/01/2024 17:30 | 3908.725 | 4127.361 | 3690.16
15/01/2024 18:00 | 3848.526 | 4064.42 | 3632.683
15/01/2024 18:30 | 3740.433 | 3950.877 | 3530.031
15/01/2024 19:00 | 3631.567 | 3836.486 | 3426.69
15/01/2024 19:30 | 3525.808 | 3725.333 | 3326.308
15/01/2024 20:00 | 3378.907 | 3570.675 | 3187.159
15/01/2024 20:30 | 3216.71 | 3399.805 | 3033.636
15/01/2024 21:00 | 3041.822 | 3215.464 | 2868.2
15/01/2024 21:30 | 2874.404 | 3038.964 | 2709.863
15/01/2024 22:00 | 2722.905 | 2879.231 | 2566.578
15/01/2024 22:30 | 2595.928 | 2745.393 | 2446.462
15/01/2024 23:00 | 2491.636 | 2648.884 | 2347.765
15/01/2024 23:30 | 2398.913 | 2551.708 | 2259.999
16/01/2024 00:00 | 2317.483 | 2466.708 | 2195.938
16/01/2024 00:30 | 2254.708 | 2400.589 | 2136.369
16/01/2024 01:00 | 2210.36 | 2354.001 | 2094.215
16/01/2024 01:30 | 2178.127 | 2320.135 | 2063.402
16/01/2024 02:00 | 2150.576 | 2290.54 | 2036.407
16/01/2024 02:30 | 2129.858 | 2268.16 | 2015.842
16/01/2024 03:00 | 2116.88 | 2254.117 | 2002.698
16/01/2024 03:30 | 2119.167 | 2256.304 | 2003.976
16/01/2024 04:00 | 2131.398 | 2269.224 | 2014.784
16/01/2024 04:30 | 2147.25 | 2286.296 | 2029.269
16/01/2024 05:00 | 2170.061 | 2307.054 | 2047.015
16/01/2024 05:30 | 2200.759 | 2335.224 | 2071.323
16/01/2024 06:00 | 2231.434 | 2368.699 | 2100.319
16/01/2024 06:30 | 2254.012 | 2392.04 | 2120.312
16/01/2024 07:00 | 2261.252 | 2399.943 | 2126.613
16/01/2024 07:30 | 2258.123 | 2391.968 | 2118.763
16/01/2024 08:00 | 2289.778 | 2418.183 | 2141.031
16/01/2024 08:30 | 2313.061 | 2440.296 | 2159.662
16/01/2024 09:00 | 2366.327 | 2492.093 | 2204.536
16/01/2024 09:30 | 2413.468 | 2535.914 | 2242.316
16/01/2024 10:00 | 2455.584 | 2574.135 | 2275.114
16/01/2024 10:30 | 2552.671 | 2710.635 | 2394.707
16/01/2024 11:00 | 2667.982 | 2833.665 | 2502.3
16/01/2024 11:30 | 2772.624 | 2945.411 | 2599.837
16/01/2024 12:00 | 2864.726 | 3043.878 | 2685.574
16/01/2024 12:30 | 2998.7 | 3186.885 | 2810.514
16/01/2024 13:00 | 3161.538 | 3360.633 | 2962.442
16/01/2024 13:30 | 3291.61 | 3499.616 | 3083.604
16/01/2024 14:00 | 3405.779 | 3621.744 | 3189.814
16/01/2024 14:30 | 3527.432 | 3751.882 | 3302.982
16/01/2024 15:00 | 3702.352 | 3938.741 | 3465.963
16/01/2024 15:30 | 3895.269 | 4144.827 | 3645.712
16/01/2024 16:00 | 4059.022 | 4319.957 | 3798.087
16/01/2024 16:30 | 4203.582 | 4474.728 | 3932.435
16/01/2024 17:00 | 4274.674 | 4551.34 | 3998.008
16/01/2024 17:30 | 4277.208 | 4554.973 | 3999.443
16/01/2024 18:00 | 4201.854 | 4475.644 | 3928.065
16/01/2024 18:30 | 4071.508 | 4337.693 | 3805.323
16/01/2024 19:00 | 3943.598 | 4202.282 | 3684.913
16/01/2024 19:30 | 3825.625 | 4077.407 | 3573.843
16/01/2024 20:00 | 3657.088 | 3898.577 | 3415.599
16/01/2024 20:30 | 3454.005 | 3682.838 | 3225.172
16/01/2024 21:00 | 3235.927 | 3451.019 | 3020.834
16/01/2024 21:30 | 3033.108 | 3235.381 | 2830.834
16/01/2024 22:00 | 2856.734 | 3047.87 | 2665.599
16/01/2024 22:30 | 2712.263 | 2894.325 | 2530.201
16/01/2024 23:00 | 2590.396 | 2764.844 | 2415.948
16/01/2024 23:30 | 2476.398 | 2643.71 | 2309.087
17/01/2024 00:00 | 2378.577 | 2539.799 | 2217.354
17/01/2024 00:30 | 2302.269 | 2458.822 | 2145.716
17/01/2024 01:00 | 2240.731 | 2393.589 | 2087.873
17/01/2024 01:30 | 2200.745 | 2351.356 | 2050.134
17/01/2024 02:00 | 2168.236 | 2317.096 | 2019.376
17/01/2024 02:30 | 2143.738 | 2291.385 | 1996.092
17/01/2024 03:00 | 2127.862 | 2274.88 | 1980.844
17/01/2024 03:30 | 2129.783 | 2277.399 | 1982.167
17/01/2024 04:00 | 2147.199 | 2296.492 | 1997.907
17/01/2024 04:30 | 2165.881 | 2316.946 | 2014.817
17/01/2024 05:00 | 2177.161 | 2329.488 | 2024.834
17/01/2024 05:30 | 2188.48 | 2342.077 | 2034.883
17/01/2024 06:00 | 2192.658 | 2347.027 | 2038.289
17/01/2024 06:30 | 2174.606 | 2328.18 | 2021.033
17/01/2024 07:00 | 2146.392 | 2298.442 | 1994.342
17/01/2024 07:30 | 2090.05 | 2238.565 | 1941.535
17/01/2024 08:00 | 2027.585 | 2172.122 | 1883.065
17/01/2024 08:30 | 1963.354 | 2103.746 | 1822.984
17/01/2024 09:00 | 1925.952 | 2064.095 | 1787.835
17/01/2024 09:30 | 1900.312 | 2037.038 | 1763.619
17/01/2024 10:00 | 1896.255 | 2033.107 | 1759.438
17/01/2024 10:30 | 1975.016 | 2117.982 | 1832.085
17/01/2024 11:00 | 2043.895 | 2192.294 | 1895.533
17/01/2024 11:30 | 2118.756 | 2273.054 | 1964.498
17/01/2024 12:00 | 2216.079 | 2377.945 | 2054.251
17/01/2024 12:30 | 2315.569 | 2485.207 | 2145.969
17/01/2024 13:00 | 2431.339 | 2609.989 | 2252.729
17/01/2024 13:30 | 2553.048 | 2741.192 | 2364.939
17/01/2024 14:00 | 2720.547 | 2921.62 | 2519.502
17/01/2024 14:30 | 2889.117 | 3103.278 | 2674.984
17/01/2024 15:00 | 3076.567 | 3305.29 | 2847.869
17/01/2024 15:30 | 3265.525 | 3509.006 | 3022.067
17/01/2024 16:00 | 3446.373 | 3704.087 | 3188.679
17/01/2024 16:30 | 3574.599 | 3842.681 | 3306.536
17/01/2024 17:00 | 3653.288 | 3928.069 | 3378.527
17/01/2024 17:30 | 3673.841 | 3950.968 | 3396.73
17/01/2024 18:00 | 3638.454 | 3913.705 | 3363.218
17/01/2024 18:30 | 3545.75 | 3814.76 | 3276.763
17/01/2024 19:00 | 3437.047 | 3698.557 | 3175.552
17/01/2024 19:30 | 3333.379 | 3587.73 | 3079.043
17/01/2024 20:00 | 3186.099 | 3429.909 | 2942.305
17/01/2024 20:30 | 3019.267 | 3250.969 | 2787.579
17/01/2024 21:00 | 2853.696 | 3073.315 | 2634.089
17/01/2024 21:30 | 2699.17 | 2907.485 | 2490.864
17/01/2024 22:00 | 2555.268 | 2753.035 | 2357.509
17/01/2024 22:30 | 2427.583 | 2615.999 | 2239.175
17/01/2024 23:00 | 2316.989 | 2497.327 | 2136.658
17/01/2024 23:30 | 2218.817 | 2391.995 | 2045.639
18/01/2024 00:00 | 2130.311 | 2297.046 | 1963.575
18/01/2024 00:30 | 2067.419 | 2229.684 | 1905.154
18/01/2024 01:00 | 2021.86 | 2180.991 | 1862.73
18/01/2024 01:30 | 1993.779 | 2151.135 | 1836.423
18/01/2024 02:00 | 1974.467 | 2130.73 | 1818.203
18/01/2024 02:30 | 1961.772 | 2117.459 | 1806.085
18/01/2024 03:00 | 1954.457 | 2109.991 | 1798.923
18/01/2024 03:30 | 1958.534 | 2114.821 | 1802.248
18/01/2024 04:00 | 1977.109 | 2135.309 | 1818.908
18/01/2024 04:30 | 1999.5 | 2159.929 | 1839.071
18/01/2024 05:00 | 2019.869 | 2182.373 | 1857.364
18/01/2024 05:30 | 2040.7 | 2205.326 | 1876.074
18/01/2024 06:00 | 2088.803 | 2257.766 | 1919.84
18/01/2024 06:30 | 2136.984 | 2310.312 | 1963.657
18/01/2024 07:00 | 2162.573 | 2338.449 | 1986.698
18/01/2024 07:30 | 2188.049 | 2366.454 | 2009.645
18/01/2024 08:00 | 2183.96 | 2362.446 | 2005.474
18/01/2024 08:30 | 2143.006 | 2318.556 | 1967.456
18/01/2024 09:00 | 2056.948 | 2225.842 | 1888.053
18/01/2024 09:30 | 1925.522 | 2083.995 | 1767.05
18/01/2024 10:00 | 1817.881 | 1967.843 | 1667.919
18/01/2024 10:30 | 1787.698 | 1935.513 | 1639.884
18/01/2024 11:00 | 1768.379 | 1914.935 | 1621.823
18/01/2024 11:30 | 1699.948 | 1841.158 | 1558.737
18/01/2024 12:00 | 1689.604 | 1830.279 | 1548.929
18/01/2024 12:30 | 1773.084 | 1921.049 | 1625.119
18/01/2024 13:00 | 1837.744 | 1991.458 | 1684.03
18/01/2024 13:30 | 1921.86 | 2082.978 | 1760.742
18/01/2024 14:00 | 2055.986 | 2228.741 | 1883.229
18/01/2024 14:30 | 2250.924 | 2440.491 | 2061.356
18/01/2024 15:00 | 2411.867 | 2615.45 | 2208.283
18/01/2024 15:30 | 2527.382 | 2741.201 | 2313.563
18/01/2024 16:00 | 2652.71 | 2877.64 | 2427.78
18/01/2024 16:30 | 2764.473 | 2999.41 | 2529.537
18/01/2024 17:00 | 2828.873 | 3069.825 | 2587.921
18/01/2024 17:30 | 2870.937 | 3116.021 | 2625.852
18/01/2024 18:00 | 2869.754 | 3115.288 | 2624.22
18/01/2024 18:30 | 2839.867 | 3083.388 | 2596.346
18/01/2024 19:00 | 2798.674 | 3039.199 | 2558.149
18/01/2024 19:30 | 2749.777 | 2986.627 | 2512.927
18/01/2024 20:00 | 2661.717 | 2891.492 | 2431.942
18/01/2024 20:30 | 2554.092 | 2775.066 | 2333.118
18/01/2024 21:00 | 2439.442 | 2650.965 | 2227.92
18/01/2024 21:30 | 2335.601 | 2538.566 | 2132.635
18/01/2024 22:00 | 2243.875 | 2439.299 | 2048.45
18/01/2024 22:30 | 2164.58 | 2353.514 | 1975.646
18/01/2024 23:00 | 2098.974 | 2282.584 | 1915.365
18/01/2024 23:30 | 2045.506 | 2224.83 | 1866.182
19/01/2024 00:00 | 2001.354 | 2177.192 | 1825.517
19/01/2024 00:30 | 1965.553 | 2138.622 | 1792.485
19/01/2024 01:00 | 1937.199 | 2108.142 | 1766.256
19/01/2024 01:30 | 1913.737 | 2082.977 | 1744.497
19/01/2024 02:00 | 1897.82 | 2066.016 | 1729.624
19/01/2024 02:30 | 1888.015 | 2055.704 | 1720.326
19/01/2024 03:00 | 1883.732 | 2051.401 | 1716.062
19/01/2024 03:30 | 1891.732 | 2060.476 | 1722.988
19/01/2024 04:00 | 1914.512 | 2085.656 | 1743.369
19/01/2024 04:30 | 1942.573 | 2116.596 | 1768.549
19/01/2024 05:00 | 1963.557 | 2139.837 | 1787.277
19/01/2024 05:30 | 1979.84 | 2157.962 | 1801.719
19/01/2024 06:00 | 2015.844 | 2197.59 | 1834.097
19/01/2024 06:30 | 2051.062 | 2236.377 | 1865.747
19/01/2024 07:00 | 2075.777 | 2263.723 | 1887.831
19/01/2024 07:30 | 2095.447 | 2285.575 | 1905.318
19/01/2024 08:00 | 2042.852 | 2228.6 | 1857.104
19/01/2024 08:30 | 1908.822 | 2082.749 | 1734.895
19/01/2024 09:00 | 1833.994 | 2001.454 | 1666.533
19/01/2024 09:30 | 1843.691 | 2012.39 | 1674.992
19/01/2024 10:00 | 1816.494 | 1983.052 | 1649.935
19/01/2024 10:30 | 1745.013 | 1905.352 | 1584.674
19/01/2024 11:00 | 1716.262 | 1874.289 | 1558.236
19/01/2024 11:30 | 1681.835 | 1837.014 | 1526.656
19/01/2024 12:00 | 1690.87 | 1847.207 | 1534.534
19/01/2024 12:30 | 1784.954 | 1950.331 | 1619.577
19/01/2024 13:00 | 1861.698 | 2034.543 | 1688.853
19/01/2024 13:30 | 1904.869 | 2082.086 | 1727.651
19/01/2024 14:00 | 1973.467 | 2157.444 | 1789.489
19/01/2024 14:30 | 2091.711 | 2287.113 | 1896.309
19/01/2024 15:00 | 2216.884 | 2424.405 | 2009.364
19/01/2024 15:30 | 2386.993 | 2610.895 | 2163.091
19/01/2024 16:00 | 2555.697 | 2795.914 | 2315.481
19/01/2024 16:30 | 2694.2 | 2947.951 | 2440.449
19/01/2024 17:00 | 2786.236 | 3049.189 | 2523.283
19/01/2024 17:30 | 2839.068 | 3107.552 | 2570.585
19/01/2024 18:00 | 2846.415 | 3116.139 | 2576.691
19/01/2024 18:30 | 2806.699 | 3073.198 | 2540.201
19/01/2024 19:00 | 2754.983 | 3017.098 | 2492.867
19/01/2024 19:30 | 2712.398 | 2970.982 | 2453.814
19/01/2024 20:00 | 2634.924 | 2886.627 | 2383.221
19/01/2024 20:30 | 2542.478 | 2785.837 | 2299.118
19/01/2024 21:00 | 2448.257 | 2683.067 | 2213.447
19/01/2024 21:30 | 2361.179 | 2588.09 | 2134.268
19/01/2024 22:00 | 2277.364 | 2496.656 | 2058.071
19/01/2024 22:30 | 2199.914 | 2412.171 | 1987.657
19/01/2024 23:00 | 2129.876 | 2335.784 | 1923.969
19/01/2024 23:30 | 2071.329 | 2269.453 | 1873.205
20/01/2024 00:00 | 2023.842 | 2212.834 | 1834.85
20/01/2024 00:30 | 1985.147 | 2171.022 | 1799.272
20/01/2024 01:00 | 1952.517 | 2135.437 | 1769.598
20/01/2024 01:30 | 1925.505 | 2105.992 | 1745.018
20/01/2024 02:00 | 1907.48 | 2086.375 | 1728.585
20/01/2024 02:30 | 1890.027 | 2067.382 | 1712.673
20/01/2024 03:00 | 1877.682 | 2053.973 | 1701.39
20/01/2024 03:30 | 1875.763 | 2051.971 | 1699.556
20/01/2024 04:00 | 1879.186 | 2055.81 | 1702.562
20/01/2024 04:30 | 1872.391 | 2048.473 | 1696.31
20/01/2024 05:00 | 1861.304 | 2036.438 | 1686.171
20/01/2024 05:30 | 1852.599 | 2027.008 | 1678.19
20/01/2024 06:00 | 1832.27 | 2004.858 | 1659.681
20/01/2024 06:30 | 1801.616 | 1971.409 | 1631.823
20/01/2024 07:00 | 1736.11 | 1899.817 | 1572.402
20/01/2024 07:30 | 1630.929 | 1785.032 | 1476.826
20/01/2024 08:00 | 1554.365 | 1701.966 | 1406.763
20/01/2024 08:30 | 1531.827 | 1677.974 | 1385.68
20/01/2024 09:00 | 1513.942 | 1659.06 | 1368.824
20/01/2024 09:30 | 1493.42 | 1637.239 | 1349.601
20/01/2024 10:00 | 1524.055 | 1671.506 | 1376.603
20/01/2024 10:30 | 1629.711 | 1788.114 | 1471.309
20/01/2024 11:00 | 1690.677 | 1855.762 | 1525.593
20/01/2024 11:30 | 1692.773 | 1858.82 | 1526.726
20/01/2024 12:00 | 1738.996 | 1910.355 | 1567.637
20/01/2024 12:30 | 1801.697 | 1980.041 | 1623.353
20/01/2024 13:00 | 1874.916 | 2061.346 | 1688.485
20/01/2024 13:30 | 1942.327 | 2136.33 | 1748.324
20/01/2024 14:00 | 2014.182 | 2216.263 | 1812.101
20/01/2024 14:30 | 2130.031 | 2344.688 | 1915.374
20/01/2024 15:00 | 2258.364 | 2486.965 | 2029.764
20/01/2024 15:30 | 2424.267 | 2670.746 | 2177.789
20/01/2024 16:00 | 2595.529 | 2860.581 | 2330.476
20/01/2024 16:30 | 2748.736 | 3030.664 | 2466.808
20/01/2024 17:00 | 2855.505 | 3149.662 | 2561.349
20/01/2024 17:30 | 2922.197 | 3224.531 | 2619.863
20/01/2024 18:00 | 2925.416 | 3229.392 | 2621.44
20/01/2024 18:30 | 2877.333 | 3177.6 | 2577.065
20/01/2024 19:00 | 2819.091 | 3114.542 | 2523.64
20/01/2024 19:30 | 2766.772 | 3057.979 | 2475.566
20/01/2024 20:00 | 2685.352 | 2969.189 | 2401.514
20/01/2024 20:30 | 2597.802 | 2873.549 | 2322.055
20/01/2024 21:00 | 2510.569 | 2778.179 | 2242.958
20/01/2024 21:30 | 2424.673 | 2684.212 | 2165.134
20/01/2024 22:00 | 2340.805 | 2592.415 | 2089.195
20/01/2024 22:30 | 2259.634 | 2503.529 | 2015.738
20/01/2024 23:00 | 2182.748 | 2419.322 | 1946.174
20/01/2024 23:30 | 2113.675 | 2343.708 | 1883.642
21/01/2024 00:00 | 2053.625 | 2278.041 | 1829.208
21/01/2024 00:30 | 2006.642 | 2226.823 | 1786.462
21/01/2024 01:00 | 1969.57 | 2186.563 | 1752.576
21/01/2024 01:30 | 1943.448 | 2158.434 | 1728.463
21/01/2024 02:00 | 1923.277 | 2136.892 | 1709.662
21/01/2024 02:30 | 1904.857 | 2117.279 | 1692.436
21/01/2024 03:00 | 1891.273 | 2103.026 | 1679.521
21/01/2024 03:30 | 1886.34 | 2098.385 | 1674.296
21/01/2024 04:00 | 1883.434 | 2095.995 | 1670.873
21/01/2024 04:30 | 1867.931 | 2079.578 | 1656.284
21/01/2024 05:00 | 1842.543 | 2052.138 | 1632.948
21/01/2024 05:30 | 1810.933 | 2017.743 | 1604.124
21/01/2024 06:00 | 1786.222 | 1991.009 | 1581.435
21/01/2024 06:30 | 1800.773 | 2008.034 | 1593.512
21/01/2024 07:00 | 1800.744 | 2008.807 | 1592.681
21/01/2024 07:30 | 1738.091 | 1939.693 | 1536.489