## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
11/01/2024 08:00 | 1773.14 | 1760.575 | 1711.525
11/01/2024 08:30 | 1694.609 | 1676.172 | 1619.812 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
11/01/2024 09:00 | 1623.492 | 1603.83 | 1540.711 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
11/01/2024 09:30 | 1582.804 | 1518.826 | 1450.4 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
11/01/2024 10:00 | 1573.207 | 1444.19 | 1370.947 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
11/01/2024 10:30 | 1589.61 | 1390.408 | 1313.942 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
11/01/2024 11:00 | 1635.942 | 1364.344 | 1287.143 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
11/01/2024 11:30 | 1675.476 | 1350.36 | 1271.496 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
11/01/2024 12:00 | 1742.977 | 1353.365 | 1271.871 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
11/01/2024 12:30 | 1851.794 | 1408.821 | 1321.438 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
11/01/2024 13:00 | 1952.516 | 1481.729 | 1387.146 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
11/01/2024 13:30 | 2044.851 | 1566.593 | 1463.768
11/01/2024 14:00 | 2154.435 | 1676.047 | 1563.02 | Summary view - for each schedule horizon (dispatch, week-ahead)
11/01/2024 14:30 | 2298.156 | 1807.198 | 1682.079
11/01/2024 15:00 | 2455.146 | 1961.627 | 1822.429 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
11/01/2024 15:30 | 2625.612 | 2146.116 | 1989.969 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
11/01/2024 16:00 | 2789.658 | 2344.33 | 2169.618 | Scenario | Violations
11/01/2024 16:30 | 2931.78 | 2531.529 | 2338.152 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
11/01/2024 17:00 | 3035.4 | 2689.7 | 2479.452 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
11/01/2024 17:30 | 3097.43 | 2791.432 | 2568.272 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11/01/2024 18:00 | 3100.345 | 2830.504 | 2599.201 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 34 | 0 | 0 | 0 | 0 | 2
11/01/2024 18:30 | 3059.428 | 2821.279 | 2586.789 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 0 | 0 | 0 | 0 | 1
11/01/2024 19:00 | 3005.082 | 2792.181 | 2558.281
11/01/2024 19:30 | 2953.403 | 2748.262 | 2516.066 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
11/01/2024 20:00 | 2855.521 | 2664.588 | 2437.55
11/01/2024 20:30 | 2734.928 | 2568.53 | 2347.833 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
11/01/2024 21:00 | 2613.103 | 2467.332 | 2253.563 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
11/01/2024 21:30 | 2503.686 | 2369.898 | 2162.873 | [19 empty] | 24/01/2024 10:00 |  |  |  |  | 24/01/2024 08:00 | [6 empty] | 24/01/2024 10:00 |  |  |  |  | 24/01/2024 08:00
11/01/2024 22:00 | 2400.028 | 2279.187 | 2078.455 | [19 empty] | 24/01/2024 10:30 |  |  |  |  | 26/01/2024 13:00 | [6 empty] | 24/01/2024 10:30
11/01/2024 22:30 | 2309.853 | 2199.205 | 2003.945 | [19 empty] | 24/01/2024 11:00 | [11 empty] | 24/01/2024 11:00
11/01/2024 23:00 | 2235.872 | 2133.768 | 1942.793 | [19 empty] | 24/01/2024 11:30 | [11 empty] | 24/01/2024 11:30
11/01/2024 23:30 | 2179.634 | 2078.413 | 1890.909 | [19 empty] | 24/01/2024 12:00 | [11 empty] | 24/01/2024 12:00
12/01/2024 00:00 | 2137.888 | 2033.483 | 1848.581 | [19 empty] | 24/01/2024 12:30 | [11 empty] | 24/01/2024 12:30
12/01/2024 00:30 | 2098.319 | 1998.203 | 1815.084 | [19 empty] | 24/01/2024 13:00 | [11 empty] | 24/01/2024 13:00
12/01/2024 01:00 | 2068.507 | 1969.979 | 1788.044 | [19 empty] | 24/01/2024 13:30 | [11 empty] | 24/01/2024 13:30
12/01/2024 01:30 | 2038.372 | 1947.576 | 1766.323 | [19 empty] | 25/01/2024 10:30 | [11 empty] | 24/01/2024 14:00
12/01/2024 02:00 | 2015.366 | 1932.234 | 1751.034 | [19 empty] | 25/01/2024 11:00 | [11 empty] | 25/01/2024 08:00
12/01/2024 02:30 | 2000.549 | 1922.557 | 1740.898 | [19 empty] | 25/01/2024 11:30 | [11 empty] | 25/01/2024 11:30
12/01/2024 03:00 | 1993.174 | 1920.61 | 1737.771 | [19 empty] | 25/01/2024 12:00 | [11 empty] | 25/01/2024 12:00
12/01/2024 03:30 | 1997.087 | 1929.614 | 1744.547 | [19 empty] | 25/01/2024 12:30 | [11 empty] | 25/01/2024 12:30
12/01/2024 04:00 | 2013.229 | 1954.476 | 1765.64 | [19 empty] | 25/01/2024 13:00 | [11 empty] | 25/01/2024 13:00
12/01/2024 04:30 | 2032.477 | 1992.148 | 1798.26 | [19 empty] | 25/01/2024 13:30 | [11 empty] | 25/01/2024 13:30
12/01/2024 05:00 | 2053.137 | 2025.534 | 1826.962 | [19 empty] | 26/01/2024 11:00 | [11 empty] | 25/01/2024 14:00
12/01/2024 05:30 | 2072.907 | 2039.359 | 1837.988 | [19 empty] | 26/01/2024 11:30 | [11 empty] | 26/01/2024 12:00
12/01/2024 06:00 | 2069.637 | 2024.453 | 1823.122 | [19 empty] | 26/01/2024 12:00 | [11 empty] | 26/01/2024 12:30
12/01/2024 06:30 | 2039.881 | 1964.253 | 1767.807 | [19 empty] | 26/01/2024 12:30 | [11 empty] | 26/01/2024 13:00
12/01/2024 07:00 | 1990.778 | 1876.876 | 1688.656 | [19 empty] | 26/01/2024 13:00 | [11 empty] | 26/01/2024 13:30
12/01/2024 07:30 | 1927.821 | 1760.706 | 1583.611 | [19 empty] | 28/01/2024 10:30 | [11 empty] | 26/01/2024 14:00
12/01/2024 08:00 | 1876.696 | 1630.111 | 1465.667 | [19 empty] | 28/01/2024 11:00 | [11 empty] | 27/01/2024 11:00
12/01/2024 08:30 | 1826.649 | 1509.292 | 1356.586 | [19 empty] | 28/01/2024 12:00 | [11 empty] | 28/01/2024 11:30
12/01/2024 09:00 | 1796.854 | 1403.614 | 1261.183 | [19 empty] | 28/01/2024 12:30 | [11 empty] | 28/01/2024 12:30
12/01/2024 09:30 | 1801.231 | 1335.934 | 1199.973 | [19 empty] | 28/01/2024 13:00 | [11 empty] | 28/01/2024 13:00
12/01/2024 10:00 | 1828.809 | 1309.53 | 1175.867 | [19 empty] | 28/01/2024 13:30 | [11 empty] | 28/01/2024 13:30
12/01/2024 10:30 | 1883.018 | 1319.899 | 1184.785 | [19 empty] | 28/01/2024 14:00 | [11 empty] | 28/01/2024 14:00
12/01/2024 11:00 | 1962.764 | 1349.764 | 1211.191 | [19 empty] | 30/01/2024 09:00 | [11 empty] | 28/01/2024 14:30
12/01/2024 11:30 | 2039.812 | 1391.067 | 1247.841 | [19 empty] | 30/01/2024 09:30 | [11 empty] | 29/01/2024 08:30
12/01/2024 12:00 | 2129.911 | 1453.064 | 1303.023 | [19 empty] | 30/01/2024 10:00 | [11 empty] | 29/01/2024 09:30
12/01/2024 12:30 | 2233.319 | 1539.476 | 1380.055 | [19 empty] | 30/01/2024 10:30 | [11 empty] | 29/01/2024 10:00
12/01/2024 13:00 | 2336.58 | 1631.326 | 1461.91 | [19 empty] | 30/01/2024 11:00 | [11 empty] | 29/01/2024 10:30
12/01/2024 13:30 | 2456.974 | 1749.012 | 1566.854 | [19 empty] | 30/01/2024 11:30 | [11 empty] | 29/01/2024 11:00
12/01/2024 14:00 | 2592.773 | 1901.041 | 1702.486 | [19 empty] | 30/01/2024 12:00 | [11 empty] | 29/01/2024 11:30
12/01/2024 14:30 | 2733.471 | 2063.774 | 1847.61 | [31 empty] | 29/01/2024 12:00
12/01/2024 15:00 | 2867.024 | 2240.724 | 2005.361 | [31 empty] | 29/01/2024 12:30
12/01/2024 15:30 | 3037.131 | 2436.303 | 2179.675 | [31 empty] | 29/01/2024 13:00
12/01/2024 16:00 | 3202.002 | 2636.211 | 2357.745 | [31 empty] | 29/01/2024 13:30
12/01/2024 16:30 | 3332.531 | 2828.24 | 2528.652 | [31 empty] | 30/01/2024 09:30
12/01/2024 17:00 | 3416.603 | 2987.767 | 2670.396 | [31 empty] | 30/01/2024 10:00
12/01/2024 17:30 | 3447.621 | 3090.58 | 2761.372 | [31 empty] | 30/01/2024 10:30
12/01/2024 18:00 | 3429.048 | 3117.014 | 2784.069 | [31 empty] | 30/01/2024 11:00
12/01/2024 18:30 | 3365.227 | 3094.782 | 2763.296 | [31 empty] | 30/01/2024 11:30
12/01/2024 19:00 | 3302.808 | 3057.03 | 2728.684 | [31 empty] | 30/01/2024 12:00
12/01/2024 19:30 | 3252.506 | 3003.414 | 2679.938 | [31 empty] | 30/01/2024 12:30
12/01/2024 20:00 | 3160.119 | 2904.504 | 2590.823
12/01/2024 20:30 | 3043.655 | 2784.21 | 2483.473
12/01/2024 21:00 | 2922.605 | 2662.86 | 2374.443
12/01/2024 21:30 | 2801.9 | 2553.606 | 2276.269
12/01/2024 22:00 | 2683.511 | 2448.725 | 2182.054
12/01/2024 22:30 | 2572.262 | 2352.957 | 2096.021
12/01/2024 23:00 | 2471.771 | 2274.19 | 2025.184
12/01/2024 23:30 | 2383.912 | 2206.613 | 1964.355
13/01/2024 00:00 | 2307.357 | 2142.392 | 1906.553
13/01/2024 00:30 | 2247.745 | 2091.543 | 1860.685
13/01/2024 01:00 | 2199.689 | 2055.473 | 1827.991
13/01/2024 01:30 | 2157.814 | 2025.439 | 1800.684
13/01/2024 02:00 | 2127.395 | 2005.86 | 1782.686
13/01/2024 02:30 | 2102.319 | 1981.419 | 1760.382
13/01/2024 03:00 | 2082.153 | 1973.978 | 1753.19
13/01/2024 03:30 | 2068.706 | 1971.123 | 1750.073
13/01/2024 04:00 | 2058.031 | 1966.311 | 1745.223
13/01/2024 04:30 | 2035.636 | 1954.276 | 1733.966
13/01/2024 05:00 | 2013.429 | 1925.198 | 1707.6
13/01/2024 05:30 | 2002.494 | 1881.57 | 1668.35
13/01/2024 06:00 | 1972.786 | 1791.927 | 1588.339
13/01/2024 06:30 | 1938.399 | 1681.889 | 1490.279
13/01/2024 07:00 | 1897.744 | 1555.054 | 1377.354
13/01/2024 07:30 | 1846.801 | 1411.404 | 1250.197
13/01/2024 08:00 | 1828.828 | 1289.469 | 1141.681
13/01/2024 08:30 | 1839.327 | 1177.29 | 1041.902
13/01/2024 09:00 | 1869.973 | 1087.875 | 962.3472
13/01/2024 09:30 | 1929.394 | 1021.006 | 902.7978
13/01/2024 10:00 | 1990.727 | 983.9445 | 869.6458
13/01/2024 10:30 | 2098.152 | 986.8132 | 871.7988
13/01/2024 11:00 | 2228.669 | 1035.971 | 914.8256
13/01/2024 11:30 | 2324.949 | 1082.102 | 955.1435
13/01/2024 12:00 | 2416.834 | 1159.343 | 1022.873
13/01/2024 12:30 | 2485.459 | 1268.601 | 1118.779
13/01/2024 13:00 | 2604.001 | 1388.526 | 1224.004
13/01/2024 13:30 | 2793.803 | 1534.552 | 1352.134
13/01/2024 14:00 | 3018.853 | 1679.19 | 1478.93
13/01/2024 14:30 | 3243.053 | 1823.379 | 1605.218
13/01/2024 15:00 | 3420.524 | 2019.768 | 1777.33
13/01/2024 15:30 | 3569.081 | 2248.82 | 1978.02
13/01/2024 16:00 | 3686.557 | 2459.963 | 2162.789
13/01/2024 16:30 | 3751.282 | 2643.381 | 2323.03
13/01/2024 17:00 | 3746.123 | 2761.317 | 2425.608
13/01/2024 17:30 | 3733.311 | 2831.956 | 2486.568
13/01/2024 18:00 | 3685.068 | 2858.822 | 2509.055
13/01/2024 18:30 | 3616.812 | 2852.458 | 2502.372
13/01/2024 19:00 | 3562.14 | 2816.649 | 2469.873
13/01/2024 19:30 | 3502.79 | 2779.315 | 2436.067
13/01/2024 20:00 | 3405.843 | 2721.156 | 2384.044
13/01/2024 20:30 | 3292.516 | 2657.442 | 2327.202
13/01/2024 21:00 | 3167.961 | 2585.747 | 2263.423
13/01/2024 21:30 | 3036.351 | 2510.333 | 2196.445
13/01/2024 22:00 | 2907.348 | 2432.699 | 2127.584
13/01/2024 22:30 | 2778.955 | 2362.901 | 2065.633
13/01/2024 23:00 | 2665.556 | 2296.893 | 2007.048
13/01/2024 23:30 | 2570.757 | 2260.709 | 1965.135
14/01/2024 00:00 | 2486.473 | 2236.516 | 1924.88
14/01/2024 00:30 | 2418.734 | 2201.727 | 1895.574
14/01/2024 01:00 | 2363.19 | 2167.549 | 1865.252
14/01/2024 01:30 | 2314.537 | 2131.121 | 1833.024
14/01/2024 02:00 | 2275.342 | 2107.517 | 1811.85
14/01/2024 02:30 | 2242.142 | 2083.909 | 1790.694
14/01/2024 03:00 | 2214.999 | 2065.276 | 1773.83
14/01/2024 03:30 | 2196.911 | 2058.775 | 1767.397
14/01/2024 04:00 | 2179.692 | 2064.249 | 1771.245
14/01/2024 04:30 | 2142.954 | 2060.123 | 1766.855
14/01/2024 05:00 | 2112.011 | 2044.074 | 1752.248
14/01/2024 05:30 | 2096.973 | 2026.034 | 1735.95
14/01/2024 06:00 | 2057.025 | 1974.641 | 1691.103
14/01/2024 06:30 | 2032.698 | 1884.053 | 1612.746
14/01/2024 07:00 | 2008.973 | 1792.015 | 1533.225
14/01/2024 07:30 | 1961.64 | 1699.586 | 1453.445
14/01/2024 08:00 | 1957.326 | 1609.299 | 1375.572
14/01/2024 08:30 | 2020.06 | 1534.769 | 1311.236
14/01/2024 09:00 | 2098.63 | 1479.12 | 1263.085
14/01/2024 09:30 | 2195.847 | 1460.181 | 1246.313
14/01/2024 10:00 | 2292.482 | 1461 | 1246.413
14/01/2024 10:30 | 2380.462 | 1496.57 | 1276.144
14/01/2024 11:00 | 2486.518 | 1552.074 | 1322.837
14/01/2024 11:30 | 2590.131 | 1618.266 | 1378.59
14/01/2024 12:00 | 2680.042 | 1709.334 | 1455.47
14/01/2024 12:30 | 2790.678 | 1827.368 | 1555.226
14/01/2024 13:00 | 2859.146 | 1934.43 | 1645.552
14/01/2024 13:30 | 2942.301 | 2041.816 | 1736.067
14/01/2024 14:00 | 3035.114 | 2205.306 | 1874.174
14/01/2024 14:30 | 3184.123 | 2398.959 | 2037.769
14/01/2024 15:00 | 3320.939 | 2580.681 | 2191.076
14/01/2024 15:30 | 3467.111 | 2784.509 | 2362.996
14/01/2024 16:00 | 3609.974 | 2988.013 | 2534.475
14/01/2024 16:30 | 3716.729 | 3167.758 | 2685.645
14/01/2024 17:00 | 3775.001 | 3290.15 | 2788.068
14/01/2024 17:30 | 3778.392 | 3370.526 | 2854.804
14/01/2024 18:00 | 3729.512 | 3367 | 2850.447
14/01/2024 18:30 | 3631.512 | 3313.363 | 2803.689
14/01/2024 19:00 | 3530.309 | 3256.121 | 2753.928
14/01/2024 19:30 | 3453.681 | 3184.698 | 2692.225
14/01/2024 20:00 | 3336.195 | 3083.051 | 2605.042
14/01/2024 20:30 | 3199.872 | 2980.328 | 2517.034
14/01/2024 21:00 | 3061.392 | 2872.648 | 2424.926
14/01/2024 21:30 | 2923.199 | 2760.37 | 2329.026
14/01/2024 22:00 | 2785.393 | 2654.548 | 2238.664
14/01/2024 22:30 | 2666.375 | 2550.345 | 2149.751
14/01/2024 23:00 | 2565.592 | 2449.586 | 2063.825
14/01/2024 23:30 | 2474.291 | 2364.286 | 1990.999
15/01/2024 00:00 | 2389.475 | 2289.684 | 1927.249
15/01/2024 00:30 | 2324.119 | 2229.952 | 1876.068
15/01/2024 01:00 | 2276.466 | 2178.979 | 1832.302
15/01/2024 01:30 | 2240.062 | 2145.45 | 1803.239
15/01/2024 02:00 | 2213.462 | 2118.924 | 1780.088
15/01/2024 02:30 | 2190.701 | 2094.917 | 1759.072
15/01/2024 03:00 | 2173.531 | 2077.128 | 1743.296
15/01/2024 03:30 | 2171.157 | 2066.141 | 1733.24
15/01/2024 04:00 | 2182.715 | 2059.707 | 1727.011
15/01/2024 04:30 | 2201.1 | 2043.421 | 1712.531
15/01/2024 05:00 | 2238.624 | 2008.69 | 1682.613
15/01/2024 05:30 | 2289.302 | 1965.084 | 1645.293
15/01/2024 06:00 | 2349.043 | 1889.608 | 1581.339
15/01/2024 06:30 | 2413.007 | 1791.586 | 1498.586
15/01/2024 07:00 | 2428 | 1694.799 | 1416.945
15/01/2024 07:30 | 2412.126 | 1588.929 | 1327.972
15/01/2024 08:00 | 2396.199 | 1504.163 | 1257.027
15/01/2024 08:30 | 2370.403 | 1417.719 | 1184.664
15/01/2024 09:00 | 2387.689 | 1331.755 | 1112.717
15/01/2024 09:30 | 2436.835 | 1282.448 | 1071.41
15/01/2024 10:00 | 2481.09 | 1277.858 | 1067.465
15/01/2024 10:30 | 2539.72 | 1290.176 | 1077.644
15/01/2024 11:00 | 2630.31 | 1322.083 | 1104.181
15/01/2024 11:30 | 2706.172 | 1388.61 | 1159.625
15/01/2024 12:00 | 2771.692 | 1464.418 | 1222.806
15/01/2024 12:30 | 2876.032 | 1547.223 | 1291.817
15/01/2024 13:00 | 2982.334 | 1630.552 | 1361.25
15/01/2024 13:30 | 3074.674 | 1731.919 | 1445.726
15/01/2024 14:00 | 3166.757 | 1883.232 | 1571.874
15/01/2024 14:30 | 3300.799 | 2046.367 | 1707.862
15/01/2024 15:00 | 3395.184 | 2235.393 | 1865.428
15/01/2024 15:30 | 3514.73 | 2467.212 | 2058.668
15/01/2024 16:00 | 3649.41 | 2706.583 | 2258.17
15/01/2024 16:30 | 3757.404 | 2917.717 | 2434.074
15/01/2024 17:00 | 3831.111 | 3087.996 | 2575.863
15/01/2024 17:30 | 3834.84 | 3192.958 | 2663.143
15/01/2024 18:00 | 3770.012 | 3202.242 | 2670.613
15/01/2024 18:30 | 3671.01 | 3155.998 | 2631.775
15/01/2024 19:00 | 3566.171 | 3107.582 | 2591.135
15/01/2024 19:30 | 3486.495 | 3038.511 | 2533.283
15/01/2024 20:00 | 3364.994 | 2929.748 | 2442.353
15/01/2024 20:30 | 3220.56 | 2815.99 | 2347.279
15/01/2024 21:00 | 3067.872 | 2691.866 | 2243.584
15/01/2024 21:30 | 2918.905 | 2572.778 | 2144.107
15/01/2024 22:00 | 2777.91 | 2467.211 | 2055.918
15/01/2024 22:30 | 2661.544 | 2371.093 | 1975.62
15/01/2024 23:00 | 2564.642 | 2296.242 | 1913.057
15/01/2024 23:30 | 2470.767 | 2247.194 | 1876.486
16/01/2024 00:00 | 2383.152 | 2207.619 | 1851.817
16/01/2024 00:30 | 2323.574 | 2168.805 | 1817.782
16/01/2024 01:00 | 2284.578 | 2131.844 | 1786.114
16/01/2024 01:30 | 2243.574 | 2109.942 | 1767.081
16/01/2024 02:00 | 2213.722 | 2094.33 | 1753.328
16/01/2024 02:30 | 2190.184 | 2083.134 | 1743.281
16/01/2024 03:00 | 2171.301 | 2078.093 | 1738.391
16/01/2024 03:30 | 2166.019 | 2087.797 | 1745.834
16/01/2024 04:00 | 2175.552 | 2115.529 | 1768.34
16/01/2024 04:30 | 2188.893 | 2158.51 | 1803.57
16/01/2024 05:00 | 2227.744 | 2186.497 | 1826.25
16/01/2024 05:30 | 2290.755 | 2199.341 | 1836.268
16/01/2024 06:00 | 2351.847 | 2252.177 | 1879.655
16/01/2024 06:30 | 2413.923 | 2308.302 | 1925.751
16/01/2024 07:00 | 2430.553 | 2334.392 | 1946.765
16/01/2024 07:30 | 2414.127 | 2326.844 | 1939.721
16/01/2024 08:00 | 2399.497 | 2283.3 | 1902.686
16/01/2024 08:30 | 2368.843 | 2194.971 | 1828.374
16/01/2024 09:00 | 2378.109 | 2090.86 | 1740.978
16/01/2024 09:30 | 2407.724 | 2003.371 | 1667.485
16/01/2024 10:00 | 2449.005 | 1971.364 | 1640.21
16/01/2024 10:30 | 2518.378 | 1991 | 1655.907
16/01/2024 11:00 | 2618.981 | 1981.853 | 1647.662
16/01/2024 11:30 | 2691.373 | 1941.322 | 1613.342
16/01/2024 12:00 | 2773.429 | 1962.625 | 1630.416
16/01/2024 12:30 | 2899.524 | 2049.506 | 1701.933
16/01/2024 13:00 | 3013.254 | 2118.881 | 1758.861
16/01/2024 13:30 | 3105.47 | 2171.483 | 1801.829
16/01/2024 14:00 | 3164.825 | 2293.077 | 1901.989
16/01/2024 14:30 | 3303.933 | 2451.94 | 2032.971
16/01/2024 15:00 | 3435.802 | 2616.724 | 2168.759
16/01/2024 15:30 | 3592.135 | 2810.906 | 2328.798
16/01/2024 16:00 | 3745.176 | 3012.433 | 2494.795
16/01/2024 16:30 | 3875.261 | 3199.097 | 2648.36
16/01/2024 17:00 | 3941.362 | 3346.054 | 2768.946
16/01/2024 17:30 | 3943.361 | 3422.389 | 2831.021
16/01/2024 18:00 | 3883.911 | 3417.818 | 2826.146
16/01/2024 18:30 | 3774.945 | 3359.346 | 2776.721
16/01/2024 19:00 | 3649.087 | 3289.43 | 2717.88
16/01/2024 19:30 | 3559.449 | 3207.845 | 2649.446
16/01/2024 20:00 | 3425.765 | 3088.802 | 2550.138
16/01/2024 20:30 | 3259.678 | 2961.315 | 2443.938
16/01/2024 21:00 | 3080.239 | 2827.172 | 2332.329
16/01/2024 21:30 | 2913.24 | 2700.028 | 2226.578
16/01/2024 22:00 | 2760.285 | 2586.539 | 2132.164
16/01/2024 22:30 | 2631.703 | 2488.818 | 2050.816
16/01/2024 23:00 | 2526.179 | 2408.647 | 1983.986
16/01/2024 23:30 | 2431.934 | 2347.779 | 1933.101
17/01/2024 00:00 | 2349.233 | 2298.852 | 1892.084
17/01/2024 00:30 | 2285.687 | 2254.831 | 1855.134
17/01/2024 01:00 | 2233.808 | 2224.427 | 1829.411
17/01/2024 01:30 | 2197.708 | 2197.915 | 1806.908
17/01/2024 02:00 | 2171.865 | 2176.416 | 1788.541
17/01/2024 02:30 | 2148.622 | 2162.09 | 1776.081
17/01/2024 03:00 | 2133.987 | 2156.151 | 1770.517
17/01/2024 03:30 | 2137.388 | 2163.403 | 1775.784
17/01/2024 04:00 | 2151.479 | 2189.013 | 1796.11
17/01/2024 04:30 | 2162.661 | 2227.375 | 1826.879
17/01/2024 05:00 | 2187.845 | 2265.676 | 1857.574
17/01/2024 05:30 | 2231.82 | 2299.86 | 1884.871
17/01/2024 06:00 | 2273.809 | 2308.604 | 1891.305
17/01/2024 06:30 | 2289.958 | 2261.873 | 1852.303
17/01/2024 07:00 | 2273.874 | 2190.92 | 1793.504
17/01/2024 07:30 | 2247.246 | 2084.738 | 1705.746
17/01/2024 08:00 | 2264.292 | 1979.939 | 1618.873
17/01/2024 08:30 | 2330.585 | 1888.79 | 1543.3
17/01/2024 09:00 | 2364.005 | 1815.683 | 1482.561
17/01/2024 09:30 | 2350.384 | 1766.656 | 1441.552
17/01/2024 10:00 | 2551.94 | 1757.764 | 1433.325
17/01/2024 10:30 | 2531.215 | 1817.563 | 1481.083
17/01/2024 11:00 | 2565.159 | 1873.899 | 1525.954
17/01/2024 11:30 | 2658.025 | 1935.366 | 1574.941
17/01/2024 12:00 | 2725.769 | 2037.498 | 1656.929
17/01/2024 12:30 | 2815.318 | 2183.56 | 1774.506
17/01/2024 13:00 | 2921.864 | 2325.836 | 1888.849
17/01/2024 13:30 | 2991.292 | 2471.489 | 2005.775
17/01/2024 14:00 | 3057.691 | 2649.282 | 2148.609
17/01/2024 14:30 | 3200.412 | 2831.262 | 2294.642
17/01/2024 15:00 | 3317.503 | 3057.355 | 2476.203
17/01/2024 15:30 | 3454.754 | 3291.084 | 2663.697
17/01/2024 16:00 | 3619.373 | 3499.418 | 2830.396
17/01/2024 16:30 | 3761.331 | 3701.027 | 2991.431
17/01/2024 17:00 | 3815.807 | 3848.791 | 3108.755
17/01/2024 17:30 | 3794.837 | 3911.604 | 3157.348
17/01/2024 18:00 | 3729.604 | 3896.423 | 3142.962
17/01/2024 18:30 | 3625.864 | 3826.884 | 3084.777
17/01/2024 19:00 | 3508.589 | 3754.922 | 3024.717
17/01/2024 19:30 | 3422.306 | 3655.236 | 2942.419
17/01/2024 20:00 | 3293.393 | 3514.261 | 2827.017
17/01/2024 20:30 | 3133.847 | 3352.86 | 2695.35
17/01/2024 21:00 | 2969.279 | 3178.965 | 2553.823
17/01/2024 21:30 | 2814.332 | 3017.768 | 2422.68
17/01/2024 22:00 | 2673.164 | 2873.826 | 2305.558
17/01/2024 22:30 | 2550.542 | 2754.759 | 2208.535
17/01/2024 23:00 | 2447.788 | 2664.853 | 2135.006
17/01/2024 23:30 | 2360.334 | 2594.468 | 2077.205
18/01/2024 00:00 | 2279.939 | 2543.203 | 2034.779
18/01/2024 00:30 | 2218.409 | 2494.382 | 1994.363
18/01/2024 01:00 | 2172.302 | 2451.144 | 1958.462
18/01/2024 01:30 | 2136.44 | 2414.453 | 1927.837
18/01/2024 02:00 | 2112.648 | 2381.909 | 1900.561
18/01/2024 02:30 | 2096.793 | 2361.551 | 1883.037
18/01/2024 03:00 | 2085.85 | 2351.115 | 1873.443
18/01/2024 03:30 | 2088.315 | 2362.741 | 1881.428
18/01/2024 04:00 | 2104.779 | 2397.272 | 1907.628
18/01/2024 04:30 | 2120.04 | 2448.808 | 1947.315
18/01/2024 05:00 | 2149.144 | 2502.42 | 1988.596
18/01/2024 05:30 | 2194.777 | 2563.894 | 2036.063
18/01/2024 06:00 | 2251.52 | 2617.395 | 2077.138
18/01/2024 06:30 | 2309.141 | 2616.048 | 2074.659
18/01/2024 07:00 | 2334.386 | 2589.385 | 2052.119
18/01/2024 07:30 | 2331.8 | 2505.983 | 1984.672