## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
26/01/2024 08:00 | 1352.22 | 1375.763 | 1337.434
26/01/2024 08:30 | 1246.959 | 1268.281 | 1225.636 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
26/01/2024 09:00 | 1171.979 | 1195.504 | 1148.455 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
26/01/2024 09:30 | 1103.67 | 1129.104 | 1078.236 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
26/01/2024 10:00 | 1038.37 | 1065.386 | 1011.354 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
26/01/2024 10:30 | 1003.78 | 1032.162 | 975.3978 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
26/01/2024 11:00 | 983.8087 | 1012.453 | 955.1638 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
26/01/2024 11:30 | 979.4675 | 1008.929 | 950.0057 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
26/01/2024 12:00 | 991.6924 | 1022.477 | 960.9079 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
26/01/2024 12:30 | 1058.142 | 1093.303 | 1025.49 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
26/01/2024 13:00 | 1151.382 | 1190.7 | 1114.694 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
26/01/2024 13:30 | 1266.919 | 1311.592 | 1225.504
26/01/2024 14:00 | 1369.533 | 1418.823 | 1323.143 | Summary view - for each schedule horizon (dispatch, week-ahead)
26/01/2024 14:30 | 1468.032 | 1521.735 | 1416.38
26/01/2024 15:00 | 1623.953 | 1684.667 | 1565.011 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
26/01/2024 15:30 | 1825.725 | 1895.41 | 1757.392 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
26/01/2024 16:00 | 2021.376 | 2100.339 | 1943.646 | Scenario | Violations
26/01/2024 16:30 | 2196.569 | 2284.368 | 2109.871 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
26/01/2024 17:00 | 2311.318 | 2405.413 | 2217.388 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
26/01/2024 17:30 | 2390.743 | 2490.135 | 2291.062 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0
26/01/2024 18:00 | 2436.702 | 2540.44 | 2332.84 | High Demand Scenario | 0 | 5 | 10 | 10 | 0 | 0 | 31 | 0 | 0 | 0 | 0 | 0
26/01/2024 18:30 | 2446.788 | 2552.851 | 2340.671 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 21 | 0 | 0 | 0 | 0 | 2
26/01/2024 19:00 | 2421.856 | 2527.839 | 2316.082
26/01/2024 19:30 | 2395.758 | 2501.586 | 2290.232 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
26/01/2024 20:00 | 2353.508 | 2458.446 | 2248.972
26/01/2024 20:30 | 2309.474 | 2413.347 | 2205.985 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
26/01/2024 21:00 | 2256.2 | 2358.364 | 2154.036 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
26/01/2024 21:30 | 2200.629 | 2301.138 | 2100.12 | [7 empty] | 26/01/2024 09:30 | [6 empty] | 31/01/2024 16:30 | 30/01/2024 17:00 | 30/01/2024 17:00 |  |  | 26/01/2024 10:00 | [11 empty] | 26/01/2024 09:30 |  |  |  |  | 30/01/2024 10:00
26/01/2024 22:00 | 2140.77 | 2239.383 | 2042.157 | [7 empty] | 26/01/2024 10:00 | [6 empty] | 31/01/2024 17:00 | 30/01/2024 17:30 | 30/01/2024 17:30 |  |  | 26/01/2024 10:30 | [11 empty] | 26/01/2024 10:00 |  |  |  |  | 30/01/2024 22:30
26/01/2024 22:30 | 2085.823 | 2182.722 | 1988.925 | [7 empty] | 26/01/2024 10:30 | [6 empty] | 31/01/2024 17:30 | 30/01/2024 18:00 | 30/01/2024 18:00 |  |  | 26/01/2024 11:00 | [11 empty] | 26/01/2024 10:30
26/01/2024 23:00 | 2028.723 | 2123.763 | 1933.683 | [7 empty] | 26/01/2024 11:00 | [6 empty] | 31/01/2024 18:00 | 31/01/2024 16:00 | 31/01/2024 16:00 |  |  | 26/01/2024 11:30 | [11 empty] | 26/01/2024 11:00
26/01/2024 23:30 | 1990.572 | 2089.165 | 1891.979 | [7 empty] | 26/01/2024 11:30 | [6 empty] | 31/01/2024 18:30 | 31/01/2024 16:30 | 31/01/2024 16:30 |  |  | 26/01/2024 12:00 | [11 empty] | 26/01/2024 11:30
27/01/2024 00:00 | 1958.097 | 2064.645 | 1851.548 | [7 empty] | 26/01/2024 12:00 | [7 empty] | 31/01/2024 17:00 | 31/01/2024 17:00 |  |  | 26/01/2024 12:30 | [11 empty] | 26/01/2024 12:00
27/01/2024 00:30 | 1928.161 | 2032.818 | 1823.503 | [7 empty] | 26/01/2024 12:30 | [7 empty] | 31/01/2024 17:30 | 31/01/2024 17:30 |  |  | 26/01/2024 13:00 | [11 empty] | 26/01/2024 12:30
27/01/2024 01:00 | 1900.872 | 2004.549 | 1797.195 | [7 empty] | 26/01/2024 13:00 | [7 empty] | 31/01/2024 18:00 | 31/01/2024 18:00 |  |  | 26/01/2024 13:30 | [11 empty] | 26/01/2024 13:00
27/01/2024 01:30 | 1874.209 | 1976.925 | 1771.493 | [7 empty] | 26/01/2024 13:30 | [7 empty] | 31/01/2024 18:30 | 31/01/2024 18:30 |  |  | 26/01/2024 14:00 | [11 empty] | 26/01/2024 13:30
27/01/2024 02:00 | 1856.781 | 1959.031 | 1754.531 | [7 empty] | 26/01/2024 14:00 | [7 empty] | 31/01/2024 19:00 | 31/01/2024 19:00 |  |  | 26/01/2024 14:30 | [11 empty] | 26/01/2024 14:00
27/01/2024 02:30 | 1839.37 | 1941.145 | 1737.594 | [7 empty] | 26/01/2024 14:30 | [11 empty] | 27/01/2024 08:00 | [11 empty] | 26/01/2024 14:30
27/01/2024 03:00 | 1826.272 | 1927.804 | 1724.741 | [7 empty] | 27/01/2024 11:00 | [11 empty] | 27/01/2024 11:00 | [11 empty] | 28/01/2024 12:00
27/01/2024 03:30 | 1823.764 | 1925.637 | 1721.892 | [7 empty] | 28/01/2024 11:30 | [11 empty] | 27/01/2024 11:30 | [11 empty] | 28/01/2024 12:30
27/01/2024 04:00 | 1830.316 | 1933.036 | 1727.596 | [7 empty] | 28/01/2024 12:00 | [11 empty] | 28/01/2024 12:30 | [11 empty] | 29/01/2024 12:00
27/01/2024 04:30 | 1829.961 | 1933.143 | 1726.779 | [7 empty] | 28/01/2024 13:30 | [11 empty] | 28/01/2024 13:00 | [11 empty] | 29/01/2024 12:30
27/01/2024 05:00 | 1822.157 | 1925.379 | 1718.935 | [7 empty] | 28/01/2024 14:00 | [11 empty] | 28/01/2024 14:30 | [11 empty] | 29/01/2024 13:00
27/01/2024 05:30 | 1809.965 | 1912.972 | 1706.957 | [7 empty] | 28/01/2024 14:30 | [11 empty] | 29/01/2024 10:30 | [11 empty] | 30/01/2024 09:00
27/01/2024 06:00 | 1764.704 | 1865.601 | 1663.808 | [7 empty] | 29/01/2024 10:30 | [11 empty] | 29/01/2024 11:00 | [11 empty] | 30/01/2024 09:30
27/01/2024 06:30 | 1683.673 | 1780.337 | 1587.01 | [7 empty] | 29/01/2024 11:00 | [11 empty] | 29/01/2024 11:30 | [11 empty] | 30/01/2024 10:00
27/01/2024 07:00 | 1591.33 | 1682.989 | 1499.671 | [7 empty] | 29/01/2024 11:30 | [11 empty] | 29/01/2024 12:00 | [11 empty] | 01/02/2024 10:00
27/01/2024 07:30 | 1484.296 | 1570.073 | 1398.519 | [7 empty] | 29/01/2024 12:00 | [11 empty] | 30/01/2024 17:00 | [11 empty] | 01/02/2024 10:30
27/01/2024 08:00 | 1379.509 | 1459.494 | 1299.523 | [7 empty] | 29/01/2024 12:30 | [11 empty] | 30/01/2024 17:30
27/01/2024 08:30 | 1295.035 | 1370.37 | 1219.7 | [7 empty] | 30/01/2024 08:30 | [11 empty] | 30/01/2024 18:00
27/01/2024 09:00 | 1227.292 | 1298.921 | 1155.663 | [19 empty] | 31/01/2024 16:00
27/01/2024 09:30 | 1190.441 | 1260.147 | 1120.736 | [19 empty] | 31/01/2024 16:30
27/01/2024 10:00 | 1181.867 | 1251.296 | 1112.438 | [19 empty] | 31/01/2024 17:00
27/01/2024 10:30 | 1197.193 | 1267.751 | 1126.635 | [19 empty] | 31/01/2024 17:30
27/01/2024 11:00 | 1231.752 | 1304.582 | 1158.921 | [19 empty] | 31/01/2024 18:00
27/01/2024 11:30 | 1275.428 | 1351.084 | 1199.771 | [19 empty] | 31/01/2024 18:30
27/01/2024 12:00 | 1344.846 | 1424.877 | 1264.815 | [19 empty] | 31/01/2024 19:00
27/01/2024 12:30 | 1434.156 | 1519.776 | 1348.536 | [19 empty] | 31/01/2024 19:30
27/01/2024 13:00 | 1513.426 | 1604.067 | 1422.784
27/01/2024 13:30 | 1603.773 | 1700.132 | 1507.414
27/01/2024 14:00 | 1736.331 | 1840.986 | 1631.676
27/01/2024 14:30 | 1899.009 | 2013.832 | 1784.186
27/01/2024 15:00 | 2062.707 | 2187.822 | 1937.591
27/01/2024 15:30 | 2245.787 | 2382.436 | 2109.137
27/01/2024 16:00 | 2431.224 | 2579.621 | 2282.826
27/01/2024 16:30 | 2602.255 | 2761.589 | 2442.921
27/01/2024 17:00 | 2729.781 | 2897.444 | 2562.117
27/01/2024 17:30 | 2807.678 | 2980.663 | 2634.694
27/01/2024 18:00 | 2818.288 | 2992.465 | 2644.111
27/01/2024 18:30 | 2785.638 | 2958.33 | 2612.947
27/01/2024 19:00 | 2747.36 | 2918.203 | 2576.517
27/01/2024 19:30 | 2694.01 | 2862.051 | 2525.97
27/01/2024 20:00 | 2613.338 | 2775.779 | 2449.83
27/01/2024 20:30 | 2533.812 | 2691.798 | 2374.796
27/01/2024 21:00 | 2452.375 | 2605.756 | 2298.001
27/01/2024 21:30 | 2368.013 | 2516.574 | 2218.497
27/01/2024 22:00 | 2286.289 | 2430.162 | 2141.496
27/01/2024 22:30 | 2205.377 | 2344.585 | 2065.288
27/01/2024 23:00 | 2126.596 | 2261.245 | 1991.104
27/01/2024 23:30 | 2057.857 | 2188.555 | 1926.352
28/01/2024 00:00 | 1997.273 | 2124.513 | 1869.258
28/01/2024 00:30 | 1949.307 | 2073.869 | 1823.994
28/01/2024 01:00 | 1910.213 | 2032.644 | 1787.047
28/01/2024 01:30 | 1884.811 | 2005.974 | 1762.923
28/01/2024 02:00 | 1864.938 | 1985.18 | 1743.979
28/01/2024 02:30 | 1847.111 | 1966.557 | 1726.956
28/01/2024 03:00 | 1834.299 | 1953.267 | 1714.626
28/01/2024 03:30 | 1827.824 | 1946.721 | 1708.225
28/01/2024 04:00 | 1824.966 | 1944.026 | 1705.205
28/01/2024 04:30 | 1814.558 | 1933.285 | 1695.133
28/01/2024 05:00 | 1792.016 | 1909.612 | 1674.414
28/01/2024 05:30 | 1758.738 | 1874.485 | 1642.984
28/01/2024 06:00 | 1696.26 | 1808.219 | 1584.293
28/01/2024 06:30 | 1616.01 | 1722.981 | 1509.031
28/01/2024 07:00 | 1531.882 | 1633.581 | 1430.184
28/01/2024 07:30 | 1440.126 | 1536.033 | 1344.22
28/01/2024 08:00 | 1345.839 | 1435.792 | 1255.886
28/01/2024 08:30 | 1233.075 | 1315.786 | 1150.365
28/01/2024 09:00 | 1129.776 | 1205.828 | 1053.725
28/01/2024 09:30 | 1060.516 | 1132.158 | 988.8733
28/01/2024 10:00 | 1025.581 | 1095.109 | 956.0537
28/01/2024 10:30 | 1006.106 | 1074.554 | 937.6585
28/01/2024 11:00 | 1013.429 | 1082.617 | 944.2408
28/01/2024 11:30 | 1047.392 | 1119.149 | 975.6354
28/01/2024 12:00 | 1089.538 | 1164.442 | 1014.633
28/01/2024 12:30 | 1139.725 | 1218.352 | 1061.098
28/01/2024 13:00 | 1195.057 | 1277.786 | 1112.327
28/01/2024 13:30 | 1272.641 | 1361.046 | 1184.236
28/01/2024 14:00 | 1394.931 | 1492.163 | 1297.698
28/01/2024 14:30 | 1535.661 | 1643.069 | 1428.252
28/01/2024 15:00 | 1694.994 | 1813.953 | 1576.036
28/01/2024 15:30 | 1899.704 | 2033.483 | 1765.925
28/01/2024 16:00 | 2127.874 | 2278.229 | 1977.519
28/01/2024 16:30 | 2340.376 | 2506.306 | 2174.447
28/01/2024 17:00 | 2522.318 | 2701.75 | 2342.886
28/01/2024 17:30 | 2647.957 | 2836.959 | 2458.955
28/01/2024 18:00 | 2684.632 | 2876.893 | 2492.372
28/01/2024 18:30 | 2668.12 | 2859.836 | 2476.404
28/01/2024 19:00 | 2644.522 | 2835.174 | 2453.871
28/01/2024 19:30 | 2600.754 | 2788.872 | 2412.637
28/01/2024 20:00 | 2519.824 | 2702.69 | 2336.958
28/01/2024 20:30 | 2433.292 | 2610.459 | 2256.124
28/01/2024 21:00 | 2336.612 | 2507.299 | 2165.926
28/01/2024 21:30 | 2241.54 | 2405.816 | 2077.263
28/01/2024 22:00 | 2156.444 | 2314.999 | 1997.888
28/01/2024 22:30 | 2079.519 | 2232.915 | 1926.123
28/01/2024 23:00 | 2018.231 | 2167.588 | 1868.874
28/01/2024 23:30 | 1963.021 | 2104.086 | 1821.956
29/01/2024 00:00 | 1915.863 | 2044.945 | 1786.781
29/01/2024 00:30 | 1879.481 | 2007.285 | 1751.678
29/01/2024 01:00 | 1851.839 | 1978.168 | 1725.51
29/01/2024 01:30 | 1833.243 | 1958.704 | 1707.783
29/01/2024 02:00 | 1820.115 | 1945.075 | 1695.155
29/01/2024 02:30 | 1811.987 | 1936.785 | 1687.19
29/01/2024 03:00 | 1808.112 | 1933.038 | 1683.187
29/01/2024 03:30 | 1818.044 | 1944.053 | 1692.035
29/01/2024 04:00 | 1843.109 | 1971.259 | 1714.96
29/01/2024 04:30 | 1882.591 | 2013.897 | 1751.286
29/01/2024 05:00 | 1914.673 | 2048.635 | 1780.712
29/01/2024 05:30 | 1930.175 | 2065.643 | 1794.707
29/01/2024 06:00 | 1924.946 | 2060.468 | 1789.425
29/01/2024 06:30 | 1866.872 | 1998.713 | 1735.031
29/01/2024 07:00 | 1795.033 | 1922.193 | 1667.873
29/01/2024 07:30 | 1703.684 | 1824.745 | 1582.624
29/01/2024 08:00 | 1607.776 | 1722.373 | 1493.179
29/01/2024 08:30 | 1515.433 | 1623.779 | 1407.087
29/01/2024 09:00 | 1406.976 | 1507.875 | 1306.076
29/01/2024 09:30 | 1324.988 | 1420.298 | 1229.679
29/01/2024 10:00 | 1318.503 | 1413.633 | 1223.372
29/01/2024 10:30 | 1345.217 | 1442.569 | 1247.865
29/01/2024 11:00 | 1373.14 | 1472.813 | 1273.467
29/01/2024 11:30 | 1417.408 | 1520.604 | 1314.212
29/01/2024 12:00 | 1495.157 | 1604.34 | 1385.974
29/01/2024 12:30 | 1600.128 | 1717.326 | 1482.929
29/01/2024 13:00 | 1686.302 | 1810.181 | 1562.424
29/01/2024 13:30 | 1775.168 | 1905.962 | 1644.373
29/01/2024 14:00 | 1929.746 | 2072.351 | 1787.14
29/01/2024 14:30 | 2093.685 | 2248.862 | 1938.507
29/01/2024 15:00 | 2285.43 | 2455.319 | 2115.542
29/01/2024 15:30 | 2497.029 | 2683.192 | 2310.866
29/01/2024 16:00 | 2695.46 | 2897.007 | 2493.914
29/01/2024 16:30 | 2874.149 | 3089.684 | 2658.614
29/01/2024 17:00 | 3017.079 | 3243.992 | 2790.167
29/01/2024 17:30 | 3094.829 | 3328.265 | 2861.392
29/01/2024 18:00 | 3096.154 | 3330.367 | 2861.941
29/01/2024 18:30 | 3046.246 | 3277.349 | 2815.143
29/01/2024 19:00 | 2991.333 | 3218.923 | 2763.742
29/01/2024 19:30 | 2913.76 | 3136.086 | 2691.435
29/01/2024 20:00 | 2801.954 | 3016.36 | 2587.547
29/01/2024 20:30 | 2687.196 | 2893.408 | 2480.983
29/01/2024 21:00 | 2565.814 | 2763.272 | 2368.356
29/01/2024 21:30 | 2449.846 | 2638.915 | 2260.777
29/01/2024 22:00 | 2346.415 | 2528.014 | 2164.816
29/01/2024 22:30 | 2261.251 | 2436.753 | 2085.749
29/01/2024 23:00 | 2199.907 | 2371.129 | 2028.686
29/01/2024 23:30 | 2153.12 | 2321.171 | 1985.07
30/01/2024 00:00 | 2117.39 | 2283.114 | 1951.665
30/01/2024 00:30 | 2086.23 | 2249.971 | 1922.489
30/01/2024 01:00 | 2063.744 | 2226.171 | 1901.316
30/01/2024 01:30 | 2036.655 | 2197.395 | 1875.914
30/01/2024 02:00 | 2013.935 | 2173.322 | 1854.548
30/01/2024 02:30 | 1999.155 | 2157.809 | 1840.501
30/01/2024 03:00 | 1992.892 | 2151.485 | 1834.3
30/01/2024 03:30 | 1998.251 | 2157.706 | 1838.795
30/01/2024 04:00 | 2020.15 | 2181.794 | 1858.506
30/01/2024 04:30 | 2054.748 | 2219.609 | 1889.886
30/01/2024 05:00 | 2091.18 | 2259.421 | 1922.938
30/01/2024 05:30 | 2129.689 | 2301.494 | 1957.884
30/01/2024 06:00 | 2148.599 | 2322.399 | 1974.798
30/01/2024 06:30 | 2120.207 | 2292.173 | 1948.24
30/01/2024 07:00 | 2071.481 | 2250.355 | 1903.013
30/01/2024 07:30 | 1989.889 | 2163.085 | 1827.642
30/01/2024 08:00 | 1921.75 | 2091.38 | 1764.693
30/01/2024 08:30 | 1866.929 | 2033.599 | 1713.995
30/01/2024 09:00 | 1830.017 | 1995.643 | 1679.755
30/01/2024 09:30 | 1816.18 | 1982.447 | 1666.707
30/01/2024 10:00 | 1827.289 | 1996.025 | 1676.552
30/01/2024 10:30 | 1906.281 | 2081.926 | 1748.661
30/01/2024 11:00 | 1986.064 | 2168.226 | 1821.467
30/01/2024 11:30 | 2062.625 | 2251.682 | 1891.288
30/01/2024 12:00 | 2174.464 | 2373.823 | 1993.42
30/01/2024 12:30 | 2330.192 | 2544.08 | 2135.735
30/01/2024 13:00 | 2474.498 | 2701.652 | 2267.524
30/01/2024 13:30 | 2617.164 | 2856.626 | 2397.756
30/01/2024 14:00 | 2775.274 | 3027.429 | 2542.079
30/01/2024 14:30 | 2938.422 | 3203.835 | 2690.956
30/01/2024 15:00 | 3151.678 | 3435.731 | 2885.647
30/01/2024 15:30 | 3374.532 | 3677.906 | 3089.043
30/01/2024 16:00 | 3569.105 | 3888.044 | 3266.471
30/01/2024 16:30 | 3760.468 | 4094.765 | 3440.888
30/01/2024 17:00 | 3899.692 | 4244.497 | 3567.532
30/01/2024 17:30 | 3953.491 | 4301.008 | 3615.991
30/01/2024 18:00 | 3930 | 4273.582 | 3593.752
30/01/2024 18:30 | 3849.087 | 4184.124 | 3519.024
30/01/2024 19:00 | 3767.552 | 4091.345 | 3441.705
30/01/2024 19:30 | 3663.046 | 3978.56 | 3347.063
30/01/2024 20:00 | 3516.337 | 3819.888 | 3213.388
30/01/2024 20:30 | 3340.981 | 3630.034 | 3053.712
30/01/2024 21:00 | 3148.307 | 3421.295 | 2878.288
30/01/2024 21:30 | 2969.306 | 3227.341 | 2714.776
30/01/2024 22:00 | 2810.259 | 3055.012 | 2569.191
30/01/2024 22:30 | 2680.854 | 2914.85 | 2446.857
30/01/2024 23:00 | 2583.219 | 2809.189 | 2357.25
30/01/2024 23:30 | 2506.593 | 2726.339 | 2286.846
31/01/2024 00:00 | 2452.76 | 2668.257 | 2237.262
31/01/2024 00:30 | 2402.329 | 2613.856 | 2190.802
31/01/2024 01:00 | 2355.966 | 2563.862 | 2148.069
31/01/2024 01:30 | 2319.578 | 2524.708 | 2114.448
31/01/2024 02:00 | 2287.999 | 2490.775 | 2085.223
31/01/2024 02:30 | 2264.368 | 2465.483 | 2063.252
31/01/2024 03:00 | 2249.304 | 2449.513 | 2049.095
31/01/2024 03:30 | 2256.578 | 2457.866 | 2055.289
31/01/2024 04:00 | 2283.815 | 2487.971 | 2079.659
31/01/2024 04:30 | 2322.604 | 2530.672 | 2114.535
31/01/2024 05:00 | 2373.03 | 2586.071 | 2159.989
31/01/2024 05:30 | 2445.566 | 2665.588 | 2225.545
31/01/2024 06:00 | 2523.925 | 2751.48 | 2296.37
31/01/2024 06:30 | 2564.955 | 2796.7 | 2333.209
31/01/2024 07:00 | 2585.818 | 2819.944 | 2351.691
31/01/2024 07:30 | 2562.486 | 2794.991 | 2329.981
31/01/2024 08:00 | 2530.784 | 2760.898 | 2300.671
31/01/2024 08:30 | 2523.955 | 2753.931 | 2293.978
31/01/2024 09:00 | 2527.343 | 2758.112 | 2296.573
31/01/2024 09:30 | 2554.043 | 2787.74 | 2320.346
31/01/2024 10:00 | 2592.255 | 2829.945 | 2354.565
31/01/2024 10:30 | 2644.66 | 2887.662 | 2401.658
31/01/2024 11:00 | 2722.334 | 2972.996 | 2471.673
31/01/2024 11:30 | 2816.744 | 3076.638 | 2556.85
31/01/2024 12:00 | 2921.673 | 3191.808 | 2651.538
31/01/2024 12:30 | 3027.125 | 3307.59 | 2746.659
31/01/2024 13:00 | 3114.765 | 3403.947 | 2825.582
31/01/2024 13:30 | 3216.531 | 3515.778 | 2917.283
31/01/2024 14:00 | 3365.683 | 3679.451 | 3051.915
31/01/2024 14:30 | 3522.287 | 3851.33 | 3193.244
31/01/2024 15:00 | 3686.179 | 4031.239 | 3341.119
31/01/2024 15:30 | 3845.031 | 4205.698 | 3484.364
31/01/2024 16:00 | 3991.173 | 4366.313 | 3616.033
31/01/2024 16:30 | 4090.17 | 4475.4 | 3704.941
31/01/2024 17:00 | 4172.531 | 4566.317 | 3778.745
31/01/2024 17:30 | 4194.231 | 4590.869 | 3797.593
31/01/2024 18:00 | 4149.631 | 4542.846 | 3756.416
31/01/2024 18:30 | 4064.208 | 4450.107 | 3678.308
31/01/2024 19:00 | 3970.481 | 4348.242 | 3592.72
31/01/2024 19:30 | 3868.69 | 4237.508 | 3499.872
31/01/2024 20:00 | 3714.025 | 4068.81 | 3359.24
31/01/2024 20:30 | 3529.117 | 3866.915 | 3191.319
31/01/2024 21:00 | 3333.459 | 3653.169 | 3013.75
31/01/2024 21:30 | 3143.402 | 3445.485 | 2841.319
31/01/2024 22:00 | 2967.729 | 3253.498 | 2681.959
31/01/2024 22:30 | 2814.401 | 3085.946 | 2542.856
31/01/2024 23:00 | 2687.476 | 2947.289 | 2427.662
31/01/2024 23:30 | 2583.966 | 2834.269 | 2333.664
01/02/2024 00:00 | 2489.921 | 2731.591 | 2248.252
01/02/2024 00:30 | 2411.301 | 2645.802 | 2176.8
01/02/2024 01:00 | 2354.785 | 2584.24 | 2125.329
01/02/2024 01:30 | 2315.944 | 2542.059 | 2089.829
01/02/2024 02:00 | 2281.102 | 2504.253 | 2057.952
01/02/2024 02:30 | 2254.38 | 2475.348 | 2033.411
01/02/2024 03:00 | 2234.18 | 2453.597 | 2014.764
01/02/2024 03:30 | 2230.84 | 2450.357 | 2011.324
01/02/2024 04:00 | 2245.743 | 2467.156 | 2024.33
01/02/2024 04:30 | 2276.809 | 2501.722 | 2051.897
01/02/2024 05:00 | 2307.132 | 2535.482 | 2078.782
01/02/2024 05:30 | 2344.372 | 2576.857 | 2111.886
01/02/2024 06:00 | 2379.938 | 2616.407 | 2143.47
01/02/2024 06:30 | 2375.257 | 2611.715 | 2138.798
01/02/2024 07:00 | 2342.392 | 2576.028 | 2108.756
01/02/2024 07:30 | 2267.722 | 2494.461 | 2040.984
01/02/2024 08:00 | 2210.231 | 2431.981 | 1988.48
01/02/2024 08:30 | 2181.821 | 2401.453 | 1962.189
01/02/2024 09:00 | 2166.121 | 2384.899 | 1947.344
01/02/2024 09:30 | 2169.115 | 2388.922 | 1949.308
01/02/2024 10:00 | 2192.871 | 2415.821 | 1969.921
01/02/2024 10:30 | 2262.233 | 2492.994 | 2031.473
01/02/2024 11:00 | 2325.474 | 2563.466 | 2087.483
01/02/2024 11:30 | 2380.347 | 2624.752 | 2135.942
01/02/2024 12:00 | 2458.131 | 2711.347 | 2204.915
01/02/2024 12:30 | 2549.037 | 2812.472 | 2285.602
01/02/2024 13:00 | 2646.528 | 2920.926 | 2372.131
01/02/2024 13:30 | 2764.341 | 3051.88 | 2476.801
01/02/2024 14:00 | 2893.663 | 3195.625 | 2591.701
01/02/2024 14:30 | 3039.286 | 3357.463 | 2721.109
01/02/2024 15:00 | 3234.947 | 3574.692 | 2895.202
01/02/2024 15:30 | 3407.495 | 3766.503 | 3048.486
01/02/2024 16:00 | 3558.335 | 3934.43 | 3182.241
01/02/2024 16:30 | 3675.713 | 4065.446 | 3285.981
01/02/2024 17:00 | 3737.944 | 4135.528 | 3340.359
01/02/2024 17:30 | 3749.947 | 4150.065 | 3349.828
01/02/2024 18:00 | 3703.594 | 4100.009 | 3307.18
01/02/2024 18:30 | 3619.017 | 4007.592 | 3230.442
01/02/2024 19:00 | 3518.669 | 3897.65 | 3139.689
01/02/2024 19:30 | 3412.056 | 3780.698 | 3043.415
01/02/2024 20:00 | 3263.18 | 3616.832 | 2909.529
01/02/2024 20:30 | 3093.41 | 3429.699 | 2757.12
01/02/2024 21:00 | 2930.324 | 3249.867 | 2610.782
01/02/2024 21:30 | 2779.908 | 3083.98 | 2475.836
01/02/2024 22:00 | 2642.127 | 2932.015 | 2352.24
01/02/2024 22:30 | 2529.872 | 2808.291 | 2251.453
01/02/2024 23:00 | 2436.552 | 2705.519 | 2167.586
01/02/2024 23:30 | 2350.176 | 2610.395 | 2089.957
02/02/2024 00:00 | 2274.557 | 2527.166 | 2021.948
02/02/2024 00:30 | 2215.209 | 2461.969 | 1968.448
02/02/2024 01:00 | 2171.146 | 2413.727 | 1928.566
02/02/2024 01:30 | 2138.402 | 2378.041 | 1898.763
02/02/2024 02:00 | 2110.247 | 2347.438 | 1873.055
02/02/2024 02:30 | 2085.84 | 2320.987 | 1850.693
02/02/2024 03:00 | 2070.959 | 2305.123 | 1836.795
02/02/2024 03:30 | 2074.918 | 2310.226 | 1839.611
02/02/2024 04:00 | 2096.749 | 2335.235 | 1858.263
02/02/2024 04:30 | 2132.012 | 2375.224 | 1888.8
02/02/2024 05:00 | 2158.02 | 2404.922 | 1911.117
02/02/2024 05:30 | 2184.598 | 2435.273 | 1933.922
02/02/2024 06:00 | 2196.659 | 2449.456 | 1943.863
02/02/2024 06:30 | 2159.968 | 2409.266 | 1910.67
02/02/2024 07:00 | 2091.266 | 2333.336 | 1849.197
02/02/2024 07:30 | 1983.817 | 2214.115 | 1753.52