## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
27/01/2024 08:00 | 1330.87 | 1355.264 | 1310.419
27/01/2024 08:30 | 1242.079 | 1267.723 | 1216.435 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
27/01/2024 09:00 | 1163.165 | 1191.626 | 1134.703 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
27/01/2024 09:30 | 1100.931 | 1132.079 | 1069.783 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
27/01/2024 10:00 | 1081.887 | 1116.633 | 1047.142 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
27/01/2024 10:30 | 1086.781 | 1124.762 | 1048.8 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
27/01/2024 11:00 | 1116.039 | 1156.016 | 1076.062 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
27/01/2024 11:30 | 1157.679 | 1200.354 | 1115.004 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
27/01/2024 12:00 | 1224.167 | 1270.567 | 1177.766 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
27/01/2024 12:30 | 1310.349 | 1361.381 | 1259.317 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
27/01/2024 13:00 | 1391.68 | 1447.329 | 1336.031 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
27/01/2024 13:30 | 1482.624 | 1543.454 | 1421.795
27/01/2024 14:00 | 1610.859 | 1678.628 | 1543.09 | Summary view - for each schedule horizon (dispatch, week-ahead)
27/01/2024 14:30 | 1768.38 | 1840.447 | 1692.143
27/01/2024 15:00 | 1933.717 | 2016.633 | 1846.083 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
27/01/2024 15:30 | 2122.706 | 2214.941 | 2023.393 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
27/01/2024 16:00 | 2315.745 | 2418.97 | 2205.169 | Scenario | Violations
27/01/2024 16:30 | 2486.528 | 2600.615 | 2365.816 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
27/01/2024 17:00 | 2619.996 | 2740.833 | 2488.174 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
27/01/2024 17:30 | 2714.08 | 2841.45 | 2574.135 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0
27/01/2024 18:00 | 2730.833 | 2868.472 | 2593.194 | High Demand Scenario | 0 | 6 | 10 | 10 | 0 | 0 | 33 | 0 | 0 | 0 | 0 | 0
27/01/2024 18:30 | 2708.516 | 2847.1 | 2569.931 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0
27/01/2024 19:00 | 2675.741 | 2813.227 | 2538.255
27/01/2024 19:30 | 2624.785 | 2760.344 | 2489.227 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
27/01/2024 20:00 | 2547.781 | 2680.034 | 2415.529
27/01/2024 20:30 | 2471.238 | 2600.168 | 2342.308 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
27/01/2024 21:00 | 2393.062 | 2518.543 | 2267.58 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
27/01/2024 21:30 | 2312.763 | 2434.642 | 2190.883 | [7 empty] | 27/01/2024 08:00 | [6 empty] | 31/01/2024 17:00 | 31/01/2024 16:30 | 31/01/2024 16:30 |  |  | 27/01/2024 08:00 | [11 empty] | 27/01/2024 08:00
27/01/2024 22:00 | 2235.728 | 2354.137 | 2117.319 | [7 empty] | 27/01/2024 08:30 | [6 empty] | 31/01/2024 17:30 | 31/01/2024 17:00 | 31/01/2024 17:00 |  |  | 27/01/2024 08:30 | [11 empty] | 27/01/2024 08:30
27/01/2024 22:30 | 2161.08 | 2276.104 | 2046.056 | [7 empty] | 27/01/2024 09:00 | [6 empty] | 31/01/2024 18:00 | 31/01/2024 17:30 | 31/01/2024 17:30 |  |  | 27/01/2024 09:00 | [11 empty] | 27/01/2024 09:00
27/01/2024 23:00 | 2088.872 | 2200.603 | 1977.141 | [7 empty] | 27/01/2024 09:30 | [6 empty] | 31/01/2024 18:30 | 31/01/2024 18:00 | 31/01/2024 18:00 |  |  | 27/01/2024 09:30 | [11 empty] | 27/01/2024 09:30
27/01/2024 23:30 | 2025.787 | 2134.677 | 1916.897 | [7 empty] | 27/01/2024 10:00 | [6 empty] | 01/02/2024 17:30 | 31/01/2024 18:30 | 31/01/2024 18:30 |  |  | 27/01/2024 10:00 | [11 empty] | 27/01/2024 10:00
28/01/2024 00:00 | 1970.686 | 2077.133 | 1864.239 | [7 empty] | 27/01/2024 10:30 | [6 empty] | 01/02/2024 18:00 | 01/02/2024 16:30 | 01/02/2024 16:30 |  |  | 27/01/2024 10:30 | [11 empty] | 27/01/2024 10:30
28/01/2024 00:30 | 1926.718 | 2031.297 | 1822.138 | [7 empty] | 27/01/2024 11:00 | [7 empty] | 01/02/2024 17:00 | 01/02/2024 17:00 |  |  | 28/01/2024 10:30 | [11 empty] | 27/01/2024 11:00
28/01/2024 01:00 | 1890.975 | 1994.112 | 1787.838 | [7 empty] | 27/01/2024 11:30 | [7 empty] | 01/02/2024 17:30 | 01/02/2024 17:30 |  |  | 28/01/2024 11:00 | [11 empty] | 27/01/2024 11:30
28/01/2024 01:30 | 1866.627 | 1968.927 | 1764.326 | [7 empty] | 28/01/2024 11:00 | [7 empty] | 01/02/2024 18:00 | 01/02/2024 18:00 |  |  | 28/01/2024 11:30 | [11 empty] | 28/01/2024 14:00
28/01/2024 02:00 | 1848.152 | 1949.927 | 1746.378 | [7 empty] | 28/01/2024 11:30 | [7 empty] | 01/02/2024 18:30 | 01/02/2024 18:30 |  |  | 28/01/2024 12:00 | [11 empty] | 28/01/2024 14:30
28/01/2024 02:30 | 1831.452 | 1932.789 | 1730.115 | [7 empty] | 28/01/2024 12:00 | [11 empty] | 28/01/2024 12:30 | [11 empty] | 29/01/2024 11:30
28/01/2024 03:00 | 1819.535 | 1920.692 | 1718.378 | [7 empty] | 28/01/2024 12:30 | [11 empty] | 28/01/2024 13:00 | [11 empty] | 29/01/2024 12:00
28/01/2024 03:30 | 1814.82 | 1916.193 | 1713.448 | [7 empty] | 28/01/2024 13:00 | [11 empty] | 28/01/2024 14:00 | [11 empty] | 29/01/2024 12:30
28/01/2024 04:00 | 1813.91 | 1915.709 | 1712.111 | [7 empty] | 28/01/2024 13:30 | [11 empty] | 28/01/2024 14:30 | [11 empty] | 29/01/2024 13:00
28/01/2024 04:30 | 1805.298 | 1907.089 | 1703.507 | [7 empty] | 28/01/2024 14:00 | [11 empty] | 29/01/2024 10:30 | [11 empty] | 29/01/2024 13:30
28/01/2024 05:00 | 1783.475 | 1884.505 | 1682.444 | [7 empty] | 28/01/2024 14:30 | [11 empty] | 29/01/2024 11:00 | [11 empty] | 30/01/2024 10:00
28/01/2024 05:30 | 1750.759 | 1850.397 | 1651.121 | [7 empty] | 29/01/2024 11:00 | [11 empty] | 29/01/2024 11:30 | [11 empty] | 30/01/2024 10:30
28/01/2024 06:00 | 1712.47 | 1810.38 | 1614.561 | [7 empty] | 29/01/2024 11:30 | [11 empty] | 29/01/2024 12:00 | [11 empty] | 30/01/2024 11:00
28/01/2024 06:30 | 1684.925 | 1781.66 | 1588.19 | [7 empty] | 29/01/2024 12:00 | [11 empty] | 30/01/2024 09:00
28/01/2024 07:00 | 1654.066 | 1749.338 | 1558.793 | [7 empty] | 29/01/2024 12:30 | [11 empty] | 30/01/2024 10:00
28/01/2024 07:30 | 1607.174 | 1700.052 | 1514.295 | [7 empty] | 30/01/2024 09:30 | [11 empty] | 30/01/2024 10:30
28/01/2024 08:00 | 1542.463 | 1631.897 | 1453.03 | [7 empty] | 30/01/2024 10:00 | [11 empty] | 31/01/2024 16:00
28/01/2024 08:30 | 1451.367 | 1535.796 | 1366.938 | [7 empty] | 30/01/2024 10:30 | [11 empty] | 31/01/2024 16:30
28/01/2024 09:00 | 1350.884 | 1429.726 | 1272.042 | [19 empty] | 31/01/2024 17:00
28/01/2024 09:30 | 1250.223 | 1323.429 | 1177.017 | [19 empty] | 31/01/2024 17:30
28/01/2024 10:00 | 1211.83 | 1283.019 | 1140.641 | [19 empty] | 31/01/2024 18:00
28/01/2024 10:30 | 1267.292 | 1341.982 | 1192.603 | [19 empty] | 31/01/2024 18:30
28/01/2024 11:00 | 1292.41 | 1368.827 | 1215.993 | [19 empty] | 31/01/2024 19:00
28/01/2024 11:30 | 1261.984 | 1336.843 | 1187.125 | [19 empty] | 01/02/2024 16:30
28/01/2024 12:00 | 1253.49 | 1328.085 | 1178.895 | [19 empty] | 01/02/2024 17:00
28/01/2024 12:30 | 1260.412 | 1335.659 | 1185.164 | [19 empty] | 01/02/2024 17:30
28/01/2024 13:00 | 1280.076 | 1356.742 | 1203.41 | [19 empty] | 01/02/2024 18:00
28/01/2024 13:30 | 1338.001 | 1418.392 | 1257.61 | [19 empty] | 01/02/2024 18:30
28/01/2024 14:00 | 1435.704 | 1522.24 | 1349.169
28/01/2024 14:30 | 1571.004 | 1665.994 | 1476.013
28/01/2024 15:00 | 1720.292 | 1824.638 | 1615.946
28/01/2024 15:30 | 1907.042 | 2023.08 | 1791.005
28/01/2024 16:00 | 2117.587 | 2246.841 | 1988.333
28/01/2024 16:30 | 2313.032 | 2454.657 | 2171.407
28/01/2024 17:00 | 2478.035 | 2630.236 | 2325.833
28/01/2024 17:30 | 2593.838 | 2753.648 | 2434.029
28/01/2024 18:00 | 2632.039 | 2794.705 | 2469.372
28/01/2024 18:30 | 2617.223 | 2779.474 | 2454.972
28/01/2024 19:00 | 2591.056 | 2752.18 | 2429.933
28/01/2024 19:30 | 2551.346 | 2710.487 | 2392.204
28/01/2024 20:00 | 2475.803 | 2630.706 | 2320.9
28/01/2024 20:30 | 2392.029 | 2542.147 | 2241.91
28/01/2024 21:00 | 2300.556 | 2444.427 | 2155.738
28/01/2024 21:30 | 2211.152 | 2349.859 | 2071.541
28/01/2024 22:00 | 2129.395 | 2263.382 | 1994.538
28/01/2024 22:30 | 2056.063 | 2185.835 | 1925.458
28/01/2024 23:00 | 1996.593 | 2123 | 1869.384
28/01/2024 23:30 | 1943.164 | 2062.675 | 1822.917
29/01/2024 00:00 | 1897.668 | 2007.205 | 1787.492
29/01/2024 00:30 | 1862.454 | 1970.906 | 1753.375
29/01/2024 01:00 | 1835.756 | 1942.96 | 1727.937
29/01/2024 01:30 | 1819.2 | 1925.739 | 1712.053
29/01/2024 02:00 | 1807.396 | 1913.541 | 1700.646
29/01/2024 02:30 | 1800.264 | 1906.289 | 1693.639
29/01/2024 03:00 | 1798.191 | 1904.39 | 1691.979
29/01/2024 03:30 | 1809.344 | 1916.501 | 1702.174
29/01/2024 04:00 | 1836.293 | 1945.349 | 1727.224
29/01/2024 04:30 | 1876.395 | 1988.143 | 1764.634
29/01/2024 05:00 | 1911.878 | 2026.062 | 1797.695
29/01/2024 05:30 | 1931.052 | 2046.699 | 1815.404
29/01/2024 06:00 | 1924.314 | 2039.875 | 1808.752
29/01/2024 06:30 | 1869.825 | 1982.423 | 1757.227
29/01/2024 07:00 | 1799.239 | 1907.883 | 1690.594
29/01/2024 07:30 | 1699.052 | 1801.959 | 1596.144
29/01/2024 08:00 | 1589.967 | 1686.62 | 1493.314
29/01/2024 08:30 | 1494.655 | 1585.84 | 1403.469
29/01/2024 09:00 | 1384.675 | 1469.454 | 1299.896
29/01/2024 09:30 | 1297.391 | 1377.109 | 1217.673
29/01/2024 10:00 | 1274.378 | 1352.96 | 1195.795
29/01/2024 10:30 | 1279.667 | 1358.856 | 1200.479
29/01/2024 11:00 | 1291.366 | 1371.56 | 1211.172
29/01/2024 11:30 | 1320.433 | 1402.721 | 1238.145
29/01/2024 12:00 | 1372.291 | 1458.11 | 1286.471
29/01/2024 12:30 | 1451.459 | 1542.546 | 1360.371
29/01/2024 13:00 | 1519.694 | 1615.396 | 1423.993
29/01/2024 13:30 | 1592.854 | 1693.51 | 1492.197
29/01/2024 14:00 | 1720.391 | 1829.483 | 1611.299
29/01/2024 14:30 | 1865.488 | 1984.189 | 1746.788
29/01/2024 15:00 | 2044.185 | 2174.703 | 1913.667
29/01/2024 15:30 | 2251.541 | 2395.79 | 2107.292
29/01/2024 16:00 | 2449.183 | 2606.629 | 2291.737
29/01/2024 16:30 | 2630.625 | 2800.31 | 2460.94
29/01/2024 17:00 | 2783.297 | 2963.438 | 2603.156
29/01/2024 17:30 | 2873.589 | 3060.202 | 2686.976
29/01/2024 18:00 | 2888.479 | 3076.689 | 2700.268
29/01/2024 18:30 | 2856.042 | 3042.763 | 2669.321
29/01/2024 19:00 | 2814.765 | 2999.403 | 2630.128
29/01/2024 19:30 | 2750.584 | 2931.613 | 2569.555
29/01/2024 20:00 | 2652.829 | 2828.003 | 2477.654
29/01/2024 20:30 | 2552.353 | 2721.45 | 2383.256
29/01/2024 21:00 | 2445.95 | 2608.532 | 2283.367
29/01/2024 21:30 | 2343.751 | 2500.052 | 2187.45
29/01/2024 22:00 | 2251.719 | 2402.375 | 2101.063
29/01/2024 22:30 | 2174.239 | 2320.186 | 2028.292
29/01/2024 23:00 | 2117.461 | 2260.059 | 1974.863
29/01/2024 23:30 | 2073.018 | 2213.076 | 1932.96
30/01/2024 00:00 | 2037.89 | 2176.02 | 1899.76
30/01/2024 00:30 | 2008.264 | 2144.824 | 1871.703
30/01/2024 01:00 | 1987.295 | 2122.864 | 1851.726
30/01/2024 01:30 | 1964.27 | 2098.698 | 1829.843
30/01/2024 02:00 | 1945.75 | 2079.336 | 1812.165
30/01/2024 02:30 | 1933.9 | 2067.094 | 1800.706
30/01/2024 03:00 | 1929.609 | 2062.93 | 1796.289
30/01/2024 03:30 | 1937.236 | 2071.507 | 1802.966
30/01/2024 04:00 | 1961.162 | 2097.519 | 1824.804
30/01/2024 04:30 | 1996.954 | 2136.236 | 1857.671
30/01/2024 05:00 | 2033.402 | 2175.671 | 1891.133
30/01/2024 05:30 | 2064.724 | 2209.635 | 1919.813
30/01/2024 06:00 | 2069.563 | 2215.266 | 1923.86
30/01/2024 06:30 | 2023.172 | 2166.051 | 1880.293
30/01/2024 07:00 | 1956.184 | 2094.76 | 1817.609
30/01/2024 07:30 | 1857 | 1988.956 | 1725.045
30/01/2024 08:00 | 1759.65 | 1885.072 | 1634.228
30/01/2024 08:30 | 1679.311 | 1799.373 | 1559.248
30/01/2024 09:00 | 1616.57 | 1732.5 | 1500.64
30/01/2024 09:30 | 1578.207 | 1691.731 | 1464.683
30/01/2024 10:00 | 1574.035 | 1687.602 | 1460.467
30/01/2024 10:30 | 1630.55 | 1748.551 | 1512.548
30/01/2024 11:00 | 1687.245 | 1809.718 | 1564.772
30/01/2024 11:30 | 1744.847 | 1871.883 | 1617.812
30/01/2024 12:00 | 1837.028 | 1971.176 | 1702.88
30/01/2024 12:30 | 1969.547 | 2113.803 | 1825.292
30/01/2024 13:00 | 2096.804 | 2250.839 | 1942.77
30/01/2024 13:30 | 2227.225 | 2391.327 | 2063.123
30/01/2024 14:00 | 2382.758 | 2558.841 | 2206.676
30/01/2024 14:30 | 2547.33 | 2736.131 | 2358.53
30/01/2024 15:00 | 2751.83 | 2956.388 | 2547.271
30/01/2024 15:30 | 2964.526 | 3185.543 | 2743.509
30/01/2024 16:00 | 3155.021 | 3390.93 | 2919.113
30/01/2024 16:30 | 3341.756 | 3592.358 | 3091.155
30/01/2024 17:00 | 3484.136 | 3746.176 | 3222.096
30/01/2024 17:30 | 3547.11 | 3814.661 | 3279.559
30/01/2024 18:00 | 3534.532 | 3801.906 | 3267.157
30/01/2024 18:30 | 3471.175 | 3734.516 | 3207.835
30/01/2024 19:00 | 3403.719 | 3662.686 | 3144.753
30/01/2024 19:30 | 3314.331 | 3567.22 | 3061.442
30/01/2024 20:00 | 3186.345 | 3430.165 | 2942.525
30/01/2024 20:30 | 3038.682 | 3271.866 | 2805.497
30/01/2024 21:00 | 2879.478 | 3101.075 | 2657.881
30/01/2024 21:30 | 2731.511 | 2942.317 | 2520.705
30/01/2024 22:00 | 2598.784 | 2799.915 | 2397.653
30/01/2024 22:30 | 2493.04 | 2686.532 | 2299.548
30/01/2024 23:00 | 2419.14 | 2607.424 | 2230.855
30/01/2024 23:30 | 2366.682 | 2551.401 | 2181.963
31/01/2024 00:00 | 2333.425 | 2516.058 | 2150.792
31/01/2024 00:30 | 2295.678 | 2475.858 | 2115.498
31/01/2024 01:00 | 2259.339 | 2437.161 | 2081.517
31/01/2024 01:30 | 2224.126 | 2399.663 | 2048.59
31/01/2024 02:00 | 2193.235 | 2366.812 | 2019.658
31/01/2024 02:30 | 2172.778 | 2345.211 | 2000.345
31/01/2024 03:00 | 2160.854 | 2332.813 | 1988.896
31/01/2024 03:30 | 2170.116 | 2343.286 | 1996.946
31/01/2024 04:00 | 2199.721 | 2375.734 | 2023.708
31/01/2024 04:30 | 2243.727 | 2423.751 | 2063.702
31/01/2024 05:00 | 2292.631 | 2477.08 | 2108.182
31/01/2024 05:30 | 2355.496 | 2545.518 | 2165.475
31/01/2024 06:00 | 2418.173 | 2613.779 | 2222.567
31/01/2024 06:30 | 2432.354 | 2629.638 | 2235.069
31/01/2024 07:00 | 2428.643 | 2626.157 | 2231.129
31/01/2024 07:30 | 2377.373 | 2571.214 | 2183.532
31/01/2024 08:00 | 2313.354 | 2502.415 | 2124.292
31/01/2024 08:30 | 2278.107 | 2464.724 | 2091.49
31/01/2024 09:00 | 2257.118 | 2442.448 | 2071.787
31/01/2024 09:30 | 2268.917 | 2455.65 | 2082.183
31/01/2024 10:00 | 2298.603 | 2488.221 | 2108.985
31/01/2024 10:30 | 2356.994 | 2551.881 | 2162.108
31/01/2024 11:00 | 2447.973 | 2650.851 | 2245.095
31/01/2024 11:30 | 2544.329 | 2755.68 | 2332.977
31/01/2024 12:00 | 2674.648 | 2897.337 | 2451.959
31/01/2024 12:30 | 2796.181 | 3029.524 | 2562.837
31/01/2024 13:00 | 2888.774 | 3130.399 | 2647.15
31/01/2024 13:30 | 3019.586 | 3272.731 | 2766.442
31/01/2024 14:00 | 3203.213 | 3472.366 | 2934.06
31/01/2024 14:30 | 3380.386 | 3665.074 | 3095.698
31/01/2024 15:00 | 3571.65 | 3873.13 | 3270.17
31/01/2024 15:30 | 3754.879 | 4072.545 | 3437.213
31/01/2024 16:00 | 3921.404 | 4253.911 | 3588.898
31/01/2024 16:30 | 4038.958 | 4382.206 | 3695.71
31/01/2024 17:00 | 4144.983 | 4498.036 | 3791.931
31/01/2024 17:30 | 4184.728 | 4541.967 | 3827.488
31/01/2024 18:00 | 4151.244 | 4506.421 | 3796.066
31/01/2024 18:30 | 4072.298 | 4421.502 | 3723.095
31/01/2024 19:00 | 3983.621 | 4325.984 | 3641.259
31/01/2024 19:30 | 3882.214 | 4216.605 | 3547.822
31/01/2024 20:00 | 3726.324 | 4048.002 | 3404.646
31/01/2024 20:30 | 3539.386 | 3845.606 | 3233.167
31/01/2024 21:00 | 3343.628 | 3633.552 | 3053.705
31/01/2024 21:30 | 3154.117 | 3428.213 | 2880.022
31/01/2024 22:00 | 2975.446 | 3234.585 | 2716.307
31/01/2024 22:30 | 2820.19 | 3066.348 | 2574.032
31/01/2024 23:00 | 2696.027 | 2931.865 | 2460.19
31/01/2024 23:30 | 2597.74 | 2825.478 | 2370.003
01/02/2024 00:00 | 2511.285 | 2731.924 | 2290.645
01/02/2024 00:30 | 2437.615 | 2652.25 | 2222.981
01/02/2024 01:00 | 2385.806 | 2596.335 | 2175.276
01/02/2024 01:30 | 2347.102 | 2554.666 | 2139.538
01/02/2024 02:00 | 2310.834 | 2515.634 | 2106.035
01/02/2024 02:30 | 2285.168 | 2488.131 | 2082.205
01/02/2024 03:00 | 2265.577 | 2467.235 | 2063.92
01/02/2024 03:30 | 2262.323 | 2464.124 | 2060.522
01/02/2024 04:00 | 2275.801 | 2479.241 | 2072.362
01/02/2024 04:30 | 2308.043 | 2514.807 | 2101.279
01/02/2024 05:00 | 2346.356 | 2557.002 | 2135.71
01/02/2024 05:30 | 2398.741 | 2614.55 | 2182.932
01/02/2024 06:00 | 2442.889 | 2663.138 | 2222.641
01/02/2024 06:30 | 2438.188 | 2658.481 | 2217.896
01/02/2024 07:00 | 2417.674 | 2636.576 | 2198.772
01/02/2024 07:30 | 2361.279 | 2575.527 | 2147.03
01/02/2024 08:00 | 2317.034 | 2527.712 | 2106.356
01/02/2024 08:30 | 2310.88 | 2521.442 | 2100.319
01/02/2024 09:00 | 2324.55 | 2536.803 | 2112.298
01/02/2024 09:30 | 2376.001 | 2593.407 | 2158.595
01/02/2024 10:00 | 2425.625 | 2648.036 | 2203.213
01/02/2024 10:30 | 2480.521 | 2708.442 | 2252.601
01/02/2024 11:00 | 2571.91 | 2808.72 | 2335.099
01/02/2024 11:30 | 2672.69 | 2919.292 | 2426.088
01/02/2024 12:00 | 2775.298 | 3031.899 | 2518.696
01/02/2024 12:30 | 2876.776 | 3143.311 | 2610.24
01/02/2024 13:00 | 2967.663 | 3243.188 | 2692.137
01/02/2024 13:30 | 3084.108 | 3371.035 | 2797.181
01/02/2024 14:00 | 3207.797 | 3506.847 | 2908.748
01/02/2024 14:30 | 3355.879 | 3669.376 | 3042.381
01/02/2024 15:00 | 3556.103 | 3888.986 | 3223.219
01/02/2024 15:30 | 3725.952 | 4075.449 | 3376.455
01/02/2024 16:00 | 3874.549 | 4238.728 | 3510.371
01/02/2024 16:30 | 3995.848 | 4372.194 | 3619.503
01/02/2024 17:00 | 4069.212 | 4453.247 | 3685.177
01/02/2024 17:30 | 4088.845 | 4475.516 | 3702.173
01/02/2024 18:00 | 4038.82 | 4421.535 | 3656.105
01/02/2024 18:30 | 3952.488 | 4327.78 | 3577.197
01/02/2024 19:00 | 3851.062 | 4217.462 | 3484.663
01/02/2024 19:30 | 3748.11 | 4105.432 | 3390.787
01/02/2024 20:00 | 3593.331 | 3936.586 | 3250.075
01/02/2024 20:30 | 3407.847 | 3734.038 | 3081.657
01/02/2024 21:00 | 3227.451 | 3536.993 | 2917.909
01/02/2024 21:30 | 3054.382 | 3347.911 | 2760.854
01/02/2024 22:00 | 2891.285 | 3169.693 | 2612.876
01/02/2024 22:30 | 2762.206 | 3028.715 | 2495.697
01/02/2024 23:00 | 2660.231 | 2917.41 | 2403.051
01/02/2024 23:30 | 2568.46 | 2817.261 | 2319.66
02/02/2024 00:00 | 2488.068 | 2729.557 | 2246.578
02/02/2024 00:30 | 2423.583 | 2659.278 | 2187.888
02/02/2024 01:00 | 2377.006 | 2608.627 | 2145.385
02/02/2024 01:30 | 2335.799 | 2563.852 | 2107.745
02/02/2024 02:00 | 2301.326 | 2526.455 | 2076.198
02/02/2024 02:30 | 2272.77 | 2495.541 | 2049.999
02/02/2024 03:00 | 2252.214 | 2473.402 | 2031.026
02/02/2024 03:30 | 2250.899 | 2472.389 | 2029.409
02/02/2024 04:00 | 2268.44 | 2492.091 | 2044.789
02/02/2024 04:30 | 2300.432 | 2527.678 | 2073.186
02/02/2024 05:00 | 2329.98 | 2560.591 | 2099.368
02/02/2024 05:30 | 2365.501 | 2600.082 | 2130.92
02/02/2024 06:00 | 2404.149 | 2643.023 | 2165.275
02/02/2024 06:30 | 2410.283 | 2650.228 | 2170.337
02/02/2024 07:00 | 2397.141 | 2636.238 | 2158.045
02/02/2024 07:30 | 2355.821 | 2591.368 | 2120.274
02/02/2024 08:00 | 2378.807 | 2617.471 | 2140.144
02/02/2024 08:30 | 2440.348 | 2686.004 | 2194.691
02/02/2024 09:00 | 2466.499 | 2715.615 | 2217.383
02/02/2024 09:30 | 2448.073 | 2696.149 | 2199.998
02/02/2024 10:00 | 2497.078 | 2750.957 | 2243.199
02/02/2024 10:30 | 2659.483 | 2930.765 | 2388.201
02/02/2024 11:00 | 2721.634 | 3000.168 | 2443.099
02/02/2024 11:30 | 2672.261 | 2946.639 | 2397.884
02/02/2024 12:00 | 2673.241 | 2948.616 | 2397.867
02/02/2024 12:30 | 2718.138 | 2999.049 | 2437.228
02/02/2024 13:00 | 2804.427 | 3095.196 | 2513.658
02/02/2024 13:30 | 2916.913 | 3220.323 | 2613.503
02/02/2024 14:00 | 3040.028 | 3357.263 | 2722.792
02/02/2024 14:30 | 3187.106 | 3520.758 | 2853.454
02/02/2024 15:00 | 3324.759 | 3673.936 | 2975.582
02/02/2024 15:30 | 3442.599 | 3805.307 | 3079.892
02/02/2024 16:00 | 3556.497 | 3932.397 | 3180.597
02/02/2024 16:30 | 3641.922 | 4028.072 | 3255.772
02/02/2024 17:00 | 3671.36 | 4061.863 | 3280.858
02/02/2024 17:30 | 3656.508 | 4046.657 | 3266.36
02/02/2024 18:00 | 3599.716 | 3985.011 | 3214.42
02/02/2024 18:30 | 3510.896 | 3887.863 | 3133.93
02/02/2024 19:00 | 3414.949 | 3782.759 | 3047.14
02/02/2024 19:30 | 3317.032 | 3675.407 | 2958.656
02/02/2024 20:00 | 3193.31 | 3539.389 | 2847.231
02/02/2024 20:30 | 3056.176 | 3388.417 | 2723.934
02/02/2024 21:00 | 2922.334 | 3241.005 | 2603.663
02/02/2024 21:30 | 2793.335 | 3098.876 | 2487.794
02/02/2024 22:00 | 2678.445 | 2972.317 | 2384.573
02/02/2024 22:30 | 2572.842 | 2855.99 | 2289.694
02/02/2024 23:00 | 2469.84 | 2742.481 | 2197.199
02/02/2024 23:30 | 2369.935 | 2630.802 | 2109.069
03/02/2024 00:00 | 2278.694 | 2527.438 | 2029.951
03/02/2024 00:30 | 2208.635 | 2450.979 | 1966.291
03/02/2024 01:00 | 2156.895 | 2394.527 | 1919.263
03/02/2024 01:30 | 2121.253 | 2355.907 | 1886.598
03/02/2024 02:00 | 2094.109 | 2326.698 | 1861.52
03/02/2024 02:30 | 2066.657 | 2297.122 | 1836.193
03/02/2024 03:00 | 2044.185 | 2273.058 | 1815.312
03/02/2024 03:30 | 2034.076 | 2262.728 | 1805.425
03/02/2024 04:00 | 2031.808 | 2261.114 | 1802.502
03/02/2024 04:30 | 2023.592 | 2252.876 | 1794.308
03/02/2024 05:00 | 1997.871 | 2225.135 | 1770.607
03/02/2024 05:30 | 1966.158 | 2190.694 | 1741.622
03/02/2024 06:00 | 1917.291 | 2137.104 | 1697.477
03/02/2024 06:30 | 1839.136 | 2050.812 | 1627.46
03/02/2024 07:00 | 1790.503 | 1997.383 | 1583.623
03/02/2024 07:30 | 1776.302 | 1982.336 | 1570.268