## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
28/01/2024 08:00 | 1504.19 | 1523.771 | 1473.35
28/01/2024 08:30 | 1449.827 | 1479.76 | 1419.894 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
28/01/2024 09:00 | 1392.536 | 1426.61 | 1358.461 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
28/01/2024 09:30 | 1359.234 | 1397.689 | 1320.778 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
28/01/2024 10:00 | 1327.805 | 1370.448 | 1285.162 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
28/01/2024 10:30 | 1295.347 | 1340.617 | 1250.077 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
28/01/2024 11:00 | 1251.916 | 1296.761 | 1207.071 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
28/01/2024 11:30 | 1222.597 | 1267.665 | 1177.529 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
28/01/2024 12:00 | 1204.878 | 1250.548 | 1159.209 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
28/01/2024 12:30 | 1233.086 | 1281.109 | 1185.063 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
28/01/2024 13:00 | 1275.83 | 1326.846 | 1224.813 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
28/01/2024 13:30 | 1343.094 | 1398.198 | 1287.989
28/01/2024 14:00 | 1450.636 | 1511.664 | 1389.608 | Summary view - for each schedule horizon (dispatch, week-ahead)
28/01/2024 14:30 | 1583.092 | 1642.537 | 1514.843
28/01/2024 15:00 | 1726.445 | 1794.357 | 1650.218 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
28/01/2024 15:30 | 1906.007 | 1983.51 | 1811.975 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
28/01/2024 16:00 | 2111.179 | 2200.31 | 2005.835 | Scenario | Violations
28/01/2024 16:30 | 2302.37 | 2403.085 | 2186.12 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
28/01/2024 17:00 | 2465.049 | 2575.503 | 2338.085 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
28/01/2024 17:30 | 2582.635 | 2701.505 | 2447.356 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 34 | 0 | 0 | 0 | 0 | 3
28/01/2024 18:00 | 2627.294 | 2752.259 | 2488.134 | High Demand Scenario | 0 | 3 | 8 | 8 | 0 | 0 | 39 | 0 | 0 | 0 | 0 | 1
28/01/2024 18:30 | 2621.234 | 2749.301 | 2481.652 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 29 | 0 | 0 | 0 | 0 | 3
28/01/2024 19:00 | 2601.248 | 2730.262 | 2463.4
28/01/2024 19:30 | 2562.027 | 2690.22 | 2425.99 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
28/01/2024 20:00 | 2488.341 | 2613.872 | 2355.897
28/01/2024 20:30 | 2408.189 | 2530.622 | 2279.659 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
28/01/2024 21:00 | 2320.619 | 2439.484 | 2196.4 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
28/01/2024 21:30 | 2235.274 | 2350.46 | 2115.129 | [7 empty] | 28/01/2024 08:00 |  |  |  |  | 28/01/2024 08:00 |  | 01/02/2024 17:00 | 31/01/2024 17:00 | 31/01/2024 17:00 |  |  | 28/01/2024 08:00 |  |  |  |  | 28/01/2024 08:00 | [6 empty] | 28/01/2024 08:00 |  |  |  |  | 28/01/2024 08:00
28/01/2024 22:00 | 2156.239 | 2267.912 | 2039.768 | [7 empty] | 28/01/2024 08:30 |  |  |  |  | 28/01/2024 09:00 |  | 01/02/2024 17:30 | 31/01/2024 17:30 | 31/01/2024 17:30 |  |  | 28/01/2024 08:30 | [11 empty] | 28/01/2024 08:30 |  |  |  |  | 28/01/2024 10:00
28/01/2024 22:30 | 2085.949 | 2194.692 | 1972.872 | [7 empty] | 28/01/2024 09:00 |  |  |  |  | 28/01/2024 10:00 |  | 01/02/2024 18:00 | 31/01/2024 18:00 | 31/01/2024 18:00 |  |  | 28/01/2024 09:00 | [11 empty] | 28/01/2024 09:00 |  |  |  |  | 02/02/2024 07:30
28/01/2024 23:00 | 2028.807 | 2137.325 | 1920.289 | [7 empty] | 28/01/2024 09:30 | [7 empty] | 01/02/2024 16:30 | 01/02/2024 16:30 |  |  | 28/01/2024 09:30 | [11 empty] | 28/01/2024 09:30
28/01/2024 23:30 | 1980.229 | 2082.132 | 1878.326 | [7 empty] | 28/01/2024 10:00 | [7 empty] | 01/02/2024 17:00 | 01/02/2024 17:00 |  |  | 28/01/2024 10:00 | [11 empty] | 28/01/2024 10:00
29/01/2024 00:00 | 1939.181 | 2030.77 | 1847.592 | [7 empty] | 28/01/2024 10:30 | [7 empty] | 01/02/2024 17:30 | 01/02/2024 17:30 |  |  | 28/01/2024 10:30 | [11 empty] | 28/01/2024 10:30
29/01/2024 00:30 | 1906.334 | 1997.878 | 1814.789 | [7 empty] | 28/01/2024 11:00 | [7 empty] | 01/02/2024 18:00 | 01/02/2024 18:00 |  |  | 28/01/2024 11:00 | [11 empty] | 28/01/2024 11:00
29/01/2024 01:00 | 1881.176 | 1972.249 | 1790.103 | [7 empty] | 28/01/2024 11:30 | [7 empty] | 01/02/2024 18:30 | 01/02/2024 18:30 |  |  | 28/01/2024 11:30 | [11 empty] | 28/01/2024 11:30
29/01/2024 01:30 | 1864.649 | 1955.651 | 1773.647 | [7 empty] | 28/01/2024 12:00 | [11 empty] | 28/01/2024 12:00 | [11 empty] | 28/01/2024 12:00
29/01/2024 02:00 | 1852.91 | 1944.064 | 1761.755 | [7 empty] | 28/01/2024 12:30 | [11 empty] | 28/01/2024 12:30 | [11 empty] | 28/01/2024 12:30
29/01/2024 02:30 | 1845.606 | 1937.124 | 1754.089 | [7 empty] | 28/01/2024 13:00 | [11 empty] | 28/01/2024 13:00 | [11 empty] | 28/01/2024 13:00
29/01/2024 03:00 | 1843.625 | 1935.766 | 1751.484 | [7 empty] | 28/01/2024 13:30 | [11 empty] | 28/01/2024 13:30 | [11 empty] | 28/01/2024 13:30
29/01/2024 03:30 | 1855.074 | 1948.513 | 1761.634 | [7 empty] | 28/01/2024 14:00 | [11 empty] | 28/01/2024 14:00 | [11 empty] | 28/01/2024 14:00
29/01/2024 04:00 | 1882.303 | 1977.85 | 1786.755 | [7 empty] | 28/01/2024 14:30 | [11 empty] | 28/01/2024 14:30 | [11 empty] | 28/01/2024 14:30
29/01/2024 04:30 | 1922.209 | 2020.535 | 1823.883 | [7 empty] | 29/01/2024 10:30 | [11 empty] | 29/01/2024 10:00 | [11 empty] | 29/01/2024 11:30
29/01/2024 05:00 | 1958.106 | 2059.034 | 1857.178 | [7 empty] | 29/01/2024 11:00 | [11 empty] | 29/01/2024 10:30 | [11 empty] | 29/01/2024 12:00
29/01/2024 05:30 | 1978.348 | 2081.094 | 1875.602 | [7 empty] | 29/01/2024 11:30 | [11 empty] | 29/01/2024 11:00 | [11 empty] | 29/01/2024 12:30
29/01/2024 06:00 | 1972.749 | 2075.976 | 1869.521 | [7 empty] | 29/01/2024 12:00 | [11 empty] | 29/01/2024 11:30 | [11 empty] | 30/01/2024 10:00
29/01/2024 06:30 | 1920.099 | 2021.168 | 1819.03 | [7 empty] | 29/01/2024 12:30 | [11 empty] | 29/01/2024 12:00 | [11 empty] | 30/01/2024 10:30
29/01/2024 07:00 | 1849.312 | 1946.935 | 1751.689 | [7 empty] | 29/01/2024 13:00 | [11 empty] | 30/01/2024 10:00 | [11 empty] | 30/01/2024 11:00
29/01/2024 07:30 | 1755.536 | 1848.499 | 1662.574 | [7 empty] | 30/01/2024 09:30 | [11 empty] | 31/01/2024 16:30 | [11 empty] | 03/02/2024 10:00
29/01/2024 08:00 | 1655.401 | 1743.334 | 1567.467 | [7 empty] | 30/01/2024 10:00 | [11 empty] | 31/01/2024 17:00 | [11 empty] | 03/02/2024 10:30
29/01/2024 08:30 | 1558.18 | 1641.206 | 1475.154 | [7 empty] | 30/01/2024 10:30 | [11 empty] | 31/01/2024 17:30 | [11 empty] | 03/02/2024 11:00
29/01/2024 09:00 | 1452.1 | 1529.714 | 1374.486 | [7 empty] | 03/02/2024 09:30 | [11 empty] | 31/01/2024 18:00 | [11 empty] | 03/02/2024 11:30
29/01/2024 09:30 | 1370.234 | 1443.698 | 1296.77 | [7 empty] | 03/02/2024 10:00 | [11 empty] | 31/01/2024 18:30 | [11 empty] | 03/02/2024 12:00
29/01/2024 10:00 | 1341.183 | 1413.311 | 1269.055 | [7 empty] | 03/02/2024 10:30 | [11 empty] | 01/02/2024 16:30 | [11 empty] | 03/02/2024 12:30
29/01/2024 10:30 | 1337.144 | 1409.276 | 1265.013 | [7 empty] | 03/02/2024 11:00 | [11 empty] | 01/02/2024 17:00 | [11 empty] | 03/02/2024 13:00
29/01/2024 11:00 | 1347.254 | 1420.154 | 1274.355 | [7 empty] | 03/02/2024 11:30 | [11 empty] | 01/02/2024 17:30 | [11 empty] | 03/02/2024 13:30
29/01/2024 11:30 | 1373.367 | 1447.906 | 1298.828 | [7 empty] | 03/02/2024 12:00 | [11 empty] | 01/02/2024 18:00 | [11 empty] | 03/02/2024 14:00
29/01/2024 12:00 | 1420.478 | 1497.809 | 1343.148 | [7 empty] | 03/02/2024 12:30 | [11 empty] | 01/02/2024 18:30
29/01/2024 12:30 | 1493.962 | 1575.539 | 1412.384 | [7 empty] | 03/02/2024 13:00 | [11 empty] | 03/02/2024 09:30
29/01/2024 13:00 | 1563.189 | 1648.805 | 1477.573 | [7 empty] | 03/02/2024 13:30 | [11 empty] | 03/02/2024 10:00
29/01/2024 13:30 | 1638.659 | 1728.68 | 1548.639 | [7 empty] | 03/02/2024 14:00 | [11 empty] | 03/02/2024 10:30
29/01/2024 14:00 | 1758.145 | 1855.019 | 1661.271 | [7 empty] | 03/02/2024 14:30 | [11 empty] | 03/02/2024 11:00
29/01/2024 14:30 | 1893.03 | 1997.649 | 1788.411 | [19 empty] | 03/02/2024 11:30
29/01/2024 15:00 | 2047.922 | 2161.439 | 1934.405 | [19 empty] | 03/02/2024 12:00
29/01/2024 15:30 | 2229.796 | 2353.763 | 2105.83 | [19 empty] | 03/02/2024 12:30
29/01/2024 16:00 | 2418.377 | 2553.227 | 2283.527 | [19 empty] | 03/02/2024 13:00
29/01/2024 16:30 | 2596.939 | 2742.174 | 2451.703 | [19 empty] | 03/02/2024 13:30
29/01/2024 17:00 | 2745.543 | 2899.542 | 2591.543
29/01/2024 17:30 | 2832.347 | 2991.684 | 2673.011
29/01/2024 18:00 | 2846.033 | 3006.609 | 2685.456
29/01/2024 18:30 | 2814.906 | 2974.191 | 2655.621
29/01/2024 19:00 | 2773.893 | 2931.314 | 2616.47
29/01/2024 19:30 | 2710.816 | 2865.106 | 2556.526
29/01/2024 20:00 | 2615.348 | 2764.635 | 2466.06
29/01/2024 20:30 | 2516.312 | 2660.362 | 2372.261
29/01/2024 21:00 | 2412.196 | 2550.684 | 2273.707
29/01/2024 21:30 | 2313.298 | 2446.49 | 2180.105
29/01/2024 22:00 | 2224.276 | 2352.71 | 2095.842
29/01/2024 22:30 | 2148.606 | 2273.026 | 2024.187
29/01/2024 23:00 | 2091.711 | 2213.181 | 1970.241
29/01/2024 23:30 | 2046.289 | 2165.459 | 1927.119
30/01/2024 00:00 | 2009.619 | 2126.986 | 1892.253
30/01/2024 00:30 | 1979.715 | 2095.662 | 1863.768
30/01/2024 01:00 | 1958.519 | 2072.889 | 1843.49
30/01/2024 01:30 | 1936.808 | 2050.23 | 1822.734
30/01/2024 02:00 | 1919.873 | 2032.621 | 1806.48
30/01/2024 02:30 | 1908.983 | 2021.406 | 1795.918
30/01/2024 03:00 | 1905.237 | 2017.755 | 1792.079
30/01/2024 03:30 | 1913.392 | 2026.707 | 1799.434
30/01/2024 04:00 | 1937.706 | 2052.782 | 1821.98
30/01/2024 04:30 | 1973.933 | 2091.487 | 1855.718
30/01/2024 05:00 | 2009.558 | 2129.564 | 1888.877
30/01/2024 05:30 | 2037.574 | 2159.591 | 1915.538
30/01/2024 06:00 | 2039.226 | 2161.677 | 1916.754
30/01/2024 06:30 | 1988.094 | 2107.802 | 1868.363
30/01/2024 07:00 | 1916.089 | 2031.777 | 1800.377
30/01/2024 07:30 | 1819.977 | 1930.202 | 1709.739
30/01/2024 08:00 | 1725.241 | 1830.118 | 1620.365
30/01/2024 08:30 | 1642.997 | 1743.233 | 1542.761
30/01/2024 09:00 | 1577.201 | 1673.767 | 1480.635
30/01/2024 09:30 | 1535.182 | 1629.511 | 1440.853
30/01/2024 10:00 | 1527.379 | 1621.563 | 1433.196
30/01/2024 10:30 | 1582.904 | 1680.857 | 1484.951
30/01/2024 11:00 | 1637.259 | 1738.933 | 1535.584
30/01/2024 11:30 | 1694.138 | 1799.715 | 1588.561
30/01/2024 12:00 | 1783.165 | 1894.679 | 1671.65
30/01/2024 12:30 | 1911.044 | 2030.973 | 1791.115
30/01/2024 13:00 | 2038.311 | 2166.672 | 1909.95
30/01/2024 13:30 | 2167.198 | 2304.15 | 2030.247
30/01/2024 14:00 | 2321.702 | 2468.924 | 2174.48
30/01/2024 14:30 | 2484.78 | 2642.886 | 2326.674
30/01/2024 15:00 | 2689.559 | 2861.282 | 2517.835
30/01/2024 15:30 | 2904.581 | 3090.668 | 2718.494
30/01/2024 16:00 | 3097.747 | 3296.886 | 2898.608
30/01/2024 16:30 | 3286.53 | 3498.523 | 3074.537
30/01/2024 17:00 | 3431.792 | 3653.905 | 3209.679
30/01/2024 17:30 | 3496.714 | 3723.793 | 3269.635
30/01/2024 18:00 | 3484.543 | 3711.593 | 3257.494
30/01/2024 18:30 | 3421.837 | 3645.549 | 3198.126
30/01/2024 19:00 | 3355.279 | 3575.372 | 3135.186
30/01/2024 19:30 | 3266.083 | 3481.039 | 3051.126
30/01/2024 20:00 | 3138.727 | 3345.987 | 2931.467
30/01/2024 20:30 | 2993.541 | 3191.868 | 2795.214
30/01/2024 21:00 | 2837.973 | 3026.613 | 2649.333
30/01/2024 21:30 | 2693.743 | 2873.385 | 2514.101
30/01/2024 22:00 | 2565.052 | 2736.673 | 2393.433
30/01/2024 22:30 | 2461.929 | 2627.187 | 2296.671
30/01/2024 23:00 | 2388.514 | 2549.366 | 2227.662
30/01/2024 23:30 | 2335.365 | 2493.148 | 2177.582
31/01/2024 00:00 | 2301.231 | 2457.21 | 2145.251
31/01/2024 00:30 | 2263.254 | 2417.154 | 2109.354
31/01/2024 01:00 | 2227.331 | 2379.275 | 2075.387
31/01/2024 01:30 | 2193.764 | 2343.898 | 2043.631
31/01/2024 02:00 | 2163.527 | 2312.063 | 2014.99
31/01/2024 02:30 | 2144.324 | 2292.011 | 1996.637
31/01/2024 03:00 | 2133.854 | 2281.286 | 1986.422
31/01/2024 03:30 | 2144.306 | 2292.929 | 1995.684
31/01/2024 04:00 | 2174.793 | 2326.004 | 2023.582
31/01/2024 04:30 | 2220.334 | 2375.197 | 2065.472
31/01/2024 05:00 | 2268.344 | 2427.051 | 2109.637
31/01/2024 05:30 | 2326.513 | 2489.797 | 2163.228
31/01/2024 06:00 | 2382.567 | 2550.307 | 2214.828
31/01/2024 06:30 | 2389.076 | 2557.795 | 2220.356
31/01/2024 07:00 | 2378.793 | 2547.306 | 2210.28
31/01/2024 07:30 | 2319.967 | 2484.82 | 2155.114
31/01/2024 08:00 | 2250.583 | 2410.998 | 2090.169
31/01/2024 08:30 | 2210.702 | 2368.756 | 2052.647
31/01/2024 09:00 | 2183.54 | 2340.13 | 2026.95
31/01/2024 09:30 | 2188.089 | 2345.483 | 2030.695
31/01/2024 10:00 | 2212.38 | 2372.004 | 2052.755
31/01/2024 10:30 | 2271.165 | 2435.527 | 2106.802
31/01/2024 11:00 | 2363.256 | 2534.8 | 2191.713
31/01/2024 11:30 | 2458.329 | 2637.31 | 2279.348
31/01/2024 12:00 | 2591.871 | 2781.141 | 2402.601
31/01/2024 12:30 | 2715.444 | 2914.331 | 2516.557
31/01/2024 13:00 | 2812.921 | 3019.562 | 2606.279
31/01/2024 13:30 | 2954.474 | 3172.16 | 2736.789
31/01/2024 14:00 | 3148.862 | 3381.558 | 2916.166
31/01/2024 14:30 | 3331.274 | 3578.177 | 3084.37
31/01/2024 15:00 | 3533.546 | 3796.214 | 3270.878
31/01/2024 15:30 | 3726.391 | 4004.208 | 3448.574
31/01/2024 16:00 | 3897.478 | 4188.902 | 3606.054
31/01/2024 16:30 | 4016.305 | 4317.491 | 3715.119
31/01/2024 17:00 | 4123.436 | 4433.557 | 3813.315
31/01/2024 17:30 | 4164.428 | 4478.542 | 3850.314
31/01/2024 18:00 | 4129.922 | 4442.335 | 3817.508
31/01/2024 18:30 | 4048.927 | 4356.099 | 3741.756
31/01/2024 19:00 | 3958.528 | 4259.706 | 3657.35
31/01/2024 19:30 | 3854.476 | 4148.58 | 3560.373
31/01/2024 20:00 | 3696.553 | 3979.415 | 3413.692
31/01/2024 20:30 | 3508.374 | 3777.602 | 3239.146
31/01/2024 21:00 | 3312.586 | 3567.514 | 3057.659
31/01/2024 21:30 | 3123.933 | 3365.025 | 2882.841
31/01/2024 22:00 | 2946.863 | 3174.933 | 2718.792
31/01/2024 22:30 | 2792.024 | 3008.721 | 2575.327
31/01/2024 23:00 | 2666.034 | 2873.534 | 2458.533
31/01/2024 23:30 | 2564.404 | 2764.555 | 2364.253
01/02/2024 00:00 | 2474.843 | 2668.544 | 2281.142
01/02/2024 00:30 | 2400.395 | 2588.794 | 2211.996
01/02/2024 01:00 | 2348.685 | 2533.539 | 2163.832
01/02/2024 01:30 | 2311.671 | 2494.116 | 2129.225
01/02/2024 02:00 | 2276.828 | 2457.021 | 2096.635
01/02/2024 02:30 | 2252.952 | 2431.748 | 2074.156
01/02/2024 03:00 | 2235.134 | 2413.003 | 2057.264
01/02/2024 03:30 | 2233.022 | 2411.212 | 2054.832
01/02/2024 04:00 | 2246.806 | 2426.586 | 2067.025
01/02/2024 04:30 | 2279.945 | 2462.875 | 2097.015
01/02/2024 05:00 | 2320.881 | 2507.603 | 2134.159
01/02/2024 05:30 | 2375.54 | 2567.178 | 2183.902
01/02/2024 06:00 | 2418.272 | 2613.886 | 2222.658
01/02/2024 06:30 | 2410.838 | 2606.377 | 2215.299
01/02/2024 07:00 | 2391.502 | 2585.996 | 2197.009
01/02/2024 07:30 | 2337.183 | 2527.748 | 2146.619
01/02/2024 08:00 | 2291.588 | 2478.871 | 2104.306
01/02/2024 08:30 | 2287.466 | 2474.85 | 2100.083
01/02/2024 09:00 | 2305.209 | 2494.488 | 2115.93
01/02/2024 09:30 | 2362.944 | 2557.417 | 2168.472
01/02/2024 10:00 | 2418.176 | 2617.657 | 2218.694
01/02/2024 10:30 | 2475.534 | 2680.222 | 2270.846
01/02/2024 11:00 | 2572.371 | 2785.559 | 2359.183
01/02/2024 11:30 | 2674.91 | 2897.108 | 2452.711
01/02/2024 12:00 | 2780.85 | 3012.381 | 2549.318
01/02/2024 12:30 | 2882.381 | 3122.919 | 2641.844
01/02/2024 13:00 | 2970.619 | 3219.09 | 2722.149
01/02/2024 13:30 | 3088.22 | 3347.119 | 2829.322
01/02/2024 14:00 | 3211.295 | 3481.127 | 2941.463
01/02/2024 14:30 | 3363.886 | 3647.185 | 3080.588
01/02/2024 15:00 | 3557.333 | 3857.605 | 3257.062
01/02/2024 15:30 | 3720.15 | 4034.879 | 3405.422
01/02/2024 16:00 | 3863.358 | 4190.943 | 3535.774
01/02/2024 16:30 | 3981.832 | 4320.224 | 3643.439
01/02/2024 17:00 | 4061.485 | 4407.425 | 3715.544
01/02/2024 17:30 | 4086.89 | 4435.777 | 3738.002
01/02/2024 18:00 | 4040.268 | 4385.95 | 3694.585
01/02/2024 18:30 | 3955.171 | 4294.331 | 3616.011
01/02/2024 19:00 | 3853.678 | 4184.873 | 3522.483
01/02/2024 19:30 | 3752.906 | 4076.16 | 3429.653
01/02/2024 20:00 | 3600.757 | 3911.595 | 3289.918
01/02/2024 20:30 | 3418.768 | 3714.551 | 3122.984
01/02/2024 21:00 | 3242.276 | 3523.411 | 2961.141
01/02/2024 21:30 | 3072.993 | 3340.038 | 2805.947
01/02/2024 22:00 | 2914.184 | 3167.987 | 2660.38
01/02/2024 22:30 | 2789.261 | 3032.719 | 2545.802
01/02/2024 23:00 | 2688.025 | 2923.162 | 2452.887
01/02/2024 23:30 | 2600.08 | 2828.022 | 2372.137
02/02/2024 00:00 | 2525.377 | 2747.255 | 2303.5
02/02/2024 00:30 | 2461.583 | 2678.328 | 2244.839
02/02/2024 01:00 | 2417.687 | 2631.03 | 2204.344
02/02/2024 01:30 | 2375.147 | 2585.191 | 2165.103
02/02/2024 02:00 | 2337.881 | 2545.077 | 2130.684
02/02/2024 02:30 | 2307.968 | 2512.956 | 2102.98
02/02/2024 03:00 | 2286.974 | 2490.536 | 2083.413
02/02/2024 03:30 | 2286.05 | 2489.967 | 2082.132
02/02/2024 04:00 | 2301.737 | 2507.495 | 2095.979
02/02/2024 04:30 | 2333.167 | 2542.182 | 2124.152
02/02/2024 05:00 | 2372.513 | 2585.508 | 2159.519
02/02/2024 05:30 | 2423.216 | 2641.227 | 2205.205
02/02/2024 06:00 | 2461.143 | 2683.037 | 2239.248
02/02/2024 06:30 | 2461.125 | 2683.49 | 2238.76
02/02/2024 07:00 | 2445.884 | 2667.34 | 2224.427
02/02/2024 07:30 | 2402.429 | 2620.411 | 2184.447
02/02/2024 08:00 | 2396.273 | 2614.156 | 2178.39
02/02/2024 08:30 | 2391.001 | 2608.863 | 2173.139
02/02/2024 09:00 | 2401.8 | 2621.106 | 2182.494
02/02/2024 09:30 | 2438.812 | 2661.966 | 2215.659
02/02/2024 10:00 | 2493.035 | 2721.627 | 2264.442
02/02/2024 10:30 | 2554.969 | 2789.73 | 2320.208
02/02/2024 11:00 | 2629.53 | 2871.646 | 2387.414
02/02/2024 11:30 | 2725.528 | 2977.006 | 2474.051
02/02/2024 12:00 | 2809.888 | 3069.687 | 2550.088
02/02/2024 12:30 | 2890.558 | 3158.371 | 2622.746
02/02/2024 13:00 | 2996.24 | 3274.418 | 2718.062
02/02/2024 13:30 | 3107.714 | 3396.837 | 2818.59
02/02/2024 14:00 | 3214.005 | 3513.633 | 2914.377
02/02/2024 14:30 | 3340.102 | 3652.126 | 3028.078
02/02/2024 15:00 | 3485.268 | 3811.52 | 3159.015
02/02/2024 15:30 | 3644.188 | 3986.015 | 3302.36
02/02/2024 16:00 | 3780.242 | 4135.556 | 3424.928
02/02/2024 16:30 | 3870.394 | 4234.924 | 3505.865
02/02/2024 17:00 | 3913.832 | 4283.203 | 3544.461
02/02/2024 17:30 | 3906.484 | 4275.91 | 3537.058
02/02/2024 18:00 | 3840.947 | 4204.912 | 3476.982
02/02/2024 18:30 | 3745.333 | 4100.955 | 3389.711
02/02/2024 19:00 | 3644.445 | 3991.186 | 3297.703
02/02/2024 19:30 | 3545.404 | 3883.401 | 3207.406
02/02/2024 20:00 | 3417.082 | 3743.501 | 3090.663
02/02/2024 20:30 | 3270.157 | 3583.168 | 2957.146
02/02/2024 21:00 | 3125.122 | 3424.849 | 2825.394
02/02/2024 21:30 | 2981.533 | 3268.06 | 2695.005
02/02/2024 22:00 | 2852.125 | 3126.763 | 2577.487
02/02/2024 22:30 | 2734.903 | 2998.778 | 2471.029
02/02/2024 23:00 | 2625.159 | 2878.948 | 2371.37
02/02/2024 23:30 | 2520.297 | 2761.365 | 2279.229
03/02/2024 00:00 | 2424.452 | 2650.854 | 2198.05
03/02/2024 00:30 | 2348.226 | 2568.098 | 2128.355
03/02/2024 01:00 | 2289.262 | 2503.729 | 2074.795
03/02/2024 01:30 | 2244.991 | 2455.426 | 2034.557
03/02/2024 02:00 | 2211.476 | 2418.881 | 2004.07
03/02/2024 02:30 | 2177.332 | 2381.646 | 1973.018
03/02/2024 03:00 | 2147.815 | 2349.469 | 1946.161
03/02/2024 03:30 | 2132.008 | 2332.286 | 1931.729
03/02/2024 04:00 | 2125.868 | 2325.678 | 1926.058
03/02/2024 04:30 | 2111.274 | 2309.82 | 1912.728
03/02/2024 05:00 | 2082.136 | 2278.048 | 1886.224
03/02/2024 05:30 | 2053.24 | 2246.537 | 1859.942
03/02/2024 06:00 | 2001.393 | 2189.912 | 1812.874
03/02/2024 06:30 | 1923.774 | 2105.08 | 1742.469
03/02/2024 07:00 | 1849.091 | 2023.453 | 1674.73
03/02/2024 07:30 | 1769.134 | 1936.296 | 1601.972
03/02/2024 08:00 | 1716.224 | 1879.195 | 1553.252
03/02/2024 08:30 | 1657.442 | 1815.573 | 1499.311
03/02/2024 09:00 | 1615.855 | 1770.742 | 1460.968
03/02/2024 09:30 | 1587.629 | 1740.521 | 1434.738
03/02/2024 10:00 | 1571.563 | 1723.611 | 1419.516
03/02/2024 10:30 | 1617.193 | 1774.379 | 1460.007
03/02/2024 11:00 | 1669.079 | 1832.055 | 1506.103
03/02/2024 11:30 | 1731.953 | 1901.843 | 1562.063
03/02/2024 12:00 | 1794.24 | 1971.042 | 1617.437
03/02/2024 12:30 | 1857.319 | 2041.169 | 1673.469
03/02/2024 13:00 | 1968.188 | 2163.893 | 1772.483
03/02/2024 13:30 | 2086.478 | 2294.878 | 1878.077
03/02/2024 14:00 | 2234.369 | 2458.541 | 2010.197
03/02/2024 14:30 | 2394.442 | 2635.745 | 2153.139
03/02/2024 15:00 | 2559.206 | 2818.259 | 2300.153
03/02/2024 15:30 | 2724.516 | 3001.521 | 2447.51
03/02/2024 16:00 | 2895.934 | 3191.664 | 2600.205
03/02/2024 16:30 | 3032.409 | 3343.432 | 2721.385
03/02/2024 17:00 | 3096.78 | 3415.791 | 2777.769
03/02/2024 17:30 | 3123.754 | 3446.941 | 2800.566
03/02/2024 18:00 | 3096.348 | 3418.085 | 2774.61
03/02/2024 18:30 | 3028.001 | 3343.992 | 2712.011
03/02/2024 19:00 | 2949.996 | 3259.166 | 2640.825
03/02/2024 19:30 | 2862.579 | 3163.869 | 2561.289
03/02/2024 20:00 | 2760.163 | 3051.908 | 2468.418
03/02/2024 20:30 | 2666.799 | 2949.869 | 2383.729
03/02/2024 21:00 | 2576.215 | 2850.823 | 2301.607
03/02/2024 21:30 | 2485.082 | 2751.088 | 2219.077
03/02/2024 22:00 | 2400.385 | 2658.399 | 2142.371
03/02/2024 22:30 | 2314.866 | 2564.723 | 2065.009
03/02/2024 23:00 | 2223.585 | 2464.585 | 1982.586
03/02/2024 23:30 | 2133.996 | 2366.241 | 1901.752
04/02/2024 00:00 | 2046.775 | 2270.443 | 1823.107
04/02/2024 00:30 | 1982.135 | 2199.626 | 1764.643
04/02/2024 01:00 | 1937.134 | 2150.554 | 1723.713
04/02/2024 01:30 | 1911.507 | 2122.959 | 1700.055
04/02/2024 02:00 | 1891.283 | 2101.344 | 1681.221
04/02/2024 02:30 | 1871.617 | 2080.332 | 1662.902
04/02/2024 03:00 | 1857.233 | 2065.175 | 1649.292
04/02/2024 03:30 | 1851.093 | 2059.175 | 1643.01
04/02/2024 04:00 | 1847.398 | 2055.891 | 1638.904
04/02/2024 04:30 | 1835.398 | 2043.359 | 1627.437
04/02/2024 05:00 | 1805.832 | 2011.25 | 1600.413
04/02/2024 05:30 | 1761.25 | 1962.386 | 1560.115
04/02/2024 06:00 | 1701.078 | 1896.103 | 1506.053
04/02/2024 06:30 | 1641.643 | 1830.588 | 1452.697
04/02/2024 07:00 | 1595.112 | 1779.416 | 1410.808
04/02/2024 07:30 | 1550.43 | 1730.265 | 1370.595