## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
02/02/2024 08:00 | 2671.94 | 2704.047 | 2628.712
02/02/2024 08:30 | 2662.649 | 2708.18 | 2617.119 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
02/02/2024 09:00 | 2673.354 | 2727.015 | 2619.694 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
02/02/2024 09:30 | 2662.668 | 2724.029 | 2601.307 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
02/02/2024 10:00 | 2675.331 | 2744.938 | 2605.725 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
02/02/2024 10:30 | 2713.959 | 2790.697 | 2637.221 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
02/02/2024 11:00 | 2768.137 | 2848.735 | 2687.539 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
02/02/2024 11:30 | 2837.69 | 2923.046 | 2752.334 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
02/02/2024 12:00 | 2914.372 | 3004.842 | 2823.903 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
02/02/2024 12:30 | 2982.02 | 3077.461 | 2886.578 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
02/02/2024 13:00 | 3061.061 | 3161.979 | 2960.142 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
02/02/2024 13:30 | 3169.86 | 3277.419 | 3062.301
02/02/2024 14:00 | 3277.363 | 3399.019 | 3163 | Summary view - for each schedule horizon (dispatch, week-ahead)
02/02/2024 14:30 | 3397.3 | 3525.433 | 3281.356
02/02/2024 15:00 | 3531.772 | 3668.17 | 3407.632 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
02/02/2024 15:30 | 3666.821 | 3811.245 | 3533.722 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
02/02/2024 16:00 | 3782.698 | 3934.597 | 3641.061 | Scenario | Violations
02/02/2024 16:30 | 3853.788 | 4011.486 | 3705.059 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
02/02/2024 17:00 | 3895.17 | 4057.279 | 3740.131 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
02/02/2024 17:30 | 3886.648 | 4051.246 | 3727.372 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 0 | 0 | 0 | 0 | 2
02/02/2024 18:00 | 3825.726 | 3990.925 | 3664.794 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 5
02/02/2024 18:30 | 3736.749 | 3900.758 | 3576.547 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 2
02/02/2024 19:00 | 3644.176 | 3803.485 | 3484.868
02/02/2024 19:30 | 3545.379 | 3701.756 | 3389.001 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
02/02/2024 20:00 | 3420.55 | 3572.76 | 3268.34
02/02/2024 20:30 | 3275.418 | 3422.452 | 3128.385 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
02/02/2024 21:00 | 3130.006 | 3271.738 | 2988.275 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
02/02/2024 21:30 | 2988.686 | 3125.188 | 2852.184 | [7 empty] | 03/02/2024 11:30 |  |  |  |  | 06/02/2024 08:00 | [6 empty] | 05/02/2024 12:30 |  |  |  |  | 03/02/2024 07:30 | [6 empty] | 06/02/2024 08:00 |  |  |  |  | 06/02/2024 08:00
02/02/2024 22:00 | 2858.584 | 2990.263 | 2726.906 | [7 empty] | 03/02/2024 12:00 |  |  |  |  | 06/02/2024 08:30 | [6 empty] | 05/02/2024 13:00 |  |  |  |  | 06/02/2024 07:30 | [6 empty] | 06/02/2024 08:30 |  |  |  |  | 06/02/2024 08:30
02/02/2024 22:30 | 2742.812 | 2870.231 | 2615.393 | [7 empty] | 03/02/2024 12:30 | [11 empty] | 06/02/2024 07:30 |  |  |  |  | 06/02/2024 08:00 | [6 empty] | 06/02/2024 12:30
02/02/2024 23:00 | 2634.364 | 2757.777 | 2510.952 | [7 empty] | 03/02/2024 13:00 | [11 empty] | 06/02/2024 08:00 |  |  |  |  | 06/02/2024 08:30 | [6 empty] | 06/02/2024 13:00
02/02/2024 23:30 | 2532.193 | 2657.613 | 2406.773 | [7 empty] | 06/02/2024 08:00 | [11 empty] | 06/02/2024 08:30 |  |  |  |  | 07/02/2024 07:30 | [6 empty] | 06/02/2024 13:30
03/02/2024 00:00 | 2438.894 | 2571.604 | 2306.183 | [7 empty] | 06/02/2024 08:30 | [11 empty] | 06/02/2024 10:30 | [11 empty] | 06/02/2024 14:00
03/02/2024 00:30 | 2362.412 | 2490.64 | 2234.184 | [7 empty] | 06/02/2024 11:30 | [11 empty] | 06/02/2024 11:00 | [11 empty] | 06/02/2024 14:30
03/02/2024 01:00 | 2306.217 | 2432.001 | 2180.431 | [7 empty] | 06/02/2024 13:00 | [11 empty] | 06/02/2024 12:00 | [11 empty] | 07/02/2024 09:00
03/02/2024 01:30 | 2264.343 | 2388.441 | 2140.246 | [7 empty] | 06/02/2024 13:30 | [11 empty] | 06/02/2024 12:30 | [11 empty] | 07/02/2024 09:30
03/02/2024 02:00 | 2231.465 | 2354.348 | 2108.582 | [7 empty] | 06/02/2024 14:00 | [11 empty] | 06/02/2024 13:00 | [11 empty] | 07/02/2024 10:00
03/02/2024 02:30 | 2198.802 | 2320.465 | 2077.139 | [7 empty] | 06/02/2024 14:30 | [11 empty] | 06/02/2024 13:30 | [11 empty] | 07/02/2024 10:30
03/02/2024 03:00 | 2170.78 | 2291.465 | 2050.096 | [7 empty] | 07/02/2024 09:00 | [11 empty] | 06/02/2024 14:00 | [11 empty] | 07/02/2024 11:00
03/02/2024 03:30 | 2157.148 | 2277.643 | 2036.654 | [7 empty] | 07/02/2024 09:30 | [11 empty] | 07/02/2024 09:00 | [11 empty] | 07/02/2024 11:30
03/02/2024 04:00 | 2150.75 | 2271.454 | 2030.047 | [7 empty] | 07/02/2024 10:00 | [11 empty] | 07/02/2024 09:30 | [11 empty] | 07/02/2024 12:00
03/02/2024 04:30 | 2138.48 | 2259.058 | 2017.902 | [7 empty] | 07/02/2024 10:30 | [11 empty] | 07/02/2024 10:00 | [11 empty] | 08/02/2024 08:30
03/02/2024 05:00 | 2112.867 | 2232.557 | 1993.178 | [7 empty] | 07/02/2024 11:00 | [11 empty] | 07/02/2024 10:30 | [11 empty] | 08/02/2024 09:00
03/02/2024 05:30 | 2082.892 | 2201.432 | 1964.351 | [7 empty] | 07/02/2024 11:30 | [11 empty] | 07/02/2024 11:00 | [11 empty] | 08/02/2024 09:30
03/02/2024 06:00 | 2059.556 | 2177.31 | 1941.801 | [7 empty] | 07/02/2024 12:00 | [11 empty] | 07/02/2024 11:30 | [11 empty] | 08/02/2024 10:00
03/02/2024 06:30 | 2034.8 | 2151.623 | 1917.978 | [7 empty] | 08/02/2024 08:30 | [23 empty] | 08/02/2024 10:30
03/02/2024 07:00 | 2002.236 | 2117.563 | 1886.91 | [7 empty] | 08/02/2024 09:00
03/02/2024 07:30 | 1956.954 | 2070.046 | 1843.862 | [7 empty] | 08/02/2024 09:30
03/02/2024 08:00 | 1923.678 | 2035.214 | 1812.141 | [7 empty] | 08/02/2024 10:00
03/02/2024 08:30 | 1893.876 | 2004.047 | 1783.705
03/02/2024 09:00 | 1876.719 | 1986.25 | 1767.188
03/02/2024 09:30 | 1857.39 | 1966.148 | 1748.632
03/02/2024 10:00 | 1838.486 | 1947.349 | 1730.483
03/02/2024 10:30 | 1858.66 | 1969.481 | 1749.118
03/02/2024 11:00 | 1880.659 | 1993.215 | 1769.46
03/02/2024 11:30 | 1911.2 | 2026.219 | 1797.831
03/02/2024 12:00 | 1946.93 | 2064.729 | 1831.069
03/02/2024 12:30 | 1976.006 | 2096.024 | 1858.037
03/02/2024 13:00 | 2041.984 | 2166.706 | 1919.686
03/02/2024 13:30 | 2129.581 | 2260.279 | 2001.63
03/02/2024 14:00 | 2241.013 | 2379.315 | 2105.939
03/02/2024 14:30 | 2357.574 | 2503.507 | 2215.024
03/02/2024 15:00 | 2497.736 | 2652.634 | 2346.233
03/02/2024 15:30 | 2648.905 | 2813.505 | 2487.727
03/02/2024 16:00 | 2791.629 | 2965.444 | 2621.233
03/02/2024 16:30 | 2887.338 | 3067.485 | 2710.548
03/02/2024 17:00 | 2923.99 | 3106.637 | 2749.207
03/02/2024 17:30 | 2939.572 | 3123.477 | 2763.049
03/02/2024 18:00 | 2920.387 | 3103.243 | 2744.098
03/02/2024 18:30 | 2872.425 | 3052.646 | 2698.322
03/02/2024 19:00 | 2814.985 | 2992.088 | 2643.778
03/02/2024 19:30 | 2745.986 | 2918.918 | 2578.136
03/02/2024 20:00 | 2658.903 | 2826.644 | 2495.678
03/02/2024 20:30 | 2576.542 | 2739.431 | 2417.749
03/02/2024 21:00 | 2498.987 | 2657.298 | 2344.361
03/02/2024 21:30 | 2421.321 | 2574.973 | 2270.86
03/02/2024 22:00 | 2343.252 | 2492.275 | 2197.085
03/02/2024 22:30 | 2266.969 | 2411.392 | 2124.967
03/02/2024 23:00 | 2189.052 | 2328.68 | 2051.292
03/02/2024 23:30 | 2109.661 | 2244.376 | 1976.272
04/02/2024 00:00 | 2031.373 | 2160.798 | 1901.948
04/02/2024 00:30 | 1972.428 | 2098.475 | 1846.382
04/02/2024 01:00 | 1933.491 | 2057.419 | 1809.564
04/02/2024 01:30 | 1908.139 | 2030.806 | 1785.472
04/02/2024 02:00 | 1888.819 | 2010.605 | 1767.033
04/02/2024 02:30 | 1869.749 | 1990.662 | 1748.835
04/02/2024 03:00 | 1854.724 | 1975.02 | 1734.427
04/02/2024 03:30 | 1850.358 | 1970.724 | 1729.991
04/02/2024 04:00 | 1849.09 | 1969.728 | 1728.452
04/02/2024 04:30 | 1839.986 | 1960.382 | 1719.591
04/02/2024 05:00 | 1824.788 | 1944.537 | 1705.038
04/02/2024 05:30 | 1798.358 | 1916.717 | 1680
04/02/2024 06:00 | 1732.338 | 1846.682 | 1617.993
04/02/2024 06:30 | 1639.295 | 1747.811 | 1530.778
04/02/2024 07:00 | 1543.072 | 1645.513 | 1440.63
04/02/2024 07:30 | 1441.659 | 1537.668 | 1345.65
04/02/2024 08:00 | 1360.829 | 1451.784 | 1269.874
04/02/2024 08:30 | 1310.264 | 1398.152 | 1222.375
04/02/2024 09:00 | 1265.538 | 1350.729 | 1180.348
04/02/2024 09:30 | 1196.336 | 1277.154 | 1115.518
04/02/2024 10:00 | 1133.208 | 1210.032 | 1056.384
04/02/2024 10:30 | 1106.441 | 1181.714 | 1031.167
04/02/2024 11:00 | 1083.887 | 1157.885 | 1009.888
04/02/2024 11:30 | 1029.766 | 1100.315 | 959.2169
04/02/2024 12:00 | 1001.732 | 1070.6 | 932.8639
04/02/2024 12:30 | 1005.903 | 1075.298 | 936.5083
04/02/2024 13:00 | 1032.355 | 1103.822 | 960.8887
04/02/2024 13:30 | 1090.638 | 1166.4 | 1014.876
04/02/2024 14:00 | 1167.131 | 1248.485 | 1085.777
04/02/2024 14:30 | 1315.873 | 1407.909 | 1223.836
04/02/2024 15:00 | 1458.063 | 1560.393 | 1355.733
04/02/2024 15:30 | 1622.909 | 1737.196 | 1508.622
04/02/2024 16:00 | 1834.601 | 1964.234 | 1704.968
04/02/2024 16:30 | 2037.012 | 2181.433 | 1892.59
04/02/2024 17:00 | 2211.972 | 2369.326 | 2054.617
04/02/2024 17:30 | 2333.418 | 2499.969 | 2166.867
04/02/2024 18:00 | 2390.542 | 2561.741 | 2219.342
04/02/2024 18:30 | 2377.789 | 2548.643 | 2206.935
04/02/2024 19:00 | 2333.231 | 2501.441 | 2165.022
04/02/2024 19:30 | 2295.444 | 2461.477 | 2129.41
04/02/2024 20:00 | 2234.216 | 2396.355 | 2072.077
04/02/2024 20:30 | 2168.341 | 2326.218 | 2010.465
04/02/2024 21:00 | 2105.217 | 2259 | 1951.434
04/02/2024 21:30 | 2045.039 | 2194.915 | 1895.164
04/02/2024 22:00 | 1986.756 | 2132.835 | 1840.678
04/02/2024 22:30 | 1936.708 | 2079.569 | 1793.846
04/02/2024 23:00 | 1893.544 | 2033.674 | 1753.414
04/02/2024 23:30 | 1850.637 | 1983.626 | 1717.648
05/02/2024 00:00 | 1810.156 | 1932.116 | 1688.196
05/02/2024 00:30 | 1778.783 | 1899.739 | 1657.827
05/02/2024 01:00 | 1760.538 | 1880.638 | 1640.438
05/02/2024 01:30 | 1752.561 | 1872.5 | 1632.622
05/02/2024 02:00 | 1745.592 | 1865.436 | 1625.749
05/02/2024 02:30 | 1741.652 | 1861.606 | 1621.699
05/02/2024 03:00 | 1743.615 | 1864.084 | 1623.145
05/02/2024 03:30 | 1759.206 | 1881.137 | 1637.275
05/02/2024 04:00 | 1792.984 | 1917.648 | 1668.32
05/02/2024 04:30 | 1843.803 | 1972.404 | 1715.203
05/02/2024 05:00 | 1892.987 | 2025.432 | 1760.543
05/02/2024 05:30 | 1929.91 | 2065.359 | 1794.461
05/02/2024 06:00 | 1924.021 | 2059.477 | 1788.565
05/02/2024 06:30 | 1854.272 | 1985.223 | 1723.321
05/02/2024 07:00 | 1762.082 | 1886.907 | 1637.256
05/02/2024 07:30 | 1620.536 | 1735.689 | 1505.384
05/02/2024 08:00 | 1478.43 | 1583.807 | 1373.052
05/02/2024 08:30 | 1353.918 | 1450.717 | 1257.12
05/02/2024 09:00 | 1243.448 | 1332.621 | 1154.276
05/02/2024 09:30 | 1158.606 | 1241.947 | 1075.265
05/02/2024 10:00 | 1108.879 | 1188.885 | 1028.873
05/02/2024 10:30 | 1085.751 | 1164.326 | 1007.176
05/02/2024 11:00 | 1071.586 | 1149.37 | 993.8026
05/02/2024 11:30 | 1071.29 | 1149.287 | 993.2939
05/02/2024 12:00 | 1105.194 | 1185.9 | 1024.488
05/02/2024 12:30 | 1144.031 | 1227.824 | 1060.239
05/02/2024 13:00 | 1194.525 | 1282.276 | 1106.773
05/02/2024 13:30 | 1268.026 | 1361.454 | 1174.598
05/02/2024 14:00 | 1348.634 | 1448.296 | 1248.972
05/02/2024 14:30 | 1489.223 | 1599.6 | 1378.847
05/02/2024 15:00 | 1661.672 | 1785.194 | 1538.151
05/02/2024 15:30 | 1853.486 | 1991.671 | 1715.302
05/02/2024 16:00 | 2054.145 | 2207.739 | 1900.552
05/02/2024 16:30 | 2241.735 | 2409.845 | 2073.625
05/02/2024 17:00 | 2399.475 | 2579.938 | 2219.012
05/02/2024 17:30 | 2507.739 | 2696.892 | 2318.585
05/02/2024 18:00 | 2552.848 | 2745.962 | 2359.735
05/02/2024 18:30 | 2543.322 | 2736.271 | 2350.373
05/02/2024 19:00 | 2504.863 | 2695.441 | 2314.285
05/02/2024 19:30 | 2451.23 | 2638.263 | 2264.197
05/02/2024 20:00 | 2367.865 | 2549.055 | 2186.676
05/02/2024 20:30 | 2280.469 | 2455.47 | 2105.469
05/02/2024 21:00 | 2195.67 | 2364.643 | 2026.698
05/02/2024 21:30 | 2117.755 | 2281.195 | 1954.316
05/02/2024 22:00 | 2045.755 | 2204.084 | 1887.425
05/02/2024 22:30 | 1987.847 | 2142.13 | 1833.565
05/02/2024 23:00 | 1946.201 | 2097.677 | 1794.726
05/02/2024 23:30 | 1909.464 | 2058.497 | 1760.431
06/02/2024 00:00 | 1876.303 | 2023.158 | 1729.448
06/02/2024 00:30 | 1849.001 | 1994.123 | 1703.879
06/02/2024 01:00 | 1835.036 | 1979.463 | 1690.61
06/02/2024 01:30 | 1821.805 | 1965.588 | 1678.021
06/02/2024 02:00 | 1809.956 | 1953.2 | 1666.713
06/02/2024 02:30 | 1801.742 | 1944.729 | 1658.754
06/02/2024 03:00 | 1800.646 | 1943.94 | 1657.352
06/02/2024 03:30 | 1812.971 | 1957.641 | 1668.3
06/02/2024 04:00 | 1844.168 | 1991.731 | 1696.605
06/02/2024 04:30 | 1891.929 | 2043.727 | 1740.131
06/02/2024 05:00 | 1938.333 | 2094.278 | 1782.388
06/02/2024 05:30 | 1974.954 | 2134.277 | 1815.632
06/02/2024 06:00 | 1980.546 | 2140.753 | 1820.34
06/02/2024 06:30 | 1917.349 | 2072.862 | 1761.835
06/02/2024 07:00 | 1820.996 | 1969.092 | 1672.9
06/02/2024 07:30 | 1676.656 | 1813.364 | 1539.948
06/02/2024 08:00 | 1533.75 | 1659.097 | 1408.402
06/02/2024 08:30 | 1415.825 | 1531.806 | 1299.844
06/02/2024 09:00 | 1329.673 | 1438.851 | 1220.494
06/02/2024 09:30 | 1262.877 | 1366.813 | 1158.941
06/02/2024 10:00 | 1218.406 | 1318.916 | 1117.897
06/02/2024 10:30 | 1231.577 | 1333.409 | 1129.745
06/02/2024 11:00 | 1254.378 | 1358.335 | 1150.42
06/02/2024 11:30 | 1288.072 | 1395.069 | 1181.075
06/02/2024 12:00 | 1349.497 | 1461.855 | 1237.139
06/02/2024 12:30 | 1428.111 | 1547.288 | 1308.934
06/02/2024 13:00 | 1526.236 | 1653.895 | 1398.578
06/02/2024 13:30 | 1646.739 | 1784.792 | 1508.686
06/02/2024 14:00 | 1778.575 | 1928.021 | 1629.128
06/02/2024 14:30 | 1946.742 | 2110.692 | 1782.792
06/02/2024 15:00 | 2162.403 | 2344.93 | 1979.876
06/02/2024 15:30 | 2373.082 | 2573.847 | 2172.317
06/02/2024 16:00 | 2570.466 | 2788.423 | 2352.51
06/02/2024 16:30 | 2750.934 | 2984.72 | 2517.148
06/02/2024 17:00 | 2888.423 | 3134.447 | 2642.399
06/02/2024 17:30 | 2967.621 | 3220.959 | 2714.282
06/02/2024 18:00 | 2979.992 | 3234.958 | 2725.026
06/02/2024 18:30 | 2936.908 | 3188.75 | 2685.065
06/02/2024 19:00 | 2875.775 | 3122.926 | 2628.623
06/02/2024 19:30 | 2796.444 | 3037.313 | 2555.575
06/02/2024 20:00 | 2683.914 | 2915.605 | 2452.223
06/02/2024 20:30 | 2561.611 | 2783.235 | 2339.987
06/02/2024 21:00 | 2441.938 | 2653.676 | 2230.199
06/02/2024 21:30 | 2335.835 | 2538.822 | 2132.849
06/02/2024 22:00 | 2237.829 | 2432.727 | 2042.931
06/02/2024 22:30 | 2167.388 | 2356.567 | 1978.209
06/02/2024 23:00 | 2121.478 | 2307.056 | 1935.9
06/02/2024 23:30 | 2086.492 | 2269.409 | 1903.574
07/02/2024 00:00 | 2061.937 | 2243.096 | 1880.776
07/02/2024 00:30 | 2033.861 | 2212.945 | 1854.778
07/02/2024 01:00 | 2011.833 | 2189.362 | 1834.304
07/02/2024 01:30 | 1987.73 | 2163.514 | 1811.947
07/02/2024 02:00 | 1966.84 | 2141.153 | 1792.527
07/02/2024 02:30 | 1952.93 | 2126.385 | 1779.476
07/02/2024 03:00 | 1948.277 | 2121.692 | 1774.863
07/02/2024 03:30 | 1961.282 | 2136.23 | 1786.334
07/02/2024 04:00 | 1993.314 | 2171.502 | 1815.127
07/02/2024 04:30 | 2039.766 | 2222.497 | 1857.036
07/02/2024 05:00 | 2091.557 | 2279.328 | 1903.786
07/02/2024 05:30 | 2143.332 | 2336.162 | 1950.502
07/02/2024 06:00 | 2164.977 | 2360.169 | 1969.784
07/02/2024 06:30 | 2131.543 | 2324.13 | 1938.957
07/02/2024 07:00 | 2072.296 | 2259.927 | 1884.666
07/02/2024 07:30 | 1966.134 | 2144.529 | 1787.738
07/02/2024 08:00 | 1863.044 | 2032.443 | 1693.645
07/02/2024 08:30 | 1775.187 | 1936.938 | 1613.437
07/02/2024 09:00 | 1723.956 | 1881.369 | 1566.543
07/02/2024 09:30 | 1707.646 | 1863.897 | 1551.395
07/02/2024 10:00 | 1700.915 | 1856.876 | 1544.954
07/02/2024 10:30 | 1744.802 | 1905.122 | 1584.483
07/02/2024 11:00 | 1818.912 | 1986.389 | 1651.434
07/02/2024 11:30 | 1881.228 | 2054.804 | 1707.652
07/02/2024 12:00 | 1979.954 | 2163.019 | 1796.889
07/02/2024 12:30 | 2087.225 | 2280.608 | 1893.842
07/02/2024 13:00 | 2202.311 | 2406.779 | 1997.843
07/02/2024 13:30 | 2341.288 | 2559.107 | 2123.468
07/02/2024 14:00 | 2499.597 | 2732.623 | 2266.57
07/02/2024 14:30 | 2691.6 | 2943.042 | 2440.158
07/02/2024 15:00 | 2909.98 | 3182.381 | 2637.58
07/02/2024 15:30 | 3114.912 | 3407.093 | 2822.731
07/02/2024 16:00 | 3305.549 | 3616.245 | 2994.852
07/02/2024 16:30 | 3449.36 | 3774.235 | 3124.485
07/02/2024 17:00 | 3550.94 | 3886.063 | 3215.817
07/02/2024 17:30 | 3594.917 | 3934.878 | 3254.955
07/02/2024 18:00 | 3578.867 | 3917.997 | 3239.737
07/02/2024 18:30 | 3507.58 | 3840.627 | 3174.532
07/02/2024 19:00 | 3406.22 | 3730.296 | 3082.144
07/02/2024 19:30 | 3304.612 | 3619.654 | 2989.57
07/02/2024 20:00 | 3164.495 | 3466.785 | 2862.204
07/02/2024 20:30 | 3002.137 | 3289.494 | 2714.78
07/02/2024 21:00 | 2841.146 | 3113.638 | 2568.654
07/02/2024 21:30 | 2694.234 | 2953.152 | 2435.316
07/02/2024 22:00 | 2557.91 | 2804.218 | 2311.603
07/02/2024 22:30 | 2444.649 | 2680.519 | 2208.78
07/02/2024 23:00 | 2353.621 | 2581.159 | 2126.083
07/02/2024 23:30 | 2277.477 | 2498.09 | 2056.864
08/02/2024 00:00 | 2212.264 | 2426.984 | 1997.544
08/02/2024 00:30 | 2159.254 | 2369.243 | 1949.265
08/02/2024 01:00 | 2121.258 | 2327.958 | 1914.557
08/02/2024 01:30 | 2094.894 | 2299.427 | 1890.361
08/02/2024 02:00 | 2070.38 | 2272.917 | 1867.844
08/02/2024 02:30 | 2053.873 | 2255.188 | 1852.557
08/02/2024 03:00 | 2045.302 | 2246.169 | 1844.435
08/02/2024 03:30 | 2051.722 | 2253.613 | 1849.831
08/02/2024 04:00 | 2074.583 | 2279.121 | 1870.045
08/02/2024 04:30 | 2118.44 | 2327.709 | 1909.172
08/02/2024 05:00 | 2172.259 | 2387.259 | 1957.258
08/02/2024 05:30 | 2230.816 | 2452.04 | 2009.592
08/02/2024 06:00 | 2271.919 | 2497.655 | 2046.183
08/02/2024 06:30 | 2269.812 | 2495.773 | 2043.85
08/02/2024 07:00 | 2228.44 | 2450.71 | 2006.17
08/02/2024 07:30 | 2136.357 | 2349.961 | 1922.753
08/02/2024 08:00 | 2054.075 | 2260.158 | 1847.991
08/02/2024 08:30 | 2010.265 | 2212.627 | 1807.903
08/02/2024 09:00 | 1997.704 | 2199.471 | 1795.936
08/02/2024 09:30 | 2027.409 | 2232.856 | 1821.961
08/02/2024 10:00 | 2061.675 | 2271.286 | 1852.064
08/02/2024 10:30 | 2105.032 | 2319.757 | 1890.307
08/02/2024 11:00 | 2184.812 | 2408.408 | 1961.216
08/02/2024 11:30 | 2275.202 | 2508.812 | 2041.593
08/02/2024 12:00 | 2374.847 | 2619.484 | 2130.211
08/02/2024 12:30 | 2475.956 | 2731.838 | 2220.074
08/02/2024 13:00 | 2576.182 | 2843.286 | 2309.078
08/02/2024 13:30 | 2701.095 | 2982.056 | 2420.135
08/02/2024 14:00 | 2823.56 | 3118.206 | 2528.914
08/02/2024 14:30 | 2985.26 | 3297.781 | 2672.739
08/02/2024 15:00 | 3188.096 | 3522.92 | 2853.272
08/02/2024 15:30 | 3370.517 | 3725.63 | 3015.404
08/02/2024 16:00 | 3531.257 | 3904.489 | 3158.025
08/02/2024 16:30 | 3669.004 | 4058.025 | 3279.982
08/02/2024 17:00 | 3759.054 | 4158.884 | 3359.224
08/02/2024 17:30 | 3792.01 | 4196.616 | 3387.403
08/02/2024 18:00 | 3753.06 | 4154.769 | 3351.351
08/02/2024 18:30 | 3671.933 | 4066.19 | 3277.677
08/02/2024 19:00 | 3569.189 | 3953.611 | 3184.768
08/02/2024 19:30 | 3468.67 | 3843.429 | 3093.912
08/02/2024 20:00 | 3323.842 | 3684.068 | 2963.617
08/02/2024 20:30 | 3146.726 | 3488.811 | 2804.641
08/02/2024 21:00 | 2977.013 | 3301.647 | 2652.379
08/02/2024 21:30 | 2821.607 | 3130.241 | 2512.974
08/02/2024 22:00 | 2677.173 | 2970.906 | 2383.44
08/02/2024 22:30 | 2562.818 | 2844.863 | 2280.773
08/02/2024 23:00 | 2471.083 | 2743.861 | 2198.304
08/02/2024 23:30 | 2403.695 | 2669.84 | 2137.55
09/02/2024 00:00 | 2351.532 | 2612.689 | 2090.374
09/02/2024 00:30 | 2299.501 | 2555.651 | 2043.351
09/02/2024 01:00 | 2263.803 | 2516.736 | 2010.87
09/02/2024 01:30 | 2229.426 | 2479.265 | 1979.586
09/02/2024 02:00 | 2200.069 | 2447.356 | 1952.782
09/02/2024 02:30 | 2177.061 | 2422.492 | 1931.63
09/02/2024 03:00 | 2163.868 | 2408.537 | 1919.199
09/02/2024 03:30 | 2168.278 | 2414.173 | 1922.383
09/02/2024 04:00 | 2190.65 | 2439.816 | 1941.483
09/02/2024 04:30 | 2232.237 | 2486.882 | 1977.591
09/02/2024 05:00 | 2290.665 | 2552.744 | 2028.587
09/02/2024 05:30 | 2358.475 | 2629.103 | 2087.847
09/02/2024 06:00 | 2400.796 | 2677.084 | 2124.507
09/02/2024 06:30 | 2399.601 | 2676.557 | 2122.645
09/02/2024 07:00 | 2373.355 | 2648.077 | 2098.633
09/02/2024 07:30 | 2321.715 | 2591.239 | 2052.192