## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
03/02/2024 08:00 | 1973.82 | 1997.737 | 1931.632
03/02/2024 08:30 | 1924.505 | 1964.238 | 1884.771 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
03/02/2024 09:00 | 1888.748 | 1934.964 | 1842.531 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
03/02/2024 09:30 | 1890.963 | 1944.462 | 1837.463 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
03/02/2024 10:00 | 1937.764 | 1999.996 | 1875.533 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
03/02/2024 10:30 | 1979.53 | 2048.711 | 1910.349 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
03/02/2024 11:00 | 2000.956 | 2072.632 | 1929.28 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
03/02/2024 11:30 | 2012.231 | 2086.407 | 1938.056 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
03/02/2024 12:00 | 2019.815 | 2096.374 | 1943.257 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
03/02/2024 12:30 | 2041.359 | 2120.861 | 1961.858 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
03/02/2024 13:00 | 2099.561 | 2183.516 | 2013.053 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
03/02/2024 13:30 | 2185.893 | 2275.576 | 2093.261
03/02/2024 14:00 | 2296.165 | 2388.231 | 2195.399 | Summary view - for each schedule horizon (dispatch, week-ahead)
03/02/2024 14:30 | 2417.343 | 2517.554 | 2309.455
03/02/2024 15:00 | 2558.764 | 2669.008 | 2443.286 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
03/02/2024 15:30 | 2703.93 | 2821.624 | 2577.61 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
03/02/2024 16:00 | 2842.558 | 2969.086 | 2706.663 | Scenario | Violations
03/02/2024 16:30 | 2936.028 | 3071.089 | 2793.813 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
03/02/2024 17:00 | 2970.614 | 3108.806 | 2822.226 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
03/02/2024 17:30 | 2980.951 | 3122.612 | 2828.846 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 1
03/02/2024 18:00 | 2959.839 | 3104.569 | 2806.634 | High Demand Scenario | 0 | 6 | 8 | 7 | 0 | 0 | 27 | 0 | 0 | 0 | 0 | 0
03/02/2024 18:30 | 2906.652 | 3051.759 | 2754.665 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 0
03/02/2024 19:00 | 2839.122 | 2985.003 | 2693.241
03/02/2024 19:30 | 2772.418 | 2915.601 | 2629.235 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
03/02/2024 20:00 | 2687.476 | 2826.979 | 2547.972
03/02/2024 20:30 | 2604.955 | 2740.861 | 2469.049 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
03/02/2024 21:00 | 2526.536 | 2659.016 | 2394.056 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
03/02/2024 21:30 | 2448.581 | 2577.618 | 2319.544 | [7 empty] | 05/02/2024 12:00 |  |  |  |  | 06/02/2024 08:30 |  | 09/02/2024 16:00 | 08/02/2024 17:30 | 09/02/2024 15:30 |  |  | 05/02/2024 12:00 | [11 empty] | 05/02/2024 13:00
03/02/2024 22:00 | 2370.251 | 2495.784 | 2244.718 | [7 empty] | 05/02/2024 12:30 | [6 empty] | 09/02/2024 16:30 | 09/02/2024 15:30 | 09/02/2024 16:00 |  |  | 05/02/2024 12:30 | [11 empty] | 05/02/2024 13:30
03/02/2024 22:30 | 2294.864 | 2417.009 | 2172.719 | [7 empty] | 05/02/2024 13:00 | [6 empty] | 09/02/2024 17:00 | 09/02/2024 16:00 | 09/02/2024 16:30 |  |  | 05/02/2024 13:00 | [11 empty] | 05/02/2024 14:00
03/02/2024 23:00 | 2219.807 | 2338.542 | 2101.073 | [7 empty] | 05/02/2024 13:30 | [6 empty] | 09/02/2024 17:30 | 09/02/2024 16:30 | 09/02/2024 17:00 |  |  | 05/02/2024 13:30 | [11 empty] | 05/02/2024 14:30
03/02/2024 23:30 | 2142.903 | 2258.088 | 2027.718 | [7 empty] | 05/02/2024 14:00 | [6 empty] | 09/02/2024 18:00 | 09/02/2024 17:00 | 09/02/2024 17:30 |  |  | 05/02/2024 14:00 | [11 empty] | 06/02/2024 08:00
04/02/2024 00:00 | 2066.801 | 2178.439 | 1955.162 | [7 empty] | 05/02/2024 14:30 | [6 empty] | 09/02/2024 18:30 | 09/02/2024 17:30 | 09/02/2024 18:00 |  |  | 05/02/2024 14:30 | [11 empty] | 06/02/2024 08:30
04/02/2024 00:30 | 2008.345 | 2117.355 | 1899.335 | [7 empty] | 06/02/2024 10:00 | [7 empty] | 09/02/2024 18:00 | 09/02/2024 18:30 |  |  | 06/02/2024 08:30 | [11 empty] | 06/02/2024 10:30
04/02/2024 01:00 | 1968.864 | 2076.249 | 1861.478 | [7 empty] | 06/02/2024 10:30 | [7 empty] | 09/02/2024 18:30 |  |  |  | 06/02/2024 09:30 | [11 empty] | 06/02/2024 11:00
04/02/2024 01:30 | 1941.133 | 2047.517 | 1834.749 | [7 empty] | 06/02/2024 11:00 | [11 empty] | 06/02/2024 10:00 | [11 empty] | 06/02/2024 11:30
04/02/2024 02:00 | 1919.779 | 2025.499 | 1814.06 | [7 empty] | 06/02/2024 11:30 | [11 empty] | 06/02/2024 10:30 | [11 empty] | 06/02/2024 12:30
04/02/2024 02:30 | 1899.02 | 2004.096 | 1793.944 | [7 empty] | 06/02/2024 12:00 | [11 empty] | 06/02/2024 11:00 | [11 empty] | 06/02/2024 13:00
04/02/2024 03:00 | 1882.546 | 1987.206 | 1777.886 | [7 empty] | 06/02/2024 12:30 | [11 empty] | 06/02/2024 11:30 | [11 empty] | 06/02/2024 13:30
04/02/2024 03:30 | 1877.309 | 1982.173 | 1772.446 | [7 empty] | 06/02/2024 13:00 | [11 empty] | 06/02/2024 12:00 | [11 empty] | 07/02/2024 11:00
04/02/2024 04:00 | 1874.714 | 1979.926 | 1769.502 | [7 empty] | 07/02/2024 11:00 | [11 empty] | 06/02/2024 12:30
04/02/2024 04:30 | 1863.717 | 1968.802 | 1758.632 | [19 empty] | 06/02/2024 13:00
04/02/2024 05:00 | 1854.259 | 1959.299 | 1749.218 | [19 empty] | 08/02/2024 17:00
04/02/2024 05:30 | 1837.755 | 1942.344 | 1733.166 | [19 empty] | 08/02/2024 17:30
04/02/2024 06:00 | 1770.212 | 1871.423 | 1669.001 | [19 empty] | 08/02/2024 18:00
04/02/2024 06:30 | 1684.186 | 1780.878 | 1587.493 | [19 empty] | 09/02/2024 15:00
04/02/2024 07:00 | 1589.656 | 1681.219 | 1498.094 | [19 empty] | 09/02/2024 15:30
04/02/2024 07:30 | 1465.157 | 1549.829 | 1380.486 | [19 empty] | 09/02/2024 16:00
04/02/2024 08:00 | 1341.673 | 1419.464 | 1263.881 | [19 empty] | 09/02/2024 16:30
04/02/2024 08:30 | 1227.226 | 1298.616 | 1155.835 | [19 empty] | 09/02/2024 17:00
04/02/2024 09:00 | 1166.198 | 1234.262 | 1098.135 | [19 empty] | 09/02/2024 17:30
04/02/2024 09:30 | 1146.101 | 1213.21 | 1078.992 | [19 empty] | 09/02/2024 18:00
04/02/2024 10:00 | 1131.619 | 1198.096 | 1065.141 | [19 empty] | 09/02/2024 18:30
04/02/2024 10:30 | 1116.494 | 1182.296 | 1050.692 | [19 empty] | 09/02/2024 19:00
04/02/2024 11:00 | 1105.79 | 1171.173 | 1040.408
04/02/2024 11:30 | 1071.226 | 1134.769 | 1007.682
04/02/2024 12:00 | 1052.167 | 1114.781 | 989.5529
04/02/2024 12:30 | 1060.022 | 1123.306 | 996.7383
04/02/2024 13:00 | 1085.991 | 1151.033 | 1020.949
04/02/2024 13:30 | 1139.329 | 1207.784 | 1070.875
04/02/2024 14:00 | 1213.401 | 1286.537 | 1140.265
04/02/2024 14:30 | 1360.16 | 1442.402 | 1277.918
04/02/2024 15:00 | 1505.693 | 1597.022 | 1414.363
04/02/2024 15:30 | 1672.913 | 1774.705 | 1571.121
04/02/2024 16:00 | 1882.502 | 1997.406 | 1767.597
04/02/2024 16:30 | 2081.515 | 2208.965 | 1954.066
04/02/2024 17:00 | 2250.253 | 2388.464 | 2112.042
04/02/2024 17:30 | 2370.509 | 2516.559 | 2224.459
04/02/2024 18:00 | 2422.699 | 2572.427 | 2272.97
04/02/2024 18:30 | 2407.082 | 2556.306 | 2257.859
04/02/2024 19:00 | 2360.05 | 2506.809 | 2213.291
04/02/2024 19:30 | 2319.11 | 2463.766 | 2174.454
04/02/2024 20:00 | 2256.776 | 2397.975 | 2115.577
04/02/2024 20:30 | 2188.295 | 2325.628 | 2050.963
04/02/2024 21:00 | 2122.537 | 2256.148 | 1988.925
04/02/2024 21:30 | 2060.095 | 2190.169 | 1930.021
04/02/2024 22:00 | 1999.649 | 2126.288 | 1873.009
04/02/2024 22:30 | 1949.592 | 2073.434 | 1825.75
04/02/2024 23:00 | 1909.198 | 2030.839 | 1787.557
04/02/2024 23:30 | 1871.447 | 1987.256 | 1755.638
05/02/2024 00:00 | 1836.981 | 1943.634 | 1730.328
05/02/2024 00:30 | 1809.011 | 1914.96 | 1703.062
05/02/2024 01:00 | 1791.493 | 1896.712 | 1686.274
05/02/2024 01:30 | 1782.475 | 1887.459 | 1677.492
05/02/2024 02:00 | 1775.398 | 1880.258 | 1670.538
05/02/2024 02:30 | 1770.242 | 1875.09 | 1665.395
05/02/2024 03:00 | 1771.95 | 1877.191 | 1666.708
05/02/2024 03:30 | 1786.977 | 1893.406 | 1680.548
05/02/2024 04:00 | 1821.349 | 1930.126 | 1712.573
05/02/2024 04:30 | 1872.798 | 1984.341 | 1760.639
05/02/2024 05:00 | 1928.161 | 2043.321 | 1812.369
05/02/2024 05:30 | 1972.579 | 2090.717 | 1853.793
05/02/2024 06:00 | 1972.267 | 2090.712 | 1853.174
05/02/2024 06:30 | 1916.537 | 2031.952 | 1801.129
05/02/2024 07:00 | 1829.84 | 1940.337 | 1719.352
05/02/2024 07:30 | 1698.13 | 1800.984 | 1595.28
05/02/2024 08:00 | 1573.713 | 1669.378 | 1478.047
05/02/2024 08:30 | 1462.802 | 1552.045 | 1373.56
05/02/2024 09:00 | 1373.918 | 1458.038 | 1289.798
05/02/2024 09:30 | 1309.595 | 1390.063 | 1229.127
05/02/2024 10:00 | 1267.632 | 1345.798 | 1189.465
05/02/2024 10:30 | 1238.124 | 1314.741 | 1161.506
05/02/2024 11:00 | 1225.72 | 1301.838 | 1149.602
05/02/2024 11:30 | 1218.747 | 1294.697 | 1142.796
05/02/2024 12:00 | 1237.168 | 1314.537 | 1159.799
05/02/2024 12:30 | 1274.179 | 1354.141 | 1194.217
05/02/2024 13:00 | 1324.71 | 1408.133 | 1241.287
05/02/2024 13:30 | 1392.479 | 1480.474 | 1304.485
05/02/2024 14:00 | 1450.296 | 1542.261 | 1358.331
05/02/2024 14:30 | 1582.992 | 1683.718 | 1482.267
05/02/2024 15:00 | 1740.935 | 1852.09 | 1629.779
05/02/2024 15:30 | 1926.574 | 2050.003 | 1803.145
05/02/2024 16:00 | 2123.495 | 2260.004 | 1986.985
05/02/2024 16:30 | 2304.201 | 2452.831 | 2155.572
05/02/2024 17:00 | 2457.934 | 2617.017 | 2298.851
05/02/2024 17:30 | 2562.09 | 2728.474 | 2395.707
05/02/2024 18:00 | 2605.626 | 2775.407 | 2435.846
05/02/2024 18:30 | 2588.544 | 2757.777 | 2419.311
05/02/2024 19:00 | 2536.469 | 2702.852 | 2370.087
05/02/2024 19:30 | 2485.238 | 2648.803 | 2321.673
05/02/2024 20:00 | 2403.905 | 2562.642 | 2245.167
05/02/2024 20:30 | 2314.165 | 2467.481 | 2160.847
05/02/2024 21:00 | 2226.426 | 2377.605 | 2078.436
05/02/2024 21:30 | 2146.467 | 2292.243 | 2003.322
05/02/2024 22:00 | 2072.225 | 2213.158 | 1933.578
05/02/2024 22:30 | 2013.07 | 2150.307 | 1877.942
05/02/2024 23:00 | 1969.618 | 2104.401 | 1836.976
05/02/2024 23:30 | 1933.547 | 2066.442 | 1802.911
06/02/2024 00:00 | 1902.082 | 2033.398 | 1773.157
06/02/2024 00:30 | 1876.287 | 2006.257 | 1748.7
06/02/2024 01:00 | 1861.413 | 1990.728 | 1734.431
06/02/2024 01:30 | 1846.863 | 1975.419 | 1720.47
06/02/2024 02:00 | 1835.958 | 1964.027 | 1709.911
06/02/2024 02:30 | 1827.268 | 1955.017 | 1701.418
06/02/2024 03:00 | 1825.025 | 1952.906 | 1698.93
06/02/2024 03:30 | 1836.354 | 1965.336 | 1709.076
06/02/2024 04:00 | 1866.945 | 1998.374 | 1737.138
06/02/2024 04:30 | 1914.303 | 2049.346 | 1780.786
06/02/2024 05:00 | 1970.573 | 2109.815 | 1832.7
06/02/2024 05:30 | 2022.302 | 2165.455 | 1880.368
06/02/2024 06:00 | 2029.995 | 2174.035 | 1887.078
06/02/2024 06:30 | 1975.105 | 2115.732 | 1835.621
06/02/2024 07:00 | 1891.695 | 2026.875 | 1758.706
06/02/2024 07:30 | 1761.271 | 1886.424 | 1636.119
06/02/2024 08:00 | 1631.98 | 1748.302 | 1515.658
06/02/2024 08:30 | 1529.47 | 1638.819 | 1420.12
06/02/2024 09:00 | 1462.978 | 1567.893 | 1358.062
06/02/2024 09:30 | 1420.257 | 1522.419 | 1318.094
06/02/2024 10:00 | 1397.161 | 1497.967 | 1296.355
06/02/2024 10:30 | 1413.137 | 1515.405 | 1310.87
06/02/2024 11:00 | 1446.087 | 1551.055 | 1341.119
06/02/2024 11:30 | 1474.777 | 1582.15 | 1367.404
06/02/2024 12:00 | 1529.064 | 1640.723 | 1417.405
06/02/2024 12:30 | 1612.965 | 1731.104 | 1494.827
06/02/2024 13:00 | 1709.714 | 1835.312 | 1584.116
06/02/2024 13:30 | 1815.162 | 1948.903 | 1681.421
06/02/2024 14:00 | 1918.358 | 2060.122 | 1776.594
06/02/2024 14:30 | 2084.417 | 2238.907 | 1929.926
06/02/2024 15:00 | 2279.89 | 2449.367 | 2110.414
06/02/2024 15:30 | 2480.572 | 2665.509 | 2295.635
06/02/2024 16:00 | 2671.677 | 2871.445 | 2471.909
06/02/2024 16:30 | 2840.523 | 3053.536 | 2627.51
06/02/2024 17:00 | 2966.629 | 3189.747 | 2743.51
06/02/2024 17:30 | 3037.021 | 3266.097 | 2807.945
06/02/2024 18:00 | 3047.872 | 3278.432 | 2817.311
06/02/2024 18:30 | 2995.592 | 3222.852 | 2768.332
06/02/2024 19:00 | 2917.567 | 3139.545 | 2695.589
06/02/2024 19:30 | 2839.255 | 3055.895 | 2622.615
06/02/2024 20:00 | 2729.062 | 2937.891 | 2520.233
06/02/2024 20:30 | 2606.755 | 2806.794 | 2406.716
06/02/2024 21:00 | 2484.808 | 2676.032 | 2293.584
06/02/2024 21:30 | 2375.057 | 2558.353 | 2191.76
06/02/2024 22:00 | 2275.013 | 2451.086 | 2098.94
06/02/2024 22:30 | 2201.597 | 2372.469 | 2030.725
06/02/2024 23:00 | 2152.335 | 2319.854 | 1984.816
06/02/2024 23:30 | 2116.923 | 2282.148 | 1951.698
07/02/2024 00:00 | 2091.712 | 2255.427 | 1927.998
07/02/2024 00:30 | 2062.761 | 2224.66 | 1900.862
07/02/2024 01:00 | 2038.514 | 2198.955 | 1878.072
07/02/2024 01:30 | 2012.9 | 2171.766 | 1854.035
07/02/2024 02:00 | 1992.447 | 2150.133 | 1834.76
07/02/2024 02:30 | 1977.769 | 2134.726 | 1820.812
07/02/2024 03:00 | 1971.616 | 2128.516 | 1814.717
07/02/2024 03:30 | 1984.068 | 2142.392 | 1825.744
07/02/2024 04:00 | 2016.2 | 2177.529 | 1854.872
07/02/2024 04:30 | 2061.447 | 2226.846 | 1896.047
07/02/2024 05:00 | 2118.748 | 2289.207 | 1948.288
07/02/2024 05:30 | 2180.572 | 2356.482 | 2004.662
07/02/2024 06:00 | 2205.769 | 2384.193 | 2027.344
07/02/2024 06:30 | 2179.832 | 2356.635 | 2003.029
07/02/2024 07:00 | 2128.005 | 2301.069 | 1954.94
07/02/2024 07:30 | 2029.968 | 2195.483 | 1864.452
07/02/2024 08:00 | 1938.823 | 2097.275 | 1780.37
07/02/2024 08:30 | 1862.736 | 2015.327 | 1710.145
07/02/2024 09:00 | 1826.703 | 1976.693 | 1676.714
07/02/2024 09:30 | 1826.458 | 1976.778 | 1676.139
07/02/2024 10:00 | 1834.258 | 1985.571 | 1682.946
07/02/2024 10:30 | 1877.109 | 2032.316 | 1721.901
07/02/2024 11:00 | 1950.768 | 2112.44 | 1789.097
07/02/2024 11:30 | 2016.365 | 2183.86 | 1848.871
07/02/2024 12:00 | 2113.148 | 2289.088 | 1937.209
07/02/2024 12:30 | 2226.127 | 2411.9 | 2040.355
07/02/2024 13:00 | 2342.446 | 2538.375 | 2146.518
07/02/2024 13:30 | 2471.208 | 2678.38 | 2264.036
07/02/2024 14:00 | 2609.193 | 2828.432 | 2389.953
07/02/2024 14:30 | 2797.917 | 3033.551 | 2562.283
07/02/2024 15:00 | 3009.117 | 3263.115 | 2755.12
07/02/2024 15:30 | 3210.777 | 3482.412 | 2939.143
07/02/2024 16:00 | 3397.091 | 3685.14 | 3109.043
07/02/2024 16:30 | 3533.189 | 3833.454 | 3232.924
07/02/2024 17:00 | 3626.902 | 3935.826 | 3317.977
07/02/2024 17:30 | 3666.672 | 3979.687 | 3353.657
07/02/2024 18:00 | 3647.578 | 3959.662 | 3335.494
07/02/2024 18:30 | 3565.373 | 3871.107 | 3259.639
07/02/2024 19:00 | 3451.709 | 3748.358 | 3155.061
07/02/2024 19:30 | 3348.027 | 3636.406 | 3059.647
07/02/2024 20:00 | 3204.708 | 3481.358 | 2928.059
07/02/2024 20:30 | 3038.256 | 3301.119 | 2775.394
07/02/2024 21:00 | 2872.233 | 3121.282 | 2623.184
07/02/2024 21:30 | 2719.842 | 2956.198 | 2483.485
07/02/2024 22:00 | 2581.264 | 2806.073 | 2356.455
07/02/2024 22:30 | 2467.22 | 2682.569 | 2251.87
07/02/2024 23:00 | 2377.557 | 2585.536 | 2169.578
07/02/2024 23:30 | 2305.412 | 2507.521 | 2103.302
08/02/2024 00:00 | 2245.856 | 2443.176 | 2048.537
08/02/2024 00:30 | 2197.218 | 2390.685 | 2003.751
08/02/2024 01:00 | 2160.462 | 2351.106 | 1969.817
08/02/2024 01:30 | 2131.522 | 2320.021 | 1943.023
08/02/2024 02:00 | 2106.897 | 2293.622 | 1920.171
08/02/2024 02:30 | 2090.904 | 2276.612 | 1905.195
08/02/2024 03:00 | 2082.448 | 2267.805 | 1897.091
08/02/2024 03:30 | 2087.35 | 2273.543 | 1901.156
08/02/2024 04:00 | 2108.542 | 2297.03 | 1920.054
08/02/2024 04:30 | 2150.62 | 2343.281 | 1957.958
08/02/2024 05:00 | 2215.557 | 2414.46 | 2016.653
08/02/2024 05:30 | 2294.119 | 2500.516 | 2087.723
08/02/2024 06:00 | 2339.646 | 2550.586 | 2128.705
08/02/2024 06:30 | 2344.857 | 2556.717 | 2132.997
08/02/2024 07:00 | 2326.403 | 2537.041 | 2115.765
08/02/2024 07:30 | 2268.718 | 2474.568 | 2062.868
08/02/2024 08:00 | 2218.941 | 2420.7 | 2017.182
08/02/2024 08:30 | 2212.404 | 2413.993 | 2010.816
08/02/2024 09:00 | 2229.482 | 2433.054 | 2025.91
08/02/2024 09:30 | 2282.48 | 2491.329 | 2073.631
08/02/2024 10:00 | 2340.449 | 2555.05 | 2125.847
08/02/2024 10:30 | 2382.028 | 2600.899 | 2163.158
08/02/2024 11:00 | 2469.802 | 2697.211 | 2242.393
08/02/2024 11:30 | 2548.472 | 2783.613 | 2313.331
08/02/2024 12:00 | 2640.233 | 2884.346 | 2396.119
08/02/2024 12:30 | 2763.315 | 3019.339 | 2507.292
08/02/2024 13:00 | 2858.426 | 3123.81 | 2593.043
08/02/2024 13:30 | 2961.304 | 3236.807 | 2685.802
08/02/2024 14:00 | 3051.025 | 3335.459 | 2766.591
08/02/2024 14:30 | 3204.228 | 3503.559 | 2904.897
08/02/2024 15:00 | 3389.931 | 3707.259 | 3072.602
08/02/2024 15:30 | 3561.849 | 3895.953 | 3227.745
08/02/2024 16:00 | 3717.736 | 4067.175 | 3368.297
08/02/2024 16:30 | 3845.287 | 4207.452 | 3483.122
08/02/2024 17:00 | 3933.965 | 4305.236 | 3562.694
08/02/2024 17:30 | 3973.095 | 4348.82 | 3597.369
08/02/2024 18:00 | 3941.966 | 4315.503 | 3568.429
08/02/2024 18:30 | 3856.89 | 4223.104 | 3490.675
08/02/2024 19:00 | 3739.852 | 4095.67 | 3384.033
08/02/2024 19:30 | 3640.154 | 3987.185 | 3293.124
08/02/2024 20:00 | 3497.92 | 3832.061 | 3163.779
08/02/2024 20:30 | 3320.072 | 3637.861 | 3002.283
08/02/2024 21:00 | 3140.696 | 3441.918 | 2839.475
08/02/2024 21:30 | 2971.59 | 3257.162 | 2686.018
08/02/2024 22:00 | 2816.15 | 3087.324 | 2544.977
08/02/2024 22:30 | 2690.409 | 2949.99 | 2430.827
08/02/2024 23:00 | 2586.762 | 2836.84 | 2336.685
08/02/2024 23:30 | 2507.859 | 2750.789 | 2264.929
09/02/2024 00:00 | 2446.594 | 2684.058 | 2209.13
09/02/2024 00:30 | 2388.213 | 2620.469 | 2155.958
09/02/2024 01:00 | 2349.606 | 2578.557 | 2120.655
09/02/2024 01:30 | 2311.817 | 2537.529 | 2086.105
09/02/2024 02:00 | 2279.454 | 2502.443 | 2056.465
09/02/2024 02:30 | 2254.546 | 2475.531 | 2033.561
09/02/2024 03:00 | 2239.82 | 2459.79 | 2019.849
09/02/2024 03:30 | 2242.883 | 2463.585 | 2022.182
09/02/2024 04:00 | 2263.266 | 2486.406 | 2040.125
09/02/2024 04:30 | 2304.089 | 2531.696 | 2076.482
09/02/2024 05:00 | 2369.599 | 2604.132 | 2135.066
09/02/2024 05:30 | 2449.201 | 2692.081 | 2206.32
09/02/2024 06:00 | 2506.307 | 2755.331 | 2257.282
09/02/2024 06:30 | 2533.436 | 2785.641 | 2281.231
09/02/2024 07:00 | 2539.122 | 2792.38 | 2285.864
09/02/2024 07:30 | 2520.789 | 2772.83 | 2268.747
09/02/2024 08:00 | 2533.201 | 2787.355 | 2279.047
09/02/2024 08:30 | 2551.632 | 2808.491 | 2294.774
09/02/2024 09:00 | 2590.681 | 2852.339 | 2329.023
09/02/2024 09:30 | 2666.362 | 2936.558 | 2396.166
09/02/2024 10:00 | 2760.712 | 3041.394 | 2480.029
09/02/2024 10:30 | 2825.497 | 3113.714 | 2537.281
09/02/2024 11:00 | 2923.748 | 3222.967 | 2624.529
09/02/2024 11:30 | 3032.257 | 3343.598 | 2720.917
09/02/2024 12:00 | 3117.333 | 3438.454 | 2796.212
09/02/2024 12:30 | 3213.785 | 3545.919 | 2881.65
09/02/2024 13:00 | 3320.198 | 3664.444 | 2975.953
09/02/2024 13:30 | 3430.038 | 3786.821 | 3073.254
09/02/2024 14:00 | 3524.726 | 3892.54 | 3156.911
09/02/2024 14:30 | 3657.39 | 4040.275 | 3274.505
09/02/2024 15:00 | 3781.327 | 4178.455 | 3384.2
09/02/2024 15:30 | 3932.143 | 4346.428 | 3517.858
09/02/2024 16:00 | 4060.348 | 4489.502 | 3631.194
09/02/2024 16:30 | 4143.475 | 4582.804 | 3704.146
09/02/2024 17:00 | 4182.102 | 4626.929 | 3737.275
09/02/2024 17:30 | 4173.352 | 4618.647 | 3728.056
09/02/2024 18:00 | 4114.932 | 4555.374 | 3674.49
09/02/2024 18:30 | 4019.295 | 4450.848 | 3587.742
09/02/2024 19:00 | 3910.394 | 4331.565 | 3489.222
09/02/2024 19:30 | 3813.685 | 4225.719 | 3401.651
09/02/2024 20:00 | 3688.046 | 4087.743 | 3288.35
09/02/2024 20:30 | 3533.215 | 3917.316 | 3149.114
09/02/2024 21:00 | 3373.724 | 3741.618 | 3005.83
09/02/2024 21:30 | 3213.554 | 3565.06 | 2862.049
09/02/2024 22:00 | 3067.03 | 3403.537 | 2730.524
09/02/2024 22:30 | 2938.629 | 3262.033 | 2615.225
09/02/2024 23:00 | 2825.99 | 3137.946 | 2514.035
09/02/2024 23:30 | 2726.213 | 3026.296 | 2426.131
10/02/2024 00:00 | 2638.344 | 2926.347 | 2350.341
10/02/2024 00:30 | 2566.133 | 2847.704 | 2284.562
10/02/2024 01:00 | 2513.533 | 2790.457 | 2236.609
10/02/2024 01:30 | 2461.738 | 2734.057 | 2189.418
10/02/2024 02:00 | 2420.51 | 2689.352 | 2151.668
10/02/2024 02:30 | 2384.391 | 2650.287 | 2118.494
10/02/2024 03:00 | 2353.296 | 2616.778 | 2089.813
10/02/2024 03:30 | 2333.618 | 2595.941 | 2071.294
10/02/2024 04:00 | 2315.644 | 2576.983 | 2054.304
10/02/2024 04:30 | 2298.487 | 2558.918 | 2038.055
10/02/2024 05:00 | 2313.544 | 2576.716 | 2050.371
10/02/2024 05:30 | 2345.594 | 2613.462 | 2077.726
10/02/2024 06:00 | 2327.15 | 2593.953 | 2060.347
10/02/2024 06:30 | 2318.719 | 2585.592 | 2051.845
10/02/2024 07:00 | 2324.713 | 2593.317 | 2056.109
10/02/2024 07:30 | 2307.882 | 2575.574 | 2040.19