## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
06/02/2024 08:00 | 1741.61 | 1767.157 | 1717.923
06/02/2024 08:30 | 1640.321 | 1668.37 | 1612.272 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
06/02/2024 09:00 | 1545.618 | 1576.642 | 1514.594 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
06/02/2024 09:30 | 1455.789 | 1489.338 | 1422.24 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
06/02/2024 10:00 | 1390.348 | 1426.522 | 1354.175 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
06/02/2024 10:30 | 1350.353 | 1388.535 | 1312.172 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
06/02/2024 11:00 | 1328.8 | 1367.489 | 1290.11 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
06/02/2024 11:30 | 1319.406 | 1359.093 | 1279.719 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
06/02/2024 12:00 | 1344.294 | 1386.024 | 1302.564 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
06/02/2024 12:30 | 1414.272 | 1459.537 | 1369.008 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
06/02/2024 13:00 | 1491.671 | 1540.849 | 1442.493 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
06/02/2024 13:30 | 1591.647 | 1645.654 | 1536.154
06/02/2024 14:00 | 1705.478 | 1762.841 | 1643.961 | Summary view - for each schedule horizon (dispatch, week-ahead)
06/02/2024 14:30 | 1860.233 | 1924.907 | 1791.639
06/02/2024 15:00 | 2052.028 | 2126.876 | 1975.811 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
06/02/2024 15:30 | 2247.257 | 2330.274 | 2160.591 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
06/02/2024 16:00 | 2435.994 | 2528.337 | 2339.713 | Scenario | Violations
06/02/2024 16:30 | 2606.938 | 2709.335 | 2502.376 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
06/02/2024 17:00 | 2739.128 | 2848.351 | 2625.702 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
06/02/2024 17:30 | 2819.157 | 2934.217 | 2699.643 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0
06/02/2024 18:00 | 2838.571 | 2957.731 | 2716.031 | High Demand Scenario | 0 | 14 | 21 | 20 | 0 | 0 | 29 | 0 | 0 | 0 | 0 | 0
06/02/2024 18:30 | 2804.259 | 2924.273 | 2681.223 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0
06/02/2024 19:00 | 2743.562 | 2863.5 | 2623.625
06/02/2024 19:30 | 2674.937 | 2792.921 | 2556.952 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
06/02/2024 20:00 | 2575.646 | 2690.259 | 2461.034
06/02/2024 20:30 | 2466.77 | 2577.503 | 2356.036 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
06/02/2024 21:00 | 2358.459 | 2465.254 | 2251.665 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
06/02/2024 21:30 | 2261.792 | 2365.095 | 2158.49 | [7 empty] | 06/02/2024 11:00 | [6 empty] | 08/02/2024 17:30 | 08/02/2024 17:00 | 08/02/2024 17:00 |  |  | 06/02/2024 11:00 | [11 empty] | 06/02/2024 10:30
06/02/2024 22:00 | 2172.642 | 2272.723 | 2072.561 | [7 empty] | 06/02/2024 11:30 | [6 empty] | 08/02/2024 18:00 | 08/02/2024 17:30 | 08/02/2024 17:30 |  |  | 06/02/2024 11:30 | [11 empty] | 06/02/2024 11:00
06/02/2024 22:30 | 2105.825 | 2203.652 | 2007.997 | [7 empty] | 06/02/2024 12:00 | [6 empty] | 09/02/2024 15:30 | 08/02/2024 18:00 | 08/02/2024 18:00 |  |  | 06/02/2024 12:00 | [11 empty] | 06/02/2024 11:30
06/02/2024 23:00 | 2058.796 | 2155.245 | 1962.347 | [7 empty] | 06/02/2024 12:30 | [6 empty] | 09/02/2024 16:00 | 08/02/2024 18:30 | 08/02/2024 18:30 |  |  | 06/02/2024 12:30 | [11 empty] | 06/02/2024 12:00
06/02/2024 23:30 | 2022.896 | 2118.455 | 1927.338 | [7 empty] | 06/02/2024 13:00 | [6 empty] | 09/02/2024 16:30 | 09/02/2024 15:00 | 09/02/2024 15:30 |  |  | 07/02/2024 10:00 | [11 empty] | 06/02/2024 12:30
07/02/2024 00:00 | 1996.386 | 2091.474 | 1901.298 | [7 empty] | 07/02/2024 10:30 | [6 empty] | 09/02/2024 17:00 | 09/02/2024 15:30 | 09/02/2024 16:00 |  |  | 07/02/2024 10:30 | [11 empty] | 06/02/2024 13:00
07/02/2024 00:30 | 1970.358 | 2064.977 | 1875.739 | [7 empty] | 07/02/2024 11:00 | [6 empty] | 09/02/2024 17:30 | 09/02/2024 16:00 | 09/02/2024 16:30 |  |  | 08/02/2024 16:30 | [11 empty] | 07/02/2024 10:30
07/02/2024 01:00 | 1950.792 | 2045.235 | 1856.349 | [7 empty] | 09/02/2024 16:30 | [6 empty] | 10/02/2024 16:30 | 09/02/2024 16:30 | 09/02/2024 17:00 |  |  | 08/02/2024 17:00 | [11 empty] | 07/02/2024 11:00
07/02/2024 01:30 | 1932.124 | 2026.42 | 1837.829 | [7 empty] | 09/02/2024 17:00 | [6 empty] | 10/02/2024 17:00 | 09/02/2024 17:00 | 09/02/2024 17:30 |  |  | 08/02/2024 17:30 | [11 empty] | 07/02/2024 11:30
07/02/2024 02:00 | 1917.327 | 2011.651 | 1823.004 | [14 empty] | 10/02/2024 17:30 | 09/02/2024 17:30 | 09/02/2024 18:00 |  |  | 08/02/2024 18:00
07/02/2024 02:30 | 1905.381 | 1999.863 | 1810.899 | [14 empty] | 10/02/2024 18:00 | 09/02/2024 18:00 | 10/02/2024 16:00 |  |  | 08/02/2024 18:30
07/02/2024 03:00 | 1902.243 | 1997.314 | 1807.172 | [14 empty] | 11/02/2024 17:00 | 10/02/2024 16:00 | 10/02/2024 16:30 |  |  | 09/02/2024 15:00
07/02/2024 03:30 | 1913.99 | 2010.396 | 1817.583 | [14 empty] | 11/02/2024 17:30 | 10/02/2024 16:30 | 10/02/2024 17:00 |  |  | 09/02/2024 15:30
07/02/2024 04:00 | 1944.575 | 2043.284 | 1845.867 | [14 empty] | 11/02/2024 18:00 | 10/02/2024 17:00 | 10/02/2024 17:30 |  |  | 09/02/2024 16:00
07/02/2024 04:30 | 1991.17 | 2093.023 | 1889.317 | [15 empty] | 10/02/2024 17:30 | 10/02/2024 18:00 |  |  | 09/02/2024 16:30
07/02/2024 05:00 | 2047.858 | 2153.413 | 1942.304 | [15 empty] | 10/02/2024 18:00 | 10/02/2024 18:30 |  |  | 09/02/2024 17:00
07/02/2024 05:30 | 2102.406 | 2211.595 | 1993.217 | [15 empty] | 10/02/2024 18:30 | 11/02/2024 16:30 |  |  | 09/02/2024 17:30
07/02/2024 06:00 | 2125.742 | 2236.975 | 2014.509 | [15 empty] | 11/02/2024 16:30 | 11/02/2024 17:00 |  |  | 09/02/2024 18:00
07/02/2024 06:30 | 2096.358 | 2206.705 | 1986.011 | [15 empty] | 11/02/2024 17:00 | 11/02/2024 17:30 |  |  | 10/02/2024 16:00
07/02/2024 07:00 | 2033.856 | 2141.221 | 1926.491 | [15 empty] | 11/02/2024 17:30 | 11/02/2024 18:00 |  |  | 10/02/2024 16:30
07/02/2024 07:30 | 1934.484 | 2036.923 | 1832.046 | [15 empty] | 11/02/2024 18:00 |  |  |  | 10/02/2024 17:00
07/02/2024 08:00 | 1840.014 | 1937.753 | 1742.274 | [19 empty] | 10/02/2024 17:30
07/02/2024 08:30 | 1764.243 | 1858.25 | 1670.237 | [19 empty] | 10/02/2024 18:00
07/02/2024 09:00 | 1720.789 | 1812.763 | 1628.814 | [19 empty] | 10/02/2024 18:30
07/02/2024 09:30 | 1701.226 | 1792.436 | 1610.016 | [19 empty] | 11/02/2024 16:30
07/02/2024 10:00 | 1695.041 | 1786.199 | 1603.883 | [19 empty] | 11/02/2024 17:00
07/02/2024 10:30 | 1712.482 | 1804.861 | 1620.103 | [19 empty] | 11/02/2024 17:30
07/02/2024 11:00 | 1763.205 | 1858.611 | 1667.798 | [19 empty] | 11/02/2024 18:00
07/02/2024 11:30 | 1821.595 | 1920.462 | 1722.729 | [19 empty] | 11/02/2024 18:30
07/02/2024 12:00 | 1899.156 | 2002.546 | 1795.766
07/02/2024 12:30 | 1999.599 | 2108.787 | 1890.411
07/02/2024 13:00 | 2107.155 | 2222.564 | 1991.746
07/02/2024 13:30 | 2219.767 | 2341.711 | 2097.824
07/02/2024 14:00 | 2335.638 | 2464.333 | 2206.944
07/02/2024 14:30 | 2507.126 | 2645.684 | 2368.569
07/02/2024 15:00 | 2705.765 | 2855.746 | 2555.783
07/02/2024 15:30 | 2896.575 | 3057.612 | 2735.538
07/02/2024 16:00 | 3075.589 | 3247.086 | 2904.092
07/02/2024 16:30 | 3217.68 | 3397.631 | 3037.729
07/02/2024 17:00 | 3317.169 | 3503.232 | 3131.106
07/02/2024 17:30 | 3364.229 | 3553.487 | 3174.971
07/02/2024 18:00 | 3353.511 | 3542.719 | 3164.302
07/02/2024 18:30 | 3291.356 | 3477.602 | 3105.111
07/02/2024 19:00 | 3198.756 | 3380.29 | 3017.223
07/02/2024 19:30 | 3111.103 | 3288.176 | 2935.228
07/02/2024 20:00 | 2986.649 | 3157.132 | 2817.305
07/02/2024 20:30 | 2842.133 | 3004.836 | 2680.504
07/02/2024 21:00 | 2697.75 | 2851.875 | 2543.878
07/02/2024 21:30 | 2566.141 | 2713.161 | 2419.342
07/02/2024 22:00 | 2446.882 | 2587.362 | 2306.402
07/02/2024 22:30 | 2351.82 | 2487.23 | 2216.409
07/02/2024 23:00 | 2280.833 | 2412.533 | 2149.134
07/02/2024 23:30 | 2226.291 | 2355.209 | 2097.373
08/02/2024 00:00 | 2183.146 | 2309.927 | 2056.366
08/02/2024 00:30 | 2144.354 | 2269.236 | 2019.473
08/02/2024 01:00 | 2114.333 | 2237.815 | 1990.851
08/02/2024 01:30 | 2087.13 | 2209.368 | 1964.892
08/02/2024 02:00 | 2063.894 | 2185.112 | 1942.677
08/02/2024 02:30 | 2047.762 | 2168.371 | 1927.154
08/02/2024 03:00 | 2039.91 | 2160.393 | 1919.427
08/02/2024 03:30 | 2045.16 | 2166.291 | 1924.03
08/02/2024 04:00 | 2067.85 | 2190.666 | 1945.034
08/02/2024 04:30 | 2111.832 | 2237.609 | 1986.056
08/02/2024 05:00 | 2171.226 | 2300.899 | 2041.554
08/02/2024 05:30 | 2238.05 | 2372.083 | 2104.017
08/02/2024 06:00 | 2281.808 | 2418.838 | 2144.777
08/02/2024 06:30 | 2284.635 | 2422.212 | 2147.057
08/02/2024 07:00 | 2257.466 | 2393.78 | 2121.152
08/02/2024 07:30 | 2225.129 | 2359.9 | 2090.358
08/02/2024 08:00 | 2217.804 | 2352.623 | 2082.985
08/02/2024 08:30 | 2207.351 | 2342.017 | 2072.685
08/02/2024 09:00 | 2222.88 | 2358.979 | 2086.781
08/02/2024 09:30 | 2272.339 | 2411.962 | 2132.715
08/02/2024 10:00 | 2323.698 | 2466.986 | 2169.904
08/02/2024 10:30 | 2362.625 | 2508.829 | 2205.3
08/02/2024 11:00 | 2447.308 | 2599.287 | 2282.816
08/02/2024 11:30 | 2533.045 | 2690.902 | 2359.687
08/02/2024 12:00 | 2612.221 | 2794.455 | 2448.86
08/02/2024 12:30 | 2732.756 | 2904.253 | 2561.26
08/02/2024 13:00 | 2827.003 | 3005.032 | 2648.975
08/02/2024 13:30 | 2932.402 | 3117.708 | 2747.095
08/02/2024 14:00 | 3022.549 | 3214.212 | 2830.885
08/02/2024 14:30 | 3170.858 | 3372.619 | 2969.097
08/02/2024 15:00 | 3357.749 | 3572.135 | 3143.362
08/02/2024 15:30 | 3518.847 | 3744.288 | 3293.406
08/02/2024 16:00 | 3656.944 | 3892.031 | 3421.856
08/02/2024 16:30 | 3782.831 | 4026.838 | 3538.824
08/02/2024 17:00 | 3866.494 | 4116.742 | 3616.246
08/02/2024 17:30 | 3903.113 | 4156.584 | 3649.643
08/02/2024 18:00 | 3869.818 | 4121.972 | 3617.664
08/02/2024 18:30 | 3782.846 | 4030.16 | 3535.533
08/02/2024 19:00 | 3664.771 | 3905.165 | 3424.376
08/02/2024 19:30 | 3561.013 | 3795.379 | 3326.646
08/02/2024 20:00 | 3419.258 | 3645.043 | 3193.474
08/02/2024 20:30 | 3252.062 | 3467.516 | 3036.608
08/02/2024 21:00 | 3082.461 | 3287.353 | 2877.57
08/02/2024 21:30 | 2918.348 | 3112.968 | 2723.728
08/02/2024 22:00 | 2766.844 | 2951.966 | 2581.723
08/02/2024 22:30 | 2646.346 | 2823.983 | 2468.708
08/02/2024 23:00 | 2549.917 | 2721.639 | 2378.196
08/02/2024 23:30 | 2469.674 | 2636.531 | 2302.816
09/02/2024 00:00 | 2402.379 | 2565.215 | 2239.544
09/02/2024 00:30 | 2350.283 | 2510.101 | 2190.465
09/02/2024 01:00 | 2311.406 | 2469.085 | 2153.726
09/02/2024 01:30 | 2271.766 | 2427.238 | 2116.295
09/02/2024 02:00 | 2240.406 | 2394.221 | 2086.591
09/02/2024 02:30 | 2215.287 | 2367.862 | 2062.713
09/02/2024 03:00 | 2199.915 | 2351.911 | 2047.919
09/02/2024 03:30 | 2200.354 | 2352.861 | 2047.846
09/02/2024 04:00 | 2220.775 | 2375.183 | 2066.367
09/02/2024 04:30 | 2263.528 | 2421.403 | 2105.653
09/02/2024 05:00 | 2333.98 | 2497.279 | 2170.681
09/02/2024 05:30 | 2415.372 | 2584.893 | 2245.851
09/02/2024 06:00 | 2471.161 | 2645.138 | 2297.185
09/02/2024 06:30 | 2501.25 | 2677.892 | 2324.609
09/02/2024 07:00 | 2519.226 | 2697.688 | 2340.765
09/02/2024 07:30 | 2516.871 | 2695.715 | 2338.027
09/02/2024 08:00 | 2529.337 | 2709.62 | 2349.054
09/02/2024 08:30 | 2553.995 | 2736.594 | 2371.397
09/02/2024 09:00 | 2593.627 | 2779.626 | 2407.629
09/02/2024 09:30 | 2670.143 | 2862.212 | 2478.073
09/02/2024 10:00 | 2765.619 | 2965.16 | 2566.078
09/02/2024 10:30 | 2826.989 | 3031.576 | 2622.403
09/02/2024 11:00 | 2921.858 | 3133.949 | 2709.768
09/02/2024 11:30 | 3025.083 | 3245.328 | 2804.839
09/02/2024 12:00 | 3094.776 | 3320.771 | 2868.782
09/02/2024 12:30 | 3177.573 | 3410.308 | 2944.838
09/02/2024 13:00 | 3278.909 | 3519.782 | 3038.035
09/02/2024 13:30 | 3387.462 | 3637.05 | 3137.873
09/02/2024 14:00 | 3470.123 | 3726.56 | 3213.686
09/02/2024 14:30 | 3603.409 | 3870.483 | 3336.335
09/02/2024 15:00 | 3757.069 | 3990.265 | 3438.076
09/02/2024 15:30 | 3890.643 | 4130.274 | 3557.146
09/02/2024 16:00 | 3998.991 | 4244.938 | 3654.293
09/02/2024 16:30 | 4076.08 | 4381.749 | 3724.852
09/02/2024 17:00 | 4103.958 | 4412.615 | 3795.302
09/02/2024 17:30 | 4096.838 | 4405.854 | 3787.823
09/02/2024 18:00 | 4050.252 | 4356.639 | 3743.865
09/02/2024 18:30 | 3955.669 | 4255.766 | 3655.573
09/02/2024 19:00 | 3840.447 | 4132.641 | 3548.253
09/02/2024 19:30 | 3740.872 | 4026.308 | 3455.437
09/02/2024 20:00 | 3621.248 | 3898.347 | 3344.149
09/02/2024 20:30 | 3485.921 | 3753.427 | 3218.416
09/02/2024 21:00 | 3339.28 | 3596.261 | 3082.298
09/02/2024 21:30 | 3186.794 | 3432.737 | 2940.851
09/02/2024 22:00 | 3047.238 | 3283.076 | 2811.399
09/02/2024 22:30 | 2923.079 | 3149.947 | 2696.211
09/02/2024 23:00 | 2809.001 | 3027.629 | 2590.373
09/02/2024 23:30 | 2708.901 | 2927.725 | 2490.076
10/02/2024 00:00 | 2622.445 | 2849.057 | 2395.833
10/02/2024 00:30 | 2550.757 | 2770.599 | 2330.916
10/02/2024 01:00 | 2495.778 | 2711.476 | 2280.079
10/02/2024 01:30 | 2441.691 | 2653.299 | 2230.084
10/02/2024 02:00 | 2400.041 | 2608.613 | 2191.47
10/02/2024 02:30 | 2363.462 | 2569.419 | 2157.505
10/02/2024 03:00 | 2330.125 | 2533.733 | 2126.516
10/02/2024 03:30 | 2305.318 | 2507.31 | 2103.326
10/02/2024 04:00 | 2288.3 | 2489.347 | 2087.253
10/02/2024 04:30 | 2272.088 | 2472.253 | 2071.922
10/02/2024 05:00 | 2266.18 | 2466.367 | 2065.994
10/02/2024 05:30 | 2271.056 | 2472.215 | 2069.896
10/02/2024 06:00 | 2248.125 | 2447.791 | 2048.46
10/02/2024 06:30 | 2216.032 | 2413.376 | 2018.687
10/02/2024 07:00 | 2221.266 | 2419.607 | 2022.925
10/02/2024 07:30 | 2245.369 | 2446.248 | 2044.489
10/02/2024 08:00 | 2284.477 | 2488.945 | 2080.008
10/02/2024 08:30 | 2351.773 | 2562.385 | 2141.161
10/02/2024 09:00 | 2410.429 | 2626.417 | 2194.441
10/02/2024 09:30 | 2498.64 | 2722.659 | 2274.621
10/02/2024 10:00 | 2573.361 | 2804.211 | 2342.511
10/02/2024 10:30 | 2667.8 | 2907.258 | 2428.343
10/02/2024 11:00 | 2810.731 | 3063.161 | 2558.301
10/02/2024 11:30 | 2923.398 | 3186.095 | 2660.7
10/02/2024 12:00 | 3006.935 | 3277.293 | 2736.578
10/02/2024 12:30 | 3072.646 | 3349.068 | 2796.223
10/02/2024 13:00 | 3171.117 | 3456.56 | 2885.674
10/02/2024 13:30 | 3275.569 | 3570.58 | 2980.557
10/02/2024 14:00 | 3413.211 | 3720.793 | 3105.628
10/02/2024 14:30 | 3587.896 | 3911.403 | 3264.388
10/02/2024 15:00 | 3735.03 | 4071.994 | 3398.066
10/02/2024 15:30 | 3860.5 | 4208.981 | 3512.02
10/02/2024 16:00 | 3985.843 | 4345.841 | 3625.845
10/02/2024 16:30 | 4096.543 | 4466.748 | 3726.338
10/02/2024 17:00 | 4142.328 | 4516.882 | 3767.774
10/02/2024 17:30 | 4144.81 | 4519.8 | 3769.82
10/02/2024 18:00 | 4084.908 | 4454.687 | 3715.129
10/02/2024 18:30 | 3985.698 | 4346.699 | 3624.697
10/02/2024 19:00 | 3871.266 | 4222.099 | 3520.432
10/02/2024 19:30 | 3781.015 | 4123.863 | 3438.167
10/02/2024 20:00 | 3674.573 | 4007.957 | 3341.19
10/02/2024 20:30 | 3558.9 | 3881.969 | 3235.83
10/02/2024 21:00 | 3432.205 | 3743.948 | 3120.461
10/02/2024 21:30 | 3293.099 | 3592.375 | 2993.822
10/02/2024 22:00 | 3149.908 | 3436.332 | 2863.484
10/02/2024 22:30 | 3010.061 | 3283.923 | 2736.2
10/02/2024 23:00 | 2890.525 | 3153.658 | 2627.392
10/02/2024 23:30 | 2787.619 | 3041.527 | 2533.712
11/02/2024 00:00 | 2694.223 | 2939.76 | 2448.685
11/02/2024 00:30 | 2612.869 | 2851.125 | 2374.612
11/02/2024 01:00 | 2544.946 | 2777.139 | 2312.753
11/02/2024 01:30 | 2486.786 | 2713.799 | 2259.772
11/02/2024 02:00 | 2437.134 | 2659.739 | 2214.529
11/02/2024 02:30 | 2393.038 | 2611.737 | 2174.339
11/02/2024 03:00 | 2356.354 | 2571.82 | 2140.887
11/02/2024 03:30 | 2328.314 | 2541.336 | 2115.292
11/02/2024 04:00 | 2306.489 | 2517.631 | 2095.346
11/02/2024 04:30 | 2278.677 | 2487.39 | 2069.965
11/02/2024 05:00 | 2242.659 | 2448.187 | 2037.131
11/02/2024 05:30 | 2212.881 | 2415.793 | 2009.97
11/02/2024 06:00 | 2162.267 | 2360.648 | 1963.886
11/02/2024 06:30 | 2110.747 | 2304.508 | 1916.985
11/02/2024 07:00 | 2094.347 | 2286.71 | 1901.984
11/02/2024 07:30 | 2091.334 | 2283.527 | 1899.141
11/02/2024 08:00 | 2128.42 | 2324.129 | 1932.71
11/02/2024 08:30 | 2196.911 | 2399.03 | 1994.792
11/02/2024 09:00 | 2255.388 | 2463.002 | 2047.774
11/02/2024 09:30 | 2338.552 | 2553.941 | 2123.163
11/02/2024 10:00 | 2422.148 | 2645.36 | 2198.936
11/02/2024 10:30 | 2508.544 | 2739.846 | 2277.243
11/02/2024 11:00 | 2623.104 | 2865.103 | 2381.106
11/02/2024 11:30 | 2740.446 | 2993.41 | 2487.482
11/02/2024 12:00 | 2843.251 | 3105.849 | 2580.652
11/02/2024 12:30 | 2953.065 | 3225.957 | 2680.174
11/02/2024 13:00 | 3028.217 | 3308.207 | 2748.227
11/02/2024 13:30 | 3113.505 | 3401.54 | 2825.47
11/02/2024 14:00 | 3229.848 | 3528.81 | 2930.885
11/02/2024 14:30 | 3391.568 | 3705.673 | 3077.464
11/02/2024 15:00 | 3563.617 | 3893.837 | 3233.396
11/02/2024 15:30 | 3721.391 | 4066.421 | 3376.361
11/02/2024 16:00 | 3869.643 | 4228.615 | 3510.67
11/02/2024 16:30 | 3993.911 | 4364.615 | 3623.207
11/02/2024 17:00 | 4065.2 | 4442.729 | 3687.672
11/02/2024 17:30 | 4076.41 | 4455.187 | 3697.633
11/02/2024 18:00 | 4021.094 | 4394.937 | 3647.252
11/02/2024 18:30 | 3921.823 | 4286.636 | 3557.01
11/02/2024 19:00 | 3814.276 | 4169.279 | 3459.273
11/02/2024 19:30 | 3706.552 | 4051.719 | 3361.386
11/02/2024 20:00 | 3573.008 | 3905.92 | 3240.096
11/02/2024 20:30 | 3433.786 | 3753.901 | 3113.671
11/02/2024 21:00 | 3283.645 | 3589.93 | 2977.359
11/02/2024 21:30 | 3125.677 | 3417.388 | 2833.967
11/02/2024 22:00 | 2972.003 | 3249.523 | 2694.483
11/02/2024 22:30 | 2836.999 | 3102.057 | 2571.941
11/02/2024 23:00 | 2715.896 | 2969.779 | 2462.014
11/02/2024 23:30 | 2601.575 | 2848.069 | 2355.082
12/02/2024 00:00 | 2492.857 | 2735.308 | 2250.406
12/02/2024 00:30 | 2410.612 | 2645.046 | 2176.178
12/02/2024 01:00 | 2351.772 | 2580.935 | 2122.61
12/02/2024 01:30 | 2314.957 | 2540.976 | 2088.938
12/02/2024 02:00 | 2285.523 | 2509.106 | 2061.94
12/02/2024 02:30 | 2256.812 | 2478.018 | 2035.605
12/02/2024 03:00 | 2234.015 | 2453.415 | 2014.614
12/02/2024 03:30 | 2229.159 | 2448.51 | 2009.808
12/02/2024 04:00 | 2248.894 | 2470.618 | 2027.17
12/02/2024 04:30 | 2290.816 | 2517.112 | 2064.52
12/02/2024 05:00 | 2345.631 | 2577.792 | 2113.471
12/02/2024 05:30 | 2403.825 | 2642.206 | 2165.444
12/02/2024 06:00 | 2442.607 | 2685.302 | 2199.912
12/02/2024 06:30 | 2443.937 | 2687.233 | 2200.641
12/02/2024 07:00 | 2423.474 | 2665.198 | 2181.751
12/02/2024 07:30 | 2371.41 | 2608.515 | 2134.304
12/02/2024 08:00 | 2331.44 | 2565.351 | 2097.529
12/02/2024 08:30 | 2316.158 | 2549.312 | 2083.003
12/02/2024 09:00 | 2320.106 | 2554.436 | 2085.776
12/02/2024 09:30 | 2328.669 | 2564.645 | 2092.694
12/02/2024 10:00 | 2346.849 | 2585.454 | 2108.244
12/02/2024 10:30 | 2382.495 | 2625.522 | 2139.467
12/02/2024 11:00 | 2440.801 | 2690.595 | 2191.007
12/02/2024 11:30 | 2503.91 | 2761.003 | 2246.818
12/02/2024 12:00 | 2564.769 | 2828.969 | 2300.568
12/02/2024 12:30 | 2648.745 | 2922.484 | 2375.005
12/02/2024 13:00 | 2743.015 | 3027.417 | 2458.614
12/02/2024 13:30 | 2840.456 | 3135.912 | 2544.999
12/02/2024 14:00 | 2948.449 | 3256.128 | 2640.77
12/02/2024 14:30 | 3104.626 | 3429.643 | 2779.609
12/02/2024 15:00 | 3257.055 | 3599.122 | 2914.989
12/02/2024 15:30 | 3406.116 | 3764.98 | 3047.253
12/02/2024 16:00 | 3558.057 | 3934.122 | 3181.992
12/02/2024 16:30 | 3665.917 | 4054.611 | 3277.223
12/02/2024 17:00 | 3731.168 | 4128.032 | 3334.304
12/02/2024 17:30 | 3729.528 | 4127.468 | 3331.589
12/02/2024 18:00 | 3671.163 | 4064.106 | 3278.219
12/02/2024 18:30 | 3582.954 | 3967.657 | 3198.251
12/02/2024 19:00 | 3472.866 | 3846.914 | 3098.819
12/02/2024 19:30 | 3358.421 | 3721.268 | 2995.574
12/02/2024 20:00 | 3222.153 | 3571.358 | 2872.948
12/02/2024 20:30 | 3076.949 | 3411.449 | 2742.449
12/02/2024 21:00 | 2929.592 | 3249.054 | 2610.129
12/02/2024 21:30 | 2789.947 | 3095.117 | 2484.777
12/02/2024 22:00 | 2658.844 | 2950.565 | 2367.122
12/02/2024 22:30 | 2552.466 | 2833.372 | 2271.56
12/02/2024 23:00 | 2463.727 | 2735.693 | 2191.761
12/02/2024 23:30 | 2383.742 | 2647.678 | 2119.806
13/02/2024 00:00 | 2311.575 | 2568.295 | 2054.854
13/02/2024 00:30 | 2256.195 | 2507.521 | 2004.869
13/02/2024 01:00 | 2217.482 | 2465.24 | 1969.725
13/02/2024 01:30 | 2186.09 | 2431.073 | 1941.107
13/02/2024 02:00 | 2161.574 | 2404.535 | 1918.614
13/02/2024 02:30 | 2139.572 | 2380.777 | 1898.367
13/02/2024 03:00 | 2123.78 | 2363.917 | 1883.644
13/02/2024 03:30 | 2124.273 | 2365.178 | 1883.369
13/02/2024 04:00 | 2147.068 | 2391.277 | 1902.858
13/02/2024 04:30 | 2189.22 | 2438.958 | 1939.482
13/02/2024 05:00 | 2248.158 | 2505.373 | 1990.943
13/02/2024 05:30 | 2314.499 | 2580.08 | 2048.917
13/02/2024 06:00 | 2351.348 | 2621.947 | 2080.75
13/02/2024 06:30 | 2345.502 | 2616.214 | 2074.791
13/02/2024 07:00 | 2311.544 | 2579.112 | 2043.977
13/02/2024 07:30 | 2239.885 | 2499.909 | 1979.861