## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
10/02/2024 08:00 | 2213.02 | 2245.952 | 2171.635
10/02/2024 08:30 | 2227.588 | 2273.579 | 2181.596 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
10/02/2024 09:00 | 2254.967 | 2310.144 | 2199.79 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
10/02/2024 09:30 | 2318.634 | 2384.234 | 2253.035 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
10/02/2024 10:00 | 2385.098 | 2461.696 | 2308.5 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
10/02/2024 10:30 | 2455.909 | 2541.739 | 2370.079 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
10/02/2024 11:00 | 2553.452 | 2644.919 | 2461.986 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
10/02/2024 11:30 | 2657.229 | 2755.181 | 2559.278 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
10/02/2024 12:00 | 2760.18 | 2864.802 | 2655.559 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
10/02/2024 12:30 | 2833.769 | 2944.131 | 2723.407 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
10/02/2024 13:00 | 2919.592 | 3028.557 | 2802.847 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
10/02/2024 13:30 | 3025.594 | 3142.363 | 2901.459
10/02/2024 14:00 | 3144.962 | 3269.385 | 3012.654 | Summary view - for each schedule horizon (dispatch, week-ahead)
10/02/2024 14:30 | 3294.935 | 3428.949 | 3145.515
10/02/2024 15:00 | 3450.127 | 3595.469 | 3291.395 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
10/02/2024 15:30 | 3593.225 | 3749.038 | 3424.821 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
10/02/2024 16:00 | 3723.962 | 3890.33 | 3546.482 | Scenario | Violations
10/02/2024 16:30 | 3804.976 | 3979.694 | 3620.383 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
10/02/2024 17:00 | 3838.772 | 4019.273 | 3648.763 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
10/02/2024 17:30 | 3848.043 | 4037.984 | 3658.103 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 39 | 0 | 0 | 0 | 0 | 1
10/02/2024 18:00 | 3796.185 | 3987.519 | 3604.851 | High Demand Scenario | 0 | 6 | 10 | 9 | 0 | 0 | 46 | 0 | 0 | 0 | 0 | 0
10/02/2024 18:30 | 3708.309 | 3898.05 | 3518.569 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 36 | 0 | 0 | 0 | 0 | 1
10/02/2024 19:00 | 3603.336 | 3788.484 | 3418.188
10/02/2024 19:30 | 3509.541 | 3690.792 | 3328.288 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
10/02/2024 20:00 | 3404.67 | 3581.403 | 3227.938
10/02/2024 20:30 | 3286.135 | 3457.58 | 3114.691 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
10/02/2024 21:00 | 3157.018 | 3322.558 | 2991.479 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
10/02/2024 21:30 | 3030.118 | 3189.801 | 2870.434 | [7 empty] | 10/02/2024 08:30 |  |  |  |  | 12/02/2024 06:30 |  | 14/02/2024 17:00 | 14/02/2024 16:30 | 14/02/2024 16:30 |  |  | 10/02/2024 08:30 | [11 empty] | 10/02/2024 08:30 |  |  |  |  | 11/02/2024 21:30
10/02/2024 22:00 | 2907.216 | 3061.188 | 2753.244 | [7 empty] | 10/02/2024 09:00 | [6 empty] | 14/02/2024 17:30 | 14/02/2024 17:00 | 14/02/2024 17:00 |  |  | 10/02/2024 09:00 | [11 empty] | 10/02/2024 09:00
10/02/2024 22:30 | 2787.615 | 2935.987 | 2639.244 | [7 empty] | 11/02/2024 06:30 | [6 empty] | 14/02/2024 18:00 | 14/02/2024 17:30 | 14/02/2024 17:30 |  |  | 11/02/2024 07:30 | [11 empty] | 10/02/2024 09:30
10/02/2024 23:00 | 2675.808 | 2818.933 | 2532.682 | [7 empty] | 11/02/2024 07:00 | [6 empty] | 15/02/2024 17:00 | 14/02/2024 18:00 | 14/02/2024 18:00 |  |  | 11/02/2024 08:00 | [11 empty] | 11/02/2024 07:00
10/02/2024 23:30 | 2572.173 | 2710.432 | 2433.914 | [7 empty] | 11/02/2024 07:30 | [6 empty] | 15/02/2024 17:30 | 15/02/2024 16:30 | 15/02/2024 16:30 |  |  | 11/02/2024 08:30 | [11 empty] | 11/02/2024 07:30
11/02/2024 00:00 | 2476.417 | 2610.181 | 2342.653 | [7 empty] | 11/02/2024 08:00 | [6 empty] | 15/02/2024 18:00 | 15/02/2024 17:00 | 15/02/2024 17:00 |  |  | 11/02/2024 09:00 | [11 empty] | 11/02/2024 08:00
11/02/2024 00:30 | 2397.779 | 2527.926 | 2267.631 | [7 empty] | 11/02/2024 09:00 | [7 empty] | 15/02/2024 17:30 | 15/02/2024 17:30 |  |  | 11/02/2024 09:30 | [11 empty] | 11/02/2024 09:30
11/02/2024 01:00 | 2336.164 | 2463.583 | 2208.746 | [7 empty] | 11/02/2024 09:30 | [7 empty] | 15/02/2024 18:00 | 15/02/2024 18:00 |  |  | 11/02/2024 10:00 | [11 empty] | 11/02/2024 10:00
11/02/2024 01:30 | 2290.963 | 2416.52 | 2165.407 | [7 empty] | 11/02/2024 10:00 | [7 empty] | 15/02/2024 18:30 | 15/02/2024 18:30 |  |  | 11/02/2024 10:30 | [11 empty] | 11/02/2024 10:30
11/02/2024 02:00 | 2253.735 | 2377.844 | 2129.625 | [7 empty] | 11/02/2024 10:30 | [7 empty] | 15/02/2024 19:00 |  |  |  | 12/02/2024 08:00 | [11 empty] | 11/02/2024 11:00
11/02/2024 02:30 | 2218.323 | 2341.066 | 2095.58 | [7 empty] | 11/02/2024 11:00 | [11 empty] | 12/02/2024 08:30 | [11 empty] | 11/02/2024 11:30
11/02/2024 03:00 | 2190.053 | 2311.809 | 2068.297 | [7 empty] | 11/02/2024 11:30 | [11 empty] | 12/02/2024 09:00 | [11 empty] | 12/02/2024 09:00
11/02/2024 03:30 | 2171.742 | 2293.052 | 2050.433 | [7 empty] | 12/02/2024 08:30 | [11 empty] | 12/02/2024 09:30 | [11 empty] | 12/02/2024 09:30
11/02/2024 04:00 | 2157.55 | 2278.635 | 2036.465 | [7 empty] | 12/02/2024 09:00 | [11 empty] | 12/02/2024 10:00 | [11 empty] | 12/02/2024 10:00
11/02/2024 04:30 | 2136.711 | 2257.189 | 2016.233 | [7 empty] | 12/02/2024 09:30 | [11 empty] | 12/02/2024 10:30 | [11 empty] | 12/02/2024 10:30
11/02/2024 05:00 | 2110.268 | 2229.81 | 1990.725 | [7 empty] | 12/02/2024 10:00 | [11 empty] | 12/02/2024 11:00 | [11 empty] | 12/02/2024 11:00
11/02/2024 05:30 | 2081.797 | 2200.275 | 1963.319 | [7 empty] | 12/02/2024 10:30 | [11 empty] | 12/02/2024 11:30 | [11 empty] | 12/02/2024 11:30
11/02/2024 06:00 | 2030.416 | 2146.505 | 1914.328 | [7 empty] | 12/02/2024 11:00 | [11 empty] | 13/02/2024 08:30 | [11 empty] | 12/02/2024 12:00
11/02/2024 06:30 | 1969.629 | 2082.71 | 1856.548 | [7 empty] | 12/02/2024 11:30 | [11 empty] | 13/02/2024 09:00 | [11 empty] | 12/02/2024 12:30
11/02/2024 07:00 | 1910.347 | 2020.38 | 1800.313 | [7 empty] | 12/02/2024 12:00 | [11 empty] | 13/02/2024 09:30 | [11 empty] | 13/02/2024 10:00
11/02/2024 07:30 | 1852.991 | 1960.075 | 1745.907 | [7 empty] | 13/02/2024 09:00 | [11 empty] | 13/02/2024 10:00 | [11 empty] | 13/02/2024 10:30
11/02/2024 08:00 | 1821.614 | 1927.233 | 1715.995 | [7 empty] | 13/02/2024 09:30 | [11 empty] | 13/02/2024 10:30 | [11 empty] | 13/02/2024 11:00
11/02/2024 08:30 | 1800.212 | 1904.934 | 1695.49 | [7 empty] | 13/02/2024 10:00 | [11 empty] | 13/02/2024 11:00 | [11 empty] | 13/02/2024 11:30
11/02/2024 09:00 | 1790.345 | 1894.836 | 1685.855 | [7 empty] | 13/02/2024 10:30 | [11 empty] | 13/02/2024 11:30 | [11 empty] | 13/02/2024 12:00
11/02/2024 09:30 | 1805.089 | 1910.785 | 1699.394 | [7 empty] | 13/02/2024 11:00 | [11 empty] | 13/02/2024 12:00 | [11 empty] | 13/02/2024 12:30
11/02/2024 10:00 | 1841.737 | 1949.931 | 1733.544 | [7 empty] | 13/02/2024 11:30 | [11 empty] | 13/02/2024 12:30 | [11 empty] | 13/02/2024 13:00
11/02/2024 10:30 | 1894.276 | 2005.918 | 1782.635 | [7 empty] | 13/02/2024 12:00 | [11 empty] | 13/02/2024 13:00 | [11 empty] | 13/02/2024 13:30
11/02/2024 11:00 | 1969.146 | 2085.577 | 1852.716 | [7 empty] | 13/02/2024 12:30 | [11 empty] | 14/02/2024 08:00 | [11 empty] | 13/02/2024 14:00
11/02/2024 11:30 | 2057.535 | 2179.585 | 1935.485 | [7 empty] | 13/02/2024 13:00 | [11 empty] | 14/02/2024 08:30 | [11 empty] | 14/02/2024 08:30
11/02/2024 12:00 | 2149.016 | 2276.903 | 2021.129 | [7 empty] | 13/02/2024 13:30 | [11 empty] | 14/02/2024 09:00 | [11 empty] | 14/02/2024 09:00
11/02/2024 12:30 | 2246.177 | 2380.275 | 2112.079 | [7 empty] | 14/02/2024 08:00 | [11 empty] | 14/02/2024 09:30 | [11 empty] | 14/02/2024 09:30
11/02/2024 13:00 | 2343.16 | 2483.496 | 2202.824 | [7 empty] | 14/02/2024 08:30 | [11 empty] | 14/02/2024 10:00 | [11 empty] | 14/02/2024 10:00
11/02/2024 13:30 | 2451.011 | 2598.275 | 2303.747 | [7 empty] | 14/02/2024 09:00 | [11 empty] | 14/02/2024 10:30 | [11 empty] | 14/02/2024 10:30
11/02/2024 14:00 | 2583.475 | 2739.191 | 2427.759 | [7 empty] | 14/02/2024 09:30 | [11 empty] | 14/02/2024 11:00 | [11 empty] | 14/02/2024 11:00
11/02/2024 14:30 | 2750.903 | 2917.236 | 2584.57 | [7 empty] | 14/02/2024 10:00 | [11 empty] | 14/02/2024 11:30 | [11 empty] | 14/02/2024 11:30
11/02/2024 15:00 | 2934.06 | 3112.028 | 2756.092 | [7 empty] | 14/02/2024 10:30 | [11 empty] | 14/02/2024 16:30 | [11 empty] | 14/02/2024 12:00
11/02/2024 15:30 | 3120.715 | 3310.602 | 2932.946 | [7 empty] | 14/02/2024 11:00 | [11 empty] | 14/02/2024 17:00
11/02/2024 16:00 | 3302.006 | 3503.554 | 3102.597 | [7 empty] | 14/02/2024 11:30 | [11 empty] | 14/02/2024 17:30
11/02/2024 16:30 | 3439.227 | 3649.374 | 3230.739 | [7 empty] | 14/02/2024 12:00 | [11 empty] | 14/02/2024 18:00
11/02/2024 17:00 | 3516.862 | 3732.199 | 3302.796 | [19 empty] | 14/02/2024 18:30
11/02/2024 17:30 | 3540.707 | 3757.925 | 3324.287 | [19 empty] | 15/02/2024 16:30
11/02/2024 18:00 | 3495.61 | 3710.478 | 3281.057 | [19 empty] | 15/02/2024 17:00
11/02/2024 18:30 | 3409.771 | 3619.958 | 3199.785 | [19 empty] | 15/02/2024 17:30
11/02/2024 19:00 | 3312.219 | 3516.923 | 3107.516 | [19 empty] | 15/02/2024 18:00
11/02/2024 19:30 | 3208.518 | 3407.425 | 3009.61 | [19 empty] | 15/02/2024 18:30
11/02/2024 20:00 | 3083.824 | 3275.591 | 2892.058 | [19 empty] | 15/02/2024 19:00
11/02/2024 20:30 | 2950.262 | 3134.286 | 2766.237
11/02/2024 21:00 | 2813.58 | 2989.616 | 2637.544
11/02/2024 21:30 | 2684.253 | 2852.711 | 2515.796
11/02/2024 22:00 | 2566.359 | 2727.908 | 2404.81
11/02/2024 22:30 | 2463.52 | 2619.067 | 2307.974
11/02/2024 23:00 | 2374.896 | 2525.3 | 2224.492
11/02/2024 23:30 | 2292.948 | 2434.006 | 2151.89
12/02/2024 00:00 | 2218.49 | 2346.567 | 2090.413
12/02/2024 00:30 | 2161.603 | 2288.485 | 2035.717
12/02/2024 01:00 | 2120.376 | 2245.144 | 1996.542
12/02/2024 01:30 | 2094.473 | 2218.012 | 1971.805
12/02/2024 02:00 | 2074.823 | 2197.51 | 1952.964
12/02/2024 02:30 | 2056.051 | 2177.936 | 1934.954
12/02/2024 03:00 | 2043.292 | 2164.726 | 1922.61
12/02/2024 03:30 | 2046.084 | 2167.993 | 1925.541
12/02/2024 04:00 | 2071.708 | 2195.449 | 1949.281
12/02/2024 04:30 | 2118.685 | 2245.531 | 1993.087
12/02/2024 05:00 | 2172.721 | 2303.149 | 2043.55
12/02/2024 05:30 | 2221.7 | 2355.443 | 2089.258
12/02/2024 06:00 | 2247.716 | 2383.379 | 2113.336
12/02/2024 06:30 | 2224.476 | 2359.156 | 2091.164
12/02/2024 07:00 | 2165.721 | 2297.261 | 2035.626
12/02/2024 07:30 | 2076.918 | 2203.412 | 1951.743
12/02/2024 08:00 | 2002.085 | 2124.378 | 1880.9
12/02/2024 08:30 | 1940.272 | 2058.644 | 1821.9
12/02/2024 09:00 | 1890.449 | 2006.194 | 1774.703
12/02/2024 09:30 | 1863.144 | 1977.625 | 1748.663
12/02/2024 10:00 | 1877.903 | 1993.701 | 1762.105
12/02/2024 10:30 | 1916.798 | 2035.413 | 1798.183
12/02/2024 11:00 | 1973.385 | 2095.934 | 1850.838
12/02/2024 11:30 | 2042.361 | 2169.639 | 1915.083
12/02/2024 12:00 | 2137.865 | 2271.561 | 2004.168
12/02/2024 12:30 | 2257.111 | 2398.758 | 2115.464
12/02/2024 13:00 | 2366.397 | 2515.419 | 2217.375
12/02/2024 13:30 | 2478.729 | 2635.367 | 2322.092
12/02/2024 14:00 | 2624.971 | 2791.424 | 2458.519
12/02/2024 14:30 | 2811.295 | 2990.177 | 2632.413
12/02/2024 15:00 | 3003.731 | 3195.514 | 2811.948
12/02/2024 15:30 | 3191.156 | 3395.603 | 2986.709
12/02/2024 16:00 | 3380.012 | 3597.297 | 3162.728
12/02/2024 16:30 | 3524.675 | 3752.029 | 3297.32
12/02/2024 17:00 | 3611.436 | 3845.176 | 3377.696
12/02/2024 17:30 | 3635.888 | 3872.005 | 3399.771
12/02/2024 18:00 | 3596.925 | 3831.297 | 3362.552
12/02/2024 18:30 | 3503.253 | 3732.287 | 3274.219
12/02/2024 19:00 | 3384.303 | 3606.301 | 3162.306
12/02/2024 19:30 | 3265.906 | 3480.85 | 3050.962
12/02/2024 20:00 | 3122.602 | 3328.797 | 2916.407
12/02/2024 20:30 | 2970.991 | 3167.823 | 2774.158
12/02/2024 21:00 | 2817.418 | 3004.692 | 2630.144
12/02/2024 21:30 | 2674.823 | 2853.202 | 2496.443
12/02/2024 22:00 | 2548.852 | 2719.388 | 2378.316
12/02/2024 22:30 | 2437.93 | 2601.577 | 2274.283
12/02/2024 23:00 | 2335.91 | 2493.219 | 2178.601
12/02/2024 23:30 | 2237.831 | 2389.025 | 2086.638
13/02/2024 00:00 | 2147.627 | 2293.195 | 2002.058
13/02/2024 00:30 | 2084.637 | 2226.391 | 1942.883
13/02/2024 01:00 | 2042.587 | 2181.928 | 1903.246
13/02/2024 01:30 | 2018.66 | 2156.81 | 1880.511
13/02/2024 02:00 | 1999.303 | 2136.565 | 1862.041
13/02/2024 02:30 | 1982.939 | 2119.511 | 1846.367
13/02/2024 03:00 | 1975.056 | 2111.517 | 1838.596
13/02/2024 03:30 | 1979.805 | 2117.026 | 1842.584
13/02/2024 04:00 | 2005.592 | 2145.039 | 1866.146
13/02/2024 04:30 | 2051.139 | 2196.34 | 1908.077
13/02/2024 05:00 | 2111.576 | 2261.454 | 1963.838
13/02/2024 05:30 | 2170.289 | 2324.75 | 2017.969
13/02/2024 06:00 | 2187.169 | 2343.293 | 2033.187
13/02/2024 06:30 | 2153.611 | 2307.843 | 2001.52
13/02/2024 07:00 | 2082.773 | 2232.458 | 1935.23
13/02/2024 07:30 | 1966.293 | 2108.157 | 1826.572
13/02/2024 08:00 | 1860.45 | 1995.199 | 1727.843
13/02/2024 08:30 | 1774.057 | 1903.036 | 1647.22
13/02/2024 09:00 | 1724.724 | 1850.553 | 1601.037
13/02/2024 09:30 | 1694.273 | 1818.289 | 1574.256
13/02/2024 10:00 | 1690.841 | 1814.981 | 1570.702
13/02/2024 10:30 | 1730.881 | 1858.288 | 1607.474
13/02/2024 11:00 | 1788.409 | 1920.37 | 1660.447
13/02/2024 11:30 | 1848.6 | 1985.335 | 1715.865
13/02/2024 12:00 | 1941.573 | 2085.502 | 1801.645
13/02/2024 12:30 | 2064.392 | 2217.74 | 1915.043
13/02/2024 13:00 | 2195.015 | 2358.411 | 2035.619
13/02/2024 13:30 | 2340.498 | 2515.093 | 2169.902
13/02/2024 14:00 | 2477.856 | 2663.114 | 2296.598
13/02/2024 14:30 | 2657.866 | 2857.007 | 2462.724
13/02/2024 15:00 | 2880.602 | 3096.881 | 2668.322
13/02/2024 15:30 | 3102.172 | 3335.601 | 2872.744
13/02/2024 16:00 | 3304.25 | 3551.316 | 3057.183
13/02/2024 16:30 | 3475.716 | 3736.363 | 3215.068
13/02/2024 17:00 | 3589.962 | 3859.961 | 3319.963
13/02/2024 17:30 | 3637.061 | 3911.397 | 3362.725
13/02/2024 18:00 | 3616.828 | 3890.428 | 3343.228
13/02/2024 18:30 | 3538.377 | 3806.815 | 3269.938
13/02/2024 19:00 | 3432.018 | 3693.137 | 3170.898
13/02/2024 19:30 | 3317.532 | 3570.666 | 3064.398
13/02/2024 20:00 | 3180.542 | 3423.918 | 2937.166
13/02/2024 20:30 | 3021.979 | 3253.882 | 2790.076
13/02/2024 21:00 | 2856.856 | 3076.712 | 2637
13/02/2024 21:30 | 2707.392 | 2916.337 | 2498.447
13/02/2024 22:00 | 2574.169 | 2773.395 | 2374.943
13/02/2024 22:30 | 2462.728 | 2653.867 | 2271.589
13/02/2024 23:00 | 2369.922 | 2554.376 | 2185.468
13/02/2024 23:30 | 2286.558 | 2465.023 | 2108.093
14/02/2024 00:00 | 2215.6 | 2389.011 | 2042.189
14/02/2024 00:30 | 2159.657 | 2329.162 | 1990.153
14/02/2024 01:00 | 2117.73 | 2284.406 | 1951.054
14/02/2024 01:30 | 2089.3 | 2254.195 | 1924.405
14/02/2024 02:00 | 2064.64 | 2228.04 | 1901.24
14/02/2024 02:30 | 2048.157 | 2210.7 | 1885.614
14/02/2024 03:00 | 2041.991 | 2204.491 | 1879.491
14/02/2024 03:30 | 2053.232 | 2217.075 | 1889.39
14/02/2024 04:00 | 2086.68 | 2253.647 | 1919.712
14/02/2024 04:30 | 2135.778 | 2307.142 | 1964.415
14/02/2024 05:00 | 2194.593 | 2371.155 | 2018.032
14/02/2024 05:30 | 2261.298 | 2443.72 | 2078.875
14/02/2024 06:00 | 2304.492 | 2490.902 | 2118.082
14/02/2024 06:30 | 2303.293 | 2490.109 | 2116.477
14/02/2024 07:00 | 2276.719 | 2461.877 | 2091.56
14/02/2024 07:30 | 2200.131 | 2379.521 | 2020.742
14/02/2024 08:00 | 2117.833 | 2290.915 | 1944.751
14/02/2024 08:30 | 2053.219 | 2221.414 | 1885.024
14/02/2024 09:00 | 2023.112 | 2189.229 | 1856.996
14/02/2024 09:30 | 2027.311 | 2194.16 | 1860.461
14/02/2024 10:00 | 2051.426 | 2220.654 | 1882.199
14/02/2024 10:30 | 2111.965 | 2286.591 | 1937.339
14/02/2024 11:00 | 2208.476 | 2391.505 | 2025.446
14/02/2024 11:30 | 2300.897 | 2492.027 | 2109.767
14/02/2024 12:00 | 2436.385 | 2639.237 | 2233.534
14/02/2024 12:30 | 2568.201 | 2782.52 | 2353.882
14/02/2024 13:00 | 2689.31 | 2914.251 | 2464.369
14/02/2024 13:30 | 2843.301 | 3081.667 | 2604.935
14/02/2024 14:00 | 3031.085 | 3285.774 | 2776.395
14/02/2024 14:30 | 3243.898 | 3517.091 | 2970.705
14/02/2024 15:00 | 3472.223 | 3765.311 | 3179.135
14/02/2024 15:30 | 3675.957 | 3986.946 | 3364.968
14/02/2024 16:00 | 3865.853 | 4193.648 | 3538.057
14/02/2024 16:30 | 3994.991 | 4334.502 | 3655.48
14/02/2024 17:00 | 4084.517 | 4432.419 | 3736.615
14/02/2024 17:30 | 4118.771 | 4470.38 | 3767.162
14/02/2024 18:00 | 4096.035 | 4446.488 | 3745.581
14/02/2024 18:30 | 4020.098 | 4364.826 | 3675.371
14/02/2024 19:00 | 3907.663 | 4243.497 | 3571.828
14/02/2024 19:30 | 3788.9 | 4115.254 | 3462.546
14/02/2024 20:00 | 3632.752 | 3946.353 | 3319.151
14/02/2024 20:30 | 3443.774 | 3741.721 | 3145.827
14/02/2024 21:00 | 3248.987 | 3530.704 | 2967.27
14/02/2024 21:30 | 3064.593 | 3330.908 | 2798.277
14/02/2024 22:00 | 2893.206 | 3145.182 | 2641.229
14/02/2024 22:30 | 2744.703 | 2984.272 | 2505.134
14/02/2024 23:00 | 2629.076 | 2859.057 | 2399.095
14/02/2024 23:30 | 2538.919 | 2761.5 | 2316.338
15/02/2024 00:00 | 2463.786 | 2680.252 | 2247.319
15/02/2024 00:30 | 2404.067 | 2615.747 | 2192.387
15/02/2024 01:00 | 2360.295 | 2568.574 | 2152.017
15/02/2024 01:30 | 2328.087 | 2533.97 | 2122.205
15/02/2024 02:00 | 2298.949 | 2502.695 | 2095.202
15/02/2024 02:30 | 2277.732 | 2480.035 | 2075.43
15/02/2024 03:00 | 2262.595 | 2463.987 | 2061.204
15/02/2024 03:30 | 2263.509 | 2465.416 | 2061.602
15/02/2024 04:00 | 2285.859 | 2490.198 | 2081.52
15/02/2024 04:30 | 2331.223 | 2540.064 | 2122.383
15/02/2024 05:00 | 2389.501 | 2604.021 | 2174.982
15/02/2024 05:30 | 2465.657 | 2687.486 | 2243.828
15/02/2024 06:00 | 2553 | 2783.177 | 2322.824
15/02/2024 06:30 | 2608.542 | 2844.226 | 2372.858
15/02/2024 07:00 | 2626.559 | 2864.374 | 2388.743
15/02/2024 07:30 | 2602.529 | 2838.667 | 2366.391
15/02/2024 08:00 | 2587.52 | 2822.793 | 2352.248
15/02/2024 08:30 | 2616.586 | 2855.003 | 2378.169
15/02/2024 09:00 | 2640.364 | 2881.453 | 2399.274
15/02/2024 09:30 | 2679.218 | 2924.368 | 2434.067
15/02/2024 10:00 | 2719.303 | 2968.642 | 2469.963
15/02/2024 10:30 | 2751.912 | 3004.769 | 2499.055
15/02/2024 11:00 | 2826.361 | 3086.6 | 2566.121
15/02/2024 11:30 | 2893.004 | 3159.935 | 2626.074
15/02/2024 12:00 | 2966.984 | 3241.309 | 2692.659
15/02/2024 12:30 | 3082.268 | 3367.843 | 2796.694
15/02/2024 13:00 | 3151.699 | 3444.311 | 2859.088
15/02/2024 13:30 | 3215.485 | 3514.635 | 2916.335
15/02/2024 14:00 | 3291.01 | 3597.816 | 2984.203
15/02/2024 14:30 | 3405.01 | 3723.097 | 3086.923
15/02/2024 15:00 | 3572.358 | 3906.763 | 3237.953
15/02/2024 15:30 | 3718.153 | 4066.919 | 3369.387
15/02/2024 16:00 | 3835.735 | 4196.265 | 3475.205
15/02/2024 16:30 | 3923.407 | 4292.93 | 3553.885
15/02/2024 17:00 | 3981.628 | 4357.397 | 3605.859
15/02/2024 17:30 | 3996.979 | 4374.963 | 3618.995
15/02/2024 18:00 | 3949.766 | 4324.042 | 3575.49
15/02/2024 18:30 | 3869.964 | 4237.42 | 3502.508
15/02/2024 19:00 | 3763.861 | 4121.963 | 3405.758
15/02/2024 19:30 | 3650.979 | 3999.042 | 3302.917
15/02/2024 20:00 | 3501.682 | 3836.183 | 3167.182
15/02/2024 20:30 | 3326.103 | 3644.469 | 3007.737
15/02/2024 21:00 | 3143.934 | 3445.466 | 2842.402
15/02/2024 21:30 | 2973.263 | 3258.995 | 2687.53
15/02/2024 22:00 | 2817.32 | 3088.606 | 2546.033
15/02/2024 22:30 | 2691.334 | 2951.005 | 2431.663
15/02/2024 23:00 | 2589.684 | 2840.044 | 2339.325
15/02/2024 23:30 | 2501.851 | 2744.199 | 2259.503
16/02/2024 00:00 | 2424.77 | 2660.116 | 2189.424
16/02/2024 00:30 | 2364.188 | 2594.106 | 2134.269
16/02/2024 01:00 | 2316.644 | 2542.383 | 2090.905
16/02/2024 01:30 | 2278.055 | 2500.471 | 2055.639
16/02/2024 02:00 | 2251.485 | 2471.738 | 2031.232
16/02/2024 02:30 | 2228.347 | 2446.764 | 2009.93
16/02/2024 03:00 | 2211.36 | 2428.536 | 1994.185
16/02/2024 03:30 | 2210.327 | 2427.824 | 1992.829
16/02/2024 04:00 | 2234.265 | 2454.547 | 2013.984
16/02/2024 04:30 | 2277.573 | 2502.561 | 2052.585
16/02/2024 05:00 | 2326.11 | 2556.338 | 2095.882
16/02/2024 05:30 | 2371.397 | 2606.562 | 2136.232
16/02/2024 06:00 | 2427.74 | 2668.958 | 2186.522
16/02/2024 06:30 | 2506.879 | 2756.44 | 2257.317
16/02/2024 07:00 | 2601.96 | 2861.486 | 2342.435
16/02/2024 07:30 | 2656.309 | 2921.9 | 2390.718
16/02/2024 08:00 | 2680.725 | 2949.679 | 2411.77
16/02/2024 08:30 | 2681.98 | 2951.96 | 2412
16/02/2024 09:00 | 2681.239 | 2952.044 | 2410.435
16/02/2024 09:30 | 2689.674 | 2962.233 | 2417.116
16/02/2024 10:00 | 2711.335 | 2986.998 | 2435.673
16/02/2024 10:30 | 2733.946 | 3012.823 | 2455.068
16/02/2024 11:00 | 2726.811 | 3005.875 | 2447.747
16/02/2024 11:30 | 2668.637 | 2942.643 | 2394.631
16/02/2024 12:00 | 2670.622 | 2945.727 | 2395.518
16/02/2024 12:30 | 2790.406 | 3078.786 | 2502.027
16/02/2024 13:00 | 2883.593 | 3182.57 | 2584.616
16/02/2024 13:30 | 2877.176 | 3176.452 | 2577.899
16/02/2024 14:00 | 2905.14 | 3208.299 | 2601.98
16/02/2024 14:30 | 3043.465 | 3362.08 | 2724.851
16/02/2024 15:00 | 3150.15 | 3480.989 | 2819.311
16/02/2024 15:30 | 3259.052 | 3602.421 | 2915.683
16/02/2024 16:00 | 3362.012 | 3717.357 | 3006.668
16/02/2024 16:30 | 3435.615 | 3799.89 | 3071.339
16/02/2024 17:00 | 3449.777 | 3816.71 | 3082.843
16/02/2024 17:30 | 3428.788 | 3794.639 | 3062.938
16/02/2024 18:00 | 3386.976 | 3749.501 | 3024.45
16/02/2024 18:30 | 3305.237 | 3660.121 | 2950.352
16/02/2024 19:00 | 3185.372 | 3528.454 | 2842.289
16/02/2024 19:30 | 3075.443 | 3407.716 | 2743.169
16/02/2024 20:00 | 2963.937 | 3285.158 | 2642.717
16/02/2024 20:30 | 2844.86 | 3154.129 | 2535.591
16/02/2024 21:00 | 2723.294 | 3020.261 | 2426.328
16/02/2024 21:30 | 2613.091 | 2898.916 | 2327.265
16/02/2024 22:00 | 2517.713 | 2793.95 | 2241.476
16/02/2024 22:30 | 2429.739 | 2697.139 | 2162.34
16/02/2024 23:00 | 2340.8 | 2599.196 | 2082.403
16/02/2024 23:30 | 2259.005 | 2507.661 | 2010.349
17/02/2024 00:00 | 2190.574 | 2429.698 | 1951.45
17/02/2024 00:30 | 2138.081 | 2372.683 | 1903.478
17/02/2024 01:00 | 2096.6 | 2327.589 | 1865.611
17/02/2024 01:30 | 2066.511 | 2295.11 | 1837.912
17/02/2024 02:00 | 2046.438 | 2273.732 | 1819.144
17/02/2024 02:30 | 2024.981 | 2250.798 | 1799.164
17/02/2024 03:00 | 2009.441 | 2234.425 | 1784.458
17/02/2024 03:30 | 2003.82 | 2229.071 | 1778.569
17/02/2024 04:00 | 2007.36 | 2233.907 | 1780.813
17/02/2024 04:30 | 2009.921 | 2237.656 | 1782.186
17/02/2024 05:00 | 2004.376 | 2232.38 | 1776.372
17/02/2024 05:30 | 1988.113 | 2215.156 | 1761.069
17/02/2024 06:00 | 1960.298 | 2185.042 | 1735.554
17/02/2024 06:30 | 1952.615 | 2177.353 | 1727.878
17/02/2024 07:00 | 2001.616 | 2232.889 | 1770.344
17/02/2024 07:30 | 2084.231 | 2325.982 | 1842.48