## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
14/02/2024 08:00 | 1914.7 | 1942.608 | 1888.486
14/02/2024 08:30 | 1844.527 | 1876.067 | 1812.986 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
14/02/2024 09:00 | 1785.574 | 1821.415 | 1749.734 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
14/02/2024 09:30 | 1733.757 | 1773.711 | 1693.802 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
14/02/2024 10:00 | 1709.087 | 1753.554 | 1664.62 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
14/02/2024 10:30 | 1714.92 | 1763.41 | 1666.43 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
14/02/2024 11:00 | 1754.691 | 1805.781 | 1703.601 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
14/02/2024 11:30 | 1818.326 | 1873.02 | 1763.632 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
14/02/2024 12:00 | 1921.715 | 1981.369 | 1862.06 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
14/02/2024 12:30 | 2044.723 | 2110.166 | 1979.281 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
14/02/2024 13:00 | 2164.814 | 2236.185 | 2093.443 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
14/02/2024 13:30 | 2311.615 | 2390.052 | 2233.178
14/02/2024 14:00 | 2484.964 | 2567.101 | 2393.984 | Summary view - for each schedule horizon (dispatch, week-ahead)
14/02/2024 14:30 | 2686.78 | 2778.79 | 2586.405
14/02/2024 15:00 | 2908.703 | 3012.972 | 2798.97 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
14/02/2024 15:30 | 3121.655 | 3234.673 | 2999.134 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
14/02/2024 16:00 | 3322.861 | 3446.258 | 3189.154 | Scenario | Violations
14/02/2024 16:30 | 3480.094 | 3614.514 | 3338.411 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
14/02/2024 17:00 | 3594.746 | 3735.398 | 3443.411 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
14/02/2024 17:30 | 3645.049 | 3796.816 | 3493.282 | Reference Scenario | 0 | 0 | 5 | 4 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0
14/02/2024 18:00 | 3641.429 | 3796.553 | 3486.306 | High Demand Scenario | 0 | 10 | 18 | 16 | 0 | 0 | 29 | 0 | 0 | 0 | 0 | 0
14/02/2024 18:30 | 3587.458 | 3743.007 | 3431.908 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 1 | 0 | 0 | 0
14/02/2024 19:00 | 3502.991 | 3656.128 | 3349.855
14/02/2024 19:30 | 3399.171 | 3549.099 | 3249.242 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
14/02/2024 20:00 | 3263.921 | 3409.162 | 3118.681
14/02/2024 20:30 | 3104.617 | 3243.984 | 2965.251 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
14/02/2024 21:00 | 2943.901 | 3077.205 | 2810.596 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
14/02/2024 21:30 | 2793.443 | 2921.028 | 2665.858 |  |  |  | 19/02/2024 15:30 | 19/02/2024 16:00 |  |  | 14/02/2024 09:00 | [6 empty] | 19/02/2024 14:30 | 15/02/2024 17:00 | 15/02/2024 17:00 |  |  | 14/02/2024 09:00 | [11 empty] | 14/02/2024 09:00 |  | 18/02/2024 15:30
14/02/2024 22:00 | 2652.661 | 2774.854 | 2530.468 |  |  |  | 19/02/2024 16:00 | 19/02/2024 16:30 |  |  | 14/02/2024 09:30 | [6 empty] | 19/02/2024 15:00 | 15/02/2024 17:30 | 15/02/2024 17:30 |  |  | 14/02/2024 09:30 | [11 empty] | 14/02/2024 09:30
14/02/2024 22:30 | 2533.482 | 2651.177 | 2415.788 |  |  |  | 19/02/2024 16:30 | 19/02/2024 17:00 |  |  | 14/02/2024 10:00 | [6 empty] | 19/02/2024 15:30 | 15/02/2024 18:00 | 15/02/2024 18:00 |  |  | 14/02/2024 10:00 | [11 empty] | 14/02/2024 10:00
14/02/2024 23:00 | 2443.958 | 2558.45 | 2329.465 |  |  |  | 19/02/2024 17:00 | 19/02/2024 17:30 |  |  | 14/02/2024 10:30 | [6 empty] | 19/02/2024 16:00 | 15/02/2024 18:30 | 15/02/2024 18:30 |  |  | 14/02/2024 10:30 | [11 empty] | 14/02/2024 10:30
14/02/2024 23:30 | 2373.961 | 2486.104 | 2261.819 |  |  |  | 19/02/2024 17:30 |  |  |  | 14/02/2024 11:00 | [6 empty] | 19/02/2024 16:30 | 18/02/2024 17:00 | 18/02/2024 17:30 |  |  | 14/02/2024 11:00 | [11 empty] | 14/02/2024 11:00
15/02/2024 00:00 | 2317.295 | 2427.668 | 2206.923 | [7 empty] | 14/02/2024 11:30 | [6 empty] | 19/02/2024 17:00 | 18/02/2024 17:30 | 18/02/2024 18:00 |  |  | 14/02/2024 11:30 | [11 empty] | 14/02/2024 11:30
15/02/2024 00:30 | 2270.018 | 2379.027 | 2161.009 | [7 empty] | 17/02/2024 11:30 | [6 empty] | 19/02/2024 17:30 | 18/02/2024 18:00 | 19/02/2024 14:30 |  |  | 15/02/2024 17:00 | [11 empty] | 14/02/2024 12:00
15/02/2024 01:00 | 2235.451 | 2343.675 | 2127.227 | [7 empty] | 17/02/2024 12:00 | [6 empty] | 19/02/2024 18:00 | 19/02/2024 14:30 | 19/02/2024 15:00 |  |  | 15/02/2024 17:30 | [11 empty] | 17/02/2024 12:00
15/02/2024 01:30 | 2205.825 | 2313.479 | 2098.172 | [7 empty] | 18/02/2024 10:00 | [6 empty] | 19/02/2024 18:30 | 19/02/2024 15:00 | 19/02/2024 15:30 |  |  | 15/02/2024 18:00 | [11 empty] | 17/02/2024 12:30
15/02/2024 02:00 | 2179.484 | 2286.705 | 2072.264 | [7 empty] | 18/02/2024 10:30 | [6 empty] | 19/02/2024 19:00 | 19/02/2024 15:30 | 19/02/2024 16:00 |  |  | 15/02/2024 18:30 | [11 empty] | 18/02/2024 10:00
15/02/2024 02:30 | 2161.271 | 2268.441 | 2054.1 | [7 empty] | 19/02/2024 15:30 | [7 empty] | 19/02/2024 16:00 | 19/02/2024 16:30 |  |  | 17/02/2024 11:30 | [11 empty] | 18/02/2024 10:30
15/02/2024 03:00 | 2151.421 | 2258.946 | 2043.897 | [7 empty] | 19/02/2024 16:00 | [7 empty] | 19/02/2024 16:30 | 19/02/2024 17:00 |  |  | 17/02/2024 12:00 | [11 empty] | 18/02/2024 11:00
15/02/2024 03:30 | 2155.194 | 2263.75 | 2046.638 | [7 empty] | 19/02/2024 16:30 | [7 empty] | 19/02/2024 17:00 | 19/02/2024 17:30 |  |  | 18/02/2024 09:30
15/02/2024 04:00 | 2179.295 | 2289.918 | 2068.672 | [7 empty] | 19/02/2024 17:00 | [7 empty] | 19/02/2024 17:30 | 19/02/2024 18:00 |  |  | 18/02/2024 10:00
15/02/2024 04:30 | 2229.012 | 2343.032 | 2114.993 | [7 empty] | 19/02/2024 17:30 | [7 empty] | 19/02/2024 18:00 | 19/02/2024 18:30 |  |  | 18/02/2024 16:30
15/02/2024 05:00 | 2285.098 | 2402.88 | 2167.315 | [15 empty] | 19/02/2024 18:30 | 19/02/2024 19:00 |  |  | 18/02/2024 17:00
15/02/2024 05:30 | 2352.354 | 2474.524 | 2230.184 | [15 empty] | 19/02/2024 19:00 |  |  |  | 18/02/2024 17:30
15/02/2024 06:00 | 2433.123 | 2560.44 | 2305.806 | [15 empty] | 19/02/2024 19:30 |  |  |  | 18/02/2024 18:00
15/02/2024 06:30 | 2476.35 | 2606.699 | 2346.001 | [19 empty] | 19/02/2024 14:30
15/02/2024 07:00 | 2497.411 | 2629.246 | 2365.576 | [19 empty] | 19/02/2024 15:00
15/02/2024 07:30 | 2507.107 | 2639.868 | 2374.346 | [19 empty] | 19/02/2024 15:30
15/02/2024 08:00 | 2517.798 | 2651.541 | 2384.055 | [19 empty] | 19/02/2024 16:00
15/02/2024 08:30 | 2551.101 | 2687.035 | 2415.168 | [19 empty] | 19/02/2024 16:30
15/02/2024 09:00 | 2597.563 | 2736.401 | 2458.726 | [19 empty] | 19/02/2024 17:00
15/02/2024 09:30 | 2669.638 | 2812.769 | 2526.507 | [19 empty] | 19/02/2024 17:30
15/02/2024 10:00 | 2739.932 | 2887.284 | 2592.58 | [19 empty] | 19/02/2024 18:00
15/02/2024 10:30 | 2796.248 | 2947.09 | 2645.406 | [19 empty] | 19/02/2024 18:30
15/02/2024 11:00 | 2867.132 | 3020.944 | 2711.992 | [19 empty] | 19/02/2024 19:00
15/02/2024 11:30 | 2918.707 | 3075.781 | 2760.923 | [19 empty] | 19/02/2024 19:30
15/02/2024 12:00 | 3000.562 | 3162.538 | 2837.859
15/02/2024 12:30 | 3119.886 | 3288.84 | 2950.217
15/02/2024 13:00 | 3210.677 | 3385.089 | 3035.551
15/02/2024 13:30 | 3319.486 | 3500.36 | 3137.879
15/02/2024 14:00 | 3447.819 | 3636.262 | 3258.629
15/02/2024 14:30 | 3578.838 | 3775.046 | 3381.879
15/02/2024 15:00 | 3745.359 | 3951.729 | 3538.989
15/02/2024 15:30 | 3875.53 | 4089.713 | 3661.347
15/02/2024 16:00 | 3969.509 | 4189.54 | 3749.477
15/02/2024 16:30 | 4041.455 | 4266.143 | 3816.768
15/02/2024 17:00 | 4088.693 | 4316.682 | 3860.705
15/02/2024 17:30 | 4091.919 | 4320.763 | 3863.076
15/02/2024 18:00 | 4037.774 | 4264.256 | 3811.292
15/02/2024 18:30 | 3957.464 | 4180.094 | 3734.833
15/02/2024 19:00 | 3855.716 | 4073.259 | 3638.172
15/02/2024 19:30 | 3746.06 | 3958.035 | 3534.084
15/02/2024 20:00 | 3626.75 | 3832.573 | 3420.927
15/02/2024 20:30 | 3464.874 | 3662.082 | 3267.666
15/02/2024 21:00 | 3276.24 | 3463.252 | 3089.227
15/02/2024 21:30 | 3092.828 | 3269.883 | 2915.774
15/02/2024 22:00 | 2923.585 | 3091.433 | 2755.737
15/02/2024 22:30 | 2778.876 | 2938.875 | 2618.877
15/02/2024 23:00 | 2656.147 | 2809.518 | 2502.776
15/02/2024 23:30 | 2547.153 | 2694.651 | 2399.655
16/02/2024 00:00 | 2449.753 | 2592.016 | 2307.491
16/02/2024 00:30 | 2376.218 | 2514.603 | 2237.834
16/02/2024 01:00 | 2320.355 | 2455.869 | 2184.841
16/02/2024 01:30 | 2282.069 | 2415.724 | 2148.414
16/02/2024 02:00 | 2252.539 | 2384.836 | 2120.241
16/02/2024 02:30 | 2226.572 | 2357.712 | 2095.432
16/02/2024 03:00 | 2207.984 | 2338.393 | 2077.574
16/02/2024 03:30 | 2206.187 | 2336.854 | 2075.519
16/02/2024 04:00 | 2229.026 | 2361.415 | 2096.638
16/02/2024 04:30 | 2270.027 | 2405.225 | 2134.828
16/02/2024 05:00 | 2316.525 | 2454.876 | 2178.175
16/02/2024 05:30 | 2362.105 | 2503.568 | 2220.643
16/02/2024 06:00 | 2408.017 | 2552.626 | 2263.407
16/02/2024 06:30 | 2442.588 | 2589.677 | 2295.499
16/02/2024 07:00 | 2445.363 | 2593.022 | 2297.703
16/02/2024 07:30 | 2405.4 | 2551.09 | 2259.71
16/02/2024 08:00 | 2362.141 | 2505.734 | 2218.548
16/02/2024 08:30 | 2317.208 | 2458.576 | 2175.84
16/02/2024 09:00 | 2283.302 | 2423.101 | 2143.504
16/02/2024 09:30 | 2257.055 | 2395.74 | 2118.371
16/02/2024 10:00 | 2293.191 | 2434.597 | 2151.785
16/02/2024 10:30 | 2410.755 | 2559.937 | 2261.573
16/02/2024 11:00 | 2505.442 | 2661.031 | 2349.854
16/02/2024 11:30 | 2601.651 | 2763.782 | 2439.519
16/02/2024 12:00 | 2694.953 | 2863.489 | 2526.418
16/02/2024 12:30 | 2768.057 | 2941.769 | 2594.345
16/02/2024 13:00 | 2792.132 | 2967.965 | 2616.3
16/02/2024 13:30 | 2676.142 | 2845.255 | 2507.029
16/02/2024 14:00 | 2641.154 | 2808.633 | 2473.676
16/02/2024 14:30 | 2780.089 | 2956.985 | 2603.192
16/02/2024 15:00 | 2920.645 | 3107.123 | 2734.167
16/02/2024 15:30 | 3083.68 | 3281.242 | 2886.119
16/02/2024 16:00 | 3233.256 | 3441.106 | 3025.406
16/02/2024 16:30 | 3331.338 | 3546.221 | 3116.454
16/02/2024 17:00 | 3367.753 | 3585.721 | 3149.784
16/02/2024 17:30 | 3359.391 | 3577.552 | 3141.23
16/02/2024 18:00 | 3318.223 | 3534.436 | 3102.01
16/02/2024 18:30 | 3241.445 | 3453.363 | 3029.527
16/02/2024 19:00 | 3136.95 | 3342.722 | 2931.178
16/02/2024 19:30 | 3027.637 | 3226.9 | 2828.375
16/02/2024 20:00 | 2910.953 | 3103.172 | 2718.734
16/02/2024 20:30 | 2786.979 | 2971.62 | 2602.337
16/02/2024 21:00 | 2666.238 | 2843.463 | 2489.013
16/02/2024 21:30 | 2556.195 | 2726.664 | 2385.726
16/02/2024 22:00 | 2459.415 | 2623.967 | 2294.863
16/02/2024 22:30 | 2368.74 | 2527.743 | 2209.737
16/02/2024 23:00 | 2280.162 | 2433.718 | 2126.607
16/02/2024 23:30 | 2196.985 | 2350.652 | 2043.319
17/02/2024 00:00 | 2125.552 | 2284.729 | 1966.376
17/02/2024 00:30 | 2071.791 | 2226.596 | 1916.985
17/02/2024 01:00 | 2027.031 | 2178.976 | 1875.085
17/02/2024 01:30 | 1994.6 | 2144.591 | 1844.609
17/02/2024 02:00 | 1974.689 | 2123.654 | 1825.724
17/02/2024 02:30 | 1954.065 | 2101.942 | 1806.189
17/02/2024 03:00 | 1939.462 | 2086.697 | 1792.228
17/02/2024 03:30 | 1934.507 | 2081.827 | 1787.186
17/02/2024 04:00 | 1940.531 | 2088.773 | 1792.288
17/02/2024 04:30 | 1944.31 | 2093.305 | 1795.314
17/02/2024 05:00 | 1933.62 | 2082.258 | 1784.981
17/02/2024 05:30 | 1919.277 | 2067.272 | 1771.283
17/02/2024 06:00 | 1884.583 | 2030.352 | 1738.813
17/02/2024 06:30 | 1813.68 | 1954.398 | 1672.962
17/02/2024 07:00 | 1747.052 | 1883.018 | 1611.086
17/02/2024 07:30 | 1696.28 | 1828.7 | 1563.86
17/02/2024 08:00 | 1660.511 | 1790.536 | 1530.487
17/02/2024 08:30 | 1636.385 | 1764.911 | 1507.859
17/02/2024 09:00 | 1630.09 | 1758.511 | 1501.669
17/02/2024 09:30 | 1632.257 | 1761.239 | 1503.276
17/02/2024 10:00 | 1641.142 | 1771.218 | 1511.067
17/02/2024 10:30 | 1677.484 | 1810.841 | 1544.128
17/02/2024 11:00 | 1755.431 | 1895.404 | 1615.458
17/02/2024 11:30 | 1866.959 | 2016.27 | 1717.647
17/02/2024 12:00 | 1966.728 | 2124.488 | 1808.967
17/02/2024 12:30 | 2068.067 | 2234.451 | 1901.684
17/02/2024 13:00 | 2203.706 | 2381.529 | 2025.883
17/02/2024 13:30 | 2348.695 | 2538.778 | 2158.612
17/02/2024 14:00 | 2504.462 | 2707.75 | 2301.174
17/02/2024 14:30 | 2667.229 | 2884.366 | 2450.093
17/02/2024 15:00 | 2841.276 | 3073.26 | 2609.292
17/02/2024 15:30 | 3044.668 | 3293.987 | 2795.35
17/02/2024 16:00 | 3220.048 | 3484.497 | 2955.6
17/02/2024 16:30 | 3349.575 | 3625.462 | 3073.689
17/02/2024 17:00 | 3424.668 | 3707.558 | 3141.779
17/02/2024 17:30 | 3476.833 | 3764.862 | 3188.804
17/02/2024 18:00 | 3461.699 | 3749.302 | 3174.097
17/02/2024 18:30 | 3403.995 | 3687.617 | 3120.374
17/02/2024 19:00 | 3326.563 | 3604.528 | 3048.599
17/02/2024 19:30 | 3233.973 | 3504.973 | 2962.973
17/02/2024 20:00 | 3127.452 | 3390.272 | 2864.631
17/02/2024 20:30 | 3012.711 | 3266.609 | 2758.813
17/02/2024 21:00 | 2896.235 | 3141.009 | 2651.461
17/02/2024 21:30 | 2774.805 | 3009.979 | 2539.631
17/02/2024 22:00 | 2660.026 | 2886.107 | 2433.944
17/02/2024 22:30 | 2554.104 | 2771.793 | 2336.415
17/02/2024 23:00 | 2459.132 | 2669.314 | 2248.95
17/02/2024 23:30 | 2382.317 | 2586.503 | 2178.132
18/02/2024 00:00 | 2316.605 | 2515.712 | 2117.498
18/02/2024 00:30 | 2261.47 | 2456.379 | 2066.562
18/02/2024 01:00 | 2214.431 | 2405.814 | 2023.047
18/02/2024 01:30 | 2175.427 | 2363.959 | 1986.895
18/02/2024 02:00 | 2143.729 | 2330.025 | 1957.432
18/02/2024 02:30 | 2113.969 | 2298.184 | 1929.753
18/02/2024 03:00 | 2092.725 | 2275.59 | 1909.861
18/02/2024 03:30 | 2076.073 | 2257.978 | 1894.168
18/02/2024 04:00 | 2068.58 | 2250.322 | 1886.837
18/02/2024 04:30 | 2060.567 | 2242.098 | 1879.036
18/02/2024 05:00 | 2043.235 | 2223.727 | 1862.743
18/02/2024 05:30 | 2023.416 | 2202.641 | 1844.192
18/02/2024 06:00 | 1977.933 | 2153.602 | 1802.265
18/02/2024 06:30 | 1927.16 | 2098.78 | 1755.541
18/02/2024 07:00 | 1903.648 | 2073.628 | 1733.668
18/02/2024 07:30 | 1902.985 | 2073.233 | 1732.736
18/02/2024 08:00 | 1931.414 | 2104.282 | 1758.545
18/02/2024 08:30 | 1973.723 | 2150.479 | 1796.968
18/02/2024 09:00 | 2019.126 | 2200.051 | 1838.202
18/02/2024 09:30 | 2113.686 | 2303.191 | 1924.18
18/02/2024 10:00 | 2223.808 | 2423.301 | 2024.316
18/02/2024 10:30 | 2322.713 | 2531.196 | 2114.23
18/02/2024 11:00 | 2456.257 | 2676.852 | 2235.662
18/02/2024 11:30 | 2599.607 | 2833.209 | 2366.005
18/02/2024 12:00 | 2715.57 | 2959.73 | 2471.409
18/02/2024 12:30 | 2809.454 | 3062.199 | 2556.709
18/02/2024 13:00 | 2861.178 | 3118.723 | 2603.634
18/02/2024 13:30 | 2922.238 | 3185.427 | 2659.049
18/02/2024 14:00 | 3052.209 | 3327.26 | 2777.158
18/02/2024 14:30 | 3264.657 | 3559.019 | 2970.295
18/02/2024 15:00 | 3476.327 | 3789.951 | 3162.702
18/02/2024 15:30 | 3702.829 | 4037.077 | 3368.581
18/02/2024 16:00 | 3867.659 | 4216.983 | 3518.335
18/02/2024 16:30 | 3907.662 | 4303.781 | 3554.526
18/02/2024 17:00 | 3948.882 | 4305.945 | 3555.783
18/02/2024 17:30 | 3955.649 | 4313.526 | 3561.937
18/02/2024 18:00 | 3925.966 | 4281.357 | 3533.528
18/02/2024 18:30 | 3856.336 | 4205.62 | 3468.237
18/02/2024 19:00 | 3770.895 | 4112.632 | 3388.447
18/02/2024 19:30 | 3683.991 | 4018.041 | 3307.047
18/02/2024 20:00 | 3573.303 | 3897.498 | 3205.035
18/02/2024 20:30 | 3429.173 | 3740.467 | 3073.523
18/02/2024 21:00 | 3267.075 | 3563.82 | 2970.33
18/02/2024 21:30 | 3105.153 | 3387.35 | 2822.957
18/02/2024 22:00 | 2949.054 | 3217.215 | 2680.894
18/02/2024 22:30 | 2813.364 | 3069.329 | 2557.399
18/02/2024 23:00 | 2696.045 | 2941.474 | 2450.616
18/02/2024 23:30 | 2593.397 | 2826.536 | 2360.258
19/02/2024 00:00 | 2501.083 | 2720.298 | 2281.868
19/02/2024 00:30 | 2431.117 | 2645.178 | 2217.055
19/02/2024 01:00 | 2381.325 | 2591.459 | 2171.191
19/02/2024 01:30 | 2347.271 | 2554.85 | 2139.692
19/02/2024 02:00 | 2319.361 | 2524.917 | 2113.806
19/02/2024 02:30 | 2291.738 | 2495.284 | 2088.191
19/02/2024 03:00 | 2269.706 | 2471.731 | 2067.681
19/02/2024 03:30 | 2265.127 | 2467.178 | 2063.076
19/02/2024 04:00 | 2286.535 | 2490.934 | 2082.136
19/02/2024 04:30 | 2338.25 | 2547.719 | 2128.779
19/02/2024 05:00 | 2394.981 | 2609.993 | 2179.97
19/02/2024 05:30 | 2456.854 | 2677.891 | 2235.817
19/02/2024 06:00 | 2551.402 | 2781.434 | 2321.37
19/02/2024 06:30 | 2619.127 | 2855.768 | 2382.487
19/02/2024 07:00 | 2654.045 | 2894.349 | 2413.741
19/02/2024 07:30 | 2672.584 | 2915.079 | 2430.09
19/02/2024 08:00 | 2700.373 | 2945.906 | 2454.839
19/02/2024 08:30 | 2739.746 | 2989.384 | 2490.107
19/02/2024 09:00 | 2770.157 | 3023.097 | 2517.216
19/02/2024 09:30 | 2784.457 | 3039.237 | 2529.677
19/02/2024 10:00 | 2817.171 | 3075.484 | 2558.857
19/02/2024 10:30 | 2875.499 | 3139.711 | 2611.286
19/02/2024 11:00 | 2968.331 | 3241.642 | 2695.019
19/02/2024 11:30 | 3039.694 | 3320.159 | 2759.229
19/02/2024 12:00 | 3124.016 | 3412.859 | 2835.172
19/02/2024 12:30 | 3275.89 | 3579.404 | 2972.376
19/02/2024 13:00 | 3417.81 | 3735.128 | 3100.492
19/02/2024 13:30 | 3587.347 | 3921.093 | 3253.601
19/02/2024 14:00 | 3801.676 | 4156.09 | 3447.262
19/02/2024 14:30 | 3983.219 | 4355.321 | 3611.117
19/02/2024 15:00 | 4131.875 | 4518.656 | 3745.094
19/02/2024 15:30 | 4222.861 | 4618.969 | 3826.754
19/02/2024 16:00 | 4287.334 | 4690.311 | 3884.357
19/02/2024 16:30 | 4293.876 | 4698.292 | 3889.462
19/02/2024 17:00 | 4282.913 | 4687.116 | 3878.71
19/02/2024 17:30 | 4236.417 | 4637.044 | 3835.79
19/02/2024 18:00 | 4145.503 | 4538.327 | 3752.679
19/02/2024 18:30 | 4056.751 | 4441.943 | 3671.56
19/02/2024 19:00 | 3969.664 | 4347.347 | 3591.98
19/02/2024 19:30 | 3845.849 | 4212.49 | 3479.209
19/02/2024 20:00 | 3703.764 | 4057.569 | 3349.959
19/02/2024 20:30 | 3536.752 | 3875.281 | 3198.223
19/02/2024 21:00 | 3353.063 | 3674.652 | 3031.474
19/02/2024 21:30 | 3174.827 | 3479.93 | 2869.724
19/02/2024 22:00 | 3006.221 | 3295.697 | 2716.745
19/02/2024 22:30 | 2866.12 | 3142.655 | 2589.585
19/02/2024 23:00 | 2745.928 | 3011.393 | 2480.463
19/02/2024 23:30 | 2636.786 | 2892.205 | 2381.368
20/02/2024 00:00 | 2537.906 | 2784.232 | 2291.579
20/02/2024 00:30 | 2462.643 | 2702.137 | 2223.149
20/02/2024 01:00 | 2411.021 | 2645.957 | 2176.085
20/02/2024 01:30 | 2373.762 | 2605.522 | 2142.002
20/02/2024 02:00 | 2340.012 | 2568.926 | 2111.099
20/02/2024 02:30 | 2310.466 | 2536.932 | 2084
20/02/2024 03:00 | 2287.255 | 2511.884 | 2062.626
20/02/2024 03:30 | 2281.448 | 2505.944 | 2056.951
20/02/2024 04:00 | 2300.629 | 2527.453 | 2073.804
20/02/2024 04:30 | 2343.178 | 2574.646 | 2111.709
20/02/2024 05:00 | 2385.777 | 2621.911 | 2149.643
20/02/2024 05:30 | 2433.986 | 2675.358 | 2192.614
20/02/2024 06:00 | 2506.342 | 2755.37 | 2257.314
20/02/2024 06:30 | 2549.163 | 2802.934 | 2295.392
20/02/2024 07:00 | 2543.318 | 2796.995 | 2289.642
20/02/2024 07:30 | 2496.302 | 2745.895 | 2246.709
20/02/2024 08:00 | 2466.327 | 2713.772 | 2218.883
20/02/2024 08:30 | 2447.857 | 2694.27 | 2201.445
20/02/2024 09:00 | 2444.688 | 2691.601 | 2197.775
20/02/2024 09:30 | 2418.39 | 2663.458 | 2173.323
20/02/2024 10:00 | 2402.728 | 2647.014 | 2158.441
20/02/2024 10:30 | 2440.067 | 2688.968 | 2191.167
20/02/2024 11:00 | 2490.693 | 2745.593 | 2235.793
20/02/2024 11:30 | 2549.241 | 2810.988 | 2287.495
20/02/2024 12:00 | 2608.773 | 2877.507 | 2340.039
20/02/2024 12:30 | 2700.462 | 2979.546 | 2421.377
20/02/2024 13:00 | 2815.658 | 3107.592 | 2523.725
20/02/2024 13:30 | 2924.136 | 3228.297 | 2619.975
20/02/2024 14:00 | 3033.307 | 3349.841 | 2716.773
20/02/2024 14:30 | 3152.646 | 3482.691 | 2822.602
20/02/2024 15:00 | 3335.781 | 3686.115 | 2985.446
20/02/2024 15:30 | 3518.229 | 3888.905 | 3147.553
20/02/2024 16:00 | 3655.108 | 4041.431 | 3268.785
20/02/2024 16:30 | 3752.532 | 4150.41 | 3354.654
20/02/2024 17:00 | 3794.686 | 4198.306 | 3391.066
20/02/2024 17:30 | 3781.11 | 4184.554 | 3377.667
20/02/2024 18:00 | 3719.673 | 4117.808 | 3321.537
20/02/2024 18:30 | 3637.939 | 4028.546 | 3247.332
20/02/2024 19:00 | 3541.199 | 3922.606 | 3159.792
20/02/2024 19:30 | 3415.43 | 3784.437 | 3046.424
20/02/2024 20:00 | 3280.808 | 3636.37 | 2925.247
20/02/2024 20:30 | 3125.192 | 3464.936 | 2785.448
20/02/2024 21:00 | 2952.914 | 3274.92 | 2630.908
20/02/2024 21:30 | 2793.273 | 3096.934 | 2487.739
20/02/2024 22:00 | 2648.544 | 2937.36 | 2357.953
20/02/2024 22:30 | 2528.723 | 2805.32 | 2250.43
20/02/2024 23:00 | 2428.885 | 2695.376 | 2160.766
20/02/2024 23:30 | 2334.983 | 2591.954 | 2076.446
21/02/2024 00:00 | 2252.302 | 2500.929 | 2002.165
21/02/2024 00:30 | 2189.537 | 2431.97 | 1945.636
21/02/2024 01:00 | 2142.163 | 2380.068 | 1902.82
21/02/2024 01:30 | 2114.902 | 2350.489 | 1877.897
21/02/2024 02:00 | 2093.286 | 2327.167 | 1858.001
21/02/2024 02:30 | 2074.108 | 2306.542 | 1840.284
21/02/2024 03:00 | 2062.819 | 2294.679 | 1829.575
21/02/2024 03:30 | 2069.5 | 2302.805 | 1834.807
21/02/2024 04:00 | 2100.023 | 2337.473 | 1861.164
21/02/2024 04:30 | 2149.91 | 2393.722 | 1904.656
21/02/2024 05:00 | 2192.187 | 2441.528 | 1941.375
21/02/2024 05:30 | 2231.404 | 2485.955 | 1976.854
21/02/2024 06:00 | 2283.801 | 2545.095 | 2022.508
21/02/2024 06:30 | 2311.354 | 2576.574 | 2046.133
21/02/2024 07:00 | 2310.655 | 2576.57 | 2044.74
21/02/2024 07:30 | 2263.025 | 2524.218 | 2001.832