## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
17/02/2024 08:00 | 1771.43 | 1796.085 | 1736.653
17/02/2024 08:30 | 1712.331 | 1747.684 | 1676.978 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
17/02/2024 09:00 | 1664.205 | 1704.927 | 1623.483 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
17/02/2024 09:30 | 1630.868 | 1677.009 | 1584.727 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
17/02/2024 10:00 | 1597.895 | 1649.211 | 1546.578 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
17/02/2024 10:30 | 1581.797 | 1637.078 | 1526.515 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
17/02/2024 11:00 | 1595.821 | 1652.985 | 1538.657 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
17/02/2024 11:30 | 1623.482 | 1683.328 | 1563.637 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
17/02/2024 12:00 | 1681.731 | 1747.374 | 1619.747 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
17/02/2024 12:30 | 1784.394 | 1850.767 | 1712.014 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
17/02/2024 13:00 | 1895.01 | 1967.813 | 1816.491 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
17/02/2024 13:30 | 2021.44 | 2103.64 | 1937.826
17/02/2024 14:00 | 2168.229 | 2257.609 | 2075.323 | Summary view - for each schedule horizon (dispatch, week-ahead)
17/02/2024 14:30 | 2340.079 | 2439.285 | 2237.656
17/02/2024 15:00 | 2514.013 | 2625.163 | 2403.149 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
17/02/2024 15:30 | 2701.19 | 2821.856 | 2577.822 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
17/02/2024 16:00 | 2882.895 | 3014.534 | 2748.094 | Scenario | Violations
17/02/2024 16:30 | 3035.755 | 3178.328 | 2891.369 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
17/02/2024 17:00 | 3138.047 | 3289.674 | 2986.421 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
17/02/2024 17:30 | 3202.285 | 3360.35 | 3044.219 | Reference Scenario | 0 | 2 | 5 | 5 | 0 | 0 | 37 | 0 | 0 | 0 | 0 | 3
17/02/2024 18:00 | 3201.124 | 3362.467 | 3039.782 | High Demand Scenario | 0 | 11 | 16 | 16 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0
17/02/2024 18:30 | 3157.459 | 3319.014 | 2995.904 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 0 | 0 | 0 | 0 | 1
17/02/2024 19:00 | 3089.617 | 3248.369 | 2930.866
17/02/2024 19:30 | 3007.436 | 3162.757 | 2852.115 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
17/02/2024 20:00 | 2912.712 | 3063.907 | 2761.516
17/02/2024 20:30 | 2811.726 | 2958.42 | 2665.032 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
17/02/2024 21:00 | 2709.831 | 2851.922 | 2567.739 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
17/02/2024 21:30 | 2606.531 | 2743.892 | 2469.17 |  |  | 19/02/2024 17:00 | 19/02/2024 16:30 | 19/02/2024 16:30 |  |  | 17/02/2024 08:30 |  |  |  |  | 22/02/2024 09:00 |  | 18/02/2024 17:00 | 18/02/2024 16:30 | 18/02/2024 16:30 |  |  | 17/02/2024 08:00 | [11 empty] | 17/02/2024 08:00 |  |  |  |  | 22/02/2024 16:00
17/02/2024 22:00 | 2508.186 | 2641.024 | 2375.347 |  |  | 19/02/2024 17:30 | 19/02/2024 17:00 | 19/02/2024 17:00 |  |  | 17/02/2024 09:00 |  |  |  |  | 22/02/2024 16:30 |  | 18/02/2024 17:30 | 18/02/2024 17:00 | 18/02/2024 17:00 |  |  | 17/02/2024 08:30 | [11 empty] | 17/02/2024 08:30
17/02/2024 22:30 | 2418.005 | 2546.704 | 2289.306 |  |  |  | 19/02/2024 17:30 | 19/02/2024 17:30 |  |  | 17/02/2024 09:30 |  |  |  |  | 22/02/2024 17:00 |  | 18/02/2024 18:00 | 18/02/2024 17:30 | 18/02/2024 17:30 |  |  | 17/02/2024 09:00 | [11 empty] | 17/02/2024 09:00
17/02/2024 23:00 | 2339.219 | 2464.34 | 2214.097 |  |  |  | 19/02/2024 18:00 | 19/02/2024 18:00 |  |  | 17/02/2024 10:00 | [6 empty] | 19/02/2024 15:30 | 18/02/2024 18:00 | 18/02/2024 18:00 |  |  | 18/02/2024 07:30 | [11 empty] | 17/02/2024 09:30
17/02/2024 23:30 | 2275.29 | 2397.591 | 2152.989 |  |  |  | 19/02/2024 18:30 | 19/02/2024 18:30 |  |  | 17/02/2024 10:30 | [6 empty] | 19/02/2024 16:00 | 18/02/2024 18:30 | 18/02/2024 18:30 |  |  | 18/02/2024 08:00 | [11 empty] | 17/02/2024 10:00
18/02/2024 00:00 | 2221.224 | 2341.203 | 2101.244 | [7 empty] | 18/02/2024 08:00 | [6 empty] | 19/02/2024 16:30 | 18/02/2024 19:00 | 18/02/2024 19:00 |  |  | 18/02/2024 16:00 | [11 empty] | 17/02/2024 10:30
18/02/2024 00:30 | 2174.673 | 2292.711 | 2056.635 | [7 empty] | 18/02/2024 10:00 | [6 empty] | 19/02/2024 17:00 | 19/02/2024 15:00 | 19/02/2024 15:00 |  |  | 18/02/2024 16:30 | [11 empty] | 18/02/2024 08:00
18/02/2024 01:00 | 2134.802 | 2251.237 | 2018.366 | [7 empty] | 18/02/2024 10:30 | [6 empty] | 19/02/2024 17:30 | 19/02/2024 15:30 | 19/02/2024 15:30 |  |  | 18/02/2024 17:00 | [11 empty] | 18/02/2024 10:00
18/02/2024 01:30 | 2099.619 | 2214.688 | 1984.549 | [7 empty] | 19/02/2024 16:00 | [6 empty] | 19/02/2024 18:00 | 19/02/2024 16:00 | 19/02/2024 16:00 |  |  | 18/02/2024 17:30 | [11 empty] | 18/02/2024 10:30
18/02/2024 02:00 | 2071.778 | 2185.868 | 1957.689 | [7 empty] | 19/02/2024 16:30 | [6 empty] | 19/02/2024 18:30 | 19/02/2024 16:30 | 19/02/2024 16:30 |  |  | 18/02/2024 18:00 | [11 empty] | 18/02/2024 11:00
18/02/2024 02:30 | 2045.578 | 2158.763 | 1932.393 | [7 empty] | 19/02/2024 17:00 | [6 empty] | 19/02/2024 19:00 | 19/02/2024 17:00 | 19/02/2024 17:00 |  |  | 18/02/2024 18:30 | [11 empty] | 21/02/2024 09:30
18/02/2024 03:00 | 2028.333 | 2141.098 | 1915.568 | [7 empty] | 19/02/2024 17:30 | [7 empty] | 19/02/2024 17:30 | 19/02/2024 17:30 |  |  | 18/02/2024 19:00 | [11 empty] | 21/02/2024 10:00
18/02/2024 03:30 | 2015.043 | 2127.6 | 1902.486 | [7 empty] | 19/02/2024 18:00 | [7 empty] | 19/02/2024 18:00 | 19/02/2024 18:00 |  |  | 18/02/2024 19:30 | [11 empty] | 21/02/2024 10:30
18/02/2024 04:00 | 2008.829 | 2121.568 | 1896.091 | [7 empty] | 19/02/2024 18:30 | [7 empty] | 19/02/2024 18:30 | 19/02/2024 18:30 |  |  | 19/02/2024 15:00 | [11 empty] | 21/02/2024 11:00
18/02/2024 04:30 | 2002.487 | 2115.396 | 1889.577 | [7 empty] | 19/02/2024 19:00 | [7 empty] | 19/02/2024 19:00 | 19/02/2024 19:00 |  |  | 19/02/2024 15:30 | [11 empty] | 21/02/2024 11:30
18/02/2024 05:00 | 1988.701 | 2101.357 | 1876.045 | [7 empty] | 21/02/2024 11:00 | [7 empty] | 19/02/2024 19:30 | 19/02/2024 19:30 |  |  | 19/02/2024 16:00 | [11 empty] | 21/02/2024 12:00
18/02/2024 05:30 | 1971.412 | 2083.607 | 1859.216 | [7 empty] | 22/02/2024 09:00 | [11 empty] | 19/02/2024 16:30 | [11 empty] | 21/02/2024 12:30
18/02/2024 06:00 | 1929.592 | 2039.916 | 1819.268 | [7 empty] | 22/02/2024 09:30 | [11 empty] | 19/02/2024 17:00 | [11 empty] | 21/02/2024 13:00
18/02/2024 06:30 | 1879.397 | 1987.298 | 1771.497 | [7 empty] | 22/02/2024 10:00 | [11 empty] | 19/02/2024 17:30 | [11 empty] | 21/02/2024 13:30
18/02/2024 07:00 | 1859.921 | 1967.051 | 1752.792 | [7 empty] | 22/02/2024 10:30 | [11 empty] | 19/02/2024 18:00 | [11 empty] | 22/02/2024 09:30
18/02/2024 07:30 | 1871.303 | 1979.445 | 1763.16 | [7 empty] | 22/02/2024 11:00 | [11 empty] | 19/02/2024 18:30 | [11 empty] | 22/02/2024 10:00
18/02/2024 08:00 | 1908.592 | 2019.254 | 1797.93 | [7 empty] | 22/02/2024 11:30 | [11 empty] | 19/02/2024 19:00 | [11 empty] | 22/02/2024 10:30
18/02/2024 08:30 | 1953.17 | 2066.791 | 1839.55 | [7 empty] | 22/02/2024 12:00 | [11 empty] | 19/02/2024 19:30 | [11 empty] | 22/02/2024 11:00
18/02/2024 09:00 | 2001.172 | 2117.966 | 1884.377 | [7 empty] | 22/02/2024 12:30 | [11 empty] | 19/02/2024 20:00 | [11 empty] | 22/02/2024 11:30
18/02/2024 09:30 | 2091.417 | 2213.878 | 1968.956 | [7 empty] | 22/02/2024 13:00 | [11 empty] | 22/02/2024 08:00 | [11 empty] | 22/02/2024 12:00
18/02/2024 10:00 | 2175.724 | 2303.537 | 2047.91 | [7 empty] | 22/02/2024 13:30 | [11 empty] | 22/02/2024 08:30 | [11 empty] | 22/02/2024 12:30
18/02/2024 10:30 | 2214.293 | 2344.796 | 2083.791 | [7 empty] | 22/02/2024 14:00 | [11 empty] | 22/02/2024 09:00 | [11 empty] | 22/02/2024 13:00
18/02/2024 11:00 | 2337.885 | 2476.118 | 2199.652 | [7 empty] | 22/02/2024 14:30 | [11 empty] | 22/02/2024 09:30 | [11 empty] | 22/02/2024 13:30
18/02/2024 11:30 | 2537.893 | 2688.437 | 2387.349 | [7 empty] | 23/02/2024 09:00 | [11 empty] | 22/02/2024 10:00 | [11 empty] | 22/02/2024 14:00
18/02/2024 12:00 | 2689.225 | 2849.26 | 2529.19 | [7 empty] | 23/02/2024 09:30 | [11 empty] | 22/02/2024 10:30 | [11 empty] | 22/02/2024 14:30
18/02/2024 12:30 | 2775.677 | 2941.386 | 2609.967 | [7 empty] | 23/02/2024 10:00 | [11 empty] | 22/02/2024 11:00 | [11 empty] | 23/02/2024 10:00
18/02/2024 13:00 | 2859.042 | 3030.275 | 2687.809 | [7 empty] | 23/02/2024 10:30 | [11 empty] | 22/02/2024 11:30 | [11 empty] | 23/02/2024 10:30
18/02/2024 13:30 | 3026.709 | 3208.562 | 2844.856 | [7 empty] | 23/02/2024 11:00 | [11 empty] | 22/02/2024 12:00 | [11 empty] | 23/02/2024 11:00
18/02/2024 14:00 | 3214.735 | 3408.499 | 3020.97 | [7 empty] | 23/02/2024 11:30 | [11 empty] | 22/02/2024 12:30 | [11 empty] | 23/02/2024 11:30
18/02/2024 14:30 | 3395.125 | 3600.41 | 3189.839 | [7 empty] | 23/02/2024 12:00 | [11 empty] | 22/02/2024 13:00 | [11 empty] | 23/02/2024 12:00
18/02/2024 15:00 | 3554.317 | 3769.907 | 3338.726 | [7 empty] | 23/02/2024 12:30 | [11 empty] | 22/02/2024 13:30 | [11 empty] | 23/02/2024 12:30
18/02/2024 15:30 | 3704.839 | 3930.268 | 3479.411 | [7 empty] | 23/02/2024 13:00 | [11 empty] | 22/02/2024 14:00 | [11 empty] | 23/02/2024 13:00
18/02/2024 16:00 | 3846.313 | 4081.085 | 3613.256 | [19 empty] | 22/02/2024 14:30 | [11 empty] | 23/02/2024 13:30
18/02/2024 16:30 | 3944.361 | 4185.871 | 3704.566 | [19 empty] | 23/02/2024 08:00
18/02/2024 17:00 | 4000.794 | 4246.523 | 3756.751 | [19 empty] | 23/02/2024 08:30
18/02/2024 17:30 | 4024.486 | 4270.902 | 3778.07 | [19 empty] | 23/02/2024 09:00
18/02/2024 18:00 | 3991.857 | 4237.037 | 3746.676 | [19 empty] | 23/02/2024 09:30
18/02/2024 18:30 | 3947.211 | 4190.404 | 3704.018 | [19 empty] | 23/02/2024 10:00
18/02/2024 19:00 | 3892.854 | 4133.441 | 3652.266 | [19 empty] | 23/02/2024 10:30
18/02/2024 19:30 | 3803.206 | 4038.979 | 3567.432 | [19 empty] | 23/02/2024 11:00
18/02/2024 20:00 | 3675.38 | 3903.932 | 3446.828 | [19 empty] | 23/02/2024 11:30
18/02/2024 20:30 | 3519.598 | 3739.135 | 3300.061 | [19 empty] | 23/02/2024 12:00
18/02/2024 21:00 | 3346.083 | 3555.436 | 3136.73 | [19 empty] | 23/02/2024 12:30
18/02/2024 21:30 | 3173.734 | 3372.91 | 2974.558
18/02/2024 22:00 | 3012.987 | 3202.651 | 2823.323
18/02/2024 22:30 | 2872.83 | 3054.22 | 2691.44
18/02/2024 23:00 | 2754.952 | 2929.426 | 2580.479
18/02/2024 23:30 | 2655.48 | 2818.84 | 2492.119
19/02/2024 00:00 | 2568.303 | 2716.575 | 2420.031
19/02/2024 00:30 | 2501.132 | 2646.791 | 2355.473
19/02/2024 01:00 | 2452.561 | 2595.796 | 2309.325
19/02/2024 01:30 | 2415.806 | 2557.294 | 2274.318
19/02/2024 02:00 | 2385.671 | 2525.787 | 2245.554
19/02/2024 02:30 | 2357.215 | 2496.049 | 2218.38
19/02/2024 03:00 | 2333.801 | 2471.641 | 2195.96
19/02/2024 03:30 | 2327.673 | 2465.536 | 2189.81
19/02/2024 04:00 | 2348.056 | 2487.514 | 2208.598
19/02/2024 04:30 | 2400.435 | 2543.4 | 2257.469
19/02/2024 05:00 | 2460.733 | 2607.696 | 2313.77
19/02/2024 05:30 | 2529.783 | 2681.288 | 2378.279
19/02/2024 06:00 | 2634.232 | 2792.427 | 2476.038
19/02/2024 06:30 | 2729.784 | 2894.168 | 2565.401
19/02/2024 07:00 | 2820.599 | 2990.917 | 2650.281
19/02/2024 07:30 | 2896.753 | 3072.203 | 2721.303
19/02/2024 08:00 | 2934.212 | 3112.582 | 2755.843
19/02/2024 08:30 | 2919.981 | 3098.124 | 2741.839
19/02/2024 09:00 | 2930.677 | 3110.112 | 2751.242
19/02/2024 09:30 | 2957.117 | 3138.817 | 2775.417
19/02/2024 10:00 | 2987.523 | 3171.744 | 2803.302
19/02/2024 10:30 | 3036.83 | 3224.755 | 2848.906
19/02/2024 11:00 | 3157.626 | 3353.716 | 2961.536
19/02/2024 11:30 | 3261.646 | 3464.908 | 3058.384
19/02/2024 12:00 | 3339.713 | 3548.569 | 3130.856
19/02/2024 12:30 | 3486.045 | 3704.814 | 3267.275
19/02/2024 13:00 | 3603.223 | 3830.133 | 3376.312
19/02/2024 13:30 | 3710.254 | 3944.716 | 3475.793
19/02/2024 14:00 | 3850.798 | 4094.982 | 3606.615
19/02/2024 14:30 | 3980.259 | 4233.522 | 3726.996
19/02/2024 15:00 | 4103.599 | 4365.606 | 3841.591
19/02/2024 15:30 | 4205.984 | 4475.448 | 3936.52
19/02/2024 16:00 | 4300.862 | 4577.343 | 4024.38
19/02/2024 16:30 | 4354.881 | 4635.787 | 4073.976
19/02/2024 17:00 | 4386.103 | 4669.98 | 4102.225
19/02/2024 17:30 | 4360.306 | 4643.467 | 4077.145
19/02/2024 18:00 | 4288.931 | 4568.394 | 4009.468
19/02/2024 18:30 | 4214.317 | 4489.839 | 3938.795
19/02/2024 19:00 | 4133.742 | 4404.899 | 3862.584
19/02/2024 19:30 | 4025.724 | 4290.675 | 3760.772
19/02/2024 20:00 | 3910.722 | 4168.959 | 3652.485
19/02/2024 20:30 | 3766.896 | 4016.459 | 3517.333
19/02/2024 21:00 | 3582.075 | 3820.176 | 3343.974
19/02/2024 21:30 | 3389.779 | 3615.839 | 3163.72
19/02/2024 22:00 | 3205.511 | 3419.983 | 2991.04
19/02/2024 22:30 | 3057.795 | 3263.051 | 2852.539
19/02/2024 23:00 | 2941.518 | 3139.612 | 2743.425
19/02/2024 23:30 | 2842.542 | 3034.591 | 2650.492
20/02/2024 00:00 | 2754.802 | 2941.526 | 2568.079
20/02/2024 00:30 | 2682.897 | 2865.333 | 2500.461
20/02/2024 01:00 | 2632.39 | 2811.966 | 2452.813
20/02/2024 01:30 | 2582.604 | 2759.348 | 2405.859
20/02/2024 02:00 | 2538.458 | 2712.736 | 2364.18
20/02/2024 02:30 | 2500.934 | 2673.181 | 2328.686
20/02/2024 03:00 | 2466.827 | 2637.265 | 2296.389
20/02/2024 03:30 | 2453.303 | 2623.343 | 2283.264
20/02/2024 04:00 | 2466.707 | 2638.214 | 2295.199
20/02/2024 04:30 | 2507.128 | 2681.994 | 2332.263
20/02/2024 05:00 | 2548.382 | 2726.682 | 2370.083
20/02/2024 05:30 | 2599.388 | 2781.824 | 2416.952
20/02/2024 06:00 | 2697.872 | 2887.809 | 2507.934
20/02/2024 06:30 | 2788.779 | 2985.726 | 2591.832
20/02/2024 07:00 | 2844.875 | 3046.406 | 2643.345
20/02/2024 07:30 | 2851.604 | 3054.234 | 2648.975
20/02/2024 08:00 | 2865.82 | 3070.086 | 2661.554
20/02/2024 08:30 | 2869.864 | 3075.045 | 2664.682
20/02/2024 09:00 | 2879.579 | 3086.084 | 2673.074
20/02/2024 09:30 | 2858.354 | 3063.962 | 2652.747
20/02/2024 10:00 | 2861.053 | 3067.48 | 2654.626
20/02/2024 10:30 | 2935.543 | 3147.986 | 2723.101
20/02/2024 11:00 | 3012.543 | 3231.216 | 2793.87
20/02/2024 11:30 | 3044.638 | 3266.306 | 2822.97
20/02/2024 12:00 | 3087.897 | 3313.389 | 2862.405
20/02/2024 12:30 | 3186.829 | 3420.242 | 2953.416
20/02/2024 13:00 | 3273.471 | 3513.945 | 3032.997
20/02/2024 13:30 | 3344.691 | 3591.128 | 3098.254
20/02/2024 14:00 | 3409.002 | 3660.923 | 3157.082
20/02/2024 14:30 | 3507.867 | 3767.859 | 3247.874
20/02/2024 15:00 | 3660.281 | 3932.37 | 3388.193
20/02/2024 15:30 | 3782.209 | 4064.188 | 3500.23
20/02/2024 16:00 | 3870.101 | 4159.478 | 3580.724
20/02/2024 16:30 | 3930.82 | 4225.595 | 3636.044
20/02/2024 17:00 | 3953.986 | 4251.363 | 3656.609
20/02/2024 17:30 | 3926.052 | 4222.186 | 3629.918
20/02/2024 18:00 | 3847.354 | 4138.393 | 3556.316
20/02/2024 18:30 | 3775.936 | 4062.397 | 3489.475
20/02/2024 19:00 | 3713.223 | 3995.737 | 3430.708
20/02/2024 19:30 | 3606.218 | 3881.379 | 3331.057
20/02/2024 20:00 | 3477.731 | 3743.848 | 3211.614
20/02/2024 20:30 | 3321.957 | 3576.88 | 3067.034
20/02/2024 21:00 | 3142.558 | 3384.401 | 2900.716
20/02/2024 21:30 | 2973.303 | 3202.77 | 2743.836
20/02/2024 22:00 | 2814.659 | 3032.497 | 2596.821
20/02/2024 22:30 | 2686.928 | 2895.469 | 2478.388
20/02/2024 23:00 | 2586.844 | 2788.182 | 2385.507
20/02/2024 23:30 | 2493.865 | 2688.51 | 2299.22
21/02/2024 00:00 | 2408.81 | 2597.343 | 2220.276
21/02/2024 00:30 | 2339.469 | 2523.086 | 2155.851
21/02/2024 01:00 | 2284.783 | 2464.607 | 2104.958
21/02/2024 01:30 | 2249.223 | 2426.74 | 2071.707
21/02/2024 02:00 | 2221.038 | 2396.815 | 2045.26
21/02/2024 02:30 | 2194.557 | 2368.719 | 2020.396
21/02/2024 03:00 | 2176.609 | 2349.822 | 2003.396
21/02/2024 03:30 | 2177.647 | 2351.418 | 2003.876
21/02/2024 04:00 | 2200.814 | 2376.915 | 2024.714
21/02/2024 04:30 | 2242.815 | 2422.767 | 2062.864
21/02/2024 05:00 | 2284.996 | 2468.831 | 2101.161
21/02/2024 05:30 | 2327.662 | 2515.438 | 2139.886
21/02/2024 06:00 | 2373.63 | 2565.633 | 2181.627
21/02/2024 06:30 | 2383.425 | 2576.741 | 2190.109
21/02/2024 07:00 | 2356.478 | 2548.123 | 2164.833
21/02/2024 07:30 | 2298.222 | 2485.61 | 2110.835
21/02/2024 08:00 | 2276.95 | 2463.036 | 2090.864
21/02/2024 08:30 | 2307.915 | 2496.973 | 2118.856
21/02/2024 09:00 | 2293.357 | 2481.663 | 2105.052
21/02/2024 09:30 | 2214.492 | 2396.746 | 2032.237
21/02/2024 10:00 | 2146.427 | 2323.492 | 1969.363
21/02/2024 10:30 | 2081.516 | 2253.624 | 1909.407
21/02/2024 11:00 | 2091.557 | 2264.896 | 1918.217
21/02/2024 11:30 | 2210.157 | 2393.749 | 2026.565
21/02/2024 12:00 | 2239.852 | 2426.34 | 2053.363
21/02/2024 12:30 | 2164.493 | 2345.122 | 1983.865
21/02/2024 13:00 | 2195.46 | 2379.094 | 2011.826
21/02/2024 13:30 | 2332.998 | 2528.583 | 2137.413
21/02/2024 14:00 | 2442.062 | 2647.258 | 2236.865
21/02/2024 14:30 | 2533.268 | 2746.614 | 2319.922
21/02/2024 15:00 | 2641.003 | 2863.928 | 2418.078
21/02/2024 15:30 | 2754.208 | 2987.217 | 2521.199
21/02/2024 16:00 | 2886.731 | 3131.504 | 2641.958
21/02/2024 16:30 | 3013.612 | 3269.721 | 2757.502
21/02/2024 17:00 | 3096.043 | 3359.751 | 2832.335
21/02/2024 17:30 | 3120.17 | 3386.531 | 2853.808
21/02/2024 18:00 | 3091.154 | 3355.631 | 2826.677
21/02/2024 18:30 | 3047.494 | 3308.82 | 2786.169
21/02/2024 19:00 | 2980.031 | 3236.142 | 2723.919
21/02/2024 19:30 | 2870.817 | 3118.093 | 2623.542
21/02/2024 20:00 | 2753.336 | 2991.021 | 2515.652
21/02/2024 20:30 | 2629.773 | 2857.294 | 2402.251
21/02/2024 21:00 | 2504.91 | 2722.109 | 2287.711
21/02/2024 21:30 | 2389.038 | 2596.647 | 2181.428
21/02/2024 22:00 | 2289.757 | 2489.178 | 2090.337
21/02/2024 22:30 | 2199.52 | 2391.503 | 2007.537
21/02/2024 23:00 | 2118.561 | 2303.884 | 1933.238
21/02/2024 23:30 | 2044.931 | 2224.205 | 1865.657
22/02/2024 00:00 | 1978.996 | 2152.869 | 1805.123
22/02/2024 00:30 | 1932.112 | 2102.236 | 1761.988
22/02/2024 01:00 | 1898.902 | 2066.466 | 1731.338
22/02/2024 01:30 | 1883.748 | 2050.336 | 1717.161
22/02/2024 02:00 | 1873.125 | 2039.133 | 1707.118
22/02/2024 02:30 | 1864.88 | 2030.514 | 1699.246
22/02/2024 03:00 | 1863.361 | 2029.218 | 1697.505
22/02/2024 03:30 | 1875.725 | 2043.042 | 1708.409
22/02/2024 04:00 | 1911.809 | 2082.711 | 1740.908
22/02/2024 04:30 | 1970.997 | 2147.567 | 1794.427
22/02/2024 05:00 | 2033.917 | 2216.513 | 1851.32
22/02/2024 05:30 | 2088.48 | 2276.376 | 1900.585
22/02/2024 06:00 | 2106.166 | 2296.056 | 1916.276
22/02/2024 06:30 | 2059.447 | 2245.52 | 1873.375
22/02/2024 07:00 | 1975.714 | 2154.6 | 1796.828
22/02/2024 07:30 | 1841.057 | 2008.103 | 1674.01
22/02/2024 08:00 | 1707.725 | 1863.001 | 1552.449
22/02/2024 08:30 | 1610.457 | 1757.198 | 1463.716
22/02/2024 09:00 | 1514.406 | 1652.685 | 1376.127
22/02/2024 09:30 | 1424.644 | 1555 | 1294.287
22/02/2024 10:00 | 1377.536 | 1503.846 | 1251.226
22/02/2024 10:30 | 1359.157 | 1484.042 | 1234.272
22/02/2024 11:00 | 1374.41 | 1500.96 | 1247.86
22/02/2024 11:30 | 1388.69 | 1516.821 | 1260.559
22/02/2024 12:00 | 1419.617 | 1550.873 | 1288.36
22/02/2024 12:30 | 1483.849 | 1621.329 | 1346.369
22/02/2024 13:00 | 1550.332 | 1694.269 | 1406.396
22/02/2024 13:30 | 1642.018 | 1794.782 | 1489.255
22/02/2024 14:00 | 1744.497 | 1907.129 | 1581.865
22/02/2024 14:30 | 1885.48 | 2061.616 | 1709.343
22/02/2024 15:00 | 2056.669 | 2249.192 | 1864.146
22/02/2024 15:30 | 2240.219 | 2450.354 | 2030.085
22/02/2024 16:00 | 2414.977 | 2641.967 | 2187.987
22/02/2024 16:30 | 2575.869 | 2818.476 | 2333.263
22/02/2024 17:00 | 2711.085 | 2966.946 | 2455.224
22/02/2024 17:30 | 2796.025 | 3060.438 | 2531.613
22/02/2024 18:00 | 2820.947 | 3088.257 | 2553.637
22/02/2024 18:30 | 2808.279 | 3074.927 | 2541.631
22/02/2024 19:00 | 2756.797 | 3019.085 | 2494.508
22/02/2024 19:30 | 2677.79 | 2933.075 | 2422.506
22/02/2024 20:00 | 2583.662 | 2830.469 | 2336.856
22/02/2024 20:30 | 2475.23 | 2712.153 | 2238.308
22/02/2024 21:00 | 2365.675 | 2592.565 | 2138.786
22/02/2024 21:30 | 2272.362 | 2490.737 | 2053.986
22/02/2024 22:00 | 2187.452 | 2398.087 | 1976.817
22/02/2024 22:30 | 2111.98 | 2315.753 | 1908.208
22/02/2024 23:00 | 2051.735 | 2250.088 | 1853.382
22/02/2024 23:30 | 2003.764 | 2197.863 | 1809.664
23/02/2024 00:00 | 1965.651 | 2156.436 | 1774.867
23/02/2024 00:30 | 1935.215 | 2123.416 | 1747.014
23/02/2024 01:00 | 1912.115 | 2098.436 | 1725.794
23/02/2024 01:30 | 1896.729 | 2081.914 | 1711.543
23/02/2024 02:00 | 1883.519 | 2067.775 | 1699.262
23/02/2024 02:30 | 1872.583 | 2056.129 | 1689.037
23/02/2024 03:00 | 1871.16 | 2054.925 | 1687.395
23/02/2024 03:30 | 1884.907 | 2070.383 | 1699.431
23/02/2024 04:00 | 1921.115 | 2110.522 | 1731.707
23/02/2024 04:30 | 1977.792 | 2173.167 | 1782.418
23/02/2024 05:00 | 2036.937 | 2238.544 | 1835.329
23/02/2024 05:30 | 2092.075 | 2299.54 | 1884.609
23/02/2024 06:00 | 2114.356 | 2324.436 | 1904.276
23/02/2024 06:30 | 2068.957 | 2274.923 | 1862.991
23/02/2024 07:00 | 1980.782 | 2178.35 | 1783.214
23/02/2024 07:30 | 1854.215 | 2039.609 | 1668.822
23/02/2024 08:00 | 1734.515 | 1908.537 | 1560.492
23/02/2024 08:30 | 1639.431 | 1804.463 | 1474.398
23/02/2024 09:00 | 1557.258 | 1714.541 | 1399.976
23/02/2024 09:30 | 1499.95 | 1651.947 | 1347.952
23/02/2024 10:00 | 1487.821 | 1639.088 | 1336.554
23/02/2024 10:30 | 1496.717 | 1649.39 | 1344.043
23/02/2024 11:00 | 1544.449 | 1702.51 | 1386.389
23/02/2024 11:30 | 1599.831 | 1764.096 | 1435.567
23/02/2024 12:00 | 1682.772 | 1856.117 | 1509.427
23/02/2024 12:30 | 1793.573 | 1978.933 | 1608.213
23/02/2024 13:00 | 1893.569 | 2089.898 | 1697.239
23/02/2024 13:30 | 2029.479 | 2240.58 | 1818.378
23/02/2024 14:00 | 2179.161 | 2406.562 | 1951.76
23/02/2024 14:30 | 2343.479 | 2588.814 | 2098.145
23/02/2024 15:00 | 2541.752 | 2808.696 | 2274.809
23/02/2024 15:30 | 2752.123 | 3042.083 | 2462.163
23/02/2024 16:00 | 2929.237 | 3238.84 | 2619.635
23/02/2024 16:30 | 3057.899 | 3382.126 | 2733.673
23/02/2024 17:00 | 3142.437 | 3476.681 | 2808.194
23/02/2024 17:30 | 3170.657 | 3508.965 | 2832.349
23/02/2024 18:00 | 3153.142 | 3490.638 | 2815.645
23/02/2024 18:30 | 3107.611 | 3441.276 | 2773.946
23/02/2024 19:00 | 3043.544 | 3371.351 | 2715.737
23/02/2024 19:30 | 2952.23 | 3271.192 | 2633.268
23/02/2024 20:00 | 2846.471 | 3154.96 | 2537.981
23/02/2024 20:30 | 2728.81 | 3025.463 | 2432.157
23/02/2024 21:00 | 2616.045 | 2901.316 | 2330.773
23/02/2024 21:30 | 2511.608 | 2786.333 | 2236.883
23/02/2024 22:00 | 2414.998 | 2679.966 | 2150.031
23/02/2024 22:30 | 2324.134 | 2579.912 | 2068.357
23/02/2024 23:00 | 2247.049 | 2495.096 | 1999.002
23/02/2024 23:30 | 2183.206 | 2423.518 | 1942.893
24/02/2024 00:00 | 2131.189 | 2363.831 | 1898.547
24/02/2024 00:30 | 2088.299 | 2317.44 | 1859.159
24/02/2024 01:00 | 2050.386 | 2276.283 | 1824.488
24/02/2024 01:30 | 2021.001 | 2244.566 | 1797.437
24/02/2024 02:00 | 2001.436 | 2223.731 | 1779.14
24/02/2024 02:30 | 1979.821 | 2200.602 | 1759.04
24/02/2024 03:00 | 1964.226 | 2184.147 | 1744.305
24/02/2024 03:30 | 1961.755 | 2182.277 | 1741.233
24/02/2024 04:00 | 1971.572 | 2194.08 | 1749.064
24/02/2024 04:30 | 1978.917 | 2203.14 | 1754.695
24/02/2024 05:00 | 1959.416 | 2182.305 | 1736.526
24/02/2024 05:30 | 1929.037 | 2149.334 | 1708.74
24/02/2024 06:00 | 1907.307 | 2125.976 | 1688.638
24/02/2024 06:30 | 1861.162 | 2075.373 | 1646.951
24/02/2024 07:00 | 1804.366 | 2012.848 | 1595.885
24/02/2024 07:30 | 1732.891 | 1933.89 | 1531.892