## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
18/02/2024 08:00 | 2230.37 | 2258.708 | 2183.968
18/02/2024 08:30 | 2277.131 | 2324.145 | 2230.117 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
18/02/2024 09:00 | 2351.62 | 2409.163 | 2294.078 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
18/02/2024 09:30 | 2435.628 | 2504.538 | 2366.719 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
18/02/2024 10:00 | 2494.47 | 2574.581 | 2414.36 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
18/02/2024 10:30 | 2515.857 | 2603.782 | 2427.932 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
18/02/2024 11:00 | 2559.831 | 2651.526 | 2468.135 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
18/02/2024 11:30 | 2640.228 | 2737.553 | 2542.903 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
18/02/2024 12:00 | 2766.293 | 2871.146 | 2661.44 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
18/02/2024 12:30 | 2980.434 | 3096.508 | 2864.36 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
18/02/2024 13:00 | 3179.692 | 3306.838 | 3052.547 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
18/02/2024 13:30 | 3397.898 | 3537.308 | 3258.488
18/02/2024 14:00 | 3616.001 | 3768.125 | 3416.847 | Summary view - for each schedule horizon (dispatch, week-ahead)
18/02/2024 14:30 | 3763.913 | 3872.601 | 3552.495
18/02/2024 15:00 | 3858.397 | 3973.762 | 3637.695 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
18/02/2024 15:30 | 3956.273 | 4079.144 | 3726.379 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
18/02/2024 16:00 | 4069.626 | 4201.941 | 3830.552 | Scenario | Violations
18/02/2024 16:30 | 4154.852 | 4296.017 | 3908.146 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
18/02/2024 17:00 | 4214.957 | 4364.023 | 3961.733 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
18/02/2024 17:30 | 4239.639 | 4395.288 | 3981.792 | Reference Scenario | 0 | 8 | 11 | 10 | 0 | 0 | 39 | 0 | 0 | 0 | 0 | 1
18/02/2024 18:00 | 4149.337 | 4358.472 | 3940.204 | High Demand Scenario | 0 | 12 | 20 | 20 | 0 | 0 | 47 | 0 | 0 | 0 | 0 | 0
18/02/2024 18:30 | 4104.971 | 4315.007 | 3894.935 | Low Demand Scenario | 0 | 0 | 2 | 1 | 0 | 0 | 31 | 0 | 0 | 0 | 0 | 0
18/02/2024 19:00 | 4041.12 | 4248.762 | 3833.478
18/02/2024 19:30 | 3928.446 | 4131.332 | 3725.559 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
18/02/2024 20:00 | 3774.396 | 3970.321 | 3578.471
18/02/2024 20:30 | 3600.866 | 3788.731 | 3413.001 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
18/02/2024 21:00 | 3424.856 | 3604.439 | 3245.272 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
18/02/2024 21:30 | 3247.833 | 3418.99 | 3076.676 |  |  | 19/02/2024 15:30 | 18/02/2024 17:30 | 18/02/2024 17:30 |  |  | 18/02/2024 16:30 |  |  |  |  | 22/02/2024 09:30 |  | 19/02/2024 14:30 | 18/02/2024 16:00 | 18/02/2024 16:00 |  |  | 18/02/2024 16:00 | [7 empty] | 19/02/2024 17:00 | 19/02/2024 17:30 |  |  | 19/02/2024 17:00
18/02/2024 22:00 | 3080.525 | 3243.676 | 2917.374 |  |  | 19/02/2024 16:00 | 19/02/2024 15:00 | 19/02/2024 15:30 |  |  | 18/02/2024 17:00 | [6 empty] | 19/02/2024 15:00 | 18/02/2024 16:30 | 18/02/2024 16:30 |  |  | 18/02/2024 16:30 | [7 empty] | 19/02/2024 17:30 |  |  |  | 19/02/2024 17:30
18/02/2024 22:30 | 2935.873 | 3092.135 | 2779.61 |  |  | 19/02/2024 16:30 | 19/02/2024 15:30 | 19/02/2024 16:00 |  |  | 18/02/2024 17:30 | [6 empty] | 19/02/2024 15:30 | 18/02/2024 17:00 | 18/02/2024 17:00 |  |  | 18/02/2024 17:00 | [11 empty] | 19/02/2024 18:00
18/02/2024 23:00 | 2816.187 | 2966.821 | 2665.553 |  |  | 19/02/2024 17:00 | 19/02/2024 16:00 | 19/02/2024 16:30 |  |  | 18/02/2024 18:00 | [6 empty] | 19/02/2024 16:00 | 18/02/2024 17:30 | 18/02/2024 17:30 |  |  | 18/02/2024 17:30 | [11 empty] | 21/02/2024 10:00
18/02/2024 23:30 | 2716.176 | 2855.951 | 2576.4 |  |  | 19/02/2024 17:30 | 19/02/2024 16:30 | 19/02/2024 17:00 |  |  | 19/02/2024 15:00 | [6 empty] | 19/02/2024 16:30 | 18/02/2024 18:00 | 18/02/2024 18:00 |  |  | 18/02/2024 18:00 | [11 empty] | 21/02/2024 10:30
19/02/2024 00:00 | 2629.116 | 2753.292 | 2504.941 |  |  | 19/02/2024 18:00 | 19/02/2024 17:00 | 19/02/2024 17:30 |  |  | 19/02/2024 15:30 | [6 empty] | 19/02/2024 17:00 | 18/02/2024 18:30 | 18/02/2024 18:30 |  |  | 18/02/2024 18:30 | [11 empty] | 21/02/2024 11:00
19/02/2024 00:30 | 2560.47 | 2683.427 | 2437.513 |  |  | 19/02/2024 18:30 | 19/02/2024 17:30 | 19/02/2024 18:00 |  |  | 19/02/2024 16:00 | [6 empty] | 19/02/2024 17:30 | 18/02/2024 19:00 | 18/02/2024 19:00 |  |  | 18/02/2024 19:00 | [11 empty] | 21/02/2024 11:30
19/02/2024 01:00 | 2509.404 | 2630.891 | 2387.917 |  |  | 19/02/2024 19:00 | 19/02/2024 18:00 | 19/02/2024 18:30 |  |  | 19/02/2024 16:30 | [6 empty] | 19/02/2024 18:00 | 19/02/2024 14:00 | 19/02/2024 14:00 |  |  | 19/02/2024 14:00 | [11 empty] | 21/02/2024 12:00
19/02/2024 01:30 | 2468.612 | 2589.09 | 2348.134 |  |  |  | 19/02/2024 18:30 | 19/02/2024 19:00 |  |  | 19/02/2024 17:00 | [6 empty] | 19/02/2024 18:30 | 19/02/2024 14:30 | 19/02/2024 14:30 |  |  | 19/02/2024 14:30 | [11 empty] | 21/02/2024 12:30
19/02/2024 02:00 | 2435.659 | 2555.482 | 2315.836 |  |  |  | 19/02/2024 19:00 | 19/02/2024 19:30 |  |  | 19/02/2024 17:30 | [6 empty] | 19/02/2024 19:00 | 19/02/2024 15:00 | 19/02/2024 15:00 |  |  | 19/02/2024 15:00 | [11 empty] | 22/02/2024 09:30
19/02/2024 02:30 | 2404.801 | 2524.048 | 2285.555 |  |  |  | 19/02/2024 19:30 |  |  |  | 19/02/2024 18:00 | [6 empty] | 19/02/2024 19:30 | 19/02/2024 15:30 | 19/02/2024 15:30 |  |  | 19/02/2024 15:30 | [11 empty] | 22/02/2024 10:00
19/02/2024 03:00 | 2379.213 | 2498.122 | 2260.305 | [7 empty] | 19/02/2024 18:30 | [6 empty] | 19/02/2024 20:00 | 19/02/2024 16:00 | 19/02/2024 16:00 |  |  | 19/02/2024 16:00 | [11 empty] | 22/02/2024 10:30
19/02/2024 03:30 | 2371.684 | 2491.145 | 2252.223 | [7 empty] | 19/02/2024 19:00 | [7 empty] | 19/02/2024 16:30 | 19/02/2024 16:30 |  |  | 19/02/2024 16:30 | [11 empty] | 22/02/2024 11:00
19/02/2024 04:00 | 2391.312 | 2512.698 | 2269.927 | [7 empty] | 19/02/2024 19:30 | [7 empty] | 19/02/2024 17:00 | 19/02/2024 17:00 |  |  | 19/02/2024 17:00 | [11 empty] | 22/02/2024 12:00
19/02/2024 04:30 | 2441.739 | 2566.64 | 2316.838 | [7 empty] | 22/02/2024 10:00 | [7 empty] | 19/02/2024 17:30 | 19/02/2024 17:30 |  |  | 19/02/2024 17:30 | [11 empty] | 22/02/2024 13:00
19/02/2024 05:00 | 2498.252 | 2627.021 | 2369.482 | [7 empty] | 22/02/2024 10:30 | [7 empty] | 19/02/2024 18:00 | 19/02/2024 18:00 |  |  | 19/02/2024 18:00 | [11 empty] | 22/02/2024 13:30
19/02/2024 05:30 | 2568.169 | 2701.547 | 2434.791 | [7 empty] | 22/02/2024 11:00 | [7 empty] | 19/02/2024 18:30 | 19/02/2024 18:30 |  |  | 19/02/2024 18:30 | [11 empty] | 22/02/2024 14:00
19/02/2024 06:00 | 2681.118 | 2821.411 | 2540.824 | [7 empty] | 22/02/2024 11:30 | [7 empty] | 19/02/2024 19:00 | 19/02/2024 19:00 |  |  | 19/02/2024 19:00 | [11 empty] | 22/02/2024 14:30
19/02/2024 06:30 | 2799.052 | 2946.387 | 2651.718 | [7 empty] | 22/02/2024 12:00 | [7 empty] | 19/02/2024 19:30 | 19/02/2024 19:30 |  |  | 19/02/2024 19:30 | [11 empty] | 23/02/2024 11:00
19/02/2024 07:00 | 2932.507 | 3087.311 | 2777.704 | [7 empty] | 22/02/2024 12:30 | [7 empty] | 19/02/2024 20:00 | 19/02/2024 20:00 |  |  | 19/02/2024 20:00 | [11 empty] | 23/02/2024 11:30
19/02/2024 07:30 | 3052.803 | 3214.461 | 2891.146 | [7 empty] | 22/02/2024 13:00 | [11 empty] | 22/02/2024 09:00 | [11 empty] | 23/02/2024 12:00
19/02/2024 08:00 | 3155.733 | 3323.362 | 2988.103 | [7 empty] | 22/02/2024 13:30 | [11 empty] | 22/02/2024 09:30 | [11 empty] | 23/02/2024 12:30
19/02/2024 08:30 | 3229.547 | 3401.63 | 3057.463 | [7 empty] | 22/02/2024 14:00 | [11 empty] | 22/02/2024 10:00 | [11 empty] | 23/02/2024 13:00
19/02/2024 09:00 | 3299.097 | 3475.431 | 3122.763 | [7 empty] | 22/02/2024 14:30 | [11 empty] | 22/02/2024 10:30 | [11 empty] | 23/02/2024 13:30
19/02/2024 09:30 | 3363.353 | 3543.677 | 3183.029 | [7 empty] | 23/02/2024 10:00 | [11 empty] | 22/02/2024 11:00 | [11 empty] | 24/02/2024 11:00
19/02/2024 10:00 | 3435.091 | 3619.828 | 3250.354 | [7 empty] | 23/02/2024 10:30 | [11 empty] | 22/02/2024 11:30 | [11 empty] | 24/02/2024 11:30
19/02/2024 10:30 | 3541.075 | 3732.096 | 3350.053 | [7 empty] | 23/02/2024 11:00 | [11 empty] | 22/02/2024 12:00 | [11 empty] | 24/02/2024 12:00
19/02/2024 11:00 | 3663.73 | 3859.774 | 3465.808 | [7 empty] | 23/02/2024 11:30 | [11 empty] | 22/02/2024 12:30 | [11 empty] | 24/02/2024 12:30
19/02/2024 11:30 | 3723.879 | 3923.801 | 3522.134 | [7 empty] | 23/02/2024 12:00 | [11 empty] | 22/02/2024 13:00 | [11 empty] | 24/02/2024 13:00
19/02/2024 12:00 | 3769.068 | 3973.01 | 3565.125 | [7 empty] | 23/02/2024 12:30 | [11 empty] | 22/02/2024 13:30 | [11 empty] | 24/02/2024 13:30
19/02/2024 12:30 | 3879.236 | 4089.781 | 3668.692 | [7 empty] | 23/02/2024 13:00 | [11 empty] | 22/02/2024 14:00 | [11 empty] | 24/02/2024 14:00
19/02/2024 13:00 | 3972.363 | 4188.618 | 3756.108 | [7 empty] | 24/02/2024 10:00 | [11 empty] | 22/02/2024 14:30
19/02/2024 13:30 | 4045.639 | 4266.551 | 3824.727 | [7 empty] | 24/02/2024 10:30 | [11 empty] | 23/02/2024 09:00
19/02/2024 14:00 | 4143.462 | 4370.399 | 3916.524 | [7 empty] | 24/02/2024 11:00 | [11 empty] | 23/02/2024 09:30
19/02/2024 14:30 | 4240.5 | 4473.453 | 4007.548 | [7 empty] | 24/02/2024 11:30 | [11 empty] | 23/02/2024 10:00
19/02/2024 15:00 | 4347.084 | 4586.61 | 4107.559 | [7 empty] | 24/02/2024 12:00 | [11 empty] | 23/02/2024 10:30
19/02/2024 15:30 | 4460.992 | 4707.531 | 4214.454 | [7 empty] | 24/02/2024 12:30 | [11 empty] | 23/02/2024 11:00
19/02/2024 16:00 | 4536.244 | 4787.69 | 4284.798 | [7 empty] | 24/02/2024 13:00 | [11 empty] | 23/02/2024 11:30
19/02/2024 16:30 | 4545.819 | 4798.547 | 4293.092 | [7 empty] | 24/02/2024 13:30 | [11 empty] | 23/02/2024 12:00
19/02/2024 17:00 | 4549.637 | 4803.327 | 4295.946 | [19 empty] | 24/02/2024 09:00
19/02/2024 17:30 | 4511.607 | 4763.922 | 4259.292 | [19 empty] | 24/02/2024 09:30
19/02/2024 18:00 | 4429.732 | 4678.2 | 4181.265 | [19 empty] | 24/02/2024 10:00
19/02/2024 18:30 | 4340.784 | 4584.979 | 4096.589 | [19 empty] | 24/02/2024 10:30
19/02/2024 19:00 | 4244.486 | 4483.965 | 4005.008 | [19 empty] | 24/02/2024 11:00
19/02/2024 19:30 | 4128.635 | 4362.259 | 3895.011 | [19 empty] | 24/02/2024 11:30
19/02/2024 20:00 | 4008.23 | 4235.702 | 3780.758 | [19 empty] | 24/02/2024 12:00
19/02/2024 20:30 | 3855.498 | 4074.939 | 3636.057 | [19 empty] | 24/02/2024 12:30
19/02/2024 21:00 | 3661.677 | 3870.691 | 3452.663
19/02/2024 21:30 | 3460.834 | 3658.955 | 3262.713
19/02/2024 22:00 | 3269.464 | 3457.169 | 3081.758
19/02/2024 22:30 | 3113.155 | 3292.4 | 2933.909
19/02/2024 23:00 | 2986.313 | 3158.748 | 2813.877
19/02/2024 23:30 | 2875.797 | 3042.326 | 2709.268
20/02/2024 00:00 | 2776.649 | 2937.895 | 2615.403
20/02/2024 00:30 | 2697.987 | 2855.111 | 2540.864
20/02/2024 01:00 | 2640.496 | 2794.707 | 2486.285
20/02/2024 01:30 | 2587.346 | 2738.881 | 2435.812
20/02/2024 02:00 | 2543.487 | 2692.872 | 2394.101
20/02/2024 02:30 | 2505.564 | 2653.136 | 2357.992
20/02/2024 03:00 | 2472.222 | 2618.239 | 2326.206
20/02/2024 03:30 | 2459.145 | 2604.794 | 2313.495
20/02/2024 04:00 | 2472.132 | 2618.959 | 2325.304
20/02/2024 04:30 | 2510.055 | 2659.549 | 2360.561
20/02/2024 05:00 | 2558.747 | 2711.563 | 2405.93
20/02/2024 05:30 | 2622.524 | 2779.583 | 2465.466
20/02/2024 06:00 | 2715.128 | 2878.18 | 2552.075
20/02/2024 06:30 | 2796.801 | 2965.22 | 2628.381
20/02/2024 07:00 | 2843.011 | 3014.682 | 2671.339
20/02/2024 07:30 | 2827.913 | 2999.193 | 2656.632
20/02/2024 08:00 | 2819.978 | 2991.403 | 2648.553
20/02/2024 08:30 | 2861.192 | 3035.748 | 2686.637
20/02/2024 09:00 | 2917.243 | 3095.855 | 2738.63
20/02/2024 09:30 | 2952.738 | 3134.169 | 2771.308
20/02/2024 10:00 | 2994.998 | 3179.68 | 2810.316
20/02/2024 10:30 | 3059.23 | 3248.541 | 2869.919
20/02/2024 11:00 | 3106.833 | 3299.768 | 2913.897
20/02/2024 11:30 | 3082.653 | 3274.76 | 2890.545
20/02/2024 12:00 | 3096.988 | 3290.665 | 2903.31
20/02/2024 12:30 | 3176.493 | 3375.836 | 2977.149
20/02/2024 13:00 | 3292.999 | 3500.374 | 3085.625
20/02/2024 13:30 | 3497.667 | 3718.694 | 3276.64
20/02/2024 14:00 | 3640.794 | 3871.661 | 3409.927
20/02/2024 14:30 | 3731.7 | 3969.148 | 3494.253
20/02/2024 15:00 | 3827.064 | 4071.415 | 3582.712
20/02/2024 15:30 | 3829.957 | 4075.33 | 3584.584
20/02/2024 16:00 | 3847.599 | 4094.942 | 3600.255
20/02/2024 16:30 | 3905.847 | 4157.789 | 3653.906
20/02/2024 17:00 | 3922.331 | 4176.192 | 3668.469
20/02/2024 17:30 | 3878.006 | 4129.846 | 3626.166
20/02/2024 18:00 | 3785.149 | 4031.786 | 3538.512
20/02/2024 18:30 | 3720.305 | 3963.529 | 3477.08
20/02/2024 19:00 | 3670.883 | 3911.678 | 3430.087
20/02/2024 19:30 | 3562.223 | 3796.669 | 3327.777
20/02/2024 20:00 | 3436.729 | 3663.667 | 3209.792
20/02/2024 20:30 | 3279.575 | 3496.852 | 3062.298
20/02/2024 21:00 | 3101.558 | 3307.719 | 2895.397
20/02/2024 21:30 | 2934.62 | 3130.325 | 2738.914
20/02/2024 22:00 | 2778.894 | 2964.821 | 2592.966
20/02/2024 22:30 | 2650.514 | 2828.431 | 2472.597
20/02/2024 23:00 | 2545.926 | 2717.378 | 2374.473
20/02/2024 23:30 | 2449.561 | 2615.059 | 2284.062
21/02/2024 00:00 | 2360.555 | 2520.555 | 2200.554
21/02/2024 00:30 | 2290.906 | 2446.686 | 2135.125
21/02/2024 01:00 | 2236.844 | 2389.437 | 2084.251
21/02/2024 01:30 | 2204.526 | 2355.396 | 2053.656
21/02/2024 02:00 | 2179.826 | 2329.482 | 2030.17
21/02/2024 02:30 | 2155.362 | 2303.809 | 2006.915
21/02/2024 03:00 | 2139.573 | 2287.399 | 1991.745
21/02/2024 03:30 | 2142.235 | 2290.714 | 1993.756
21/02/2024 04:00 | 2166.896 | 2317.558 | 2016.235
21/02/2024 04:30 | 2210.033 | 2364.177 | 2055.889
21/02/2024 05:00 | 2260.787 | 2418.965 | 2102.609
21/02/2024 05:30 | 2314.418 | 2476.854 | 2151.983
21/02/2024 06:00 | 2363.19 | 2529.565 | 2196.815
21/02/2024 06:30 | 2376.486 | 2544.317 | 2208.656
21/02/2024 07:00 | 2356.363 | 2523.287 | 2189.438
21/02/2024 07:30 | 2320.903 | 2485.823 | 2155.984
21/02/2024 08:00 | 2282.422 | 2445.105 | 2119.738
21/02/2024 08:30 | 2246.508 | 2407.123 | 2085.894
21/02/2024 09:00 | 2211.828 | 2370.447 | 2053.21
21/02/2024 09:30 | 2165.626 | 2321.405 | 2009.848
21/02/2024 10:00 | 2150.714 | 2305.889 | 1995.538
21/02/2024 10:30 | 2157.15 | 2313.261 | 2001.039
21/02/2024 11:00 | 2151.242 | 2307.395 | 1995.088
21/02/2024 11:30 | 2138.233 | 2293.909 | 1982.557
21/02/2024 12:00 | 2153.458 | 2310.714 | 1996.203
21/02/2024 12:30 | 2228.733 | 2391.973 | 2065.494
21/02/2024 13:00 | 2367.378 | 2541.29 | 2193.467
21/02/2024 13:30 | 2535.693 | 2722.522 | 2348.863
21/02/2024 14:00 | 2611.544 | 2804.533 | 2418.555
21/02/2024 14:30 | 2618.12 | 2812.167 | 2424.073
21/02/2024 15:00 | 2690.046 | 2890.012 | 2490.08
21/02/2024 15:30 | 2757.9 | 2963.512 | 2552.288
21/02/2024 16:00 | 2861.62 | 3075.59 | 2647.65
21/02/2024 16:30 | 2982.902 | 3206.592 | 2759.211
21/02/2024 17:00 | 3049.64 | 3279.001 | 2820.278
21/02/2024 17:30 | 3053.686 | 3284.019 | 2823.353
21/02/2024 18:00 | 3016.625 | 3244.822 | 2788.429
21/02/2024 18:30 | 2981.362 | 3207.542 | 2755.181
21/02/2024 19:00 | 2930.054 | 3152.982 | 2707.125
21/02/2024 19:30 | 2824.888 | 3040.432 | 2609.344
21/02/2024 20:00 | 2711.692 | 2919.191 | 2504.192
21/02/2024 20:30 | 2590.87 | 2789.69 | 2392.05
21/02/2024 21:00 | 2468.823 | 2658.816 | 2278.829
21/02/2024 21:30 | 2356.481 | 2538.344 | 2174.618
21/02/2024 22:00 | 2261.017 | 2436.007 | 2086.028
21/02/2024 22:30 | 2174.195 | 2342.941 | 2005.45
21/02/2024 23:00 | 2095.227 | 2258.301 | 1932.153
21/02/2024 23:30 | 2023.209 | 2181.12 | 1865.298
22/02/2024 00:00 | 1958.789 | 2112.1 | 1805.478
22/02/2024 00:30 | 1912.699 | 2062.821 | 1762.578
22/02/2024 01:00 | 1879.933 | 2027.893 | 1731.973
22/02/2024 01:30 | 1865.75 | 2013.002 | 1718.498
22/02/2024 02:00 | 1855.021 | 2001.831 | 1708.21
22/02/2024 02:30 | 1846.718 | 1993.274 | 1700.161
22/02/2024 03:00 | 1846.268 | 1993.192 | 1699.344
22/02/2024 03:30 | 1859.216 | 2007.578 | 1710.855
22/02/2024 04:00 | 1894.547 | 2046.141 | 1742.953
22/02/2024 04:30 | 1953.868 | 2110.635 | 1797.1
22/02/2024 05:00 | 2016.17 | 2178.377 | 1853.963
22/02/2024 05:30 | 2066.738 | 2233.465 | 1900.011
22/02/2024 06:00 | 2079.491 | 2247.701 | 1911.281
22/02/2024 06:30 | 2025.616 | 2189.911 | 1861.322
22/02/2024 07:00 | 1931.844 | 2088.955 | 1774.733
22/02/2024 07:30 | 1791.813 | 1937.91 | 1645.716
22/02/2024 08:00 | 1645.086 | 1779.532 | 1510.64
22/02/2024 08:30 | 1526.839 | 1651.914 | 1401.764
22/02/2024 09:00 | 1426.611 | 1543.749 | 1309.473
22/02/2024 09:30 | 1349.295 | 1460.343 | 1238.246
22/02/2024 10:00 | 1317.132 | 1425.785 | 1208.478
22/02/2024 10:30 | 1307.422 | 1415.525 | 1199.319
22/02/2024 11:00 | 1331.005 | 1441.313 | 1220.697
22/02/2024 11:30 | 1362.975 | 1476.194 | 1249.756
22/02/2024 12:00 | 1412.649 | 1530.265 | 1295.033
22/02/2024 12:30 | 1485.124 | 1609.059 | 1361.189
22/02/2024 13:00 | 1568.381 | 1699.565 | 1437.198
22/02/2024 13:30 | 1683.432 | 1824.561 | 1542.302
22/02/2024 14:00 | 1809.117 | 1961.13 | 1657.105
22/02/2024 14:30 | 1969.5 | 2135.369 | 1803.635
22/02/2024 15:00 | 2157.313 | 2339.41 | 1975.216
22/02/2024 15:30 | 2348.811 | 2547.519 | 2150.096
22/02/2024 16:00 | 2528.894 | 2743.32 | 2314.458
22/02/2024 16:30 | 2694.932 | 2923.952 | 2465.899
22/02/2024 17:00 | 2827.425 | 3068.245 | 2586.589
22/02/2024 17:30 | 2907.203 | 3155.375 | 2659.014
22/02/2024 18:00 | 2923.933 | 3174.094 | 2673.756
22/02/2024 18:30 | 2906.438 | 3155.667 | 2657.201
22/02/2024 19:00 | 2852.55 | 3097.705 | 2607.386
22/02/2024 19:30 | 2768.159 | 3006.592 | 2529.719
22/02/2024 20:00 | 2668.308 | 2898.652 | 2437.958
22/02/2024 20:30 | 2552.089 | 2772.889 | 2331.284
22/02/2024 21:00 | 2437.079 | 2648.396 | 2225.758
22/02/2024 21:30 | 2338.592 | 2541.818 | 2135.363
22/02/2024 22:00 | 2247.462 | 2443.199 | 2051.722
22/02/2024 22:30 | 2166.01 | 2355.068 | 1976.949
22/02/2024 23:00 | 2101.489 | 2285.318 | 1917.658
22/02/2024 23:30 | 2050.185 | 2229.919 | 1870.449
23/02/2024 00:00 | 2009.05 | 2185.563 | 1832.536
23/02/2024 00:30 | 1976.273 | 2150.286 | 1802.261
23/02/2024 01:00 | 1951.603 | 2123.818 | 1779.389
23/02/2024 01:30 | 1933.281 | 2104.25 | 1762.313
23/02/2024 02:00 | 1917.179 | 2087.09 | 1747.267
23/02/2024 02:30 | 1903.821 | 2072.914 | 1734.729
23/02/2024 03:00 | 1900.784 | 2069.971 | 1731.596
23/02/2024 03:30 | 1914.021 | 2084.754 | 1743.289
23/02/2024 04:00 | 1949.73 | 2124.021 | 1775.439
23/02/2024 04:30 | 2005.716 | 2185.396 | 1826.036
23/02/2024 05:00 | 2063.863 | 2249.148 | 1878.578
23/02/2024 05:30 | 2120.177 | 2310.924 | 1929.43
23/02/2024 06:00 | 2143.617 | 2336.884 | 1950.35
23/02/2024 06:30 | 2097.93 | 2287.48 | 1908.38
23/02/2024 07:00 | 2012.091 | 2194.271 | 1829.911
23/02/2024 07:30 | 1890.594 | 2062.135 | 1719.052
23/02/2024 08:00 | 1781.429 | 1943.407 | 1619.451
23/02/2024 08:30 | 1698.2 | 1852.936 | 1543.464
23/02/2024 09:00 | 1625.814 | 1774.266 | 1477.363
23/02/2024 09:30 | 1579.215 | 1723.715 | 1434.716
23/02/2024 10:00 | 1578.15 | 1722.854 | 1433.445
23/02/2024 10:30 | 1593.904 | 1740.359 | 1447.45
23/02/2024 11:00 | 1647.838 | 1799.564 | 1496.112
23/02/2024 11:30 | 1711.991 | 1869.952 | 1554.03
23/02/2024 12:00 | 1806.864 | 1973.925 | 1639.803
23/02/2024 12:30 | 1927.361 | 2105.932 | 1748.789
23/02/2024 13:00 | 2030.653 | 2219.184 | 1842.122
23/02/2024 13:30 | 2174.639 | 2376.954 | 1972.323
23/02/2024 14:00 | 2335.215 | 2552.917 | 2117.512
23/02/2024 14:30 | 2501.511 | 2735.196 | 2267.827
23/02/2024 15:00 | 2704.792 | 2957.985 | 2451.599
23/02/2024 15:30 | 2921.235 | 3195.249 | 2647.221
23/02/2024 16:00 | 3098.572 | 3389.814 | 2807.33
23/02/2024 16:30 | 3221.705 | 3525.139 | 2918.272
23/02/2024 17:00 | 3300.833 | 3612.352 | 2989.314
23/02/2024 17:30 | 3322.102 | 3636.265 | 3007.94
23/02/2024 18:00 | 3295.933 | 3608.252 | 2983.613
23/02/2024 18:30 | 3241.561 | 3549.35 | 2933.772
23/02/2024 19:00 | 3171.706 | 3473.469 | 2869.942
23/02/2024 19:30 | 3073.27 | 3366.257 | 2780.282
23/02/2024 20:00 | 2960.103 | 3242.868 | 2677.337
23/02/2024 20:30 | 2832.67 | 3103.806 | 2561.534
23/02/2024 21:00 | 2709.493 | 2969.359 | 2449.628
23/02/2024 21:30 | 2594.824 | 2844.188 | 2345.459
23/02/2024 22:00 | 2489.859 | 2729.614 | 2250.105
23/02/2024 22:30 | 2388.945 | 2619.44 | 2158.449
23/02/2024 23:00 | 2299.661 | 2521.983 | 2077.34
23/02/2024 23:30 | 2221.567 | 2434.062 | 2009.073
24/02/2024 00:00 | 2155.823 | 2357.14 | 1954.507
24/02/2024 00:30 | 2104.868 | 2301.954 | 1907.783
24/02/2024 01:00 | 2062.479 | 2255.7 | 1869.257
24/02/2024 01:30 | 2033.94 | 2224.591 | 1843.289
24/02/2024 02:00 | 2014.005 | 2202.89 | 1825.119
24/02/2024 02:30 | 1992.092 | 2179.024 | 1805.161
24/02/2024 03:00 | 1976.939 | 2162.55 | 1791.328
24/02/2024 03:30 | 1973.485 | 2158.872 | 1788.098
24/02/2024 04:00 | 1981.457 | 2167.694 | 1795.22
24/02/2024 04:30 | 1988.067 | 2175.026 | 1801.107
24/02/2024 05:00 | 1974.715 | 2160.52 | 1788.911
24/02/2024 05:30 | 1950.11 | 2133.699 | 1766.521
24/02/2024 06:00 | 1928.118 | 2109.735 | 1746.501
24/02/2024 06:30 | 1871.717 | 2048.117 | 1695.318
24/02/2024 07:00 | 1806.278 | 1976.603 | 1635.954
24/02/2024 07:30 | 1766.321 | 1933.217 | 1599.425
24/02/2024 08:00 | 1721.356 | 1884.815 | 1557.897
24/02/2024 08:30 | 1659.866 | 1818.229 | 1501.503
24/02/2024 09:00 | 1609.91 | 1764.227 | 1455.593
24/02/2024 09:30 | 1562.458 | 1712.926 | 1411.991
24/02/2024 10:00 | 1539.976 | 1688.968 | 1390.984
24/02/2024 10:30 | 1571.06 | 1723.761 | 1418.358
24/02/2024 11:00 | 1635.767 | 1795.49 | 1476.043
24/02/2024 11:30 | 1706.741 | 1874.159 | 1539.324
24/02/2024 12:00 | 1771.958 | 1946.566 | 1597.351
24/02/2024 12:30 | 1867.057 | 2051.871 | 1682.243
24/02/2024 13:00 | 1992.175 | 2190.265 | 1794.085
24/02/2024 13:30 | 2114.631 | 2325.844 | 1903.418
24/02/2024 14:00 | 2266.96 | 2494.402 | 2039.518
24/02/2024 14:30 | 2440.09 | 2685.993 | 2194.186
24/02/2024 15:00 | 2607.226 | 2871.14 | 2343.312
24/02/2024 15:30 | 2791.253 | 3075.044 | 2507.462
24/02/2024 16:00 | 2964.682 | 3267.432 | 2661.932
24/02/2024 16:30 | 3098.253 | 3416.03 | 2780.477
24/02/2024 17:00 | 3154.537 | 3479.498 | 2829.576
24/02/2024 17:30 | 3184.021 | 3513.444 | 2854.598
24/02/2024 18:00 | 3160.42 | 3488.816 | 2832.025
24/02/2024 18:30 | 3111.529 | 3436.236 | 2786.821
24/02/2024 19:00 | 3046.775 | 3366.088 | 2727.462
24/02/2024 19:30 | 2946.44 | 3256.557 | 2636.324
24/02/2024 20:00 | 2839.508 | 3139.64 | 2539.376
24/02/2024 20:30 | 2739.06 | 3029.801 | 2448.32
24/02/2024 21:00 | 2642.038 | 2923.662 | 2360.414
24/02/2024 21:30 | 2540.546 | 2812.489 | 2268.604
24/02/2024 22:00 | 2446.694 | 2709.686 | 2183.703
24/02/2024 22:30 | 2358.043 | 2612.56 | 2103.525
24/02/2024 23:00 | 2274.487 | 2521.004 | 2027.97
24/02/2024 23:30 | 2210.715 | 2451.31 | 1970.121
25/02/2024 00:00 | 2157.325 | 2393.074 | 1921.576
25/02/2024 00:30 | 2107.47 | 2338.714 | 1876.226
25/02/2024 01:00 | 2065.9 | 2293.507 | 1838.293
25/02/2024 01:30 | 2036.709 | 2262.011 | 1811.407
25/02/2024 02:00 | 2014.646 | 2238.409 | 1790.883
25/02/2024 02:30 | 1991.173 | 2213.219 | 1769.126
25/02/2024 03:00 | 1975.924 | 2197.155 | 1754.693
25/02/2024 03:30 | 1967.614 | 2188.794 | 1746.433
25/02/2024 04:00 | 1967.019 | 2189.012 | 1745.025
25/02/2024 04:30 | 1963.092 | 2185.521 | 1740.663
25/02/2024 05:00 | 1932.467 | 2152.291 | 1712.643
25/02/2024 05:30 | 1881.972 | 2096.895 | 1667.05
25/02/2024 06:00 | 1827.503 | 2037.023 | 1617.984
25/02/2024 06:30 | 1775.986 | 1980.394 | 1571.578
25/02/2024 07:00 | 1770.833 | 1975.44 | 1566.225
25/02/2024 07:30 | 1807.284 | 2016.912 | 1597.657