## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
23/02/2024 08:00 | 1941.46 | 1970.672 | 1915.769
23/02/2024 08:30 | 1879.711 | 1911.854 | 1847.569 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
23/02/2024 09:00 | 1829.707 | 1866.434 | 1792.981 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
23/02/2024 09:30 | 1809.042 | 1850.731 | 1767.353 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
23/02/2024 10:00 | 1838.139 | 1885.964 | 1790.315 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
23/02/2024 10:30 | 1878.432 | 1931.545 | 1825.319 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
23/02/2024 11:00 | 1940.395 | 1996.892 | 1883.898 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
23/02/2024 11:30 | 2017.682 | 2078.373 | 1956.992 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
23/02/2024 12:00 | 2114.398 | 2180.034 | 2048.762 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
23/02/2024 12:30 | 2219.563 | 2290.601 | 2132.723 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
23/02/2024 13:00 | 2327.579 | 2389.9 | 2237.346 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
23/02/2024 13:30 | 2466.968 | 2540.168 | 2373.441
23/02/2024 14:00 | 2631.514 | 2712.733 | 2529.796 | Summary view - for each schedule horizon (dispatch, week-ahead)
23/02/2024 14:30 | 2807.79 | 2899.259 | 2698.534
23/02/2024 15:00 | 2995.038 | 3098.523 | 2878.445 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
23/02/2024 15:30 | 3196.347 | 3308.396 | 3067.489 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
23/02/2024 16:00 | 3357.136 | 3478.699 | 3219.175 | Scenario | Violations
23/02/2024 16:30 | 3469.876 | 3601.257 | 3326.167 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
23/02/2024 17:00 | 3559.252 | 3696.81 | 3407.84 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
23/02/2024 17:30 | 3601.96 | 3745.435 | 3446.008 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0
23/02/2024 18:00 | 3585.764 | 3733.659 | 3428.552 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0
23/02/2024 18:30 | 3538.385 | 3691.806 | 3384.963 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0
23/02/2024 19:00 | 3486.77 | 3639.198 | 3334.343
23/02/2024 19:30 | 3413.887 | 3564.464 | 3263.31 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
23/02/2024 20:00 | 3309.075 | 3456.325 | 3161.826
23/02/2024 20:30 | 3166.906 | 3309.068 | 3024.743 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
23/02/2024 21:00 | 3019.756 | 3156.495 | 2883.017 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
23/02/2024 21:30 | 2877.851 | 3009.29 | 2746.411 | [7 empty] | 23/02/2024 09:00 | [11 empty] | 23/02/2024 09:00 | [11 empty] | 23/02/2024 09:00
23/02/2024 22:00 | 2749.653 | 2876.313 | 2622.992 | [7 empty] | 23/02/2024 09:30 | [11 empty] | 23/02/2024 09:30 | [11 empty] | 23/02/2024 09:30
23/02/2024 22:30 | 2629.819 | 2751.989 | 2507.649 | [7 empty] | 23/02/2024 10:00 | [11 empty] | 23/02/2024 10:00 | [11 empty] | 23/02/2024 10:00
23/02/2024 23:00 | 2526.146 | 2644.489 | 2407.804 | [7 empty] | 23/02/2024 10:30 | [11 empty] | 23/02/2024 10:30 | [11 empty] | 23/02/2024 10:30
23/02/2024 23:30 | 2440.391 | 2561.263 | 2319.518 | [7 empty] | 23/02/2024 11:00 | [11 empty] | 23/02/2024 11:00 | [11 empty] | 23/02/2024 11:00
24/02/2024 00:00 | 2370.505 | 2499.494 | 2241.516 | [7 empty] | 23/02/2024 11:30 | [11 empty] | 27/02/2024 11:30 | [11 empty] | 23/02/2024 11:30
24/02/2024 00:30 | 2318.426 | 2444.267 | 2192.585 | [7 empty] | 29/02/2024 11:30 | [11 empty] | 27/02/2024 12:00 | [11 empty] | 29/02/2024 12:30
24/02/2024 01:00 | 2280.831 | 2405.231 | 2156.43 | [7 empty] | 29/02/2024 12:00 | [11 empty] | 27/02/2024 13:30
24/02/2024 01:30 | 2251.887 | 2375.302 | 2128.473 | [7 empty] | 29/02/2024 12:30 | [11 empty] | 27/02/2024 14:00
24/02/2024 02:00 | 2229.713 | 2352.5 | 2106.927 | [7 empty] | 29/02/2024 13:00 | [11 empty] | 28/02/2024 12:30
24/02/2024 02:30 | 2206.615 | 2328.71 | 2084.519 | [19 empty] | 28/02/2024 13:00
24/02/2024 03:00 | 2190.873 | 2312.674 | 2069.071 | [19 empty] | 29/02/2024 11:30
24/02/2024 03:30 | 2181.671 | 2303.535 | 2059.807 | [19 empty] | 29/02/2024 12:00
24/02/2024 04:00 | 2181.487 | 2303.915 | 2059.059 | [19 empty] | 29/02/2024 12:30
24/02/2024 04:30 | 2185.197 | 2308.409 | 2061.985
24/02/2024 05:00 | 2193.134 | 2317.37 | 2068.897
24/02/2024 05:30 | 2187.313 | 2311.796 | 2062.83
24/02/2024 06:00 | 2178.75 | 2303.319 | 2054.181
24/02/2024 06:30 | 2195.672 | 2321.73 | 2069.614
24/02/2024 07:00 | 2263.334 | 2393.7 | 2132.969
24/02/2024 07:30 | 2377.924 | 2515.344 | 2240.504
24/02/2024 08:00 | 2475.495 | 2619.027 | 2331.964
24/02/2024 08:30 | 2531.195 | 2678.44 | 2383.95
24/02/2024 09:00 | 2540.679 | 2688.962 | 2392.397
24/02/2024 09:30 | 2538.942 | 2687.682 | 2390.276
24/02/2024 10:00 | 2571.725 | 2722.884 | 2420.648
24/02/2024 10:30 | 2647.246 | 2803.36 | 2491.227
24/02/2024 11:00 | 2713.465 | 2874.005 | 2553.025
24/02/2024 11:30 | 2749.915 | 2913.144 | 2586.89
24/02/2024 12:00 | 2797.407 | 2964 | 2631.041
24/02/2024 12:30 | 2835.32 | 3004.711 | 2666.157
24/02/2024 13:00 | 2911.338 | 3085.833 | 2737.089
24/02/2024 13:30 | 3029.385 | 3211.538 | 2847.494
24/02/2024 14:00 | 3169.67 | 3360.87 | 2978.756
24/02/2024 14:30 | 3243.25 | 3439.511 | 3047.287
24/02/2024 15:00 | 3291.662 | 3491.485 | 3092.148
24/02/2024 15:30 | 3327.134 | 3529.746 | 3124.834
24/02/2024 16:00 | 3371.124 | 3577.056 | 3165.502
24/02/2024 16:30 | 3368.965 | 3575.406 | 3162.829
24/02/2024 17:00 | 3314.47 | 3518.046 | 3110.895
24/02/2024 17:30 | 3255.901 | 3456.501 | 3055.301
24/02/2024 18:00 | 3195.286 | 3392.762 | 2997.81
24/02/2024 18:30 | 3152.967 | 3348.43 | 2957.503
24/02/2024 19:00 | 3101.18 | 3294.026 | 2908.335
24/02/2024 19:30 | 3021.603 | 3210.077 | 2833.129
24/02/2024 20:00 | 2935.8 | 3119.483 | 2752.117
24/02/2024 20:30 | 2833.378 | 3010.112 | 2655.562
24/02/2024 21:00 | 2735.242 | 2906.376 | 2563.062
24/02/2024 21:30 | 2641.952 | 2807.755 | 2475.139
24/02/2024 22:00 | 2548.483 | 2708.907 | 2387.085
24/02/2024 22:30 | 2448.021 | 2602.589 | 2292.518
24/02/2024 23:00 | 2360.734 | 2510.241 | 2211.226
24/02/2024 23:30 | 2279.293 | 2424.078 | 2134.508
25/02/2024 00:00 | 2204.482 | 2344.936 | 2064.028
25/02/2024 00:30 | 2145.34 | 2282.436 | 2008.244
25/02/2024 01:00 | 2098.897 | 2233.427 | 1964.368
25/02/2024 01:30 | 2066.899 | 2199.773 | 1934.026
25/02/2024 02:00 | 2041.36 | 2172.981 | 1909.738
25/02/2024 02:30 | 2015.708 | 2146.06 | 1885.355
25/02/2024 03:00 | 1998.155 | 2127.754 | 1868.556
25/02/2024 03:30 | 1988.758 | 2118.127 | 1859.388
25/02/2024 04:00 | 1987.598 | 2117.272 | 1857.924
25/02/2024 04:30 | 1984.339 | 2114.18 | 1854.499
25/02/2024 05:00 | 1977.331 | 2107.091 | 1847.571
25/02/2024 05:30 | 1957.4 | 2086.226 | 1828.574
25/02/2024 06:00 | 1912.438 | 2038.671 | 1786.206
25/02/2024 06:30 | 1856.917 | 1979.84 | 1733.995
25/02/2024 07:00 | 1803.807 | 1923.558 | 1684.056
25/02/2024 07:30 | 1785.012 | 1903.887 | 1666.137
25/02/2024 08:00 | 1783.92 | 1903.154 | 1664.687
25/02/2024 08:30 | 1784.44 | 1904.134 | 1664.745
25/02/2024 09:00 | 1784.378 | 1904.495 | 1664.262
25/02/2024 09:30 | 1767.507 | 1886.91 | 1648.104
25/02/2024 10:00 | 1800.949 | 1923.042 | 1678.857
25/02/2024 10:30 | 1900.657 | 2029.963 | 1771.351
25/02/2024 11:00 | 1982.494 | 2117.841 | 1847.147
25/02/2024 11:30 | 2042.625 | 2182.566 | 1902.685
25/02/2024 12:00 | 2078.547 | 2221.444 | 1935.649
25/02/2024 12:30 | 2031.829 | 2172 | 1891.657
25/02/2024 13:00 | 1999.258 | 2137.66 | 1860.856
25/02/2024 13:30 | 2023.922 | 2164.515 | 1883.329
25/02/2024 14:00 | 2138.569 | 2287.636 | 1989.501
25/02/2024 14:30 | 2358.105 | 2523.038 | 2193.172
25/02/2024 15:00 | 2542.323 | 2720.749 | 2363.898
25/02/2024 15:30 | 2715.087 | 2906.287 | 2523.888
25/02/2024 16:00 | 2874.121 | 3077.206 | 2671.036
25/02/2024 16:30 | 2963.115 | 3173.196 | 2753.034
25/02/2024 17:00 | 3019.94 | 3234.771 | 2805.109
25/02/2024 17:30 | 3061.201 | 3279.699 | 2842.704
25/02/2024 18:00 | 3047.658 | 3265.917 | 2829.399
25/02/2024 18:30 | 3001.219 | 3216.869 | 2785.568
25/02/2024 19:00 | 2923.482 | 3134.244 | 2712.719
25/02/2024 19:30 | 2832.316 | 3037.182 | 2627.449
25/02/2024 20:00 | 2734.34 | 2932.773 | 2535.906
25/02/2024 20:30 | 2622.339 | 2813.27 | 2431.407
25/02/2024 21:00 | 2512.64 | 2696.185 | 2329.095
25/02/2024 21:30 | 2408.929 | 2585.473 | 2232.385
25/02/2024 22:00 | 2315.048 | 2485.265 | 2144.831
25/02/2024 22:30 | 2233.142 | 2397.87 | 2068.414
25/02/2024 23:00 | 2166.613 | 2326.951 | 2006.274
25/02/2024 23:30 | 2108.671 | 2260.202 | 1957.139
26/02/2024 00:00 | 2059.537 | 2198.299 | 1920.774
26/02/2024 00:30 | 2023.921 | 2161.546 | 1886.295
26/02/2024 01:00 | 1996.583 | 2132.786 | 1860.38
26/02/2024 01:30 | 1982.054 | 2117.698 | 1846.409
26/02/2024 02:00 | 1972.598 | 2108.026 | 1837.169
26/02/2024 02:30 | 1961.896 | 2097.019 | 1826.774
26/02/2024 03:00 | 1958.596 | 2093.919 | 1823.273
26/02/2024 03:30 | 1970.307 | 2106.869 | 1833.744
26/02/2024 04:00 | 2006.457 | 2145.964 | 1866.951
26/02/2024 04:30 | 2067.557 | 2211.764 | 1923.351
26/02/2024 05:00 | 2132.13 | 2281.307 | 1982.954
26/02/2024 05:30 | 2192.598 | 2346.483 | 2038.712
26/02/2024 06:00 | 2254.118 | 2412.814 | 2095.422
26/02/2024 06:30 | 2302.275 | 2464.865 | 2139.686
26/02/2024 07:00 | 2333.961 | 2499.298 | 2168.624
26/02/2024 07:30 | 2306.058 | 2469.922 | 2142.194
26/02/2024 08:00 | 2254.562 | 2415.259 | 2093.864
26/02/2024 08:30 | 2189.491 | 2346.029 | 2032.953
26/02/2024 09:00 | 2118.209 | 2270.114 | 1966.305
26/02/2024 09:30 | 2029.765 | 2175.771 | 1883.76
26/02/2024 10:00 | 1978.767 | 2121.536 | 1835.997
26/02/2024 10:30 | 1974.13 | 2116.996 | 1831.264
26/02/2024 11:00 | 2008.721 | 2154.529 | 1862.913
26/02/2024 11:30 | 2065.176 | 2215.534 | 1914.819
26/02/2024 12:00 | 2127.012 | 2282.336 | 1971.688
26/02/2024 12:30 | 2219.889 | 2382.48 | 2057.298
26/02/2024 13:00 | 2317.595 | 2487.849 | 2147.341
26/02/2024 13:30 | 2437.854 | 2617.475 | 2258.232
26/02/2024 14:00 | 2559.441 | 2748.58 | 2370.302
26/02/2024 14:30 | 2698.19 | 2898.172 | 2498.208
26/02/2024 15:00 | 2850.184 | 3062.054 | 2638.314
26/02/2024 15:30 | 3012.458 | 3237.048 | 2787.867
26/02/2024 16:00 | 3169.263 | 3406.237 | 2932.29
26/02/2024 16:30 | 3296.335 | 3543.53 | 3049.14
26/02/2024 17:00 | 3378.093 | 3632.157 | 3124.029
26/02/2024 17:30 | 3399.211 | 3655.606 | 3142.816
26/02/2024 18:00 | 3360.552 | 3614.766 | 3106.338
26/02/2024 18:30 | 3283.609 | 3532.719 | 3034.498
26/02/2024 19:00 | 3173.347 | 3414.785 | 2931.908
26/02/2024 19:30 | 3053.614 | 3286.61 | 2820.618
26/02/2024 20:00 | 2920.495 | 3143.972 | 2697.017
26/02/2024 20:30 | 2776.39 | 2989.447 | 2563.333
26/02/2024 21:00 | 2633.863 | 2836.558 | 2431.168
26/02/2024 21:30 | 2503.963 | 2697.208 | 2310.718
26/02/2024 22:00 | 2391.666 | 2576.767 | 2206.564
26/02/2024 22:30 | 2296.476 | 2474.711 | 2118.24
26/02/2024 23:00 | 2213.875 | 2386.184 | 2041.567
26/02/2024 23:30 | 2142.258 | 2309.461 | 1975.056
27/02/2024 00:00 | 2081.822 | 2244.763 | 1918.882
27/02/2024 00:30 | 2037.583 | 2197.507 | 1877.66
27/02/2024 01:00 | 2006.582 | 2164.51 | 1848.654
27/02/2024 01:30 | 1987.135 | 2143.967 | 1830.303
27/02/2024 02:00 | 1973.313 | 2129.485 | 1817.141
27/02/2024 02:30 | 1961.621 | 2117.297 | 1805.946
27/02/2024 03:00 | 1955.29 | 2110.89 | 1799.69
27/02/2024 03:30 | 1962.448 | 2119.046 | 1805.849
27/02/2024 04:00 | 1995.587 | 2155.266 | 1835.908
27/02/2024 04:30 | 2052.085 | 2216.733 | 1887.437
27/02/2024 05:00 | 2117.926 | 2288.32 | 1947.533
27/02/2024 05:30 | 2184.833 | 2361.086 | 2008.579
27/02/2024 06:00 | 2239.165 | 2420.291 | 2058.039
27/02/2024 06:30 | 2267.664 | 2451.591 | 2083.737
27/02/2024 07:00 | 2239.25 | 2421.362 | 2057.139
27/02/2024 07:30 | 2123.022 | 2296.124 | 1949.919
27/02/2024 08:00 | 2041.649 | 2208.504 | 1874.793
27/02/2024 08:30 | 2028.478 | 2194.646 | 1862.31
27/02/2024 09:00 | 1956.669 | 2117.329 | 1796.008
27/02/2024 09:30 | 1805.346 | 1953.927 | 1656.764
27/02/2024 10:00 | 1696.875 | 1836.854 | 1556.895
27/02/2024 10:30 | 1637.27 | 1772.646 | 1501.893
27/02/2024 11:00 | 1653.527 | 1790.564 | 1516.489
27/02/2024 11:30 | 1737.006 | 1881.295 | 1592.718
27/02/2024 12:00 | 1762.77 | 1909.536 | 1616.003
27/02/2024 12:30 | 1703.327 | 1845.471 | 1561.183
27/02/2024 13:00 | 1692.537 | 1834.106 | 1550.969
27/02/2024 13:30 | 1768.739 | 1917.02 | 1620.458
27/02/2024 14:00 | 1847.333 | 2002.557 | 1692.109
27/02/2024 14:30 | 1965.065 | 2130.558 | 1799.572
27/02/2024 15:00 | 2102.506 | 2279.977 | 1925.035
27/02/2024 15:30 | 2262.448 | 2453.854 | 2071.043
27/02/2024 16:00 | 2429.805 | 2635.835 | 2223.776
27/02/2024 16:30 | 2590.75 | 2810.923 | 2370.577
27/02/2024 17:00 | 2712.344 | 2943.37 | 2481.317
27/02/2024 17:30 | 2779.75 | 3017.05 | 2542.449
27/02/2024 18:00 | 2796.928 | 3036.231 | 2557.625
27/02/2024 18:30 | 2775.52 | 3013.523 | 2537.517
27/02/2024 19:00 | 2712.086 | 2945.17 | 2479.003
27/02/2024 19:30 | 2631.487 | 2858.147 | 2404.826
27/02/2024 20:00 | 2540.964 | 2760.315 | 2321.613
27/02/2024 20:30 | 2441.608 | 2652.85 | 2230.366
27/02/2024 21:00 | 2338.47 | 2541.237 | 2135.703
27/02/2024 21:30 | 2243.448 | 2438.406 | 2048.49
27/02/2024 22:00 | 2158.044 | 2345.994 | 1970.095
27/02/2024 22:30 | 2084.457 | 2266.397 | 1902.516
27/02/2024 23:00 | 2026.805 | 2204.101 | 1849.508
27/02/2024 23:30 | 1980.476 | 2154.099 | 1806.853
28/02/2024 00:00 | 1939.785 | 2110.213 | 1769.357
28/02/2024 00:30 | 1908.284 | 2076.31 | 1740.258
28/02/2024 01:00 | 1885.674 | 2052.071 | 1719.277
28/02/2024 01:30 | 1870.7 | 2036.134 | 1705.266
28/02/2024 02:00 | 1860.505 | 2025.394 | 1695.616
28/02/2024 02:30 | 1853.233 | 2017.833 | 1688.634
28/02/2024 03:00 | 1853.284 | 2018.243 | 1688.325
28/02/2024 03:30 | 1866.821 | 2033.343 | 1700.299
28/02/2024 04:00 | 1903.763 | 2073.946 | 1733.581
28/02/2024 04:30 | 1964.666 | 2140.669 | 1788.663
28/02/2024 05:00 | 2034.981 | 2217.673 | 1852.289
28/02/2024 05:30 | 2101.136 | 2290.17 | 1912.102
28/02/2024 06:00 | 2134.05 | 2326.455 | 1941.646
28/02/2024 06:30 | 2101.287 | 2291.14 | 1911.434
28/02/2024 07:00 | 2016.166 | 2198.714 | 1833.617
28/02/2024 07:30 | 1891.961 | 2063.626 | 1720.295
28/02/2024 08:00 | 1766.087 | 1926.67 | 1605.504
28/02/2024 08:30 | 1665.615 | 1817.382 | 1513.849
28/02/2024 09:00 | 1607.941 | 1754.761 | 1461.121
28/02/2024 09:30 | 1620.565 | 1768.848 | 1472.282
28/02/2024 10:00 | 1629.945 | 1779.399 | 1480.491
28/02/2024 10:30 | 1570.7 | 1715.022 | 1426.377
28/02/2024 11:00 | 1545.396 | 1687.69 | 1403.103
28/02/2024 11:30 | 1502.202 | 1640.806 | 1363.597
28/02/2024 12:00 | 1508.33 | 1647.788 | 1368.871
28/02/2024 12:30 | 1568.248 | 1713.547 | 1422.948
28/02/2024 13:00 | 1642.049 | 1794.501 | 1489.597
28/02/2024 13:30 | 1756.47 | 1919.881 | 1593.058
28/02/2024 14:00 | 1874.224 | 2048.949 | 1699.498
28/02/2024 14:30 | 2013.113 | 2201.173 | 1825.053
28/02/2024 15:00 | 2168.595 | 2371.595 | 1965.595
28/02/2024 15:30 | 2316.19 | 2533.45 | 2098.929
28/02/2024 16:00 | 2478.933 | 2711.934 | 2245.932
28/02/2024 16:30 | 2639.016 | 2887.569 | 2390.462
28/02/2024 17:00 | 2740.54 | 2999.18 | 2481.899
28/02/2024 17:30 | 2783.94 | 3047.21 | 2520.67
28/02/2024 18:00 | 2790.963 | 3055.432 | 2526.494
28/02/2024 18:30 | 2772.681 | 3035.95 | 2509.413
28/02/2024 19:00 | 2719.05 | 2977.746 | 2460.353
28/02/2024 19:30 | 2635.665 | 2886.933 | 2384.396
28/02/2024 20:00 | 2543.161 | 2786.098 | 2300.223
28/02/2024 20:30 | 2436.527 | 2669.745 | 2203.309
28/02/2024 21:00 | 2330.149 | 2553.631 | 2106.667
28/02/2024 21:30 | 2234.122 | 2448.823 | 2019.421
28/02/2024 22:00 | 2149.893 | 2356.912 | 1942.875
28/02/2024 22:30 | 2078.215 | 2278.73 | 1877.7
28/02/2024 23:00 | 2022.76 | 2218.312 | 1827.208
28/02/2024 23:30 | 1977.861 | 2169.451 | 1786.271
29/02/2024 00:00 | 1944.306 | 2133.018 | 1755.593
29/02/2024 00:30 | 1917.55 | 2104.033 | 1731.067
29/02/2024 01:00 | 1896.69 | 2081.508 | 1711.872
29/02/2024 01:30 | 1884.9 | 2068.931 | 1700.87
29/02/2024 02:00 | 1876.552 | 2060.127 | 1692.977
29/02/2024 02:30 | 1870.332 | 2053.657 | 1687.007
29/02/2024 03:00 | 1872.923 | 2056.861 | 1688.985
29/02/2024 03:30 | 1888.417 | 2074.239 | 1702.596
29/02/2024 04:00 | 1925.444 | 2115.278 | 1735.61
29/02/2024 04:30 | 1986.79 | 2183.053 | 1790.526
29/02/2024 05:00 | 2051.499 | 2254.548 | 1848.45
29/02/2024 05:30 | 2110.152 | 2319.41 | 1900.894
29/02/2024 06:00 | 2157.586 | 2371.962 | 1943.21
29/02/2024 06:30 | 2141.086 | 2354.233 | 1927.939
29/02/2024 07:00 | 2067.83 | 2274.08 | 1861.58
29/02/2024 07:30 | 1967.812 | 2164.563 | 1771.06
29/02/2024 08:00 | 1859.271 | 2045.811 | 1672.732
29/02/2024 08:30 | 1773.491 | 1952.019 | 1594.964
29/02/2024 09:00 | 1699.58 | 1871.238 | 1527.923
29/02/2024 09:30 | 1640.23 | 1806.443 | 1474.017
29/02/2024 10:00 | 1612.198 | 1776.111 | 1448.285
29/02/2024 10:30 | 1603.77 | 1767.363 | 1440.176
29/02/2024 11:00 | 1639.662 | 1807.466 | 1471.857
29/02/2024 11:30 | 1696.623 | 1870.826 | 1522.42
29/02/2024 12:00 | 1772.7 | 1955.309 | 1590.092
29/02/2024 12:30 | 1866.101 | 2058.957 | 1673.246
29/02/2024 13:00 | 1959.171 | 2162.302 | 1756.04
29/02/2024 13:30 | 2085.784 | 2302.742 | 1868.826
29/02/2024 14:00 | 2224.454 | 2456.581 | 1992.326
29/02/2024 14:30 | 2393.49 | 2644.06 | 2142.921
29/02/2024 15:00 | 2588.87 | 2860.762 | 2316.979
29/02/2024 15:30 | 2779.168 | 3071.978 | 2486.359
29/02/2024 16:00 | 2951.029 | 3262.934 | 2639.123
29/02/2024 16:30 | 3101.582 | 3430.44 | 2772.724
29/02/2024 17:00 | 3206.843 | 3547.937 | 2865.749
29/02/2024 17:30 | 3259.918 | 3607.751 | 2912.086
29/02/2024 18:00 | 3247.716 | 3595.335 | 2900.096
29/02/2024 18:30 | 3196.638 | 3539.862 | 2853.414
29/02/2024 19:00 | 3107.728 | 3442.448 | 2773.008
29/02/2024 19:30 | 3006.049 | 3330.825 | 2681.272
29/02/2024 20:00 | 2886.819 | 3199.681 | 2573.956
29/02/2024 20:30 | 2745.216 | 3043.653 | 2446.779
29/02/2024 21:00 | 2610.188 | 2894.821 | 2325.555
29/02/2024 21:30 | 2490.124 | 2762.499 | 2217.749
29/02/2024 22:00 | 2381.546 | 2642.844 | 2120.249
29/02/2024 22:30 | 2287.581 | 2539.335 | 2035.827
29/02/2024 23:00 | 2210.816 | 2454.864 | 1966.768
29/02/2024 23:30 | 2148.08 | 2385.923 | 1910.238
01/03/2024 00:00 | 2097.833 | 2330.816 | 1864.851
01/03/2024 00:30 | 2057.149 | 2286.303 | 1827.995
01/03/2024 01:00 | 2022.92 | 2248.939 | 1796.901
01/03/2024 01:30 | 1998.594 | 2222.565 | 1774.623
01/03/2024 02:00 | 1977.777 | 2200.079 | 1755.475
01/03/2024 02:30 | 1960.989 | 2182.061 | 1739.917
01/03/2024 03:00 | 1955.535 | 2176.648 | 1734.422
01/03/2024 03:30 | 1959.991 | 2182.265 | 1737.717
01/03/2024 04:00 | 1982.87 | 2208.404 | 1757.336
01/03/2024 04:30 | 2033.663 | 2265.656 | 1801.671
01/03/2024 05:00 | 2100.326 | 2340.628 | 1860.025
01/03/2024 05:30 | 2177.177 | 2427.001 | 1927.353
01/03/2024 06:00 | 2214.701 | 2469.573 | 1959.828
01/03/2024 06:30 | 2185.132 | 2437.334 | 1932.93
01/03/2024 07:00 | 2131.75 | 2378.505 | 1884.994
01/03/2024 07:30 | 2033.015 | 2269.023 | 1797.006