## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
25/02/2024 08:00 | 1848.55 | 1878.427 | 1816.271
25/02/2024 08:30 | 1790.61 | 1827.579 | 1753.641 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
25/02/2024 09:00 | 1747.465 | 1790.224 | 1704.706 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
25/02/2024 09:30 | 1742.72 | 1792.026 | 1693.415 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
25/02/2024 10:00 | 1775.5 | 1832.521 | 1718.48 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
25/02/2024 10:30 | 1811.489 | 1879.814 | 1748.18 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
25/02/2024 11:00 | 1862.068 | 1929.368 | 1795.925 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
25/02/2024 11:30 | 1946.673 | 2012.162 | 1869.09 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
25/02/2024 12:00 | 2039.595 | 2109.624 | 1955.539 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
25/02/2024 12:30 | 2100.6 | 2175.77 | 2012.651 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
25/02/2024 13:00 | 2145.149 | 2225.005 | 2053.905 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
25/02/2024 13:30 | 2158.23 | 2246.778 | 2069.681
25/02/2024 14:00 | 2191.167 | 2283.348 | 2098.985 | Summary view - for each schedule horizon (dispatch, week-ahead)
25/02/2024 14:30 | 2278.026 | 2376.234 | 2179.817
25/02/2024 15:00 | 2352.397 | 2456.262 | 2248.532 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
25/02/2024 15:30 | 2402.143 | 2510.706 | 2293.58 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
25/02/2024 16:00 | 2507.005 | 2622.918 | 2391.092 | Scenario | Violations
25/02/2024 16:30 | 2630.929 | 2755.312 | 2506.546 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
25/02/2024 17:00 | 2710.906 | 2841.893 | 2579.918 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
25/02/2024 17:30 | 2748.685 | 2884.361 | 2613.009 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 1
25/02/2024 18:00 | 2751.517 | 2890.198 | 2612.836 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0
25/02/2024 18:30 | 2732.127 | 2871.92 | 2592.334 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0
25/02/2024 19:00 | 2683.236 | 2821.107 | 2545.365
25/02/2024 19:30 | 2613.592 | 2748.573 | 2478.612 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
25/02/2024 20:00 | 2536.036 | 2667.679 | 2404.393
25/02/2024 20:30 | 2445.557 | 2573.147 | 2317.967 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
25/02/2024 21:00 | 2357.458 | 2481.072 | 2233.844 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
25/02/2024 21:30 | 2273.261 | 2393.06 | 2153.463 | [7 empty] | 29/02/2024 13:30 |  |  |  |  | 27/02/2024 22:00 | [6 empty] | 28/02/2024 11:30 | [11 empty] | 25/02/2024 09:00
25/02/2024 22:00 | 2193.571 | 2309.747 | 2077.395 | [7 empty] | 01/03/2024 10:30 | [11 empty] | 28/02/2024 13:00 | [11 empty] | 25/02/2024 09:30
25/02/2024 22:30 | 2127.316 | 2240.543 | 2014.089 | [7 empty] | 01/03/2024 11:00 | [11 empty] | 28/02/2024 13:30 | [11 empty] | 25/02/2024 10:00
25/02/2024 23:00 | 2079.161 | 2190.373 | 1967.95 | [7 empty] | 01/03/2024 11:30 | [11 empty] | 29/02/2024 12:30 | [11 empty] | 01/03/2024 11:00
25/02/2024 23:30 | 2034.041 | 2138.713 | 1929.368 | [7 empty] | 01/03/2024 12:00 | [11 empty] | 29/02/2024 13:00 | [11 empty] | 01/03/2024 12:00
26/02/2024 00:00 | 1991.742 | 2085.814 | 1897.671 | [7 empty] | 02/03/2024 10:00 | [11 empty] | 01/03/2024 09:30 | [11 empty] | 02/03/2024 11:00
26/02/2024 00:30 | 1967.714 | 2062.206 | 1873.222 | [7 empty] | 02/03/2024 10:30 | [11 empty] | 01/03/2024 10:00 | [11 empty] | 02/03/2024 11:30
26/02/2024 01:00 | 1948.105 | 2042.418 | 1853.792 | [7 empty] | 02/03/2024 11:00 | [11 empty] | 01/03/2024 10:30 | [11 empty] | 02/03/2024 12:00
26/02/2024 01:30 | 1934.722 | 2029.144 | 1840.299 | [19 empty] | 02/03/2024 10:00
26/02/2024 02:00 | 1926.586 | 2021.365 | 1831.807
26/02/2024 02:30 | 1917.459 | 2012.539 | 1822.378
26/02/2024 03:00 | 1914.583 | 2010.271 | 1818.896
26/02/2024 03:30 | 1927.236 | 2024.31 | 1830.162
26/02/2024 04:00 | 1964.37 | 2064.083 | 1864.656
26/02/2024 04:30 | 2025.4 | 2129.004 | 1921.796
26/02/2024 05:00 | 2095.159 | 2203.151 | 1987.166
26/02/2024 05:30 | 2162.779 | 2275.104 | 2050.455
26/02/2024 06:00 | 2219.682 | 2335.83 | 2103.533
26/02/2024 06:30 | 2240.753 | 2358.7 | 2122.805
26/02/2024 07:00 | 2209.97 | 2326.632 | 2093.309
26/02/2024 07:30 | 2111.187 | 2222.982 | 1999.391
26/02/2024 08:00 | 2021.72 | 2129.112 | 1914.328
26/02/2024 08:30 | 1962.965 | 2067.56 | 1858.37
26/02/2024 09:00 | 1912.551 | 2014.776 | 1810.327
26/02/2024 09:30 | 1874.412 | 1974.908 | 1773.917
26/02/2024 10:00 | 1876.429 | 1977.342 | 1775.516
26/02/2024 10:30 | 1903.503 | 2006.187 | 1800.82
26/02/2024 11:00 | 1955.782 | 2061.608 | 1849.955
26/02/2024 11:30 | 2008.894 | 2117.926 | 1899.862
26/02/2024 12:00 | 2072.494 | 2185.32 | 1959.667
26/02/2024 12:30 | 2166.57 | 2284.875 | 2048.264
26/02/2024 13:00 | 2254.664 | 2378.152 | 2131.176
26/02/2024 13:30 | 2350.531 | 2479.658 | 2221.405
26/02/2024 14:00 | 2463.653 | 2599.4 | 2327.905
26/02/2024 14:30 | 2612.998 | 2757.406 | 2468.59
26/02/2024 15:00 | 2781.045 | 2935.199 | 2626.89
26/02/2024 15:30 | 2952.796 | 3116.959 | 2788.634
26/02/2024 16:00 | 3110.964 | 3284.434 | 2936.93
26/02/2024 16:30 | 3235.173 | 3416.102 | 3053.683
26/02/2024 17:00 | 3319.618 | 3505.818 | 3132.88
26/02/2024 17:30 | 3343.928 | 3532.044 | 3155.311
26/02/2024 18:00 | 3312.129 | 3498.501 | 3124.807
26/02/2024 18:30 | 3240.417 | 3423.78 | 3057.054
26/02/2024 19:00 | 3136.617 | 3314.624 | 2958.61
26/02/2024 19:30 | 3021.981 | 3193.982 | 2849.981
26/02/2024 20:00 | 2892.587 | 3057.7 | 2727.474
26/02/2024 20:30 | 2752.609 | 2910.186 | 2595.031
26/02/2024 21:00 | 2614.318 | 2764.41 | 2464.225
26/02/2024 21:30 | 2488.622 | 2631.909 | 2345.335
26/02/2024 22:00 | 2378.795 | 2516.151 | 2241.438
26/02/2024 22:30 | 2285.031 | 2417.351 | 2152.712
26/02/2024 23:00 | 2204.211 | 2332.215 | 2076.208
26/02/2024 23:30 | 2133.733 | 2257.996 | 2009.471
27/02/2024 00:00 | 2073.369 | 2194.459 | 1952.28
27/02/2024 00:30 | 2028.422 | 2147.222 | 1909.623
27/02/2024 01:00 | 1997.12 | 2114.416 | 1879.824
27/02/2024 01:30 | 1977.298 | 2093.756 | 1860.839
27/02/2024 02:00 | 1962.989 | 2078.928 | 1847.049
27/02/2024 02:30 | 1951.107 | 2066.667 | 1835.547
27/02/2024 03:00 | 1944.686 | 2060.187 | 1829.186
27/02/2024 03:30 | 1951.98 | 2068.237 | 1835.724
27/02/2024 04:00 | 1984.435 | 2102.951 | 1865.918
27/02/2024 04:30 | 2039.744 | 2161.901 | 1917.587
27/02/2024 05:00 | 2106.024 | 2231.777 | 1979.55
27/02/2024 05:30 | 2171.311 | 2301.32 | 2040.558
27/02/2024 06:00 | 2207.268 | 2339.794 | 2073.985
27/02/2024 06:30 | 2180.867 | 2312.165 | 2049.511
27/02/2024 07:00 | 2102.755 | 2229.727 | 1975.783
27/02/2024 07:30 | 1986.347 | 2106.656 | 1866.038
27/02/2024 08:00 | 1864.094 | 1977.411 | 1750.776
27/02/2024 08:30 | 1762.243 | 1869.753 | 1654.732
27/02/2024 09:00 | 1672.186 | 1774.568 | 1569.804
27/02/2024 09:30 | 1590.569 | 1688.302 | 1492.837
27/02/2024 10:00 | 1545.679 | 1640.991 | 1450.367
27/02/2024 10:30 | 1521.826 | 1615.999 | 1427.652
27/02/2024 11:00 | 1528.014 | 1622.904 | 1433.124
27/02/2024 11:30 | 1534.705 | 1630.346 | 1439.064
27/02/2024 12:00 | 1560.264 | 1657.839 | 1462.689
27/02/2024 12:30 | 1604.711 | 1705.416 | 1504.006
27/02/2024 13:00 | 1657.57 | 1761.955 | 1553.186
27/02/2024 13:30 | 1732.864 | 1842.368 | 1623.359
27/02/2024 14:00 | 1826.166 | 1941.965 | 1710.366
27/02/2024 14:30 | 1968.821 | 2094.096 | 1843.545
27/02/2024 15:00 | 2140.911 | 2277.605 | 2004.218
27/02/2024 15:30 | 2330.272 | 2479.565 | 2180.979
27/02/2024 16:00 | 2516.156 | 2677.907 | 2354.404
27/02/2024 16:30 | 2686.689 | 2859.99 | 2513.388
27/02/2024 17:00 | 2815.563 | 2997.792 | 2633.333
27/02/2024 17:30 | 2884.975 | 3072.328 | 2697.623
27/02/2024 18:00 | 2897.349 | 3086.138 | 2708.56
27/02/2024 18:30 | 2867.586 | 3055.062 | 2680.11
27/02/2024 19:00 | 2799.93 | 2983.594 | 2616.265
27/02/2024 19:30 | 2711.172 | 2889.607 | 2532.738
27/02/2024 20:00 | 2611.801 | 2784.267 | 2439.336
27/02/2024 20:30 | 2503.329 | 2669.178 | 2337.479
27/02/2024 21:00 | 2392.949 | 2552.009 | 2233.89
27/02/2024 21:30 | 2291.394 | 2444.204 | 2138.584
27/02/2024 22:00 | 2200.023 | 2347.22 | 2052.826
27/02/2024 22:30 | 2123.834 | 2266.397 | 1981.271
27/02/2024 23:00 | 2066.695 | 2205.874 | 1927.515
27/02/2024 23:30 | 2021.246 | 2157.807 | 1884.686
28/02/2024 00:00 | 1984.382 | 2118.885 | 1849.879
28/02/2024 00:30 | 1954.749 | 2087.671 | 1821.827
28/02/2024 01:00 | 1932.256 | 2064.071 | 1800.442
28/02/2024 01:30 | 1915.421 | 2046.505 | 1784.336
28/02/2024 02:00 | 1903.923 | 2034.636 | 1773.209
28/02/2024 02:30 | 1894.974 | 2025.488 | 1764.461
28/02/2024 03:00 | 1893.846 | 2024.695 | 1762.997
28/02/2024 03:30 | 1907.753 | 2039.98 | 1775.526
28/02/2024 04:00 | 1945.217 | 2080.465 | 1809.968
28/02/2024 04:30 | 2004.659 | 2144.479 | 1864.84
28/02/2024 05:00 | 2071.182 | 2216.094 | 1926.27
28/02/2024 05:30 | 2134.448 | 2284.252 | 1984.643
28/02/2024 06:00 | 2178.454 | 2331.823 | 2025.084
28/02/2024 06:30 | 2189.115 | 2343.712 | 2034.516
28/02/2024 07:00 | 2161.57 | 2314.695 | 2008.445
28/02/2024 07:30 | 2073.355 | 2220.684 | 1926.026
28/02/2024 08:00 | 1947.265 | 2086.059 | 1808.47
28/02/2024 08:30 | 1795.16 | 1923.505 | 1666.815
28/02/2024 09:00 | 1708.897 | 1831.448 | 1586.346
28/02/2024 09:30 | 1710.003 | 1833.007 | 1586.999
28/02/2024 10:00 | 1692.522 | 1814.638 | 1570.405
28/02/2024 10:30 | 1604.448 | 1720.56 | 1488.335
28/02/2024 11:00 | 1595.817 | 1711.653 | 1479.98
28/02/2024 11:30 | 1630.125 | 1748.808 | 1511.442
28/02/2024 12:00 | 1673.411 | 1795.611 | 1551.211
28/02/2024 12:30 | 1721.238 | 1847.307 | 1595.169
28/02/2024 13:00 | 1787.745 | 1919.076 | 1656.415
28/02/2024 13:30 | 1891.434 | 2030.795 | 1752.073
28/02/2024 14:00 | 1998.93 | 2146.648 | 1851.213
28/02/2024 14:30 | 2141.702 | 2300.438 | 1982.965
28/02/2024 15:00 | 2316.997 | 2489.232 | 2144.761
28/02/2024 15:30 | 2510.073 | 2697.209 | 2322.937
28/02/2024 16:00 | 2688.391 | 2889.409 | 2487.374
28/02/2024 16:30 | 2834.324 | 3046.872 | 2621.775
28/02/2024 17:00 | 2944.358 | 3165.801 | 2722.914
28/02/2024 17:30 | 2999.663 | 3225.921 | 2773.405
28/02/2024 18:00 | 3000.313 | 3227.276 | 2773.35
28/02/2024 18:30 | 2961.239 | 3185.893 | 2736.585
28/02/2024 19:00 | 2880.999 | 3100.194 | 2661.802
28/02/2024 19:30 | 2787.519 | 3000.211 | 2574.826
28/02/2024 20:00 | 2680.886 | 2886.029 | 2475.744
28/02/2024 20:30 | 2558.769 | 2755.126 | 2362.412
28/02/2024 21:00 | 2438.732 | 2626.41 | 2251.054
28/02/2024 21:30 | 2330.472 | 2510.328 | 2150.616
28/02/2024 22:00 | 2234.972 | 2407.946 | 2061.998
28/02/2024 22:30 | 2153.862 | 2321.03 | 1986.695
28/02/2024 23:00 | 2091.237 | 2254.001 | 1928.474
28/02/2024 23:30 | 2041.351 | 2200.677 | 1882.024
29/02/2024 00:00 | 2002.861 | 2159.621 | 1846.1
29/02/2024 00:30 | 1971.165 | 2125.875 | 1816.455
29/02/2024 01:00 | 1945.695 | 2098.831 | 1792.558
29/02/2024 01:30 | 1929.865 | 2082.177 | 1777.553
29/02/2024 02:00 | 1917.166 | 2068.894 | 1765.437
29/02/2024 02:30 | 1907.882 | 2059.293 | 1756.472
29/02/2024 03:00 | 1908.292 | 2060.152 | 1756.432
29/02/2024 03:30 | 1921.891 | 2075.253 | 1768.528
29/02/2024 04:00 | 1956.744 | 2113.315 | 1800.173
29/02/2024 04:30 | 2015.993 | 2177.745 | 1854.241
29/02/2024 05:00 | 2082.214 | 2249.735 | 1914.694
29/02/2024 05:30 | 2142.325 | 2315.15 | 1969.501
29/02/2024 06:00 | 2183.755 | 2360.399 | 2007.111
29/02/2024 06:30 | 2167.093 | 2342.862 | 1991.323
29/02/2024 07:00 | 2083.762 | 2253.228 | 1914.296
29/02/2024 07:30 | 1959.223 | 2118.97 | 1799.476
29/02/2024 08:00 | 1822.802 | 1971.773 | 1673.832
29/02/2024 08:30 | 1708.286 | 1848.224 | 1568.347
29/02/2024 09:00 | 1628.57 | 1762.291 | 1494.85
29/02/2024 09:30 | 1592.296 | 1723.343 | 1461.248
29/02/2024 10:00 | 1594.069 | 1725.568 | 1462.57
29/02/2024 10:30 | 1614.757 | 1748.272 | 1481.242
29/02/2024 11:00 | 1664.746 | 1802.713 | 1526.778
29/02/2024 11:30 | 1726.225 | 1869.618 | 1582.832
29/02/2024 12:00 | 1814.226 | 1965.277 | 1663.175
29/02/2024 12:30 | 1909.294 | 2068.626 | 1749.961
29/02/2024 13:00 | 2008.544 | 2176.543 | 1840.544
29/02/2024 13:30 | 2152.489 | 2332.941 | 1972.036
29/02/2024 14:00 | 2315.417 | 2509.972 | 2120.862
29/02/2024 14:30 | 2503.084 | 2713.888 | 2292.281
29/02/2024 15:00 | 2725.474 | 2955.529 | 2495.418
29/02/2024 15:30 | 2945.281 | 3194.455 | 2696.108
29/02/2024 16:00 | 3127.844 | 3393.062 | 2862.626
29/02/2024 16:30 | 3267.026 | 3544.671 | 2989.38
29/02/2024 17:00 | 3362.828 | 3649.26 | 3076.396
29/02/2024 17:30 | 3409.524 | 3700.587 | 3118.461
29/02/2024 18:00 | 3390.4 | 3680.48 | 3100.32
29/02/2024 18:30 | 3332.886 | 3618.684 | 3047.088
29/02/2024 19:00 | 3237.482 | 3515.72 | 2959.245
29/02/2024 19:30 | 3129.098 | 3398.621 | 2859.576
29/02/2024 20:00 | 3003.045 | 3262.286 | 2743.805
29/02/2024 20:30 | 2850.906 | 3097.56 | 2604.253
29/02/2024 21:00 | 2706.597 | 2941.284 | 2471.91
29/02/2024 21:30 | 2577.53 | 2801.519 | 2353.54
29/02/2024 22:00 | 2458.691 | 2672.824 | 2244.557
29/02/2024 22:30 | 2356.945 | 2562.669 | 2151.221
29/02/2024 23:00 | 2276.602 | 2475.75 | 2077.454
29/02/2024 23:30 | 2211.656 | 2405.546 | 2017.765
01/03/2024 00:00 | 2160.343 | 2350.149 | 1970.537
01/03/2024 00:30 | 2119.769 | 2306.417 | 1933.122
01/03/2024 01:00 | 2086.512 | 2270.631 | 1902.393
01/03/2024 01:30 | 2059.594 | 2241.733 | 1877.456
01/03/2024 02:00 | 2036.911 | 2217.434 | 1856.388
01/03/2024 02:30 | 2018.452 | 2197.726 | 1839.178
01/03/2024 03:00 | 2010.713 | 2189.685 | 1831.741
01/03/2024 03:30 | 2012.76 | 2192.3 | 1833.22
01/03/2024 04:00 | 2034.66 | 2216.544 | 1852.777
01/03/2024 04:30 | 2084.638 | 2271.389 | 1897.888
01/03/2024 05:00 | 2155.352 | 2348.851 | 1961.854
01/03/2024 05:30 | 2235.955 | 2437.118 | 2034.792
01/03/2024 06:00 | 2282.327 | 2488.1 | 2076.554
01/03/2024 06:30 | 2269.783 | 2474.86 | 2064.706
01/03/2024 07:00 | 2236.125 | 2438.589 | 2033.66
01/03/2024 07:30 | 2164.915 | 2361.346 | 1968.483
01/03/2024 08:00 | 2090.174 | 2280.225 | 1900.123
01/03/2024 08:30 | 2009.798 | 2192.926 | 1826.671
01/03/2024 09:00 | 1950.034 | 2128.09 | 1771.978
01/03/2024 09:30 | 1913.409 | 2088.487 | 1738.33
01/03/2024 10:00 | 1909.764 | 2084.875 | 1734.653
01/03/2024 10:30 | 1939.305 | 2117.497 | 1761.114
01/03/2024 11:00 | 2005.046 | 2189.662 | 1820.43
01/03/2024 11:30 | 2087.172 | 2279.75 | 1894.594
01/03/2024 12:00 | 2181.338 | 2383.022 | 1979.653
01/03/2024 12:30 | 2307.704 | 2521.515 | 2093.894
01/03/2024 13:00 | 2431.875 | 2657.657 | 2206.094
01/03/2024 13:30 | 2576.131 | 2815.8 | 2336.463
01/03/2024 14:00 | 2734.799 | 2989.752 | 2479.845
01/03/2024 14:30 | 2888.095 | 3157.894 | 2618.297
01/03/2024 15:00 | 3078.258 | 3366.411 | 2790.105
01/03/2024 15:30 | 3269.4 | 3576.073 | 2962.728
01/03/2024 16:00 | 3422.388 | 3744.066 | 3100.709
01/03/2024 16:30 | 3539.483 | 3872.846 | 3206.12
01/03/2024 17:00 | 3608.492 | 3949.046 | 3267.938
01/03/2024 17:30 | 3618.919 | 3961.151 | 3276.688
01/03/2024 18:00 | 3591.981 | 3932.354 | 3251.608
01/03/2024 18:30 | 3541.322 | 3877.574 | 3205.071
01/03/2024 19:00 | 3450.807 | 3779.125 | 3122.489
01/03/2024 19:30 | 3354.344 | 3674.127 | 3034.561
01/03/2024 20:00 | 3244.499 | 3554.432 | 2934.565
01/03/2024 20:30 | 3118.614 | 3417.119 | 2820.108
01/03/2024 21:00 | 2985.272 | 3271.586 | 2698.957
01/03/2024 21:30 | 2854.132 | 3128.416 | 2579.848
01/03/2024 22:00 | 2736.038 | 2999.497 | 2472.578
01/03/2024 22:30 | 2620.106 | 2872.905 | 2367.307
01/03/2024 23:00 | 2511.046 | 2753.803 | 2268.289
01/03/2024 23:30 | 2411.42 | 2642.075 | 2180.766
02/03/2024 00:00 | 2324.354 | 2541.409 | 2107.299
02/03/2024 00:30 | 2258.42 | 2469.883 | 2046.958
02/03/2024 01:00 | 2204.169 | 2410.664 | 1997.674
02/03/2024 01:30 | 2164.098 | 2366.95 | 1961.246
02/03/2024 02:00 | 2136.264 | 2336.616 | 1935.913
02/03/2024 02:30 | 2110.138 | 2308.147 | 1912.129
02/03/2024 03:00 | 2090.398 | 2286.661 | 1894.135
02/03/2024 03:30 | 2073.362 | 2268.132 | 1878.593
02/03/2024 04:00 | 2064.527 | 2258.572 | 1870.483
02/03/2024 04:30 | 2063.676 | 2257.746 | 1869.606
02/03/2024 05:00 | 2072.802 | 2267.836 | 1877.768
02/03/2024 05:30 | 2086.085 | 2282.475 | 1889.695
02/03/2024 06:00 | 2073.546 | 2268.861 | 1878.231
02/03/2024 06:30 | 2065.67 | 2260.349 | 1870.991
02/03/2024 07:00 | 2117.757 | 2317.452 | 1918.061
02/03/2024 07:30 | 2171.494 | 2376.674 | 1966.314
02/03/2024 08:00 | 2152.292 | 2356.672 | 1947.911
02/03/2024 08:30 | 2047.28 | 2242.605 | 1851.956
02/03/2024 09:00 | 1996.999 | 2188.42 | 1805.578
02/03/2024 09:30 | 2008.642 | 2202.077 | 1815.206
02/03/2024 10:00 | 2007.986 | 2202.257 | 1813.715
02/03/2024 10:30 | 2039.9 | 2238.172 | 1841.628
02/03/2024 11:00 | 2115.853 | 2322.453 | 1909.252
02/03/2024 11:30 | 2200.988 | 2416.886 | 1985.089
02/03/2024 12:00 | 2286.757 | 2512.092 | 2061.422
02/03/2024 12:30 | 2399.364 | 2636.869 | 2161.859
02/03/2024 13:00 | 2533.715 | 2785.653 | 2281.777
02/03/2024 13:30 | 2648.418 | 2912.947 | 2383.89
02/03/2024 14:00 | 2788.921 | 3068.731 | 2509.112
02/03/2024 14:30 | 2955.75 | 3253.619 | 2657.879
02/03/2024 15:00 | 3128.299 | 3444.958 | 2811.641
02/03/2024 15:30 | 3301.859 | 3637.563 | 2966.154
02/03/2024 16:00 | 3454.907 | 3807.718 | 3102.096
02/03/2024 16:30 | 3599.461 | 3968.645 | 3230.277
02/03/2024 17:00 | 3677.716 | 4056.572 | 3298.861
02/03/2024 17:30 | 3709.407 | 4093.187 | 3325.627
02/03/2024 18:00 | 3680.911 | 4063.39 | 3298.432
02/03/2024 18:30 | 3615.04 | 3992.291 | 3237.788
02/03/2024 19:00 | 3499.679 | 3866.458 | 3132.9
02/03/2024 19:30 | 3402.831 | 3760.983 | 3044.679
02/03/2024 20:00 | 3300.887 | 3649.786 | 2951.988
02/03/2024 20:30 | 3190.915 | 3529.618 | 2852.211
02/03/2024 21:00 | 3069.107 | 3396.254 | 2741.96
02/03/2024 21:30 | 2939.175 | 3253.787 | 2624.562
02/03/2024 22:00 | 2817.59 | 3120.448 | 2514.731
02/03/2024 22:30 | 2694.409 | 2985.232 | 2403.585
02/03/2024 23:00 | 2577.912 | 2857.315 | 2298.509
02/03/2024 23:30 | 2473.609 | 2742.815 | 2204.404
03/03/2024 00:00 | 2377.879 | 2637.73 | 2118.029
03/03/2024 00:30 | 2303.126 | 2555.839 | 2050.414
03/03/2024 01:00 | 2241.96 | 2488.964 | 1994.956
03/03/2024 01:30 | 2199.405 | 2442.705 | 1956.105
03/03/2024 02:00 | 2164.885 | 2405.335 | 1924.435
03/03/2024 02:30 | 2133.181 | 2371.064 | 1895.298
03/03/2024 03:00 | 2108.905 | 2345.025 | 1872.785
03/03/2024 03:30 | 2085.937 | 2320.418 | 1851.456
03/03/2024 04:00 | 2069.695 | 2303.277 | 1836.113
03/03/2024 04:30 | 2057.584 | 2290.72 | 1824.448
03/03/2024 05:00 | 2046.778 | 2279.605 | 1813.951
03/03/2024 05:30 | 2037.667 | 2270.369 | 1804.964
03/03/2024 06:00 | 1998.532 | 2227.66 | 1769.405
03/03/2024 06:30 | 1940.508 | 2163.852 | 1717.165
03/03/2024 07:00 | 1914.951 | 2136.21 | 1693.692
03/03/2024 07:30 | 1897.115 | 2117.162 | 1677.068