## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
27/02/2024 08:00 | 1901.35 | 1935.266 | 1881.349
27/02/2024 08:30 | 1822.227 | 1853.387 | 1791.068 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
27/02/2024 09:00 | 1733.881 | 1768.684 | 1699.078 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
27/02/2024 09:30 | 1633.168 | 1670.804 | 1595.531 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
27/02/2024 10:00 | 1557.452 | 1597.974 | 1516.931 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
27/02/2024 10:30 | 1485.939 | 1527.954 | 1443.924 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
27/02/2024 11:00 | 1426.181 | 1467.707 | 1384.656 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
27/02/2024 11:30 | 1375.1 | 1416.462 | 1333.737 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
27/02/2024 12:00 | 1355.936 | 1398.028 | 1310.067 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
27/02/2024 12:30 | 1398.171 | 1442.92 | 1343.275 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
27/02/2024 13:00 | 1454.887 | 1490.138 | 1395.018 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
27/02/2024 13:30 | 1535.327 | 1574.22 | 1470.894
27/02/2024 14:00 | 1639.099 | 1681.054 | 1567.69 | Summary view - for each schedule horizon (dispatch, week-ahead)
27/02/2024 14:30 | 1785.484 | 1833.021 | 1706.115
27/02/2024 15:00 | 1964.227 | 2019.803 | 1876.343 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
27/02/2024 15:30 | 2160.948 | 2225.122 | 2063.095 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
27/02/2024 16:00 | 2359.737 | 2434.149 | 2252.552 | Scenario | Violations
27/02/2024 16:30 | 2541.17 | 2626.111 | 2425.509 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
27/02/2024 17:00 | 2681.495 | 2775.271 | 2558.335 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
27/02/2024 17:30 | 2749.511 | 2863.991 | 2635.031 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 6
27/02/2024 18:00 | 2774.587 | 2892.784 | 2656.391 | High Demand Scenario | 0 | 0 | 2 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 2
27/02/2024 18:30 | 2757.977 | 2877.561 | 2638.393 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 0 | 0 | 0 | 0 | 2
27/02/2024 19:00 | 2704.126 | 2822.34 | 2585.913
27/02/2024 19:30 | 2622.24 | 2737.9 | 2506.581 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
27/02/2024 20:00 | 2530.127 | 2642.714 | 2417.539
27/02/2024 20:30 | 2429.169 | 2538.214 | 2320.123 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
27/02/2024 21:00 | 2325.85 | 2431.168 | 2220.532 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
27/02/2024 21:30 | 2231.409 | 2333.323 | 2129.494 | [7 empty] | 27/02/2024 09:30 |  |  |  |  | 02/03/2024 07:00 |  |  | 03/03/2024 17:30 |  |  |  | 27/02/2024 09:30 |  |  |  |  | 02/03/2024 08:30 | [6 empty] | 27/02/2024 09:00 |  |  |  |  | 02/03/2024 09:00
27/02/2024 22:00 | 2146.172 | 2245.034 | 2047.31 | [7 empty] | 27/02/2024 10:00 |  |  |  |  | 02/03/2024 08:00 |  |  | 03/03/2024 18:00 |  |  |  | 27/02/2024 10:00 |  |  |  |  | 03/03/2024 07:00 | [6 empty] | 27/02/2024 09:30 |  |  |  |  | 03/03/2024 08:00
27/02/2024 22:30 | 2075.435 | 2171.851 | 1979.019 | [7 empty] | 27/02/2024 10:30 |  |  |  |  | 02/03/2024 08:30 | [6 empty] | 27/02/2024 10:30 | [11 empty] | 27/02/2024 10:00
27/02/2024 23:00 | 2024.208 | 2119.036 | 1929.38 | [7 empty] | 27/02/2024 11:00 |  |  |  |  | 02/03/2024 09:30 | [6 empty] | 27/02/2024 11:00 | [11 empty] | 27/02/2024 10:30
27/02/2024 23:30 | 1985.07 | 2078.842 | 1891.298 | [7 empty] | 27/02/2024 11:30 |  |  |  |  | 02/03/2024 10:30 | [6 empty] | 27/02/2024 11:30 | [11 empty] | 27/02/2024 11:00
28/02/2024 00:00 | 1954.84 | 2047.948 | 1861.731 | [7 empty] | 27/02/2024 12:00 |  |  |  |  | 03/03/2024 07:00 | [6 empty] | 27/02/2024 12:00 | [11 empty] | 27/02/2024 11:30
28/02/2024 00:30 | 1929.798 | 2022.469 | 1837.126 | [7 empty] | 27/02/2024 12:30 | [11 empty] | 27/02/2024 12:30 | [11 empty] | 27/02/2024 12:00
28/02/2024 01:00 | 1910.387 | 2002.874 | 1817.9 | [7 empty] | 27/02/2024 13:00 | [11 empty] | 27/02/2024 13:00 | [11 empty] | 27/02/2024 12:30
28/02/2024 01:30 | 1896.949 | 1989.528 | 1804.37 | [7 empty] | 27/02/2024 13:30 | [11 empty] | 27/02/2024 13:30 | [11 empty] | 27/02/2024 13:00
28/02/2024 02:00 | 1888.479 | 1981.384 | 1795.574 | [7 empty] | 27/02/2024 14:00 | [11 empty] | 27/02/2024 14:00 | [11 empty] | 27/02/2024 13:30
28/02/2024 02:30 | 1881.02 | 1974.294 | 1787.746 | [7 empty] | 27/02/2024 14:30 | [11 empty] | 27/02/2024 14:30 | [11 empty] | 27/02/2024 14:00
28/02/2024 03:00 | 1880.752 | 1974.749 | 1786.755 | [7 empty] | 29/02/2024 10:00 | [11 empty] | 29/02/2024 10:00 | [11 empty] | 27/02/2024 14:30
28/02/2024 03:30 | 1894.361 | 1989.78 | 1798.943 | [7 empty] | 29/02/2024 10:30 | [11 empty] | 29/02/2024 10:30 | [11 empty] | 29/02/2024 10:30
28/02/2024 04:00 | 1931.95 | 2030.018 | 1833.882 | [7 empty] | 29/02/2024 11:00 | [11 empty] | 29/02/2024 11:00 | [11 empty] | 29/02/2024 11:00
28/02/2024 04:30 | 1992.467 | 2094.386 | 1890.547 | [7 empty] | 29/02/2024 11:30 | [11 empty] | 29/02/2024 11:30 | [11 empty] | 29/02/2024 11:30
28/02/2024 05:00 | 2061.941 | 2168.221 | 1955.661 | [7 empty] | 29/02/2024 12:00 | [11 empty] | 01/03/2024 09:00 | [11 empty] | 29/02/2024 12:00
28/02/2024 05:30 | 2129.854 | 2240.469 | 2019.24 | [7 empty] | 01/03/2024 09:00 | [11 empty] | 01/03/2024 10:00 | [11 empty] | 01/03/2024 09:30
28/02/2024 06:00 | 2179.511 | 2293.557 | 2065.464 | [7 empty] | 01/03/2024 09:30 | [11 empty] | 01/03/2024 10:30 | [11 empty] | 01/03/2024 10:00
28/02/2024 06:30 | 2177.064 | 2291.659 | 2062.469 | [7 empty] | 01/03/2024 10:00 | [11 empty] | 01/03/2024 11:00 | [11 empty] | 01/03/2024 10:30
28/02/2024 07:00 | 2127.422 | 2239.726 | 2015.118 | [7 empty] | 01/03/2024 10:30 | [11 empty] | 03/03/2024 09:30 | [11 empty] | 01/03/2024 11:00
28/02/2024 07:30 | 2045.309 | 2153.616 | 1937.002 | [7 empty] | 01/03/2024 11:00 | [11 empty] | 03/03/2024 10:00 | [11 empty] | 01/03/2024 11:30
28/02/2024 08:00 | 1954.254 | 2058.062 | 1850.446 | [7 empty] | 01/03/2024 11:30 | [11 empty] | 03/03/2024 10:30 | [11 empty] | 01/03/2024 12:30
28/02/2024 08:30 | 1870.076 | 1969.722 | 1770.431 | [7 empty] | 01/03/2024 12:00 | [11 empty] | 03/03/2024 17:00
28/02/2024 09:00 | 1798.215 | 1894.328 | 1702.102 | [7 empty] | 01/03/2024 12:30 | [11 empty] | 03/03/2024 17:30
28/02/2024 09:30 | 1743.875 | 1837.371 | 1650.378 | [7 empty] | 03/03/2024 10:30 | [11 empty] | 03/03/2024 18:00
28/02/2024 10:00 | 1704.766 | 1796.447 | 1613.085 | [7 empty] | 03/03/2024 11:00
28/02/2024 10:30 | 1657.885 | 1747.318 | 1568.451
28/02/2024 11:00 | 1663.131 | 1753.123 | 1573.14
28/02/2024 11:30 | 1697.348 | 1789.471 | 1605.225
28/02/2024 12:00 | 1741.411 | 1836.213 | 1646.609
28/02/2024 12:30 | 1816.815 | 1916.022 | 1717.608
28/02/2024 13:00 | 1885.005 | 1988.247 | 1781.763
28/02/2024 13:30 | 1929.285 | 2035.271 | 1823.3
28/02/2024 14:00 | 2008.661 | 2119.339 | 1897.983
28/02/2024 14:30 | 2165.002 | 2284.652 | 2045.353
28/02/2024 15:00 | 2325.69 | 2454.604 | 2196.776
28/02/2024 15:30 | 2470.31 | 2607.648 | 2332.972
28/02/2024 16:00 | 2615.834 | 2761.695 | 2469.974
28/02/2024 16:30 | 2742.448 | 2895.822 | 2589.075
28/02/2024 17:00 | 2830.933 | 2989.722 | 2672.144
28/02/2024 17:30 | 2872.44 | 3034.031 | 2710.848
28/02/2024 18:00 | 2876.521 | 3038.817 | 2714.224
28/02/2024 18:30 | 2849.722 | 3010.977 | 2688.467
28/02/2024 19:00 | 2786.543 | 2944.683 | 2628.403
28/02/2024 19:30 | 2702.425 | 2856.238 | 2548.145
28/02/2024 20:00 | 2605.387 | 2753.64 | 2456.252
28/02/2024 20:30 | 2494.122 | 2636.489 | 2350.973
28/02/2024 21:00 | 2382.758 | 2519.191 | 2245.635
28/02/2024 21:30 | 2281.47 | 2412.512 | 2149.827
28/02/2024 22:00 | 2193.059 | 2319.411 | 2066.179
28/02/2024 22:30 | 2118.831 | 2241.295 | 1995.929
28/02/2024 23:00 | 2060.984 | 2180.492 | 1941.14
28/02/2024 23:30 | 2014.513 | 2131.706 | 1897.08
29/02/2024 00:00 | 1978.454 | 2094 | 1862.907
29/02/2024 00:30 | 1949.266 | 2063.43 | 1835.103
29/02/2024 01:00 | 1926.135 | 2039.262 | 1813.009
29/02/2024 01:30 | 1911.25 | 2023.818 | 1798.682
29/02/2024 02:00 | 1900.641 | 2012.898 | 1788.384
29/02/2024 02:30 | 1892.827 | 2004.935 | 1780.719
29/02/2024 03:00 | 1893.762 | 2006.238 | 1781.286
29/02/2024 03:30 | 1907.335 | 2020.933 | 1793.738
29/02/2024 04:00 | 1942.676 | 2058.698 | 1826.653
29/02/2024 04:30 | 2001.753 | 2121.635 | 1881.872
29/02/2024 05:00 | 2067.816 | 2191.996 | 1943.637
29/02/2024 05:30 | 2129.028 | 2257.235 | 2000.821
29/02/2024 06:00 | 2175.032 | 2306.368 | 2043.696
29/02/2024 06:30 | 2165.057 | 2296.19 | 2033.925
29/02/2024 07:00 | 2092.4 | 2219.596 | 1965.204
29/02/2024 07:30 | 1983.348 | 2104.348 | 1862.348
29/02/2024 08:00 | 1878.71 | 1993.737 | 1763.684
29/02/2024 08:30 | 1801.47 | 1912.161 | 1690.779
29/02/2024 09:00 | 1741.399 | 1848.019 | 1634.019
29/02/2024 09:30 | 1705.201 | 1809.977 | 1599.68
29/02/2024 10:00 | 1698.696 | 1803.443 | 1593.207
29/02/2024 10:30 | 1702.909 | 1808.288 | 1596.786
29/02/2024 11:00 | 1745.369 | 1853.757 | 1636.219
29/02/2024 11:30 | 1804.274 | 1916.714 | 1691.045
29/02/2024 12:00 | 1911.961 | 2031.53 | 1791.557
29/02/2024 12:30 | 2069.714 | 2199.6 | 1938.923
29/02/2024 13:00 | 2195.293 | 2333.54 | 2057.046
29/02/2024 13:30 | 2308.997 | 2454.909 | 2163.085
29/02/2024 14:00 | 2432.869 | 2587.14 | 2278.597
29/02/2024 14:30 | 2571.436 | 2735.055 | 2407.816
29/02/2024 15:00 | 2737.138 | 2911.899 | 2562.376
29/02/2024 15:30 | 2901.652 | 3087.552 | 2715.753
29/02/2024 16:00 | 3053.559 | 3249.858 | 2857.26
29/02/2024 16:30 | 3191.469 | 3397.33 | 2985.607
29/02/2024 17:00 | 3285.322 | 3497.955 | 3072.688
29/02/2024 17:30 | 3324.418 | 3540.308 | 3108.528
29/02/2024 18:00 | 3302.1 | 3517.262 | 3086.938
29/02/2024 18:30 | 3252.052 | 3464.663 | 3039.44
29/02/2024 19:00 | 3169.739 | 3377.662 | 2961.817
29/02/2024 19:30 | 3064.688 | 3266.389 | 2862.986
29/02/2024 20:00 | 2943.231 | 3137.582 | 2748.88
29/02/2024 20:30 | 2796.771 | 2982.062 | 2611.481
29/02/2024 21:00 | 2656.64 | 2833.227 | 2480.053
29/02/2024 21:30 | 2531.517 | 2700.34 | 2362.693
29/02/2024 22:00 | 2418.241 | 2580.039 | 2256.444
29/02/2024 22:30 | 2321.333 | 2477.154 | 2165.513
29/02/2024 23:00 | 2243.735 | 2394.837 | 2092.633
29/02/2024 23:30 | 2181.17 | 2328.536 | 2033.805
01/03/2024 00:00 | 2131.421 | 2275.89 | 1986.951
01/03/2024 00:30 | 2091.881 | 2234.127 | 1949.634
01/03/2024 01:00 | 2059.585 | 2200.085 | 1919.084
01/03/2024 01:30 | 2034.779 | 2174.031 | 1895.526
01/03/2024 02:00 | 2014.262 | 2152.551 | 1875.973
01/03/2024 02:30 | 1997.384 | 2134.95 | 1859.817
01/03/2024 03:00 | 1990.404 | 2127.924 | 1852.883
01/03/2024 03:30 | 1993.17 | 2131.317 | 1855.023
01/03/2024 04:00 | 2016.207 | 2156.392 | 1876.023
01/03/2024 04:30 | 2065.988 | 2210.085 | 1921.891
01/03/2024 05:00 | 2137.396 | 2286.941 | 1987.852
01/03/2024 05:30 | 2216.797 | 2372.381 | 2061.212
01/03/2024 06:00 | 2260.475 | 2419.619 | 2101.332
01/03/2024 06:30 | 2246.366 | 2405.007 | 2087.725
01/03/2024 07:00 | 2200.954 | 2356.869 | 2045.039
01/03/2024 07:30 | 2106.669 | 2256.365 | 1956.973
01/03/2024 08:00 | 2013.931 | 2157.477 | 1870.385
01/03/2024 08:30 | 1924.492 | 2062.083 | 1786.9
01/03/2024 09:00 | 1852.511 | 1985.362 | 1719.661
01/03/2024 09:30 | 1799.005 | 1928.411 | 1669.599
01/03/2024 10:00 | 1785.326 | 1914.138 | 1656.514
01/03/2024 10:30 | 1813.509 | 1944.751 | 1682.267
01/03/2024 11:00 | 1868.844 | 2004.498 | 1733.189
01/03/2024 11:30 | 1932.537 | 2073.237 | 1791.836
01/03/2024 12:00 | 2013.386 | 2160.413 | 1866.359
01/03/2024 12:30 | 2134.475 | 2290.81 | 1978.139
01/03/2024 13:00 | 2258.335 | 2424.236 | 2092.435
01/03/2024 13:30 | 2402.303 | 2579.305 | 2225.301
01/03/2024 14:00 | 2556.077 | 2744.968 | 2367.187
01/03/2024 14:30 | 2703.84 | 2904.241 | 2503.44
01/03/2024 15:00 | 2888.164 | 3102.857 | 2673.471
01/03/2024 15:30 | 3066.202 | 3294.8 | 2837.605
01/03/2024 16:00 | 3213.279 | 3453.544 | 2973.014
01/03/2024 16:30 | 3334.572 | 3584.635 | 3084.51
01/03/2024 17:00 | 3396.506 | 3651.956 | 3141.057
01/03/2024 17:30 | 3397.362 | 3653.618 | 3141.106
01/03/2024 18:00 | 3369.078 | 3623.937 | 3114.219
01/03/2024 18:30 | 3323.388 | 3575.516 | 3071.259
01/03/2024 19:00 | 3237.307 | 3483.612 | 2991.002
01/03/2024 19:30 | 3142.645 | 3382.434 | 2902.855
01/03/2024 20:00 | 3036.835 | 3269.215 | 2804.455
01/03/2024 20:30 | 2919.772 | 3143.832 | 2695.712
01/03/2024 21:00 | 2797.739 | 3013.045 | 2582.433
01/03/2024 21:30 | 2680.837 | 2887.733 | 2473.942
01/03/2024 22:00 | 2575.298 | 2774.612 | 2375.985
01/03/2024 22:30 | 2472.737 | 2664.653 | 2280.821
01/03/2024 23:00 | 2377.317 | 2562.347 | 2192.288
01/03/2024 23:30 | 2290.896 | 2475.955 | 2105.838
02/03/2024 00:00 | 2215.428 | 2406.869 | 2023.987
02/03/2024 00:30 | 2157.214 | 2343.137 | 1971.291
02/03/2024 01:00 | 2108.484 | 2290.711 | 1926.257
02/03/2024 01:30 | 2073.609 | 2253.317 | 1893.901
02/03/2024 02:00 | 2049.949 | 2228.097 | 1871.802
02/03/2024 02:30 | 2026.301 | 2202.877 | 1849.725
02/03/2024 03:00 | 2009.367 | 2184.948 | 1833.786
02/03/2024 03:30 | 1995.79 | 2170.66 | 1820.919
02/03/2024 04:00 | 1991.318 | 2166.272 | 1816.363
02/03/2024 04:30 | 1993.411 | 2169.026 | 1817.797
02/03/2024 05:00 | 2003.228 | 2180.186 | 1826.27
02/03/2024 05:30 | 2014.527 | 2192.964 | 1836.089
02/03/2024 06:00 | 1997.215 | 2174.596 | 1819.834
02/03/2024 06:30 | 1964.378 | 2139.312 | 1789.444
02/03/2024 07:00 | 1941.314 | 2114.657 | 1767.97
02/03/2024 07:30 | 1903.819 | 2074.142 | 1733.496
02/03/2024 08:00 | 1847.7 | 2013.076 | 1682.324
02/03/2024 08:30 | 1749.395 | 1906.061 | 1592.729
02/03/2024 09:00 | 1725.579 | 1880.2 | 1570.958
02/03/2024 09:30 | 1814.768 | 1977.474 | 1652.063
02/03/2024 10:00 | 1867.444 | 2034.968 | 1699.92
02/03/2024 10:30 | 1841.903 | 2007.229 | 1676.577
02/03/2024 11:00 | 1873.806 | 2042.092 | 1705.521
02/03/2024 11:30 | 1944.914 | 2119.684 | 1770.143
02/03/2024 12:00 | 2057.033 | 2241.984 | 1872.082
02/03/2024 12:30 | 2260.277 | 2463.616 | 2056.937
02/03/2024 13:00 | 2419.087 | 2636.837 | 2201.337
02/03/2024 13:30 | 2441.065 | 2660.918 | 2221.212
02/03/2024 14:00 | 2539.767 | 2768.639 | 2310.896
02/03/2024 14:30 | 2727.102 | 2972.995 | 2481.209
02/03/2024 15:00 | 2881.691 | 3141.67 | 2621.713
02/03/2024 15:30 | 2971.294 | 3239.508 | 2703.081
02/03/2024 16:00 | 3080.112 | 3358.305 | 2801.918
02/03/2024 16:30 | 3228.799 | 3520.586 | 2937.012
02/03/2024 17:00 | 3302.337 | 3600.938 | 3003.735
02/03/2024 17:30 | 3328.871 | 3630.041 | 3027.7
02/03/2024 18:00 | 3302.022 | 3600.931 | 3003.112
02/03/2024 18:30 | 3262.516 | 3558.015 | 2967.016
02/03/2024 19:00 | 3185.239 | 3473.902 | 2896.577
02/03/2024 19:30 | 3092.801 | 3373.244 | 2812.358
02/03/2024 20:00 | 2997.292 | 3269.228 | 2725.357
02/03/2024 20:30 | 2900.945 | 3164.287 | 2637.603
02/03/2024 21:00 | 2797.12 | 3051.179 | 2543.06
02/03/2024 21:30 | 2686.67 | 2930.835 | 2442.506
02/03/2024 22:00 | 2583.321 | 2818.224 | 2348.417
02/03/2024 22:30 | 2487.471 | 2713.786 | 2261.156
02/03/2024 23:00 | 2406.504 | 2625.575 | 2187.432
02/03/2024 23:30 | 2343.054 | 2556.469 | 2129.639
03/03/2024 00:00 | 2288.517 | 2497.08 | 2079.953
03/03/2024 00:30 | 2240.355 | 2444.644 | 2036.067
03/03/2024 01:00 | 2197.48 | 2397.971 | 1996.989
03/03/2024 01:30 | 2157.087 | 2354.003 | 1960.171
03/03/2024 02:00 | 2125.16 | 2319.27 | 1931.051
03/03/2024 02:30 | 2096.76 | 2288.382 | 1905.137
03/03/2024 03:00 | 2076.596 | 2266.482 | 1886.711
03/03/2024 03:30 | 2056.871 | 2245.058 | 1868.684
03/03/2024 04:00 | 2044.433 | 2231.585 | 1857.28
03/03/2024 04:30 | 2036.156 | 2222.656 | 1849.657
03/03/2024 05:00 | 2052.189 | 2240.262 | 1864.117
03/03/2024 05:30 | 2078.437 | 2269.021 | 1887.853
03/03/2024 06:00 | 2045.159 | 2232.796 | 1857.523
03/03/2024 06:30 | 2003.134 | 2187.017 | 1819.251
03/03/2024 07:00 | 1989.436 | 2172.162 | 1806.708
03/03/2024 07:30 | 1955.388 | 2135.087 | 1775.688
03/03/2024 08:00 | 1934.99 | 2112.914 | 1757.067
03/03/2024 08:30 | 1955.036 | 2134.903 | 1775.17
03/03/2024 09:00 | 1984.363 | 2167.028 | 1801.697
03/03/2024 09:30 | 2026.134 | 2212.748 | 1839.52
03/03/2024 10:00 | 2071.682 | 2262.597 | 1880.767
03/03/2024 10:30 | 2144.965 | 2342.742 | 1947.187
03/03/2024 11:00 | 2247.337 | 2454.668 | 2040.005
03/03/2024 11:30 | 2340.67 | 2556.731 | 2124.608
03/03/2024 12:00 | 2454.448 | 2681.137 | 2227.759
03/03/2024 12:30 | 2615.139 | 2856.803 | 2373.476
03/03/2024 13:00 | 2717.302 | 2968.544 | 2466.059
03/03/2024 13:30 | 2816.127 | 3076.651 | 2555.603
03/03/2024 14:00 | 2945.938 | 3218.621 | 2673.255
03/03/2024 14:30 | 3109.28 | 3397.241 | 2821.319
03/03/2024 15:00 | 3271.786 | 3574.964 | 2968.608
03/03/2024 15:30 | 3455.284 | 3775.642 | 3134.926
03/03/2024 16:00 | 3631.203 | 3968.056 | 3294.349
03/03/2024 16:30 | 3780.048 | 4130.902 | 3429.194
03/03/2024 17:00 | 3870.91 | 4230.395 | 3511.425
03/03/2024 17:30 | 3896.829 | 4258.919 | 3534.739
03/03/2024 18:00 | 3875.902 | 4236.246 | 3515.559
03/03/2024 18:30 | 3804.868 | 4158.802 | 3450.935
03/03/2024 19:00 | 3677.808 | 4020.109 | 3335.506
03/03/2024 19:30 | 3584.132 | 3917.898 | 3250.366
03/03/2024 20:00 | 3473.198 | 3796.811 | 3149.586
03/03/2024 20:30 | 3337.212 | 3648.324 | 3026.1
03/03/2024 21:00 | 3185.693 | 3482.843 | 2888.544
03/03/2024 21:30 | 3035.294 | 3318.57 | 2752.019
03/03/2024 22:00 | 2894.211 | 3164.467 | 2623.955
03/03/2024 22:30 | 2760.068 | 3017.938 | 2502.197
03/03/2024 23:00 | 2633.588 | 2879.776 | 2387.4
03/03/2024 23:30 | 2514.628 | 2752.884 | 2276.373
04/03/2024 00:00 | 2401.465 | 2635.027 | 2167.903
04/03/2024 00:30 | 2324.968 | 2551.073 | 2098.863
04/03/2024 01:00 | 2282.998 | 2505.458 | 2060.537
04/03/2024 01:30 | 2257.842 | 2478.284 | 2037.4
04/03/2024 02:00 | 2229.784 | 2447.915 | 2011.654
04/03/2024 02:30 | 2203.229 | 2419.183 | 1987.274
04/03/2024 03:00 | 2184.206 | 2398.715 | 1969.697
04/03/2024 03:30 | 2170.133 | 2383.676 | 1956.591
04/03/2024 04:00 | 2161.966 | 2375.12 | 1948.813
04/03/2024 04:30 | 2168.38 | 2382.582 | 1954.179
04/03/2024 05:00 | 2184.874 | 2401.124 | 1968.625
04/03/2024 05:30 | 2200.948 | 2419.21 | 1982.685
04/03/2024 06:00 | 2219.642 | 2440.183 | 1999.1
04/03/2024 06:30 | 2220.01 | 2441.013 | 1999.006
04/03/2024 07:00 | 2210.174 | 2430.622 | 1989.726
04/03/2024 07:30 | 2186.79 | 2405.436 | 1968.143
04/03/2024 08:00 | 2198.25 | 2418.798 | 1977.701
04/03/2024 08:30 | 2236.606 | 2461.753 | 2011.459
04/03/2024 09:00 | 2287.047 | 2518.038 | 2056.055
04/03/2024 09:30 | 2333.115 | 2569.542 | 2096.689
04/03/2024 10:00 | 2389.269 | 2632.187 | 2146.351
04/03/2024 10:30 | 2456.231 | 2706.78 | 2205.681
04/03/2024 11:00 | 2514.11 | 2771.406 | 2256.813
04/03/2024 11:30 | 2514.228 | 2772.38 | 2256.077
04/03/2024 12:00 | 2503.853 | 2761.779 | 2245.927
04/03/2024 12:30 | 2520.92 | 2781.449 | 2260.391
04/03/2024 13:00 | 2563.728 | 2829.541 | 2297.915
04/03/2024 13:30 | 2659.805 | 2936.471 | 2383.139
04/03/2024 14:00 | 2756.538 | 3044.19 | 2468.886
04/03/2024 14:30 | 2914.995 | 3220.161 | 2609.83
04/03/2024 15:00 | 3080.765 | 3404.317 | 2757.213
04/03/2024 15:30 | 3284.548 | 3630.604 | 2938.493
04/03/2024 16:00 | 3496.224 | 3865.753 | 3126.694
04/03/2024 16:30 | 3663.781 | 4052.249 | 3275.314
04/03/2024 17:00 | 3765.508 | 4166.025 | 3364.992
04/03/2024 17:30 | 3780.56 | 4183.944 | 3377.175
04/03/2024 18:00 | 3721.184 | 4119.481 | 3322.887
04/03/2024 18:30 | 3606.149 | 3993.343 | 3218.956
04/03/2024 19:00 | 3447.392 | 3818.696 | 3076.089
04/03/2024 19:30 | 3318.915 | 3677.494 | 2960.336
04/03/2024 20:00 | 3177.903 | 3522.312 | 2833.493
04/03/2024 20:30 | 3023.796 | 3352.517 | 2695.074
04/03/2024 21:00 | 2871.958 | 3185.136 | 2558.781
04/03/2024 21:30 | 2725.077 | 3023.152 | 2427.002
04/03/2024 22:00 | 2593.477 | 2878.026 | 2308.927
04/03/2024 22:30 | 2487.873 | 2761.67 | 2214.075
04/03/2024 23:00 | 2400.237 | 2665.195 | 2135.28
04/03/2024 23:30 | 2257.44 | 2507.392 | 2007.489
05/03/2024 00:00 | 2112.381 | 2346.979 | 1877.783
05/03/2024 00:30 | 2054.843 | 2283.74 | 1825.946
05/03/2024 01:00 | 2009.035 | 2233.502 | 1784.567
05/03/2024 01:30 | 1982.838 | 2205.044 | 1760.633
05/03/2024 02:00 | 1960.01 | 2180.314 | 1739.705
05/03/2024 02:30 | 1941.009 | 2159.828 | 1722.189
05/03/2024 03:00 | 1929.551 | 2147.726 | 1711.376
05/03/2024 03:30 | 1927.972 | 2146.615 | 1709.329
05/03/2024 04:00 | 1942.689 | 2163.652 | 1721.725
05/03/2024 04:30 | 1988.532 | 2215.376 | 1761.687
05/03/2024 05:00 | 2051.062 | 2285.728 | 1816.397
05/03/2024 05:30 | 2114.703 | 2357.358 | 1872.047
05/03/2024 06:00 | 2157.299 | 2405.565 | 1909.032
05/03/2024 06:30 | 2128.88 | 2374.59 | 1883.17
05/03/2024 07:00 | 2066.279 | 2305.456 | 1827.101
05/03/2024 07:30 | 1951.444 | 2177.983 | 1724.904