## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
28/02/2024 08:00 | 1860.32 | 1884.176 | 1831.682
28/02/2024 08:30 | 1761.983 | 1792.112 | 1731.854 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
28/02/2024 09:00 | 1669.853 | 1703.371 | 1636.335 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
28/02/2024 09:30 | 1597.447 | 1634.26 | 1560.634 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
28/02/2024 10:00 | 1556.506 | 1597.003 | 1516.009 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
28/02/2024 10:30 | 1541.207 | 1584.785 | 1497.629 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
28/02/2024 11:00 | 1558.285 | 1603.657 | 1512.914 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
28/02/2024 11:30 | 1592.566 | 1640.469 | 1544.662 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
28/02/2024 12:00 | 1635.999 | 1667.196 | 1566.804 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
28/02/2024 12:30 | 1682.038 | 1717.919 | 1611.363 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
28/02/2024 13:00 | 1761.541 | 1804.343 | 1689.167 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
28/02/2024 13:30 | 1894.88 | 1946.494 | 1818.733
28/02/2024 14:00 | 2030.694 | 2089.837 | 1948.906 | Summary view - for each schedule horizon (dispatch, week-ahead)
28/02/2024 14:30 | 2155.837 | 2223.409 | 2069.475
28/02/2024 15:00 | 2276.431 | 2352.623 | 2185.523 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
28/02/2024 15:30 | 2398.548 | 2481.146 | 2300.476 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
28/02/2024 16:00 | 2535.725 | 2626.463 | 2430.518 | Scenario | Violations
28/02/2024 16:30 | 2672.442 | 2772.208 | 2560.446 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
28/02/2024 17:00 | 2777.073 | 2883.787 | 2658.369 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
28/02/2024 17:30 | 2826.34 | 2938.871 | 2703.924 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 26 | 0 | 0 | 0 | 0 | 1
28/02/2024 18:00 | 2835.542 | 2952.38 | 2711.117 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 0
28/02/2024 18:30 | 2813.44 | 2935.428 | 2691.451 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 0 | 0 | 2
28/02/2024 19:00 | 2763.44 | 2884.247 | 2642.634
28/02/2024 19:30 | 2683.112 | 2801.457 | 2564.767 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
28/02/2024 20:00 | 2588.92 | 2704.124 | 2473.716
28/02/2024 20:30 | 2481.485 | 2592.879 | 2370.091 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
28/02/2024 21:00 | 2373.939 | 2481.435 | 2266.444 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
28/02/2024 21:30 | 2275.686 | 2379.623 | 2171.749 | [7 empty] | 28/02/2024 10:00 |  |  |  |  | 28/02/2024 11:00 | [6 empty] | 28/02/2024 09:30 | [11 empty] | 28/02/2024 10:00 |  |  |  |  | 28/02/2024 11:30
28/02/2024 22:00 | 2188.929 | 2289.76 | 2088.097 | [7 empty] | 28/02/2024 10:30 | [11 empty] | 28/02/2024 10:00 | [11 empty] | 28/02/2024 10:30 |  |  |  |  | 03/03/2024 06:00
28/02/2024 22:30 | 2116.242 | 2214.553 | 2017.93 | [7 empty] | 28/02/2024 11:00 | [11 empty] | 28/02/2024 10:30 | [11 empty] | 28/02/2024 11:00
28/02/2024 23:00 | 2059.952 | 2156.454 | 1963.449 | [7 empty] | 28/02/2024 11:30 | [11 empty] | 28/02/2024 11:00 | [11 empty] | 28/02/2024 11:30
28/02/2024 23:30 | 2014.68 | 2109.851 | 1919.51 | [7 empty] | 28/02/2024 12:00 | [11 empty] | 29/02/2024 10:30 | [11 empty] | 28/02/2024 12:00
29/02/2024 00:00 | 1979.966 | 2074.271 | 1885.66 | [7 empty] | 28/02/2024 12:30 | [11 empty] | 29/02/2024 11:00 | [11 empty] | 28/02/2024 12:30
29/02/2024 00:30 | 1951.633 | 2045.353 | 1857.913 | [7 empty] | 29/02/2024 10:30 | [11 empty] | 29/02/2024 11:30 | [11 empty] | 28/02/2024 13:00
29/02/2024 01:00 | 1929.127 | 2022.521 | 1835.733 | [7 empty] | 29/02/2024 11:00 | [11 empty] | 01/03/2024 09:30 | [11 empty] | 29/02/2024 11:00
29/02/2024 01:30 | 1913.96 | 2007.37 | 1820.551 | [7 empty] | 29/02/2024 11:30 | [11 empty] | 01/03/2024 10:00 | [11 empty] | 29/02/2024 11:30
29/02/2024 02:00 | 1903.774 | 1997.431 | 1810.117 | [7 empty] | 29/02/2024 12:00 | [11 empty] | 01/03/2024 10:30 | [11 empty] | 29/02/2024 12:00
29/02/2024 02:30 | 1895.885 | 1989.896 | 1801.874 | [7 empty] | 29/02/2024 12:30 | [11 empty] | 01/03/2024 11:00 | [11 empty] | 01/03/2024 09:30
29/02/2024 03:00 | 1895.936 | 1990.691 | 1801.18 | [7 empty] | 29/02/2024 13:00 | [11 empty] | 01/03/2024 11:30 | [11 empty] | 01/03/2024 10:00
29/02/2024 03:30 | 1908.839 | 2004.986 | 1812.692 | [7 empty] | 01/03/2024 09:30 | [11 empty] | 01/03/2024 12:00 | [11 empty] | 01/03/2024 10:30
29/02/2024 04:00 | 1944.173 | 2042.861 | 1845.485 | [7 empty] | 01/03/2024 10:00 | [11 empty] | 04/03/2024 11:00 | [11 empty] | 01/03/2024 11:00
29/02/2024 04:30 | 2002.756 | 2105.202 | 1900.311 | [7 empty] | 01/03/2024 10:30 | [11 empty] | 04/03/2024 11:30 | [11 empty] | 01/03/2024 11:30
29/02/2024 05:00 | 2067.385 | 2173.946 | 1960.824 | [7 empty] | 01/03/2024 11:00 | [11 empty] | 04/03/2024 12:00 | [11 empty] | 01/03/2024 12:00
29/02/2024 05:30 | 2126.435 | 2236.871 | 2015.998 | [7 empty] | 01/03/2024 12:00 | [11 empty] | 04/03/2024 12:30 | [11 empty] | 01/03/2024 12:30
29/02/2024 06:00 | 2169.892 | 2283.435 | 2056.349 | [7 empty] | 04/03/2024 12:30 | [11 empty] | 04/03/2024 13:00 | [11 empty] | 03/03/2024 11:30
29/02/2024 06:30 | 2157.289 | 2270.843 | 2043.735 | [7 empty] | 04/03/2024 13:00 | [11 empty] | 05/03/2024 11:00 | [11 empty] | 03/03/2024 12:00
29/02/2024 07:00 | 2080.646 | 2190.48 | 1970.811 | [7 empty] | 04/03/2024 13:30 | [11 empty] | 05/03/2024 11:30 | [11 empty] | 05/03/2024 11:30
29/02/2024 07:30 | 1957.836 | 2061.511 | 1854.161 | [7 empty] | 04/03/2024 14:00 | [11 empty] | 05/03/2024 12:00 | [11 empty] | 05/03/2024 12:00
29/02/2024 08:00 | 1828.882 | 1926.03 | 1731.733 | [7 empty] | 05/03/2024 11:30 | [11 empty] | 05/03/2024 12:30 | [11 empty] | 05/03/2024 12:30
29/02/2024 08:30 | 1725.664 | 1817.615 | 1633.714 | [7 empty] | 05/03/2024 12:00 | [11 empty] | 05/03/2024 13:00 | [11 empty] | 05/03/2024 13:00
29/02/2024 09:00 | 1643.287 | 1731.12 | 1555.455 | [7 empty] | 05/03/2024 12:30
29/02/2024 09:30 | 1592.904 | 1678.306 | 1507.501 | [7 empty] | 05/03/2024 13:00
29/02/2024 10:00 | 1580.539 | 1665.539 | 1495.538 | [7 empty] | 05/03/2024 13:30
29/02/2024 10:30 | 1595.68 | 1681.758 | 1509.602
29/02/2024 11:00 | 1641.556 | 1730.38 | 1552.732
29/02/2024 11:30 | 1692.844 | 1784.723 | 1600.966
29/02/2024 12:00 | 1772.261 | 1868.742 | 1675.779
29/02/2024 12:30 | 1871.449 | 1973.639 | 1769.259
29/02/2024 13:00 | 1968.481 | 2076.294 | 1860.667
29/02/2024 13:30 | 2101.926 | 2217.396 | 1986.456
29/02/2024 14:00 | 2250.629 | 2374.639 | 2126.619
29/02/2024 14:30 | 2422.016 | 2555.87 | 2288.162
29/02/2024 15:00 | 2619.562 | 2764.765 | 2474.358
29/02/2024 15:30 | 2809.171 | 2965.349 | 2652.993
29/02/2024 16:00 | 2978.752 | 3144.85 | 2812.655
29/02/2024 16:30 | 3122.52 | 3297.149 | 2947.89
29/02/2024 17:00 | 3224.413 | 3405.273 | 3043.553
29/02/2024 17:30 | 3272.159 | 3456.237 | 3088.08
29/02/2024 18:00 | 3260.117 | 3444.056 | 3076.177
29/02/2024 18:30 | 3211.089 | 3392.792 | 3029.385
29/02/2024 19:00 | 3127.302 | 3304.781 | 2949.824
29/02/2024 19:30 | 3026.842 | 3199.119 | 2855.707
29/02/2024 20:00 | 2908.292 | 3074.302 | 2743.37
29/02/2024 20:30 | 2767.04 | 2925.443 | 2609.661
29/02/2024 21:00 | 2631.852 | 2782.95 | 2481.721
29/02/2024 21:30 | 2511.583 | 2655.46 | 2367.89
29/02/2024 22:00 | 2401.799 | 2539.774 | 2263.982
29/02/2024 22:30 | 2306.482 | 2439.351 | 2173.744
29/02/2024 23:00 | 2229.111 | 2357.878 | 2100.446
29/02/2024 23:30 | 2165.598 | 2291.039 | 2040.228
01/03/2024 00:00 | 2114.162 | 2236.959 | 1991.408
01/03/2024 00:30 | 2073.364 | 2194.111 | 1952.617
01/03/2024 01:00 | 2040.64 | 2159.818 | 1921.462
01/03/2024 01:30 | 2017.179 | 2135.321 | 1899.038
01/03/2024 02:00 | 1997.825 | 2115.162 | 1880.487
01/03/2024 02:30 | 1982.412 | 2099.172 | 1865.653
01/03/2024 03:00 | 1975.777 | 2092.472 | 1859.082
01/03/2024 03:30 | 1978.27 | 2095.438 | 1861.101
01/03/2024 04:00 | 2000.845 | 2119.681 | 1882.009
01/03/2024 04:30 | 2050.495 | 2172.619 | 1928.372
01/03/2024 05:00 | 2119.396 | 2245.973 | 1992.818
01/03/2024 05:30 | 2192.254 | 2323.544 | 2060.964
01/03/2024 06:00 | 2231.717 | 2365.739 | 2097.695
01/03/2024 06:30 | 2209.644 | 2342.705 | 2076.582
01/03/2024 07:00 | 2155.039 | 2285.168 | 2024.91
01/03/2024 07:30 | 2059.415 | 2184.149 | 1934.681
01/03/2024 08:00 | 1970.673 | 2090.469 | 1850.876
01/03/2024 08:30 | 1886.469 | 2001.558 | 1771.379
01/03/2024 09:00 | 1823.3 | 1934.934 | 1711.666
01/03/2024 09:30 | 1783.22 | 1892.79 | 1673.651
01/03/2024 10:00 | 1767.015 | 1875.976 | 1658.055
01/03/2024 10:30 | 1764.074 | 1873.239 | 1654.91
01/03/2024 11:00 | 1805.648 | 1917.78 | 1693.517
01/03/2024 11:30 | 1878.071 | 1995.11 | 1761.031
01/03/2024 12:00 | 1960.214 | 2082.801 | 1837.628
01/03/2024 12:30 | 2069.381 | 2199.247 | 1939.515
01/03/2024 13:00 | 2182.086 | 2319.501 | 2044.671
01/03/2024 13:30 | 2306.89 | 2452.669 | 2161.111
01/03/2024 14:00 | 2449.301 | 2604.614 | 2293.988
01/03/2024 14:30 | 2605.582 | 2771.375 | 2439.79
01/03/2024 15:00 | 2809.057 | 2988.41 | 2629.704
01/03/2024 15:30 | 3019.579 | 3213.033 | 2826.124
01/03/2024 16:00 | 3176.347 | 3380.539 | 2972.155
01/03/2024 16:30 | 3279.171 | 3490.69 | 3067.653
01/03/2024 17:00 | 3337.845 | 3553.878 | 3121.812
01/03/2024 17:30 | 3348.239 | 3565.676 | 3130.802
01/03/2024 18:00 | 3322.933 | 3539.453 | 3106.414
01/03/2024 18:30 | 3274.904 | 3489.009 | 3060.799
01/03/2024 19:00 | 3183.845 | 3392.693 | 2974.998
01/03/2024 19:30 | 3088.25 | 3291.502 | 2884.998
01/03/2024 20:00 | 2982.615 | 3179.567 | 2785.664
01/03/2024 20:30 | 2866.8 | 3056.73 | 2676.87
01/03/2024 21:00 | 2746.899 | 2929.486 | 2564.313
01/03/2024 21:30 | 2632.916 | 2808.501 | 2457.331
01/03/2024 22:00 | 2530.724 | 2700.047 | 2361.401
01/03/2024 22:30 | 2429.125 | 2592.182 | 2266.069
01/03/2024 23:00 | 2331.027 | 2488.007 | 2174.046
01/03/2024 23:30 | 2239.957 | 2396.629 | 2083.285
02/03/2024 00:00 | 2159.071 | 2320.758 | 1997.384
02/03/2024 00:30 | 2098.439 | 2255.236 | 1941.642
02/03/2024 01:00 | 2047.77 | 2201.27 | 1894.27
02/03/2024 01:30 | 2014.594 | 2166.088 | 1863.1
02/03/2024 02:00 | 1993.002 | 2143.349 | 1842.655
02/03/2024 02:30 | 1971.149 | 2120.319 | 1821.98
02/03/2024 03:00 | 1955.851 | 2104.329 | 1807.372
02/03/2024 03:30 | 1943.635 | 2091.65 | 1795.62
02/03/2024 04:00 | 1940.743 | 2089.002 | 1792.484
02/03/2024 04:30 | 1944.542 | 2093.556 | 1795.529
02/03/2024 05:00 | 1945.094 | 2094.615 | 1795.574
02/03/2024 05:30 | 1942.832 | 2092.643 | 1793.022
02/03/2024 06:00 | 1920.102 | 2068.619 | 1771.586
02/03/2024 06:30 | 1889.783 | 2036.406 | 1743.161
02/03/2024 07:00 | 1885.041 | 2031.746 | 1738.336
02/03/2024 07:30 | 1848.604 | 1992.916 | 1704.293
02/03/2024 08:00 | 1809.075 | 1950.733 | 1667.418
02/03/2024 08:30 | 1755.656 | 1893.55 | 1617.762
02/03/2024 09:00 | 1686.021 | 1818.848 | 1553.193
02/03/2024 09:30 | 1577.229 | 1701.863 | 1452.596
02/03/2024 10:00 | 1511.799 | 1631.623 | 1391.975
02/03/2024 10:30 | 1566.051 | 1690.549 | 1441.552
02/03/2024 11:00 | 1637.999 | 1768.608 | 1507.389
02/03/2024 11:30 | 1712.69 | 1849.664 | 1575.716
02/03/2024 12:00 | 1799.574 | 1943.927 | 1655.222
02/03/2024 12:30 | 1917.418 | 2071.681 | 1763.155
02/03/2024 13:00 | 2055.224 | 2221.065 | 1889.382
02/03/2024 13:30 | 2191.054 | 2368.38 | 2013.729
02/03/2024 14:00 | 2355.757 | 2546.975 | 2164.54
02/03/2024 14:30 | 2539.109 | 2745.815 | 2332.402
02/03/2024 15:00 | 2721.663 | 2943.881 | 2499.444
02/03/2024 15:30 | 2889.564 | 3126.182 | 2652.947
02/03/2024 16:00 | 3044.88 | 3294.943 | 2794.817
02/03/2024 16:30 | 3197.024 | 3460.346 | 2933.703
02/03/2024 17:00 | 3273.194 | 3543.572 | 3002.817
02/03/2024 17:30 | 3309.173 | 3583.312 | 3035.033
02/03/2024 18:00 | 3293.699 | 3567.344 | 3020.054
02/03/2024 18:30 | 3254.833 | 3526.026 | 2983.64
02/03/2024 19:00 | 3172.914 | 3438.039 | 2907.788
02/03/2024 19:30 | 3082.74 | 3341.067 | 2824.413
02/03/2024 20:00 | 2988.418 | 3239.555 | 2737.281
02/03/2024 20:30 | 2894.954 | 3138.927 | 2650.98
02/03/2024 21:00 | 2794.323 | 3030.484 | 2558.162
02/03/2024 21:30 | 2684.702 | 2912.24 | 2457.165
02/03/2024 22:00 | 2582.008 | 2801.459 | 2362.558
02/03/2024 22:30 | 2487.25 | 2699.241 | 2275.259
02/03/2024 23:00 | 2405.676 | 2611.289 | 2200.063
02/03/2024 23:30 | 2342.921 | 2543.73 | 2142.112
03/03/2024 00:00 | 2289.605 | 2486.392 | 2092.819
03/03/2024 00:30 | 2241.99 | 2435.219 | 2048.76
03/03/2024 01:00 | 2199.635 | 2389.739 | 2009.53
03/03/2024 01:30 | 2161.147 | 2348.442 | 1973.853
03/03/2024 02:00 | 2131.187 | 2316.394 | 1945.98
03/03/2024 02:30 | 2102.615 | 2285.841 | 1919.389
03/03/2024 03:00 | 2080.557 | 2262.358 | 1898.756
03/03/2024 03:30 | 2061.042 | 2241.629 | 1880.453
03/03/2024 04:00 | 2050.042 | 2230.156 | 1869.928
03/03/2024 04:30 | 2043.085 | 2223.076 | 1863.094
03/03/2024 05:00 | 2028.672 | 2207.878 | 1849.466
03/03/2024 05:30 | 2012.932 | 2191.228 | 1834.636
03/03/2024 06:00 | 1981.748 | 2157.756 | 1805.741
03/03/2024 06:30 | 1928.411 | 2100.141 | 1756.68
03/03/2024 07:00 | 1910.935 | 2081.566 | 1740.304
03/03/2024 07:30 | 1907.028 | 2077.638 | 1736.418
03/03/2024 08:00 | 1909.237 | 2080.121 | 1738.354
03/03/2024 08:30 | 1908.218 | 2079.107 | 1737.328
03/03/2024 09:00 | 1935.503 | 2108.935 | 1762.071
03/03/2024 09:30 | 2019.052 | 2200.073 | 1838.031
03/03/2024 10:00 | 2046.594 | 2230.188 | 1862.999
03/03/2024 10:30 | 2002.984 | 2182.769 | 1823.199
03/03/2024 11:00 | 2047.431 | 2231.31 | 1863.552
03/03/2024 11:30 | 2141.149 | 2333.554 | 1948.745
03/03/2024 12:00 | 2235.551 | 2436.553 | 2034.55
03/03/2024 12:30 | 2380.032 | 2594.145 | 2165.919
03/03/2024 13:00 | 2480.364 | 2703.63 | 2257.098
03/03/2024 13:30 | 2552.452 | 2782.337 | 2322.568
03/03/2024 14:00 | 2655.815 | 2895.145 | 2416.485
03/03/2024 14:30 | 2801.393 | 3053.984 | 2548.802
03/03/2024 15:00 | 2967.985 | 3235.748 | 2700.221
03/03/2024 15:30 | 3159.233 | 3444.412 | 2874.055
03/03/2024 16:00 | 3340.592 | 3642.312 | 3038.873
03/03/2024 16:30 | 3498.022 | 3814.139 | 3181.906
03/03/2024 17:00 | 3608.855 | 3935.173 | 3282.538
03/03/2024 17:30 | 3650.127 | 3980.362 | 3319.892
03/03/2024 18:00 | 3629.207 | 3957.734 | 3300.68
03/03/2024 18:30 | 3557.336 | 3879.539 | 3235.133
03/03/2024 19:00 | 3437.807 | 3749.359 | 3126.255
03/03/2024 19:30 | 3339.042 | 3641.814 | 3036.271
03/03/2024 20:00 | 3223.215 | 3515.647 | 2930.782
03/03/2024 20:30 | 3094.022 | 3374.891 | 2813.153
03/03/2024 21:00 | 2949.97 | 3217.913 | 2682.027
03/03/2024 21:30 | 2810.983 | 3066.445 | 2555.521
03/03/2024 22:00 | 2683.867 | 2927.914 | 2439.821
03/03/2024 22:30 | 2562.438 | 2795.574 | 2329.302
03/03/2024 23:00 | 2445.811 | 2668.46 | 2223.162
03/03/2024 23:30 | 2331.711 | 2541.326 | 2122.097
04/03/2024 00:00 | 2221.988 | 2416.74 | 2027.235
04/03/2024 00:30 | 2148.557 | 2337.74 | 1959.375
04/03/2024 01:00 | 2109.801 | 2295.975 | 1923.627
04/03/2024 01:30 | 2091.33 | 2276.275 | 1906.385
04/03/2024 02:00 | 2067.279 | 2250.493 | 1884.065
04/03/2024 02:30 | 2046.048 | 2227.772 | 1864.323
04/03/2024 03:00 | 2031.551 | 2212.378 | 1850.725
04/03/2024 03:30 | 2022.199 | 2202.581 | 1841.817
04/03/2024 04:00 | 2016.878 | 2197.172 | 1836.585
04/03/2024 04:30 | 2022.978 | 2204.205 | 1841.751
04/03/2024 05:00 | 2027.269 | 2209.268 | 1845.269
04/03/2024 05:30 | 2023.176 | 2205.196 | 1841.156
04/03/2024 06:00 | 2018.082 | 2200.031 | 1836.133
04/03/2024 06:30 | 2012.339 | 2194.155 | 1830.522
04/03/2024 07:00 | 2013.437 | 2195.739 | 1831.135
04/03/2024 07:30 | 1968.284 | 2146.875 | 1789.694
04/03/2024 08:00 | 1903.125 | 2076.168 | 1730.082
04/03/2024 08:30 | 1793.247 | 1956.644 | 1629.851
04/03/2024 09:00 | 1718.488 | 1875.401 | 1561.574
04/03/2024 09:30 | 1674.93 | 1828.187 | 1521.672
04/03/2024 10:00 | 1660.969 | 1813.267 | 1508.67
04/03/2024 10:30 | 1681.436 | 1835.933 | 1526.938
04/03/2024 11:00 | 1695.83 | 1851.975 | 1539.685
04/03/2024 11:30 | 1689.05 | 1844.895 | 1533.206
04/03/2024 12:00 | 1708.289 | 1866.236 | 1550.342
04/03/2024 12:30 | 1778.146 | 1942.893 | 1613.4
04/03/2024 13:00 | 1854.296 | 2026.453 | 1682.139
04/03/2024 13:30 | 1944.367 | 2125.26 | 1763.474
04/03/2024 14:00 | 2059.982 | 2252.026 | 1867.939
04/03/2024 14:30 | 2227.906 | 2436.031 | 2019.781
04/03/2024 15:00 | 2411.913 | 2637.689 | 2186.136
04/03/2024 15:30 | 2624.363 | 2870.53 | 2378.196
04/03/2024 16:00 | 2849.386 | 3117.207 | 2581.565
04/03/2024 16:30 | 3037.157 | 3323.209 | 2751.105
04/03/2024 17:00 | 3148.841 | 3446.016 | 2851.667
04/03/2024 17:30 | 3182.339 | 3483.284 | 2881.393
04/03/2024 18:00 | 3147.182 | 3445.406 | 2848.958
04/03/2024 18:30 | 3066.768 | 3357.96 | 2775.576
04/03/2024 19:00 | 2952.466 | 3233.371 | 2671.562
04/03/2024 19:30 | 2838.657 | 3109.278 | 2568.037
04/03/2024 20:00 | 2715.553 | 2974.958 | 2456.147
04/03/2024 20:30 | 2591.685 | 2839.755 | 2343.616
04/03/2024 21:00 | 2476.543 | 2714.067 | 2239.021
04/03/2024 21:30 | 2364.546 | 2591.781 | 2137.312
04/03/2024 22:00 | 2264.629 | 2482.695 | 2046.562
04/03/2024 22:30 | 2189.766 | 2401.043 | 1978.488
04/03/2024 23:00 | 2138.12 | 2344.824 | 1931.416
04/03/2024 23:30 | 2033.817 | 2230.827 | 1836.806
05/03/2024 00:00 | 1927.904 | 2115.024 | 1740.783
05/03/2024 00:30 | 1896.929 | 2081.407 | 1712.452
05/03/2024 01:00 | 1870.235 | 2052.475 | 1687.995
05/03/2024 01:30 | 1851.853 | 2032.657 | 1671.049
05/03/2024 02:00 | 1836.369 | 2016.014 | 1656.725
05/03/2024 02:30 | 1824.222 | 2003.028 | 1645.417
05/03/2024 03:00 | 1819.404 | 1998.086 | 1640.722
05/03/2024 03:30 | 1823.525 | 2002.961 | 1644.089
05/03/2024 04:00 | 1844.045 | 2025.854 | 1662.236
05/03/2024 04:30 | 1896.199 | 2083.513 | 1708.885
05/03/2024 05:00 | 1962.706 | 2156.966 | 1768.445
05/03/2024 05:30 | 2026.712 | 2227.696 | 1825.728
05/03/2024 06:00 | 2087.606 | 2295.028 | 1880.183
05/03/2024 06:30 | 2098.338 | 2307.229 | 1889.447
05/03/2024 07:00 | 2050.663 | 2255.201 | 1846.125
05/03/2024 07:30 | 1917.76 | 2109.508 | 1726.013
05/03/2024 08:00 | 1798.637 | 1979.093 | 1618.181
05/03/2024 08:30 | 1687.613 | 1857.496 | 1517.731
05/03/2024 09:00 | 1594.567 | 1755.617 | 1433.516
05/03/2024 09:30 | 1548.218 | 1705.107 | 1391.33
05/03/2024 10:00 | 1514.814 | 1668.826 | 1360.802
05/03/2024 10:30 | 1497.767 | 1650.548 | 1344.986
05/03/2024 11:00 | 1526.612 | 1682.847 | 1370.377
05/03/2024 11:30 | 1596.835 | 1760.792 | 1432.878
05/03/2024 12:00 | 1675.919 | 1848.558 | 1503.28
05/03/2024 12:30 | 1786.435 | 1971.058 | 1601.813
05/03/2024 13:00 | 1900.247 | 2097.269 | 1703.225
05/03/2024 13:30 | 2004.616 | 2213.131 | 1796.101
05/03/2024 14:00 | 2121.557 | 2342.947 | 1900.167
05/03/2024 14:30 | 2281.677 | 2520.542 | 2042.813
05/03/2024 15:00 | 2499.793 | 2762.33 | 2237.257
05/03/2024 15:30 | 2692.179 | 2975.823 | 2408.534
05/03/2024 16:00 | 2860.93 | 3163.313 | 2558.547
05/03/2024 16:30 | 3016.054 | 3335.843 | 2696.264
05/03/2024 17:00 | 3118.444 | 3450.136 | 2786.753
05/03/2024 17:30 | 3158.428 | 3495.431 | 2821.425
05/03/2024 18:00 | 3146.051 | 3482.788 | 2809.313
05/03/2024 18:30 | 3091.765 | 3423.729 | 2759.801
05/03/2024 19:00 | 2991.413 | 3313.605 | 2669.221
05/03/2024 19:30 | 2882.414 | 3193.833 | 2570.995
05/03/2024 20:00 | 2765.174 | 3064.854 | 2465.495
05/03/2024 20:30 | 2642.952 | 2930.271 | 2355.632
05/03/2024 21:00 | 2509.072 | 2782.678 | 2235.466
05/03/2024 21:30 | 2388.163 | 2649.385 | 2126.94
05/03/2024 22:00 | 2280.953 | 2531.213 | 2030.692
05/03/2024 22:30 | 2189.824 | 2430.82 | 1948.828
05/03/2024 23:00 | 2114.86 | 2348.315 | 1881.405
05/03/2024 23:30 | 2045.172 | 2271.62 | 1818.724
06/03/2024 00:00 | 1986.319 | 2206.917 | 1765.721
06/03/2024 00:30 | 1940.788 | 2156.98 | 1724.596
06/03/2024 01:00 | 1906.738 | 2119.776 | 1693.699
06/03/2024 01:30 | 1882.09 | 2093.006 | 1671.175
06/03/2024 02:00 | 1861.931 | 2071.212 | 1652.651
06/03/2024 02:30 | 1848.952 | 2057.394 | 1640.51
06/03/2024 03:00 | 1842.513 | 2050.846 | 1634.179
06/03/2024 03:30 | 1847.677 | 2057.215 | 1638.14
06/03/2024 04:00 | 1873.079 | 2086.125 | 1660.033
06/03/2024 04:30 | 1925.071 | 2144.676 | 1705.466
06/03/2024 05:00 | 1987.476 | 2214.866 | 1760.086
06/03/2024 05:30 | 2051.875 | 2287.321 | 1816.428
06/03/2024 06:00 | 2092.57 | 2333.387 | 1851.752
06/03/2024 06:30 | 2056.917 | 2294.322 | 1819.513
06/03/2024 07:00 | 1987.145 | 2217.162 | 1757.128
06/03/2024 07:30 | 1860.955 | 2076.99 | 1644.921