## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
29/02/2024 08:00 | 1848.06 | 1879.494 | 1827.131
29/02/2024 08:30 | 1759.797 | 1789.888 | 1729.705 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
29/02/2024 09:00 | 1676.421 | 1710.07 | 1642.771 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
29/02/2024 09:30 | 1598.668 | 1635.509 | 1561.826 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
29/02/2024 10:00 | 1551.622 | 1591.992 | 1511.252 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
29/02/2024 10:30 | 1541.001 | 1584.573 | 1497.429 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
29/02/2024 11:00 | 1560.63 | 1606.069 | 1515.19 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
29/02/2024 11:30 | 1591.937 | 1639.821 | 1544.052 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
29/02/2024 12:00 | 1664.359 | 1716.024 | 1612.693 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
29/02/2024 12:30 | 1771.308 | 1828 | 1714.617 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
29/02/2024 13:00 | 1872.965 | 1934.714 | 1811.216 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
29/02/2024 13:30 | 2009.044 | 2077.215 | 1940.874
29/02/2024 14:00 | 2163.424 | 2238.916 | 2087.931 | Summary view - for each schedule horizon (dispatch, week-ahead)
29/02/2024 14:30 | 2337.737 | 2421.563 | 2250.645
29/02/2024 15:00 | 2532.871 | 2623.767 | 2437.409 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
29/02/2024 15:30 | 2724.56 | 2824.004 | 2618.369 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
29/02/2024 16:00 | 2898.262 | 3006.912 | 2782.585 | Scenario | Violations
29/02/2024 16:30 | 3047.514 | 3165.591 | 2923.78 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
29/02/2024 17:00 | 3157.742 | 3282.186 | 3025.625 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
29/02/2024 17:30 | 3211.198 | 3341.114 | 3074.01 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0
29/02/2024 18:00 | 3206.103 | 3339.949 | 3067.014 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0
29/02/2024 18:30 | 3162.187 | 3297.039 | 3023.006 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 0
29/02/2024 19:00 | 3084.221 | 3217.663 | 2948.12
29/02/2024 19:30 | 2985.814 | 3116.807 | 2853.474 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
29/02/2024 20:00 | 2870.25 | 2997.972 | 2742.528
29/02/2024 20:30 | 2733.388 | 2856.09 | 2610.686 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
29/02/2024 21:00 | 2601.365 | 2719.159 | 2483.572 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
29/02/2024 21:30 | 2485.007 | 2598.504 | 2371.509 | [7 empty] | 29/02/2024 09:00 | [11 empty] | 29/02/2024 08:00 | [11 empty] | 29/02/2024 08:00
29/02/2024 22:00 | 2378.414 | 2487.973 | 2268.854 | [7 empty] | 29/02/2024 09:30 | [11 empty] | 29/02/2024 09:00 | [11 empty] | 29/02/2024 09:00
29/02/2024 22:30 | 2285.843 | 2392.033 | 2179.652 | [7 empty] | 29/02/2024 10:00 | [11 empty] | 29/02/2024 09:30 | [11 empty] | 29/02/2024 09:30
29/02/2024 23:00 | 2211.87 | 2315.489 | 2108.25 | [7 empty] | 29/02/2024 10:30 | [11 empty] | 29/02/2024 10:00 | [11 empty] | 29/02/2024 10:00
29/02/2024 23:30 | 2151.524 | 2253.159 | 2049.889 | [7 empty] | 29/02/2024 11:00 | [11 empty] | 29/02/2024 10:30 | [11 empty] | 29/02/2024 10:30
01/03/2024 00:00 | 2103.429 | 2203.615 | 2003.243 | [7 empty] | 29/02/2024 11:30 | [11 empty] | 29/02/2024 11:00 | [11 empty] | 29/02/2024 11:00
01/03/2024 00:30 | 2064.916 | 2164.076 | 1965.756 | [7 empty] | 29/02/2024 12:00 | [11 empty] | 29/02/2024 11:30 | [11 empty] | 29/02/2024 11:30
01/03/2024 01:00 | 2034.029 | 2132.502 | 1935.556 | [7 empty] | 29/02/2024 12:30 | [11 empty] | 29/02/2024 12:00 | [11 empty] | 29/02/2024 12:00
01/03/2024 01:30 | 2011.561 | 2109.733 | 1913.389 | [7 empty] | 01/03/2024 09:30 | [11 empty] | 29/02/2024 12:30 | [11 empty] | 29/02/2024 12:30
01/03/2024 02:00 | 1993.705 | 2091.786 | 1895.624 | [7 empty] | 01/03/2024 10:00 | [11 empty] | 01/03/2024 09:00 | [11 empty] | 01/03/2024 10:00
01/03/2024 02:30 | 1979.567 | 2077.727 | 1881.406 | [7 empty] | 01/03/2024 10:30 | [11 empty] | 01/03/2024 09:30 | [11 empty] | 01/03/2024 10:30
01/03/2024 03:00 | 1972.939 | 2071.543 | 1874.335 | [7 empty] | 01/03/2024 11:00 | [11 empty] | 01/03/2024 10:00 | [11 empty] | 01/03/2024 11:00
01/03/2024 03:30 | 1975.24 | 2074.731 | 1875.747 | [7 empty] | 01/03/2024 11:30 | [11 empty] | 01/03/2024 10:30 | [11 empty] | 01/03/2024 11:30
01/03/2024 04:00 | 1998.339 | 2099.777 | 1896.901 | [7 empty] | 01/03/2024 12:00 | [11 empty] | 01/03/2024 11:00 | [11 empty] | 01/03/2024 12:00
01/03/2024 04:30 | 2048.419 | 2153.201 | 1943.638 | [7 empty] | 01/03/2024 12:30 | [11 empty] | 01/03/2024 11:30 | [11 empty] | 01/03/2024 12:30
01/03/2024 05:00 | 2118.16 | 2227.338 | 2008.982 | [19 empty] | 03/03/2024 10:00 | [11 empty] | 01/03/2024 13:00
01/03/2024 05:30 | 2190.633 | 2304.404 | 2076.862 | [19 empty] | 06/03/2024 13:00 | [11 empty] | 05/03/2024 11:00
01/03/2024 06:00 | 2228.635 | 2345.252 | 2112.019 | [19 empty] | 06/03/2024 13:30
01/03/2024 06:30 | 2204.004 | 2320.018 | 2087.991
01/03/2024 07:00 | 2147.328 | 2260.683 | 2033.973
01/03/2024 07:30 | 2043.25 | 2151.448 | 1935.052
01/03/2024 08:00 | 1936.547 | 2039.415 | 1833.68
01/03/2024 08:30 | 1836.377 | 1934.227 | 1738.528
01/03/2024 09:00 | 1751.164 | 1844.762 | 1657.565
01/03/2024 09:30 | 1683.332 | 1773.583 | 1593.082
01/03/2024 10:00 | 1655.694 | 1744.736 | 1566.652
01/03/2024 10:30 | 1667.535 | 1757.489 | 1577.581
01/03/2024 11:00 | 1711.994 | 1804.629 | 1619.359
01/03/2024 11:30 | 1769.953 | 1866.017 | 1673.889
01/03/2024 12:00 | 1840.687 | 1940.893 | 1740.48
01/03/2024 12:30 | 1950.721 | 2057.24 | 1844.202
01/03/2024 13:00 | 2072.563 | 2186.078 | 1959.049
01/03/2024 13:30 | 2223.016 | 2345.138 | 2100.894
01/03/2024 14:00 | 2375.795 | 2506.702 | 2244.888
01/03/2024 14:30 | 2518.931 | 2658.14 | 2379.721
01/03/2024 15:00 | 2696.889 | 2846.378 | 2547.399
01/03/2024 15:30 | 2867.233 | 3026.638 | 2707.827
01/03/2024 16:00 | 2999.13 | 3166.364 | 2831.897
01/03/2024 16:30 | 3102.811 | 3276.338 | 2929.284
01/03/2024 17:00 | 3167.641 | 3345.316 | 2989.965
01/03/2024 17:30 | 3181.822 | 3360.818 | 3002.825
01/03/2024 18:00 | 3165.147 | 3343.728 | 2986.566
01/03/2024 18:30 | 3134.872 | 3312.262 | 2957.481
01/03/2024 19:00 | 3063.813 | 3237.688 | 2889.938
01/03/2024 19:30 | 2978.089 | 3147.591 | 2808.586
01/03/2024 20:00 | 2881.677 | 3046.167 | 2717.186
01/03/2024 20:30 | 2777.388 | 2935.988 | 2618.392
01/03/2024 21:00 | 2669.035 | 2821.847 | 2515.801
01/03/2024 21:30 | 2566.308 | 2713.617 | 2418.548
01/03/2024 22:00 | 2471.547 | 2613.792 | 2328.835
01/03/2024 22:30 | 2378.059 | 2515.27 | 2240.352
01/03/2024 23:00 | 2289.727 | 2422.162 | 2156.758
01/03/2024 23:30 | 2209.317 | 2341.829 | 2076.185
02/03/2024 00:00 | 2137.892 | 2274.916 | 2000.129
02/03/2024 00:30 | 2082.507 | 2215.635 | 1948.63
02/03/2024 01:00 | 2036.607 | 2167.169 | 1905.292
02/03/2024 01:30 | 2005.708 | 2134.673 | 1876.002
02/03/2024 02:00 | 1984.642 | 2112.631 | 1856.699
02/03/2024 02:30 | 1963.777 | 2090.795 | 1836.803
02/03/2024 03:00 | 1949.414 | 2075.875 | 1822.996
02/03/2024 03:30 | 1938.187 | 2064.29 | 1812.127
02/03/2024 04:00 | 1934.914 | 2061.173 | 1808.697
02/03/2024 04:30 | 1939.388 | 2066.309 | 1812.508
02/03/2024 05:00 | 1950.042 | 2078.034 | 1822.093
02/03/2024 05:30 | 1959.508 | 2088.472 | 1830.543
02/03/2024 06:00 | 1940.529 | 2068.615 | 1812.443
02/03/2024 06:30 | 1892.366 | 2017.635 | 1767.098
02/03/2024 07:00 | 1840.929 | 1963.145 | 1718.713
02/03/2024 07:30 | 1771.675 | 1889.662 | 1653.688
02/03/2024 08:00 | 1708.827 | 1823.041 | 1594.612
02/03/2024 08:30 | 1649.962 | 1760.636 | 1539.288
02/03/2024 09:00 | 1618.232 | 1727.164 | 1509.3
02/03/2024 09:30 | 1611.407 | 1720.265 | 1502.549
02/03/2024 10:00 | 1633.73 | 1744.486 | 1522.974
02/03/2024 10:30 | 1702.424 | 1818.243 | 1586.604
02/03/2024 11:00 | 1805.06 | 1928.294 | 1681.827
02/03/2024 11:30 | 1953.071 | 2086.876 | 1819.266
02/03/2024 12:00 | 2059.965 | 2201.585 | 1918.344
02/03/2024 12:30 | 2114.265 | 2260.123 | 1968.406
02/03/2024 13:00 | 2217.33 | 2370.828 | 2063.832
02/03/2024 13:30 | 2355.271 | 2518.882 | 2191.661
02/03/2024 14:00 | 2532.479 | 2709.004 | 2355.955
02/03/2024 14:30 | 2723.74 | 2914.247 | 2533.233
02/03/2024 15:00 | 2892.167 | 3095.145 | 2689.188
02/03/2024 15:30 | 3007.63 | 3219.431 | 2795.83
02/03/2024 16:00 | 3117.305 | 3337.573 | 2897.037
02/03/2024 16:30 | 3228.926 | 3457.852 | 2999.999
02/03/2024 17:00 | 3268.068 | 3500.55 | 3035.585
02/03/2024 17:30 | 3281.097 | 3515.291 | 3046.904
02/03/2024 18:00 | 3252.87 | 3485.825 | 3019.914
02/03/2024 18:30 | 3220.055 | 3451.429 | 2988.68
02/03/2024 19:00 | 3152.962 | 3380.268 | 2925.655
02/03/2024 19:30 | 3060.877 | 3282.276 | 2839.478
02/03/2024 20:00 | 2966.516 | 3181.799 | 2751.234
02/03/2024 20:30 | 2872.894 | 3082.069 | 2663.719
02/03/2024 21:00 | 2773.197 | 2975.775 | 2570.619
02/03/2024 21:30 | 2665.348 | 2860.685 | 2470.012
02/03/2024 22:00 | 2564.444 | 2752.998 | 2375.89
02/03/2024 22:30 | 2472.282 | 2654.651 | 2289.914
02/03/2024 23:00 | 2394.536 | 2571.741 | 2217.33
02/03/2024 23:30 | 2336.12 | 2509.56 | 2162.679
03/03/2024 00:00 | 2287.519 | 2457.897 | 2117.14
03/03/2024 00:30 | 2243.017 | 2410.616 | 2075.417
03/03/2024 01:00 | 2203.11 | 2368.254 | 2037.966
03/03/2024 01:30 | 2164.248 | 2326.996 | 2001.5
03/03/2024 02:00 | 2134.199 | 2295.198 | 1973.201
03/03/2024 02:30 | 2106.127 | 2265.511 | 1946.743
03/03/2024 03:00 | 2084.436 | 2242.677 | 1926.196
03/03/2024 03:30 | 2066.891 | 2224.293 | 1909.489
03/03/2024 04:00 | 2057.488 | 2214.665 | 1900.311
03/03/2024 04:30 | 2050.571 | 2207.709 | 1893.432
03/03/2024 05:00 | 2057.852 | 2216.041 | 1899.664
03/03/2024 05:30 | 2075.628 | 2235.679 | 1915.578
03/03/2024 06:00 | 2052.497 | 2211.254 | 1893.74
03/03/2024 06:30 | 2011.538 | 2167.608 | 1855.469
03/03/2024 07:00 | 1989.174 | 2143.984 | 1834.365
03/03/2024 07:30 | 1947.468 | 2099.496 | 1795.439
03/03/2024 08:00 | 1924.814 | 2075.534 | 1774.094
03/03/2024 08:30 | 1936.616 | 2088.723 | 1784.509
03/03/2024 09:00 | 1957.013 | 2111.19 | 1802.837
03/03/2024 09:30 | 1994.896 | 2152.533 | 1837.258
03/03/2024 10:00 | 2045.611 | 2207.745 | 1883.477
03/03/2024 10:30 | 2128.153 | 2297.338 | 1958.969
03/03/2024 11:00 | 2229.655 | 2407.441 | 2051.869
03/03/2024 11:30 | 2319.123 | 2504.597 | 2133.649
03/03/2024 12:00 | 2411.867 | 2605.334 | 2218.4
03/03/2024 12:30 | 2550.76 | 2755.978 | 2345.542
03/03/2024 13:00 | 2644.022 | 2857.375 | 2430.67
03/03/2024 13:30 | 2726.722 | 2947.399 | 2506.044
03/03/2024 14:00 | 2834.88 | 3064.987 | 2604.772
03/03/2024 14:30 | 2976.33 | 3218.63 | 2734.029
03/03/2024 15:00 | 3136.728 | 3392.835 | 2880.62
03/03/2024 15:30 | 3315.517 | 3587.014 | 3044.02
03/03/2024 16:00 | 3473.869 | 3759.164 | 3188.575
03/03/2024 16:30 | 3598.497 | 3894.885 | 3302.108
03/03/2024 17:00 | 3677.956 | 3981.767 | 3374.144
03/03/2024 17:30 | 3695.584 | 4001.735 | 3389.433
03/03/2024 18:00 | 3660.774 | 3964.916 | 3356.633
03/03/2024 18:30 | 3581.603 | 3880.023 | 3283.183
03/03/2024 19:00 | 3452.945 | 3741.47 | 3164.421
03/03/2024 19:30 | 3349.159 | 3629.811 | 3068.507
03/03/2024 20:00 | 3231.557 | 3503.126 | 2959.988
03/03/2024 20:30 | 3098.289 | 3359.399 | 2837.179
03/03/2024 21:00 | 2951.473 | 3200.915 | 2702.031
03/03/2024 21:30 | 2811.218 | 3049.479 | 2572.958
03/03/2024 22:00 | 2683.055 | 2911.093 | 2455.016
03/03/2024 22:30 | 2560.625 | 2778.869 | 2342.38
03/03/2024 23:00 | 2439.581 | 2648.092 | 2231.07
03/03/2024 23:30 | 2319.808 | 2512.302 | 2127.313
04/03/2024 00:00 | 2204.132 | 2375.621 | 2032.644
04/03/2024 00:30 | 2126.977 | 2293.916 | 1960.037
04/03/2024 01:00 | 2086.271 | 2250.471 | 1922.071
04/03/2024 01:30 | 2069.019 | 2232.314 | 1905.725
04/03/2024 02:00 | 2044.7 | 2206.522 | 1882.878
04/03/2024 02:30 | 2024.145 | 2184.782 | 1863.507
04/03/2024 03:00 | 2009.991 | 2169.945 | 1850.038
04/03/2024 03:30 | 2000.889 | 2160.555 | 1841.223
04/03/2024 04:00 | 1995.907 | 2155.612 | 1836.203
04/03/2024 04:30 | 2001.538 | 2162.13 | 1840.945
04/03/2024 05:00 | 2011.51 | 2173.342 | 1849.678
04/03/2024 05:30 | 2014.521 | 2177.035 | 1852.006
04/03/2024 06:00 | 1993.117 | 2154.341 | 1831.894
04/03/2024 06:30 | 1936.183 | 2093.223 | 1779.142
04/03/2024 07:00 | 1869.889 | 2021.962 | 1717.817
04/03/2024 07:30 | 1778.781 | 1923.815 | 1633.746
04/03/2024 08:00 | 1681.617 | 1819.049 | 1544.185
04/03/2024 08:30 | 1563.955 | 1692.07 | 1435.839
04/03/2024 09:00 | 1479.107 | 1600.555 | 1357.658
04/03/2024 09:30 | 1430.266 | 1547.978 | 1312.553
04/03/2024 10:00 | 1405.911 | 1521.888 | 1289.933
04/03/2024 10:30 | 1393.494 | 1508.714 | 1278.274
04/03/2024 11:00 | 1409.37 | 1526.173 | 1292.567
04/03/2024 11:30 | 1453.296 | 1574.018 | 1332.574
04/03/2024 12:00 | 1493.797 | 1618.169 | 1369.424
04/03/2024 12:30 | 1557.331 | 1687.292 | 1427.371
04/03/2024 13:00 | 1633.243 | 1769.851 | 1496.634
04/03/2024 13:30 | 1724.386 | 1868.948 | 1579.823
04/03/2024 14:00 | 1836.025 | 1990.298 | 1681.751
04/03/2024 14:30 | 1977.188 | 2143.702 | 1810.674
04/03/2024 15:00 | 2148.587 | 2329.948 | 1967.226
04/03/2024 15:30 | 2357.546 | 2556.997 | 2158.096
04/03/2024 16:00 | 2583.292 | 2802.337 | 2364.249
04/03/2024 16:30 | 2777.606 | 3013.659 | 2541.554
04/03/2024 17:00 | 2901.259 | 3148.376 | 2654.142
04/03/2024 17:30 | 2950.139 | 3201.985 | 2698.293
04/03/2024 18:00 | 2930.212 | 3180.919 | 2679.506
04/03/2024 18:30 | 2873.042 | 3119.408 | 2626.676
04/03/2024 19:00 | 2785.451 | 3024.84 | 2546.062
04/03/2024 19:30 | 2682.811 | 2913.892 | 2451.729
04/03/2024 20:00 | 2571.855 | 2793.873 | 2349.837
04/03/2024 20:30 | 2462.709 | 2675.776 | 2249.641
04/03/2024 21:00 | 2360.871 | 2565.581 | 2156.162
04/03/2024 21:30 | 2260.402 | 2456.833 | 2063.971
04/03/2024 22:00 | 2170.274 | 2359.289 | 1981.26
04/03/2024 22:30 | 2105.854 | 2289.662 | 1922.046
04/03/2024 23:00 | 2068.858 | 2249.833 | 1887.883
04/03/2024 23:30 | 1980.555 | 2154.185 | 1806.925
05/03/2024 00:00 | 1890.47 | 2056.565 | 1724.375
05/03/2024 00:30 | 1870.515 | 2035.215 | 1705.814
05/03/2024 01:00 | 1850.589 | 2013.89 | 1687.289
05/03/2024 01:30 | 1832.002 | 1994.014 | 1669.99
05/03/2024 02:00 | 1818.29 | 1979.438 | 1657.143
05/03/2024 02:30 | 1807.816 | 1968.381 | 1647.25
05/03/2024 03:00 | 1805.121 | 1965.794 | 1644.449
05/03/2024 03:30 | 1809.98 | 1971.432 | 1648.528
05/03/2024 04:00 | 1832.462 | 1996.271 | 1668.654
05/03/2024 04:30 | 1887.1 | 2056.154 | 1718.046
05/03/2024 05:00 | 1958.525 | 2134.353 | 1782.697
05/03/2024 05:30 | 2031.98 | 2214.792 | 1849.168
05/03/2024 06:00 | 2108.615 | 2298.726 | 1918.504
05/03/2024 06:30 | 2160.248 | 2355.428 | 1965.068
05/03/2024 07:00 | 2198.247 | 2397.281 | 1999.212
05/03/2024 07:30 | 2180.453 | 2378.295 | 1982.612
05/03/2024 08:00 | 2165.56 | 2362.465 | 1968.654
05/03/2024 08:30 | 2133.132 | 2327.498 | 1938.767
05/03/2024 09:00 | 2064.588 | 2253.104 | 1876.072
05/03/2024 09:30 | 1950.434 | 2128.9 | 1771.968
05/03/2024 10:00 | 1914.304 | 2089.831 | 1738.777
05/03/2024 10:30 | 2006.34 | 2190.69 | 1821.989
05/03/2024 11:00 | 2080.566 | 2272.136 | 1888.996
05/03/2024 11:30 | 2151.097 | 2349.573 | 1952.62
05/03/2024 12:00 | 2253.844 | 2462.232 | 2045.455
05/03/2024 12:30 | 2393.85 | 2615.642 | 2172.058
05/03/2024 13:00 | 2479.505 | 2709.708 | 2249.301
05/03/2024 13:30 | 2444.111 | 2671.497 | 2216.725
05/03/2024 14:00 | 2403.832 | 2627.93 | 2179.732
05/03/2024 14:30 | 2454.726 | 2684.041 | 2225.412
05/03/2024 15:00 | 2599.618 | 2842.966 | 2356.27
05/03/2024 15:30 | 2757.192 | 3015.819 | 2498.566
05/03/2024 16:00 | 2894.961 | 3167.065 | 2622.857
05/03/2024 16:30 | 3013.3 | 3297.105 | 2729.495
05/03/2024 17:00 | 3066.221 | 3355.598 | 2776.844
05/03/2024 17:30 | 3070.114 | 3360.447 | 2779.781
05/03/2024 18:00 | 3052.867 | 3342.154 | 2763.58
05/03/2024 18:30 | 3007.755 | 3293.344 | 2722.166
05/03/2024 19:00 | 2908.7 | 3185.44 | 2631.959
05/03/2024 19:30 | 2807.784 | 3075.462 | 2540.107
05/03/2024 20:00 | 2702.731 | 2960.911 | 2444.55
05/03/2024 20:30 | 2587.277 | 2834.925 | 2339.63
05/03/2024 21:00 | 2457.835 | 2693.564 | 2222.106
05/03/2024 21:30 | 2343.041 | 2568.208 | 2117.873
05/03/2024 22:00 | 2242.271 | 2458.185 | 2026.358
05/03/2024 22:30 | 2152.968 | 2360.695 | 1945.241
05/03/2024 23:00 | 2076.859 | 2277.641 | 1876.077
05/03/2024 23:30 | 2008.5 | 2203.058 | 1813.942
06/03/2024 00:00 | 1946.623 | 2135.56 | 1757.686
06/03/2024 00:30 | 1899.59 | 2084.326 | 1714.853
06/03/2024 01:00 | 1865.577 | 2047.363 | 1683.79
06/03/2024 01:30 | 1842.643 | 2022.547 | 1662.738
06/03/2024 02:00 | 1823.826 | 2002.243 | 1645.409
06/03/2024 02:30 | 1812.539 | 1990.199 | 1634.879
06/03/2024 03:00 | 1807.632 | 1985.158 | 1630.107
06/03/2024 03:30 | 1813.542 | 1991.995 | 1635.088
06/03/2024 04:00 | 1839.715 | 2021.097 | 1658.333
06/03/2024 04:30 | 1893.401 | 2080.439 | 1706.363
06/03/2024 05:00 | 1955.943 | 2149.534 | 1762.352
06/03/2024 05:30 | 2018.629 | 2218.811 | 1818.447
06/03/2024 06:00 | 2057.922 | 2262.396 | 1853.449
06/03/2024 06:30 | 2017.833 | 2218.71 | 1816.956
06/03/2024 07:00 | 1942.817 | 2136.599 | 1749.036
06/03/2024 07:30 | 1813.867 | 1995.226 | 1632.507
06/03/2024 08:00 | 1668.15 | 1835.515 | 1500.786
06/03/2024 08:30 | 1537.409 | 1692.171 | 1382.646
06/03/2024 09:00 | 1435.565 | 1580.557 | 1290.574
06/03/2024 09:30 | 1370.773 | 1509.681 | 1231.866
06/03/2024 10:00 | 1325.715 | 1460.501 | 1190.93
06/03/2024 10:30 | 1305.441 | 1438.603 | 1172.278
06/03/2024 11:00 | 1341.901 | 1479.233 | 1204.57
06/03/2024 11:30 | 1392.516 | 1535.495 | 1249.538
06/03/2024 12:00 | 1463.323 | 1614.063 | 1312.584
06/03/2024 12:30 | 1565.228 | 1726.989 | 1403.466
06/03/2024 13:00 | 1679.111 | 1853.204 | 1505.017
06/03/2024 13:30 | 1813.501 | 2002.136 | 1624.865
06/03/2024 14:00 | 1971.271 | 2176.979 | 1765.564
06/03/2024 14:30 | 2156.064 | 2381.778 | 1930.35
06/03/2024 15:00 | 2388.307 | 2639.135 | 2137.479
06/03/2024 15:30 | 2592.417 | 2865.55 | 2319.283
06/03/2024 16:00 | 2768.491 | 3061.104 | 2475.878
06/03/2024 16:30 | 2937.401 | 3248.851 | 2625.951
06/03/2024 17:00 | 3058.707 | 3384.044 | 2733.369
06/03/2024 17:30 | 3110.831 | 3442.756 | 2778.906
06/03/2024 18:00 | 3113.654 | 3446.924 | 2780.384
06/03/2024 18:30 | 3078.6 | 3409.151 | 2748.05
06/03/2024 19:00 | 2990.743 | 3312.863 | 2668.623
06/03/2024 19:30 | 2892.525 | 3205.036 | 2580.014
06/03/2024 20:00 | 2779.01 | 3080.189 | 2477.831
06/03/2024 20:30 | 2657.587 | 2946.498 | 2368.677
06/03/2024 21:00 | 2532.349 | 2808.494 | 2256.205
06/03/2024 21:30 | 2413.855 | 2677.888 | 2149.822
06/03/2024 22:00 | 2303.627 | 2556.375 | 2050.879
06/03/2024 22:30 | 2205.245 | 2447.938 | 1962.552
06/03/2024 23:00 | 2126.806 | 2361.58 | 1892.032
06/03/2024 23:30 | 2060.544 | 2288.694 | 1832.393
07/03/2024 00:00 | 2005.612 | 2228.353 | 1782.872
07/03/2024 00:30 | 1960.532 | 2178.923 | 1742.141
07/03/2024 01:00 | 1924.535 | 2139.561 | 1709.508
07/03/2024 01:30 | 1902.656 | 2115.876 | 1689.436
07/03/2024 02:00 | 1882.697 | 2094.312 | 1671.082
07/03/2024 02:30 | 1868.859 | 2079.545 | 1658.173
07/03/2024 03:00 | 1863.707 | 2074.437 | 1652.977
07/03/2024 03:30 | 1867.212 | 2078.964 | 1655.459
07/03/2024 04:00 | 1888.693 | 2103.515 | 1673.871
07/03/2024 04:30 | 1942.147 | 2163.7 | 1720.594
07/03/2024 05:00 | 2003.897 | 2233.167 | 1774.628
07/03/2024 05:30 | 2064.157 | 2301.013 | 1827.302
07/03/2024 06:00 | 2110.135 | 2352.974 | 1867.296
07/03/2024 06:30 | 2083.93 | 2324.452 | 1843.408
07/03/2024 07:00 | 2010.979 | 2243.755 | 1778.202
07/03/2024 07:30 | 1889.591 | 2108.95 | 1670.232