## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
01/03/2024 08:00 | 1963.68 | 1994.956 | 1939.376
01/03/2024 08:30 | 1880.228 | 1912.379 | 1848.077 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
01/03/2024 09:00 | 1816.65 | 1853.114 | 1780.185 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
01/03/2024 09:30 | 1762.865 | 1803.491 | 1722.24 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
01/03/2024 10:00 | 1722.305 | 1767.116 | 1677.495 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
01/03/2024 10:30 | 1718.912 | 1767.515 | 1670.31 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
01/03/2024 11:00 | 1742.71 | 1793.451 | 1691.969 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
01/03/2024 11:30 | 1775.677 | 1829.089 | 1722.266 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
01/03/2024 12:00 | 1808.345 | 1855.599 | 1752.209 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
01/03/2024 12:30 | 1917.86 | 1966.846 | 1844.851 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
01/03/2024 13:00 | 2028.194 | 2084.339 | 1951.29 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
01/03/2024 13:30 | 2131.245 | 2196.724 | 2052.539
01/03/2024 14:00 | 2251.677 | 2322.626 | 2165.996 | Summary view - for each schedule horizon (dispatch, week-ahead)
01/03/2024 14:30 | 2404.088 | 2483.596 | 2311.648
01/03/2024 15:00 | 2590.522 | 2681.578 | 2491.114 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
01/03/2024 15:30 | 2775.718 | 2873.86 | 2664.595 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
01/03/2024 16:00 | 2924.419 | 3030.69 | 2804.589 | Scenario | Violations
01/03/2024 16:30 | 3045.445 | 3161.167 | 2919.694 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
01/03/2024 17:00 | 3124.838 | 3244.582 | 2990.96 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
01/03/2024 17:30 | 3152.253 | 3275.939 | 3014.046 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0
01/03/2024 18:00 | 3143.704 | 3277.625 | 3009.783 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0
01/03/2024 18:30 | 3121.658 | 3257.011 | 2986.305 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0
01/03/2024 19:00 | 3052.786 | 3186.242 | 2919.331
01/03/2024 19:30 | 2971.973 | 3103.059 | 2840.887 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
01/03/2024 20:00 | 2880.055 | 3008.213 | 2751.896
01/03/2024 20:30 | 2780.267 | 2905.073 | 2655.461 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
01/03/2024 21:00 | 2673.908 | 2794.987 | 2552.83 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
01/03/2024 21:30 | 2572.861 | 2690.371 | 2455.351 | [7 empty] | 01/03/2024 10:00 | [11 empty] | 01/03/2024 10:00 | [11 empty] | 01/03/2024 10:00
01/03/2024 22:00 | 2478.677 | 2592.856 | 2364.499 | [7 empty] | 01/03/2024 10:30 | [11 empty] | 01/03/2024 10:30 | [11 empty] | 01/03/2024 10:30
01/03/2024 22:30 | 2388.017 | 2498.954 | 2277.08 | [7 empty] | 01/03/2024 11:00 | [11 empty] | 01/03/2024 11:00 | [11 empty] | 01/03/2024 11:00
01/03/2024 23:00 | 2304.98 | 2412.961 | 2196.998 | [7 empty] | 01/03/2024 11:30 | [11 empty] | 01/03/2024 11:30 | [11 empty] | 01/03/2024 11:30
01/03/2024 23:30 | 2229.889 | 2340.336 | 2119.443 | [7 empty] | 01/03/2024 12:00 | [11 empty] | 01/03/2024 12:00 | [11 empty] | 01/03/2024 12:00
02/03/2024 00:00 | 2162.95 | 2280.645 | 2045.255 | [7 empty] | 01/03/2024 12:30 | [11 empty] | 01/03/2024 12:30 | [11 empty] | 01/03/2024 12:30
02/03/2024 00:30 | 2109.409 | 2223.905 | 1994.914 | [7 empty] | 01/03/2024 13:00 | [11 empty] | 01/03/2024 13:00 | [11 empty] | 01/03/2024 13:00
02/03/2024 01:00 | 2066.551 | 2179.264 | 1953.837 | [7 empty] | 01/03/2024 13:30 | [11 empty] | 01/03/2024 13:30 | [11 empty] | 01/03/2024 13:30
02/03/2024 01:30 | 2035.182 | 2146.72 | 1923.644 | [7 empty] | 01/03/2024 14:00 | [11 empty] | 01/03/2024 14:00 | [11 empty] | 01/03/2024 14:00
02/03/2024 02:00 | 2012.643 | 2123.475 | 1901.81 | [7 empty] | 03/03/2024 12:00 | [11 empty] | 03/03/2024 11:30 | [11 empty] | 03/03/2024 12:30
02/03/2024 02:30 | 1991.664 | 2101.865 | 1881.462 | [19 empty] | 05/03/2024 11:30
02/03/2024 03:00 | 1976.624 | 2086.514 | 1866.734 | [19 empty] | 05/03/2024 12:30
02/03/2024 03:30 | 1964.922 | 2074.679 | 1855.165 | [19 empty] | 05/03/2024 13:00
02/03/2024 04:00 | 1960.69 | 2070.727 | 1850.653 | [19 empty] | 05/03/2024 13:30
02/03/2024 04:30 | 1966.49 | 2077.37 | 1855.61 | [19 empty] | 05/03/2024 14:00
02/03/2024 05:00 | 1973.795 | 2085.606 | 1861.983
02/03/2024 05:30 | 1973.008 | 2085.294 | 1860.721
02/03/2024 06:00 | 1959.566 | 2071.603 | 1847.528
02/03/2024 06:30 | 1942.434 | 2053.954 | 1830.915
02/03/2024 07:00 | 1940.342 | 2052.104 | 1828.58
02/03/2024 07:30 | 1914.709 | 2025.359 | 1804.058
02/03/2024 08:00 | 1908.068 | 2018.7 | 1797.437
02/03/2024 08:30 | 1918.749 | 2030.367 | 1807.132
02/03/2024 09:00 | 1929.62 | 2042.239 | 1817.001
02/03/2024 09:30 | 1951.113 | 2065.359 | 1836.867
02/03/2024 10:00 | 1935.237 | 2048.923 | 1821.55
02/03/2024 10:30 | 1852.301 | 1961.469 | 1743.133
02/03/2024 11:00 | 1868.063 | 1978.517 | 1757.61
02/03/2024 11:30 | 1991.61 | 2109.661 | 1873.471
02/03/2024 12:00 | 2087.619 | 2211.754 | 1963.385
02/03/2024 12:30 | 2136.46 | 2263.911 | 2008.912
02/03/2024 13:00 | 2202.712 | 2334.531 | 2070.788
02/03/2024 13:30 | 2317.325 | 2456.441 | 2178.094
02/03/2024 14:00 | 2488.349 | 2638.205 | 2338.366
02/03/2024 14:30 | 2684.457 | 2846.64 | 2522.141
02/03/2024 15:00 | 2848.724 | 3021.38 | 2675.932
02/03/2024 15:30 | 2932.278 | 3110.561 | 2753.857
02/03/2024 16:00 | 3013.302 | 3197.093 | 2829.376
02/03/2024 16:30 | 3083.696 | 3272.376 | 2894.884
02/03/2024 17:00 | 3093.713 | 3283.605 | 2903.696
02/03/2024 17:30 | 3097.509 | 3288.237 | 2906.667
02/03/2024 18:00 | 3073.508 | 3263.458 | 2883.646
02/03/2024 18:30 | 3052.698 | 3241.945 | 2863.531
02/03/2024 19:00 | 2995.989 | 3182.293 | 2809.76
02/03/2024 19:30 | 2915.498 | 3097.354 | 2733.708
02/03/2024 20:00 | 2834.955 | 3012.329 | 2657.582
02/03/2024 20:30 | 2751.395 | 2924.066 | 2578.723
02/03/2024 21:00 | 2661.324 | 2828.852 | 2493.797
02/03/2024 21:30 | 2567.479 | 2729.59 | 2405.369
02/03/2024 22:00 | 2477.124 | 2634.003 | 2320.246
02/03/2024 22:30 | 2387.745 | 2539.419 | 2236.071
02/03/2024 23:00 | 2308.27 | 2455.337 | 2161.203
02/03/2024 23:30 | 2240.319 | 2382.638 | 2097.154
03/03/2024 00:00 | 2179.947 | 2318.844 | 2040.223
03/03/2024 00:30 | 2130.097 | 2266.223 | 1993.161
03/03/2024 01:00 | 2089.315 | 2223.233 | 1954.602
03/03/2024 01:30 | 2058.059 | 2190.366 | 1924.968
03/03/2024 02:00 | 2033.567 | 2164.687 | 1901.671
03/03/2024 02:30 | 2009.725 | 2139.692 | 1878.991
03/03/2024 03:00 | 1991.723 | 2120.907 | 1861.78
03/03/2024 03:30 | 1977.066 | 2105.677 | 1847.701
03/03/2024 04:00 | 1968.82 | 2097.271 | 1839.619
03/03/2024 04:30 | 1964.137 | 2092.657 | 1834.868
03/03/2024 05:00 | 1964.226 | 2093.128 | 1834.575
03/03/2024 05:30 | 1965.233 | 2094.576 | 1835.141
03/03/2024 06:00 | 1936.649 | 2064.481 | 1808.079
03/03/2024 06:30 | 1881.111 | 2005.636 | 1755.836
03/03/2024 07:00 | 1835.23 | 1957.069 | 1712.567
03/03/2024 07:30 | 1788.946 | 1908.084 | 1668.95
03/03/2024 08:00 | 1752.089 | 1869.195 | 1634.146
03/03/2024 08:30 | 1699.09 | 1813.059 | 1584.309
03/03/2024 09:00 | 1660.897 | 1772.701 | 1548.299
03/03/2024 09:30 | 1651.873 | 1763.464 | 1539.492
03/03/2024 10:00 | 1666.807 | 1779.805 | 1553.012
03/03/2024 10:30 | 1715.582 | 1832.296 | 1598.047
03/03/2024 11:00 | 1793.501 | 1915.946 | 1670.2
03/03/2024 11:30 | 1873.643 | 2002.006 | 1744.385
03/03/2024 12:00 | 1959.171 | 2093.862 | 1823.544
03/03/2024 12:30 | 2091.212 | 2235.48 | 1945.945
03/03/2024 13:00 | 2200.433 | 2352.762 | 2047.053
03/03/2024 13:30 | 2299.786 | 2459.542 | 2140.031
03/03/2024 14:00 | 2431.763 | 2601.268 | 2262.259
03/03/2024 14:30 | 2586.736 | 2767.661 | 2405.812
03/03/2024 15:00 | 2762.46 | 2956.335 | 2568.585
03/03/2024 15:30 | 2946.535 | 3154.032 | 2739.037
03/03/2024 16:00 | 3109.541 | 3329.261 | 2889.822
03/03/2024 16:30 | 3233.424 | 3462.67 | 3004.179
03/03/2024 17:00 | 3319.212 | 3555.333 | 3083.092
03/03/2024 17:30 | 3354.911 | 3594.373 | 3115.449
03/03/2024 18:00 | 3330.165 | 3568.656 | 3091.674
03/03/2024 18:30 | 3272.685 | 3507.841 | 3037.528
03/03/2024 19:00 | 3174.011 | 3402.835 | 2945.187
03/03/2024 19:30 | 3075.82 | 3298.3 | 2853.34
03/03/2024 20:00 | 2965.336 | 3180.533 | 2750.139
03/03/2024 20:30 | 2847.213 | 3054.517 | 2639.908
03/03/2024 21:00 | 2716.383 | 2914.811 | 2517.955
03/03/2024 21:30 | 2592.708 | 2782.72 | 2402.695
03/03/2024 22:00 | 2482.416 | 2664.939 | 2299.893
03/03/2024 22:30 | 2379.875 | 2555.426 | 2204.323
03/03/2024 23:00 | 2284.842 | 2453.93 | 2115.755
03/03/2024 23:30 | 2194.625 | 2352.334 | 2036.917
04/03/2024 00:00 | 2109.789 | 2251.937 | 1967.641
04/03/2024 00:30 | 2052.25 | 2191.802 | 1912.698
04/03/2024 01:00 | 2023.845 | 2161.907 | 1885.782
04/03/2024 01:30 | 2011.124 | 2148.758 | 1873.49
04/03/2024 02:00 | 1991.51 | 2128.237 | 1854.783
04/03/2024 02:30 | 1974.875 | 2110.891 | 1838.859
04/03/2024 03:00 | 1965.612 | 2101.419 | 1829.804
04/03/2024 03:30 | 1959.17 | 2094.961 | 1823.379
04/03/2024 04:00 | 1958.809 | 2095.003 | 1822.616
04/03/2024 04:30 | 1969.468 | 2106.833 | 1832.103
04/03/2024 05:00 | 1982.21 | 2120.897 | 1843.523
04/03/2024 05:30 | 1985.402 | 2124.746 | 1846.058
04/03/2024 06:00 | 1980.166 | 2119.575 | 1840.756
04/03/2024 06:30 | 1984.307 | 2124.441 | 1844.173
04/03/2024 07:00 | 2013.341 | 2155.965 | 1870.716
04/03/2024 07:30 | 2003.756 | 2146.139 | 1861.373
04/03/2024 08:00 | 1944.56 | 2083.161 | 1805.958
04/03/2024 08:30 | 1827.478 | 1958.134 | 1696.822
04/03/2024 09:00 | 1749.362 | 1874.815 | 1623.909
04/03/2024 09:30 | 1697.047 | 1819.119 | 1574.975
04/03/2024 10:00 | 1653.427 | 1772.722 | 1534.131
04/03/2024 10:30 | 1639.253 | 1757.884 | 1520.621
04/03/2024 11:00 | 1624.584 | 1742.508 | 1506.659
04/03/2024 11:30 | 1587.298 | 1702.863 | 1471.733
04/03/2024 12:00 | 1568.968 | 1683.541 | 1454.395
04/03/2024 12:30 | 1617.448 | 1735.915 | 1498.981
04/03/2024 13:00 | 1692.962 | 1817.329 | 1568.594
04/03/2024 13:30 | 1811.155 | 1944.601 | 1677.709
04/03/2024 14:00 | 1899.583 | 2039.959 | 1759.206
04/03/2024 14:30 | 1967.401 | 2113.219 | 1821.583
04/03/2024 15:00 | 2067.88 | 2221.597 | 1914.163
04/03/2024 15:30 | 2229.941 | 2396.192 | 2063.69
04/03/2024 16:00 | 2415.723 | 2596.352 | 2235.093
04/03/2024 16:30 | 2586.603 | 2780.574 | 2392.631
04/03/2024 17:00 | 2710.31 | 2914.151 | 2506.469
04/03/2024 17:30 | 2765.619 | 2974.224 | 2557.014
04/03/2024 18:00 | 2756.061 | 2964.547 | 2547.575
04/03/2024 18:30 | 2721.02 | 2927.45 | 2514.591
04/03/2024 19:00 | 2651.411 | 2853.139 | 2449.683
04/03/2024 19:30 | 2566.079 | 2761.875 | 2370.282
04/03/2024 20:00 | 2473.592 | 2662.872 | 2284.312
04/03/2024 20:30 | 2378.165 | 2560.663 | 2195.667
04/03/2024 21:00 | 2274.873 | 2449.94 | 2099.804
04/03/2024 21:30 | 2169.551 | 2336.988 | 2002.115
04/03/2024 22:00 | 2090.47 | 2252.26 | 1928.68
04/03/2024 22:30 | 2031.075 | 2188.713 | 1873.438
04/03/2024 23:00 | 1985.229 | 2139.741 | 1830.716
04/03/2024 23:30 | 1946.267 | 2098.172 | 1794.361
05/03/2024 00:00 | 1914.352 | 2064.185 | 1764.519
05/03/2024 00:30 | 1885.125 | 2033.083 | 1737.168
05/03/2024 01:00 | 1863.811 | 2010.503 | 1717.119
05/03/2024 01:30 | 1848.938 | 1994.863 | 1703.013
05/03/2024 02:00 | 1837.532 | 1982.959 | 1692.106
05/03/2024 02:30 | 1829.745 | 1974.955 | 1684.536
05/03/2024 03:00 | 1828.457 | 1973.964 | 1682.95
05/03/2024 03:30 | 1835.708 | 1982.193 | 1689.223
05/03/2024 04:00 | 1860.144 | 2008.985 | 1711.302
05/03/2024 04:30 | 1917.651 | 2071.513 | 1763.789
05/03/2024 05:00 | 1976.046 | 2135.025 | 1817.067
05/03/2024 05:30 | 2021.194 | 2184.247 | 1858.141
05/03/2024 06:00 | 2045.825 | 2211.312 | 1880.338
05/03/2024 06:30 | 2012.068 | 2175.263 | 1848.872
05/03/2024 07:00 | 1979.847 | 2140.862 | 1818.832
05/03/2024 07:30 | 1912.412 | 2068.342 | 1756.482
05/03/2024 08:00 | 1835.276 | 1985.265 | 1685.286
05/03/2024 08:30 | 1743.359 | 1886.171 | 1600.548
05/03/2024 09:00 | 1644.565 | 1779.599 | 1509.531
05/03/2024 09:30 | 1555.616 | 1683.645 | 1427.588
05/03/2024 10:00 | 1519.81 | 1645.183 | 1394.437
05/03/2024 10:30 | 1556.367 | 1685.054 | 1427.68
05/03/2024 11:00 | 1600.895 | 1733.57 | 1468.219
05/03/2024 11:30 | 1650.895 | 1788.031 | 1513.759
05/03/2024 12:00 | 1688.845 | 1829.457 | 1548.233
05/03/2024 12:30 | 1704.135 | 1846.346 | 1561.923
05/03/2024 13:00 | 1737.11 | 1882.406 | 1591.814
05/03/2024 13:30 | 1789.711 | 1939.75 | 1639.672
05/03/2024 14:00 | 1871.383 | 2028.627 | 1714.138
05/03/2024 14:30 | 2020.698 | 2190.876 | 1850.52
05/03/2024 15:00 | 2216.173 | 2403.239 | 2029.108
05/03/2024 15:30 | 2394.521 | 2597.1 | 2191.943
05/03/2024 16:00 | 2556.079 | 2772.816 | 2339.343
05/03/2024 16:30 | 2707.742 | 2937.857 | 2477.627
05/03/2024 17:00 | 2817.545 | 3057.532 | 2577.558
05/03/2024 17:30 | 2871.431 | 3116.558 | 2626.304
05/03/2024 18:00 | 2877.195 | 3123.366 | 2631.025
05/03/2024 18:30 | 2842.685 | 3086.448 | 2598.923
05/03/2024 19:00 | 2754.733 | 2991.482 | 2517.985
05/03/2024 19:30 | 2662.756 | 2892.11 | 2433.402
05/03/2024 20:00 | 2564.354 | 2785.724 | 2342.984
05/03/2024 20:30 | 2460.231 | 2673.084 | 2247.378
05/03/2024 21:00 | 2344.748 | 2548.059 | 2141.436
05/03/2024 21:30 | 2241.851 | 2436.669 | 2047.032
05/03/2024 22:00 | 2150.1 | 2337.357 | 1962.842
05/03/2024 22:30 | 2068.635 | 2249.195 | 1888.076
05/03/2024 23:00 | 1999.771 | 2174.703 | 1824.84
05/03/2024 23:30 | 1935.154 | 2104.804 | 1765.504
06/03/2024 00:00 | 1877.882 | 2042.871 | 1712.893
06/03/2024 00:30 | 1835.107 | 1996.689 | 1673.524
06/03/2024 01:00 | 1804.972 | 1964.247 | 1645.696
06/03/2024 01:30 | 1783.865 | 1941.62 | 1626.111
06/03/2024 02:00 | 1766.549 | 1923.11 | 1609.987
06/03/2024 02:30 | 1757.328 | 1913.409 | 1601.246
06/03/2024 03:00 | 1754.363 | 1910.518 | 1598.209
06/03/2024 03:30 | 1760.973 | 1918.053 | 1603.892
06/03/2024 04:00 | 1787.889 | 1947.713 | 1628.065
06/03/2024 04:30 | 1843.865 | 2009.046 | 1678.684
06/03/2024 05:00 | 1908.133 | 2079.437 | 1736.829
06/03/2024 05:30 | 1970.1 | 2147.345 | 1792.855
06/03/2024 06:00 | 2004.914 | 2185.675 | 1824.152
06/03/2024 06:30 | 1960.64 | 2137.786 | 1783.495
06/03/2024 07:00 | 1883.544 | 2054.085 | 1713.003
06/03/2024 07:30 | 1750.932 | 1909.801 | 1592.063
06/03/2024 08:00 | 1603.445 | 1749.239 | 1457.65
06/03/2024 08:30 | 1472.31 | 1606.463 | 1338.156
06/03/2024 09:00 | 1350.097 | 1473.374 | 1226.821
06/03/2024 09:30 | 1235.725 | 1348.795 | 1122.655
06/03/2024 10:00 | 1176.851 | 1284.76 | 1068.943
06/03/2024 10:30 | 1203.742 | 1314.347 | 1093.137
06/03/2024 11:00 | 1261.518 | 1377.673 | 1145.363
06/03/2024 11:30 | 1313.96 | 1435.196 | 1192.724
06/03/2024 12:00 | 1380.442 | 1508.076 | 1252.807
06/03/2024 12:30 | 1461.575 | 1596.992 | 1326.159
06/03/2024 13:00 | 1553.493 | 1697.723 | 1409.263
06/03/2024 13:30 | 1657.189 | 1811.365 | 1503.014
06/03/2024 14:00 | 1796.833 | 1964.345 | 1629.322
06/03/2024 14:30 | 1973.962 | 2158.364 | 1789.559
06/03/2024 15:00 | 2201.154 | 2407.202 | 1995.106
06/03/2024 15:30 | 2403.579 | 2629.037 | 2178.122
06/03/2024 16:00 | 2580.149 | 2822.664 | 2337.635
06/03/2024 16:30 | 2753.461 | 3012.793 | 2494.128
06/03/2024 17:00 | 2884.127 | 3156.319 | 2611.935
06/03/2024 17:30 | 2946.38 | 3225.012 | 2667.749
06/03/2024 18:00 | 2958.56 | 3238.911 | 2678.209
06/03/2024 18:30 | 2937.073 | 3215.95 | 2658.195
06/03/2024 19:00 | 2862.611 | 3134.966 | 2590.255
06/03/2024 19:30 | 2772.115 | 3036.392 | 2507.838
06/03/2024 20:00 | 2668.399 | 2923.3 | 2413.498
06/03/2024 20:30 | 2556.849 | 2801.584 | 2312.114
06/03/2024 21:00 | 2440.477 | 2674.541 | 2206.413
06/03/2024 21:30 | 2330.545 | 2554.512 | 2106.578
06/03/2024 22:00 | 2228.083 | 2442.631 | 2013.536
06/03/2024 22:30 | 2137.522 | 2343.759 | 1931.285
06/03/2024 23:00 | 2067.73 | 2267.63 | 1867.831
06/03/2024 23:30 | 2009.583 | 2204.247 | 1814.92
07/03/2024 00:00 | 1962.282 | 2152.74 | 1771.825
07/03/2024 00:30 | 1923.997 | 2111.107 | 1736.887
07/03/2024 01:00 | 1893.468 | 2077.972 | 1708.964
07/03/2024 01:30 | 1872.198 | 2054.989 | 1689.408
07/03/2024 02:00 | 1855.804 | 2037.35 | 1674.259
07/03/2024 02:30 | 1844.733 | 2025.549 | 1663.917
07/03/2024 03:00 | 1840.508 | 2021.262 | 1659.753
07/03/2024 03:30 | 1845.597 | 2027.205 | 1663.989
07/03/2024 04:00 | 1870.066 | 2054.44 | 1685.692
07/03/2024 04:30 | 1924.644 | 2114.769 | 1734.52
07/03/2024 05:00 | 1986.928 | 2183.585 | 1790.27
07/03/2024 05:30 | 2050.98 | 2254.37 | 1847.59
07/03/2024 06:00 | 2119.539 | 2330.135 | 1908.944
07/03/2024 06:30 | 2132.995 | 2345.337 | 1920.654
07/03/2024 07:00 | 2114.44 | 2325.339 | 1903.541
07/03/2024 07:30 | 2062.735 | 2268.978 | 1856.492
07/03/2024 08:00 | 1965.16 | 2162.323 | 1767.998
07/03/2024 08:30 | 1841.449 | 2026.818 | 1656.081
07/03/2024 09:00 | 1758.283 | 1935.869 | 1580.697
07/03/2024 09:30 | 1727.37 | 1902.413 | 1552.327
07/03/2024 10:00 | 1706.912 | 1880.454 | 1533.369
07/03/2024 10:30 | 1687.863 | 1860.034 | 1515.691
07/03/2024 11:00 | 1711.969 | 1887.173 | 1536.764
07/03/2024 11:30 | 1756.98 | 1937.38 | 1576.58
07/03/2024 12:00 | 1830.008 | 2018.52 | 1641.496
07/03/2024 12:30 | 1958.921 | 2161.37 | 1756.473
07/03/2024 13:00 | 2103.039 | 2321.087 | 1884.992
07/03/2024 13:30 | 2305.021 | 2544.783 | 2065.259
07/03/2024 14:00 | 2466.714 | 2724.123 | 2209.306
07/03/2024 14:30 | 2555.006 | 2822.485 | 2287.528
07/03/2024 15:00 | 2696.526 | 2979.724 | 2413.328
07/03/2024 15:30 | 2823.088 | 3120.525 | 2525.652
07/03/2024 16:00 | 2933.578 | 3243.64 | 2623.517
07/03/2024 16:30 | 3064.365 | 3389.278 | 2739.453
07/03/2024 17:00 | 3164.359 | 3500.934 | 2827.783
07/03/2024 17:30 | 3203.148 | 3544.923 | 2861.373
07/03/2024 18:00 | 3184.461 | 3525.31 | 2843.613
07/03/2024 18:30 | 3147.712 | 3485.683 | 2809.741
07/03/2024 19:00 | 3067.781 | 3398.198 | 2737.364
07/03/2024 19:30 | 2966.823 | 3287.362 | 2646.285
07/03/2024 20:00 | 2851.408 | 3160.433 | 2542.383
07/03/2024 20:30 | 2719.521 | 3015.165 | 2423.878
07/03/2024 21:00 | 2584.713 | 2866.568 | 2302.859
07/03/2024 21:30 | 2461.372 | 2730.602 | 2192.142
07/03/2024 22:00 | 2346.815 | 2604.301 | 2089.328
07/03/2024 22:30 | 2247.468 | 2494.808 | 2000.128
07/03/2024 23:00 | 2167.125 | 2406.35 | 1927.9
07/03/2024 23:30 | 2097.242 | 2329.456 | 1865.029
08/03/2024 00:00 | 2039.179 | 2265.647 | 1812.711
08/03/2024 00:30 | 1994.602 | 2216.788 | 1772.415
08/03/2024 01:00 | 1958.667 | 2177.507 | 1739.826
08/03/2024 01:30 | 1933.333 | 2149.991 | 1716.675
08/03/2024 02:00 | 1913.198 | 2128.241 | 1698.155
08/03/2024 02:30 | 1897.127 | 2111 | 1683.254
08/03/2024 03:00 | 1888.362 | 2101.88 | 1674.845
08/03/2024 03:30 | 1890.388 | 2104.769 | 1676.007
08/03/2024 04:00 | 1912.859 | 2130.429 | 1695.288
08/03/2024 04:30 | 1962.203 | 2186.044 | 1738.362
08/03/2024 05:00 | 2016.881 | 2247.635 | 1786.127
08/03/2024 05:30 | 2076.38 | 2314.638 | 1838.122
08/03/2024 06:00 | 2140.132 | 2386.423 | 1893.841
08/03/2024 06:30 | 2149.263 | 2397.325 | 1901.2
08/03/2024 07:00 | 2107.901 | 2351.896 | 1863.906
08/03/2024 07:30 | 2014.664 | 2248.542 | 1780.785