## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
03/03/2024 08:00 | 1883.62 | 1916.95 | 1853.519
03/03/2024 08:30 | 1840.66 | 1878.662 | 1802.657 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
03/03/2024 09:00 | 1835.759 | 1880.678 | 1790.839 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
03/03/2024 09:30 | 1859.817 | 1912.435 | 1807.198 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
03/03/2024 10:00 | 1954.609 | 2017.382 | 1891.836 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
03/03/2024 10:30 | 2010.059 | 2080.307 | 1939.811 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
03/03/2024 11:00 | 2050.445 | 2123.894 | 1976.996 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
03/03/2024 11:30 | 2123.148 | 2201.412 | 2044.884 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
03/03/2024 12:00 | 2225.684 | 2310.046 | 2130.57 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
03/03/2024 12:30 | 2429.725 | 2508.226 | 2320.182 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
03/03/2024 13:00 | 2578.269 | 2666.885 | 2461.805 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
03/03/2024 13:30 | 2586.55 | 2686.99 | 2475.194
03/03/2024 14:00 | 2613.37 | 2717.052 | 2497.669 | Summary view - for each schedule horizon (dispatch, week-ahead)
03/03/2024 14:30 | 2733.971 | 2845.537 | 2610.328
03/03/2024 15:00 | 2877.593 | 3004.647 | 2750.539 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
03/03/2024 15:30 | 3036.25 | 3173.471 | 2899.029 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
03/03/2024 16:00 | 3183.264 | 3330.445 | 3036.084 | Scenario | Violations
03/03/2024 16:30 | 3305.73 | 3462.016 | 3149.445 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
03/03/2024 17:00 | 3383.968 | 3547.477 | 3220.459 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
03/03/2024 17:30 | 3416.856 | 3585.513 | 3248.199 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 1
03/03/2024 18:00 | 3405.539 | 3577.185 | 3233.894 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0
03/03/2024 18:30 | 3355.104 | 3526.772 | 3183.436 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0
03/03/2024 19:00 | 3252.232 | 3419.339 | 3085.143
03/03/2024 19:30 | 3159.333 | 3322.526 | 2996.192 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
03/03/2024 20:00 | 3052.238 | 3210.677 | 2893.8
03/03/2024 20:30 | 2934.301 | 3087.39 | 2781.212 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
03/03/2024 21:00 | 2804.112 | 2951.147 | 2657.077 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
03/03/2024 21:30 | 2679.18 | 2820.369 | 2537.99 | [7 empty] | 03/03/2024 10:00 |  |  |  |  | 04/03/2024 15:30 | [6 empty] | 03/03/2024 10:00 | [11 empty] | 03/03/2024 10:00
03/03/2024 22:00 | 2564.512 | 2700.334 | 2428.69 | [7 empty] | 03/03/2024 10:30 | [11 empty] | 03/03/2024 10:30 | [11 empty] | 03/03/2024 10:30
03/03/2024 22:30 | 2460.526 | 2591.488 | 2329.563 | [7 empty] | 07/03/2024 12:00 | [23 empty] | 03/03/2024 11:00
03/03/2024 23:00 | 2364.941 | 2491.438 | 2238.444
03/03/2024 23:30 | 2273.483 | 2390.477 | 2156.489
04/03/2024 00:00 | 2185.368 | 2288.585 | 2082.152
04/03/2024 00:30 | 2122.198 | 2224.108 | 2020.287
04/03/2024 01:00 | 2088.795 | 2189.92 | 1987.671
04/03/2024 01:30 | 2070.64 | 2171.695 | 1969.584
04/03/2024 02:00 | 2045.814 | 2146.459 | 1945.17
04/03/2024 02:30 | 2025.379 | 2125.811 | 1924.947
04/03/2024 03:00 | 2011.959 | 2112.513 | 1911.405
04/03/2024 03:30 | 2002.372 | 2103.23 | 1901.513
04/03/2024 04:00 | 1997.276 | 2098.66 | 1895.893
04/03/2024 04:30 | 2003.789 | 2106.287 | 1901.29
04/03/2024 05:00 | 2010.586 | 2114.22 | 1906.953
04/03/2024 05:30 | 2007.451 | 2111.708 | 1903.194
04/03/2024 06:00 | 1996.286 | 2100.745 | 1891.827
04/03/2024 06:30 | 1979.999 | 2084.221 | 1875.776
04/03/2024 07:00 | 1954.883 | 2058.079 | 1851.687
04/03/2024 07:30 | 1873.067 | 1972.253 | 1773.88
04/03/2024 08:00 | 1798.453 | 1893.984 | 1702.543
04/03/2024 08:30 | 1723.768 | 1815.617 | 1631.445
04/03/2024 09:00 | 1644.105 | 1731.981 | 1555.516
04/03/2024 09:30 | 1544.461 | 1627.266 | 1460.691
04/03/2024 10:00 | 1456.505 | 1533.649 | 1377.11
04/03/2024 10:30 | 1403.359 | 1477.92 | 1326.63
04/03/2024 11:00 | 1389.649 | 1463.587 | 1313.329
04/03/2024 11:30 | 1411.568 | 1486.912 | 1333.818
04/03/2024 12:00 | 1420.354 | 1496.621 | 1342.083
04/03/2024 12:30 | 1436.198 | 1514.622 | 1357.775
04/03/2024 13:00 | 1483.759 | 1565.024 | 1402.493
04/03/2024 13:30 | 1583.416 | 1670.402 | 1496.431
04/03/2024 14:00 | 1714.835 | 1809.323 | 1620.347
04/03/2024 14:30 | 1887.107 | 1991.399 | 1782.815
04/03/2024 15:00 | 2062.229 | 2176.54 | 1947.919
04/03/2024 15:30 | 2226.002 | 2349.758 | 2102.246
04/03/2024 16:00 | 2427.34 | 2562.69 | 2291.99
04/03/2024 16:30 | 2620.477 | 2767.029 | 2473.925
04/03/2024 17:00 | 2749.853 | 2904.095 | 2595.612
04/03/2024 17:30 | 2813.172 | 2971.429 | 2654.914
04/03/2024 18:00 | 2806.913 | 2965.282 | 2648.544
04/03/2024 18:30 | 2770.5 | 2927.273 | 2613.728
04/03/2024 19:00 | 2702.64 | 2856.018 | 2549.261
04/03/2024 19:30 | 2612.101 | 2760.773 | 2463.43
04/03/2024 20:00 | 2514.313 | 2657.834 | 2370.793
04/03/2024 20:30 | 2417.573 | 2555.97 | 2279.175
04/03/2024 21:00 | 2311.555 | 2444.258 | 2178.845
04/03/2024 21:30 | 2201.392 | 2328.098 | 2074.643
04/03/2024 22:00 | 2118.283 | 2240.517 | 1995.97
04/03/2024 22:30 | 2052.979 | 2171.721 | 1934.097
04/03/2024 23:00 | 1999.507 | 2115.398 | 1883.391
04/03/2024 23:30 | 1951.698 | 2065.043 | 1838.037
05/03/2024 00:00 | 1912.104 | 2023.37 | 1800.433
05/03/2024 00:30 | 1878.238 | 1987.791 | 1768.234
05/03/2024 01:00 | 1854.622 | 1963.067 | 1746.424
05/03/2024 01:30 | 1841.542 | 1949.52 | 1733.797
05/03/2024 02:00 | 1829.947 | 1937.546 | 1722.578
05/03/2024 02:30 | 1822.16 | 1929.482 | 1714.839
05/03/2024 03:00 | 1821.208 | 1928.773 | 1713.642
05/03/2024 03:30 | 1828.482 | 1936.779 | 1720.185
05/03/2024 04:00 | 1851.791 | 1961.774 | 1741.807
05/03/2024 04:30 | 1908.198 | 2021.847 | 1794.549
05/03/2024 05:00 | 1968.621 | 2086.193 | 1851.048
05/03/2024 05:30 | 2012.276 | 2132.788 | 1891.764
05/03/2024 06:00 | 2022.499 | 2143.957 | 1901.041
05/03/2024 06:30 | 1970.736 | 2089.41 | 1852.061
05/03/2024 07:00 | 1897.861 | 2012.461 | 1783.262
05/03/2024 07:30 | 1746.126 | 1851.885 | 1640.367
05/03/2024 08:00 | 1605.35 | 1702.938 | 1507.762
05/03/2024 08:30 | 1492.099 | 1583.129 | 1401.069
05/03/2024 09:00 | 1376.385 | 1460.656 | 1292.114
05/03/2024 09:30 | 1290.335 | 1369.619 | 1211.051
05/03/2024 10:00 | 1230.228 | 1306.088 | 1154.368
05/03/2024 10:30 | 1198.787 | 1272.97 | 1124.604
05/03/2024 11:00 | 1215.305 | 1290.776 | 1139.834
05/03/2024 11:30 | 1270.827 | 1350.024 | 1191.631
05/03/2024 12:00 | 1323.195 | 1405.944 | 1240.446
05/03/2024 12:30 | 1394.151 | 1481.642 | 1306.66
05/03/2024 13:00 | 1490.17 | 1584.012 | 1396.327
05/03/2024 13:30 | 1607.297 | 1708.867 | 1505.728
05/03/2024 14:00 | 1738.149 | 1848.367 | 1627.931
05/03/2024 14:30 | 1896.894 | 2017.593 | 1776.196
05/03/2024 15:00 | 2119.821 | 2255.168 | 1984.474
05/03/2024 15:30 | 2321.335 | 2470.055 | 2172.615
05/03/2024 16:00 | 2504.019 | 2664.99 | 2343.048
05/03/2024 16:30 | 2679.143 | 2851.958 | 2506.329
05/03/2024 17:00 | 2810.104 | 2991.98 | 2628.228
05/03/2024 17:30 | 2877.538 | 3064.407 | 2690.669
05/03/2024 18:00 | 2886.84 | 3074.944 | 2698.736
05/03/2024 18:30 | 2853.087 | 3039.615 | 2666.559
05/03/2024 19:00 | 2772.722 | 2954.602 | 2590.843
05/03/2024 19:30 | 2677.871 | 2854.114 | 2501.628
05/03/2024 20:00 | 2574.925 | 2744.955 | 2404.894
05/03/2024 20:30 | 2468.909 | 2632.478 | 2305.34
05/03/2024 21:00 | 2352.147 | 2508.495 | 2195.8
05/03/2024 21:30 | 2246.916 | 2396.759 | 2097.072
05/03/2024 22:00 | 2153.599 | 2297.69 | 2009.508
05/03/2024 22:30 | 2071.764 | 2210.832 | 1932.696
05/03/2024 23:00 | 2002.916 | 2137.8 | 1868.031
05/03/2024 23:30 | 1936.192 | 2067.006 | 1805.378
06/03/2024 00:00 | 1877.776 | 2005.053 | 1750.498
06/03/2024 00:30 | 1834.26 | 1958.989 | 1709.532
06/03/2024 01:00 | 1803.843 | 1926.898 | 1680.789
06/03/2024 01:30 | 1781.745 | 1903.682 | 1659.809
06/03/2024 02:00 | 1763.308 | 1884.368 | 1642.248
06/03/2024 02:30 | 1753.768 | 1874.556 | 1632.98
06/03/2024 03:00 | 1750.123 | 1871.042 | 1629.204
06/03/2024 03:30 | 1756.074 | 1877.788 | 1634.36
06/03/2024 04:00 | 1782.536 | 1906.473 | 1658.598
06/03/2024 04:30 | 1838.37 | 1966.592 | 1710.149
06/03/2024 05:00 | 1901.55 | 2034.593 | 1768.506
06/03/2024 05:30 | 1961.556 | 2099.227 | 1823.886
06/03/2024 06:00 | 1986.793 | 2126.668 | 1846.917
06/03/2024 06:30 | 1926.305 | 2062.343 | 1790.267
06/03/2024 07:00 | 1834.422 | 1964.373 | 1704.473
06/03/2024 07:30 | 1681.323 | 1800.795 | 1561.852
06/03/2024 08:00 | 1514.764 | 1622.731 | 1406.797
06/03/2024 08:30 | 1370.917 | 1468.931 | 1272.903
06/03/2024 09:00 | 1244.728 | 1333.992 | 1155.464
06/03/2024 09:30 | 1143.833 | 1226.112 | 1061.555
06/03/2024 10:00 | 1082.448 | 1160.547 | 1004.348
06/03/2024 10:30 | 1075.254 | 1153.069 | 997.4388
06/03/2024 11:00 | 1115.062 | 1196.002 | 1034.123
06/03/2024 11:30 | 1152.444 | 1236.349 | 1068.539
06/03/2024 12:00 | 1214.783 | 1303.492 | 1126.074
06/03/2024 12:30 | 1308.406 | 1404.238 | 1212.575
06/03/2024 13:00 | 1416.38 | 1520.43 | 1312.331
06/03/2024 13:30 | 1554.8 | 1669.358 | 1440.242
06/03/2024 14:00 | 1717.066 | 1843.955 | 1590.178
06/03/2024 14:30 | 1898.167 | 2038.854 | 1757.481
06/03/2024 15:00 | 2135.142 | 2293.859 | 1976.425
06/03/2024 15:30 | 2345.912 | 2520.809 | 2171.015
06/03/2024 16:00 | 2530.567 | 2719.784 | 2341.35
06/03/2024 16:30 | 2713.349 | 2916.825 | 2509.872
06/03/2024 17:00 | 2853.082 | 3067.661 | 2638.503
06/03/2024 17:30 | 2921.711 | 3142.089 | 2701.333
06/03/2024 18:00 | 2938.172 | 3160.434 | 2715.91
06/03/2024 18:30 | 2919.327 | 3140.801 | 2697.852
06/03/2024 19:00 | 2847.993 | 3064.678 | 2631.308
06/03/2024 19:30 | 2757.93 | 2968.365 | 2547.495
06/03/2024 20:00 | 2654.826 | 2857.974 | 2451.677
06/03/2024 20:30 | 2544.984 | 2740.283 | 2349.685
06/03/2024 21:00 | 2430.433 | 2617.472 | 2243.393
06/03/2024 21:30 | 2321.703 | 2500.882 | 2142.523
06/03/2024 22:00 | 2219.55 | 2391.33 | 2047.769
06/03/2024 22:30 | 2129.384 | 2294.651 | 1964.116
06/03/2024 23:00 | 2060.925 | 2221.329 | 1900.521
06/03/2024 23:30 | 2004.544 | 2160.998 | 1848.09
07/03/2024 00:00 | 1960.259 | 2113.685 | 1806.833
07/03/2024 00:30 | 1922.832 | 2073.749 | 1771.916
07/03/2024 01:00 | 1892.337 | 2041.274 | 1743.4
07/03/2024 01:30 | 1872.903 | 2020.72 | 1725.087
07/03/2024 02:00 | 1855.65 | 2002.51 | 1708.79
07/03/2024 02:30 | 1843.51 | 1989.813 | 1697.208
07/03/2024 03:00 | 1839.477 | 1985.861 | 1693.093
07/03/2024 03:30 | 1844.124 | 1991.281 | 1696.968
07/03/2024 04:00 | 1867.376 | 2016.797 | 1717.956
07/03/2024 04:30 | 1922.092 | 2076.31 | 1767.874
07/03/2024 05:00 | 1986.314 | 2146.119 | 1826.509
07/03/2024 05:30 | 2049.915 | 2215.284 | 1884.545
07/03/2024 06:00 | 2098.48 | 2268.226 | 1928.734
07/03/2024 06:30 | 2073.004 | 2241.143 | 1904.866
07/03/2024 07:00 | 2000.567 | 2163.267 | 1837.867
07/03/2024 07:30 | 1879.337 | 2032.57 | 1726.103
07/03/2024 08:00 | 1744.867 | 1887.468 | 1602.266
07/03/2024 08:30 | 1631.537 | 1765.188 | 1497.885
07/03/2024 09:00 | 1547.191 | 1674.23 | 1420.152
07/03/2024 09:30 | 1496.53 | 1619.695 | 1373.364
07/03/2024 10:00 | 1481.693 | 1603.922 | 1359.464
07/03/2024 10:30 | 1504.922 | 1629.355 | 1380.488
07/03/2024 11:00 | 1563.738 | 1693.334 | 1434.142
07/03/2024 11:30 | 1649.36 | 1786.369 | 1512.352
07/03/2024 12:00 | 1728.427 | 1872.335 | 1584.52
07/03/2024 12:30 | 1822.565 | 1974.66 | 1670.47
07/03/2024 13:00 | 1936.099 | 2098.04 | 1774.159
07/03/2024 13:30 | 2076.366 | 2250.437 | 1902.296
07/03/2024 14:00 | 2234.82 | 2422.603 | 2047.037
07/03/2024 14:30 | 2410.723 | 2613.748 | 2207.698
07/03/2024 15:00 | 2637.614 | 2860.253 | 2414.975
07/03/2024 15:30 | 2836.359 | 3076.317 | 2596.4
07/03/2024 16:00 | 3005.182 | 3259.999 | 2750.365
07/03/2024 16:30 | 3173.682 | 3443.395 | 2903.969
07/03/2024 17:00 | 3292.968 | 3573.45 | 3012.487
07/03/2024 17:30 | 3347.735 | 3633.523 | 3061.947
07/03/2024 18:00 | 3339.834 | 3625.588 | 3054.08
07/03/2024 18:30 | 3294.093 | 3576.565 | 3011.622
07/03/2024 19:00 | 3194.819 | 3469.39 | 2920.248
07/03/2024 19:30 | 3092.514 | 3358.885 | 2826.143
07/03/2024 20:00 | 2970.798 | 3227.255 | 2714.341
07/03/2024 20:30 | 2831.337 | 3076.297 | 2586.377
07/03/2024 21:00 | 2691.163 | 2924.512 | 2457.814
07/03/2024 21:30 | 2560.499 | 2783.009 | 2337.989
07/03/2024 22:00 | 2436.04 | 2648.201 | 2223.879
07/03/2024 22:30 | 2330.974 | 2534.431 | 2127.516
07/03/2024 23:00 | 2252.393 | 2449.423 | 2055.363
07/03/2024 23:30 | 2189.433 | 2381.375 | 1997.491
08/03/2024 00:00 | 2141.505 | 2329.656 | 1953.354
08/03/2024 00:30 | 2100.64 | 2285.603 | 1915.677
08/03/2024 01:00 | 2066.207 | 2248.535 | 1883.88
08/03/2024 01:30 | 2037.854 | 2218.07 | 1857.638
08/03/2024 02:00 | 2014.465 | 2192.999 | 1835.931
08/03/2024 02:30 | 1994.513 | 2171.661 | 1817.366
08/03/2024 03:00 | 1982.299 | 2158.742 | 1805.856
08/03/2024 03:30 | 1982.561 | 2159.407 | 1805.715
08/03/2024 04:00 | 2003.673 | 2182.786 | 1824.56
08/03/2024 04:30 | 2050.789 | 2234.507 | 1867.071
08/03/2024 05:00 | 2111.027 | 2300.546 | 1921.508
08/03/2024 05:30 | 2181.171 | 2377.405 | 1984.936
08/03/2024 06:00 | 2243.627 | 2445.91 | 2041.343
08/03/2024 06:30 | 2245.141 | 2447.991 | 2042.291
08/03/2024 07:00 | 2202.968 | 2402.43 | 2003.506
08/03/2024 07:30 | 2119.745 | 2312.078 | 1927.411
08/03/2024 08:00 | 2050.548 | 2236.996 | 1864.1
08/03/2024 08:30 | 1987.632 | 2168.74 | 1806.524
08/03/2024 09:00 | 1924.753 | 2100.5 | 1749.005
08/03/2024 09:30 | 1869.015 | 2040.032 | 1697.999
08/03/2024 10:00 | 1848.78 | 2018.299 | 1679.261
08/03/2024 10:30 | 1872.273 | 2044.306 | 1700.241
08/03/2024 11:00 | 1919.238 | 2095.953 | 1742.522
08/03/2024 11:30 | 1980.981 | 2163.761 | 1798.201
08/03/2024 12:00 | 2027.969 | 2215.474 | 1840.465
08/03/2024 12:30 | 2105.331 | 2300.391 | 1910.27
08/03/2024 13:00 | 2202.785 | 2407.297 | 1998.273
08/03/2024 13:30 | 2305.873 | 2520.397 | 2091.348
08/03/2024 14:00 | 2416.831 | 2642.141 | 2191.52
08/03/2024 14:30 | 2546.968 | 2784.899 | 2309.036
08/03/2024 15:00 | 2724.066 | 2979.063 | 2469.068
08/03/2024 15:30 | 2902.304 | 3174.543 | 2630.066
08/03/2024 16:00 | 3043.873 | 3329.974 | 2757.772
08/03/2024 16:30 | 3150.799 | 3447.555 | 2854.044
08/03/2024 17:00 | 3206.373 | 3508.976 | 2903.769
08/03/2024 17:30 | 3204.676 | 3507.734 | 2901.618
08/03/2024 18:00 | 3167.446 | 3467.591 | 2867.302
08/03/2024 18:30 | 3101.11 | 3395.563 | 2806.657
08/03/2024 19:00 | 2995.377 | 3280.364 | 2710.39
08/03/2024 19:30 | 2891.306 | 3166.946 | 2615.666
08/03/2024 20:00 | 2780.308 | 3045.899 | 2514.717
08/03/2024 20:30 | 2666.926 | 2922.198 | 2411.655
08/03/2024 21:00 | 2550.514 | 2795.131 | 2305.896
08/03/2024 21:30 | 2440.015 | 2674.502 | 2205.528
08/03/2024 22:00 | 2341.917 | 2567.425 | 2116.408
08/03/2024 22:30 | 2245.802 | 2462.486 | 2029.118
08/03/2024 23:00 | 2149.09 | 2356.855 | 1941.325
08/03/2024 23:30 | 2054.084 | 2250.559 | 1857.61
09/03/2024 00:00 | 1967.706 | 2151.456 | 1783.956
09/03/2024 00:30 | 1904.07 | 2082.354 | 1725.786
09/03/2024 01:00 | 1853.071 | 2026.674 | 1679.468
09/03/2024 01:30 | 1822.022 | 1992.809 | 1651.234
09/03/2024 02:00 | 1801.138 | 1970.059 | 1632.216
09/03/2024 02:30 | 1780.632 | 1947.721 | 1613.543
09/03/2024 03:00 | 1765.168 | 1930.896 | 1599.44
09/03/2024 03:30 | 1755.639 | 1920.562 | 1590.716
09/03/2024 04:00 | 1756.167 | 1921.229 | 1591.105
09/03/2024 04:30 | 1761.911 | 1927.603 | 1596.22
09/03/2024 05:00 | 1769.769 | 1936.29 | 1603.249
09/03/2024 05:30 | 1783.918 | 1951.861 | 1615.975
09/03/2024 06:00 | 1768.961 | 1935.586 | 1602.336
09/03/2024 06:30 | 1701.566 | 1861.93 | 1541.203
09/03/2024 07:00 | 1592.739 | 1742.928 | 1442.551
09/03/2024 07:30 | 1449.999 | 1587.007 | 1312.992
09/03/2024 08:00 | 1311.768 | 1436.333 | 1187.203
09/03/2024 08:30 | 1161.663 | 1272.493 | 1050.832
09/03/2024 09:00 | 1038.988 | 1138.58 | 939.3967
09/03/2024 09:30 | 944.0457 | 1034.959 | 853.1324
09/03/2024 10:00 | 885.5931 | 971.2737 | 799.9126
09/03/2024 10:30 | 866.2115 | 950.4045 | 782.0186
09/03/2024 11:00 | 887.2021 | 973.8323 | 800.572
09/03/2024 11:30 | 922.5887 | 1013.087 | 832.0905
09/03/2024 12:00 | 973.8239 | 1069.784 | 877.8641
09/03/2024 12:30 | 1054.814 | 1159.226 | 950.4014
09/03/2024 13:00 | 1145.713 | 1259.636 | 1031.79
09/03/2024 13:30 | 1249.845 | 1374.681 | 1125.008
09/03/2024 14:00 | 1381.263 | 1519.844 | 1242.682
09/03/2024 14:30 | 1551.718 | 1708.095 | 1395.341
09/03/2024 15:00 | 1746.704 | 1923.513 | 1569.896
09/03/2024 15:30 | 1947.749 | 2145.78 | 1749.719
09/03/2024 16:00 | 2144.808 | 2363.833 | 1925.782
09/03/2024 16:30 | 2347.268 | 2588.018 | 2106.517
09/03/2024 17:00 | 2493.485 | 2750.349 | 2236.622
09/03/2024 17:30 | 2586.028 | 2853.581 | 2318.474
09/03/2024 18:00 | 2608.255 | 2879.275 | 2337.234
09/03/2024 18:30 | 2591.841 | 2862.315 | 2321.366
09/03/2024 19:00 | 2530.184 | 2795.357 | 2265.011
09/03/2024 19:30 | 2452.093 | 2710.178 | 2194.007
09/03/2024 20:00 | 2376.66 | 2627.87 | 2125.45
09/03/2024 20:30 | 2312.997 | 2558.512 | 2067.481
09/03/2024 21:00 | 2243.985 | 2483.18 | 2004.791
09/03/2024 21:30 | 2166.827 | 2398.766 | 1934.888
09/03/2024 22:00 | 2094.479 | 2319.612 | 1869.347
09/03/2024 22:30 | 2023.055 | 2241.416 | 1804.695
09/03/2024 23:00 | 1949.423 | 2160.708 | 1738.138
09/03/2024 23:30 | 1881.68 | 2086.465 | 1676.895
10/03/2024 00:00 | 1818.905 | 2017.671 | 1620.138
10/03/2024 00:30 | 1771.608 | 1966 | 1577.217
10/03/2024 01:00 | 1734.359 | 1925.438 | 1543.279
10/03/2024 01:30 | 1713.737 | 1903.311 | 1524.162
10/03/2024 02:00 | 1699.353 | 1888.097 | 1510.609
10/03/2024 02:30 | 1685.309 | 1873.247 | 1497.37
10/03/2024 03:00 | 1676.062 | 1863.719 | 1488.405
10/03/2024 03:30 | 1665.902 | 1853.167 | 1478.637
10/03/2024 04:00 | 1659.991 | 1847.335 | 1472.648
10/03/2024 04:30 | 1659.305 | 1847.314 | 1471.297
10/03/2024 05:00 | 1655.011 | 1843.274 | 1466.749
10/03/2024 05:30 | 1647.893 | 1836.083 | 1459.703
10/03/2024 06:00 | 1603.356 | 1787.177 | 1419.534
10/03/2024 06:30 | 1498.979 | 1671.504 | 1326.453
10/03/2024 07:00 | 1385.366 | 1545.435 | 1225.297
10/03/2024 07:30 | 1267.207 | 1414.191 | 1120.223