## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
07/03/2024 08:00 | 2088.35 | 2119.018 | 2059.982
07/03/2024 08:30 | 2035.401 | 2070.206 | 2000.597 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
07/03/2024 09:00 | 1993.868 | 2033.889 | 1953.846 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
07/03/2024 09:30 | 1933.332 | 1977.886 | 1888.778 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
07/03/2024 10:00 | 1909.022 | 1958.691 | 1859.354 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
07/03/2024 10:30 | 1910.839 | 1964.869 | 1856.81 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
07/03/2024 11:00 | 1939.189 | 1995.651 | 1882.727 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
07/03/2024 11:30 | 2000.469 | 2060.642 | 1940.296 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
07/03/2024 12:00 | 2064.102 | 2128.177 | 2000.027 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
07/03/2024 12:30 | 2171.18 | 2240.669 | 2101.69 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
07/03/2024 13:00 | 2282.389 | 2357.636 | 2207.141 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
07/03/2024 13:30 | 2423.191 | 2505.414 | 2340.968
07/03/2024 14:00 | 2584.803 | 2674.999 | 2490.37 | Summary view - for each schedule horizon (dispatch, week-ahead)
07/03/2024 14:30 | 2763.299 | 2858.09 | 2660.215
07/03/2024 15:00 | 2984.885 | 3092.154 | 2872.528 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
07/03/2024 15:30 | 3182.929 | 3297.596 | 3057.476 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
07/03/2024 16:00 | 3326.104 | 3448.768 | 3191.477 | Scenario | Violations
07/03/2024 16:30 | 3435.941 | 3568.271 | 3295.7 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
07/03/2024 17:00 | 3520.678 | 3657.466 | 3371.57 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
07/03/2024 17:30 | 3565.567 | 3707.288 | 3410.911 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 1
07/03/2024 18:00 | 3549.708 | 3695.617 | 3393.618 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 1
07/03/2024 18:30 | 3499.927 | 3647.234 | 3344.095 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 2
07/03/2024 19:00 | 3405.199 | 3551.346 | 3253.851
07/03/2024 19:30 | 3301.007 | 3446.605 | 3155.408 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
07/03/2024 20:00 | 3176.304 | 3317.645 | 3034.963
07/03/2024 20:30 | 3030.185 | 3166.21 | 2894.159 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
07/03/2024 21:00 | 2875.801 | 3006.022 | 2745.581 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
07/03/2024 21:30 | 2728.828 | 2853.462 | 2604.195 | [7 empty] | 07/03/2024 09:00 |  |  |  |  | 08/03/2024 05:00 | [6 empty] | 07/03/2024 09:00 |  |  |  |  | 08/03/2024 02:30 | [6 empty] | 07/03/2024 09:30 |  |  |  |  | 08/03/2024 02:30
07/03/2024 22:00 | 2593.041 | 2712.488 | 2473.594 | [7 empty] | 07/03/2024 09:30 | [11 empty] | 07/03/2024 09:30 | [11 empty] | 07/03/2024 10:00 |  |  |  |  | 08/03/2024 03:30
07/03/2024 22:30 | 2474.592 | 2589.551 | 2359.633 | [7 empty] | 07/03/2024 10:00 | [11 empty] | 07/03/2024 10:00 | [11 empty] | 12/03/2024 12:00
07/03/2024 23:00 | 2376.189 | 2487.507 | 2264.872 | [7 empty] | 12/03/2024 10:00 | [11 empty] | 11/03/2024 14:00 | [11 empty] | 12/03/2024 12:30
07/03/2024 23:30 | 2291.157 | 2399.388 | 2182.927 | [7 empty] | 12/03/2024 10:30 | [11 empty] | 12/03/2024 08:00
08/03/2024 00:00 | 2222.348 | 2328.198 | 2116.498 | [7 empty] | 12/03/2024 11:00 | [11 empty] | 12/03/2024 08:30
08/03/2024 00:30 | 2168.445 | 2272.577 | 2064.314 | [7 empty] | 12/03/2024 11:30 | [11 empty] | 12/03/2024 09:00
08/03/2024 01:00 | 2126.44 | 2229.387 | 2023.493 | [7 empty] | 12/03/2024 12:00 | [11 empty] | 12/03/2024 09:30
08/03/2024 01:30 | 2100.098 | 2202.591 | 1997.605 | [7 empty] | 12/03/2024 12:30 | [11 empty] | 12/03/2024 10:30
08/03/2024 02:00 | 2078.957 | 2181.232 | 1976.682 | [19 empty] | 12/03/2024 11:00
08/03/2024 02:30 | 2064.903 | 2167.295 | 1962.511 | [19 empty] | 12/03/2024 11:30
08/03/2024 03:00 | 2053.591 | 2156.226 | 1950.957 | [19 empty] | 12/03/2024 12:00
08/03/2024 03:30 | 2050.416 | 2153.695 | 1947.138 | [19 empty] | 12/03/2024 12:30
08/03/2024 04:00 | 2070.586 | 2175.691 | 1965.481
08/03/2024 04:30 | 2120.952 | 2229.444 | 2012.46
08/03/2024 05:00 | 2201.17 | 2314.627 | 2087.714
08/03/2024 05:30 | 2290.833 | 2409.808 | 2171.859
08/03/2024 06:00 | 2380.776 | 2505.354 | 2256.198
08/03/2024 06:30 | 2443.359 | 2571.972 | 2314.747
08/03/2024 07:00 | 2476.343 | 2607.066 | 2345.62
08/03/2024 07:30 | 2465.183 | 2595.723 | 2334.642
08/03/2024 08:00 | 2446.17 | 2576.108 | 2316.232
08/03/2024 08:30 | 2435.417 | 2565.187 | 2305.648
08/03/2024 09:00 | 2408.526 | 2537.26 | 2279.792
08/03/2024 09:30 | 2367.414 | 2494.341 | 2240.487
08/03/2024 10:00 | 2368.858 | 2496.253 | 2241.462
08/03/2024 10:30 | 2411.991 | 2542.104 | 2281.877
08/03/2024 11:00 | 2441.215 | 2573.308 | 2309.122
08/03/2024 11:30 | 2427.781 | 2559.548 | 2296.013
08/03/2024 12:00 | 2389.102 | 2519.164 | 2259.039
08/03/2024 12:30 | 2423.152 | 2555.468 | 2290.836
08/03/2024 13:00 | 2451.647 | 2585.924 | 2317.37
08/03/2024 13:30 | 2364.793 | 2494.703 | 2234.883
08/03/2024 14:00 | 2296.451 | 2422.986 | 2169.916
08/03/2024 14:30 | 2332.084 | 2460.968 | 2203.201
08/03/2024 15:00 | 2395.457 | 2528.238 | 2262.675
08/03/2024 15:30 | 2497.562 | 2636.416 | 2358.708
08/03/2024 16:00 | 2594.861 | 2739.552 | 2450.17
08/03/2024 16:30 | 2690.257 | 2840.711 | 2539.802
08/03/2024 17:00 | 2753.046 | 2907.467 | 2598.625
08/03/2024 17:30 | 2788.226 | 2945.08 | 2631.372
08/03/2024 18:00 | 2801.025 | 2959.062 | 2642.988
08/03/2024 18:30 | 2781.579 | 2938.978 | 2624.18
08/03/2024 19:00 | 2702.12 | 2855.469 | 2548.771
08/03/2024 19:30 | 2629.479 | 2779.14 | 2479.819
08/03/2024 20:00 | 2559.434 | 2705.53 | 2413.338
08/03/2024 20:30 | 2491.955 | 2634.611 | 2349.299
08/03/2024 21:00 | 2405.132 | 2543.215 | 2267.05
08/03/2024 21:30 | 2320.777 | 2454.4 | 2187.154
08/03/2024 22:00 | 2243.078 | 2372.597 | 2113.558
08/03/2024 22:30 | 2170.697 | 2296.396 | 2044.998
08/03/2024 23:00 | 2093.439 | 2215.009 | 1971.868
08/03/2024 23:30 | 2016.094 | 2137.582 | 1894.605
09/03/2024 00:00 | 1943.812 | 2069.069 | 1818.555
09/03/2024 00:30 | 1886.867 | 2008.167 | 1765.568
09/03/2024 01:00 | 1842.002 | 1960.769 | 1723.234
09/03/2024 01:30 | 1811.782 | 1928.947 | 1694.617
09/03/2024 02:00 | 1789.613 | 1905.686 | 1673.539
09/03/2024 02:30 | 1770.574 | 1885.751 | 1655.398
09/03/2024 03:00 | 1756.212 | 1870.79 | 1641.634
09/03/2024 03:30 | 1747.441 | 1861.781 | 1633.101
09/03/2024 04:00 | 1747.126 | 1861.779 | 1632.474
09/03/2024 04:30 | 1755.312 | 1870.837 | 1639.786
09/03/2024 05:00 | 1776.847 | 1894.129 | 1659.565
09/03/2024 05:30 | 1804.618 | 1924.078 | 1685.158
09/03/2024 06:00 | 1786.838 | 1905.463 | 1668.214
09/03/2024 06:30 | 1711.841 | 1825.843 | 1597.839
09/03/2024 07:00 | 1607.071 | 1714.484 | 1499.658
09/03/2024 07:30 | 1456.291 | 1553.974 | 1358.608
09/03/2024 08:00 | 1305.005 | 1392.853 | 1217.158
09/03/2024 08:30 | 1174.493 | 1253.835 | 1095.151
09/03/2024 09:00 | 1047.949 | 1118.993 | 976.9052
09/03/2024 09:30 | 942.7944 | 1006.935 | 878.6541
09/03/2024 10:00 | 872.2391 | 931.7878 | 812.6904
09/03/2024 10:30 | 818.564 | 874.6437 | 762.4841
09/03/2024 11:00 | 824.7924 | 881.4958 | 768.0889
09/03/2024 11:30 | 837.8993 | 895.704 | 780.0945
09/03/2024 12:00 | 864.9179 | 924.7933 | 805.0425
09/03/2024 12:30 | 911.8645 | 975.2076 | 848.5214
09/03/2024 13:00 | 954.9849 | 1021.551 | 888.4183
09/03/2024 13:30 | 1031.364 | 1103.5 | 959.2268
09/03/2024 14:00 | 1140.667 | 1220.721 | 1060.612
09/03/2024 14:30 | 1294.016 | 1385.142 | 1202.89
09/03/2024 15:00 | 1468.654 | 1572.429 | 1364.879
09/03/2024 15:30 | 1659.956 | 1777.644 | 1542.267
09/03/2024 16:00 | 1860.258 | 1992.592 | 1727.923
09/03/2024 16:30 | 2064.5 | 2211.856 | 1917.143
09/03/2024 17:00 | 2227.283 | 2385.718 | 2067.776
09/03/2024 17:30 | 2337.179 | 2503.991 | 2169.243
09/03/2024 18:00 | 2378.64 | 2548.981 | 2207.156
09/03/2024 18:30 | 2375.509 | 2546.194 | 2203.683
09/03/2024 19:00 | 2322.326 | 2489.745 | 2153.793
09/03/2024 19:30 | 2258.299 | 2421.643 | 2093.873
09/03/2024 20:00 | 2200.031 | 2359.685 | 2039.322
09/03/2024 20:30 | 2151.523 | 2308.172 | 1993.843
09/03/2024 21:00 | 2094.08 | 2247.047 | 1940.11
09/03/2024 21:30 | 2031.292 | 2180.157 | 1881.453
09/03/2024 22:00 | 1971.127 | 2116.053 | 1826.195
09/03/2024 22:30 | 1908.247 | 2049.007 | 1767.483
09/03/2024 23:00 | 1845.325 | 1981.885 | 1708.762
09/03/2024 23:30 | 1784.242 | 1916.708 | 1651.774
10/03/2024 00:00 | 1727.335 | 1855.989 | 1598.679
10/03/2024 00:30 | 1685.135 | 1811.049 | 1559.22
10/03/2024 01:00 | 1653.673 | 1777.632 | 1529.714
10/03/2024 01:30 | 1637.532 | 1760.672 | 1514.392
10/03/2024 02:00 | 1626.217 | 1748.895 | 1503.54
10/03/2024 02:30 | 1617.124 | 1739.502 | 1494.746
10/03/2024 03:00 | 1611.448 | 1733.781 | 1489.115
10/03/2024 03:30 | 1605.753 | 1728.037 | 1483.468
10/03/2024 04:00 | 1604.371 | 1726.934 | 1481.809
10/03/2024 04:30 | 1608.273 | 1731.518 | 1485.029
10/03/2024 05:00 | 1617.169 | 1741.482 | 1492.856
10/03/2024 05:30 | 1624.947 | 1750.246 | 1499.648
10/03/2024 06:00 | 1588.584 | 1711.458 | 1465.71
10/03/2024 06:30 | 1494.784 | 1610.76 | 1378.808
10/03/2024 07:00 | 1381.56 | 1489.082 | 1274.039
10/03/2024 07:30 | 1251.185 | 1348.859 | 1153.512
10/03/2024 08:00 | 1133.711 | 1222.485 | 1044.937
10/03/2024 08:30 | 1005.778 | 1084.774 | 926.7811
10/03/2024 09:00 | 878.8546 | 948.0921 | 809.6171
10/03/2024 09:30 | 786.8875 | 849.0676 | 724.7073
10/03/2024 10:00 | 736.6063 | 794.9892 | 678.2234
10/03/2024 10:30 | 704.9534 | 760.9959 | 648.9109
10/03/2024 11:00 | 742.0278 | 801.1949 | 682.8608
10/03/2024 11:30 | 789.4093 | 852.543 | 726.2756
10/03/2024 12:00 | 825.6514 | 891.8809 | 759.422
10/03/2024 12:30 | 890.7302 | 962.3927 | 819.0677
10/03/2024 13:00 | 965.3785 | 1043.277 | 887.4797
10/03/2024 13:30 | 1064.618 | 1150.78 | 978.4574
10/03/2024 14:00 | 1190.229 | 1286.841 | 1093.618
10/03/2024 14:30 | 1354.63 | 1464.91 | 1244.351
10/03/2024 15:00 | 1534.113 | 1659.37 | 1408.855
10/03/2024 15:30 | 1743.334 | 1886.09 | 1600.578
10/03/2024 16:00 | 1964.917 | 2126.287 | 1803.547
10/03/2024 16:30 | 2180.845 | 2360.469 | 2001.22
10/03/2024 17:00 | 2361.985 | 2557.094 | 2166.877
10/03/2024 17:30 | 2479.907 | 2685.348 | 2274.465
10/03/2024 18:00 | 2521.342 | 2730.819 | 2311.866
10/03/2024 18:30 | 2507.291 | 2716.198 | 2298.383
10/03/2024 19:00 | 2445.966 | 2650.349 | 2241.584
10/03/2024 19:30 | 2384.004 | 2583.778 | 2184.229
10/03/2024 20:00 | 2312.061 | 2506.359 | 2117.763
10/03/2024 20:30 | 2240.055 | 2428.837 | 2051.273
10/03/2024 21:00 | 2155.438 | 2337.604 | 1973.273
10/03/2024 21:30 | 2073.333 | 2249.056 | 1897.612
10/03/2024 22:00 | 2000.486 | 2170.511 | 1830.46
10/03/2024 22:30 | 1933.841 | 2098.665 | 1769.018
10/03/2024 23:00 | 1883.397 | 2044.371 | 1722.423
10/03/2024 23:30 | 1815.998 | 1966.688 | 1665.309
11/03/2024 00:00 | 1752.074 | 1888.391 | 1615.757
11/03/2024 00:30 | 1721.04 | 1856.119 | 1585.962
11/03/2024 01:00 | 1698.682 | 1832.377 | 1564.987
11/03/2024 01:30 | 1686.914 | 1820.051 | 1553.777
11/03/2024 02:00 | 1678.381 | 1811.212 | 1545.55
11/03/2024 02:30 | 1674.025 | 1806.877 | 1541.174
11/03/2024 03:00 | 1673.875 | 1807.08 | 1540.669
11/03/2024 03:30 | 1682.487 | 1816.745 | 1548.228
11/03/2024 04:00 | 1711.595 | 1848.55 | 1574.64
11/03/2024 04:30 | 1770.529 | 1912.586 | 1628.471
11/03/2024 05:00 | 1846.443 | 1994.995 | 1697.891
11/03/2024 05:30 | 1924.051 | 2079.267 | 1768.835
11/03/2024 06:00 | 1975.253 | 2135.031 | 1815.475
11/03/2024 06:30 | 1950.254 | 2108.436 | 1792.072
11/03/2024 07:00 | 1874.119 | 2026.535 | 1721.702
11/03/2024 07:30 | 1748.75 | 1891.336 | 1606.164
11/03/2024 08:00 | 1624.239 | 1756.982 | 1491.497
11/03/2024 08:30 | 1511.311 | 1635.114 | 1387.508
11/03/2024 09:00 | 1400.787 | 1515.805 | 1285.77
11/03/2024 09:30 | 1304.754 | 1412.136 | 1197.371
11/03/2024 10:00 | 1262.874 | 1367.052 | 1158.697
11/03/2024 10:30 | 1253.79 | 1357.459 | 1150.121
11/03/2024 11:00 | 1272.831 | 1378.318 | 1167.344
11/03/2024 11:30 | 1315.201 | 1424.451 | 1205.95
11/03/2024 12:00 | 1362.999 | 1476.482 | 1249.517
11/03/2024 12:30 | 1438.944 | 1559.025 | 1318.862
11/03/2024 13:00 | 1511.033 | 1637.42 | 1384.646
11/03/2024 13:30 | 1604.577 | 1739.095 | 1470.058
11/03/2024 14:00 | 1720.924 | 1865.526 | 1576.322
11/03/2024 14:30 | 1881.036 | 2039.452 | 1722.619
11/03/2024 15:00 | 2070.636 | 2245.417 | 1895.856
11/03/2024 15:30 | 2263.322 | 2454.802 | 2071.843
11/03/2024 16:00 | 2442.545 | 2649.655 | 2235.436
11/03/2024 16:30 | 2614.133 | 2836.293 | 2391.973
11/03/2024 17:00 | 2747.025 | 2981.005 | 2513.045
11/03/2024 17:30 | 2814.118 | 3054.352 | 2573.884
11/03/2024 18:00 | 2822.312 | 3063.787 | 2580.837
11/03/2024 18:30 | 2781.18 | 3019.668 | 2542.691
11/03/2024 19:00 | 2690.552 | 2921.785 | 2459.319
11/03/2024 19:30 | 2599.636 | 2823.554 | 2375.719
11/03/2024 20:00 | 2498.026 | 2713.67 | 2282.381
11/03/2024 20:30 | 2398.182 | 2605.667 | 2190.697
11/03/2024 21:00 | 2291.63 | 2490.336 | 2092.925
11/03/2024 21:30 | 2189.139 | 2379.377 | 1998.901
11/03/2024 22:00 | 2097.654 | 2280.344 | 1914.964
11/03/2024 22:30 | 2020.801 | 2197.185 | 1844.417
11/03/2024 23:00 | 1963.234 | 2134.969 | 1791.498
11/03/2024 23:30 | 1913.352 | 2081.091 | 1745.613
12/03/2024 00:00 | 1872.499 | 2037.015 | 1707.982
12/03/2024 00:30 | 1840.591 | 2002.657 | 1678.526
12/03/2024 01:00 | 1817.188 | 1977.542 | 1656.835
12/03/2024 01:30 | 1796.448 | 1955.316 | 1637.581
12/03/2024 02:00 | 1781.937 | 1939.863 | 1624.011
12/03/2024 02:30 | 1772.175 | 1929.576 | 1614.775
12/03/2024 03:00 | 1767.35 | 1924.66 | 1610.039
12/03/2024 03:30 | 1770.244 | 1928.151 | 1612.337
12/03/2024 04:00 | 1794.411 | 1954.818 | 1634.004
12/03/2024 04:30 | 1847.659 | 2013.18 | 1682.138
12/03/2024 05:00 | 1921.077 | 2093.544 | 1748.611
12/03/2024 05:30 | 2002.457 | 2182.614 | 1822.301
12/03/2024 06:00 | 2074.384 | 2261.409 | 1887.359
12/03/2024 06:30 | 2086.333 | 2274.835 | 1897.831
12/03/2024 07:00 | 2067.669 | 2254.881 | 1880.457
12/03/2024 07:30 | 2035.531 | 2220.223 | 1850.839
12/03/2024 08:00 | 1947.866 | 2124.978 | 1770.755
12/03/2024 08:30 | 1801.225 | 1965.349 | 1637.102
12/03/2024 09:00 | 1687.08 | 1841.126 | 1533.034
12/03/2024 09:30 | 1601.089 | 1747.59 | 1454.588
12/03/2024 10:00 | 1546.124 | 1687.891 | 1404.356
12/03/2024 10:30 | 1538.666 | 1680.044 | 1397.287
12/03/2024 11:00 | 1559.695 | 1703.306 | 1416.085
12/03/2024 11:30 | 1595.329 | 1742.526 | 1448.132
12/03/2024 12:00 | 1644.889 | 1796.974 | 1492.804
12/03/2024 12:30 | 1733.859 | 1894.503 | 1573.216
12/03/2024 13:00 | 1842.213 | 2013.248 | 1671.177
12/03/2024 13:30 | 2001.932 | 2188.18 | 1815.684
12/03/2024 14:00 | 2162.343 | 2363.929 | 1960.757
12/03/2024 14:30 | 2313.649 | 2529.784 | 2097.513
12/03/2024 15:00 | 2493.699 | 2727.132 | 2260.266
12/03/2024 15:30 | 2660.839 | 2910.428 | 2411.25
12/03/2024 16:00 | 2777.378 | 3038.431 | 2516.326
12/03/2024 16:30 | 2849.118 | 3117.46 | 2580.777
12/03/2024 17:00 | 2896.478 | 3169.835 | 2623.12
12/03/2024 17:30 | 2922.038 | 3198.367 | 2645.708
12/03/2024 18:00 | 2912.355 | 3188.328 | 2636.383
12/03/2024 18:30 | 2879.205 | 3152.588 | 2605.822
12/03/2024 19:00 | 2810.126 | 3077.489 | 2542.764
12/03/2024 19:30 | 2715.567 | 2974.453 | 2456.681
12/03/2024 20:00 | 2612.782 | 2862.37 | 2363.194
12/03/2024 20:30 | 2504.368 | 2744.08 | 2264.656
12/03/2024 21:00 | 2386.24 | 2615.102 | 2157.378
12/03/2024 21:30 | 2273.524 | 2492.011 | 2055.037
12/03/2024 22:00 | 2171.509 | 2380.608 | 1962.409
12/03/2024 22:30 | 2088.84 | 2290.38 | 1887.301
12/03/2024 23:00 | 2025.735 | 2221.574 | 1829.896
12/03/2024 23:30 | 2022.471 | 2218.383 | 1826.56
13/03/2024 00:00 | 2059.106 | 2258.961 | 1859.251
13/03/2024 00:30 | 2021.613 | 2218.217 | 1825.01
13/03/2024 01:00 | 1992.796 | 2186.979 | 1798.613
13/03/2024 01:30 | 1970.748 | 2163.16 | 1778.336
13/03/2024 02:00 | 1957.041 | 2148.49 | 1765.592
13/03/2024 02:30 | 1945.305 | 2135.978 | 1754.631
13/03/2024 03:00 | 1940.703 | 2131.297 | 1750.108
13/03/2024 03:30 | 1946.641 | 2138.192 | 1755.09
13/03/2024 04:00 | 1973.373 | 2167.933 | 1778.813
13/03/2024 04:30 | 2025.043 | 2225.085 | 1825.001
13/03/2024 05:00 | 2091.677 | 2298.702 | 1884.652
13/03/2024 05:30 | 2172.274 | 2387.692 | 1956.855
13/03/2024 06:00 | 2266.726 | 2491.946 | 2041.506
13/03/2024 06:30 | 2331.512 | 2563.616 | 2099.408
13/03/2024 07:00 | 2384.59 | 2622.435 | 2146.745
13/03/2024 07:30 | 2409.125 | 2650.001 | 2168.248
13/03/2024 08:00 | 2404.657 | 2645.915 | 2163.4
13/03/2024 08:30 | 2346.422 | 2582.624 | 2110.221
13/03/2024 09:00 | 2293.132 | 2524.738 | 2061.526
13/03/2024 09:30 | 2261.542 | 2490.716 | 2032.369
13/03/2024 10:00 | 2245.861 | 2474.198 | 2017.523
13/03/2024 10:30 | 2253.756 | 2483.651 | 2023.86
13/03/2024 11:00 | 2268.476 | 2500.634 | 2036.318
13/03/2024 11:30 | 2288.642 | 2523.631 | 2053.653
13/03/2024 12:00 | 2358.278 | 2601.208 | 2115.348
13/03/2024 12:30 | 2524.558 | 2785.463 | 2263.653
13/03/2024 13:00 | 2626.654 | 2898.991 | 2354.317
13/03/2024 13:30 | 2614.233 | 2886.159 | 2342.307
13/03/2024 14:00 | 2670.702 | 2949.397 | 2392.007
13/03/2024 14:30 | 2828.604 | 3124.725 | 2532.483
13/03/2024 15:00 | 2952.834 | 3262.95 | 2642.718
13/03/2024 15:30 | 3017.77 | 3335.718 | 2699.822
13/03/2024 16:00 | 3093.343 | 3420.291 | 2766.396
13/03/2024 16:30 | 3180.736 | 3517.987 | 2843.485
13/03/2024 17:00 | 3225.591 | 3568.679 | 2882.503
13/03/2024 17:30 | 3224.822 | 3568.91 | 2880.734
13/03/2024 18:00 | 3198.078 | 3540.385 | 2855.772
13/03/2024 18:30 | 3149.169 | 3487.297 | 2811.042
13/03/2024 19:00 | 3058.945 | 3388.41 | 2729.479
13/03/2024 19:30 | 2961.661 | 3281.642 | 2641.68
13/03/2024 20:00 | 2851.826 | 3160.896 | 2542.756
13/03/2024 20:30 | 2729.374 | 3026.088 | 2432.659
13/03/2024 21:00 | 2601.716 | 2885.425 | 2318.007
13/03/2024 21:30 | 2479.512 | 2750.726 | 2208.297
13/03/2024 22:00 | 2370.664 | 2630.767 | 2110.561
13/03/2024 22:30 | 2276.767 | 2527.332 | 2026.203
13/03/2024 23:00 | 2197.944 | 2440.57 | 1955.317
13/03/2024 23:30 | 2130.645 | 2366.557 | 1894.733
14/03/2024 00:00 | 2073.182 | 2303.427 | 1842.937
14/03/2024 00:30 | 2029.274 | 2255.323 | 1803.225
14/03/2024 01:00 | 1995.466 | 2218.417 | 1772.514
14/03/2024 01:30 | 1971.997 | 2192.988 | 1751.006
14/03/2024 02:00 | 1954.886 | 2174.615 | 1735.157
14/03/2024 02:30 | 1944.09 | 2163.257 | 1724.922
14/03/2024 03:00 | 1939.532 | 2158.836 | 1720.229
14/03/2024 03:30 | 1943.656 | 2164.078 | 1723.235
14/03/2024 04:00 | 1967.499 | 2191.284 | 1743.714
14/03/2024 04:30 | 2019.492 | 2249.868 | 1789.116
14/03/2024 05:00 | 2089.921 | 2329.032 | 1850.81
14/03/2024 05:30 | 2168.973 | 2417.856 | 1920.09
14/03/2024 06:00 | 2244.241 | 2502.513 | 1985.969
14/03/2024 06:30 | 2257.354 | 2517.892 | 1996.816
14/03/2024 07:00 | 2219.077 | 2475.941 | 1962.213
14/03/2024 07:30 | 2150.675 | 2400.343 | 1901.008