## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
09/03/2024 08:00 | 1426.44 | 1451.911 | 1403.867
09/03/2024 08:30 | 1339.506 | 1367.162 | 1311.851 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
09/03/2024 09:00 | 1246.394 | 1276.892 | 1215.896 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
09/03/2024 09:30 | 1113.121 | 1144.614 | 1081.629 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
09/03/2024 10:00 | 990.6885 | 1022.505 | 958.8723 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
09/03/2024 10:30 | 903.8523 | 935.4404 | 872.2642 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
09/03/2024 11:00 | 847.7048 | 878.0703 | 817.3394 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
09/03/2024 11:30 | 800.2153 | 829.7132 | 770.7175 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
09/03/2024 12:00 | 773.8737 | 803.2064 | 744.5409 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
09/03/2024 12:30 | 811.8807 | 843.4996 | 780.2617 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
09/03/2024 13:00 | 858.7346 | 893.0727 | 824.3966 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
09/03/2024 13:30 | 931.5813 | 969.8024 | 893.3601
09/03/2024 14:00 | 1030.977 | 1074.35 | 987.6041 | Summary view - for each schedule horizon (dispatch, week-ahead)
09/03/2024 14:30 | 1172.838 | 1223.401 | 1122.276
09/03/2024 15:00 | 1344.511 | 1403.875 | 1285.656 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
09/03/2024 15:30 | 1535.551 | 1604.949 | 1466.153 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
09/03/2024 16:00 | 1740.896 | 1821.286 | 1660.312 | Scenario | Violations
09/03/2024 16:30 | 1941.185 | 2032.875 | 1849.334 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
09/03/2024 17:00 | 2102.22 | 2202.829 | 1999.765 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
09/03/2024 17:30 | 2216.806 | 2324.955 | 2106.23 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 1
09/03/2024 18:00 | 2266.773 | 2379.982 | 2151.583 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 1
09/03/2024 18:30 | 2278.044 | 2393.838 | 2160.794 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 1
09/03/2024 19:00 | 2238.056 | 2352.792 | 2122.825
09/03/2024 19:30 | 2182.868 | 2295.631 | 2070.157 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
09/03/2024 20:00 | 2132.486 | 2243.413 | 2022
09/03/2024 20:30 | 2090.841 | 2199.925 | 1981.757 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
09/03/2024 21:00 | 2040.19 | 2147.168 | 1933.212 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
09/03/2024 21:30 | 1984.698 | 2089.289 | 1880.107 | [7 empty] | 09/03/2024 09:00 |  |  |  |  | 09/03/2024 08:00 | [6 empty] | 09/03/2024 09:00 |  |  |  |  | 09/03/2024 08:00 | [6 empty] | 09/03/2024 09:00 |  |  |  |  | 09/03/2024 08:00
09/03/2024 22:00 | 1929.694 | 2031.894 | 1827.493 | [7 empty] | 09/03/2024 09:30 | [11 empty] | 09/03/2024 09:30 | [11 empty] | 09/03/2024 09:30
09/03/2024 22:30 | 1873.512 | 1973.231 | 1773.794 | [7 empty] | 09/03/2024 10:00 | [11 empty] | 09/03/2024 10:00 | [11 empty] | 09/03/2024 10:00
09/03/2024 23:00 | 1820.255 | 1917.618 | 1722.892 | [7 empty] | 09/03/2024 10:30 | [11 empty] | 09/03/2024 10:30 | [11 empty] | 09/03/2024 10:30
09/03/2024 23:30 | 1769.433 | 1864.544 | 1674.323 | [7 empty] | 09/03/2024 11:00 | [11 empty] | 09/03/2024 11:00 | [11 empty] | 09/03/2024 11:00
10/03/2024 00:00 | 1722.437 | 1815.475 | 1629.4 | [7 empty] | 09/03/2024 11:30 | [11 empty] | 09/03/2024 11:30 | [11 empty] | 09/03/2024 11:30
10/03/2024 00:30 | 1685.64 | 1777.134 | 1594.146 | [7 empty] | 09/03/2024 12:00 | [11 empty] | 09/03/2024 12:00 | [11 empty] | 09/03/2024 12:00
10/03/2024 01:00 | 1657.744 | 1748.16 | 1567.328 | [7 empty] | 09/03/2024 12:30 | [11 empty] | 09/03/2024 12:30 | [11 empty] | 09/03/2024 12:30
10/03/2024 01:30 | 1640.287 | 1730.183 | 1550.391 | [7 empty] | 09/03/2024 13:00 | [11 empty] | 09/03/2024 13:00 | [11 empty] | 09/03/2024 13:00
10/03/2024 02:00 | 1628.337 | 1718.007 | 1538.667 | [7 empty] | 09/03/2024 13:30 | [11 empty] | 09/03/2024 13:30 | [11 empty] | 09/03/2024 13:30
10/03/2024 02:30 | 1618.324 | 1707.869 | 1528.78 | [7 empty] | 09/03/2024 14:00 | [11 empty] | 09/03/2024 14:00 | [11 empty] | 09/03/2024 14:00
10/03/2024 03:00 | 1611.42 | 1701.006 | 1521.833 | [7 empty] | 09/03/2024 14:30 | [11 empty] | 09/03/2024 14:30 | [11 empty] | 09/03/2024 14:30
10/03/2024 03:30 | 1606.525 | 1696.263 | 1516.788 | [7 empty] | 10/03/2024 07:30 | [11 empty] | 10/03/2024 07:30 | [11 empty] | 09/03/2024 15:30
10/03/2024 04:00 | 1606.155 | 1696.295 | 1516.015 | [7 empty] | 11/03/2024 12:00 | [11 empty] | 11/03/2024 11:00 | [11 empty] | 11/03/2024 12:00
10/03/2024 04:30 | 1611.001 | 1701.837 | 1520.166 | [7 empty] | 11/03/2024 12:30 | [11 empty] | 11/03/2024 11:30 | [11 empty] | 11/03/2024 12:30
10/03/2024 05:00 | 1618.724 | 1710.422 | 1527.027 | [7 empty] | 11/03/2024 13:00 | [11 empty] | 11/03/2024 12:00 | [11 empty] | 11/03/2024 13:00
10/03/2024 05:30 | 1623.023 | 1715.391 | 1530.655 | [7 empty] | 11/03/2024 13:30 | [11 empty] | 11/03/2024 12:30 | [11 empty] | 11/03/2024 13:30
10/03/2024 06:00 | 1589.559 | 1680.442 | 1498.677 | [19 empty] | 11/03/2024 13:00 | [11 empty] | 11/03/2024 14:00
10/03/2024 06:30 | 1502.368 | 1588.622 | 1416.113 | [19 empty] | 14/03/2024 14:00 | [11 empty] | 15/03/2024 12:30
10/03/2024 07:00 | 1391.811 | 1471.977 | 1311.644
10/03/2024 07:30 | 1257.559 | 1330.233 | 1184.884
10/03/2024 08:00 | 1130.617 | 1196.172 | 1065.063
10/03/2024 08:30 | 1000.621 | 1058.829 | 942.4126
10/03/2024 09:00 | 879.1767 | 930.4883 | 827.8651
10/03/2024 09:30 | 790.6702 | 836.9673 | 744.3731
10/03/2024 10:00 | 743.9401 | 787.643 | 700.2371
10/03/2024 10:30 | 713.136 | 755.1656 | 671.1063
10/03/2024 11:00 | 737.6628 | 781.279 | 694.0467
10/03/2024 11:30 | 777.965 | 824.1128 | 731.8173
10/03/2024 12:00 | 810.5914 | 858.8293 | 762.3534
10/03/2024 12:30 | 866.8518 | 918.6034 | 815.1002
10/03/2024 13:00 | 933.67 | 989.5891 | 877.751
10/03/2024 13:30 | 1024.453 | 1086.005 | 962.9006
10/03/2024 14:00 | 1141.265 | 1210.054 | 1072.477
10/03/2024 14:30 | 1294.806 | 1373.096 | 1216.516
10/03/2024 15:00 | 1468.872 | 1557.968 | 1379.776
10/03/2024 15:30 | 1670.233 | 1771.861 | 1568.604
10/03/2024 16:00 | 1884.927 | 1999.98 | 1769.875
10/03/2024 16:30 | 2092.826 | 2220.969 | 1964.684
10/03/2024 17:00 | 2267.022 | 2406.263 | 2127.781
10/03/2024 17:30 | 2382.686 | 2529.487 | 2235.886
10/03/2024 18:00 | 2425.578 | 2575.485 | 2275.672
10/03/2024 18:30 | 2418.521 | 2568.454 | 2268.588
10/03/2024 19:00 | 2361.741 | 2508.605 | 2214.877
10/03/2024 19:30 | 2296.005 | 2439.219 | 2152.79
10/03/2024 20:00 | 2223.709 | 2362.839 | 2084.579
10/03/2024 20:30 | 2152.416 | 2287.497 | 2017.335
10/03/2024 21:00 | 2068.881 | 2199.114 | 1938.647
10/03/2024 21:30 | 1987.29 | 2112.767 | 1861.813
10/03/2024 22:00 | 1915.979 | 2037.319 | 1794.638
10/03/2024 22:30 | 1854.621 | 1972.43 | 1736.812
10/03/2024 23:00 | 1807.35 | 1922.502 | 1692.198
10/03/2024 23:30 | 1763.799 | 1872.946 | 1654.652
11/03/2024 00:00 | 1728.507 | 1828.862 | 1628.152
11/03/2024 00:30 | 1701.259 | 1800.897 | 1601.62
11/03/2024 01:00 | 1682.064 | 1780.856 | 1583.272
11/03/2024 01:30 | 1671.602 | 1770.056 | 1573.149
11/03/2024 02:00 | 1664.425 | 1762.73 | 1566.119
11/03/2024 02:30 | 1661.072 | 1759.454 | 1562.69
11/03/2024 03:00 | 1662.215 | 1760.939 | 1563.491
11/03/2024 03:30 | 1671.615 | 1771.173 | 1572.057
11/03/2024 04:00 | 1701.257 | 1802.861 | 1599.652
11/03/2024 04:30 | 1761.193 | 1866.668 | 1655.719
11/03/2024 05:00 | 1838.557 | 1948.969 | 1728.145
11/03/2024 05:30 | 1916.114 | 2031.5 | 1800.729
11/03/2024 06:00 | 1969.669 | 2088.605 | 1850.734
11/03/2024 06:30 | 1952.029 | 2070.26 | 1833.799
11/03/2024 07:00 | 1881.503 | 1995.878 | 1767.127
11/03/2024 07:30 | 1756.941 | 1864.129 | 1649.754
11/03/2024 08:00 | 1631.317 | 1731.196 | 1531.437
11/03/2024 08:30 | 1522.188 | 1615.719 | 1428.657
11/03/2024 09:00 | 1416.716 | 1504.075 | 1329.356
11/03/2024 09:30 | 1325.068 | 1407.065 | 1243.07
11/03/2024 10:00 | 1287.897 | 1367.876 | 1207.918
11/03/2024 10:30 | 1284.741 | 1364.804 | 1204.677
11/03/2024 11:00 | 1309.565 | 1391.461 | 1227.668
11/03/2024 11:30 | 1357.573 | 1442.769 | 1272.377
11/03/2024 12:00 | 1414.164 | 1503.22 | 1325.108
11/03/2024 12:30 | 1499.187 | 1593.925 | 1404.449
11/03/2024 13:00 | 1581.369 | 1681.645 | 1481.092
11/03/2024 13:30 | 1693.826 | 1801.604 | 1586.048
11/03/2024 14:00 | 1832.567 | 1949.574 | 1715.561
11/03/2024 14:30 | 2004.759 | 2133.197 | 1876.32
11/03/2024 15:00 | 2206.454 | 2348.296 | 2064.611
11/03/2024 15:30 | 2411.838 | 2567.411 | 2256.266
11/03/2024 16:00 | 2584.628 | 2751.91 | 2417.345
11/03/2024 16:30 | 2722.07 | 2898.844 | 2545.297
11/03/2024 17:00 | 2823.194 | 3007.15 | 2639.237
11/03/2024 17:30 | 2875.612 | 3063.613 | 2687.612
11/03/2024 18:00 | 2878.71 | 3067.542 | 2689.878
11/03/2024 18:30 | 2836.64 | 3023.333 | 2649.948
11/03/2024 19:00 | 2748.592 | 2930.09 | 2567.094
11/03/2024 19:30 | 2655.022 | 2830.922 | 2479.123
11/03/2024 20:00 | 2550.31 | 2719.83 | 2380.791
11/03/2024 20:30 | 2446.389 | 2609.535 | 2283.243
11/03/2024 21:00 | 2335.462 | 2491.721 | 2179.203
11/03/2024 21:30 | 2228.278 | 2377.852 | 2078.704
11/03/2024 22:00 | 2133.308 | 2276.973 | 1989.642
11/03/2024 22:30 | 2051.129 | 2189.708 | 1912.55
11/03/2024 23:00 | 1984.436 | 2118.943 | 1849.929
11/03/2024 23:30 | 1923.803 | 2054.621 | 1792.985
12/03/2024 00:00 | 1871.991 | 1999.694 | 1744.288
12/03/2024 00:30 | 1833.529 | 1959.009 | 1708.048
12/03/2024 01:00 | 1806.409 | 1930.428 | 1682.39
12/03/2024 01:30 | 1786.27 | 1909.297 | 1663.244
12/03/2024 02:00 | 1771.48 | 1893.875 | 1649.086
12/03/2024 02:30 | 1761.787 | 1883.897 | 1639.677
12/03/2024 03:00 | 1756.865 | 1879.018 | 1634.712
12/03/2024 03:30 | 1759.775 | 1882.515 | 1637.036
12/03/2024 04:00 | 1783.73 | 1907.751 | 1658.93
12/03/2024 04:30 | 1836.589 | 1964.686 | 1707.689
12/03/2024 05:00 | 1910.732 | 2044.418 | 1776.211
12/03/2024 05:30 | 1992.358 | 2132.19 | 1851.655
12/03/2024 06:00 | 2050.579 | 2194.946 | 1905.317
12/03/2024 06:30 | 2039.014 | 2183.011 | 1894.125
12/03/2024 07:00 | 1973.391 | 2113.185 | 1832.734
12/03/2024 07:30 | 1852.337 | 1983.96 | 1719.904
12/03/2024 08:00 | 1727.686 | 1850.829 | 1603.787
12/03/2024 08:30 | 1620.039 | 1735.864 | 1503.506
12/03/2024 09:00 | 1525.528 | 1634.93 | 1415.46
12/03/2024 09:30 | 1442.002 | 1545.728 | 1337.646
12/03/2024 10:00 | 1394.169 | 1494.759 | 1292.97
12/03/2024 10:30 | 1392.101 | 1492.846 | 1290.748
12/03/2024 11:00 | 1421.806 | 1525.012 | 1317.979
12/03/2024 11:30 | 1470.322 | 1577.371 | 1362.631
12/03/2024 12:00 | 1514.511 | 1625.107 | 1403.252
12/03/2024 12:30 | 1576.768 | 1692.255 | 1460.592
12/03/2024 13:00 | 1680.929 | 1804.413 | 1557.445
12/03/2024 13:30 | 1874.466 | 2012.577 | 1736.355
12/03/2024 14:00 | 2070.664 | 2223.683 | 1917.645
12/03/2024 14:30 | 2241.491 | 2407.624 | 2075.359
12/03/2024 15:00 | 2413.848 | 2593.282 | 2234.413
12/03/2024 15:30 | 2526.925 | 2715.317 | 2338.532
12/03/2024 16:00 | 2630.422 | 2827.105 | 2433.739
12/03/2024 16:30 | 2746.327 | 2952.277 | 2540.377
12/03/2024 17:00 | 2826.989 | 3039.605 | 2614.373
12/03/2024 17:30 | 2860.742 | 3076.522 | 2644.962
12/03/2024 18:00 | 2854.895 | 3070.858 | 2638.933
12/03/2024 18:30 | 2828.416 | 3042.994 | 2613.839
12/03/2024 19:00 | 2769.495 | 2980.207 | 2558.782
12/03/2024 19:30 | 2677.184 | 2881.458 | 2472.91
12/03/2024 20:00 | 2576.575 | 2773.736 | 2379.415
12/03/2024 20:30 | 2471.758 | 2661.438 | 2282.078
12/03/2024 21:00 | 2357.239 | 2538.646 | 2175.832
12/03/2024 21:30 | 2247.409 | 2420.854 | 2073.963
12/03/2024 22:00 | 2148.232 | 2314.493 | 1981.971
12/03/2024 22:30 | 2065.039 | 2225.313 | 1904.766
12/03/2024 23:00 | 1998.085 | 2153.599 | 1842.572
12/03/2024 23:30 | 1987.72 | 2142.861 | 1832.579
13/03/2024 00:00 | 2015.1 | 2172.818 | 1857.381
13/03/2024 00:30 | 1972.534 | 2127.351 | 1817.716
13/03/2024 01:00 | 1944.171 | 2097.188 | 1791.155
13/03/2024 01:30 | 1922.523 | 2074.256 | 1770.791
13/03/2024 02:00 | 1905.99 | 2056.834 | 1755.146
13/03/2024 02:30 | 1895.688 | 2046.131 | 1745.245
13/03/2024 03:00 | 1891.723 | 2042.265 | 1741.181
13/03/2024 03:30 | 1898.352 | 2049.836 | 1746.868
13/03/2024 04:00 | 1926.142 | 2080.264 | 1772.019
13/03/2024 04:30 | 1980.213 | 2139.095 | 1821.332
13/03/2024 05:00 | 2051.31 | 2216.344 | 1886.276
13/03/2024 05:30 | 2128.768 | 2300.499 | 1957.037
13/03/2024 06:00 | 2188.208 | 2365.212 | 2011.204
13/03/2024 06:30 | 2177.478 | 2354.09 | 2000.866
13/03/2024 07:00 | 2109.204 | 2280.74 | 1937.669
13/03/2024 07:30 | 1984.486 | 2146.293 | 1822.679
13/03/2024 08:00 | 1858.558 | 2010.45 | 1706.665
13/03/2024 08:30 | 1742.23 | 1884.95 | 1599.511
13/03/2024 09:00 | 1643.535 | 1778.485 | 1508.586
13/03/2024 09:30 | 1571.435 | 1700.766 | 1442.104
13/03/2024 10:00 | 1537.97 | 1664.841 | 1411.099
13/03/2024 10:30 | 1552.634 | 1681.013 | 1424.256
13/03/2024 11:00 | 1602.01 | 1734.779 | 1469.242
13/03/2024 11:30 | 1657.639 | 1795.335 | 1519.943
13/03/2024 12:00 | 1715.937 | 1858.804 | 1573.069
13/03/2024 12:30 | 1799.703 | 1949.89 | 1649.516
13/03/2024 13:00 | 1896.256 | 2054.864 | 1737.649
13/03/2024 13:30 | 2013.904 | 2182.739 | 1845.07
13/03/2024 14:00 | 2146.386 | 2326.739 | 1966.034
13/03/2024 14:30 | 2317.448 | 2512.617 | 2122.278
13/03/2024 15:00 | 2523.648 | 2736.667 | 2310.629
13/03/2024 15:30 | 2716.738 | 2946.577 | 2486.9
13/03/2024 16:00 | 2885.99 | 3130.7 | 2641.279
13/03/2024 16:30 | 3042.144 | 3300.678 | 2783.609
13/03/2024 17:00 | 3144.768 | 3412.626 | 2876.909
13/03/2024 17:30 | 3182.793 | 3454.501 | 2911.086
13/03/2024 18:00 | 3176.038 | 3447.778 | 2904.299
13/03/2024 18:30 | 3124.596 | 3392.533 | 2856.659
13/03/2024 19:00 | 3025.095 | 3285.079 | 2765.11
13/03/2024 19:30 | 2926.312 | 3178.367 | 2674.257
13/03/2024 20:00 | 2812.333 | 3055.11 | 2569.556
13/03/2024 20:30 | 2692.156 | 2925.075 | 2459.238
13/03/2024 21:00 | 2568.377 | 2791.079 | 2345.675
13/03/2024 21:30 | 2450.13 | 2663.048 | 2237.211
13/03/2024 22:00 | 2342.007 | 2545.978 | 2138.036
13/03/2024 22:30 | 2248.509 | 2444.769 | 2052.25
13/03/2024 23:00 | 2174.246 | 2364.44 | 1984.052
13/03/2024 23:30 | 2110.501 | 2295.523 | 1925.479
14/03/2024 00:00 | 2056.98 | 2237.705 | 1876.255
14/03/2024 00:30 | 2015.181 | 2192.62 | 1837.743
14/03/2024 01:00 | 1982.77 | 2157.734 | 1807.805
14/03/2024 01:30 | 1958.653 | 2131.865 | 1785.441
14/03/2024 02:00 | 1940.289 | 2112.249 | 1768.329
14/03/2024 02:30 | 1928.807 | 2100.118 | 1757.495
14/03/2024 03:00 | 1924.579 | 2095.884 | 1753.274
14/03/2024 03:30 | 1928.619 | 2100.653 | 1756.584
14/03/2024 04:00 | 1951.662 | 2126.126 | 1777.198
14/03/2024 04:30 | 2003.342 | 2182.81 | 1823.875
14/03/2024 05:00 | 2075.12 | 2261.415 | 1888.824
14/03/2024 05:30 | 2153.308 | 2347.035 | 1959.58
14/03/2024 06:00 | 2220.021 | 2420.176 | 2019.865
14/03/2024 06:30 | 2244.603 | 2447.405 | 2041.801
14/03/2024 07:00 | 2202.326 | 2401.73 | 2002.922
14/03/2024 07:30 | 2069.583 | 2257.365 | 1881.801
14/03/2024 08:00 | 1946.427 | 2123.407 | 1769.446
14/03/2024 08:30 | 1847.064 | 2015.364 | 1678.764
14/03/2024 09:00 | 1754.706 | 1914.927 | 1594.486
14/03/2024 09:30 | 1683.327 | 1837.353 | 1529.301
14/03/2024 10:00 | 1657.307 | 1809.27 | 1505.345
14/03/2024 10:30 | 1673.547 | 1827.319 | 1519.774
14/03/2024 11:00 | 1720.32 | 1878.72 | 1561.92
14/03/2024 11:30 | 1790.24 | 1955.421 | 1625.059
14/03/2024 12:00 | 1885.767 | 2060.124 | 1711.411
14/03/2024 12:30 | 2029.632 | 2217.679 | 1841.585
14/03/2024 13:00 | 2148.655 | 2348.142 | 1949.169
14/03/2024 13:30 | 2284.239 | 2496.751 | 2071.726
14/03/2024 14:00 | 2467.953 | 2698.029 | 2237.876
14/03/2024 14:30 | 2684.865 | 2935.678 | 2434.052
14/03/2024 15:00 | 2898.871 | 3170.231 | 2627.51
14/03/2024 15:30 | 3040.47 | 3325.669 | 2755.272
14/03/2024 16:00 | 3138.583 | 3433.586 | 2843.58
14/03/2024 16:30 | 3203.473 | 3505.189 | 2901.757
14/03/2024 17:00 | 3239.515 | 3545.247 | 2933.783
14/03/2024 17:30 | 3256.323 | 3564.265 | 2948.381
14/03/2024 18:00 | 3230.273 | 3536.371 | 2924.176
14/03/2024 18:30 | 3182.559 | 3484.745 | 2880.372
14/03/2024 19:00 | 3098.01 | 3392.762 | 2803.258
14/03/2024 19:30 | 2995.444 | 3281.011 | 2709.876
14/03/2024 20:00 | 2880.794 | 3155.984 | 2605.604
14/03/2024 20:30 | 2750.564 | 3013.841 | 2487.287
14/03/2024 21:00 | 2619.087 | 2870.281 | 2367.893
14/03/2024 21:30 | 2498.515 | 2738.624 | 2258.406
14/03/2024 22:00 | 2387.486 | 2617.383 | 2157.589
14/03/2024 22:30 | 2292.858 | 2514.083 | 2071.634
14/03/2024 23:00 | 2219.474 | 2434.043 | 2004.905
14/03/2024 23:30 | 2158.587 | 2367.683 | 1949.49
15/03/2024 00:00 | 2109.867 | 2314.648 | 1905.085
15/03/2024 00:30 | 2072.174 | 2273.695 | 1870.654
15/03/2024 01:00 | 2040.694 | 2239.544 | 1841.844
15/03/2024 01:30 | 2013.722 | 2210.33 | 1817.114
15/03/2024 02:00 | 1996.41 | 2191.71 | 1801.11
15/03/2024 02:30 | 1984.564 | 2179.086 | 1790.042
15/03/2024 03:00 | 1979.026 | 2173.384 | 1784.668
15/03/2024 03:30 | 1981.203 | 2176.154 | 1786.251
15/03/2024 04:00 | 2005.073 | 2202.758 | 1807.388
15/03/2024 04:30 | 2056.776 | 2259.953 | 1853.6
15/03/2024 05:00 | 2132.987 | 2344.101 | 1921.873
15/03/2024 05:30 | 2218.589 | 2438.6 | 1998.577
15/03/2024 06:00 | 2297.793 | 2526.099 | 2069.487
15/03/2024 06:30 | 2358.092 | 2592.841 | 2123.342
15/03/2024 07:00 | 2398.548 | 2637.785 | 2159.312
15/03/2024 07:30 | 2388.426 | 2627.233 | 2149.619
15/03/2024 08:00 | 2377.686 | 2616.237 | 2139.134
15/03/2024 08:30 | 2358.321 | 2595.72 | 2120.922
15/03/2024 09:00 | 2283.008 | 2513.592 | 2052.425
15/03/2024 09:30 | 2140.365 | 2357.259 | 1923.471
15/03/2024 10:00 | 2167.792 | 2388.192 | 1947.391
15/03/2024 10:30 | 2444.228 | 2693.553 | 2194.903
15/03/2024 11:00 | 2583.562 | 2847.967 | 2319.158
15/03/2024 11:30 | 2581.44 | 2846.493 | 2316.388
15/03/2024 12:00 | 2632.618 | 2903.808 | 2361.428
15/03/2024 12:30 | 2752.14 | 3036.564 | 2467.715
15/03/2024 13:00 | 2865.238 | 3162.312 | 2568.164
15/03/2024 13:30 | 2996.173 | 3307.827 | 2684.519
15/03/2024 14:00 | 3122.196 | 3448.006 | 2796.387
15/03/2024 14:30 | 3210.354 | 3546.439 | 2874.268
15/03/2024 15:00 | 3271.11 | 3614.653 | 2927.568
15/03/2024 15:30 | 3309.604 | 3658.3 | 2960.909
15/03/2024 16:00 | 3325.361 | 3676.832 | 2973.891
15/03/2024 16:30 | 3330 | 3683.077 | 2976.923
15/03/2024 17:00 | 3313.867 | 3666.344 | 2961.389
15/03/2024 17:30 | 3283.393 | 3633.73 | 2933.056
15/03/2024 18:00 | 3240.322 | 3587.149 | 2893.494
15/03/2024 18:30 | 3202.661 | 3546.532 | 2858.79
15/03/2024 19:00 | 3144.415 | 3483.086 | 2805.744
15/03/2024 19:30 | 3047.249 | 3376.477 | 2718.021
15/03/2024 20:00 | 2951.05 | 3270.873 | 2631.226
15/03/2024 20:30 | 2845.625 | 3154.977 | 2536.273
15/03/2024 21:00 | 2735.228 | 3033.496 | 2436.96
15/03/2024 21:30 | 2627.603 | 2915.015 | 2340.19
15/03/2024 22:00 | 2529.364 | 2806.879 | 2251.848
15/03/2024 22:30 | 2437.113 | 2705.324 | 2168.902
15/03/2024 23:00 | 2347.788 | 2606.955 | 2088.62
15/03/2024 23:30 | 2266.438 | 2515.912 | 2016.964
16/03/2024 00:00 | 2197.35 | 2437.214 | 1957.486
16/03/2024 00:30 | 2144.323 | 2379.61 | 1909.035
16/03/2024 01:00 | 2100.787 | 2332.237 | 1869.336
16/03/2024 01:30 | 2066.467 | 2295.061 | 1837.873
16/03/2024 02:00 | 2043.954 | 2270.972 | 1816.935
16/03/2024 02:30 | 2022.129 | 2247.628 | 1796.63
16/03/2024 03:00 | 2003.699 | 2228.04 | 1779.359
16/03/2024 03:30 | 1990.744 | 2214.525 | 1766.964
16/03/2024 04:00 | 1988.266 | 2212.657 | 1763.874
16/03/2024 04:30 | 1991.266 | 2216.887 | 1765.644
16/03/2024 05:00 | 1997.403 | 2224.613 | 1770.192
16/03/2024 05:30 | 2009.969 | 2239.509 | 1780.43
16/03/2024 06:00 | 2016.005 | 2247.135 | 1784.874
16/03/2024 06:30 | 1982.264 | 2210.414 | 1754.115
16/03/2024 07:00 | 1922.453 | 2144.578 | 1700.327
16/03/2024 07:30 | 1860.917 | 2076.765 | 1645.068