## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
10/03/2024 08:00 | 1358.06 | 1389.19 | 1343.222
10/03/2024 08:30 | 1242.021 | 1267.664 | 1216.378 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
10/03/2024 09:00 | 1171.297 | 1199.957 | 1142.636 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
10/03/2024 09:30 | 1070.188 | 1100.466 | 1039.91 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
10/03/2024 10:00 | 977.0328 | 1008.411 | 945.6552 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
10/03/2024 10:30 | 886.0225 | 916.9875 | 855.0574 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
10/03/2024 11:00 | 811.8416 | 840.9225 | 782.7607 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
10/03/2024 11:30 | 787.4327 | 816.4594 | 758.4061 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
10/03/2024 12:00 | 771.7883 | 801.0421 | 742.5346 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
10/03/2024 12:30 | 813.3171 | 844.9919 | 781.6422 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
10/03/2024 13:00 | 869.5818 | 905.3436 | 834.81 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
10/03/2024 13:30 | 948.3745 | 988.08 | 909.4643
10/03/2024 14:00 | 1053.398 | 1098.138 | 1009.471 | Summary view - for each schedule horizon (dispatch, week-ahead)
10/03/2024 14:30 | 1195.776 | 1247.544 | 1144.423
10/03/2024 15:00 | 1364.272 | 1424.944 | 1304.434 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
10/03/2024 15:30 | 1560.892 | 1631.482 | 1490.391 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
10/03/2024 16:00 | 1775.61 | 1857.639 | 1693.451 | Scenario | Violations
10/03/2024 16:30 | 1984.571 | 2078.312 | 1890.67 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
10/03/2024 17:00 | 2162.022 | 2265.653 | 2056.798 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
10/03/2024 17:30 | 2286.027 | 2397.748 | 2172.175 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0
10/03/2024 18:00 | 2338.004 | 2454.917 | 2219.327 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0
10/03/2024 18:30 | 2340.616 | 2459.715 | 2220.258 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0
10/03/2024 19:00 | 2291.158 | 2408.696 | 2173.264
10/03/2024 19:30 | 2230.567 | 2345.764 | 2115.367 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
10/03/2024 20:00 | 2164.071 | 2276.544 | 2051.862
10/03/2024 20:30 | 2098.745 | 2208.396 | 1989.389 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
10/03/2024 21:00 | 2020.782 | 2126.904 | 1914.967 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
10/03/2024 21:30 | 1944.277 | 2046.828 | 1841.897 | [7 empty] | 10/03/2024 09:00 | [11 empty] | 10/03/2024 09:00 | [11 empty] | 10/03/2024 08:30
10/03/2024 22:00 | 1877.242 | 1976.665 | 1777.82 | [7 empty] | 10/03/2024 09:30 | [11 empty] | 10/03/2024 09:30 | [11 empty] | 10/03/2024 09:00
10/03/2024 22:30 | 1819.511 | 1916.355 | 1722.667 | [7 empty] | 10/03/2024 10:00 | [11 empty] | 10/03/2024 10:00 | [11 empty] | 10/03/2024 09:30
10/03/2024 23:00 | 1773.981 | 1868.869 | 1679.093 | [7 empty] | 10/03/2024 10:30 | [11 empty] | 10/03/2024 10:30 | [11 empty] | 10/03/2024 10:00
10/03/2024 23:30 | 1731.011 | 1820.09 | 1641.933 | [7 empty] | 10/03/2024 11:00 | [11 empty] | 10/03/2024 11:00 | [11 empty] | 10/03/2024 10:30
11/03/2024 00:00 | 1695.274 | 1775.344 | 1615.205 | [7 empty] | 10/03/2024 11:30 | [11 empty] | 10/03/2024 11:30 | [11 empty] | 10/03/2024 11:00
11/03/2024 00:30 | 1667.967 | 1748.065 | 1587.869 | [7 empty] | 10/03/2024 12:00 | [11 empty] | 10/03/2024 12:00 | [11 empty] | 10/03/2024 11:30
11/03/2024 01:00 | 1649.076 | 1728.913 | 1569.24 | [7 empty] | 10/03/2024 12:30 | [11 empty] | 10/03/2024 12:30 | [11 empty] | 10/03/2024 12:00
11/03/2024 01:30 | 1639.345 | 1719.351 | 1559.338 | [7 empty] | 10/03/2024 13:00 | [11 empty] | 10/03/2024 13:00 | [11 empty] | 10/03/2024 12:30
11/03/2024 02:00 | 1632.795 | 1713.121 | 1552.469 | [7 empty] | 10/03/2024 13:30 | [11 empty] | 10/03/2024 13:30 | [11 empty] | 10/03/2024 13:00
11/03/2024 02:30 | 1630.373 | 1711.218 | 1549.528 | [7 empty] | 10/03/2024 14:00 | [11 empty] | 10/03/2024 14:00 | [11 empty] | 10/03/2024 13:30
11/03/2024 03:00 | 1632.28 | 1713.859 | 1550.702 | [7 empty] | 10/03/2024 14:30 | [11 empty] | 10/03/2024 14:30 | [11 empty] | 10/03/2024 14:00
11/03/2024 03:30 | 1642.588 | 1725.325 | 1559.852 | [7 empty] | 10/03/2024 15:00 | [11 empty] | 10/03/2024 15:00 | [11 empty] | 10/03/2024 14:30
11/03/2024 04:00 | 1672.945 | 1757.865 | 1588.024 | [7 empty] | 11/03/2024 12:30 | [11 empty] | 11/03/2024 12:00 | [11 empty] | 10/03/2024 15:00
11/03/2024 04:30 | 1733.456 | 1822.126 | 1644.786 | [7 empty] | 11/03/2024 13:00 | [11 empty] | 11/03/2024 12:30 | [11 empty] | 11/03/2024 13:00
11/03/2024 05:00 | 1809.958 | 1903.251 | 1716.666 | [7 empty] | 11/03/2024 14:00 | [11 empty] | 11/03/2024 13:00
11/03/2024 05:30 | 1885.147 | 1983.052 | 1787.241 | [19 empty] | 11/03/2024 13:30
11/03/2024 06:00 | 1934.288 | 2035.503 | 1833.073 | [19 empty] | 15/03/2024 14:00
11/03/2024 06:30 | 1910.44 | 2011.001 | 1809.88
11/03/2024 07:00 | 1832.264 | 1928.987 | 1735.541
11/03/2024 07:30 | 1698.65 | 1788.6 | 1608.7
11/03/2024 08:00 | 1562.102 | 1645.079 | 1479.124
11/03/2024 08:30 | 1437.416 | 1514.008 | 1360.825
11/03/2024 09:00 | 1317.478 | 1387.896 | 1247.06
11/03/2024 09:30 | 1215.266 | 1280.421 | 1150.11
11/03/2024 10:00 | 1166.612 | 1229.351 | 1103.872
11/03/2024 10:30 | 1148.843 | 1210.816 | 1086.869
11/03/2024 11:00 | 1162.764 | 1225.68 | 1099.847
11/03/2024 11:30 | 1201.717 | 1266.939 | 1136.494
11/03/2024 12:00 | 1254.268 | 1322.551 | 1185.986
11/03/2024 12:30 | 1333.306 | 1406.111 | 1260.501
11/03/2024 13:00 | 1408.404 | 1485.542 | 1331.265
11/03/2024 13:30 | 1507.095 | 1589.888 | 1424.303
11/03/2024 14:00 | 1627.37 | 1717.039 | 1537.702
11/03/2024 14:30 | 1785.494 | 1884.17 | 1686.818
11/03/2024 15:00 | 1979.121 | 2088.825 | 1869.417
11/03/2024 15:30 | 2172.58 | 2293.366 | 2051.794
11/03/2024 16:00 | 2353.22 | 2484.437 | 2222.003
11/03/2024 16:30 | 2527.707 | 2669.07 | 2386.343
11/03/2024 17:00 | 2666.401 | 2815.962 | 2516.841
11/03/2024 17:30 | 2740.631 | 2894.808 | 2586.454
11/03/2024 18:00 | 2754.792 | 2910.22 | 2599.363
11/03/2024 18:30 | 2723.343 | 2877.447 | 2569.239
11/03/2024 19:00 | 2642.681 | 2792.656 | 2492.706
11/03/2024 19:30 | 2555.716 | 2701.178 | 2410.253
11/03/2024 20:00 | 2458.971 | 2599.332 | 2318.609
11/03/2024 20:30 | 2362.731 | 2497.99 | 2227.473
11/03/2024 21:00 | 2259.732 | 2389.467 | 2129.997
11/03/2024 21:30 | 2160.825 | 2285.239 | 2036.412
11/03/2024 22:00 | 2072.555 | 2192.228 | 1952.881
11/03/2024 22:30 | 1996.471 | 2112.081 | 1880.861
11/03/2024 23:00 | 1937.186 | 2049.683 | 1824.69
11/03/2024 23:30 | 1884.283 | 1994.019 | 1774.548
12/03/2024 00:00 | 1839.643 | 1947.082 | 1732.203
12/03/2024 00:30 | 1805.931 | 1911.7 | 1700.162
12/03/2024 01:00 | 1782.193 | 1886.865 | 1677.52
12/03/2024 01:30 | 1763.445 | 1867.307 | 1659.582
12/03/2024 02:00 | 1750.138 | 1853.506 | 1646.77
12/03/2024 02:30 | 1741.717 | 1844.875 | 1638.558
12/03/2024 03:00 | 1738.006 | 1841.231 | 1634.781
12/03/2024 03:30 | 1742.003 | 1845.754 | 1638.253
12/03/2024 04:00 | 1766.833 | 1872.354 | 1661.312
12/03/2024 04:30 | 1820.751 | 1929.793 | 1711.71
12/03/2024 05:00 | 1896.089 | 2009.955 | 1782.222
12/03/2024 05:30 | 1977.127 | 2096.195 | 1858.068
12/03/2024 06:00 | 2034.582 | 2157.445 | 1911.727
12/03/2024 06:30 | 2023.143 | 2145.688 | 1900.605
12/03/2024 07:00 | 1955.998 | 2074.911 | 1837.094
12/03/2024 07:30 | 1830.382 | 1942.055 | 1718.714
12/03/2024 08:00 | 1699.486 | 1803.539 | 1595.432
12/03/2024 08:30 | 1588.096 | 1685.677 | 1490.516
12/03/2024 09:00 | 1491.806 | 1583.795 | 1399.816
12/03/2024 09:30 | 1407.5 | 1494.599 | 1320.401
12/03/2024 10:00 | 1362.921 | 1447.559 | 1278.283
12/03/2024 10:30 | 1369.115 | 1454.436 | 1283.793
12/03/2024 11:00 | 1413.261 | 1501.643 | 1324.879
12/03/2024 11:30 | 1487.388 | 1580.73 | 1394.045
12/03/2024 12:00 | 1543.743 | 1640.959 | 1446.527
12/03/2024 12:30 | 1596.616 | 1697.51 | 1495.721
12/03/2024 13:00 | 1715.682 | 1824.475 | 1606.888
12/03/2024 13:30 | 1967.06 | 2092.224 | 1841.897
12/03/2024 14:00 | 2174.452 | 2313.287 | 2035.617
12/03/2024 14:30 | 2281.415 | 2427.578 | 2135.252
12/03/2024 15:00 | 2422.765 | 2578.512 | 2267.017
12/03/2024 15:30 | 2548.741 | 2713.144 | 2384.338
12/03/2024 16:00 | 2640.651 | 2811.56 | 2469.743
12/03/2024 16:30 | 2722.918 | 2899.747 | 2546.09
12/03/2024 17:00 | 2800.598 | 2983.083 | 2618.114
12/03/2024 17:30 | 2842.332 | 3028.157 | 2656.507
12/03/2024 18:00 | 2832.225 | 3018.008 | 2646.442
12/03/2024 18:30 | 2811.053 | 2996.061 | 2626.044
12/03/2024 19:00 | 2762.583 | 2945.005 | 2580.161
12/03/2024 19:30 | 2670.216 | 2847.122 | 2493.31
12/03/2024 20:00 | 2569.976 | 2740.802 | 2399.15
12/03/2024 20:30 | 2465.128 | 2617.649 | 2300.732
12/03/2024 21:00 | 2350.84 | 2498.176 | 2193.553
12/03/2024 21:30 | 2241.553 | 2383.686 | 2091.087
12/03/2024 22:00 | 2143.001 | 2279.995 | 1998.683
12/03/2024 22:30 | 2060.045 | 2192.768 | 1920.864
12/03/2024 23:00 | 1992.574 | 2122.161 | 1857.516
12/03/2024 23:30 | 1981.383 | 2111.747 | 1846.65
13/03/2024 00:00 | 2008.25 | 2141.876 | 1871.251
13/03/2024 00:30 | 1965.78 | 2097.64 | 1831.249
13/03/2024 01:00 | 1937.247 | 2067.972 | 1803.845
13/03/2024 01:30 | 1916.26 | 2045.984 | 1783.882
13/03/2024 02:00 | 1900.69 | 2030.067 | 1769.227
13/03/2024 02:30 | 1889.734 | 2019.886 | 1759.581
13/03/2024 03:00 | 1885.603 | 2015.883 | 1755.323
13/03/2024 03:30 | 1891.362 | 2022.452 | 1760.271
13/03/2024 04:00 | 1918.45 | 2051.838 | 1785.063
13/03/2024 04:30 | 1972.88 | 2110.483 | 1835.277
13/03/2024 05:00 | 2046.468 | 2189.651 | 1903.285
13/03/2024 05:30 | 2127.591 | 2276.915 | 1978.268
13/03/2024 06:00 | 2188.502 | 2342.578 | 2034.425
13/03/2024 06:30 | 2179.173 | 2333.069 | 2025.277
13/03/2024 07:00 | 2114.022 | 2263.779 | 1964.266
13/03/2024 07:30 | 1996.699 | 2138.581 | 1854.818
13/03/2024 08:00 | 1884.985 | 2019.341 | 1750.63
13/03/2024 08:30 | 1792.119 | 1920.247 | 1663.991
13/03/2024 09:00 | 1694.842 | 1816.385 | 1573.299
13/03/2024 09:30 | 1595.319 | 1710.074 | 1480.565
13/03/2024 10:00 | 1541.853 | 1653.099 | 1430.608
13/03/2024 10:30 | 1546.388 | 1658.298 | 1434.477
13/03/2024 11:00 | 1594.512 | 1710.254 | 1478.771
13/03/2024 11:30 | 1668.453 | 1789.927 | 1546.98
13/03/2024 12:00 | 1728.05 | 1854.24 | 1601.86
13/03/2024 12:30 | 1801.048 | 1932.962 | 1669.134
13/03/2024 13:00 | 1898.743 | 2038.228 | 1759.258
13/03/2024 13:30 | 2053.167 | 2204.444 | 1901.89
13/03/2024 14:00 | 2219.928 | 2383.978 | 2055.879
13/03/2024 14:30 | 2388.204 | 2565.21 | 2211.197
13/03/2024 15:00 | 2550.423 | 2740.01 | 2360.836
13/03/2024 15:30 | 2647.426 | 2844.802 | 2450.05
13/03/2024 16:00 | 2752.054 | 2957.832 | 2546.276
13/03/2024 16:30 | 2879.411 | 3095.341 | 2663.481
13/03/2024 17:00 | 2965.468 | 3188.499 | 2742.437
13/03/2024 17:30 | 2995.763 | 3221.727 | 2769.799
13/03/2024 18:00 | 2989.404 | 3215.542 | 2763.267
13/03/2024 18:30 | 2960.63 | 3185.238 | 2736.022
13/03/2024 19:00 | 2892.899 | 3113.001 | 2672.798
13/03/2024 19:30 | 2802.814 | 3016.674 | 2588.955
13/03/2024 20:00 | 2701.047 | 2907.732 | 2494.362
13/03/2024 20:30 | 2593.231 | 2792.233 | 2394.23
13/03/2024 21:00 | 2479.9 | 2670.746 | 2289.054
13/03/2024 21:30 | 2371.031 | 2554.017 | 2188.045
13/03/2024 22:00 | 2272.076 | 2447.922 | 2096.23
13/03/2024 22:30 | 2185.729 | 2355.37 | 2016.089
13/03/2024 23:00 | 2115.484 | 2280.135 | 1950.834
13/03/2024 23:30 | 2053.082 | 2213.324 | 1892.839
14/03/2024 00:00 | 1999.971 | 2156.505 | 1843.437
14/03/2024 00:30 | 1959.163 | 2112.931 | 1805.395
14/03/2024 01:00 | 1928.07 | 2079.819 | 1776.321
14/03/2024 01:30 | 1906.421 | 2056.883 | 1755.959
14/03/2024 02:00 | 1890.208 | 2039.803 | 1740.613
14/03/2024 02:30 | 1880.431 | 2029.663 | 1731.199
14/03/2024 03:00 | 1877.261 | 2026.652 | 1727.87
14/03/2024 03:30 | 1881.849 | 2032.016 | 1731.682
14/03/2024 04:00 | 1906.101 | 2058.62 | 1753.582
14/03/2024 04:30 | 1959.736 | 2116.974 | 1802.497
14/03/2024 05:00 | 2031.5 | 2194.941 | 1868.06
14/03/2024 05:30 | 2107.405 | 2277.412 | 1937.397
14/03/2024 06:00 | 2163.165 | 2338.143 | 1988.186
14/03/2024 06:30 | 2148.392 | 2322.645 | 1974.139
14/03/2024 07:00 | 2071.596 | 2240.073 | 1903.12
14/03/2024 07:30 | 1941.663 | 2099.978 | 1783.348
14/03/2024 08:00 | 1808.192 | 1955.968 | 1660.415
14/03/2024 08:30 | 1686.719 | 1824.891 | 1548.547
14/03/2024 09:00 | 1580.734 | 1710.527 | 1450.941
14/03/2024 09:30 | 1505.933 | 1629.873 | 1381.993
14/03/2024 10:00 | 1471.448 | 1592.831 | 1350.064
14/03/2024 10:30 | 1470.795 | 1592.407 | 1349.183
14/03/2024 11:00 | 1515.465 | 1641.061 | 1389.87
14/03/2024 11:30 | 1597.667 | 1730.381 | 1464.952
14/03/2024 12:00 | 1662.142 | 1800.531 | 1523.753
14/03/2024 12:30 | 1712.782 | 1855.715 | 1569.849
14/03/2024 13:00 | 1783.454 | 1932.627 | 1634.281
14/03/2024 13:30 | 1930.202 | 2092.02 | 1768.385
14/03/2024 14:00 | 2108.302 | 2285.454 | 1931.15
14/03/2024 14:30 | 2308.746 | 2503.183 | 2114.309
14/03/2024 15:00 | 2515.293 | 2727.607 | 2302.979
14/03/2024 15:30 | 2670.665 | 2896.606 | 2444.724
14/03/2024 16:00 | 2800.186 | 3037.621 | 2562.751
14/03/2024 16:30 | 2917.573 | 3165.521 | 2669.625
14/03/2024 17:00 | 3002.462 | 3258.2 | 2746.725
14/03/2024 17:30 | 3047.868 | 3308.057 | 2787.679
14/03/2024 18:00 | 3046.773 | 3307.453 | 2786.093
14/03/2024 18:30 | 3013.589 | 3272.008 | 2755.171
14/03/2024 19:00 | 2935.702 | 3188.004 | 2683.4
14/03/2024 19:30 | 2846.776 | 3091.981 | 2601.571
14/03/2024 20:00 | 2745.421 | 2982.422 | 2508.42
14/03/2024 20:30 | 2630.876 | 2858.493 | 2403.259
14/03/2024 21:00 | 2512.506 | 2730.364 | 2294.649
14/03/2024 21:30 | 2404.475 | 2613.426 | 2195.524
14/03/2024 22:00 | 2304.331 | 2505.021 | 2103.641
14/03/2024 22:30 | 2216.956 | 2410.461 | 2023.45
14/03/2024 23:00 | 2149.333 | 2337.347 | 1961.318
14/03/2024 23:30 | 2093.097 | 2276.593 | 1909.6
15/03/2024 00:00 | 2047.943 | 2227.873 | 1868.012
15/03/2024 00:30 | 2012.729 | 2189.951 | 1835.506
15/03/2024 01:00 | 1984.1 | 2159.183 | 1809.018
15/03/2024 01:30 | 1960.315 | 2133.674 | 1786.957
15/03/2024 02:00 | 1944.59 | 2116.931 | 1772.249
15/03/2024 02:30 | 1934.417 | 2106.227 | 1762.607
15/03/2024 03:00 | 1929.555 | 2101.303 | 1757.807
15/03/2024 03:30 | 1932.817 | 2105.226 | 1760.408
15/03/2024 04:00 | 1958.083 | 2133.121 | 1783.045
15/03/2024 04:30 | 2010.937 | 2191.084 | 1830.788
15/03/2024 05:00 | 2080.637 | 2267.428 | 1893.846
15/03/2024 05:30 | 2157.514 | 2351.62 | 1963.408
15/03/2024 06:00 | 2232.778 | 2434.083 | 2031.472
15/03/2024 06:30 | 2266.16 | 2470.909 | 2061.41
15/03/2024 07:00 | 2255.918 | 2460.175 | 2051.662
15/03/2024 07:30 | 2197.151 | 2396.508 | 1997.795
15/03/2024 08:00 | 2140.631 | 2335.27 | 1945.993
15/03/2024 08:30 | 2083.81 | 2273.682 | 1893.938
15/03/2024 09:00 | 2011.075 | 2194.705 | 1827.445
15/03/2024 09:30 | 1935.321 | 2112.404 | 1758.237
15/03/2024 10:00 | 1941.529 | 2119.552 | 1763.505
15/03/2024 10:30 | 2057.474 | 2246.523 | 1868.425
15/03/2024 11:00 | 2096.877 | 2289.949 | 1903.805
15/03/2024 11:30 | 2018.14 | 2204.348 | 1831.931
15/03/2024 12:00 | 1997.901 | 2182.625 | 1813.177
15/03/2024 12:30 | 2055.313 | 2245.74 | 1864.887
15/03/2024 13:00 | 2127.253 | 2324.752 | 1929.754
15/03/2024 13:30 | 2244.926 | 2453.781 | 2036.071
15/03/2024 14:00 | 2369.568 | 2590.473 | 2148.663
15/03/2024 14:30 | 2518.638 | 2753.923 | 2283.353
15/03/2024 15:00 | 2690.44 | 2942.289 | 2438.59
15/03/2024 15:30 | 2891.764 | 3163.013 | 2620.514
15/03/2024 16:00 | 3032.235 | 3317.242 | 2747.228
15/03/2024 16:30 | 3091.499 | 3382.669 | 2800.329
15/03/2024 17:00 | 3111.652 | 3405.317 | 2817.988
15/03/2024 17:30 | 3118.485 | 3413.392 | 2823.578
15/03/2024 18:00 | 3108.274 | 3402.812 | 2813.737
15/03/2024 18:30 | 3063.332 | 3354.198 | 2772.466
15/03/2024 19:00 | 2974.271 | 3257.25 | 2691.292
15/03/2024 19:30 | 2889.886 | 3165.391 | 2614.382
15/03/2024 20:00 | 2801.344 | 3068.945 | 2533.744
15/03/2024 20:30 | 2706.074 | 2965.093 | 2447.056
15/03/2024 21:00 | 2606.092 | 2856.04 | 2356.145
15/03/2024 21:30 | 2509.133 | 2750.263 | 2268.004
15/03/2024 22:00 | 2418.442 | 2651.32 | 2185.565
15/03/2024 22:30 | 2336.897 | 2562.371 | 2111.424
15/03/2024 23:00 | 2266.729 | 2485.866 | 2047.591
15/03/2024 23:30 | 2207.099 | 2418.21 | 1995.989
16/03/2024 00:00 | 2158.141 | 2359.674 | 1956.608
16/03/2024 00:30 | 2117.995 | 2316.31 | 1919.681
16/03/2024 01:00 | 2084.604 | 2279.898 | 1889.311
16/03/2024 01:30 | 2052.169 | 2244.53 | 1859.809
16/03/2024 02:00 | 2032.097 | 2222.679 | 1841.515
16/03/2024 02:30 | 2014.368 | 2203.39 | 1825.346
16/03/2024 03:00 | 2001.221 | 2189.111 | 1813.33
16/03/2024 03:30 | 1990.552 | 2177.543 | 1803.562
16/03/2024 04:00 | 1986.889 | 2173.637 | 1800.142
16/03/2024 04:30 | 1992.015 | 2179.345 | 1804.684
16/03/2024 05:00 | 2001.758 | 2190.108 | 1813.409
16/03/2024 05:30 | 2008.761 | 2197.872 | 1819.651
16/03/2024 06:00 | 2011.39 | 2200.851 | 1821.93
16/03/2024 06:30 | 2010.166 | 2199.613 | 1820.718
16/03/2024 07:00 | 2029.609 | 2220.992 | 1838.225
16/03/2024 07:30 | 2059.573 | 2254.177 | 1864.968
16/03/2024 08:00 | 2078.208 | 2275.553 | 1880.862
16/03/2024 08:30 | 2057.575 | 2253.882 | 1861.268
16/03/2024 09:00 | 2061.268 | 2258.849 | 1863.686
16/03/2024 09:30 | 2136.156 | 2341.871 | 1930.44
16/03/2024 10:00 | 2244.965 | 2462.164 | 2027.766
16/03/2024 10:30 | 2365.456 | 2595.371 | 2135.542
16/03/2024 11:00 | 2443.082 | 2681.635 | 2204.529
16/03/2024 11:30 | 2474.622 | 2717.362 | 2231.882
16/03/2024 12:00 | 2523.339 | 2771.986 | 2274.691
16/03/2024 12:30 | 2579.427 | 2834.756 | 2324.098
16/03/2024 13:00 | 2656.633 | 2920.793 | 2392.473
16/03/2024 13:30 | 2686.393 | 2954.714 | 2418.072
16/03/2024 14:00 | 2708.052 | 2979.749 | 2436.356
16/03/2024 14:30 | 2780.788 | 3061.026 | 2500.55
16/03/2024 15:00 | 2886.301 | 3178.464 | 2594.138
16/03/2024 15:30 | 3007.761 | 3313.565 | 2701.958
16/03/2024 16:00 | 3131.285 | 3451.049 | 2811.522
16/03/2024 16:30 | 3231.561 | 3563.01 | 2900.112
16/03/2024 17:00 | 3251.134 | 3586.046 | 2916.223
16/03/2024 17:30 | 3238.431 | 3573.483 | 2903.379
16/03/2024 18:00 | 3197.418 | 3529.658 | 2865.178
16/03/2024 18:30 | 3135.759 | 3462.995 | 2808.523
16/03/2024 19:00 | 3040.109 | 3358.723 | 2721.494
16/03/2024 19:30 | 2952.91 | 3263.708 | 2642.113
16/03/2024 20:00 | 2866.278 | 3169.24 | 2563.317
16/03/2024 20:30 | 2775.305 | 3069.893 | 2480.717
16/03/2024 21:00 | 2682.674 | 2968.629 | 2396.718
16/03/2024 21:30 | 2587.093 | 2864.018 | 2310.168
16/03/2024 22:00 | 2494.499 | 2762.629 | 2226.369
16/03/2024 22:30 | 2403.271 | 2662.67 | 2143.872
16/03/2024 23:00 | 2320.745 | 2572.275 | 2069.215
16/03/2024 23:30 | 2247.546 | 2492.148 | 2002.943
17/03/2024 00:00 | 2184.367 | 2423.071 | 1945.663
17/03/2024 00:30 | 2132.173 | 2366.128 | 1898.219
17/03/2024 01:00 | 2090.474 | 2320.788 | 1860.159
17/03/2024 01:30 | 2058.879 | 2286.634 | 1831.125
17/03/2024 02:00 | 2034.415 | 2260.374 | 1808.457
17/03/2024 02:30 | 2011.734 | 2236.074 | 1787.394
17/03/2024 03:00 | 1993.382 | 2216.567 | 1770.197
17/03/2024 03:30 | 1979.279 | 2201.771 | 1756.787
17/03/2024 04:00 | 1971.667 | 2194.186 | 1749.148
17/03/2024 04:30 | 1966.016 | 2188.776 | 1743.255
17/03/2024 05:00 | 1963.917 | 2187.318 | 1740.515
17/03/2024 05:30 | 1966.205 | 2190.746 | 1741.663
17/03/2024 06:00 | 1954.469 | 2178.544 | 1730.393
17/03/2024 06:30 | 1919.865 | 2140.832 | 1698.897
17/03/2024 07:00 | 1869.874 | 2085.925 | 1653.824
17/03/2024 07:30 | 1808.229 | 2017.966 | 1598.492