## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
12/03/2024 08:00 | 1887.388 | 1914.051 | 1860.725
12/03/2024 08:30 | 1804.136 | 1834.986 | 1773.286 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
12/03/2024 09:00 | 1721.022 | 1755.567 | 1686.477 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
12/03/2024 09:30 | 1620.982 | 1658.337 | 1583.626 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
12/03/2024 10:00 | 1563.994 | 1604.686 | 1523.303 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
12/03/2024 10:30 | 1522.488 | 1565.537 | 1479.44 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
12/03/2024 11:00 | 1496.67 | 1540.248 | 1453.093 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
12/03/2024 11:30 | 1514.315 | 1559.864 | 1469.209 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
12/03/2024 12:00 | 1543.425 | 1591.337 | 1495.622 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
12/03/2024 12:30 | 1611.881 | 1663.47 | 1558.352 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
12/03/2024 13:00 | 1710.294 | 1766.68 | 1652.064 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
12/03/2024 13:30 | 1872.268 | 1934.05 | 1807.106
12/03/2024 14:00 | 2032.2 | 2100.196 | 1958.566 | Summary view - for each schedule horizon (dispatch, week-ahead)
12/03/2024 14:30 | 2165.948 | 2241.536 | 2086.347
12/03/2024 15:00 | 2308.839 | 2393.094 | 2223.12 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
12/03/2024 15:30 | 2435.736 | 2525.263 | 2341.381 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
12/03/2024 16:00 | 2554.407 | 2650.465 | 2452.73 | Scenario | Violations
12/03/2024 16:30 | 2681.85 | 2786.251 | 2573.417 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
12/03/2024 17:00 | 2776.652 | 2886.283 | 2660.669 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
12/03/2024 17:30 | 2820.522 | 2934.801 | 2700.18 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0
12/03/2024 18:00 | 2820.427 | 2940.576 | 2700.277 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0
12/03/2024 18:30 | 2795.228 | 2916.427 | 2674.029 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0
12/03/2024 19:00 | 2730.323 | 2849.682 | 2610.965
12/03/2024 19:30 | 2642.746 | 2759.311 | 2526.182 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
12/03/2024 20:00 | 2546.64 | 2659.962 | 2433.318
12/03/2024 20:30 | 2445.974 | 2555.774 | 2336.174 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
12/03/2024 21:00 | 2335.764 | 2441.531 | 2229.997 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
12/03/2024 21:30 | 2229.805 | 2331.646 | 2127.963 | [7 empty] | 12/03/2024 10:00 | [11 empty] | 12/03/2024 10:00 | [11 empty] | 12/03/2024 10:00
12/03/2024 22:00 | 2134.021 | 2232.323 | 2035.719 | [7 empty] | 12/03/2024 10:30 | [11 empty] | 12/03/2024 10:30 | [11 empty] | 12/03/2024 10:30
12/03/2024 22:30 | 2054.033 | 2149.454 | 1958.611 | [7 empty] | 12/03/2024 11:00 | [11 empty] | 12/03/2024 11:00 | [11 empty] | 12/03/2024 11:00
12/03/2024 23:00 | 1991.186 | 2084.468 | 1897.905 | [7 empty] | 12/03/2024 11:30 | [11 empty] | 12/03/2024 11:30 | [11 empty] | 12/03/2024 11:30
12/03/2024 23:30 | 1937.015 | 2028.517 | 1845.514 | [7 empty] | 12/03/2024 12:00 | [23 empty] | 12/03/2024 12:00
13/03/2024 00:00 | 1892.706 | 1982.855 | 1802.556 | [7 empty] | 12/03/2024 12:30 | [23 empty] | 12/03/2024 12:30
13/03/2024 00:30 | 1857.385 | 1946.579 | 1768.192 | [31 empty] | 15/03/2024 12:30
13/03/2024 01:00 | 1829.432 | 1918 | 1740.865 | [31 empty] | 15/03/2024 13:00
13/03/2024 01:30 | 1808.8 | 1897.077 | 1720.524
13/03/2024 02:00 | 1794.944 | 1883.247 | 1706.641
13/03/2024 02:30 | 1784.928 | 1873.437 | 1696.419
13/03/2024 03:00 | 1780.84 | 1869.843 | 1691.837
13/03/2024 03:30 | 1786.023 | 1875.984 | 1696.062
13/03/2024 04:00 | 1812.083 | 1904.066 | 1720.099
13/03/2024 04:30 | 1865.627 | 1961.058 | 1770.195
13/03/2024 05:00 | 1937.849 | 2037.733 | 1837.965
13/03/2024 05:30 | 2020.712 | 2125.658 | 1915.766
13/03/2024 06:00 | 2100.797 | 2210.724 | 1990.869
13/03/2024 06:30 | 2123.434 | 2235.206 | 2011.662
13/03/2024 07:00 | 2094.566 | 2205.135 | 1983.996
13/03/2024 07:30 | 2021.161 | 2128.189 | 1914.132
13/03/2024 08:00 | 1963.691 | 2068 | 1859.382
13/03/2024 08:30 | 1935.603 | 2038.74 | 1832.466
13/03/2024 09:00 | 1891.076 | 1992.153 | 1790
13/03/2024 09:30 | 1827.256 | 1925.224 | 1729.289
13/03/2024 10:00 | 1790.734 | 1887.038 | 1694.429
13/03/2024 10:30 | 1775.946 | 1871.748 | 1680.143
13/03/2024 11:00 | 1802.175 | 1899.69 | 1704.66
13/03/2024 11:30 | 1874.149 | 1975.868 | 1772.43
13/03/2024 12:00 | 1934.443 | 2039.754 | 1829.132
13/03/2024 12:30 | 2009.013 | 2118.715 | 1899.311
13/03/2024 13:00 | 2092.507 | 2207.114 | 1977.9
13/03/2024 13:30 | 2175.266 | 2294.764 | 2055.767
13/03/2024 14:00 | 2258.553 | 2383 | 2134.106
13/03/2024 14:30 | 2348.703 | 2478.505 | 2218.901
13/03/2024 15:00 | 2477.712 | 2615.053 | 2340.372
13/03/2024 15:30 | 2632.78 | 2779.151 | 2486.409
13/03/2024 16:00 | 2743.81 | 2896.806 | 2590.813
13/03/2024 16:30 | 2809.391 | 2966.509 | 2652.274
13/03/2024 17:00 | 2867.486 | 3028.325 | 2706.646
13/03/2024 17:30 | 2897.535 | 3060.539 | 2734.532
13/03/2024 18:00 | 2886.134 | 3048.973 | 2723.295
13/03/2024 18:30 | 2852.217 | 3012.221 | 2690.821
13/03/2024 19:00 | 2774.812 | 2930.959 | 2617.338
13/03/2024 19:30 | 2686.627 | 2838.298 | 2533.714
13/03/2024 20:00 | 2588.128 | 2734.69 | 2440.965
13/03/2024 20:30 | 2481.043 | 2621.977 | 2339.582
13/03/2024 21:00 | 2368.171 | 2503.108 | 2232.777
13/03/2024 21:30 | 2260.112 | 2389.289 | 2130.544
13/03/2024 22:00 | 2163.152 | 2287.163 | 2038.802
13/03/2024 22:30 | 2079.285 | 2198.859 | 1959.437
13/03/2024 23:00 | 2009.504 | 2125.428 | 1893.375
13/03/2024 23:30 | 1973.836 | 2088.058 | 1859.468
14/03/2024 00:00 | 1962.285 | 2076.193 | 1848.29
14/03/2024 00:30 | 1920.427 | 2032.239 | 1808.561
14/03/2024 01:00 | 1890.303 | 2000.701 | 1779.905
14/03/2024 01:30 | 1870.471 | 1980.02 | 1760.923
14/03/2024 02:00 | 1856.968 | 1966.032 | 1747.904
14/03/2024 02:30 | 1848 | 1956.843 | 1739.157
14/03/2024 03:00 | 1845.057 | 1954.032 | 1736.083
14/03/2024 03:30 | 1849.912 | 1959.479 | 1740.346
14/03/2024 04:00 | 1874.37 | 1985.694 | 1763.045
14/03/2024 04:30 | 1928.081 | 2042.914 | 1813.248
14/03/2024 05:00 | 2002.516 | 2122.112 | 1882.919
14/03/2024 05:30 | 2082.074 | 2206.766 | 1957.382
14/03/2024 06:00 | 2148.349 | 2277.364 | 2019.333
14/03/2024 06:30 | 2160.691 | 2290.805 | 2030.578
14/03/2024 07:00 | 2107.86 | 2235.14 | 1980.58
14/03/2024 07:30 | 1984.459 | 2104.653 | 1864.265
14/03/2024 08:00 | 1864.139 | 1977.459 | 1750.819
14/03/2024 08:30 | 1765.88 | 1873.612 | 1658.147
14/03/2024 09:00 | 1668.151 | 1770.285 | 1566.016
14/03/2024 09:30 | 1582.544 | 1679.783 | 1485.305
14/03/2024 10:00 | 1541.412 | 1636.461 | 1446.363
14/03/2024 10:30 | 1550.046 | 1645.966 | 1454.126
14/03/2024 11:00 | 1596.266 | 1695.378 | 1497.137
14/03/2024 11:30 | 1663.367 | 1767.008 | 1559.708
14/03/2024 12:00 | 1741.245 | 1850.118 | 1632.352
14/03/2024 12:30 | 1857.455 | 1974.002 | 1740.889
14/03/2024 13:00 | 1994.078 | 2119.634 | 1868.503
14/03/2024 13:30 | 2197.74 | 2336.6 | 2058.858
14/03/2024 14:00 | 2314.735 | 2461.492 | 2167.954
14/03/2024 14:30 | 2351.203 | 2500.786 | 2201.596
14/03/2024 15:00 | 2513.287 | 2673.731 | 2352.818
14/03/2024 15:30 | 2721.226 | 2895.542 | 2546.886
14/03/2024 16:00 | 2867.308 | 3051.609 | 2682.982
14/03/2024 16:30 | 2946.506 | 3136.543 | 2756.446
14/03/2024 17:00 | 3002.51 | 3196.818 | 2808.181
14/03/2024 17:30 | 3038.224 | 3235.509 | 2840.919
14/03/2024 18:00 | 3032.915 | 3230.519 | 2835.277
14/03/2024 18:30 | 2999.515 | 3195.6 | 2803.4
14/03/2024 19:00 | 2923.661 | 3115.427 | 2731.868
14/03/2024 19:30 | 2834.068 | 3020.578 | 2647.534
14/03/2024 20:00 | 2731.941 | 2912.339 | 2551.542
14/03/2024 20:30 | 2616.385 | 2789.725 | 2443.046
14/03/2024 21:00 | 2495.847 | 2661.746 | 2329.948
14/03/2024 21:30 | 2384.357 | 2543.366 | 2225.347
14/03/2024 22:00 | 2282.42 | 2435.13 | 2129.71
14/03/2024 22:30 | 2196.219 | 2343.641 | 2048.797
14/03/2024 23:00 | 2131.17 | 2274.692 | 1987.649
14/03/2024 23:30 | 2079.535 | 2220.034 | 1939.037
15/03/2024 00:00 | 2040.029 | 2178.304 | 1901.754
15/03/2024 00:30 | 2007.915 | 2144.452 | 1871.378
15/03/2024 01:00 | 1980.823 | 2115.95 | 1845.695
15/03/2024 01:30 | 1956.271 | 2090.152 | 1822.391
15/03/2024 02:00 | 1941.001 | 2074.26 | 1807.742
15/03/2024 02:30 | 1930.896 | 2063.884 | 1797.909
15/03/2024 03:00 | 1926.556 | 2059.666 | 1793.447
15/03/2024 03:30 | 1930.182 | 2063.963 | 1796.4
15/03/2024 04:00 | 1955.838 | 2091.825 | 1819.851
15/03/2024 04:30 | 2009.39 | 2149.54 | 1869.241
15/03/2024 05:00 | 2081.138 | 2226.747 | 1935.53
15/03/2024 05:30 | 2160.773 | 2312.426 | 2009.121
15/03/2024 06:00 | 2248.966 | 2407.299 | 2090.632
15/03/2024 06:30 | 2300.546 | 2463.014 | 2138.079
15/03/2024 07:00 | 2326.49 | 2491.298 | 2161.682
15/03/2024 07:30 | 2334.861 | 2500.772 | 2168.95
15/03/2024 08:00 | 2330.143 | 2496.227 | 2164.058
15/03/2024 08:30 | 2305.489 | 2470.32 | 2140.658
15/03/2024 09:00 | 2276.033 | 2439.255 | 2112.81
15/03/2024 09:30 | 2255.967 | 2418.244 | 2093.69
15/03/2024 10:00 | 2285.934 | 2450.865 | 2121.002
15/03/2024 10:30 | 2373.613 | 2545.39 | 2201.837
15/03/2024 11:00 | 2409.542 | 2584.445 | 2234.64
15/03/2024 11:30 | 2372.183 | 2544.893 | 2199.474
15/03/2024 12:00 | 2420.963 | 2597.752 | 2244.173
15/03/2024 12:30 | 2606.275 | 2797.166 | 2415.384
15/03/2024 13:00 | 2749.797 | 2951.802 | 2547.793
15/03/2024 13:30 | 2834.916 | 3043.792 | 2626.039
15/03/2024 14:00 | 2934.558 | 3151.417 | 2717.698
15/03/2024 14:30 | 3036.386 | 3261.434 | 2811.338
15/03/2024 15:00 | 3107.844 | 3338.867 | 2876.821
15/03/2024 15:30 | 3151.926 | 3386.914 | 2916.937
15/03/2024 16:00 | 3189.493 | 3427.979 | 2951.007
15/03/2024 16:30 | 3220.747 | 3462.273 | 2979.22
15/03/2024 17:00 | 3204.962 | 3446.006 | 2963.919
15/03/2024 17:30 | 3181.034 | 3420.973 | 2941.095
15/03/2024 18:00 | 3145.319 | 3383.251 | 2907.386
15/03/2024 18:30 | 3104.48 | 3340.001 | 2868.959
15/03/2024 19:00 | 3035.291 | 3266.225 | 2804.355
15/03/2024 19:30 | 2940.438 | 3164.799 | 2716.078
15/03/2024 20:00 | 2846.251 | 3064.047 | 2628.455
15/03/2024 20:30 | 2743.866 | 2954.427 | 2533.305
15/03/2024 21:00 | 2636.516 | 2839.415 | 2433.616
15/03/2024 21:30 | 2533.246 | 2728.751 | 2337.741
15/03/2024 22:00 | 2438.663 | 2627.402 | 2249.925
15/03/2024 22:30 | 2354.341 | 2537.068 | 2171.614
15/03/2024 23:00 | 2277.153 | 2454.387 | 2099.92
15/03/2024 23:30 | 2210.031 | 2388.557 | 2031.505
16/03/2024 00:00 | 2154.984 | 2341.201 | 1968.766
16/03/2024 00:30 | 2111.112 | 2293.062 | 1929.162
16/03/2024 01:00 | 2075.39 | 2254.756 | 1896.023
16/03/2024 01:30 | 2042.428 | 2219.433 | 1865.422
16/03/2024 02:00 | 2021.24 | 2196.892 | 1845.588
16/03/2024 02:30 | 2002.519 | 2177.023 | 1828.015
16/03/2024 03:00 | 1988.476 | 2162.231 | 1814.721
16/03/2024 03:30 | 1976.737 | 2149.938 | 1803.536
16/03/2024 04:00 | 1972.035 | 2145.296 | 1798.775
16/03/2024 04:30 | 1976.479 | 2150.602 | 1802.356
16/03/2024 05:00 | 1981.105 | 2156.109 | 1806.101
16/03/2024 05:30 | 1980.563 | 2155.992 | 1805.134
16/03/2024 06:00 | 1985.217 | 2161.533 | 1808.902
16/03/2024 06:30 | 1985.539 | 2162.357 | 1808.72
16/03/2024 07:00 | 2021.092 | 2201.559 | 1840.624
16/03/2024 07:30 | 2088.065 | 2274.872 | 1901.259
16/03/2024 08:00 | 2124.025 | 2314.133 | 1933.917
16/03/2024 08:30 | 2101.425 | 2289.617 | 1913.233
16/03/2024 09:00 | 2076.848 | 2262.945 | 1890.751
16/03/2024 09:30 | 2070.526 | 2256.162 | 1884.89
16/03/2024 10:00 | 2079.655 | 2266.216 | 1893.095
16/03/2024 10:30 | 2125.569 | 2316.356 | 1934.781
16/03/2024 11:00 | 2193.151 | 2390.117 | 1996.186
16/03/2024 11:30 | 2280.684 | 2485.627 | 2075.741
16/03/2024 12:00 | 2337.127 | 2547.261 | 2126.992
16/03/2024 12:30 | 2352.075 | 2563.673 | 2140.477
16/03/2024 13:00 | 2413.515 | 2630.764 | 2196.267
16/03/2024 13:30 | 2508.341 | 2734.253 | 2282.429
16/03/2024 14:00 | 2621.918 | 2858.193 | 2385.643
16/03/2024 14:30 | 2757.275 | 3005.888 | 2508.662
16/03/2024 15:00 | 2888.558 | 3149.156 | 2627.96
16/03/2024 15:30 | 3018.622 | 3291.107 | 2746.136
16/03/2024 16:00 | 3127.892 | 3410.4 | 2845.383
16/03/2024 16:30 | 3192.015 | 3480.478 | 2903.552
16/03/2024 17:00 | 3200.203 | 3489.57 | 2910.837
16/03/2024 17:30 | 3187.837 | 3476.248 | 2899.427
16/03/2024 18:00 | 3145.431 | 3430.166 | 2860.697
16/03/2024 18:30 | 3084.991 | 3364.411 | 2805.57
16/03/2024 19:00 | 2992.248 | 3263.421 | 2721.075
16/03/2024 19:30 | 2905.463 | 3168.919 | 2642.007
16/03/2024 20:00 | 2818.805 | 3074.547 | 2563.063
16/03/2024 20:30 | 2729.261 | 2977.018 | 2481.504
16/03/2024 21:00 | 2637.908 | 2877.507 | 2398.31
16/03/2024 21:30 | 2543.456 | 2774.606 | 2312.307
16/03/2024 22:00 | 2451.757 | 2674.698 | 2228.817
16/03/2024 22:30 | 2361.44 | 2576.288 | 2146.591
16/03/2024 23:00 | 2280.383 | 2487.973 | 2072.792
16/03/2024 23:30 | 2207.989 | 2409.101 | 2006.877
17/03/2024 00:00 | 2144.258 | 2339.675 | 1948.841
17/03/2024 00:30 | 2092.586 | 2283.401 | 1901.772
17/03/2024 01:00 | 2052.171 | 2239.405 | 1864.938
17/03/2024 01:30 | 2019.061 | 2203.377 | 1834.745
17/03/2024 02:00 | 1995.181 | 2177.419 | 1812.944
17/03/2024 02:30 | 1972.008 | 2152.229 | 1791.787
17/03/2024 03:00 | 1952.74 | 2131.3 | 1774.18
17/03/2024 03:30 | 1940.766 | 2118.33 | 1763.202
17/03/2024 04:00 | 1935.069 | 2112.211 | 1757.928
17/03/2024 04:30 | 1932.716 | 2109.741 | 1755.692
17/03/2024 05:00 | 1917.728 | 2093.478 | 1741.978
17/03/2024 05:30 | 1893.054 | 2066.639 | 1719.469
17/03/2024 06:00 | 1879.791 | 2052.256 | 1707.327
17/03/2024 06:30 | 1862.097 | 2033.033 | 1691.161
17/03/2024 07:00 | 1887.406 | 2060.761 | 1714.05
17/03/2024 07:30 | 1945.553 | 2124.348 | 1766.757
17/03/2024 08:00 | 1987.139 | 2169.858 | 1804.421
17/03/2024 08:30 | 2002.577 | 2186.818 | 1818.337
17/03/2024 09:00 | 1999 | 2183.013 | 1814.987
17/03/2024 09:30 | 1954.315 | 2134.314 | 1774.316
17/03/2024 10:00 | 1944.745 | 2123.962 | 1765.528
17/03/2024 10:30 | 2031.123 | 2218.403 | 1843.842
17/03/2024 11:00 | 2069.313 | 2260.221 | 1878.406
17/03/2024 11:30 | 2048.907 | 2238.037 | 1859.778
17/03/2024 12:00 | 2031.449 | 2219.071 | 1843.828
17/03/2024 12:30 | 2019.44 | 2206.055 | 1832.825
17/03/2024 13:00 | 2036.875 | 2225.206 | 1848.545
17/03/2024 13:30 | 2152.044 | 2351.133 | 1952.956
17/03/2024 14:00 | 2272.287 | 2482.615 | 2061.958
17/03/2024 14:30 | 2395.6 | 2617.465 | 2173.736
17/03/2024 15:00 | 2511.987 | 2744.759 | 2279.215
17/03/2024 15:30 | 2632.598 | 2876.68 | 2388.516
17/03/2024 16:00 | 2756.846 | 3012.589 | 2501.104
17/03/2024 16:30 | 2864.854 | 3130.761 | 2598.946
17/03/2024 17:00 | 2930.231 | 3202.357 | 2658.106
17/03/2024 17:30 | 2949.379 | 3223.433 | 2675.325
17/03/2024 18:00 | 2928.532 | 3200.798 | 2656.265
17/03/2024 18:30 | 2869.811 | 3136.764 | 2602.857
17/03/2024 19:00 | 2771.269 | 3029.197 | 2513.341
17/03/2024 19:30 | 2684.343 | 2934.318 | 2434.369
17/03/2024 20:00 | 2593.634 | 2835.293 | 2351.974
17/03/2024 20:30 | 2500.358 | 2733.455 | 2267.262
17/03/2024 21:00 | 2406.898 | 2631.405 | 2182.392
17/03/2024 21:30 | 2314.533 | 2530.542 | 2098.524
17/03/2024 22:00 | 2226.85 | 2434.789 | 2018.911
17/03/2024 22:30 | 2151.3 | 2352.293 | 1950.306
17/03/2024 23:00 | 2086.234 | 2281.256 | 1891.213
17/03/2024 23:30 | 2033.638 | 2226.32 | 1840.955
18/03/2024 00:00 | 1992.805 | 2186.622 | 1798.989
18/03/2024 00:30 | 1952.202 | 2142.055 | 1762.349
18/03/2024 01:00 | 1922.724 | 2110.079 | 1735.369
18/03/2024 01:30 | 1904.59 | 2090.543 | 1718.637
18/03/2024 02:00 | 1892.331 | 2077.449 | 1707.212
18/03/2024 02:30 | 1883.433 | 2068.042 | 1698.824
18/03/2024 03:00 | 1879.272 | 2063.834 | 1694.711
18/03/2024 03:30 | 1884.759 | 2070.22 | 1699.297
18/03/2024 04:00 | 1911.621 | 2100.092 | 1723.149
18/03/2024 04:30 | 1967.394 | 2161.741 | 1773.047
18/03/2024 05:00 | 2044.512 | 2246.868 | 1842.155
18/03/2024 05:30 | 2127.766 | 2338.771 | 1916.761
18/03/2024 06:00 | 2200.518 | 2419.159 | 1981.877
18/03/2024 06:30 | 2223.586 | 2444.946 | 2002.226
18/03/2024 07:00 | 2202.289 | 2421.95 | 1982.627
18/03/2024 07:30 | 2151.422 | 2366.532 | 1936.312
18/03/2024 08:00 | 2051.144 | 2256.934 | 1845.355
18/03/2024 08:30 | 1886.797 | 2076.73 | 1696.864
18/03/2024 09:00 | 1764.017 | 1942.183 | 1585.852
18/03/2024 09:30 | 1693.352 | 1864.948 | 1521.756
18/03/2024 10:00 | 1657.193 | 1825.681 | 1488.706
18/03/2024 10:30 | 1645.2 | 1813.02 | 1477.38
18/03/2024 11:00 | 1663.068 | 1833.268 | 1492.868
18/03/2024 11:30 | 1708.881 | 1884.343 | 1533.42
18/03/2024 12:00 | 1745.923 | 1925.773 | 1566.073
18/03/2024 12:30 | 1799.532 | 1985.508 | 1613.556
18/03/2024 13:00 | 1864.739 | 2058.079 | 1671.399
18/03/2024 13:30 | 1970.065 | 2174.986 | 1765.144
18/03/2024 14:00 | 2095.637 | 2314.323 | 1876.952
18/03/2024 14:30 | 2270.161 | 2507.82 | 2032.503
18/03/2024 15:00 | 2450.169 | 2707.494 | 2192.845
18/03/2024 15:30 | 2607.818 | 2882.574 | 2333.062
18/03/2024 16:00 | 2742.756 | 3032.648 | 2452.863
18/03/2024 16:30 | 2852.441 | 3154.883 | 2549.999
18/03/2024 17:00 | 2934.866 | 3247.032 | 2622.701
18/03/2024 17:30 | 2969.336 | 3286.163 | 2652.508
18/03/2024 18:00 | 2956.788 | 3273.268 | 2640.308
18/03/2024 18:30 | 2905.562 | 3217.533 | 2593.59
18/03/2024 19:00 | 2807.425 | 3109.801 | 2505.05
18/03/2024 19:30 | 2711.229 | 3004.153 | 2418.305
18/03/2024 20:00 | 2610.654 | 2893.587 | 2327.721
18/03/2024 20:30 | 2507.381 | 2779.962 | 2234.8
18/03/2024 21:00 | 2400.844 | 2662.649 | 2139.04
18/03/2024 21:30 | 2299.593 | 2551.127 | 2048.058
18/03/2024 22:00 | 2208.486 | 2450.796 | 1966.177
18/03/2024 22:30 | 2129.49 | 2363.846 | 1895.134
18/03/2024 23:00 | 2065.661 | 2293.685 | 1837.637
18/03/2024 23:30 | 2006.537 | 2228.708 | 1784.367
19/03/2024 00:00 | 1954.026 | 2171.037 | 1737.014
19/03/2024 00:30 | 1916.017 | 2129.449 | 1702.584
19/03/2024 01:00 | 1889.654 | 2100.783 | 1678.524
19/03/2024 01:30 | 1878.646 | 2089.175 | 1668.116
19/03/2024 02:00 | 1879.616 | 2090.885 | 1668.348
19/03/2024 02:30 | 1870.58 | 2081.459 | 1659.7
19/03/2024 03:00 | 1866.598 | 2077.655 | 1655.541
19/03/2024 03:30 | 1871.157 | 2083.357 | 1658.957
19/03/2024 04:00 | 1896.326 | 2112.016 | 1680.636
19/03/2024 04:30 | 1949.997 | 2172.445 | 1727.548
19/03/2024 05:00 | 2024.828 | 2256.492 | 1793.165
19/03/2024 05:30 | 2108.914 | 2350.905 | 1866.923
19/03/2024 06:00 | 2178.366 | 2429.058 | 1927.675
19/03/2024 06:30 | 2178.344 | 2429.763 | 1926.925
19/03/2024 07:00 | 2108.585 | 2352.66 | 1864.511
19/03/2024 07:30 | 1985.173 | 2215.628 | 1754.718