## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
13/03/2024 08:00 | 1878.64 | 1908.947 | 1855.763
13/03/2024 08:30 | 1799.189 | 1829.955 | 1768.424 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
13/03/2024 09:00 | 1720.866 | 1755.408 | 1686.324 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
13/03/2024 09:30 | 1657.297 | 1695.49 | 1619.104 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
13/03/2024 10:00 | 1656.442 | 1699.539 | 1613.345 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
13/03/2024 10:30 | 1700.535 | 1748.618 | 1652.452 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
13/03/2024 11:00 | 1773.9 | 1810.011 | 1707.592 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
13/03/2024 11:30 | 1881.299 | 1921.669 | 1809.439 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
13/03/2024 12:00 | 1971.629 | 2020.393 | 1898.734 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
13/03/2024 12:30 | 2047.365 | 2103.12 | 1972.672 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
13/03/2024 13:00 | 2124.937 | 2186.568 | 2046.993 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
13/03/2024 13:30 | 2195.553 | 2264.677 | 2116.032
13/03/2024 14:00 | 2314.465 | 2389.432 | 2228.297 | Summary view - for each schedule horizon (dispatch, week-ahead)
13/03/2024 14:30 | 2475.185 | 2558.216 | 2381.102
13/03/2024 15:00 | 2622.092 | 2714.466 | 2521.666 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
13/03/2024 15:30 | 2713.701 | 2810.595 | 2605.937 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
13/03/2024 16:00 | 2782.568 | 2884.724 | 2669.512 | Scenario | Violations
13/03/2024 16:30 | 2846.465 | 2955.585 | 2729.816 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
13/03/2024 17:00 | 2895.125 | 3008.34 | 2773.186 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
13/03/2024 17:30 | 2909.543 | 3026.383 | 2784.44 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
13/03/2024 18:00 | 2890.565 | 3013.702 | 2767.428 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0
13/03/2024 18:30 | 2856.962 | 2980.838 | 2733.087 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0
13/03/2024 19:00 | 2783.359 | 2905.036 | 2661.682
13/03/2024 19:30 | 2695.625 | 2814.521 | 2576.728 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
13/03/2024 20:00 | 2596.249 | 2711.778 | 2480.719
13/03/2024 20:30 | 2489.165 | 2600.904 | 2377.426 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
13/03/2024 21:00 | 2376.342 | 2483.947 | 2268.738 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
13/03/2024 21:30 | 2267.871 | 2371.451 | 2164.291 | [7 empty] | 13/03/2024 12:00 | [11 empty] | 13/03/2024 12:00 | [11 empty] | 19/03/2024 13:30
13/03/2024 22:00 | 2170.263 | 2270.234 | 2070.292 | [7 empty] | 13/03/2024 12:30 | [11 empty] | 13/03/2024 12:30 | [11 empty] | 19/03/2024 14:00
13/03/2024 22:30 | 2086.565 | 2183.497 | 1989.632 | [7 empty] | 19/03/2024 13:30 | [11 empty] | 18/03/2024 13:30 | [11 empty] | 19/03/2024 14:30
13/03/2024 23:00 | 2018.347 | 2112.9 | 1923.793 | [7 empty] | 19/03/2024 14:00 | [11 empty] | 19/03/2024 13:30
13/03/2024 23:30 | 1958.48 | 2050.996 | 1865.965 | [7 empty] | 19/03/2024 14:30 | [11 empty] | 19/03/2024 14:00
14/03/2024 00:00 | 1907.887 | 1998.759 | 1817.015 | [19 empty] | 19/03/2024 14:30
14/03/2024 00:30 | 1868.765 | 1958.505 | 1779.025
14/03/2024 01:00 | 1838.772 | 1927.792 | 1749.753
14/03/2024 01:30 | 1817.518 | 1906.22 | 1728.816
14/03/2024 02:00 | 1802.553 | 1891.23 | 1713.876
14/03/2024 02:30 | 1793.47 | 1882.403 | 1704.538
14/03/2024 03:00 | 1789.928 | 1879.386 | 1700.471
14/03/2024 03:30 | 1793.723 | 1884.072 | 1703.374
14/03/2024 04:00 | 1817.063 | 1909.299 | 1724.827
14/03/2024 04:30 | 1869.348 | 1964.969 | 1773.726
14/03/2024 05:00 | 1941.708 | 2041.791 | 1841.625
14/03/2024 05:30 | 2018.753 | 2123.597 | 1913.908
14/03/2024 06:00 | 2082.016 | 2190.961 | 1973.071
14/03/2024 06:30 | 2086.104 | 2195.911 | 1976.296
14/03/2024 07:00 | 2028.195 | 2135.26 | 1921.129
14/03/2024 07:30 | 1910.879 | 2012.068 | 1809.691
14/03/2024 08:00 | 1790.79 | 1885.915 | 1695.665
14/03/2024 08:30 | 1684.399 | 1774.151 | 1594.647
14/03/2024 09:00 | 1583.352 | 1667.981 | 1498.723
14/03/2024 09:30 | 1505.021 | 1585.712 | 1424.33
14/03/2024 10:00 | 1471.489 | 1550.625 | 1392.353
14/03/2024 10:30 | 1470.855 | 1550.2 | 1391.511
14/03/2024 11:00 | 1502.483 | 1583.782 | 1421.184
14/03/2024 11:30 | 1551.514 | 1635.722 | 1467.306
14/03/2024 12:00 | 1615.291 | 1703.227 | 1527.355
14/03/2024 12:30 | 1716.562 | 1810.295 | 1622.83
14/03/2024 13:00 | 1826.828 | 1926.883 | 1726.772
14/03/2024 13:30 | 1985.299 | 2094.362 | 1876.236
14/03/2024 14:00 | 2136.931 | 2254.677 | 2019.186
14/03/2024 14:30 | 2271.311 | 2396.836 | 2145.786
14/03/2024 15:00 | 2438.471 | 2573.636 | 2303.305
14/03/2024 15:30 | 2594.182 | 2738.407 | 2449.957
14/03/2024 16:00 | 2747.264 | 2900.453 | 2594.075
14/03/2024 16:30 | 2901.427 | 3063.692 | 2739.163
14/03/2024 17:00 | 2986.142 | 3153.637 | 2818.646
14/03/2024 17:30 | 3028.678 | 3199.059 | 2858.297
14/03/2024 18:00 | 3022.104 | 3192.615 | 2851.594
14/03/2024 18:30 | 2986.917 | 3155.936 | 2817.899
14/03/2024 19:00 | 2907.701 | 3072.298 | 2742.686
14/03/2024 19:30 | 2817.796 | 2977.812 | 2657.417
14/03/2024 20:00 | 2715.659 | 2870.348 | 2560.645
14/03/2024 20:30 | 2600.679 | 2749.277 | 2451.799
14/03/2024 21:00 | 2481.743 | 2623.976 | 2339.261
14/03/2024 21:30 | 2372.404 | 2508.788 | 2235.809
14/03/2024 22:00 | 2272.107 | 2403.12 | 2140.749
14/03/2024 22:30 | 2186.139 | 2312.584 | 2059.415
14/03/2024 23:00 | 2120.231 | 2243.245 | 1997.005
14/03/2024 23:30 | 2067.122 | 2187.428 | 1946.669
15/03/2024 00:00 | 2025.355 | 2143.595 | 1907.029
15/03/2024 00:30 | 1991.421 | 2108.024 | 1874.762
15/03/2024 01:00 | 1963.453 | 2078.753 | 1848.118
15/03/2024 01:30 | 1940.175 | 2054.429 | 1825.887
15/03/2024 02:00 | 1925.679 | 2039.398 | 1811.928
15/03/2024 02:30 | 1914.919 | 2028.336 | 1801.503
15/03/2024 03:00 | 1909.815 | 2023.245 | 1796.385
15/03/2024 03:30 | 1912.649 | 2026.563 | 1798.735
15/03/2024 04:00 | 1937.16 | 2052.854 | 1821.467
15/03/2024 04:30 | 1988.866 | 2107.976 | 1869.756
15/03/2024 05:00 | 2069.008 | 2193.259 | 1944.757
15/03/2024 05:30 | 2159.126 | 2289.146 | 2029.107
15/03/2024 06:00 | 2234.279 | 2369.193 | 2099.365
15/03/2024 06:30 | 2265.486 | 2402.701 | 2128.271
15/03/2024 07:00 | 2251.765 | 2388.648 | 2114.881
15/03/2024 07:30 | 2229.163 | 2365.16 | 2093.167
15/03/2024 08:00 | 2197.427 | 2331.967 | 2062.886
15/03/2024 08:30 | 2109.512 | 2239.131 | 1979.893
15/03/2024 09:00 | 2057.075 | 2183.022 | 1930.229
15/03/2024 09:30 | 2050.486 | 2176.478 | 1923.598
15/03/2024 10:00 | 2124.203 | 2255.188 | 1992.289
15/03/2024 10:30 | 2287.086 | 2428.615 | 2144.557
15/03/2024 11:00 | 2406.817 | 2556.282 | 2256.302
15/03/2024 11:30 | 2485.093 | 2639.961 | 2329.139
15/03/2024 12:00 | 2581.171 | 2742.591 | 2418.624
15/03/2024 12:30 | 2711 | 2881.131 | 2539.684
15/03/2024 13:00 | 2786.833 | 2962.333 | 2610.117
15/03/2024 13:30 | 2780.475 | 2956.181 | 2603.554
15/03/2024 14:00 | 2860.708 | 3042.11 | 2678.057
15/03/2024 14:30 | 3050.228 | 3244.313 | 2854.81
15/03/2024 15:00 | 3158.238 | 3359.885 | 2955.209
15/03/2024 15:30 | 3166.409 | 3369.271 | 2962.164
15/03/2024 16:00 | 3191.248 | 3396.398 | 2984.703
15/03/2024 16:30 | 3246.046 | 3455.428 | 3036.665
15/03/2024 17:00 | 3247.784 | 3457.987 | 3037.58
15/03/2024 17:30 | 3222.792 | 3432.083 | 3013.502
15/03/2024 18:00 | 3185.208 | 3392.753 | 2977.663
15/03/2024 18:30 | 3140.234 | 3345.535 | 2934.933
15/03/2024 19:00 | 3066.9 | 3268.077 | 2865.723
15/03/2024 19:30 | 2970.441 | 3165.94 | 2774.943
15/03/2024 20:00 | 2874.038 | 3063.82 | 2684.256
15/03/2024 20:30 | 2769.278 | 2952.747 | 2585.809
15/03/2024 21:00 | 2659.792 | 2836.588 | 2482.996
15/03/2024 21:30 | 2554.084 | 2724.413 | 2383.756
15/03/2024 22:00 | 2457.584 | 2622.014 | 2293.155
15/03/2024 22:30 | 2371.723 | 2530.926 | 2212.52
15/03/2024 23:00 | 2294.721 | 2449.257 | 2140.186
15/03/2024 23:30 | 2228.706 | 2384.591 | 2072.821
16/03/2024 00:00 | 2174.894 | 2337.766 | 2012.022
16/03/2024 00:30 | 2130.751 | 2289.962 | 1971.54
16/03/2024 01:00 | 2093.417 | 2250.339 | 1936.495
16/03/2024 01:30 | 2057.85 | 2212.597 | 1903.103
16/03/2024 02:00 | 2035.33 | 2188.87 | 1881.79
16/03/2024 02:30 | 2014.804 | 2167.276 | 1862.331
16/03/2024 03:00 | 1998.209 | 2149.904 | 1846.515
16/03/2024 03:30 | 1985.938 | 2137.175 | 1834.701
16/03/2024 04:00 | 1982.289 | 2133.721 | 1830.856
16/03/2024 04:30 | 1986.253 | 2138.463 | 1834.043
16/03/2024 05:00 | 1979.198 | 2131.341 | 1827.056
16/03/2024 05:30 | 1967.279 | 2118.975 | 1815.583
16/03/2024 06:00 | 1973.454 | 2126.097 | 1820.81
16/03/2024 06:30 | 1970.314 | 2123.186 | 1817.443
16/03/2024 07:00 | 2002.515 | 2158.363 | 1846.667
16/03/2024 07:30 | 2072.218 | 2233.985 | 1910.45
16/03/2024 08:00 | 2127.038 | 2293.594 | 1960.483
16/03/2024 08:30 | 2121.129 | 2287.728 | 1954.53
16/03/2024 09:00 | 2139.28 | 2307.816 | 1970.745
16/03/2024 09:30 | 2223.614 | 2399.324 | 2047.903
16/03/2024 10:00 | 2257.606 | 2436.542 | 2078.669
16/03/2024 10:30 | 2249.983 | 2428.853 | 2071.114
16/03/2024 11:00 | 2238.149 | 2416.613 | 2059.686
16/03/2024 11:30 | 2152.027 | 2324.137 | 1979.917
16/03/2024 12:00 | 2154.554 | 2327.381 | 1981.727
16/03/2024 12:30 | 2304.608 | 2490.022 | 2119.194
16/03/2024 13:00 | 2427.269 | 2623.132 | 2231.406
16/03/2024 13:30 | 2508.548 | 2711.568 | 2305.528
16/03/2024 14:00 | 2611.245 | 2823.2 | 2399.289
16/03/2024 14:30 | 2754.172 | 2978.386 | 2529.957
16/03/2024 15:00 | 2900.92 | 3137.774 | 2664.066
16/03/2024 15:30 | 3061.123 | 3311.788 | 2810.457
16/03/2024 16:00 | 3208.759 | 3472.281 | 2945.237
16/03/2024 16:30 | 3340.238 | 3615.355 | 3065.121
16/03/2024 17:00 | 3400.609 | 3681.511 | 3119.707
16/03/2024 17:30 | 3409.096 | 3691.514 | 3126.679
16/03/2024 18:00 | 3367.539 | 3647.318 | 3087.759
16/03/2024 18:30 | 3278.875 | 3552.071 | 3005.678
16/03/2024 19:00 | 3148.491 | 3411.576 | 2885.406
16/03/2024 19:30 | 3053.471 | 3309.345 | 2797.597
16/03/2024 20:00 | 2956.384 | 3204.829 | 2707.939
16/03/2024 20:30 | 2854.769 | 3095.357 | 2614.182
16/03/2024 21:00 | 2749.628 | 2982.012 | 2517.245
16/03/2024 21:30 | 2640.685 | 2864.492 | 2416.878
16/03/2024 22:00 | 2537.666 | 2753.348 | 2321.984
16/03/2024 22:30 | 2433.709 | 2641.137 | 2226.282
16/03/2024 23:00 | 2334.253 | 2533.762 | 2134.745
16/03/2024 23:30 | 2241.516 | 2433.633 | 2049.398
17/03/2024 00:00 | 2156.977 | 2342.365 | 1971.59
17/03/2024 00:30 | 2092.648 | 2273.006 | 1912.29
17/03/2024 01:00 | 2044.35 | 2221.034 | 1867.666
17/03/2024 01:30 | 2011.158 | 2185.454 | 1836.863
17/03/2024 02:00 | 1986.455 | 2159.085 | 1813.826
17/03/2024 02:30 | 1963.201 | 2134.278 | 1792.123
17/03/2024 03:00 | 1943.391 | 2113.207 | 1773.576
17/03/2024 03:30 | 1929.87 | 2098.964 | 1760.775
17/03/2024 04:00 | 1922.004 | 2090.869 | 1753.139
17/03/2024 04:30 | 1916.504 | 2085.344 | 1747.665
17/03/2024 05:00 | 1916.955 | 2086.292 | 1747.618
17/03/2024 05:30 | 1919.015 | 2088.993 | 1749.038
17/03/2024 06:00 | 1905.098 | 2074.298 | 1735.898
17/03/2024 06:30 | 1866.722 | 2032.959 | 1700.485
17/03/2024 07:00 | 1823.444 | 1986.262 | 1660.625
17/03/2024 07:30 | 1788.468 | 1948.472 | 1628.465
17/03/2024 08:00 | 1734.44 | 1889.678 | 1579.201
17/03/2024 08:30 | 1645.802 | 1793.191 | 1498.413
17/03/2024 09:00 | 1586.03 | 1728.147 | 1443.913
17/03/2024 09:30 | 1563.81 | 1704.016 | 1423.605
17/03/2024 10:00 | 1558.81 | 1698.647 | 1418.973
17/03/2024 10:30 | 1570.927 | 1711.931 | 1429.924
17/03/2024 11:00 | 1594.008 | 1737.165 | 1450.851
17/03/2024 11:30 | 1603.73 | 1747.841 | 1459.618
17/03/2024 12:00 | 1618.031 | 1763.511 | 1472.552
17/03/2024 12:30 | 1663.342 | 1812.98 | 1513.704
17/03/2024 13:00 | 1712.831 | 1867.008 | 1558.653
17/03/2024 13:30 | 1800.425 | 1962.579 | 1638.271
17/03/2024 14:00 | 1915.548 | 2088.168 | 1742.928
17/03/2024 14:30 | 2070.559 | 2257.253 | 1883.864
17/03/2024 15:00 | 2225.124 | 2425.869 | 2024.38
17/03/2024 15:30 | 2389.826 | 2605.552 | 2174.101
17/03/2024 16:00 | 2555.389 | 2786.189 | 2324.588
17/03/2024 16:30 | 2698.836 | 2942.73 | 2454.942
17/03/2024 17:00 | 2794.902 | 3047.62 | 2542.183
17/03/2024 17:30 | 2835.765 | 3092.323 | 2579.207
17/03/2024 18:00 | 2827.015 | 3082.925 | 2571.104
17/03/2024 18:30 | 2769.996 | 3020.886 | 2519.106
17/03/2024 19:00 | 2670.016 | 2911.987 | 2428.046
17/03/2024 19:30 | 2586.021 | 2820.512 | 2351.531
17/03/2024 20:00 | 2498.903 | 2725.622 | 2272.185
17/03/2024 20:30 | 2412.52 | 2631.523 | 2193.516
17/03/2024 21:00 | 2324.218 | 2535.324 | 2113.111
17/03/2024 21:30 | 2237.618 | 2440.972 | 2034.263
17/03/2024 22:00 | 2156.292 | 2352.366 | 1960.218
17/03/2024 22:30 | 2085.335 | 2275.063 | 1895.607
17/03/2024 23:00 | 2027.288 | 2211.839 | 1842.738
17/03/2024 23:30 | 1973 | 2150.368 | 1795.633
18/03/2024 00:00 | 1925.017 | 2093.741 | 1756.293
18/03/2024 00:30 | 1888.128 | 2054.38 | 1721.877
18/03/2024 01:00 | 1861.265 | 2025.508 | 1697.022
18/03/2024 01:30 | 1843.771 | 2006.823 | 1680.718
18/03/2024 02:00 | 1831.653 | 1993.985 | 1669.321
18/03/2024 02:30 | 1823.83 | 1985.818 | 1661.842
18/03/2024 03:00 | 1820.64 | 1982.694 | 1658.587
18/03/2024 03:30 | 1827.284 | 1990.28 | 1664.289
18/03/2024 04:00 | 1854.203 | 2019.955 | 1688.451
18/03/2024 04:30 | 1910.751 | 2081.924 | 1739.578
18/03/2024 05:00 | 1982.57 | 2160.557 | 1804.583
18/03/2024 05:30 | 2058.028 | 2243.184 | 1872.872
18/03/2024 06:00 | 2127.274 | 2319.068 | 1935.481
18/03/2024 06:30 | 2162.279 | 2357.643 | 1966.916
18/03/2024 07:00 | 2148.989 | 2343.564 | 1954.414
18/03/2024 07:30 | 2048.276 | 2234.124 | 1862.427
18/03/2024 08:00 | 1924.426 | 2099.406 | 1749.446
18/03/2024 08:30 | 1783.384 | 1945.882 | 1620.887
18/03/2024 09:00 | 1657.804 | 1809.177 | 1506.431
18/03/2024 09:30 | 1562.967 | 1705.979 | 1419.954
18/03/2024 10:00 | 1508.945 | 1647.304 | 1370.586
18/03/2024 10:30 | 1477.237 | 1612.971 | 1341.502
18/03/2024 11:00 | 1480.512 | 1616.831 | 1344.193
18/03/2024 11:30 | 1518.205 | 1658.286 | 1378.124
18/03/2024 12:00 | 1564.251 | 1708.881 | 1419.622
18/03/2024 12:30 | 1630.059 | 1781.086 | 1479.033
18/03/2024 13:00 | 1699.107 | 1856.856 | 1541.358
18/03/2024 13:30 | 1800.039 | 1967.504 | 1632.574
18/03/2024 14:00 | 1912.73 | 2091.046 | 1734.415
18/03/2024 14:30 | 2072.932 | 2266.58 | 1879.284
18/03/2024 15:00 | 2258.288 | 2469.684 | 2046.892
18/03/2024 15:30 | 2446.664 | 2676.163 | 2217.165
18/03/2024 16:00 | 2622.361 | 2868.844 | 2375.879
18/03/2024 16:30 | 2785.626 | 3047.988 | 2523.264
18/03/2024 17:00 | 2906.007 | 3180.263 | 2631.75
18/03/2024 17:30 | 2958.777 | 3238.581 | 2678.973
18/03/2024 18:00 | 2954.717 | 3234.704 | 2674.731
18/03/2024 18:30 | 2898.508 | 3173.724 | 2623.293
18/03/2024 19:00 | 2790.969 | 3056.509 | 2525.43
18/03/2024 19:30 | 2693.969 | 2950.796 | 2437.142
18/03/2024 20:00 | 2591.311 | 2838.847 | 2343.774
18/03/2024 20:30 | 2487.046 | 2725.1 | 2248.993
18/03/2024 21:00 | 2378.795 | 2606.943 | 2150.647
18/03/2024 21:30 | 2275.389 | 2491.685 | 2056.722
18/03/2024 22:00 | 2183.47 | 2391.653 | 1973.219
18/03/2024 22:30 | 2102.121 | 2302.968 | 1899.3
18/03/2024 23:00 | 2034.35 | 2228.94 | 1837.678
18/03/2024 23:30 | 1977.899 | 2167.065 | 1786.305
19/03/2024 00:00 | 1932.505 | 2117.119 | 1744.938
19/03/2024 00:30 | 1891.122 | 2071.707 | 1707.209
19/03/2024 01:00 | 1864.433 | 2042.556 | 1682.758
19/03/2024 01:30 | 1845.763 | 2022.389 | 1665.554
19/03/2024 02:00 | 1832.469 | 2008.14 | 1653.207
19/03/2024 02:30 | 1825.012 | 2000.376 | 1646.129
19/03/2024 03:00 | 1821.579 | 1996.994 | 1642.684
19/03/2024 03:30 | 1826.496 | 2002.885 | 1646.767
19/03/2024 04:00 | 1851.948 | 2031.33 | 1669.36
19/03/2024 04:30 | 1905.792 | 2090.934 | 1717.53
19/03/2024 05:00 | 1976.488 | 2168.565 | 1780.863
19/03/2024 05:30 | 2053.333 | 2252.871 | 1849.709
19/03/2024 06:00 | 2112.461 | 2317.828 | 1902.569
19/03/2024 06:30 | 2094.006 | 2297.396 | 1885.547
19/03/2024 07:00 | 2004.772 | 2199.573 | 1804.811
19/03/2024 07:30 | 1858.45 | 2038.705 | 1672.633
19/03/2024 08:00 | 1707.706 | 1873.065 | 1536.373
19/03/2024 08:30 | 1578.133 | 1731.087 | 1419.271
19/03/2024 09:00 | 1456.619 | 1597.431 | 1309.5
19/03/2024 09:30 | 1350.336 | 1480.127 | 1213.5
19/03/2024 10:00 | 1283.659 | 1406.629 | 1153.149
19/03/2024 10:30 | 1257.735 | 1377.988 | 1129.439
19/03/2024 11:00 | 1262.389 | 1382.454 | 1133.195
19/03/2024 11:30 | 1279.758 | 1400.9 | 1148.357
19/03/2024 12:00 | 1299.842 | 1422.54 | 1165.944
19/03/2024 12:30 | 1331.284 | 1468.868 | 1204.242
19/03/2024 13:00 | 1396.041 | 1540.785 | 1263.072
19/03/2024 13:30 | 1495.638 | 1651.211 | 1352.82
19/03/2024 14:00 | 1609.533 | 1777.492 | 1455.105
19/03/2024 14:30 | 1757.418 | 1941.399 | 1588.219
19/03/2024 15:00 | 1946.154 | 2150.545 | 1757.342
19/03/2024 15:30 | 2145.429 | 2371.468 | 1935.367
19/03/2024 16:00 | 2330.505 | 2576.825 | 2100.478
19/03/2024 16:30 | 2514.276 | 2780.863 | 2263.996
19/03/2024 17:00 | 2658.146 | 2940.878 | 2390.845
19/03/2024 17:30 | 2734.26 | 3026.005 | 2457.049
19/03/2024 18:00 | 2755.786 | 3050.752 | 2474.721
19/03/2024 18:30 | 2724.879 | 3017.451 | 2445.468
19/03/2024 19:00 | 2645.717 | 2930.675 | 2373.228
19/03/2024 19:30 | 2564.873 | 2841.984 | 2300.05
19/03/2024 20:00 | 2477.066 | 2745.521 | 2220.386
19/03/2024 20:30 | 2385.462 | 2644.79 | 2137.337
19/03/2024 21:00 | 2287.462 | 2536.902 | 2048.615
19/03/2024 21:30 | 2193.582 | 2433.521 | 1963.53
19/03/2024 22:00 | 2108.721 | 2340.085 | 1886.508
19/03/2024 22:30 | 2035.151 | 2259.125 | 1820.101
19/03/2024 23:00 | 1977.92 | 2196.258 | 1768.905
19/03/2024 23:30 | 1925.546 | 2138.749 | 1722.529
20/03/2024 00:00 | 1880.985 | 2089.884 | 1683.416
20/03/2024 00:30 | 1848.59 | 2054.512 | 1654.503
20/03/2024 01:00 | 1826.324 | 2030.378 | 1634.146
20/03/2024 01:30 | 1818.052 | 2021.791 | 1625.957
20/03/2024 02:00 | 1819.721 | 2024.257 | 1626.784
20/03/2024 02:30 | 1813.506 | 2017.951 | 1620.279
20/03/2024 03:00 | 1812.942 | 2017.932 | 1618.752
20/03/2024 03:30 | 1819.827 | 2026.206 | 1624.032
20/03/2024 04:00 | 1848.019 | 2058.215 | 1648.222
20/03/2024 04:30 | 1908.19 | 2125.869 | 1700.34
20/03/2024 05:00 | 1982.598 | 2209.43 | 1765.855
20/03/2024 05:30 | 2058.998 | 2295.261 | 1833.932
20/03/2024 06:00 | 2118.74 | 2362.569 | 1887.459
20/03/2024 06:30 | 2102.256 | 2344.893 | 1873.883
20/03/2024 07:00 | 2010.603 | 2243.335 | 1793.801
20/03/2024 07:30 | 1859.447 | 2075.306 | 1662.092