## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
14/03/2024 08:00 | 1970.8 | 2004.059 | 1948.225
14/03/2024 08:30 | 1898.612 | 1931.077 | 1866.146 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
14/03/2024 09:00 | 1827.85 | 1864.54 | 1791.161 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
14/03/2024 09:30 | 1733.313 | 1773.257 | 1693.369 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
14/03/2024 10:00 | 1687.276 | 1731.175 | 1643.377 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
14/03/2024 10:30 | 1662.825 | 1709.842 | 1615.809 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
14/03/2024 11:00 | 1647.024 | 1694.979 | 1599.069 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
14/03/2024 11:30 | 1657.856 | 1707.724 | 1607.989 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
14/03/2024 12:00 | 1692.865 | 1745.416 | 1640.315 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
14/03/2024 12:30 | 1813.411 | 1871.45 | 1752.839 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
14/03/2024 13:00 | 1931.132 | 1992.169 | 1865.003 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
14/03/2024 13:30 | 2058.889 | 2128.025 | 1988.349
14/03/2024 14:00 | 2198.166 | 2273.138 | 2119.845 | Summary view - for each schedule horizon (dispatch, week-ahead)
14/03/2024 14:30 | 2355.592 | 2438.386 | 2269.569
14/03/2024 15:00 | 2535.977 | 2628.817 | 2442.101 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
14/03/2024 15:30 | 2691.86 | 2791.209 | 2587.962 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
14/03/2024 16:00 | 2814.358 | 2920.573 | 2702.687 | Scenario | Violations
14/03/2024 16:30 | 2920.1 | 3034.206 | 2802.431 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
14/03/2024 17:00 | 3002.256 | 3120.883 | 2876.931 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
14/03/2024 17:30 | 3043.041 | 3165.834 | 2912.743 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 1
14/03/2024 18:00 | 3035.129 | 3161.319 | 2902.982 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 1
14/03/2024 18:30 | 2996.449 | 3123.88 | 2864.24 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0
14/03/2024 19:00 | 2910.25 | 3037.475 | 2783.026
14/03/2024 19:30 | 2818.591 | 2942.912 | 2694.271 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
14/03/2024 20:00 | 2714.994 | 2835.807 | 2594.18
14/03/2024 20:30 | 2599.847 | 2716.554 | 2483.139 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
14/03/2024 21:00 | 2480.889 | 2593.227 | 2368.55 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
14/03/2024 21:30 | 2372.149 | 2480.492 | 2263.806 | [7 empty] | 14/03/2024 10:00 |  |  |  |  | 14/03/2024 12:00 | [6 empty] | 14/03/2024 10:00 |  |  |  |  | 14/03/2024 12:00 | [6 empty] | 14/03/2024 10:00
14/03/2024 22:00 | 2272.796 | 2377.49 | 2168.101 | [7 empty] | 14/03/2024 10:30 | [11 empty] | 14/03/2024 10:30 | [11 empty] | 14/03/2024 10:30
14/03/2024 22:30 | 2187.838 | 2289.475 | 2086.2 | [7 empty] | 14/03/2024 11:00 | [11 empty] | 14/03/2024 11:00 | [11 empty] | 14/03/2024 11:00
14/03/2024 23:00 | 2121.279 | 2220.655 | 2021.904 | [7 empty] | 14/03/2024 11:30 | [11 empty] | 14/03/2024 11:30 | [11 empty] | 14/03/2024 11:30
14/03/2024 23:30 | 2065.77 | 2163.354 | 1968.186 | [7 empty] | 19/03/2024 11:00 | [11 empty] | 19/03/2024 09:30 | [11 empty] | 14/03/2024 12:00
15/03/2024 00:00 | 2020.875 | 2117.129 | 1924.621 | [7 empty] | 19/03/2024 11:30 | [11 empty] | 19/03/2024 10:00 | [11 empty] | 14/03/2024 12:30
15/03/2024 00:30 | 1984.223 | 2079.508 | 1888.938 | [7 empty] | 19/03/2024 13:30 | [11 empty] | 19/03/2024 10:30 | [11 empty] | 19/03/2024 13:30
15/03/2024 01:00 | 1954.723 | 2049.357 | 1860.09 | [7 empty] | 19/03/2024 14:00 | [11 empty] | 19/03/2024 11:00 | [11 empty] | 19/03/2024 14:00
15/03/2024 01:30 | 1929.935 | 2024.124 | 1835.746 | [7 empty] | 19/03/2024 14:30 | [11 empty] | 19/03/2024 11:30 | [11 empty] | 19/03/2024 14:30
15/03/2024 02:00 | 1912.705 | 2006.801 | 1818.609 | [19 empty] | 19/03/2024 14:00
15/03/2024 02:30 | 1901.054 | 1995.32 | 1806.786
15/03/2024 03:00 | 1894.466 | 1989.148 | 1799.784
15/03/2024 03:30 | 1896.749 | 1992.287 | 1801.21
15/03/2024 04:00 | 1920.422 | 2017.905 | 1822.94
15/03/2024 04:30 | 1970.698 | 2071.503 | 1869.892
15/03/2024 05:00 | 2041.743 | 2146.982 | 1936.504
15/03/2024 05:30 | 2121.142 | 2231.304 | 2010.98
15/03/2024 06:00 | 2182.01 | 2296.187 | 2067.833
15/03/2024 06:30 | 2183.538 | 2298.473 | 2068.602
15/03/2024 07:00 | 2129.198 | 2241.596 | 2016.8
15/03/2024 07:30 | 2025.342 | 2132.591 | 1918.091
15/03/2024 08:00 | 1926.656 | 2028.997 | 1824.313
15/03/2024 08:30 | 1833.109 | 1930.784 | 1735.433
15/03/2024 09:00 | 1750.859 | 1844.44 | 1657.276
15/03/2024 09:30 | 1699.237 | 1790.34 | 1608.133
15/03/2024 10:00 | 1691.585 | 1782.558 | 1600.613
15/03/2024 10:30 | 1722.992 | 1815.938 | 1630.046
15/03/2024 11:00 | 1780.072 | 1876.391 | 1683.753
15/03/2024 11:30 | 1853.814 | 1954.429 | 1753.198
15/03/2024 12:00 | 1928.671 | 2033.667 | 1823.674
15/03/2024 12:30 | 2025.767 | 2136.384 | 1915.15
15/03/2024 13:00 | 2124.612 | 2240.977 | 2008.246
15/03/2024 13:30 | 2240.98 | 2364.089 | 2117.871
15/03/2024 14:00 | 2373.543 | 2504.326 | 2242.76
15/03/2024 14:30 | 2534.65 | 2674.728 | 2394.571
15/03/2024 15:00 | 2714.802 | 2865.285 | 2564.32
15/03/2024 15:30 | 2887.893 | 3048.448 | 2727.339
15/03/2024 16:00 | 3029.329 | 3198.246 | 2860.411
15/03/2024 16:30 | 3134.405 | 3309.699 | 2959.111
15/03/2024 17:00 | 3179.504 | 3357.845 | 3001.163
15/03/2024 17:30 | 3176.14 | 3354.817 | 2997.463
15/03/2024 18:00 | 3151.022 | 3329.153 | 2973.238
15/03/2024 18:30 | 3098.272 | 3273.904 | 2922.953
15/03/2024 19:00 | 3007.734 | 3178.716 | 2837.041
15/03/2024 19:30 | 2916.584 | 3082.835 | 2750.583
15/03/2024 20:00 | 2820.326 | 2981.538 | 2659.537
15/03/2024 20:30 | 2717.207 | 2872.956 | 2561.833
15/03/2024 21:00 | 2610.85 | 2760.917 | 2461.111
15/03/2024 21:30 | 2508.122 | 2652.682 | 2363.847
15/03/2024 22:00 | 2412.939 | 2552.267 | 2273.612
15/03/2024 22:30 | 2323.712 | 2458.271 | 2189.153
15/03/2024 23:00 | 2243.837 | 2374.142 | 2113.532
15/03/2024 23:30 | 2172.807 | 2303.739 | 2041.874
16/03/2024 00:00 | 2112.219 | 2248.328 | 1976.11
16/03/2024 00:30 | 2064.187 | 2196.885 | 1931.488
16/03/2024 01:00 | 2024.985 | 2155.55 | 1894.419
16/03/2024 01:30 | 1993.176 | 2122.071 | 1864.28
16/03/2024 02:00 | 1972.009 | 2099.912 | 1844.105
16/03/2024 02:30 | 1951.447 | 2078.39 | 1824.504
16/03/2024 03:00 | 1934.028 | 2060.207 | 1807.849
16/03/2024 03:30 | 1922.84 | 2048.656 | 1797.023
16/03/2024 04:00 | 1921.45 | 2052.727 | 1795.357
16/03/2024 04:30 | 1926.236 | 2057.939 | 1799.461
16/03/2024 05:00 | 1936.631 | 2069.374 | 1808.802
16/03/2024 05:30 | 1954.242 | 2088.672 | 1824.878
16/03/2024 06:00 | 1963.16 | 2099.02 | 1832.83
16/03/2024 06:30 | 1930.159 | 2064.98 | 1801.618
16/03/2024 07:00 | 1871.714 | 2003.545 | 1746.613
16/03/2024 07:30 | 1808.011 | 1935.434 | 1686.736
16/03/2024 08:00 | 1751.799 | 1875.4 | 1633.876
16/03/2024 08:30 | 1689.616 | 1810.808 | 1575.475
16/03/2024 09:00 | 1627.297 | 1745.488 | 1516.977
16/03/2024 09:30 | 1581.193 | 1697.028 | 1473.621
16/03/2024 10:00 | 1566.139 | 1682.095 | 1459.217
16/03/2024 10:30 | 1612.252 | 1732.361 | 1511.662
16/03/2024 11:00 | 1697.576 | 1813.471 | 1581.68
16/03/2024 11:30 | 1770.674 | 1891.983 | 1649.366
16/03/2024 12:00 | 1827.554 | 1953.196 | 1701.912
16/03/2024 12:30 | 1907.839 | 2039.456 | 1776.221
16/03/2024 13:00 | 2006.794 | 2145.718 | 1867.87
16/03/2024 13:30 | 2122.546 | 2269.99 | 1975.103
16/03/2024 14:00 | 2260.861 | 2418.453 | 2103.269
16/03/2024 14:30 | 2433.372 | 2603.57 | 2263.174
16/03/2024 15:00 | 2606.401 | 2789.324 | 2423.479
16/03/2024 15:30 | 2781.13 | 2976.98 | 2585.28
16/03/2024 16:00 | 2943.203 | 3151.17 | 2735.237
16/03/2024 16:30 | 3094.139 | 3313.509 | 2874.769
16/03/2024 17:00 | 3172.591 | 3398.282 | 2946.901
16/03/2024 17:30 | 3201.863 | 3430.401 | 2973.326
16/03/2024 18:00 | 3176.467 | 3403.951 | 2948.983
16/03/2024 18:30 | 3104.619 | 3327.699 | 2881.539
16/03/2024 19:00 | 2993.588 | 3209.405 | 2777.771
16/03/2024 19:30 | 2902.497 | 3112.44 | 2692.554
16/03/2024 20:00 | 2809.14 | 3013.002 | 2605.279
16/03/2024 20:30 | 2718.314 | 2916.234 | 2520.395
16/03/2024 21:00 | 2624.134 | 2815.823 | 2432.445
16/03/2024 21:30 | 2523.277 | 2708.202 | 2338.353
16/03/2024 22:00 | 2428.56 | 2607.123 | 2249.997
16/03/2024 22:30 | 2335.574 | 2507.858 | 2163.291
16/03/2024 23:00 | 2248.493 | 2414.891 | 2082.095
16/03/2024 23:30 | 2170.035 | 2331.145 | 2008.925
17/03/2024 00:00 | 2099.034 | 2255.374 | 1942.694
17/03/2024 00:30 | 2043.109 | 2195.771 | 1890.446
17/03/2024 01:00 | 2000.652 | 2150.62 | 1850.684
17/03/2024 01:30 | 1969.936 | 2118.072 | 1821.8
17/03/2024 02:00 | 1947.034 | 2093.913 | 1800.155
17/03/2024 02:30 | 1925.97 | 2071.72 | 1780.22
17/03/2024 03:00 | 1907.864 | 2052.7 | 1763.028
17/03/2024 03:30 | 1895.132 | 2039.454 | 1750.811
17/03/2024 04:00 | 1887.954 | 2032.18 | 1743.728
17/03/2024 04:30 | 1883.39 | 2027.717 | 1739.063
17/03/2024 05:00 | 1890.459 | 2035.779 | 1745.138
17/03/2024 05:30 | 1903.666 | 2050.456 | 1756.875
17/03/2024 06:00 | 1888.969 | 2035.077 | 1742.86
17/03/2024 06:30 | 1835.911 | 1978.354 | 1693.468
17/03/2024 07:00 | 1751.332 | 1887.631 | 1615.032
17/03/2024 07:30 | 1650.766 | 1779.633 | 1521.899
17/03/2024 08:00 | 1560.045 | 1682.202 | 1437.888
17/03/2024 08:30 | 1470.873 | 1586.399 | 1355.346
17/03/2024 09:00 | 1392.923 | 1502.66 | 1283.186
17/03/2024 09:30 | 1341.938 | 1447.979 | 1235.898
17/03/2024 10:00 | 1317.8 | 1422.248 | 1213.352
17/03/2024 10:30 | 1310.008 | 1414.151 | 1205.864
17/03/2024 11:00 | 1344.491 | 1451.697 | 1237.285
17/03/2024 11:30 | 1392.532 | 1503.901 | 1281.163
17/03/2024 12:00 | 1419.365 | 1533.219 | 1305.511
17/03/2024 12:30 | 1459.47 | 1576.89 | 1342.05
17/03/2024 13:00 | 1511.046 | 1632.976 | 1389.116
17/03/2024 13:30 | 1601.695 | 1731.322 | 1472.067
17/03/2024 14:00 | 1717.294 | 1856.687 | 1577.901
17/03/2024 14:30 | 1865.565 | 2017.439 | 1713.691
17/03/2024 15:00 | 2019.756 | 2184.665 | 1854.847
17/03/2024 15:30 | 2190.19 | 2369.538 | 2010.843
17/03/2024 16:00 | 2371.084 | 2565.811 | 2176.357
17/03/2024 16:30 | 2540.822 | 2750.095 | 2331.548
17/03/2024 17:00 | 2664.495 | 2884.592 | 2444.399
17/03/2024 17:30 | 2726.839 | 2952.737 | 2500.942
17/03/2024 18:00 | 2731.36 | 2958.284 | 2504.435
17/03/2024 18:30 | 2684.152 | 2907.796 | 2460.508
17/03/2024 19:00 | 2593.119 | 2809.797 | 2376.44
17/03/2024 19:30 | 2515.388 | 2726.172 | 2304.604
17/03/2024 20:00 | 2433.137 | 2637.61 | 2228.664
17/03/2024 20:30 | 2352.97 | 2551.268 | 2154.672
17/03/2024 21:00 | 2268.37 | 2460.081 | 2076.66
17/03/2024 21:30 | 2185.164 | 2370.364 | 1999.964
17/03/2024 22:00 | 2107.996 | 2287.159 | 1928.833
17/03/2024 22:30 | 2039.755 | 2213.606 | 1865.905
17/03/2024 23:00 | 1984.14 | 2153.724 | 1814.555
17/03/2024 23:30 | 1938.555 | 2099.414 | 1777.696
18/03/2024 00:00 | 1903.371 | 2051.459 | 1755.282
18/03/2024 00:30 | 1866.892 | 2013.418 | 1720.365
18/03/2024 01:00 | 1841.581 | 1986.523 | 1696.639
18/03/2024 01:30 | 1825.467 | 1969.539 | 1681.394
18/03/2024 02:00 | 1814.037 | 1957.603 | 1670.47
18/03/2024 02:30 | 1807.42 | 1950.858 | 1663.982
18/03/2024 03:00 | 1805.397 | 1949.069 | 1661.725
18/03/2024 03:30 | 1813.126 | 1957.81 | 1668.443
18/03/2024 04:00 | 1840.34 | 1987.597 | 1693.083
18/03/2024 04:30 | 1897.333 | 2049.565 | 1745.101
18/03/2024 05:00 | 1971.582 | 2130.201 | 1812.962
18/03/2024 05:30 | 2049.216 | 2214.529 | 1883.903
18/03/2024 06:00 | 2109.095 | 2279.699 | 1938.49
18/03/2024 06:30 | 2094.484 | 2264.364 | 1924.603
18/03/2024 07:00 | 2012.954 | 2176.662 | 1849.247
18/03/2024 07:30 | 1883.746 | 2037.339 | 1730.153
18/03/2024 08:00 | 1758.083 | 1901.765 | 1614.402
18/03/2024 08:30 | 1644.624 | 1779.348 | 1509.9
18/03/2024 09:00 | 1531.573 | 1657.329 | 1405.816
18/03/2024 09:30 | 1432.284 | 1550.162 | 1314.406
18/03/2024 10:00 | 1390.72 | 1505.444 | 1275.996
18/03/2024 10:30 | 1380.913 | 1495.093 | 1266.734
18/03/2024 11:00 | 1396.58 | 1512.323 | 1280.837
18/03/2024 11:30 | 1439.121 | 1558.666 | 1319.577
18/03/2024 12:00 | 1496.746 | 1621.364 | 1372.128
18/03/2024 12:30 | 1571.095 | 1702.205 | 1439.986
18/03/2024 13:00 | 1646.104 | 1783.788 | 1508.419
18/03/2024 13:30 | 1755.613 | 1902.793 | 1608.432
18/03/2024 14:00 | 1883.079 | 2041.306 | 1724.851
18/03/2024 14:30 | 2050.695 | 2223.4 | 1877.991
18/03/2024 15:00 | 2244.523 | 2433.982 | 2055.065
18/03/2024 15:30 | 2439.599 | 2645.991 | 2233.206
18/03/2024 16:00 | 2617.652 | 2839.61 | 2395.695
18/03/2024 16:30 | 2779.042 | 3015.216 | 2542.867
18/03/2024 17:00 | 2898.096 | 3144.944 | 2651.248
18/03/2024 17:30 | 2953.716 | 3205.867 | 2701.564
18/03/2024 18:00 | 2952.331 | 3204.93 | 2699.732
18/03/2024 18:30 | 2900.018 | 3148.697 | 2651.339
18/03/2024 19:00 | 2799.125 | 3039.688 | 2558.561
18/03/2024 19:30 | 2702.561 | 2935.344 | 2469.778
18/03/2024 20:00 | 2599.975 | 2824.42 | 2375.53
18/03/2024 20:30 | 2496.585 | 2712.584 | 2280.587
18/03/2024 21:00 | 2388.689 | 2595.81 | 2181.567
18/03/2024 21:30 | 2285.179 | 2483.763 | 2086.595
18/03/2024 22:00 | 2193.68 | 2384.733 | 2002.627
18/03/2024 22:30 | 2112.074 | 2296.424 | 1927.723
18/03/2024 23:00 | 2043.915 | 2222.708 | 1865.122
18/03/2024 23:30 | 1988.601 | 2162.937 | 1814.265
19/03/2024 00:00 | 1945.565 | 2116.501 | 1774.63
19/03/2024 00:30 | 1903.886 | 2071.524 | 1736.247
19/03/2024 01:00 | 1876.807 | 2042.421 | 1711.193
19/03/2024 01:30 | 1857.931 | 2022.236 | 1693.626
19/03/2024 02:00 | 1844.821 | 2008.32 | 1681.322
19/03/2024 02:30 | 1837.807 | 2001.037 | 1674.578
19/03/2024 03:00 | 1834.457 | 1997.74 | 1671.173
19/03/2024 03:30 | 1839.505 | 2003.59 | 1675.419
19/03/2024 04:00 | 1865.512 | 2032.275 | 1698.749
19/03/2024 04:30 | 1920.293 | 2092.321 | 1748.266
19/03/2024 05:00 | 1990.866 | 2169.597 | 1812.134
19/03/2024 05:30 | 2067.809 | 2253.844 | 1881.773
19/03/2024 06:00 | 2127.938 | 2319.792 | 1936.085
19/03/2024 06:30 | 2112.611 | 2303.487 | 1921.735
19/03/2024 07:00 | 2029.195 | 2212.923 | 1845.466
19/03/2024 07:30 | 1887.866 | 2059.16 | 1716.572
19/03/2024 08:00 | 1740.055 | 1898.271 | 1581.839
19/03/2024 08:30 | 1614.136 | 1761.212 | 1467.06
19/03/2024 09:00 | 1494.292 | 1630.734 | 1357.849
19/03/2024 09:30 | 1387.474 | 1514.429 | 1260.519
19/03/2024 10:00 | 1318.235 | 1439.107 | 1197.362
19/03/2024 10:30 | 1285.879 | 1404.031 | 1167.727
19/03/2024 11:00 | 1284.805 | 1403.105 | 1166.506
19/03/2024 11:30 | 1294.495 | 1413.935 | 1175.055
19/03/2024 12:00 | 1307.833 | 1428.755 | 1186.912
19/03/2024 12:30 | 1345.843 | 1470.536 | 1221.149
19/03/2024 13:00 | 1403.99 | 1534.34 | 1273.64
19/03/2024 13:30 | 1496.129 | 1635.32 | 1356.938
19/03/2024 14:00 | 1606.302 | 1756.05 | 1456.553
19/03/2024 14:30 | 1748.558 | 1911.903 | 1585.212
19/03/2024 15:00 | 1929.486 | 2110.104 | 1748.869
19/03/2024 15:30 | 2123.708 | 2322.913 | 1924.502
19/03/2024 16:00 | 2303.036 | 2519.504 | 2086.568
19/03/2024 16:30 | 2474.512 | 2707.572 | 2241.452
19/03/2024 17:00 | 2609.646 | 2855.933 | 2363.358
19/03/2024 17:30 | 2685.942 | 2939.945 | 2431.939
19/03/2024 18:00 | 2714.284 | 2971.488 | 2457.081
19/03/2024 18:30 | 2691.765 | 2947.35 | 2436.18
19/03/2024 19:00 | 2620.604 | 2869.935 | 2371.273
19/03/2024 19:30 | 2544.781 | 2787.386 | 2302.177
19/03/2024 20:00 | 2462.18 | 2697.382 | 2226.979
19/03/2024 20:30 | 2375.564 | 2602.947 | 2148.182
19/03/2024 21:00 | 2281.8 | 2500.645 | 2062.955
19/03/2024 21:30 | 2191.124 | 2401.692 | 1980.555
19/03/2024 22:00 | 2108.763 | 2311.821 | 1905.706
19/03/2024 22:30 | 2037.494 | 2234.079 | 1840.908
19/03/2024 23:00 | 1983.029 | 2174.74 | 1791.318
19/03/2024 23:30 | 1934.379 | 2121.758 | 1747.001
20/03/2024 00:00 | 1894.655 | 2078.548 | 1710.761
20/03/2024 00:30 | 1865.857 | 2047.313 | 1684.401
20/03/2024 01:00 | 1844.324 | 2024.039 | 1664.609
20/03/2024 01:30 | 1828.423 | 2006.94 | 1649.907
20/03/2024 02:00 | 1819.192 | 1997.156 | 1641.228
20/03/2024 02:30 | 1814.531 | 1992.386 | 1636.675
20/03/2024 03:00 | 1814.957 | 1993.203 | 1636.712
20/03/2024 03:30 | 1822.674 | 2002.026 | 1643.321
20/03/2024 04:00 | 1851.154 | 2033.664 | 1668.644
20/03/2024 04:30 | 1910.533 | 2099.264 | 1721.803
20/03/2024 05:00 | 1989.944 | 2186.9 | 1792.988
20/03/2024 05:30 | 2077.368 | 2283.375 | 1871.361
20/03/2024 06:00 | 2155.181 | 2369.318 | 1941.044
20/03/2024 06:30 | 2180.756 | 2397.852 | 1963.66
20/03/2024 07:00 | 2139.344 | 2352.728 | 1925.961
20/03/2024 07:30 | 2030.217 | 2233.208 | 1827.225
20/03/2024 08:00 | 1917.068 | 2109.406 | 1724.73
20/03/2024 08:30 | 1814.644 | 1997.315 | 1631.974
20/03/2024 09:00 | 1735.384 | 1910.657 | 1560.11
20/03/2024 09:30 | 1691.007 | 1862.365 | 1519.649
20/03/2024 10:00 | 1669.228 | 1838.939 | 1499.517
20/03/2024 10:30 | 1650.8 | 1819.191 | 1482.409
20/03/2024 11:00 | 1685.392 | 1857.877 | 1512.907
20/03/2024 11:30 | 1764.406 | 1945.569 | 1583.244
20/03/2024 12:00 | 1809.124 | 1995.485 | 1622.764
20/03/2024 12:30 | 1829.808 | 2018.913 | 1640.703
20/03/2024 13:00 | 1878.164 | 2072.896 | 1683.432
20/03/2024 13:30 | 1987.195 | 2193.898 | 1780.492
20/03/2024 14:00 | 2112.827 | 2333.306 | 1892.348
20/03/2024 14:30 | 2240.193 | 2474.714 | 2005.671
20/03/2024 15:00 | 2338 | 2583.544 | 2092.455
20/03/2024 15:30 | 2366.89 | 2616.262 | 2117.518
20/03/2024 16:00 | 2435.601 | 2693.029 | 2178.173
20/03/2024 16:30 | 2553.913 | 2824.702 | 2283.123
20/03/2024 17:00 | 2649.213 | 2930.996 | 2367.431
20/03/2024 17:30 | 2697.657 | 2985.496 | 2409.817
20/03/2024 18:00 | 2710.451 | 3000.564 | 2420.337
20/03/2024 18:30 | 2707.641 | 2998.361 | 2416.92
20/03/2024 19:00 | 2664.892 | 2951.915 | 2377.868
20/03/2024 19:30 | 2595.924 | 2876.39 | 2315.458
20/03/2024 20:00 | 2520.656 | 2793.835 | 2247.477
20/03/2024 20:30 | 2433.955 | 2698.553 | 2169.356
20/03/2024 21:00 | 2339.357 | 2594.457 | 2084.258
20/03/2024 21:30 | 2246.651 | 2492.394 | 2000.907
20/03/2024 22:00 | 2163.447 | 2400.814 | 1926.079
20/03/2024 22:30 | 2090.015 | 2320.027 | 1860.003
20/03/2024 23:00 | 2029.192 | 2253.191 | 1805.194
20/03/2024 23:30 | 1972.864 | 2191.305 | 1754.422
21/03/2024 00:00 | 1925.019 | 2138.809 | 1711.229
21/03/2024 00:30 | 1890.634 | 2101.239 | 1680.029
21/03/2024 01:00 | 1866.291 | 2074.81 | 1657.772
21/03/2024 01:30 | 1850.47 | 2057.842 | 1643.098
21/03/2024 02:00 | 1840.186 | 2047.023 | 1633.35
21/03/2024 02:30 | 1835.035 | 2041.908 | 1628.162
21/03/2024 03:00 | 1834.725 | 2042.178 | 1627.272
21/03/2024 03:30 | 1842.236 | 2051.156 | 1633.316
21/03/2024 04:00 | 1870.482 | 2083.232 | 1657.731
21/03/2024 04:30 | 1927.948 | 2147.882 | 1708.015
21/03/2024 05:00 | 2001.641 | 2230.652 | 1772.63
21/03/2024 05:30 | 2079.862 | 2318.52 | 1841.204
21/03/2024 06:00 | 2147.529 | 2394.671 | 1900.386
21/03/2024 06:30 | 2140.749 | 2387.828 | 1893.669
21/03/2024 07:00 | 2053.678 | 2291.397 | 1815.959
21/03/2024 07:30 | 1909.996 | 2131.724 | 1688.269