## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
15/03/2024 08:00 | 2089.94 | 2124.322 | 2065.138
15/03/2024 08:30 | 2018.062 | 2052.571 | 1983.554 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
15/03/2024 09:00 | 1962.306 | 2001.694 | 1922.918 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
15/03/2024 09:30 | 1906.854 | 1950.798 | 1862.911 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
15/03/2024 10:00 | 1858.523 | 1906.877 | 1810.168 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
15/03/2024 10:30 | 1852.317 | 1904.692 | 1799.942 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
15/03/2024 11:00 | 1871.464 | 1925.954 | 1816.974 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
15/03/2024 11:30 | 1899.086 | 1970.137 | 1841.963 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
15/03/2024 12:00 | 1916.74 | 1976.046 | 1857.057 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
15/03/2024 12:30 | 1991.367 | 2049.344 | 1922.232 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
15/03/2024 13:00 | 2077.43 | 2140.753 | 2004.103 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
15/03/2024 13:30 | 2182.034 | 2252.783 | 2104.919
15/03/2024 14:00 | 2310.261 | 2386.91 | 2225.945 | Summary view - for each schedule horizon (dispatch, week-ahead)
15/03/2024 14:30 | 2471.434 | 2556.242 | 2379.265
15/03/2024 15:00 | 2648.972 | 2744.283 | 2549.365 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
15/03/2024 15:30 | 2811.3 | 2913.678 | 2701.513 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
15/03/2024 16:00 | 2948.725 | 3058.919 | 2830.711 | Scenario | Violations
15/03/2024 16:30 | 3059.328 | 3177.883 | 2935.133 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
15/03/2024 17:00 | 3118.265 | 3240.815 | 2987.488 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
15/03/2024 17:30 | 3127.352 | 3253.182 | 2993.108 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 1
15/03/2024 18:00 | 3104.986 | 3237.257 | 2972.715 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0
15/03/2024 18:30 | 3059.397 | 3192.05 | 2926.744 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0
15/03/2024 19:00 | 2974.285 | 3104.308 | 2844.261
15/03/2024 19:30 | 2887.992 | 3015.374 | 2760.61 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
15/03/2024 20:00 | 2795.941 | 2920.357 | 2671.526
15/03/2024 20:30 | 2698.061 | 2819.177 | 2576.944 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
15/03/2024 21:00 | 2596.236 | 2713.797 | 2478.674 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
15/03/2024 21:30 | 2497.116 | 2611.167 | 2383.065 | [7 empty] | 15/03/2024 11:30 |  |  |  |  | 17/03/2024 15:00 | [6 empty] | 15/03/2024 11:30 | [11 empty] | 15/03/2024 09:30
15/03/2024 22:00 | 2404.288 | 2515.039 | 2293.536 | [7 empty] | 15/03/2024 12:00 | [11 empty] | 15/03/2024 12:00 | [11 empty] | 15/03/2024 11:30
15/03/2024 22:30 | 2318.544 | 2426.254 | 2210.835 | [7 empty] | 15/03/2024 13:00 | [11 empty] | 15/03/2024 12:30 | [11 empty] | 15/03/2024 12:00
15/03/2024 23:00 | 2242.547 | 2347.604 | 2137.49 | [7 empty] | 16/03/2024 07:30 | [11 empty] | 15/03/2024 13:00 | [11 empty] | 19/03/2024 13:30
15/03/2024 23:30 | 2175.453 | 2283.204 | 2067.703 | [7 empty] | 19/03/2024 08:00 | [11 empty] | 19/03/2024 08:30 | [11 empty] | 19/03/2024 14:00
16/03/2024 00:00 | 2118.133 | 2233.39 | 2002.876 | [7 empty] | 19/03/2024 08:30 | [11 empty] | 19/03/2024 13:30 | [11 empty] | 19/03/2024 14:30
16/03/2024 00:30 | 2071.921 | 2184.383 | 1959.461 | [7 empty] | 19/03/2024 13:30 | [11 empty] | 19/03/2024 14:00
16/03/2024 01:00 | 2034.465 | 2145.428 | 1923.501 | [7 empty] | 19/03/2024 14:00
16/03/2024 01:30 | 2002.332 | 2112.07 | 1892.594 | [7 empty] | 19/03/2024 14:30
16/03/2024 02:00 | 1981.155 | 2090.254 | 1872.057 | [7 empty] | 20/03/2024 13:30
16/03/2024 02:30 | 1960.822 | 2069.317 | 1852.327
16/03/2024 03:00 | 1943.529 | 2051.579 | 1835.478
16/03/2024 03:30 | 1932.612 | 2040.565 | 1824.66
16/03/2024 04:00 | 1930.929 | 2039.296 | 1822.563
16/03/2024 04:30 | 1935.334 | 2044.458 | 1826.211
16/03/2024 05:00 | 1947.788 | 2058.127 | 1837.45
16/03/2024 05:30 | 1967.608 | 2079.587 | 1855.629
16/03/2024 06:00 | 1977.513 | 2090.577 | 1864.45
16/03/2024 06:30 | 1949.733 | 2061.672 | 1837.795
16/03/2024 07:00 | 1902.079 | 2011.638 | 1792.522
16/03/2024 07:30 | 1857.127 | 1964.45 | 1749.804
16/03/2024 08:00 | 1809.359 | 1914.268 | 1704.451
16/03/2024 08:30 | 1738.955 | 1840.114 | 1637.797
16/03/2024 09:00 | 1676.326 | 1774.162 | 1578.49
16/03/2024 09:30 | 1636.508 | 1732.332 | 1540.683
16/03/2024 10:00 | 1650.072 | 1747.006 | 1553.138
16/03/2024 10:30 | 1727 | 1828.784 | 1625.217
16/03/2024 11:00 | 1811.674 | 1918.794 | 1704.555
16/03/2024 11:30 | 1895.293 | 2007.719 | 1782.867
16/03/2024 12:00 | 1966.191 | 2082.29 | 1849.184
16/03/2024 12:30 | 2025.571 | 2145.592 | 1904.643
16/03/2024 13:00 | 2102.783 | 2227.722 | 1976.844
16/03/2024 13:30 | 2192.14 | 2322.746 | 2060.43
16/03/2024 14:00 | 2311.568 | 2449.656 | 2172.241
16/03/2024 14:30 | 2481.8 | 2630.533 | 2331.738
16/03/2024 15:00 | 2655.888 | 2815.609 | 2494.792
16/03/2024 15:30 | 2815.05 | 2984.959 | 2643.762
16/03/2024 16:00 | 2962.678 | 3142.163 | 2781.842
16/03/2024 16:30 | 3095.815 | 3284.06 | 2906.261
16/03/2024 17:00 | 3160.218 | 3353.126 | 2965.061
16/03/2024 17:30 | 3178.365 | 3373.109 | 2981.588
16/03/2024 18:00 | 3147.232 | 3340.791 | 2951.888
16/03/2024 18:30 | 3080.569 | 3270.678 | 2888.829
16/03/2024 19:00 | 2975.991 | 3161.052 | 2790.931
16/03/2024 19:30 | 2885.559 | 3065.547 | 2705.571
16/03/2024 20:00 | 2794.477 | 2969.318 | 2619.636
16/03/2024 20:30 | 2704.599 | 2874.334 | 2534.865
16/03/2024 21:00 | 2612.204 | 2776.64 | 2447.769
16/03/2024 21:30 | 2515.318 | 2674.135 | 2356.501
16/03/2024 22:00 | 2423.317 | 2576.788 | 2269.846
16/03/2024 22:30 | 2332.827 | 2481.013 | 2184.641
16/03/2024 23:00 | 2247.568 | 2390.767 | 2104.368
16/03/2024 23:30 | 2169.753 | 2308.41 | 2031.097
17/03/2024 00:00 | 2098.565 | 2233.073 | 1964.057
17/03/2024 00:30 | 2042.395 | 2172.856 | 1911.098
17/03/2024 01:00 | 1999.781 | 2127.922 | 1870.841
17/03/2024 01:30 | 1969.617 | 2096.201 | 1842.245
17/03/2024 02:00 | 1947.268 | 2072.788 | 1820.969
17/03/2024 02:30 | 1927.148 | 2051.74 | 1801.786
17/03/2024 03:00 | 1909.913 | 2033.756 | 1785.307
17/03/2024 03:30 | 1897.304 | 2020.692 | 1773.158
17/03/2024 04:00 | 1889.675 | 2012.928 | 1765.667
17/03/2024 04:30 | 1885.87 | 2009.237 | 1761.752
17/03/2024 05:00 | 1892.173 | 2016.312 | 1767.279
17/03/2024 05:30 | 1902.591 | 2027.776 | 1776.645
17/03/2024 06:00 | 1888.72 | 2013.351 | 1764.022
17/03/2024 06:30 | 1841.357 | 1963.212 | 1719.432
17/03/2024 07:00 | 1758.565 | 1875.275 | 1641.785
17/03/2024 07:30 | 1642.456 | 1751.816 | 1533.056
17/03/2024 08:00 | 1539.218 | 1642.098 | 1436.341
17/03/2024 08:30 | 1454.314 | 1551.864 | 1356.763
17/03/2024 09:00 | 1370.515 | 1462.772 | 1278.258
17/03/2024 09:30 | 1303.777 | 1391.854 | 1215.701
17/03/2024 10:00 | 1267.021 | 1352.917 | 1181.126
17/03/2024 10:30 | 1251.99 | 1337.166 | 1166.815
17/03/2024 11:00 | 1281.375 | 1368.856 | 1193.894
17/03/2024 11:30 | 1321.854 | 1412.414 | 1231.293
17/03/2024 12:00 | 1341.143 | 1433.345 | 1248.941
17/03/2024 12:30 | 1370.985 | 1465.566 | 1276.404
17/03/2024 13:00 | 1415.274 | 1513.248 | 1317.299
17/03/2024 13:30 | 1496.114 | 1600.042 | 1392.185
17/03/2024 14:00 | 1604.75 | 1716.608 | 1492.892
17/03/2024 14:30 | 1753.514 | 1876.16 | 1630.868
17/03/2024 15:00 | 1910.219 | 2044.282 | 1776.156
17/03/2024 15:30 | 2088.587 | 2235.667 | 1941.507
17/03/2024 16:00 | 2280.745 | 2441.902 | 2119.588
17/03/2024 16:30 | 2463.547 | 2638.209 | 2288.885
17/03/2024 17:00 | 2603.354 | 2788.55 | 2418.157
17/03/2024 17:30 | 2681.076 | 2872.442 | 2489.71
17/03/2024 18:00 | 2696.664 | 2889.787 | 2503.542
17/03/2024 18:30 | 2656.148 | 2847.003 | 2465.292
17/03/2024 19:00 | 2568.828 | 2754.022 | 2383.633
17/03/2024 19:30 | 2495.785 | 2676.31 | 2315.26
17/03/2024 20:00 | 2418.488 | 2594 | 2242.977
17/03/2024 20:30 | 2342.97 | 2513.562 | 2172.379
17/03/2024 21:00 | 2261.144 | 2426.318 | 2095.971
17/03/2024 21:30 | 2179.674 | 2339.417 | 2019.931
17/03/2024 22:00 | 2104.457 | 2259.19 | 1949.724
17/03/2024 22:30 | 2038.817 | 2189.211 | 1888.424
17/03/2024 23:00 | 1988.455 | 2135.609 | 1841.302
17/03/2024 23:30 | 1942.273 | 2081.847 | 1802.699
18/03/2024 00:00 | 1902.988 | 2031.203 | 1774.774
18/03/2024 00:30 | 1872.49 | 1999.818 | 1745.162
18/03/2024 01:00 | 1850.296 | 1976.519 | 1724.073
18/03/2024 01:30 | 1835.338 | 1960.942 | 1709.734
18/03/2024 02:00 | 1825.473 | 1950.8 | 1700.145
18/03/2024 02:30 | 1819.337 | 1944.641 | 1694.033
18/03/2024 03:00 | 1818.124 | 1943.741 | 1692.506
18/03/2024 03:30 | 1826.245 | 1952.822 | 1699.667
18/03/2024 04:00 | 1854.535 | 1983.478 | 1725.591
18/03/2024 04:30 | 1913.186 | 2046.626 | 1779.746
18/03/2024 05:00 | 1980.246 | 2118.796 | 1841.697
18/03/2024 05:30 | 2048.856 | 2192.654 | 1905.059
18/03/2024 06:00 | 2127.032 | 2276.781 | 1977.283
18/03/2024 06:30 | 2168.739 | 2321.898 | 2015.58
18/03/2024 07:00 | 2165.606 | 2319.017 | 2012.195
18/03/2024 07:30 | 2089.65 | 2238.137 | 1941.163
18/03/2024 08:00 | 2009.272 | 2152.486 | 1866.058
18/03/2024 08:30 | 1926.164 | 2063.875 | 1788.452
18/03/2024 09:00 | 1819.519 | 1950.003 | 1689.034
18/03/2024 09:30 | 1700.027 | 1822.314 | 1577.741
18/03/2024 10:00 | 1604.525 | 1720.292 | 1488.757
18/03/2024 10:30 | 1520.371 | 1630.398 | 1410.343
18/03/2024 11:00 | 1501.309 | 1610.285 | 1392.332
18/03/2024 11:30 | 1547.43 | 1660.093 | 1434.768
18/03/2024 12:00 | 1598.051 | 1714.747 | 1481.354
18/03/2024 12:30 | 1672.229 | 1794.709 | 1549.75
18/03/2024 13:00 | 1747.154 | 1875.503 | 1618.805
18/03/2024 13:30 | 1852.961 | 1989.487 | 1716.434
18/03/2024 14:00 | 1967.665 | 2113.072 | 1822.257
18/03/2024 14:30 | 2132.037 | 2290.057 | 1974.017
18/03/2024 15:00 | 2319.103 | 2491.495 | 2146.712
18/03/2024 15:30 | 2508.173 | 2695.168 | 2321.179
18/03/2024 16:00 | 2682.958 | 2883.569 | 2482.347
18/03/2024 16:30 | 2843.287 | 3056.508 | 2630.066
18/03/2024 17:00 | 2959.341 | 3181.912 | 2736.771
18/03/2024 17:30 | 3009.18 | 3236.156 | 2782.204
18/03/2024 18:00 | 3004.465 | 3231.742 | 2777.188
18/03/2024 18:30 | 2946.696 | 3170.247 | 2723.145
18/03/2024 19:00 | 2836.708 | 3052.534 | 2620.882
18/03/2024 19:30 | 2740.565 | 2949.675 | 2531.455
18/03/2024 20:00 | 2637.584 | 2839.413 | 2435.755
18/03/2024 20:30 | 2531.778 | 2726.063 | 2337.492
18/03/2024 21:00 | 2422.183 | 2608.588 | 2235.779
18/03/2024 21:30 | 2317.454 | 2496.305 | 2138.603
18/03/2024 22:00 | 2224.258 | 2396.403 | 2052.113
18/03/2024 22:30 | 2141.619 | 2307.836 | 1975.402
18/03/2024 23:00 | 2071.827 | 2233.08 | 1910.574
18/03/2024 23:30 | 2005.588 | 2162.123 | 1849.052
19/03/2024 00:00 | 1945.853 | 2098.151 | 1793.554
19/03/2024 00:30 | 1903.497 | 2052.896 | 1754.098
19/03/2024 01:00 | 1875.341 | 2022.94 | 1727.742
19/03/2024 01:30 | 1855.947 | 2002.425 | 1709.469
19/03/2024 02:00 | 1842.11 | 1987.899 | 1696.322
19/03/2024 02:30 | 1834.123 | 1979.68 | 1688.566
19/03/2024 03:00 | 1830.259 | 1975.909 | 1684.608
19/03/2024 03:30 | 1834.601 | 1980.997 | 1688.204
19/03/2024 04:00 | 1859.458 | 2008.244 | 1710.671
19/03/2024 04:30 | 1913.003 | 2066.492 | 1759.515
19/03/2024 05:00 | 1982.357 | 2141.843 | 1822.87
19/03/2024 05:30 | 2057.76 | 2223.762 | 1891.757
19/03/2024 06:00 | 2120.389 | 2291.907 | 1948.871
19/03/2024 06:30 | 2108.824 | 2279.868 | 1937.781
19/03/2024 07:00 | 2025.643 | 2190.383 | 1860.904
19/03/2024 07:30 | 1884.872 | 2038.557 | 1731.187
19/03/2024 08:00 | 1742.223 | 1884.607 | 1599.838
19/03/2024 08:30 | 1622.273 | 1755.166 | 1489.38
19/03/2024 09:00 | 1506.184 | 1629.856 | 1382.512
19/03/2024 09:30 | 1401.094 | 1516.405 | 1285.783
19/03/2024 10:00 | 1332.204 | 1442.101 | 1222.307
19/03/2024 10:30 | 1301.354 | 1408.955 | 1193.752
19/03/2024 11:00 | 1302.8 | 1410.771 | 1194.83
19/03/2024 11:30 | 1318.802 | 1428.352 | 1209.252
19/03/2024 12:00 | 1338.719 | 1450.18 | 1227.258
19/03/2024 12:30 | 1379.654 | 1494.788 | 1264.521
19/03/2024 13:00 | 1444.312 | 1565.118 | 1323.506
19/03/2024 13:30 | 1544.418 | 1673.893 | 1414.943
19/03/2024 14:00 | 1658.747 | 1798.125 | 1519.37
19/03/2024 14:30 | 1810.524 | 1963.002 | 1658.046
19/03/2024 15:00 | 2001.419 | 2170.357 | 1832.48
19/03/2024 15:30 | 2201.693 | 2387.958 | 2015.428
19/03/2024 16:00 | 2387.496 | 2589.938 | 2185.054
19/03/2024 16:30 | 2570.306 | 2788.741 | 2351.871
19/03/2024 17:00 | 2710.793 | 2941.687 | 2479.899
19/03/2024 17:30 | 2784.019 | 3021.683 | 2546.354
19/03/2024 18:00 | 2803.531 | 3043.399 | 2563.663
19/03/2024 18:30 | 2770.136 | 3007.678 | 2532.595
19/03/2024 19:00 | 2688.064 | 2919.083 | 2457.045
19/03/2024 19:30 | 2606.077 | 2830.549 | 2381.604
19/03/2024 20:00 | 2516.762 | 2734.023 | 2299.5
19/03/2024 20:30 | 2423.051 | 2632.687 | 2213.414
19/03/2024 21:00 | 2322.552 | 2523.939 | 2121.166
19/03/2024 21:30 | 2225.904 | 2419.336 | 2032.471
19/03/2024 22:00 | 2138.414 | 2324.653 | 1952.174
19/03/2024 22:30 | 2063.13 | 2243.208 | 1883.051
19/03/2024 23:00 | 2005.251 | 2180.662 | 1829.84
19/03/2024 23:30 | 1953.414 | 2124.665 | 1782.163
20/03/2024 00:00 | 1910.273 | 2078.108 | 1742.438
20/03/2024 00:30 | 1878.412 | 2043.808 | 1713.016
20/03/2024 01:00 | 1855.478 | 2019.21 | 1691.745
20/03/2024 01:30 | 1837.712 | 2000.229 | 1675.196
20/03/2024 02:00 | 1825.626 | 1987.424 | 1663.828
20/03/2024 02:30 | 1819.374 | 1980.966 | 1657.782
20/03/2024 03:00 | 1818.824 | 1980.716 | 1656.932
20/03/2024 03:30 | 1827.078 | 1990.055 | 1664.101
20/03/2024 04:00 | 1855.471 | 2021.336 | 1689.606
20/03/2024 04:30 | 1912.467 | 2083.794 | 1741.141
20/03/2024 05:00 | 1992.9 | 2171.814 | 1813.986
20/03/2024 05:30 | 2080.469 | 2267.643 | 1893.294
20/03/2024 06:00 | 2146.639 | 2340.179 | 1953.1
20/03/2024 06:30 | 2141.625 | 2335.123 | 1948.128
20/03/2024 07:00 | 2061.109 | 2247.727 | 1874.491
20/03/2024 07:30 | 1925.586 | 2100.302 | 1750.87
20/03/2024 08:00 | 1786.992 | 1949.475 | 1624.508
20/03/2024 08:30 | 1661.292 | 1812.665 | 1509.919
20/03/2024 09:00 | 1552.812 | 1694.599 | 1411.026
20/03/2024 09:30 | 1466.888 | 1601.11 | 1332.667
20/03/2024 10:00 | 1438.214 | 1570.088 | 1306.341
20/03/2024 10:30 | 1471.695 | 1606.92 | 1336.469
20/03/2024 11:00 | 1544.864 | 1687.109 | 1402.62
20/03/2024 11:30 | 1641.549 | 1793.01 | 1490.087
20/03/2024 12:00 | 1710.71 | 1868.881 | 1552.539
20/03/2024 12:30 | 1749.311 | 1911.386 | 1587.236
20/03/2024 13:00 | 1825.046 | 1994.487 | 1655.604
20/03/2024 13:30 | 1982.587 | 2167.035 | 1798.139
20/03/2024 14:00 | 2147.397 | 2347.589 | 1947.204
20/03/2024 14:30 | 2315.928 | 2532.277 | 2099.58
20/03/2024 15:00 | 2486.827 | 2719.616 | 2254.037
20/03/2024 15:30 | 2609.443 | 2854.211 | 2364.676
20/03/2024 16:00 | 2725.604 | 2981.79 | 2469.418
20/03/2024 16:30 | 2840.172 | 3107.671 | 2572.673
20/03/2024 17:00 | 2914.527 | 3189.588 | 2639.467
20/03/2024 17:30 | 2947.385 | 3226.112 | 2668.659
20/03/2024 18:00 | 2943.712 | 3222.655 | 2664.768
20/03/2024 18:30 | 2913.841 | 3190.512 | 2637.169
20/03/2024 19:00 | 2844.026 | 3114.614 | 2573.439
20/03/2024 19:30 | 2757.308 | 3020.173 | 2494.442
20/03/2024 20:00 | 2661.58 | 2915.829 | 2407.33
20/03/2024 20:30 | 2556.283 | 2800.964 | 2311.602
20/03/2024 21:00 | 2447.282 | 2681.999 | 2212.566
20/03/2024 21:30 | 2342.173 | 2567.257 | 2117.088
20/03/2024 22:00 | 2246.185 | 2462.476 | 2029.895
20/03/2024 22:30 | 2162.638 | 2371.298 | 1953.978
20/03/2024 23:00 | 2096.596 | 2299.286 | 1893.906
20/03/2024 23:30 | 2038.596 | 2236.07 | 1841.123
21/03/2024 00:00 | 1989.805 | 2182.933 | 1796.676
21/03/2024 00:30 | 1953.151 | 2143.097 | 1763.206
21/03/2024 01:00 | 1925.836 | 2113.495 | 1738.178
21/03/2024 01:30 | 1904.968 | 2090.958 | 1718.978
21/03/2024 02:00 | 1890.537 | 2075.48 | 1705.594
21/03/2024 02:30 | 1881.894 | 2066.352 | 1697.435
21/03/2024 03:00 | 1878.809 | 2063.325 | 1694.293
21/03/2024 03:30 | 1883.781 | 2069.146 | 1698.416
21/03/2024 04:00 | 1908.672 | 2096.853 | 1720.491
21/03/2024 04:30 | 1962.491 | 2156.354 | 1768.628
21/03/2024 05:00 | 2033.689 | 2234.975 | 1832.404
21/03/2024 05:30 | 2110.79 | 2320.111 | 1901.468
21/03/2024 06:00 | 2182.246 | 2399.072 | 1965.42
21/03/2024 06:30 | 2194.893 | 2413.396 | 1976.39
21/03/2024 07:00 | 2122.747 | 2334.475 | 1911.019
21/03/2024 07:30 | 1972.247 | 2169.442 | 1775.051
21/03/2024 08:00 | 1828.712 | 2012.185 | 1645.238
21/03/2024 08:30 | 1708.753 | 1880.763 | 1536.742
21/03/2024 09:00 | 1602.657 | 1764.525 | 1440.789
21/03/2024 09:30 | 1533.806 | 1689.234 | 1378.378
21/03/2024 10:00 | 1492.4 | 1644.132 | 1340.667
21/03/2024 10:30 | 1460.62 | 1609.612 | 1311.629
21/03/2024 11:00 | 1477.783 | 1629.021 | 1326.546
21/03/2024 11:30 | 1522.919 | 1679.287 | 1366.551
21/03/2024 12:00 | 1573.849 | 1735.974 | 1411.725
21/03/2024 12:30 | 1650.117 | 1820.652 | 1479.583
21/03/2024 13:00 | 1728.901 | 1908.158 | 1549.645
21/03/2024 13:30 | 1854.958 | 2047.906 | 1662.01
21/03/2024 14:00 | 1999.938 | 2208.637 | 1791.239
21/03/2024 14:30 | 2182.912 | 2411.436 | 1954.387
21/03/2024 15:00 | 2382.662 | 2632.896 | 2132.427
21/03/2024 15:30 | 2557.535 | 2826.993 | 2288.076
21/03/2024 16:00 | 2713.044 | 2999.796 | 2426.292
21/03/2024 16:30 | 2859.492 | 3162.682 | 2556.303
21/03/2024 17:00 | 2967.068 | 3282.658 | 2651.477
21/03/2024 17:30 | 3021.533 | 3343.93 | 2699.136
21/03/2024 18:00 | 3024.084 | 3347.767 | 2700.401
21/03/2024 18:30 | 2979.199 | 3299.077 | 2659.321
21/03/2024 19:00 | 2883.628 | 3194.211 | 2573.045
21/03/2024 19:30 | 2798.636 | 3101.003 | 2496.269
21/03/2024 20:00 | 2700.783 | 2993.483 | 2408.082
21/03/2024 20:30 | 2589.043 | 2870.502 | 2307.584
21/03/2024 21:00 | 2475.404 | 2745.339 | 2205.469
21/03/2024 21:30 | 2371.543 | 2630.947 | 2112.138
21/03/2024 22:00 | 2274.963 | 2524.566 | 2025.36
21/03/2024 22:30 | 2188.534 | 2429.389 | 1947.68
21/03/2024 23:00 | 2118.95 | 2352.856 | 1885.043
21/03/2024 23:30 | 2057.136 | 2284.909 | 1829.363
22/03/2024 00:00 | 2003.939 | 2226.494 | 1781.384
22/03/2024 00:30 | 1963.771 | 2182.523 | 1745.019
22/03/2024 01:00 | 1933.036 | 2149.012 | 1717.059
22/03/2024 01:30 | 1909.113 | 2123.057 | 1695.169
22/03/2024 02:00 | 1892.845 | 2105.601 | 1680.09
22/03/2024 02:30 | 1883.161 | 2095.459 | 1670.862
22/03/2024 03:00 | 1877.545 | 2089.84 | 1665.25
22/03/2024 03:30 | 1880.716 | 2094 | 1667.432
22/03/2024 04:00 | 1905.263 | 2121.97 | 1688.557
22/03/2024 04:30 | 1956.285 | 2179.451 | 1733.119
22/03/2024 05:00 | 2027.253 | 2259.194 | 1795.312
22/03/2024 05:30 | 2107.671 | 2349.52 | 1865.823
22/03/2024 06:00 | 2170.039 | 2419.772 | 1920.306
22/03/2024 06:30 | 2164.366 | 2414.171 | 1914.56
22/03/2024 07:00 | 2081.1 | 2321.992 | 1840.207
22/03/2024 07:30 | 1945.196 | 2171.01 | 1719.382