## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
17/03/2024 08:00 | 1582.32 | 1616.188 | 1562.709
17/03/2024 08:30 | 1479.04 | 1509.576 | 1448.503 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
17/03/2024 09:00 | 1417.018 | 1451.692 | 1382.345 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
17/03/2024 09:30 | 1335.159 | 1372.934 | 1297.384 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
17/03/2024 10:00 | 1281.459 | 1322.614 | 1240.305 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
17/03/2024 10:30 | 1229.282 | 1272.243 | 1186.321 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
17/03/2024 11:00 | 1182.015 | 1224.356 | 1139.674 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
17/03/2024 11:30 | 1177.419 | 1220.821 | 1134.017 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
17/03/2024 12:00 | 1177.807 | 1222.451 | 1133.164 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
17/03/2024 12:30 | 1209.543 | 1255.523 | 1161.396 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
17/03/2024 13:00 | 1258.424 | 1307.79 | 1207.223 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
17/03/2024 13:30 | 1333.053 | 1387.138 | 1277.8
17/03/2024 14:00 | 1432.403 | 1491.985 | 1371.518 | Summary view - for each schedule horizon (dispatch, week-ahead)
17/03/2024 14:30 | 1571.198 | 1638.192 | 1502.781
17/03/2024 15:00 | 1728.873 | 1804.741 | 1652.111 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
17/03/2024 15:30 | 1904.836 | 1990.141 | 1818.033 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
17/03/2024 16:00 | 2100.798 | 2197.011 | 2002.828 | Scenario | Violations
17/03/2024 16:30 | 2286.104 | 2393.102 | 2177.038 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
17/03/2024 17:00 | 2432.169 | 2547.741 | 2312.881 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
17/03/2024 17:30 | 2525.602 | 2650.266 | 2400.938 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 22 | 0 | 0 | 0 | 0 | 0
17/03/2024 18:00 | 2557.31 | 2686.203 | 2428.417 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 0
17/03/2024 18:30 | 2539.189 | 2669.11 | 2409.269 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0
17/03/2024 19:00 | 2471.917 | 2598.93 | 2344.905
17/03/2024 19:30 | 2404.006 | 2528.162 | 2279.849 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
17/03/2024 20:00 | 2334.802 | 2455.999 | 2213.605
17/03/2024 20:30 | 2265.281 | 2383.466 | 2147.096 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
17/03/2024 21:00 | 2187.54 | 2302.244 | 2072.835 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
17/03/2024 21:30 | 2110.916 | 2222.159 | 1999.673 | [7 empty] | 17/03/2024 08:00 | [11 empty] | 17/03/2024 11:00 | [11 empty] | 17/03/2024 08:00
17/03/2024 22:00 | 2041.058 | 2149.157 | 1932.96 | [7 empty] | 17/03/2024 10:30 | [11 empty] | 17/03/2024 11:30 | [11 empty] | 17/03/2024 10:30
17/03/2024 22:30 | 1978.569 | 2083.878 | 1873.259 | [7 empty] | 17/03/2024 11:00 | [11 empty] | 17/03/2024 12:00 | [11 empty] | 17/03/2024 11:00
17/03/2024 23:00 | 1929.148 | 2032.335 | 1825.96 | [7 empty] | 17/03/2024 11:30 | [11 empty] | 17/03/2024 12:30 | [11 empty] | 17/03/2024 11:30
17/03/2024 23:30 | 1882.584 | 1979.463 | 1785.706 | [7 empty] | 17/03/2024 12:00 | [11 empty] | 17/03/2024 13:00 | [11 empty] | 17/03/2024 12:00
18/03/2024 00:00 | 1842.732 | 1929.766 | 1755.698 | [7 empty] | 17/03/2024 12:30 | [11 empty] | 19/03/2024 08:00 | [11 empty] | 17/03/2024 12:30
18/03/2024 00:30 | 1812.781 | 1899.832 | 1725.729 | [7 empty] | 17/03/2024 13:00 | [11 empty] | 19/03/2024 08:30 | [11 empty] | 17/03/2024 13:00
18/03/2024 01:00 | 1791.964 | 1878.717 | 1705.21 | [7 empty] | 17/03/2024 13:30 | [11 empty] | 19/03/2024 09:00 | [11 empty] | 17/03/2024 13:30
18/03/2024 01:30 | 1780.074 | 1866.949 | 1693.199 | [7 empty] | 19/03/2024 08:30 | [11 empty] | 19/03/2024 09:30 | [11 empty] | 17/03/2024 14:00
18/03/2024 02:00 | 1772.227 | 1859.412 | 1685.041 | [7 empty] | 19/03/2024 09:00 | [11 empty] | 19/03/2024 10:00 | [11 empty] | 17/03/2024 14:30
18/03/2024 02:30 | 1768.684 | 1856.387 | 1680.98 | [7 empty] | 19/03/2024 09:30 | [11 empty] | 19/03/2024 10:30 | [11 empty] | 19/03/2024 11:30
18/03/2024 03:00 | 1769.268 | 1857.693 | 1680.844 | [7 empty] | 19/03/2024 10:00 | [11 empty] | 19/03/2024 11:00 | [11 empty] | 19/03/2024 13:00
18/03/2024 03:30 | 1779.692 | 1869.334 | 1690.049 | [7 empty] | 19/03/2024 10:30 | [11 empty] | 19/03/2024 11:30 | [11 empty] | 19/03/2024 13:30
18/03/2024 04:00 | 1810.418 | 1902.316 | 1718.519 | [7 empty] | 19/03/2024 11:00 | [11 empty] | 19/03/2024 13:00 | [11 empty] | 19/03/2024 14:00
18/03/2024 04:30 | 1870.408 | 1966.084 | 1774.732 | [7 empty] | 19/03/2024 11:30 | [11 empty] | 19/03/2024 13:30 | [11 empty] | 19/03/2024 14:30
18/03/2024 05:00 | 1946.863 | 2047.211 | 1846.514 | [7 empty] | 19/03/2024 13:00 | [11 empty] | 19/03/2024 14:00
18/03/2024 05:30 | 2025.476 | 2130.67 | 1920.283 | [7 empty] | 19/03/2024 13:30 | [11 empty] | 22/03/2024 14:00
18/03/2024 06:00 | 2087.722 | 2196.965 | 1978.478 | [7 empty] | 19/03/2024 14:00
18/03/2024 06:30 | 2080.828 | 2190.357 | 1971.298 | [7 empty] | 19/03/2024 14:30
18/03/2024 07:00 | 2005.316 | 2111.174 | 1899.458 | [7 empty] | 22/03/2024 13:30
18/03/2024 07:30 | 1870.676 | 1969.735 | 1771.616 | [7 empty] | 22/03/2024 14:00
18/03/2024 08:00 | 1737.214 | 1829.493 | 1644.935 | [7 empty] | 22/03/2024 14:30
18/03/2024 08:30 | 1619.455 | 1705.746 | 1533.164
18/03/2024 09:00 | 1501.936 | 1582.213 | 1421.659
18/03/2024 09:30 | 1397.907 | 1472.855 | 1322.959
18/03/2024 10:00 | 1347.823 | 1420.308 | 1275.338
18/03/2024 10:30 | 1332.808 | 1404.706 | 1260.91
18/03/2024 11:00 | 1337.125 | 1409.476 | 1264.773
18/03/2024 11:30 | 1350.411 | 1423.704 | 1277.118
18/03/2024 12:00 | 1377.033 | 1451.999 | 1302.068
18/03/2024 12:30 | 1433.769 | 1512.059 | 1355.478
18/03/2024 13:00 | 1494.082 | 1575.913 | 1412.251
18/03/2024 13:30 | 1587.034 | 1674.218 | 1499.85
18/03/2024 14:00 | 1691.578 | 1784.784 | 1598.371
18/03/2024 14:30 | 1834.685 | 1936.08 | 1733.291
18/03/2024 15:00 | 2016.096 | 2127.849 | 1904.343
18/03/2024 15:30 | 2200.833 | 2323.19 | 2078.477
18/03/2024 16:00 | 2373.932 | 2506.304 | 2241.56
18/03/2024 16:30 | 2539.022 | 2681.019 | 2397.025
18/03/2024 17:00 | 2670.216 | 2819.991 | 2520.441
18/03/2024 17:30 | 2739.377 | 2893.484 | 2585.271
18/03/2024 18:00 | 2751.919 | 2907.185 | 2596.652
18/03/2024 18:30 | 2716.062 | 2869.753 | 2562.37
18/03/2024 19:00 | 2628.185 | 2777.338 | 2479.032
18/03/2024 19:30 | 2543.048 | 2687.79 | 2398.307
18/03/2024 20:00 | 2452.809 | 2592.819 | 2312.799
18/03/2024 20:30 | 2361.282 | 2496.457 | 2226.106
18/03/2024 21:00 | 2265.184 | 2395.232 | 2135.135
18/03/2024 21:30 | 2174.45 | 2300.255 | 2049.252
18/03/2024 22:00 | 2093.667 | 2215.096 | 1972.775
18/03/2024 22:30 | 2023.299 | 2140.908 | 1906.136
18/03/2024 23:00 | 1967.791 | 2082.405 | 1853.517
18/03/2024 23:30 | 1915.469 | 2027.258 | 1803.917
19/03/2024 00:00 | 1868.544 | 1977.812 | 1759.417
19/03/2024 00:30 | 1834.609 | 1942.143 | 1727.16
19/03/2024 01:00 | 1812.666 | 1919.18 | 1706.204
19/03/2024 01:30 | 1795.985 | 1901.815 | 1690.205
19/03/2024 02:00 | 1784.498 | 1889.945 | 1679.101
19/03/2024 02:30 | 1779.173 | 1884.598 | 1673.796
19/03/2024 03:00 | 1778.327 | 1883.995 | 1672.707
19/03/2024 03:30 | 1785.096 | 1891.461 | 1678.78
19/03/2024 04:00 | 1811.832 | 1920.087 | 1703.624
19/03/2024 04:30 | 1867.598 | 1979.491 | 1755.791
19/03/2024 05:00 | 1939.333 | 2055.843 | 1822.91
19/03/2024 05:30 | 2014.683 | 2136.053 | 1893.405
19/03/2024 06:00 | 2072.338 | 2197.524 | 1947.248
19/03/2024 06:30 | 2054.45 | 2178.938 | 1930.065
19/03/2024 07:00 | 1964.755 | 2084.245 | 1845.366
19/03/2024 07:30 | 1801.692 | 1911.639 | 1691.801
19/03/2024 08:00 | 1627.092 | 1726.711 | 1527.469
19/03/2024 08:30 | 1488.577 | 1580.042 | 1397.111
19/03/2024 09:00 | 1356.429 | 1440.071 | 1272.787
19/03/2024 09:30 | 1242.118 | 1318.983 | 1165.253
19/03/2024 10:00 | 1165.612 | 1237.997 | 1093.227
19/03/2024 10:30 | 1128.162 | 1198.467 | 1057.856
19/03/2024 11:00 | 1124.537 | 1194.862 | 1054.211
19/03/2024 11:30 | 1135.612 | 1206.878 | 1064.345
19/03/2024 12:00 | 1151.91 | 1224.45 | 1079.369
19/03/2024 12:30 | 1192.402 | 1267.753 | 1117.051
19/03/2024 13:00 | 1258.094 | 1337.872 | 1178.317
19/03/2024 13:30 | 1359.662 | 1446.177 | 1273.147
19/03/2024 14:00 | 1480.742 | 1575.285 | 1386.199
19/03/2024 14:30 | 1632.214 | 1736.785 | 1527.644
19/03/2024 15:00 | 1826.318 | 1943.723 | 1708.913
19/03/2024 15:30 | 2032.827 | 2163.952 | 1901.702
19/03/2024 16:00 | 2225.301 | 2369.327 | 2081.275
19/03/2024 16:30 | 2419.046 | 2576.141 | 2261.952
19/03/2024 17:00 | 2576.807 | 2744.709 | 2408.904
19/03/2024 17:30 | 2665.79 | 2840.073 | 2491.507
19/03/2024 18:00 | 2695.745 | 2872.575 | 2518.915
19/03/2024 18:30 | 2672.12 | 2847.985 | 2496.256
19/03/2024 19:00 | 2600.275 | 2771.979 | 2428.571
19/03/2024 19:30 | 2523.412 | 2690.592 | 2356.232
19/03/2024 20:00 | 2439.373 | 2601.518 | 2277.228
19/03/2024 20:30 | 2350.823 | 2507.596 | 2194.05
19/03/2024 21:00 | 2255.687 | 2406.608 | 2104.766
19/03/2024 21:30 | 2164.456 | 2309.746 | 2019.166
19/03/2024 22:00 | 2082.639 | 2222.892 | 1942.386
19/03/2024 22:30 | 2008.369 | 2144.06 | 1872.679
19/03/2024 23:00 | 1946.33 | 2078.254 | 1814.406
19/03/2024 23:30 | 1886.387 | 2014.661 | 1758.114
20/03/2024 00:00 | 1833.19 | 1958.246 | 1708.133
20/03/2024 00:30 | 1797.048 | 1920.031 | 1674.064
20/03/2024 01:00 | 1774.142 | 1895.946 | 1652.339
20/03/2024 01:30 | 1758.475 | 1879.587 | 1637.363
20/03/2024 02:00 | 1746.852 | 1867.545 | 1626.159
20/03/2024 02:30 | 1743.394 | 1864.229 | 1622.559
20/03/2024 03:00 | 1745.177 | 1866.517 | 1623.836
20/03/2024 03:30 | 1754.697 | 1877.083 | 1632.312
20/03/2024 04:00 | 1784.487 | 1909.34 | 1659.634
20/03/2024 04:30 | 1845.68 | 1975.218 | 1716.142
20/03/2024 05:00 | 1920.807 | 2056.037 | 1785.577
20/03/2024 05:30 | 1995.228 | 2136.133 | 1854.322
20/03/2024 06:00 | 2049.265 | 2194.434 | 1904.095
20/03/2024 06:30 | 2023.532 | 2167.32 | 1879.743
20/03/2024 07:00 | 1921.97 | 2058.962 | 1784.979
20/03/2024 07:30 | 1758.494 | 1884.218 | 1632.77
20/03/2024 08:00 | 1591.88 | 1706.039 | 1477.72
20/03/2024 08:30 | 1443.756 | 1547.609 | 1339.904
20/03/2024 09:00 | 1307.099 | 1401.407 | 1212.791
20/03/2024 09:30 | 1198.069 | 1284.772 | 1111.366
20/03/2024 10:00 | 1129.447 | 1211.431 | 1047.463
20/03/2024 10:30 | 1099.17 | 1178.716 | 1019.144
20/03/2024 11:00 | 1121.338 | 1202.734 | 1039.453
20/03/2024 11:30 | 1148.172 | 1231.765 | 1064.076
20/03/2024 12:00 | 1187.47 | 1274.184 | 1100.237
20/03/2024 12:30 | 1250.791 | 1342.402 | 1158.632
20/03/2024 13:00 | 1334.352 | 1432.375 | 1235.745
20/03/2024 13:30 | 1470.792 | 1579.16 | 1361.781
20/03/2024 14:00 | 1609.008 | 1727.911 | 1489.401
20/03/2024 14:30 | 1780.252 | 1912.198 | 1647.527
20/03/2024 15:00 | 1995.65 | 2143.998 | 1846.431
20/03/2024 15:30 | 2207.395 | 2371.965 | 2041.86
20/03/2024 16:00 | 2400.655 | 2580.158 | 2220.103
20/03/2024 16:30 | 2589.193 | 2783.359 | 2393.896
20/03/2024 17:00 | 2733.619 | 2939.213 | 2526.831
20/03/2024 17:30 | 2809.641 | 3021.567 | 2596.488
20/03/2024 18:00 | 2834.56 | 3048.984 | 2618.897
20/03/2024 18:30 | 2807.953 | 3020.978 | 2593.701
20/03/2024 19:00 | 2726.698 | 2934.154 | 2518.05
20/03/2024 19:30 | 2647.754 | 2849.783 | 2444.569
20/03/2024 20:00 | 2559.285 | 2755.123 | 2362.33
20/03/2024 20:30 | 2463.238 | 2652.264 | 2273.136
20/03/2024 21:00 | 2362.959 | 2544.806 | 2180.08
20/03/2024 21:30 | 2266.344 | 2441.251 | 2090.447
20/03/2024 22:00 | 2176.812 | 2345.285 | 2007.389
20/03/2024 22:30 | 2097.349 | 2260.13 | 1933.652
20/03/2024 23:00 | 2034.783 | 2193.152 | 1875.524
20/03/2024 23:30 | 1977.826 | 2132.195 | 1822.593
21/03/2024 00:00 | 1930.09 | 2081.155 | 1778.182
21/03/2024 00:30 | 1895.271 | 2044.025 | 1745.689
21/03/2024 01:00 | 1869.943 | 2017.118 | 1721.952
21/03/2024 01:30 | 1851.769 | 1997.917 | 1704.811
21/03/2024 02:00 | 1839.437 | 1985.014 | 1693.057
21/03/2024 02:30 | 1832.672 | 1978.114 | 1686.429
21/03/2024 03:00 | 1831.476 | 1977.224 | 1684.929
21/03/2024 03:30 | 1838.039 | 1984.71 | 1690.565
21/03/2024 04:00 | 1864.394 | 2013.576 | 1714.398
21/03/2024 04:30 | 1920.215 | 2074.283 | 1765.308
21/03/2024 05:00 | 1993.442 | 2153.82 | 1832.192
21/03/2024 05:30 | 2070.927 | 2237.992 | 1902.957
21/03/2024 06:00 | 2134.913 | 2307.606 | 1961.287
21/03/2024 06:30 | 2122.752 | 2294.925 | 1950.579
21/03/2024 07:00 | 2029.793 | 2194.87 | 1864.716
21/03/2024 07:30 | 1882.675 | 2036.18 | 1729.169
21/03/2024 08:00 | 1731.776 | 1873.307 | 1590.245
21/03/2024 08:30 | 1594.732 | 1725.369 | 1464.096
21/03/2024 09:00 | 1474.401 | 1595.463 | 1353.339
21/03/2024 09:30 | 1388.555 | 1502.834 | 1274.276
21/03/2024 10:00 | 1346.119 | 1457.164 | 1235.074
21/03/2024 10:30 | 1338.469 | 1449.14 | 1227.799
21/03/2024 11:00 | 1367.866 | 1481.229 | 1254.503
21/03/2024 11:30 | 1413.939 | 1531.392 | 1296.487
21/03/2024 12:00 | 1463.468 | 1585.315 | 1341.62
21/03/2024 12:30 | 1532.542 | 1660.434 | 1404.65
21/03/2024 13:00 | 1610.382 | 1745.079 | 1475.686
21/03/2024 13:30 | 1738.798 | 1884.569 | 1593.027
21/03/2024 14:00 | 1876.424 | 2034.092 | 1718.756
21/03/2024 14:30 | 2044.645 | 2216.84 | 1872.45
21/03/2024 15:00 | 2241.848 | 2431.08 | 2052.615
21/03/2024 15:30 | 2433.248 | 2639.103 | 2227.393
21/03/2024 16:00 | 2605.448 | 2826.371 | 2384.526
21/03/2024 16:30 | 2769.643 | 3005.018 | 2534.267
21/03/2024 17:00 | 2891.744 | 3138.051 | 2645.437
21/03/2024 17:30 | 2955.401 | 3207.697 | 2703.106
21/03/2024 18:00 | 2966.23 | 3220.019 | 2712.442
21/03/2024 18:30 | 2926.6 | 3177.559 | 2675.641
21/03/2024 19:00 | 2833.799 | 3077.343 | 2590.255
21/03/2024 19:30 | 2753.292 | 2990.445 | 2516.14
21/03/2024 20:00 | 2659.899 | 2889.517 | 2430.281
21/03/2024 20:30 | 2552.441 | 2773.272 | 2331.61
21/03/2024 21:00 | 2442.885 | 2654.706 | 2231.065
21/03/2024 21:30 | 2343.598 | 2547.259 | 2139.938
21/03/2024 22:00 | 2250.351 | 2446.339 | 2054.362
21/03/2024 22:30 | 2166.367 | 2355.457 | 1977.278
21/03/2024 23:00 | 2099.734 | 2283.41 | 1916.058
21/03/2024 23:30 | 2041.363 | 2220.324 | 1862.401
22/03/2024 00:00 | 1991.879 | 2166.884 | 1816.874
22/03/2024 00:30 | 1954.285 | 2126.361 | 1782.208
22/03/2024 01:00 | 1925.507 | 2095.418 | 1755.595
22/03/2024 01:30 | 1902.826 | 2071.101 | 1734.552
22/03/2024 02:00 | 1887.378 | 2054.649 | 1720.108
22/03/2024 02:30 | 1878.352 | 2045.182 | 1711.521
22/03/2024 03:00 | 1873.496 | 2040.254 | 1706.737
22/03/2024 03:30 | 1877.396 | 2044.862 | 1709.931
22/03/2024 04:00 | 1902.63 | 2072.711 | 1732.549
22/03/2024 04:30 | 1954.353 | 2129.432 | 1779.274
22/03/2024 05:00 | 2025.934 | 2207.814 | 1844.054
22/03/2024 05:30 | 2106.878 | 2296.428 | 1917.327
22/03/2024 06:00 | 2172.441 | 2368.306 | 1976.575
22/03/2024 06:30 | 2171.481 | 2367.677 | 1975.286
22/03/2024 07:00 | 2091.282 | 2280.632 | 1901.932
22/03/2024 07:30 | 1958.104 | 2135.771 | 1780.438
22/03/2024 08:00 | 1828.955 | 1995.255 | 1662.656
22/03/2024 08:30 | 1707.18 | 1862.734 | 1551.626
22/03/2024 09:00 | 1588.973 | 1734.06 | 1443.885
22/03/2024 09:30 | 1494.636 | 1631.396 | 1357.875
22/03/2024 10:00 | 1441.557 | 1573.736 | 1309.377
22/03/2024 10:30 | 1425.423 | 1556.396 | 1294.449
22/03/2024 11:00 | 1447.88 | 1581.194 | 1314.565
22/03/2024 11:30 | 1480.387 | 1616.978 | 1343.795
22/03/2024 12:00 | 1520.179 | 1660.733 | 1379.625
22/03/2024 12:30 | 1581.429 | 1727.949 | 1434.908
22/03/2024 13:00 | 1651.816 | 1805.175 | 1498.458
22/03/2024 13:30 | 1764.797 | 1928.983 | 1600.61
22/03/2024 14:00 | 1881.203 | 2056.579 | 1705.826
22/03/2024 14:30 | 2034.567 | 2224.631 | 1844.503
22/03/2024 15:00 | 2216.323 | 2423.792 | 2008.855
22/03/2024 15:30 | 2407.416 | 2633.234 | 2181.599
22/03/2024 16:00 | 2578.745 | 2821.127 | 2336.362
22/03/2024 16:30 | 2724.07 | 2980.634 | 2467.506
22/03/2024 17:00 | 2817.531 | 3083.437 | 2551.624
22/03/2024 17:30 | 2850.792 | 3120.384 | 2581.199
22/03/2024 18:00 | 2849.355 | 3119.357 | 2579.353
22/03/2024 18:30 | 2803.863 | 3070.092 | 2537.634
22/03/2024 19:00 | 2711.497 | 2969.475 | 2453.519
22/03/2024 19:30 | 2635.729 | 2887.004 | 2384.455
22/03/2024 20:00 | 2557.334 | 2801.625 | 2313.043
22/03/2024 20:30 | 2472.502 | 2709.164 | 2235.841
22/03/2024 21:00 | 2385.213 | 2613.977 | 2156.45
22/03/2024 21:30 | 2301.772 | 2522.974 | 2080.57
22/03/2024 22:00 | 2222.087 | 2436.057 | 2008.117
22/03/2024 22:30 | 2143.5 | 2350.313 | 1936.686
22/03/2024 23:00 | 2071.454 | 2271.713 | 1871.194
22/03/2024 23:30 | 2003.18 | 2194.786 | 1811.574
23/03/2024 00:00 | 1941.163 | 2122.434 | 1759.892
23/03/2024 00:30 | 1895.424 | 2072.898 | 1717.95
23/03/2024 01:00 | 1860.678 | 2034.993 | 1686.362
23/03/2024 01:30 | 1836.131 | 2008.241 | 1664.022
23/03/2024 02:00 | 1820.464 | 1991.198 | 1649.73
23/03/2024 02:30 | 1805.785 | 1975.234 | 1636.336
23/03/2024 03:00 | 1794.37 | 1962.839 | 1625.9
23/03/2024 03:30 | 1789.091 | 1957.156 | 1621.026
23/03/2024 04:00 | 1792.719 | 1961.216 | 1624.221
23/03/2024 04:30 | 1803.318 | 1972.903 | 1633.732
23/03/2024 05:00 | 1828.888 | 2000.971 | 1656.805
23/03/2024 05:30 | 1864.583 | 2040.121 | 1689.046
23/03/2024 06:00 | 1872.425 | 2048.796 | 1696.054
23/03/2024 06:30 | 1822.485 | 1994.245 | 1650.725
23/03/2024 07:00 | 1713.763 | 1875.364 | 1552.162
23/03/2024 07:30 | 1584.142 | 1733.825 | 1434.46
23/03/2024 08:00 | 1459.101 | 1597.657 | 1320.546
23/03/2024 08:30 | 1332.659 | 1459.804 | 1205.515
23/03/2024 09:00 | 1214.692 | 1331.125 | 1098.258
23/03/2024 09:30 | 1123.223 | 1231.391 | 1015.054
23/03/2024 10:00 | 1069.596 | 1173.079 | 966.1136
23/03/2024 10:30 | 1040.887 | 1142.057 | 939.7159
23/03/2024 11:00 | 1065.475 | 1169.513 | 961.4377
23/03/2024 11:30 | 1092.241 | 1199.381 | 985.1013
23/03/2024 12:00 | 1130.194 | 1241.562 | 1018.826
23/03/2024 12:30 | 1190.73 | 1308.597 | 1072.864
23/03/2024 13:00 | 1250.735 | 1375.101 | 1126.37
23/03/2024 13:30 | 1356.73 | 1492.242 | 1221.218
23/03/2024 14:00 | 1481.324 | 1629.944 | 1332.704
23/03/2024 14:30 | 1654.889 | 1821.662 | 1488.115
23/03/2024 15:00 | 1834.78 | 2020.504 | 1649.056
23/03/2024 15:30 | 2026.125 | 2232.124 | 1820.126
23/03/2024 16:00 | 2222.898 | 2449.898 | 1995.899
23/03/2024 16:30 | 2408.968 | 2656.047 | 2161.889
23/03/2024 17:00 | 2532.328 | 2793.193 | 2271.463
23/03/2024 17:30 | 2605.49 | 2875.058 | 2335.923
23/03/2024 18:00 | 2626.009 | 2898.874 | 2353.143
23/03/2024 18:30 | 2591.202 | 2861.61 | 2320.794
23/03/2024 19:00 | 2507.521 | 2770.318 | 2244.723
23/03/2024 19:30 | 2440.784 | 2697.68 | 2183.889
23/03/2024 20:00 | 2377.177 | 2628.441 | 2125.913
23/03/2024 20:30 | 2317.474 | 2563.465 | 2071.483
23/03/2024 21:00 | 2256.049 | 2496.529 | 2015.569
23/03/2024 21:30 | 2188.689 | 2422.969 | 1954.41
23/03/2024 22:00 | 2122.626 | 2350.784 | 1894.468
23/03/2024 22:30 | 2057.487 | 2279.563 | 1835.41
23/03/2024 23:00 | 1997.752 | 2214.275 | 1781.229
23/03/2024 23:30 | 1941.592 | 2152.897 | 1730.287
24/03/2024 00:00 | 1889.855 | 2096.375 | 1683.335
24/03/2024 00:30 | 1850.637 | 2053.7 | 1647.574
24/03/2024 01:00 | 1821.224 | 2021.874 | 1620.574
24/03/2024 01:30 | 1799.719 | 1998.806 | 1600.633
24/03/2024 02:00 | 1785.626 | 1983.952 | 1587.3
24/03/2024 02:30 | 1773.575 | 1971.356 | 1575.793
24/03/2024 03:00 | 1764.057 | 1961.566 | 1566.547
24/03/2024 03:30 | 1756.527 | 1953.979 | 1559.075
24/03/2024 04:00 | 1752.989 | 1950.828 | 1555.15
24/03/2024 04:30 | 1753.453 | 1952.129 | 1554.777
24/03/2024 05:00 | 1760.451 | 1960.708 | 1560.195
24/03/2024 05:30 | 1770.156 | 1972.308 | 1568.003
24/03/2024 06:00 | 1757.065 | 1958.509 | 1555.622
24/03/2024 06:30 | 1691.121 | 1885.761 | 1496.481
24/03/2024 07:00 | 1572.173 | 1753.827 | 1390.52
24/03/2024 07:30 | 1441.933 | 1609.183 | 1274.683