## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
24/03/2024 08:00 | 1397.89 | 1426.575 | 1379.37
24/03/2024 08:30 | 1277.445 | 1303.819 | 1251.071 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
24/03/2024 09:00 | 1214.84 | 1244.566 | 1185.114 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
24/03/2024 09:30 | 1139.666 | 1171.909 | 1107.422 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
24/03/2024 10:00 | 1084.105 | 1118.921 | 1049.289 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
24/03/2024 10:30 | 1022.529 | 1058.265 | 986.7936 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
24/03/2024 11:00 | 962.8408 | 997.3306 | 928.3511 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
24/03/2024 11:30 | 943.3427 | 978.1166 | 908.5689 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
24/03/2024 12:00 | 935.6367 | 971.1009 | 900.1725 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
24/03/2024 12:30 | 975.1233 | 1013.1 | 937.1468 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
24/03/2024 13:00 | 1036.467 | 1077.912 | 995.0219 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
24/03/2024 13:30 | 1133.926 | 1180.449 | 1087.403
24/03/2024 14:00 | 1258.552 | 1311.499 | 1205.605 | Summary view - for each schedule horizon (dispatch, week-ahead)
24/03/2024 14:30 | 1414.161 | 1475.074 | 1353.146
24/03/2024 15:00 | 1589.574 | 1660.267 | 1519.856 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
24/03/2024 15:30 | 1786.344 | 1866.61 | 1705.186 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
24/03/2024 16:00 | 2002.85 | 2094.72 | 1909.578 | Scenario | Violations
24/03/2024 16:30 | 2204.36 | 2308.11 | 2099.72 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
24/03/2024 17:00 | 2360.228 | 2472.751 | 2244.805 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
24/03/2024 17:30 | 2460.847 | 2580.588 | 2337.814 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 0
24/03/2024 18:00 | 2492.052 | 2616.328 | 2365.248 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 1
24/03/2024 18:30 | 2469.232 | 2594.522 | 2341.942 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 1
24/03/2024 19:00 | 2398.208 | 2520.954 | 2274.55
24/03/2024 19:30 | 2333.612 | 2454.056 | 2213.022 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
24/03/2024 20:00 | 2267.315 | 2385.215 | 2149.807
24/03/2024 20:30 | 2197.885 | 2312.808 | 2083.446 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
24/03/2024 21:00 | 2122.215 | 2233.773 | 2011.187 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
24/03/2024 21:30 | 2050.358 | 2158.525 | 1942.411 | [7 empty] | 24/03/2024 10:30 | [11 empty] | 24/03/2024 10:30 |  |  |  |  | 26/03/2024 11:00 | [6 empty] | 24/03/2024 10:00 |  |  |  |  | 26/03/2024 13:00
24/03/2024 22:00 | 1986.051 | 2091.16 | 1880.797 | [7 empty] | 24/03/2024 11:00 | [11 empty] | 24/03/2024 11:00 | [11 empty] | 24/03/2024 10:30
24/03/2024 22:30 | 1928.895 | 2031.512 | 1826.185 | [7 empty] | 24/03/2024 11:30 | [11 empty] | 24/03/2024 11:30 | [11 empty] | 24/03/2024 11:00
24/03/2024 23:00 | 1887.413 | 1988.368 | 1786.458 | [7 empty] | 24/03/2024 12:00 | [11 empty] | 24/03/2024 12:00 | [11 empty] | 24/03/2024 11:30
24/03/2024 23:30 | 1849.024 | 1944.176 | 1753.873 | [7 empty] | 24/03/2024 12:30 | [11 empty] | 24/03/2024 12:30 | [11 empty] | 24/03/2024 12:00
25/03/2024 00:00 | 1816.103 | 1901.879 | 1730.327 | [7 empty] | 24/03/2024 13:00 | [11 empty] | 24/03/2024 13:00 | [11 empty] | 24/03/2024 12:30
25/03/2024 00:30 | 1791.476 | 1877.505 | 1705.447 | [7 empty] | 29/03/2024 11:30 | [11 empty] | 29/03/2024 11:00 | [11 empty] | 24/03/2024 13:00
25/03/2024 01:00 | 1775.086 | 1861.023 | 1689.15 | [7 empty] | 29/03/2024 12:00 | [11 empty] | 29/03/2024 11:30
25/03/2024 01:30 | 1764.507 | 1850.622 | 1678.392 | [7 empty] | 30/03/2024 12:00 | [11 empty] | 30/03/2024 11:30
25/03/2024 02:00 | 1759.013 | 1845.549 | 1672.478 | [7 empty] | 30/03/2024 12:30 | [11 empty] | 30/03/2024 12:00
25/03/2024 02:30 | 1757.567 | 1844.719 | 1670.415 | [7 empty] | 30/03/2024 13:00 | [11 empty] | 30/03/2024 12:30
25/03/2024 03:00 | 1759.149 | 1847.068 | 1671.23 | [19 empty] | 30/03/2024 13:00
25/03/2024 03:30 | 1771.552 | 1860.784 | 1682.319
25/03/2024 04:00 | 1803.806 | 1895.369 | 1712.243
25/03/2024 04:30 | 1864.499 | 1959.872 | 1769.125
25/03/2024 05:00 | 1943.151 | 2043.309 | 1842.994
25/03/2024 05:30 | 2026.784 | 2132.046 | 1921.523
25/03/2024 06:00 | 2097.049 | 2206.781 | 1987.318
25/03/2024 06:30 | 2098.51 | 2208.97 | 1988.049
25/03/2024 07:00 | 2021.957 | 2128.694 | 1915.221
25/03/2024 07:30 | 1883.702 | 1983.451 | 1783.952
25/03/2024 08:00 | 1746.062 | 1838.812 | 1653.313
25/03/2024 08:30 | 1625.884 | 1712.517 | 1539.25
25/03/2024 09:00 | 1504.642 | 1585.064 | 1424.22
25/03/2024 09:30 | 1396.195 | 1471.051 | 1321.339
25/03/2024 10:00 | 1336.12 | 1407.976 | 1264.265
25/03/2024 10:30 | 1306.456 | 1376.932 | 1235.98
25/03/2024 11:00 | 1302.111 | 1372.568 | 1231.654
25/03/2024 11:30 | 1316.628 | 1388.087 | 1245.168
25/03/2024 12:00 | 1339.909 | 1412.854 | 1266.965
25/03/2024 12:30 | 1383.924 | 1459.493 | 1308.355
25/03/2024 13:00 | 1433.846 | 1512.378 | 1355.314
25/03/2024 13:30 | 1525.553 | 1609.36 | 1441.747
25/03/2024 14:00 | 1621.581 | 1710.93 | 1532.231
25/03/2024 14:30 | 1757.378 | 1854.5 | 1660.256
25/03/2024 15:00 | 1931.37 | 2038.426 | 1824.313
25/03/2024 15:30 | 2112.948 | 2230.418 | 1995.477
25/03/2024 16:00 | 2283.235 | 2410.55 | 2155.92
25/03/2024 16:30 | 2445.956 | 2582.748 | 2309.164
25/03/2024 17:00 | 2575.343 | 2719.796 | 2430.889
25/03/2024 17:30 | 2641.133 | 2789.713 | 2492.554
25/03/2024 18:00 | 2652.798 | 2802.472 | 2503.125
25/03/2024 18:30 | 2613.112 | 2760.978 | 2465.246
25/03/2024 19:00 | 2518.05 | 2660.952 | 2375.147
25/03/2024 19:30 | 2434.87 | 2573.454 | 2296.286
25/03/2024 20:00 | 2351.744 | 2485.985 | 2217.502
25/03/2024 20:30 | 2266.361 | 2396.103 | 2136.62
25/03/2024 21:00 | 2179.243 | 2304.357 | 2054.129
25/03/2024 21:30 | 2097.872 | 2218.66 | 1977.083
25/03/2024 22:00 | 2024.859 | 2141.778 | 1907.94
25/03/2024 22:30 | 1963.372 | 2077.065 | 1849.679
25/03/2024 23:00 | 1920.219 | 2031.73 | 1808.708
25/03/2024 23:30 | 1881.652 | 1991.235 | 1772.07
26/03/2024 00:00 | 1848.107 | 1956.041 | 1740.174
26/03/2024 00:30 | 1824.046 | 1930.876 | 1717.216
26/03/2024 01:00 | 1809.375 | 1915.644 | 1703.106
26/03/2024 01:30 | 1794.197 | 1899.871 | 1688.523
26/03/2024 02:00 | 1786.182 | 1891.678 | 1680.685
26/03/2024 02:30 | 1782.867 | 1888.462 | 1677.271
26/03/2024 03:00 | 1782.26 | 1888.114 | 1676.406
26/03/2024 03:30 | 1791.403 | 1898.095 | 1684.71
26/03/2024 04:00 | 1820.016 | 1928.712 | 1711.319
26/03/2024 04:30 | 1877.154 | 1989.572 | 1764.734
26/03/2024 05:00 | 1953.976 | 2071.317 | 1836.633
26/03/2024 05:30 | 2039.625 | 2162.447 | 1916.802
26/03/2024 06:00 | 2115.779 | 2243.535 | 1988.02
26/03/2024 06:30 | 2118.395 | 2246.7 | 1990.088
26/03/2024 07:00 | 2040.077 | 2164.091 | 1916.062
26/03/2024 07:30 | 1898.413 | 2014.23 | 1782.594
26/03/2024 08:00 | 1748.16 | 1855.194 | 1641.127
26/03/2024 08:30 | 1627.015 | 1726.987 | 1527.043
26/03/2024 09:00 | 1517.032 | 1610.577 | 1423.487
26/03/2024 09:30 | 1421.215 | 1509.162 | 1333.267
26/03/2024 10:00 | 1371.209 | 1456.361 | 1286.056
26/03/2024 10:30 | 1363.874 | 1448.869 | 1278.879
26/03/2024 11:00 | 1375.259 | 1461.264 | 1289.254
26/03/2024 11:30 | 1393.438 | 1480.885 | 1305.992
26/03/2024 12:00 | 1424.847 | 1514.575 | 1335.118
26/03/2024 12:30 | 1475.127 | 1568.345 | 1381.91
26/03/2024 13:00 | 1539.022 | 1636.614 | 1441.431
26/03/2024 13:30 | 1645.288 | 1749.978 | 1540.599
26/03/2024 14:00 | 1757.086 | 1869.273 | 1644.899
26/03/2024 14:30 | 1912.927 | 2035.483 | 1790.373
26/03/2024 15:00 | 2097.675 | 2232.524 | 1962.826
26/03/2024 15:30 | 2285.794 | 2433.237 | 2138.352
26/03/2024 16:00 | 2453.703 | 2612.512 | 2294.894
26/03/2024 16:30 | 2615.826 | 2785.7 | 2445.953
26/03/2024 17:00 | 2737.516 | 2915.89 | 2559.142
26/03/2024 17:30 | 2791.836 | 2974.36 | 2609.313
26/03/2024 18:00 | 2799.209 | 2982.826 | 2615.592
26/03/2024 18:30 | 2752.339 | 2933.483 | 2571.195
26/03/2024 19:00 | 2655.131 | 2829.297 | 2479.804
26/03/2024 19:30 | 2569.748 | 2738.875 | 2399.498
26/03/2024 20:00 | 2481.107 | 2644.942 | 2316.188
26/03/2024 20:30 | 2385.512 | 2543.556 | 2226.426
26/03/2024 21:00 | 2287.643 | 2439.703 | 2134.584
26/03/2024 21:30 | 2195.349 | 2341.754 | 2047.985
26/03/2024 22:00 | 2111.277 | 2252.537 | 1969.096
26/03/2024 22:30 | 2040.854 | 2177.847 | 1902.969
26/03/2024 23:00 | 1988.915 | 2122.856 | 1854.104
26/03/2024 23:30 | 1943.713 | 2075.035 | 1811.541
27/03/2024 00:00 | 1905.996 | 2035.186 | 1776.806
27/03/2024 00:30 | 1878.263 | 2005.983 | 1750.542
27/03/2024 01:00 | 1859.297 | 1986.134 | 1732.459
27/03/2024 01:30 | 1841.379 | 1967.396 | 1715.361
27/03/2024 02:00 | 1830.572 | 1956.25 | 1704.895
27/03/2024 02:30 | 1825.325 | 1951.042 | 1699.609
27/03/2024 03:00 | 1824.121 | 1950.152 | 1698.089
27/03/2024 03:30 | 1835.358 | 1962.568 | 1708.149
27/03/2024 04:00 | 1865.524 | 1995.231 | 1735.816
27/03/2024 04:30 | 1922.895 | 2057.012 | 1788.778
27/03/2024 05:00 | 2000.075 | 2140.012 | 1860.138
27/03/2024 05:30 | 2087.555 | 2234.068 | 1941.041
27/03/2024 06:00 | 2168.261 | 2320.912 | 2015.609
27/03/2024 06:30 | 2175.519 | 2329.157 | 2021.881
27/03/2024 07:00 | 2100.563 | 2249.367 | 1951.76
27/03/2024 07:30 | 1970.391 | 2110.403 | 1830.379
27/03/2024 08:00 | 1841.358 | 1972.604 | 1710.112
27/03/2024 08:30 | 1733.635 | 1857.582 | 1609.688
27/03/2024 09:00 | 1638.466 | 1755.967 | 1520.966
27/03/2024 09:30 | 1564.121 | 1676.631 | 1451.61
27/03/2024 10:00 | 1539.483 | 1650.557 | 1428.408
27/03/2024 10:30 | 1555.711 | 1668.296 | 1443.125
27/03/2024 11:00 | 1595.697 | 1711.525 | 1479.87
27/03/2024 11:30 | 1640.76 | 1760.217 | 1521.302
27/03/2024 12:00 | 1696.834 | 1820.745 | 1572.924
27/03/2024 12:30 | 1769.157 | 1898.736 | 1639.579
27/03/2024 13:00 | 1847.373 | 1983.084 | 1711.662
27/03/2024 13:30 | 1976.645 | 2122.284 | 1831.006
27/03/2024 14:00 | 2104.388 | 2259.899 | 1948.877
27/03/2024 14:30 | 2271.163 | 2439.495 | 2102.832
27/03/2024 15:00 | 2465.474 | 2648.746 | 2282.201
27/03/2024 15:30 | 2645.522 | 2842.756 | 2448.288
27/03/2024 16:00 | 2799.131 | 3008.428 | 2589.833
27/03/2024 16:30 | 2938.006 | 3158.33 | 2717.682
27/03/2024 17:00 | 3031.214 | 3259.19 | 2803.239
27/03/2024 17:30 | 3056.928 | 3287.505 | 2826.35
27/03/2024 18:00 | 3041.372 | 3271.441 | 2811.303
27/03/2024 18:30 | 2975.583 | 3201.325 | 2749.84
27/03/2024 19:00 | 2857.338 | 3074.734 | 2639.942
27/03/2024 19:30 | 2759.167 | 2969.697 | 2548.638
27/03/2024 20:00 | 2655.887 | 2859.116 | 2452.658
27/03/2024 20:30 | 2541.256 | 2736.269 | 2346.243
27/03/2024 21:00 | 2427.089 | 2613.871 | 2240.307
27/03/2024 21:30 | 2320.784 | 2499.892 | 2141.676
27/03/2024 22:00 | 2224.259 | 2396.403 | 2052.114
27/03/2024 22:30 | 2141.666 | 2307.887 | 1975.445
27/03/2024 23:00 | 2077.389 | 2239.075 | 1915.703
27/03/2024 23:30 | 2026.363 | 2184.52 | 1868.206
28/03/2024 00:00 | 1987.325 | 2142.869 | 1831.781
28/03/2024 00:30 | 1951.847 | 2105.041 | 1798.653
28/03/2024 01:00 | 1926.558 | 2078.188 | 1774.928
28/03/2024 01:30 | 1905.944 | 2056.368 | 1755.52
28/03/2024 02:00 | 1893.249 | 2043.085 | 1743.414
28/03/2024 02:30 | 1886.11 | 2035.793 | 1736.427
28/03/2024 03:00 | 1883.204 | 2033.068 | 1733.34
28/03/2024 03:30 | 1891.555 | 2042.497 | 1740.614
28/03/2024 04:00 | 1917.655 | 2071.098 | 1764.211
28/03/2024 04:30 | 1971.787 | 2129.992 | 1813.581
28/03/2024 05:00 | 2046.314 | 2210.946 | 1881.682
28/03/2024 05:30 | 2130.791 | 2302.685 | 1958.897
28/03/2024 06:00 | 2210.981 | 2389.828 | 2032.135
28/03/2024 06:30 | 2221.85 | 2402.06 | 2041.639
28/03/2024 07:00 | 2147.093 | 2321.709 | 1972.476
28/03/2024 07:30 | 2016.699 | 2181.132 | 1852.265
28/03/2024 08:00 | 1887.948 | 2042.242 | 1733.654
28/03/2024 08:30 | 1780.152 | 1925.978 | 1634.326
28/03/2024 09:00 | 1683.703 | 1821.95 | 1545.455
28/03/2024 09:30 | 1613.508 | 1746.301 | 1480.715
28/03/2024 10:00 | 1595.958 | 1727.613 | 1464.304
28/03/2024 10:30 | 1617.02 | 1750.722 | 1483.318
28/03/2024 11:00 | 1652.44 | 1789.388 | 1515.493
28/03/2024 11:30 | 1698.544 | 1839.638 | 1557.45
28/03/2024 12:00 | 1763.84 | 1910.696 | 1616.984
28/03/2024 12:30 | 1842.032 | 1995.751 | 1688.313
28/03/2024 13:00 | 1916.123 | 2076.393 | 1755.854
28/03/2024 13:30 | 2048.735 | 2220.489 | 1876.98
28/03/2024 14:00 | 2179.26 | 2362.374 | 1996.146
28/03/2024 14:30 | 2340.156 | 2537.238 | 2143.073
28/03/2024 15:00 | 2526.861 | 2740.151 | 2313.57
28/03/2024 15:30 | 2702.704 | 2931.355 | 2474.052
28/03/2024 16:00 | 2851.418 | 3093.197 | 2609.639
28/03/2024 16:30 | 2983.723 | 3237.293 | 2730.154
28/03/2024 17:00 | 3074.265 | 3336.118 | 2812.412
28/03/2024 17:30 | 3104.249 | 3369.251 | 2839.246
28/03/2024 18:00 | 3085.074 | 3349.031 | 2821.117
28/03/2024 18:30 | 3016.335 | 3274.989 | 2757.682
28/03/2024 19:00 | 2895.625 | 3144.482 | 2646.767
28/03/2024 19:30 | 2796.351 | 3037.212 | 2555.49
28/03/2024 20:00 | 2693.141 | 2925.628 | 2460.653
28/03/2024 20:30 | 2572.552 | 2795.123 | 2349.981
28/03/2024 21:00 | 2453.159 | 2665.871 | 2240.448
28/03/2024 21:30 | 2347.433 | 2551.427 | 2143.439
28/03/2024 22:00 | 2251.494 | 2447.582 | 2055.406
28/03/2024 22:30 | 2166.195 | 2355.27 | 1977.12
28/03/2024 23:00 | 2095.83 | 2279.164 | 1912.495
28/03/2024 23:30 | 2033.209 | 2211.455 | 1854.962
29/03/2024 00:00 | 1981.908 | 2156.037 | 1807.779
29/03/2024 00:30 | 1942.142 | 2113.149 | 1771.135
29/03/2024 01:00 | 1906.374 | 2074.597 | 1738.151
29/03/2024 01:30 | 1887.021 | 2053.898 | 1720.144
29/03/2024 02:00 | 1876.993 | 2043.343 | 1710.643
29/03/2024 02:30 | 1862.227 | 2027.625 | 1696.829
29/03/2024 03:00 | 1845.262 | 2009.507 | 1681.017
29/03/2024 03:30 | 1833.185 | 1996.706 | 1669.663
29/03/2024 04:00 | 1832.265 | 1996.056 | 1668.474
29/03/2024 04:30 | 1838.552 | 2003.257 | 1673.847
29/03/2024 05:00 | 1861.999 | 2029.161 | 1694.836
29/03/2024 05:30 | 1885.866 | 2055.533 | 1716.2
29/03/2024 06:00 | 1868.147 | 2036.578 | 1699.716
29/03/2024 06:30 | 1826.28 | 1991.286 | 1661.274
29/03/2024 07:00 | 1743.674 | 1901.55 | 1585.797
29/03/2024 07:30 | 1646.037 | 1795.389 | 1496.685
29/03/2024 08:00 | 1532.496 | 1671.839 | 1393.152
29/03/2024 08:30 | 1454.803 | 1587.361 | 1322.245
29/03/2024 09:00 | 1391.922 | 1519.017 | 1264.827
29/03/2024 09:30 | 1287.51 | 1405.318 | 1169.702
29/03/2024 10:00 | 1235.781 | 1349.092 | 1122.469
29/03/2024 10:30 | 1274.406 | 1391.504 | 1157.308
29/03/2024 11:00 | 1320.92 | 1442.545 | 1199.296
29/03/2024 11:30 | 1344.237 | 1468.266 | 1220.208
29/03/2024 12:00 | 1380.429 | 1508.062 | 1252.796
29/03/2024 12:30 | 1440.344 | 1573.793 | 1306.895
29/03/2024 13:00 | 1494.544 | 1633.301 | 1355.787
29/03/2024 13:30 | 1595.654 | 1744.104 | 1447.204
29/03/2024 14:00 | 1693.068 | 1850.906 | 1535.23
29/03/2024 14:30 | 1846.034 | 2018.485 | 1673.582
29/03/2024 15:00 | 1979.713 | 2165.032 | 1794.394
29/03/2024 15:30 | 2142.214 | 2343.156 | 1941.273
29/03/2024 16:00 | 2326.845 | 2545.552 | 2108.14
29/03/2024 16:30 | 2487.078 | 2721.322 | 2252.835
29/03/2024 17:00 | 2595.927 | 2840.92 | 2350.935
29/03/2024 17:30 | 2644.937 | 2895.062 | 2394.812
29/03/2024 18:00 | 2652.516 | 2903.866 | 2401.166
29/03/2024 18:30 | 2605.451 | 2852.841 | 2358.062
29/03/2024 19:00 | 2494.166 | 2731.467 | 2256.865
29/03/2024 19:30 | 2418.97 | 2649.581 | 2188.36
29/03/2024 20:00 | 2351.472 | 2576.099 | 2126.846
29/03/2024 20:30 | 2275.498 | 2493.303 | 2057.693
29/03/2024 21:00 | 2200.131 | 2411.144 | 1989.119
29/03/2024 21:30 | 2143.767 | 2349.784 | 1937.749
29/03/2024 22:00 | 2096.191 | 2298.038 | 1894.344
29/03/2024 22:30 | 2036.192 | 2232.652 | 1839.732
29/03/2024 23:00 | 1988.632 | 2180.885 | 1796.38
29/03/2024 23:30 | 1945.673 | 2131.778 | 1759.568
30/03/2024 00:00 | 1905.541 | 2083.486 | 1727.596
30/03/2024 00:30 | 1872.028 | 2047.312 | 1696.745
30/03/2024 01:00 | 1842.093 | 2014.668 | 1669.519
30/03/2024 01:30 | 1820.562 | 1991.212 | 1649.912
30/03/2024 02:00 | 1810.655 | 1980.469 | 1640.841
30/03/2024 02:30 | 1797.871 | 1966.578 | 1629.164
30/03/2024 03:00 | 1786.244 | 1953.951 | 1618.537
30/03/2024 03:30 | 1786.249 | 1954.048 | 1618.451
30/03/2024 04:00 | 1795.966 | 1964.768 | 1627.163
30/03/2024 04:30 | 1809.04 | 1979.164 | 1638.916
30/03/2024 05:00 | 1828.823 | 2000.901 | 1656.746
30/03/2024 05:30 | 1847.602 | 2021.54 | 1673.663
30/03/2024 06:00 | 1843.599 | 2017.254 | 1669.943
30/03/2024 06:30 | 1808.579 | 1979.028 | 1638.13
30/03/2024 07:00 | 1729.875 | 1892.995 | 1566.755
30/03/2024 07:30 | 1618.02 | 1770.903 | 1465.137
30/03/2024 08:00 | 1491.767 | 1633.424 | 1350.109
30/03/2024 08:30 | 1392.035 | 1524.845 | 1259.226
30/03/2024 09:00 | 1311.104 | 1436.779 | 1185.429
30/03/2024 09:30 | 1243.15 | 1362.868 | 1123.433
30/03/2024 10:00 | 1196.672 | 1312.449 | 1080.895
30/03/2024 10:30 | 1160.398 | 1273.185 | 1047.611
30/03/2024 11:00 | 1173.25 | 1287.811 | 1058.688
30/03/2024 11:30 | 1244.061 | 1366.093 | 1122.029
30/03/2024 12:00 | 1328.986 | 1459.943 | 1198.029
30/03/2024 12:30 | 1384.057 | 1521.061 | 1247.054
30/03/2024 13:00 | 1428.048 | 1570.045 | 1286.052
30/03/2024 13:30 | 1526.961 | 1679.477 | 1374.446
30/03/2024 14:00 | 1632.601 | 1796.398 | 1468.804
30/03/2024 14:30 | 1782.053 | 1961.642 | 1602.464
30/03/2024 15:00 | 1933.051 | 2128.722 | 1737.38
30/03/2024 15:30 | 2120.579 | 2336.182 | 1904.977
30/03/2024 16:00 | 2304.9 | 2540.274 | 2069.526
30/03/2024 16:30 | 2466.098 | 2719.037 | 2213.159
30/03/2024 17:00 | 2549.396 | 2812.02 | 2286.773
30/03/2024 17:30 | 2597.236 | 2865.95 | 2328.523
30/03/2024 18:00 | 2611.321 | 2882.66 | 2339.982
30/03/2024 18:30 | 2555.435 | 2822.111 | 2288.76
30/03/2024 19:00 | 2439.724 | 2695.416 | 2184.031
30/03/2024 19:30 | 2384.416 | 2635.379 | 2133.454
30/03/2024 20:00 | 2333.282 | 2579.906 | 2086.657
30/03/2024 20:30 | 2266.709 | 2507.312 | 2026.107
30/03/2024 21:00 | 2190.552 | 2424.05 | 1957.053
30/03/2024 21:30 | 2116.646 | 2343.213 | 1890.078
30/03/2024 22:00 | 2052.289 | 2272.886 | 1831.692
30/03/2024 22:30 | 1996.527 | 2212.023 | 1781.03
30/03/2024 23:00 | 1958.12 | 2170.348 | 1745.893
30/03/2024 23:30 | 1920.427 | 2129.429 | 1711.426
31/03/2024 00:00 | 1883.896 | 2089.765 | 1678.027
31/03/2024 00:30 | 1862.994 | 2067.412 | 1658.575
31/03/2024 01:00 | 1848.918 | 2052.619 | 1645.217
31/03/2024 01:30 | 1822.86 | 2024.506 | 1621.214
31/03/2024 02:00 | 1809.629 | 2010.621 | 1608.637
31/03/2024 02:30 | 1794.534 | 1994.653 | 1594.415
31/03/2024 03:00 | 1786.236 | 1986.228 | 1586.243
31/03/2024 03:30 | 1781.931 | 1982.239 | 1581.623
31/03/2024 04:00 | 1775.068 | 1975.399 | 1574.738
31/03/2024 04:30 | 1774.41 | 1975.46 | 1573.359
31/03/2024 05:00 | 1781.558 | 1984.216 | 1578.901
31/03/2024 05:30 | 1788.666 | 1992.932 | 1584.399
31/03/2024 06:00 | 1796.314 | 2002.258 | 1590.37
31/03/2024 06:30 | 1775.548 | 1979.906 | 1571.191
31/03/2024 07:00 | 1688.046 | 1883.088 | 1493.005
31/03/2024 07:30 | 1564.606 | 1746.086 | 1383.127