## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
26/03/2024 08:00 | 1787.89 | 1827.559 | 1776.643
26/03/2024 08:30 | 1681.883 | 1710.642 | 1653.123 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
26/03/2024 09:00 | 1559.693 | 1591 | 1528.387 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
26/03/2024 09:30 | 1427.717 | 1460.619 | 1394.816 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
26/03/2024 10:00 | 1325.401 | 1359.885 | 1290.917 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
26/03/2024 10:30 | 1252.561 | 1291.284 | 1220.269 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
26/03/2024 11:00 | 1212.531 | 1248.161 | 1177.534 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
26/03/2024 11:30 | 1202.236 | 1236.561 | 1164.343 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
26/03/2024 12:00 | 1223.256 | 1256.5 | 1180.839 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
26/03/2024 12:30 | 1274.449 | 1309.147 | 1227.946 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
26/03/2024 13:00 | 1331.059 | 1368.484 | 1281.13 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
26/03/2024 13:30 | 1432.816 | 1474.635 | 1377.845
26/03/2024 14:00 | 1552.576 | 1599.639 | 1491.764 | Summary view - for each schedule horizon (dispatch, week-ahead)
26/03/2024 14:30 | 1699.696 | 1760.644 | 1638.749
26/03/2024 15:00 | 1888.195 | 1957.72 | 1818.67 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
26/03/2024 15:30 | 2076.839 | 2155.311 | 1998.368 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
26/03/2024 16:00 | 2253.594 | 2340.914 | 2166.273 | Scenario | Violations
26/03/2024 16:30 | 2425.198 | 2521.504 | 2328.893 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
26/03/2024 17:00 | 2562.811 | 2667.05 | 2458.573 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
26/03/2024 17:30 | 2635.318 | 2745.044 | 2525.593 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 5
26/03/2024 18:00 | 2657.235 | 2770.433 | 2544.038 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 4
26/03/2024 18:30 | 2621.837 | 2735.518 | 2508.156 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 4
26/03/2024 19:00 | 2533.932 | 2644.705 | 2423.158
26/03/2024 19:30 | 2455.588 | 2563.898 | 2347.279 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
26/03/2024 20:00 | 2373.257 | 2478.863 | 2267.65
26/03/2024 20:30 | 2284.516 | 2387.068 | 2181.964 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
26/03/2024 21:00 | 2194.235 | 2293.593 | 2094.876 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
26/03/2024 21:30 | 2110.614 | 2207.012 | 2014.216 | [7 empty] | 26/03/2024 11:00 |  |  |  |  | 26/03/2024 08:30 | [6 empty] | 29/03/2024 10:30 |  |  |  |  | 26/03/2024 08:30 | [6 empty] | 26/03/2024 10:30 |  |  |  |  | 26/03/2024 08:30
26/03/2024 22:00 | 2033.318 | 2126.981 | 1939.655 | [7 empty] | 29/03/2024 10:30 |  |  |  |  | 26/03/2024 11:00 | [6 empty] | 30/03/2024 10:30 |  |  |  |  | 26/03/2024 12:00 | [6 empty] | 26/03/2024 11:00 |  |  |  |  | 26/03/2024 11:00
26/03/2024 22:30 | 1967.592 | 2058.998 | 1876.186 | [7 empty] | 30/03/2024 11:00 |  |  |  |  | 26/03/2024 12:00 | [6 empty] | 30/03/2024 11:00 |  |  |  |  | 27/03/2024 10:30 | [6 empty] | 26/03/2024 11:30 |  |  |  |  | 26/03/2024 11:30
26/03/2024 23:00 | 1919.209 | 2009.119 | 1829.3 | [7 empty] | 30/03/2024 11:30 |  |  |  |  | 26/03/2024 13:00 | [6 empty] | 30/03/2024 11:30 |  |  |  |  | 28/03/2024 12:00 | [6 empty] | 26/03/2024 12:00 |  |  |  |  | 26/03/2024 13:00
26/03/2024 23:30 | 1875.478 | 1964.072 | 1786.883 | [7 empty] | 30/03/2024 12:00 |  |  |  |  | 28/03/2024 12:00 | [6 empty] | 30/03/2024 12:00 | [11 empty] | 28/03/2024 10:30
27/03/2024 00:00 | 1838.923 | 1926.511 | 1751.336 | [7 empty] | 01/04/2024 10:30 | [11 empty] | 01/04/2024 09:30 | [11 empty] | 28/03/2024 11:30
27/03/2024 00:30 | 1813.605 | 1900.697 | 1726.514 | [7 empty] | 01/04/2024 11:00 | [11 empty] | 01/04/2024 10:00 | [11 empty] | 28/03/2024 12:00
27/03/2024 01:00 | 1797.29 | 1884.301 | 1710.278 | [7 empty] | 01/04/2024 11:30 | [11 empty] | 01/04/2024 10:30 | [11 empty] | 30/03/2024 12:00
27/03/2024 01:30 | 1783.331 | 1870.365 | 1696.297 | [7 empty] | 01/04/2024 12:00 | [11 empty] | 01/04/2024 11:00 | [11 empty] | 30/03/2024 12:30
27/03/2024 02:00 | 1775.992 | 1863.363 | 1688.621 | [7 empty] | 01/04/2024 12:30 | [11 empty] | 01/04/2024 11:30 | [11 empty] | 30/03/2024 13:00
27/03/2024 02:30 | 1773.59 | 1861.536 | 1685.643 | [7 empty] | 01/04/2024 13:00 | [11 empty] | 01/04/2024 12:00 | [11 empty] | 30/03/2024 13:30
27/03/2024 03:00 | 1774.59 | 1863.281 | 1685.899 | [7 empty] | 01/04/2024 13:30 | [11 empty] | 01/04/2024 12:30 | [11 empty] | 01/04/2024 11:30
27/03/2024 03:30 | 1786.971 | 1876.98 | 1696.962 | [19 empty] | 01/04/2024 13:00 | [11 empty] | 01/04/2024 12:00
27/03/2024 04:00 | 1818.602 | 1910.916 | 1726.288 | [31 empty] | 01/04/2024 12:30
27/03/2024 04:30 | 1878.903 | 1975.013 | 1782.793 | [31 empty] | 01/04/2024 13:00
27/03/2024 05:00 | 1958.512 | 2059.461 | 1857.563 | [31 empty] | 01/04/2024 13:30
27/03/2024 05:30 | 2046.114 | 2152.379 | 1939.848 | [31 empty] | 01/04/2024 14:00
27/03/2024 06:00 | 2123.87 | 2235.005 | 2012.735
27/03/2024 06:30 | 2128.579 | 2240.622 | 2016.536
27/03/2024 07:00 | 2049.542 | 2157.734 | 1941.349
27/03/2024 07:30 | 1908.804 | 2009.883 | 1807.725
27/03/2024 08:00 | 1768.209 | 1862.134 | 1674.283
27/03/2024 08:30 | 1651.699 | 1739.708 | 1563.69
27/03/2024 09:00 | 1547.04 | 1630.099 | 1464.352
27/03/2024 09:30 | 1460.971 | 1539.818 | 1382.642
27/03/2024 10:00 | 1424.602 | 1501.852 | 1347.988
27/03/2024 10:30 | 1424.486 | 1502.067 | 1347.642
27/03/2024 11:00 | 1451.85 | 1531.173 | 1373.291
27/03/2024 11:30 | 1484.266 | 1565.658 | 1403.708
27/03/2024 12:00 | 1523.409 | 1607.313 | 1442.299
27/03/2024 12:30 | 1583.864 | 1671.283 | 1499.206
27/03/2024 13:00 | 1651.767 | 1743.189 | 1563.19
27/03/2024 13:30 | 1762.052 | 1859.845 | 1667.248
27/03/2024 14:00 | 1870.76 | 1974.883 | 1769.788
27/03/2024 14:30 | 2016.588 | 2129.119 | 1907.374
27/03/2024 15:00 | 2198.468 | 2319.604 | 2077.332
27/03/2024 15:30 | 2371.191 | 2502.236 | 2240.146
27/03/2024 16:00 | 2524.116 | 2664.029 | 2384.203
27/03/2024 16:30 | 2665.021 | 2813.184 | 2516.857
27/03/2024 17:00 | 2770.489 | 2924.973 | 2616.005
27/03/2024 17:30 | 2812.238 | 2969.515 | 2654.962
27/03/2024 18:00 | 2810.477 | 2968.119 | 2652.835
27/03/2024 18:30 | 2759.307 | 2914.534 | 2604.079
27/03/2024 19:00 | 2654.196 | 2803.948 | 2504.443
27/03/2024 19:30 | 2567.148 | 2712.414 | 2421.883
27/03/2024 20:00 | 2476.554 | 2617.102 | 2336.007
27/03/2024 20:30 | 2377.438 | 2512.753 | 2242.122
27/03/2024 21:00 | 2278.638 | 2408.707 | 2148.57
27/03/2024 21:30 | 2186.67 | 2311.85 | 2061.49
27/03/2024 22:00 | 2103.439 | 2224.201 | 1982.677
27/03/2024 22:30 | 2032.981 | 2150.034 | 1915.929
27/03/2024 23:00 | 1977.521 | 2091.707 | 1863.335
27/03/2024 23:30 | 1933.922 | 2045.91 | 1821.935
28/03/2024 00:00 | 1899.907 | 2010.239 | 1789.575
28/03/2024 00:30 | 1869.246 | 1978.106 | 1760.387
28/03/2024 01:00 | 1848.009 | 1955.937 | 1740.081
28/03/2024 01:30 | 1831.425 | 1938.687 | 1724.163
28/03/2024 02:00 | 1822.346 | 1929.377 | 1715.315
28/03/2024 02:30 | 1818.76 | 1925.881 | 1711.639
28/03/2024 03:00 | 1819.055 | 1926.493 | 1711.616
28/03/2024 03:30 | 1828.902 | 1937.224 | 1720.58
28/03/2024 04:00 | 1857.514 | 1967.838 | 1747.191
28/03/2024 04:30 | 1914.777 | 2028.817 | 1800.736
28/03/2024 05:00 | 1991.951 | 2110.917 | 1872.985
28/03/2024 05:30 | 2077.635 | 2202.061 | 1953.209
28/03/2024 06:00 | 2155.163 | 2284.587 | 2025.738
28/03/2024 06:30 | 2165.715 | 2296.131 | 2035.299
28/03/2024 07:00 | 2092.056 | 2218.382 | 1965.73
28/03/2024 07:30 | 1951.18 | 2069.359 | 1833.001
28/03/2024 08:00 | 1810.673 | 1920.742 | 1700.603
28/03/2024 08:30 | 1692.795 | 1796.069 | 1589.521
28/03/2024 09:00 | 1580.039 | 1676.779 | 1483.299
28/03/2024 09:30 | 1487.944 | 1579.37 | 1396.517
28/03/2024 10:00 | 1439.397 | 1528.155 | 1350.639
28/03/2024 10:30 | 1425.971 | 1514.213 | 1337.729
28/03/2024 11:00 | 1434.044 | 1523.099 | 1344.989
28/03/2024 11:30 | 1446.725 | 1536.883 | 1356.567
28/03/2024 12:00 | 1479.339 | 1571.853 | 1386.825
28/03/2024 12:30 | 1531.706 | 1627.829 | 1435.582
28/03/2024 13:00 | 1586.91 | 1686.845 | 1486.976
28/03/2024 13:30 | 1699.173 | 1806.548 | 1591.797
28/03/2024 14:00 | 1809.44 | 1924.178 | 1694.701
28/03/2024 14:30 | 1952.427 | 2076.66 | 1828.195
28/03/2024 15:00 | 2123.322 | 2258.893 | 1987.752
28/03/2024 15:30 | 2298.898 | 2446.181 | 2151.615
28/03/2024 16:00 | 2454.69 | 2612.49 | 2296.89
28/03/2024 16:30 | 2603.994 | 2771.962 | 2436.027
28/03/2024 17:00 | 2723.918 | 2900.216 | 2547.62
28/03/2024 17:30 | 2786.099 | 2967.03 | 2605.168
28/03/2024 18:00 | 2796.294 | 2978.498 | 2614.09
28/03/2024 18:30 | 2754.213 | 2934.277 | 2574.149
28/03/2024 19:00 | 2654.666 | 2828.802 | 2480.53
28/03/2024 19:30 | 2572.594 | 2741.908 | 2403.28
28/03/2024 20:00 | 2487.704 | 2651.975 | 2323.434
28/03/2024 20:30 | 2388.445 | 2546.683 | 2230.207
28/03/2024 21:00 | 2285.438 | 2437.351 | 2133.525
28/03/2024 21:30 | 2195.573 | 2341.992 | 2049.154
28/03/2024 22:00 | 2115.074 | 2256.588 | 1973.561
28/03/2024 22:30 | 2043.5 | 2180.67 | 1906.329
28/03/2024 23:00 | 1987.615 | 2121.469 | 1853.762
28/03/2024 23:30 | 1940.222 | 2071.308 | 1809.135
29/03/2024 00:00 | 1903.63 | 2032.66 | 1774.6
29/03/2024 00:30 | 1873.749 | 2001.163 | 1746.335
29/03/2024 01:00 | 1844.964 | 1970.823 | 1719.104
29/03/2024 01:30 | 1830.277 | 1955.535 | 1705.019
29/03/2024 02:00 | 1824.803 | 1950.084 | 1699.521
29/03/2024 02:30 | 1814.621 | 1939.6 | 1689.642
29/03/2024 03:00 | 1801.669 | 1926.15 | 1677.188
29/03/2024 03:30 | 1792.103 | 1916.315 | 1667.892
29/03/2024 04:00 | 1794.727 | 1919.512 | 1669.941
29/03/2024 04:30 | 1805.461 | 1931.387 | 1679.535
29/03/2024 05:00 | 1835.624 | 1964.055 | 1707.193
29/03/2024 05:30 | 1866.49 | 1997.488 | 1735.492
29/03/2024 06:00 | 1853.501 | 1983.993 | 1723.01
29/03/2024 06:30 | 1832.142 | 1961.53 | 1702.754
29/03/2024 07:00 | 1780.912 | 1907.072 | 1654.753
29/03/2024 07:30 | 1700.783 | 1821.638 | 1579.929
29/03/2024 08:00 | 1593.711 | 1707.305 | 1480.117
29/03/2024 08:30 | 1518.477 | 1627.041 | 1409.914
29/03/2024 09:00 | 1465.273 | 1570.353 | 1360.193
29/03/2024 09:30 | 1368.843 | 1467.307 | 1270.379
29/03/2024 10:00 | 1311.565 | 1406.195 | 1216.935
29/03/2024 10:30 | 1327.6 | 1423.677 | 1231.523
29/03/2024 11:00 | 1368.912 | 1468.278 | 1269.546
29/03/2024 11:30 | 1393.736 | 1495.208 | 1292.263
29/03/2024 12:00 | 1414.339 | 1517.62 | 1311.057
29/03/2024 12:30 | 1434.758 | 1539.844 | 1329.672
29/03/2024 13:00 | 1478.152 | 1586.74 | 1369.565
29/03/2024 13:30 | 1619.234 | 1738.539 | 1499.929
29/03/2024 14:00 | 1708.438 | 1834.689 | 1582.187
29/03/2024 14:30 | 1782.965 | 1915.113 | 1650.817
29/03/2024 15:00 | 1845.219 | 1982.385 | 1708.054
29/03/2024 15:30 | 1946.924 | 2092.075 | 1801.773
29/03/2024 16:00 | 2096.477 | 2253.235 | 1939.718
29/03/2024 16:30 | 2260.062 | 2429.545 | 2090.577
29/03/2024 17:00 | 2386.244 | 2565.712 | 2206.776
29/03/2024 17:30 | 2455.233 | 2640.426 | 2270.04
29/03/2024 18:00 | 2480.848 | 2668.515 | 2293.18
29/03/2024 18:30 | 2456.189 | 2642.528 | 2269.851
29/03/2024 19:00 | 2365.424 | 2545.394 | 2185.455
29/03/2024 19:30 | 2300.639 | 2476.182 | 2125.096
29/03/2024 20:00 | 2243.971 | 2415.681 | 2072.262
29/03/2024 20:30 | 2177.619 | 2344.727 | 2010.511
29/03/2024 21:00 | 2109.103 | 2271.413 | 1946.792
29/03/2024 21:30 | 2058.425 | 2217.286 | 1899.565
29/03/2024 22:00 | 2016.1 | 2172.135 | 1860.066
29/03/2024 22:30 | 1963.238 | 2115.61 | 1810.865
29/03/2024 23:00 | 1921.839 | 2071.418 | 1772.26
29/03/2024 23:30 | 1884.954 | 2037.22 | 1732.688
30/03/2024 00:00 | 1850.925 | 2010.868 | 1690.982
30/03/2024 00:30 | 1822.568 | 1979.649 | 1665.487
30/03/2024 01:00 | 1797.208 | 1952.532 | 1641.883
30/03/2024 01:30 | 1779.404 | 1933.615 | 1625.193
30/03/2024 02:00 | 1772.249 | 1926.263 | 1618.234
30/03/2024 02:30 | 1762.703 | 1916.308 | 1609.097
30/03/2024 03:00 | 1754.38 | 1907.68 | 1601.081
30/03/2024 03:30 | 1756.916 | 1910.856 | 1602.975
30/03/2024 04:00 | 1768.38 | 1923.747 | 1613.012
30/03/2024 04:30 | 1784.625 | 1941.847 | 1627.404
30/03/2024 05:00 | 1806.497 | 1966.076 | 1646.917
30/03/2024 05:30 | 1825.382 | 1987.066 | 1663.698
30/03/2024 06:00 | 1825.886 | 1988.051 | 1663.721
30/03/2024 06:30 | 1797.347 | 1957.406 | 1637.288
30/03/2024 07:00 | 1730.908 | 1885.464 | 1576.352
30/03/2024 07:30 | 1636.184 | 1782.563 | 1489.804
30/03/2024 08:00 | 1531.534 | 1668.611 | 1394.456
30/03/2024 08:30 | 1464.464 | 1595.613 | 1333.314
30/03/2024 09:00 | 1404.557 | 1530.413 | 1278.701
30/03/2024 09:30 | 1341.469 | 1461.74 | 1221.197
30/03/2024 10:00 | 1308.365 | 1425.735 | 1190.995
30/03/2024 10:30 | 1299.212 | 1415.827 | 1182.597
30/03/2024 11:00 | 1308.972 | 1426.53 | 1191.414
30/03/2024 11:30 | 1333.163 | 1452.962 | 1213.365
30/03/2024 12:00 | 1390.35 | 1515.359 | 1265.342
30/03/2024 12:30 | 1433.484 | 1562.444 | 1304.524
30/03/2024 13:00 | 1464.198 | 1595.995 | 1332.4
30/03/2024 13:30 | 1562.734 | 1703.481 | 1421.987
30/03/2024 14:00 | 1657.159 | 1806.494 | 1507.823
30/03/2024 14:30 | 1786.667 | 1947.764 | 1625.57
30/03/2024 15:00 | 1926.906 | 2100.746 | 1753.066
30/03/2024 15:30 | 2117.869 | 2309.045 | 1926.692
30/03/2024 16:00 | 2301.033 | 2508.86 | 2093.206
30/03/2024 16:30 | 2442.987 | 2663.76 | 2222.214
30/03/2024 17:00 | 2511.907 | 2739.037 | 2284.778
30/03/2024 17:30 | 2562.009 | 2793.8 | 2330.219
30/03/2024 18:00 | 2579.636 | 2813.153 | 2346.12
30/03/2024 18:30 | 2525.383 | 2754.117 | 2296.649
30/03/2024 19:00 | 2409.499 | 2627.86 | 2191.138
30/03/2024 19:30 | 2358.797 | 2572.684 | 2144.911
30/03/2024 20:00 | 2311.416 | 2521.124 | 2101.708
30/03/2024 20:30 | 2247.186 | 2451.181 | 2043.191
30/03/2024 21:00 | 2172.888 | 2370.249 | 1975.527
30/03/2024 21:30 | 2101.116 | 2292.065 | 1910.167
30/03/2024 22:00 | 2038.246 | 2223.586 | 1852.906
30/03/2024 22:30 | 1984.84 | 2165.424 | 1804.255
30/03/2024 23:00 | 1948.738 | 2126.138 | 1771.339
30/03/2024 23:30 | 1912.49 | 2086.687 | 1738.293
31/03/2024 00:00 | 1878.146 | 2049.311 | 1706.982
31/03/2024 00:30 | 1858.905 | 2028.411 | 1689.399
31/03/2024 01:00 | 1846.223 | 2014.666 | 1677.779
31/03/2024 01:30 | 1820.982 | 1987.216 | 1654.749
31/03/2024 02:00 | 1808.027 | 1973.17 | 1642.884
31/03/2024 02:30 | 1793.164 | 1957.041 | 1629.287
31/03/2024 03:00 | 1785.389 | 1948.646 | 1622.132
31/03/2024 03:30 | 1782.524 | 1945.61 | 1619.437
31/03/2024 04:00 | 1777.025 | 1939.698 | 1614.351
31/03/2024 04:30 | 1779.053 | 1942.003 | 1616.103
31/03/2024 05:00 | 1783.587 | 1947.044 | 1620.131
31/03/2024 05:30 | 1784.316 | 1947.93 | 1620.701
31/03/2024 06:00 | 1796.442 | 1961.259 | 1631.624
31/03/2024 06:30 | 1803.081 | 1968.6 | 1637.562
31/03/2024 07:00 | 1784.67 | 1948.59 | 1620.751
31/03/2024 07:30 | 1730.958 | 1890.032 | 1571.884
31/03/2024 08:00 | 1657.262 | 1809.648 | 1504.876
31/03/2024 08:30 | 1587.736 | 1733.81 | 1441.662
31/03/2024 09:00 | 1548.561 | 1691.11 | 1406.012
31/03/2024 09:30 | 1436.99 | 1569.342 | 1304.638
31/03/2024 10:00 | 1311.746 | 1432.629 | 1190.862
31/03/2024 10:30 | 1308.651 | 1429.315 | 1187.986
31/03/2024 11:00 | 1301.635 | 1421.719 | 1181.551
31/03/2024 11:30 | 1296.178 | 1415.824 | 1176.531
31/03/2024 12:00 | 1279.328 | 1397.485 | 1161.171
31/03/2024 12:30 | 1270.995 | 1388.447 | 1153.543
31/03/2024 13:00 | 1286.704 | 1405.673 | 1167.735
31/03/2024 13:30 | 1405.713 | 1535.758 | 1275.668
31/03/2024 14:00 | 1521.296 | 1662.111 | 1380.481
31/03/2024 14:30 | 1693.529 | 1850.372 | 1536.685
31/03/2024 15:00 | 1869.147 | 2042.35 | 1695.944
31/03/2024 15:30 | 2046.448 | 2236.185 | 1856.711
31/03/2024 16:00 | 2221.774 | 2427.88 | 2015.668
31/03/2024 16:30 | 2368.714 | 2588.572 | 2148.856
31/03/2024 17:00 | 2482.101 | 2712.61 | 2251.593
31/03/2024 17:30 | 2553.369 | 2790.626 | 2316.112
31/03/2024 18:00 | 2572.532 | 2811.701 | 2333.363
31/03/2024 18:30 | 2530.581 | 2765.979 | 2295.183
31/03/2024 19:00 | 2436.118 | 2662.853 | 2209.383
31/03/2024 19:30 | 2375.625 | 2596.85 | 2154.399
31/03/2024 20:00 | 2320.602 | 2536.822 | 2104.382
31/03/2024 20:30 | 2260.21 | 2470.918 | 2049.502
31/03/2024 21:00 | 2198.493 | 2403.56 | 1993.426
31/03/2024 21:30 | 2131.416 | 2330.335 | 1932.497
31/03/2024 22:00 | 2066.421 | 2259.379 | 1873.463
31/03/2024 22:30 | 2011.454 | 2199.382 | 1823.526
31/03/2024 23:00 | 1974.314 | 2158.873 | 1789.755
31/03/2024 23:30 | 1935.729 | 2119.135 | 1752.323
01/04/2024 00:00 | 1904.61 | 2089.849 | 1719.371
01/04/2024 00:30 | 1879.797 | 2062.609 | 1696.986
01/04/2024 01:00 | 1859.746 | 2040.964 | 1678.528
01/04/2024 01:30 | 1840.413 | 2020.1 | 1660.726
01/04/2024 02:00 | 1834.651 | 2014.127 | 1655.175
01/04/2024 02:30 | 1827.246 | 2006.348 | 1648.144
01/04/2024 03:00 | 1820.878 | 1999.704 | 1642.051
01/04/2024 03:30 | 1819.373 | 1998.401 | 1640.345
01/04/2024 04:00 | 1823.95 | 2003.777 | 1644.122
01/04/2024 04:30 | 1838.172 | 2019.755 | 1656.59
01/04/2024 05:00 | 1870.705 | 2055.859 | 1685.551
01/04/2024 05:30 | 1896.754 | 2084.85 | 1708.658
01/04/2024 06:00 | 1909.772 | 2099.525 | 1720.019
01/04/2024 06:30 | 1897.44 | 2086.331 | 1708.548
01/04/2024 07:00 | 1850.372 | 2034.933 | 1665.812
01/04/2024 07:30 | 1777.605 | 1955.339 | 1599.871
01/04/2024 08:00 | 1680.42 | 1849.016 | 1511.825
01/04/2024 08:30 | 1590.715 | 1750.844 | 1430.587
01/04/2024 09:00 | 1540.475 | 1696.063 | 1384.888
01/04/2024 09:30 | 1460.423 | 1608.415 | 1312.431
01/04/2024 10:00 | 1418.318 | 1562.519 | 1274.117
01/04/2024 10:30 | 1431.342 | 1577.347 | 1285.337
01/04/2024 11:00 | 1402.773 | 1546.334 | 1259.212
01/04/2024 11:30 | 1373.086 | 1514.069 | 1232.103
01/04/2024 12:00 | 1444.525 | 1593.328 | 1295.723
01/04/2024 12:30 | 1617.22 | 1784.354 | 1450.085
01/04/2024 13:00 | 1705.763 | 1882.62 | 1528.906
01/04/2024 13:30 | 1708.881 | 1886.635 | 1531.128
01/04/2024 14:00 | 1780.904 | 1966.746 | 1595.062
01/04/2024 14:30 | 2011.15 | 2221.693 | 1800.607
01/04/2024 15:00 | 2165.735 | 2393.188 | 1938.283
01/04/2024 15:30 | 2324.707 | 2569.635 | 2079.779
01/04/2024 16:00 | 2479.203 | 2741.24 | 2217.167
01/04/2024 16:30 | 2622.71 | 2900.793 | 2344.626
01/04/2024 17:00 | 2697.704 | 2984.644 | 2410.764
01/04/2024 17:30 | 2718.521 | 3008.586 | 2428.455
01/04/2024 18:00 | 2705.207 | 2994.759 | 2415.655
01/04/2024 18:30 | 2624.606 | 2906.411 | 2342.801
01/04/2024 19:00 | 2520.377 | 2791.835 | 2248.918
01/04/2024 19:30 | 2448.974 | 2713.564 | 2184.385
01/04/2024 20:00 | 2375.57 | 2633.025 | 2118.115
01/04/2024 20:30 | 2313.216 | 2564.689 | 2061.743
01/04/2024 21:00 | 2254.134 | 2499.94 | 2008.328
01/04/2024 21:30 | 2183.06 | 2421.848 | 1944.272
01/04/2024 22:00 | 2111.193 | 2342.828 | 1879.559
01/04/2024 22:30 | 2048.146 | 2273.55 | 1822.742
01/04/2024 23:00 | 1995.561 | 2215.847 | 1775.275
01/04/2024 23:30 | 1959.165 | 2176.09 | 1742.24
02/04/2024 00:00 | 1919.763 | 2132.969 | 1706.557
02/04/2024 00:30 | 1882.096 | 2091.75 | 1672.442
02/04/2024 01:00 | 1855.919 | 2063.279 | 1648.559
02/04/2024 01:30 | 1839.379 | 2045.508 | 1633.25
02/04/2024 02:00 | 1830.421 | 2036.16 | 1624.682
02/04/2024 02:30 | 1823.237 | 2028.78 | 1617.694
02/04/2024 03:00 | 1821.728 | 2027.712 | 1615.745
02/04/2024 03:30 | 1831.049 | 2038.7 | 1623.398
02/04/2024 04:00 | 1852.93 | 2063.684 | 1642.176
02/04/2024 04:30 | 1902.286 | 2119.292 | 1685.281
02/04/2024 05:00 | 1981.449 | 2208.149 | 1754.748
02/04/2024 05:30 | 2070.021 | 2307.549 | 1832.492
02/04/2024 06:00 | 2141.696 | 2388.167 | 1895.225
02/04/2024 06:30 | 2147.883 | 2395.787 | 1899.98
02/04/2024 07:00 | 2078.349 | 2318.924 | 1837.775
02/04/2024 07:30 | 1953.964 | 2180.796 | 1727.132