## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
30/03/2024 08:00 | 1677.07 | 1709.029 | 1652.477
30/03/2024 08:30 | 1611.727 | 1645.003 | 1578.451 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
30/03/2024 09:00 | 1533.138 | 1570.653 | 1495.623 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
30/03/2024 09:30 | 1472.844 | 1514.514 | 1431.174 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
30/03/2024 10:00 | 1433.378 | 1479.411 | 1387.345 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
30/03/2024 10:30 | 1417.381 | 1466.917 | 1367.846 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
30/03/2024 11:00 | 1387.811 | 1437.524 | 1338.099 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
30/03/2024 11:30 | 1384.377 | 1435.408 | 1333.345 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
30/03/2024 12:00 | 1399.741 | 1446.781 | 1341.109 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
30/03/2024 12:30 | 1434.198 | 1481.835 | 1370.741 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
30/03/2024 13:00 | 1448.03 | 1499.515 | 1384.204 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
30/03/2024 13:30 | 1498.136 | 1554.913 | 1432.35
30/03/2024 14:00 | 1569.438 | 1631.676 | 1499.929 | Summary view - for each schedule horizon (dispatch, week-ahead)
30/03/2024 14:30 | 1676.159 | 1744.374 | 1600.186
30/03/2024 15:00 | 1804.289 | 1880.324 | 1721.302 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
30/03/2024 15:30 | 1934.97 | 2018.488 | 1843.929 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
30/03/2024 16:00 | 2087.454 | 2180.204 | 1987.507 | Scenario | Violations
30/03/2024 16:30 | 2223.722 | 2328.854 | 2118.591 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
30/03/2024 17:00 | 2300.965 | 2412.145 | 2189.785 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
30/03/2024 17:30 | 2359.888 | 2476.373 | 2243.404 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
30/03/2024 18:00 | 2390.158 | 2510.626 | 2269.69 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0
30/03/2024 18:30 | 2362.915 | 2483.816 | 2242.013 | Low Demand Scenario | 0 | 0 | 1 | 0 | 1 | 0 | 4 | 0 | 0 | 0 | 0 | 1
30/03/2024 19:00 | 2279.818 | 2396.96 | 2162.676
30/03/2024 19:30 | 2240.861 | 2356.592 | 2125.131 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
30/03/2024 20:00 | 2202.6 | 2316.934 | 2088.265
30/03/2024 20:30 | 2147.851 | 2259.909 | 2035.793 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
30/03/2024 21:00 | 2081.16 | 2190.287 | 1972.034 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
30/03/2024 21:30 | 2017.752 | 2124.084 | 1911.419 | [7 empty] | 05/04/2024 10:00 | [11 empty] | 05/04/2024 09:30 | [7 empty] | 01/04/2024 05:30 |  | 01/04/2024 05:30 |  | 05/04/2024 10:30 |  |  |  |  | 03/04/2024 07:30
30/03/2024 22:00 | 1961.009 | 2064.868 | 1857.15 | [19 empty] | 05/04/2024 10:00 | [11 empty] | 05/04/2024 11:00
30/03/2024 22:30 | 1912.769 | 2014.577 | 1810.962 | [31 empty] | 05/04/2024 11:30
30/03/2024 23:00 | 1880.732 | 1981.33 | 1780.134 | [31 empty] | 05/04/2024 12:00
30/03/2024 23:30 | 1845.369 | 1944.561 | 1746.177
31/03/2024 00:00 | 1811.018 | 1908.841 | 1713.196
31/03/2024 00:30 | 1792.519 | 1889.814 | 1695.224
31/03/2024 01:00 | 1781.091 | 1878.235 | 1683.947
31/03/2024 01:30 | 1758.499 | 1854.873 | 1662.124
31/03/2024 02:00 | 1747.624 | 1843.863 | 1651.385
31/03/2024 02:30 | 1735.193 | 1831.204 | 1639.182
31/03/2024 03:00 | 1729.673 | 1825.834 | 1633.512
31/03/2024 03:30 | 1728.375 | 1824.728 | 1631.831
31/03/2024 04:00 | 1724.092 | 1820.673 | 1627.333
31/03/2024 04:30 | 1727.16 | 1824.382 | 1629.774
31/03/2024 05:00 | 1738.091 | 1836.398 | 1639.632
31/03/2024 05:30 | 1748.903 | 1848.293 | 1649.371
31/03/2024 06:00 | 1760.193 | 1860.697 | 1659.554
31/03/2024 06:30 | 1744.263 | 1844.267 | 1644.121
31/03/2024 07:00 | 1670.3 | 1766.356 | 1574.092
31/03/2024 07:30 | 1557.233 | 1647.065 | 1467.098
31/03/2024 08:00 | 1439.033 | 1522.301 | 1355.446
31/03/2024 08:30 | 1334.269 | 1411.708 | 1256.494
31/03/2024 09:00 | 1291.781 | 1366.991 | 1216.226
31/03/2024 09:30 | 1256.554 | 1329.94 | 1182.808
31/03/2024 10:00 | 1221.265 | 1292.808 | 1149.343
31/03/2024 10:30 | 1239.739 | 1312.597 | 1166.488
31/03/2024 11:00 | 1241.916 | 1315.348 | 1168.485
31/03/2024 11:30 | 1214.928 | 1286.996 | 1142.861
31/03/2024 12:00 | 1188.905 | 1259.657 | 1118.154
31/03/2024 12:30 | 1187.778 | 1258.689 | 1116.867
31/03/2024 13:00 | 1216.256 | 1289.1 | 1143.412
31/03/2024 13:30 | 1331.765 | 1411.781 | 1251.748
31/03/2024 14:00 | 1464.264 | 1552.521 | 1376.008
31/03/2024 14:30 | 1637.024 | 1736.007 | 1538.042
31/03/2024 15:00 | 1807.934 | 1917.596 | 1698.272
31/03/2024 15:30 | 1956.732 | 2075.793 | 1837.671
31/03/2024 16:00 | 2120.309 | 2249.729 | 1990.889
31/03/2024 16:30 | 2263.981 | 2402.603 | 2125.359
31/03/2024 17:00 | 2375.105 | 2519.664 | 2229.226
31/03/2024 17:30 | 2453.78 | 2603.66 | 2302.6
31/03/2024 18:00 | 2475.724 | 2627.474 | 2322.719
31/03/2024 18:30 | 2449.851 | 2600.509 | 2297.977
31/03/2024 19:00 | 2377.078 | 2523.723 | 2229.26
31/03/2024 19:30 | 2318.526 | 2462.034 | 2173.906
31/03/2024 20:00 | 2266.378 | 2407.106 | 2124.578
31/03/2024 20:30 | 2208.665 | 2346.249 | 2070.737
31/03/2024 21:00 | 2147.821 | 2282.041 | 2013.297
31/03/2024 21:30 | 2082.726 | 2213.289 | 1951.892
31/03/2024 22:00 | 2020.969 | 2148.057 | 1893.637
31/03/2024 22:30 | 1965.427 | 2089.417 | 1841.236
31/03/2024 23:00 | 1924.506 | 2046.305 | 1802.553
31/03/2024 23:30 | 1879.052 | 1994.589 | 1763.404
01/04/2024 00:00 | 1839.748 | 1945.923 | 1733.504
01/04/2024 00:30 | 1810.1 | 1915.492 | 1704.664
01/04/2024 01:00 | 1788.836 | 1893.293 | 1684.35
01/04/2024 01:30 | 1771.498 | 1875.236 | 1667.733
01/04/2024 02:00 | 1764.341 | 1867.951 | 1660.704
01/04/2024 02:30 | 1758.627 | 1862.207 | 1655.048
01/04/2024 03:00 | 1754.102 | 1857.704 | 1650.5
01/04/2024 03:30 | 1754.353 | 1858.26 | 1650.447
01/04/2024 04:00 | 1759.698 | 1864.212 | 1655.184
01/04/2024 04:30 | 1774.829 | 1880.535 | 1669.124
01/04/2024 05:00 | 1797.395 | 1904.741 | 1690.048
01/04/2024 05:30 | 1808.326 | 1916.624 | 1700.028
01/04/2024 06:00 | 1808.15 | 1916.735 | 1699.564
01/04/2024 06:30 | 1756.56 | 1862.338 | 1650.783
01/04/2024 07:00 | 1658.542 | 1758.691 | 1558.393
01/04/2024 07:30 | 1549.248 | 1643.082 | 1455.413
01/04/2024 08:00 | 1423.697 | 1510.242 | 1337.151
01/04/2024 08:30 | 1304.293 | 1383.865 | 1224.72
01/04/2024 09:00 | 1204.148 | 1277.874 | 1130.422
01/04/2024 09:30 | 1079.834 | 1146.184 | 1013.484
01/04/2024 10:00 | 1008.271 | 1070.445 | 946.098
01/04/2024 10:30 | 994.1255 | 1055.644 | 932.6071
01/04/2024 11:00 | 950.7589 | 1009.801 | 891.7164
01/04/2024 11:30 | 917.1133 | 974.2667 | 859.9598
01/04/2024 12:00 | 989.1549 | 1051.014 | 927.2958
01/04/2024 12:30 | 1156.885 | 1229.486 | 1084.284
01/04/2024 13:00 | 1234.002 | 1311.712 | 1156.292
01/04/2024 13:30 | 1220.182 | 1297.289 | 1143.075
01/04/2024 14:00 | 1318.826 | 1402.455 | 1235.198
01/04/2024 14:30 | 1576.448 | 1676.757 | 1476.139
01/04/2024 15:00 | 1762.969 | 1875.531 | 1650.406
01/04/2024 15:30 | 1948.478 | 2073.311 | 1823.645
01/04/2024 16:00 | 2136.211 | 2273.538 | 1998.884
01/04/2024 16:30 | 2327.368 | 2477.491 | 2177.244
01/04/2024 17:00 | 2446.265 | 2604.592 | 2287.937
01/04/2024 17:30 | 2507.409 | 2670.242 | 2344.576
01/04/2024 18:00 | 2525.27 | 2689.814 | 2360.726
01/04/2024 18:30 | 2466.644 | 2627.907 | 2305.38
01/04/2024 19:00 | 2386.539 | 2543.086 | 2229.991
01/04/2024 19:30 | 2324.802 | 2477.808 | 2171.796
01/04/2024 20:00 | 2258.012 | 2407.115 | 2108.908
01/04/2024 20:30 | 2206.164 | 2352.326 | 2060.002
01/04/2024 21:00 | 2152.553 | 2295.634 | 2009.473
01/04/2024 21:30 | 2085.181 | 2224.238 | 1946.123
01/04/2024 22:00 | 2019.144 | 2154.239 | 1884.049
01/04/2024 22:30 | 1959.589 | 2091.127 | 1828.05
01/04/2024 23:00 | 1913.029 | 2041.86 | 1784.198
01/04/2024 23:30 | 1878.329 | 2005.234 | 1751.425
02/04/2024 00:00 | 1839.92 | 1964.631 | 1715.208
02/04/2024 00:30 | 1806.786 | 1929.647 | 1683.926
02/04/2024 01:00 | 1785.088 | 1906.863 | 1663.313
02/04/2024 01:30 | 1773.176 | 1894.525 | 1651.826
02/04/2024 02:00 | 1766.988 | 1888.301 | 1645.676
02/04/2024 02:30 | 1762.738 | 1884.144 | 1641.332
02/04/2024 03:00 | 1764.248 | 1886.143 | 1642.353
02/04/2024 03:30 | 1776.401 | 1899.524 | 1653.278
02/04/2024 04:00 | 1801.56 | 1926.82 | 1676.299
02/04/2024 04:30 | 1853.833 | 1983.132 | 1724.533
02/04/2024 05:00 | 1929.089 | 2064.06 | 1794.119
02/04/2024 05:30 | 2009.357 | 2150.383 | 1868.332
02/04/2024 06:00 | 2077.806 | 2224.089 | 1931.522
02/04/2024 06:30 | 2065.959 | 2211.86 | 1920.059
02/04/2024 07:00 | 1977.052 | 2117.106 | 1836.999
02/04/2024 07:30 | 1850.653 | 1982.157 | 1719.149
02/04/2024 08:00 | 1723.205 | 1846.029 | 1600.38
02/04/2024 08:30 | 1570.877 | 1683.187 | 1458.567
02/04/2024 09:00 | 1435.17 | 1538.091 | 1332.248
02/04/2024 09:30 | 1344.604 | 1441.324 | 1247.884
02/04/2024 10:00 | 1282.674 | 1375.219 | 1190.128
02/04/2024 10:30 | 1235.268 | 1324.663 | 1145.873
02/04/2024 11:00 | 1242.498 | 1332.688 | 1152.308
02/04/2024 11:30 | 1288.038 | 1381.816 | 1194.261
02/04/2024 12:00 | 1327.586 | 1424.532 | 1230.64
02/04/2024 12:30 | 1385.457 | 1486.932 | 1283.982
02/04/2024 13:00 | 1471.966 | 1580.099 | 1363.833
02/04/2024 13:30 | 1581.793 | 1698.34 | 1465.246
02/04/2024 14:00 | 1728.179 | 1855.889 | 1600.469
02/04/2024 14:30 | 1903.793 | 2044.896 | 1762.69
02/04/2024 15:00 | 2088.74 | 2244.007 | 1933.472
02/04/2024 15:30 | 2262.461 | 2431.137 | 2093.786
02/04/2024 16:00 | 2442.211 | 2624.821 | 2259.601
02/04/2024 16:30 | 2623.922 | 2820.692 | 2427.152
02/04/2024 17:00 | 2745.13 | 2951.59 | 2538.671
02/04/2024 17:30 | 2793.226 | 3003.913 | 2582.539
02/04/2024 18:00 | 2781.914 | 2992.356 | 2571.472
02/04/2024 18:30 | 2699.792 | 2904.611 | 2494.972
02/04/2024 19:00 | 2609.562 | 2808.106 | 2411.018
02/04/2024 19:30 | 2530.519 | 2723.602 | 2337.436
02/04/2024 20:00 | 2443.904 | 2630.912 | 2256.896
02/04/2024 20:30 | 2363.96 | 2545.368 | 2182.553
02/04/2024 21:00 | 2282.528 | 2458.185 | 2106.871
02/04/2024 21:30 | 2202.761 | 2372.76 | 2032.761
02/04/2024 22:00 | 2128.991 | 2293.762 | 1964.219
02/04/2024 22:30 | 2062.24 | 2222.296 | 1902.184
02/04/2024 23:00 | 2006.743 | 2162.93 | 1850.556
02/04/2024 23:30 | 1960.445 | 2113.458 | 1807.433
03/04/2024 00:00 | 1920.625 | 2070.949 | 1770.302
03/04/2024 00:30 | 1889.022 | 2037.286 | 1740.759
03/04/2024 01:00 | 1865.213 | 2012.015 | 1718.411
03/04/2024 01:30 | 1845.741 | 1991.413 | 1700.068
03/04/2024 02:00 | 1835.141 | 1980.378 | 1689.904
03/04/2024 02:30 | 1827.809 | 1972.865 | 1682.753
03/04/2024 03:00 | 1825.912 | 1971.216 | 1680.607
03/04/2024 03:30 | 1835.058 | 1981.491 | 1688.625
03/04/2024 04:00 | 1860.013 | 2008.844 | 1711.182
03/04/2024 04:30 | 1911.454 | 2064.819 | 1758.09
03/04/2024 05:00 | 1986.851 | 2146.699 | 1827.003
03/04/2024 05:30 | 2070.887 | 2237.948 | 1903.825
03/04/2024 06:00 | 2137.877 | 2310.81 | 1964.944
03/04/2024 06:30 | 2126.335 | 2298.799 | 1953.872
03/04/2024 07:00 | 2034.945 | 2200.44 | 1869.449
03/04/2024 07:30 | 1905.211 | 2060.555 | 1749.868
03/04/2024 08:00 | 1771.49 | 1916.266 | 1626.713
03/04/2024 08:30 | 1627.134 | 1760.425 | 1493.843
03/04/2024 09:00 | 1505.724 | 1629.358 | 1382.09
03/04/2024 09:30 | 1408.12 | 1524.01 | 1292.231
03/04/2024 10:00 | 1352.81 | 1464.407 | 1241.214
03/04/2024 10:30 | 1331.503 | 1441.597 | 1221.408
03/04/2024 11:00 | 1352.404 | 1464.486 | 1240.323
03/04/2024 11:30 | 1384.82 | 1499.854 | 1269.786
03/04/2024 12:00 | 1422.623 | 1541.069 | 1304.176
03/04/2024 12:30 | 1492.052 | 1616.565 | 1367.539
03/04/2024 13:00 | 1583.975 | 1716.462 | 1451.487
03/04/2024 13:30 | 1690.564 | 1832.291 | 1548.837
03/04/2024 14:00 | 1826.012 | 1979.444 | 1672.58
03/04/2024 14:30 | 1999.518 | 2167.912 | 1831.123
03/04/2024 15:00 | 2178.636 | 2362.533 | 1994.739
03/04/2024 15:30 | 2356.777 | 2556.162 | 2157.391
03/04/2024 16:00 | 2531.155 | 2745.779 | 2316.532
03/04/2024 16:30 | 2691.086 | 2919.786 | 2462.386
03/04/2024 17:00 | 2798.152 | 3036.487 | 2559.817
03/04/2024 17:30 | 2841.6 | 3084.181 | 2599.02
03/04/2024 18:00 | 2828.517 | 3070.523 | 2586.511
03/04/2024 18:30 | 2751.932 | 2987.913 | 2515.951
03/04/2024 19:00 | 2664.34 | 2893.32 | 2435.36
03/04/2024 19:30 | 2588.334 | 2811.278 | 2365.39
03/04/2024 20:00 | 2501.379 | 2717.313 | 2285.445
03/04/2024 20:30 | 2418.518 | 2627.762 | 2209.273
03/04/2024 21:00 | 2337.483 | 2540.164 | 2134.802
03/04/2024 21:30 | 2253.441 | 2449.267 | 2057.615
03/04/2024 22:00 | 2173.905 | 2363.236 | 1984.574
03/04/2024 22:30 | 2104.574 | 2288.27 | 1920.878
03/04/2024 23:00 | 2049.344 | 2228.612 | 1870.076
03/04/2024 23:30 | 2005.697 | 2181.531 | 1829.862
04/04/2024 00:00 | 1970.411 | 2143.53 | 1797.292
04/04/2024 00:30 | 1941.359 | 2112.297 | 1770.42
04/04/2024 01:00 | 1917.783 | 2087.013 | 1748.553
04/04/2024 01:30 | 1897.653 | 2065.47 | 1729.836
04/04/2024 02:00 | 1888.724 | 2056.114 | 1721.334
04/04/2024 02:30 | 1882.755 | 2049.977 | 1715.534
04/04/2024 03:00 | 1881.068 | 2048.501 | 1713.636
04/04/2024 03:30 | 1889.902 | 2058.483 | 1721.321
04/04/2024 04:00 | 1914.656 | 2085.812 | 1743.5
04/04/2024 04:30 | 1963.001 | 2138.854 | 1787.147
04/04/2024 05:00 | 2046.578 | 2230.311 | 1862.844
04/04/2024 05:30 | 2148.323 | 2341.602 | 1955.043
04/04/2024 06:00 | 2228.73 | 2429.671 | 2027.79
04/04/2024 06:30 | 2254.315 | 2457.995 | 2050.636
04/04/2024 07:00 | 2220.687 | 2421.754 | 2019.621
04/04/2024 07:30 | 2137.74 | 2331.707 | 1943.774
04/04/2024 08:00 | 2043.295 | 2229.083 | 1857.506
04/04/2024 08:30 | 1923.087 | 2098.314 | 1747.86
04/04/2024 09:00 | 1813.275 | 1978.844 | 1647.706
04/04/2024 09:30 | 1713.018 | 1869.76 | 1556.275
04/04/2024 10:00 | 1658.295 | 1810.348 | 1506.242
04/04/2024 10:30 | 1656.698 | 1808.922 | 1504.473
04/04/2024 11:00 | 1727.562 | 1886.629 | 1568.495
04/04/2024 11:30 | 1853.592 | 2024.618 | 1682.566
04/04/2024 12:00 | 1962.789 | 2144.266 | 1781.311
04/04/2024 12:30 | 2076.626 | 2269.027 | 1884.225
04/04/2024 13:00 | 2180.423 | 2382.858 | 1977.987
04/04/2024 13:30 | 2312.518 | 2527.661 | 2097.375
04/04/2024 14:00 | 2442.071 | 2669.735 | 2214.407
04/04/2024 14:30 | 2556.266 | 2795.066 | 2317.467
04/04/2024 15:00 | 2651.094 | 2899.26 | 2402.927
04/04/2024 15:30 | 2705.873 | 2959.686 | 2452.06
04/04/2024 16:00 | 2770.956 | 3031.405 | 2510.507
04/04/2024 16:30 | 2843.746 | 3111.582 | 2575.91
04/04/2024 17:00 | 2898.718 | 3172.286 | 2625.149
04/04/2024 17:30 | 2921.828 | 3198.138 | 2645.519
04/04/2024 18:00 | 2885.247 | 3158.65 | 2611.844
04/04/2024 18:30 | 2814.391 | 3081.62 | 2547.163
04/04/2024 19:00 | 2750.101 | 3011.752 | 2488.449
04/04/2024 19:30 | 2670.997 | 2925.634 | 2416.36
04/04/2024 20:00 | 2580.646 | 2827.164 | 2334.128
04/04/2024 20:30 | 2489.109 | 2727.361 | 2250.858
04/04/2024 21:00 | 2396.778 | 2626.651 | 2166.905
04/04/2024 21:30 | 2306.112 | 2527.731 | 2084.493
04/04/2024 22:00 | 2223.738 | 2437.866 | 2009.609
04/04/2024 22:30 | 2152.402 | 2360.074 | 1944.729
04/04/2024 23:00 | 2092.914 | 2295.248 | 1890.58
04/04/2024 23:30 | 2047.097 | 2245.394 | 1848.8
05/04/2024 00:00 | 2008.919 | 2203.903 | 1813.936
05/04/2024 00:30 | 1976.621 | 2168.849 | 1784.394
05/04/2024 01:00 | 1949.994 | 2140.006 | 1759.982
05/04/2024 01:30 | 1927.338 | 2115.512 | 1739.164
05/04/2024 02:00 | 1915.489 | 2102.873 | 1728.105
05/04/2024 02:30 | 1907.255 | 2094.199 | 1720.311
05/04/2024 03:00 | 1902.614 | 2089.467 | 1715.76
05/04/2024 03:30 | 1909.826 | 2097.754 | 1721.898
05/04/2024 04:00 | 1933.474 | 2124.1 | 1742.848
05/04/2024 04:30 | 1981.513 | 2177.254 | 1785.771
05/04/2024 05:00 | 2049.855 | 2252.741 | 1846.969
05/04/2024 05:30 | 2129.39 | 2340.556 | 1918.224
05/04/2024 06:00 | 2208.31 | 2427.725 | 1988.894
05/04/2024 06:30 | 2233.939 | 2456.329 | 2011.548
05/04/2024 07:00 | 2202.202 | 2421.854 | 1982.549
05/04/2024 07:30 | 2126.133 | 2338.715 | 1913.551
05/04/2024 08:00 | 2051.25 | 2257.05 | 1845.45
05/04/2024 08:30 | 1967.793 | 2165.88 | 1769.706
05/04/2024 09:00 | 1872.789 | 2061.94 | 1683.638
05/04/2024 09:30 | 1759.461 | 1937.756 | 1581.166
05/04/2024 10:00 | 1705.36 | 1878.745 | 1531.975
05/04/2024 10:30 | 1725.816 | 1901.859 | 1549.773
05/04/2024 11:00 | 1767.246 | 1948.107 | 1586.384
05/04/2024 11:30 | 1802.438 | 1987.506 | 1617.371
05/04/2024 12:00 | 1842.41 | 2032.199 | 1652.62
05/04/2024 12:30 | 1911.626 | 2109.186 | 1714.065
05/04/2024 13:00 | 2003.342 | 2211.052 | 1795.631
05/04/2024 13:30 | 2111.795 | 2331.458 | 1892.132
05/04/2024 14:00 | 2236.833 | 2470.252 | 2003.413
05/04/2024 14:30 | 2382.904 | 2632.366 | 2133.443
05/04/2024 15:00 | 2525.867 | 2791.141 | 2260.592
05/04/2024 15:30 | 2686.413 | 2969.45 | 2403.376
05/04/2024 16:00 | 2815.128 | 3112.67 | 2517.586
05/04/2024 16:30 | 2890.309 | 3196.766 | 2583.852
05/04/2024 17:00 | 2926.549 | 3237.829 | 2615.268
05/04/2024 17:30 | 2932.857 | 3245.792 | 2619.922
05/04/2024 18:00 | 2894.335 | 3204.131 | 2584.54
05/04/2024 18:30 | 2803.924 | 3104.982 | 2502.866
05/04/2024 19:00 | 2713.114 | 3005.332 | 2420.896
05/04/2024 19:30 | 2636.184 | 2921 | 2351.368
05/04/2024 20:00 | 2556.241 | 2833.277 | 2279.206
05/04/2024 20:30 | 2481.333 | 2751.082 | 2211.583
05/04/2024 21:00 | 2409.476 | 2672.221 | 2146.73
05/04/2024 21:30 | 2335.129 | 2590.55 | 2079.708
05/04/2024 22:00 | 2261.688 | 2509.835 | 2013.542
05/04/2024 22:30 | 2192.291 | 2433.558 | 1951.023
05/04/2024 23:00 | 2127.22 | 2362.04 | 1892.401
05/04/2024 23:30 | 2074.076 | 2302.376 | 1845.776
06/04/2024 00:00 | 2029.257 | 2250.771 | 1807.742
06/04/2024 00:30 | 1992.498 | 2211.126 | 1773.869
06/04/2024 01:00 | 1964.025 | 2180.407 | 1747.642
06/04/2024 01:30 | 1939.405 | 2153.943 | 1724.866
06/04/2024 02:00 | 1924.046 | 2137.746 | 1710.346
06/04/2024 02:30 | 1910.719 | 2123.794 | 1697.644
06/04/2024 03:00 | 1901.578 | 2114.485 | 1688.672
06/04/2024 03:30 | 1898.363 | 2111.759 | 1684.966
06/04/2024 04:00 | 1898.004 | 2112.209 | 1683.799
06/04/2024 04:30 | 1910.739 | 2127.237 | 1694.242
06/04/2024 05:00 | 1950.905 | 2172.826 | 1728.984
06/04/2024 05:30 | 2006.374 | 2235.503 | 1777.245
06/04/2024 06:00 | 2047.79 | 2282.565 | 1813.015
06/04/2024 06:30 | 2060.506 | 2297.66 | 1823.351
06/04/2024 07:00 | 2024.959 | 2258.929 | 1790.99
06/04/2024 07:30 | 1950.041 | 2176.227 | 1723.855