## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
31/03/2024 08:00 | 1529.08 | 1567.563 | 1515.693
31/03/2024 08:30 | 1400.59 | 1429.507 | 1371.673 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
31/03/2024 09:00 | 1333.832 | 1366.469 | 1301.194 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
31/03/2024 09:30 | 1288.417 | 1324.869 | 1251.965 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
31/03/2024 10:00 | 1271.353 | 1312.183 | 1230.524 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
31/03/2024 10:30 | 1250.13 | 1293.82 | 1206.44 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
31/03/2024 11:00 | 1206.72 | 1249.945 | 1163.494 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
31/03/2024 11:30 | 1160.407 | 1203.182 | 1117.631 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
31/03/2024 12:00 | 1116.745 | 1159.073 | 1074.416 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
31/03/2024 12:30 | 1123.722 | 1167.486 | 1079.194 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
31/03/2024 13:00 | 1153.063 | 1199.061 | 1106.854 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
31/03/2024 13:30 | 1247.264 | 1297.403 | 1195.138
31/03/2024 14:00 | 1380.319 | 1437.521 | 1321.452 | Summary view - for each schedule horizon (dispatch, week-ahead)
31/03/2024 14:30 | 1558.543 | 1625.161 | 1490.827
31/03/2024 15:00 | 1741.748 | 1818.551 | 1664.753 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
31/03/2024 15:30 | 1908.776 | 1995.042 | 1822.511 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
31/03/2024 16:00 | 2097.14 | 2194.103 | 2000.177 | Scenario | Violations
31/03/2024 16:30 | 2268.479 | 2375.726 | 2161.231 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
31/03/2024 17:00 | 2391.156 | 2506.694 | 2275.619 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
31/03/2024 17:30 | 2474.031 | 2596.149 | 2351.912 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 1
31/03/2024 18:00 | 2500.628 | 2626.665 | 2374.592 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0
31/03/2024 18:30 | 2473.137 | 2599.678 | 2346.596 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 0
31/03/2024 19:00 | 2396.245 | 2519.369 | 2273.12
31/03/2024 19:30 | 2336.891 | 2457.581 | 2216.201 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
31/03/2024 20:00 | 2282.597 | 2401.084 | 2164.11
31/03/2024 20:30 | 2223.414 | 2339.414 | 2107.413 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
31/03/2024 21:00 | 2161.776 | 2275.129 | 2048.422 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
31/03/2024 21:30 | 2096.249 | 2206.718 | 1985.779 | [7 empty] | 31/03/2024 08:30 |  |  |  |  | 06/04/2024 08:00 | [6 empty] | 31/03/2024 09:00 | [11 empty] | 31/03/2024 09:00
31/03/2024 22:00 | 2033.799 | 2141.513 | 1926.085 | [7 empty] | 31/03/2024 09:00 | [11 empty] | 31/03/2024 09:30 | [11 empty] | 31/03/2024 09:30
31/03/2024 22:30 | 1978.164 | 2083.453 | 1872.876 | [7 empty] | 31/03/2024 09:30 | [11 empty] | 31/03/2024 10:00 | [11 empty] | 31/03/2024 10:00
31/03/2024 23:00 | 1938.484 | 2042.171 | 1834.798 | [7 empty] | 31/03/2024 10:00 | [11 empty] | 31/03/2024 10:30 | [11 empty] | 31/03/2024 10:30
31/03/2024 23:30 | 1894.619 | 1992.116 | 1797.121 | [7 empty] | 31/03/2024 10:30 | [11 empty] | 31/03/2024 11:00 | [11 empty] | 31/03/2024 11:00
01/04/2024 00:00 | 1856.828 | 1944.527 | 1769.128 | [7 empty] | 31/03/2024 11:00 | [11 empty] | 31/03/2024 11:30 | [11 empty] | 31/03/2024 11:30
01/04/2024 00:30 | 1827.5 | 1915.258 | 1739.741 | [7 empty] | 31/03/2024 11:30 | [11 empty] | 31/03/2024 12:00 | [11 empty] | 31/03/2024 12:00
01/04/2024 01:00 | 1805.615 | 1893.03 | 1718.201 | [7 empty] | 31/03/2024 12:00 | [11 empty] | 31/03/2024 12:30 | [11 empty] | 31/03/2024 12:30
01/04/2024 01:30 | 1786.743 | 1873.943 | 1699.543 | [7 empty] | 31/03/2024 12:30 | [11 empty] | 31/03/2024 13:00 | [11 empty] | 31/03/2024 13:00
01/04/2024 02:00 | 1779.073 | 1866.596 | 1691.551 | [7 empty] | 31/03/2024 13:00 | [11 empty] | 31/03/2024 13:30 | [11 empty] | 31/03/2024 13:30
01/04/2024 02:30 | 1772.453 | 1860.343 | 1684.562 | [7 empty] | 31/03/2024 13:30 | [11 empty] | 31/03/2024 14:00 | [11 empty] | 31/03/2024 14:00
01/04/2024 03:00 | 1767.055 | 1855.369 | 1678.741 | [7 empty] | 31/03/2024 14:00 | [11 empty] | 03/04/2024 11:30 | [11 empty] | 31/03/2024 14:30
01/04/2024 03:30 | 1766.342 | 1855.312 | 1677.372 | [7 empty] | 31/03/2024 14:30 | [11 empty] | 03/04/2024 12:00 | [11 empty] | 04/04/2024 10:30
01/04/2024 04:00 | 1771.003 | 1860.901 | 1681.105 | [7 empty] | 03/04/2024 12:30 | [11 empty] | 05/04/2024 10:00
01/04/2024 04:30 | 1785.317 | 1876.641 | 1693.994 | [7 empty] | 05/04/2024 10:30 | [11 empty] | 06/04/2024 11:30
01/04/2024 05:00 | 1808.025 | 1901.218 | 1714.833 | [7 empty] | 06/04/2024 13:00 | [11 empty] | 06/04/2024 12:00
01/04/2024 05:30 | 1819.987 | 1914.508 | 1725.465 | [7 empty] | 06/04/2024 13:30 | [11 empty] | 06/04/2024 12:30
01/04/2024 06:00 | 1820.059 | 1915.296 | 1724.821 | [19 empty] | 06/04/2024 13:00
01/04/2024 06:30 | 1773.348 | 1866.693 | 1680.004 | [19 empty] | 06/04/2024 13:30
01/04/2024 07:00 | 1685.514 | 1774.49 | 1596.538
01/04/2024 07:30 | 1588.913 | 1673.052 | 1504.774
01/04/2024 08:00 | 1471.132 | 1549.277 | 1392.987
01/04/2024 08:30 | 1350.028 | 1421.963 | 1278.093
01/04/2024 09:00 | 1255.615 | 1322.727 | 1188.504
01/04/2024 09:30 | 1144.095 | 1205.435 | 1082.755
01/04/2024 10:00 | 1080.533 | 1138.643 | 1022.422
01/04/2024 10:30 | 1071.91 | 1129.733 | 1014.086
01/04/2024 11:00 | 1045.2 | 1101.755 | 988.6442
01/04/2024 11:30 | 1022.588 | 1078.089 | 967.0876
01/04/2024 12:00 | 1113.586 | 1174.21 | 1052.963
01/04/2024 12:30 | 1293.49 | 1364.121 | 1222.859
01/04/2024 13:00 | 1382.832 | 1458.569 | 1307.094
01/04/2024 13:30 | 1406.124 | 1483.37 | 1328.879
01/04/2024 14:00 | 1531.44 | 1615.823 | 1447.057
01/04/2024 14:30 | 1786.571 | 1885.307 | 1687.836
01/04/2024 15:00 | 1952.096 | 2060.301 | 1843.89
01/04/2024 15:30 | 2115.757 | 2233.384 | 1998.13
01/04/2024 16:00 | 2282.226 | 2409.484 | 2154.967
01/04/2024 16:30 | 2448.508 | 2585.442 | 2311.573
01/04/2024 17:00 | 2551.351 | 2694.459 | 2408.244
01/04/2024 17:30 | 2602.229 | 2748.951 | 2456.134
01/04/2024 18:00 | 2607.203 | 2754.586 | 2460.354
01/04/2024 18:30 | 2545.683 | 2689.987 | 2401.859
01/04/2024 19:00 | 2468.38 | 2608.695 | 2328.502
01/04/2024 19:30 | 2401.318 | 2538.188 | 2264.818
01/04/2024 20:00 | 2330.484 | 2463.691 | 2197.617
01/04/2024 20:30 | 2272.77 | 2403.04 | 2142.806
01/04/2024 21:00 | 2213.994 | 2341.247 | 2087.013
01/04/2024 21:30 | 2142 | 2265.458 | 2018.785
01/04/2024 22:00 | 2071.215 | 2190.927 | 1951.723
01/04/2024 22:30 | 2007.561 | 2123.909 | 1891.395
01/04/2024 23:00 | 1957.294 | 2071.032 | 1843.695
01/04/2024 23:30 | 1919.744 | 2031.599 | 1807.991
02/04/2024 00:00 | 1879.321 | 1989.112 | 1769.595
02/04/2024 00:30 | 1844.562 | 1952.616 | 1736.551
02/04/2024 01:00 | 1820.678 | 1927.627 | 1713.759
02/04/2024 01:30 | 1806.372 | 1912.779 | 1699.995
02/04/2024 02:00 | 1798.942 | 1905.207 | 1692.705
02/04/2024 02:30 | 1793.51 | 1899.75 | 1687.297
02/04/2024 03:00 | 1793.289 | 1899.798 | 1686.793
02/04/2024 03:30 | 1803.964 | 1911.405 | 1696.536
02/04/2024 04:00 | 1828.15 | 1937.333 | 1718.979
02/04/2024 04:30 | 1880.021 | 1992.612 | 1767.429
02/04/2024 05:00 | 1954.908 | 2072.306 | 1837.509
02/04/2024 05:30 | 2035.585 | 2158.166 | 1913.005
02/04/2024 06:00 | 2105.071 | 2232.183 | 1977.959
02/04/2024 06:30 | 2098.473 | 2225.573 | 1971.373
02/04/2024 07:00 | 2021.502 | 2144.388 | 1898.616
02/04/2024 07:30 | 1898.165 | 2013.968 | 1782.362
02/04/2024 08:00 | 1767.572 | 1875.794 | 1659.35
02/04/2024 08:30 | 1622.92 | 1722.64 | 1523.2
02/04/2024 09:00 | 1493.743 | 1585.852 | 1401.634
02/04/2024 09:30 | 1406.709 | 1493.759 | 1319.659
02/04/2024 10:00 | 1347.853 | 1431.555 | 1264.151
02/04/2024 10:30 | 1304.545 | 1385.843 | 1223.247
02/04/2024 11:00 | 1314.667 | 1396.882 | 1232.451
02/04/2024 11:30 | 1359.733 | 1445.065 | 1274.402
02/04/2024 12:00 | 1398.984 | 1487.085 | 1310.885
02/04/2024 12:30 | 1453.266 | 1545.102 | 1361.43
02/04/2024 13:00 | 1533.94 | 1631.209 | 1436.671
02/04/2024 13:30 | 1639.598 | 1743.925 | 1535.271
02/04/2024 14:00 | 1780.539 | 1894.224 | 1666.855
02/04/2024 14:30 | 1952.71 | 2077.814 | 1827.606
02/04/2024 15:00 | 2130.378 | 2267.33 | 1993.427
02/04/2024 15:30 | 2297.766 | 2445.98 | 2149.551
02/04/2024 16:00 | 2474.427 | 2634.578 | 2314.277
02/04/2024 16:30 | 2652.366 | 2824.613 | 2480.12
02/04/2024 17:00 | 2768.839 | 2949.254 | 2588.424
02/04/2024 17:30 | 2814.669 | 2998.686 | 2630.653
02/04/2024 18:00 | 2803.847 | 2987.768 | 2619.925
02/04/2024 18:30 | 2721.81 | 2899.755 | 2542.675
02/04/2024 19:00 | 2630.747 | 2803.313 | 2457.03
02/04/2024 19:30 | 2553.194 | 2721.232 | 2384.041
02/04/2024 20:00 | 2467.527 | 2630.465 | 2303.51
02/04/2024 20:30 | 2388.26 | 2546.486 | 2228.991
02/04/2024 21:00 | 2307.317 | 2460.684 | 2152.941
02/04/2024 21:30 | 2226.898 | 2375.407 | 2077.417
02/04/2024 22:00 | 2151.656 | 2295.617 | 2006.755
02/04/2024 22:30 | 2083.374 | 2223.221 | 1942.616
02/04/2024 23:00 | 2026.347 | 2162.809 | 1888.999
02/04/2024 23:30 | 1979.007 | 2112.714 | 1844.436
03/04/2024 00:00 | 1938.043 | 2069.406 | 1805.834
03/04/2024 00:30 | 1905.418 | 2034.986 | 1775.018
03/04/2024 01:00 | 1880.684 | 2008.981 | 1751.566
03/04/2024 01:30 | 1860.545 | 1987.874 | 1732.403
03/04/2024 02:00 | 1849.55 | 1976.53 | 1722.569
03/04/2024 02:30 | 1841.632 | 1968.472 | 1714.793
03/04/2024 03:00 | 1838.967 | 1966.024 | 1711.909
03/04/2024 03:30 | 1847.519 | 1975.571 | 1719.466
03/04/2024 04:00 | 1872.11 | 2002.276 | 1741.945
03/04/2024 04:30 | 1923.008 | 2057.133 | 1788.884
03/04/2024 05:00 | 1997.936 | 2137.723 | 1858.149
03/04/2024 05:30 | 2082.046 | 2228.173 | 1935.919
03/04/2024 06:00 | 2149.468 | 2300.796 | 1998.14
03/04/2024 06:30 | 2138.896 | 2289.948 | 1987.844
03/04/2024 07:00 | 2048.775 | 2193.91 | 1903.64
03/04/2024 07:30 | 1920.12 | 2056.56 | 1783.68
03/04/2024 08:00 | 1787.37 | 1914.768 | 1659.972
03/04/2024 08:30 | 1643.243 | 1760.727 | 1525.759
03/04/2024 09:00 | 1522.05 | 1631.202 | 1412.898
03/04/2024 09:30 | 1424.766 | 1527.253 | 1322.28
03/04/2024 10:00 | 1369.646 | 1468.467 | 1270.825
03/04/2024 10:30 | 1348.577 | 1446.173 | 1250.982
03/04/2024 11:00 | 1369.664 | 1469.085 | 1270.243
03/04/2024 11:30 | 1403.051 | 1505.202 | 1300.901
03/04/2024 12:00 | 1439.576 | 1544.7 | 1334.452
03/04/2024 12:30 | 1507.318 | 1617.719 | 1396.918
03/04/2024 13:00 | 1597.286 | 1714.625 | 1479.947
03/04/2024 13:30 | 1699.08 | 1824.268 | 1573.892
03/04/2024 14:00 | 1827.743 | 1962.81 | 1692.675
03/04/2024 14:30 | 1993.239 | 2140.971 | 1845.506
03/04/2024 15:00 | 2163.21 | 2324.013 | 2002.407
03/04/2024 15:30 | 2331.978 | 2505.836 | 2158.119
03/04/2024 16:00 | 2505.768 | 2693.13 | 2318.405
03/04/2024 16:30 | 2680.286 | 2881.283 | 2479.289
03/04/2024 17:00 | 2797.517 | 3007.916 | 2587.117
03/04/2024 17:30 | 2839.71 | 3053.903 | 2625.517
03/04/2024 18:00 | 2826.844 | 3040.684 | 2613.003
03/04/2024 18:30 | 2749.513 | 2958.105 | 2540.922
03/04/2024 19:00 | 2660.786 | 2863.228 | 2458.345
03/04/2024 19:30 | 2585.124 | 2782.374 | 2387.875
03/04/2024 20:00 | 2498.221 | 2689.386 | 2307.056
03/04/2024 20:30 | 2415.722 | 2601.101 | 2230.342
03/04/2024 21:00 | 2335.086 | 2514.788 | 2155.385
03/04/2024 21:30 | 2251.354 | 2425.104 | 2077.604
03/04/2024 22:00 | 2172.044 | 2340.148 | 2003.94
03/04/2024 22:30 | 2103.175 | 2266.408 | 1939.942
03/04/2024 23:00 | 2048.702 | 2208.156 | 1889.249
03/04/2024 23:30 | 2005.856 | 2162.413 | 1849.3
04/04/2024 00:00 | 1971.219 | 2125.502 | 1816.935
04/04/2024 00:30 | 1942.359 | 2094.808 | 1789.91
04/04/2024 01:00 | 1918.799 | 2069.819 | 1767.78
04/04/2024 01:30 | 1898.332 | 2048.155 | 1748.508
04/04/2024 02:00 | 1889.181 | 2038.694 | 1739.667
04/04/2024 02:30 | 1883.102 | 2032.546 | 1733.658
04/04/2024 03:00 | 1881.395 | 2031.115 | 1731.676
04/04/2024 03:30 | 1890.201 | 2041.034 | 1739.367
04/04/2024 04:00 | 1914.998 | 2068.228 | 1761.767
04/04/2024 04:30 | 1963.728 | 2121.287 | 1806.169
04/04/2024 05:00 | 2041.576 | 2205.827 | 1877.325
04/04/2024 05:30 | 2136.184 | 2308.513 | 1963.854
04/04/2024 06:00 | 2220.434 | 2400.044 | 2040.823
04/04/2024 06:30 | 2251.574 | 2434.196 | 2068.952
04/04/2024 07:00 | 2230.62 | 2412.029 | 2049.21
04/04/2024 07:30 | 2161.379 | 2337.609 | 1985.149
04/04/2024 08:00 | 2085.365 | 2255.794 | 1914.937
04/04/2024 08:30 | 1996.823 | 2160.398 | 1833.248
04/04/2024 09:00 | 1899.486 | 2055.451 | 1743.521
04/04/2024 09:30 | 1789.315 | 1936.577 | 1642.052
04/04/2024 10:00 | 1738.392 | 1881.797 | 1594.988
04/04/2024 10:30 | 1770.722 | 1917.133 | 1624.311
04/04/2024 11:00 | 1818.075 | 1968.75 | 1667.4
04/04/2024 11:30 | 1853.733 | 2007.718 | 1699.748
04/04/2024 12:00 | 1899.469 | 2057.617 | 1741.32
04/04/2024 12:30 | 1973.4 | 2138.083 | 1808.718
04/04/2024 13:00 | 2028.753 | 2198.443 | 1859.063
04/04/2024 13:30 | 2078.555 | 2252.809 | 1904.301
04/04/2024 14:00 | 2201.062 | 2386.008 | 2016.115
04/04/2024 14:30 | 2402.411 | 2604.736 | 2200.086
04/04/2024 15:00 | 2560.376 | 2776.495 | 2344.257
04/04/2024 15:30 | 2660.529 | 2885.613 | 2435.446
04/04/2024 16:00 | 2757.676 | 2991.506 | 2523.845
04/04/2024 16:30 | 2843.193 | 3084.819 | 2601.566
04/04/2024 17:00 | 2905.662 | 3153.155 | 2658.17
04/04/2024 17:30 | 2939.732 | 3190.69 | 2688.774
04/04/2024 18:00 | 2913.389 | 3162.657 | 2664.122
04/04/2024 18:30 | 2832.266 | 3075.135 | 2589.396
04/04/2024 19:00 | 2746.3 | 2982.323 | 2510.276
04/04/2024 19:30 | 2668.173 | 2897.994 | 2438.352
04/04/2024 20:00 | 2577.625 | 2800.141 | 2355.109
04/04/2024 20:30 | 2485.468 | 2700.504 | 2270.431
04/04/2024 21:00 | 2392.333 | 2599.77 | 2184.895
04/04/2024 21:30 | 2301.201 | 2501.178 | 2101.225
04/04/2024 22:00 | 2218.708 | 2411.941 | 2025.475
04/04/2024 22:30 | 2146.373 | 2333.717 | 1959.028
04/04/2024 23:00 | 2084.551 | 2266.899 | 1902.203
04/04/2024 23:30 | 2035.653 | 2214.113 | 1857.192
05/04/2024 00:00 | 1994.351 | 2169.573 | 1819.129
05/04/2024 00:30 | 1960.158 | 2132.751 | 1787.564
05/04/2024 01:00 | 1932.752 | 2103.303 | 1762.201
05/04/2024 01:30 | 1911.67 | 2080.728 | 1742.613
05/04/2024 02:00 | 1900.064 | 2068.459 | 1731.669
05/04/2024 02:30 | 1892.156 | 2060.213 | 1724.1
05/04/2024 03:00 | 1887.962 | 2056.008 | 1719.916
05/04/2024 03:30 | 1895.521 | 2064.604 | 1726.439
05/04/2024 04:00 | 1919.526 | 2091.118 | 1747.935
05/04/2024 04:30 | 1967.299 | 2143.537 | 1791.06
05/04/2024 05:00 | 2037.175 | 2220.063 | 1854.286
05/04/2024 05:30 | 2117.929 | 2308.474 | 1927.384
05/04/2024 06:00 | 2191.06 | 2388.604 | 1993.516
05/04/2024 06:30 | 2200.196 | 2398.986 | 2001.407
05/04/2024 07:00 | 2136.302 | 2329.728 | 1942.875
05/04/2024 07:30 | 2029.064 | 2213.169 | 1844.959
05/04/2024 08:00 | 1922.06 | 2096.825 | 1747.295
05/04/2024 08:30 | 1802.632 | 1966.883 | 1638.381
05/04/2024 09:00 | 1694.305 | 1849.01 | 1539.599
05/04/2024 09:30 | 1600.265 | 1746.69 | 1453.839
05/04/2024 10:00 | 1552.151 | 1694.471 | 1409.83
05/04/2024 10:30 | 1551.542 | 1694.104 | 1408.98
05/04/2024 11:00 | 1583.568 | 1729.376 | 1437.759
05/04/2024 11:30 | 1616.622 | 1765.784 | 1467.461
05/04/2024 12:00 | 1651.292 | 1803.968 | 1498.615
05/04/2024 12:30 | 1718.13 | 1877.316 | 1558.944
05/04/2024 13:00 | 1806.876 | 1974.63 | 1639.121
05/04/2024 13:30 | 1908.966 | 2086.565 | 1731.367
05/04/2024 14:00 | 2031.297 | 2220.666 | 1841.928
05/04/2024 14:30 | 2182.603 | 2386.496 | 1978.709
05/04/2024 15:00 | 2335.085 | 2553.67 | 2116.5
05/04/2024 15:30 | 2496.655 | 2730.843 | 2262.467
05/04/2024 16:00 | 2648.607 | 2897.557 | 2399.658
05/04/2024 16:30 | 2770.627 | 3031.576 | 2509.678
05/04/2024 17:00 | 2830.161 | 3097.26 | 2563.063
05/04/2024 17:30 | 2842.91 | 3111.757 | 2574.063
05/04/2024 18:00 | 2810.137 | 3076.423 | 2543.851
05/04/2024 18:30 | 2722.439 | 2980.937 | 2463.941
05/04/2024 19:00 | 2631.981 | 2882.394 | 2381.568
05/04/2024 19:30 | 2557.812 | 2801.658 | 2313.965
05/04/2024 20:00 | 2480.106 | 2717.021 | 2243.192
05/04/2024 20:30 | 2409.411 | 2640.033 | 2178.788
05/04/2024 21:00 | 2342.105 | 2566.734 | 2117.476
05/04/2024 21:30 | 2272.595 | 2490.993 | 2054.197
05/04/2024 22:00 | 2203.457 | 2415.633 | 1991.281
05/04/2024 22:30 | 2136.125 | 2342.227 | 1930.023
05/04/2024 23:00 | 2071.308 | 2271.553 | 1871.063
05/04/2024 23:30 | 2016.507 | 2209.387 | 1823.626
06/04/2024 00:00 | 1968.56 | 2152.39 | 1784.731
06/04/2024 00:30 | 1930.074 | 2110.792 | 1749.355
06/04/2024 01:00 | 1899.939 | 2077.933 | 1721.945
06/04/2024 01:30 | 1877.563 | 2053.556 | 1701.57
06/04/2024 02:00 | 1863.84 | 2038.642 | 1689.038
06/04/2024 02:30 | 1850.034 | 2023.635 | 1676.432
06/04/2024 03:00 | 1840.606 | 2013.416 | 1667.795
06/04/2024 03:30 | 1838.827 | 2011.564 | 1666.09
06/04/2024 04:00 | 1841.604 | 2014.696 | 1668.512
06/04/2024 04:30 | 1855.415 | 2029.9 | 1680.93
06/04/2024 05:00 | 1896.316 | 2074.744 | 1717.888
06/04/2024 05:30 | 1955.428 | 2139.517 | 1771.338
06/04/2024 06:00 | 1992.865 | 2180.581 | 1805.149
06/04/2024 06:30 | 1981.959 | 2168.749 | 1795.17
06/04/2024 07:00 | 1901.101 | 2080.367 | 1721.835
06/04/2024 07:30 | 1775.239 | 1942.977 | 1607.5
06/04/2024 08:00 | 1659.215 | 1816.773 | 1501.657
06/04/2024 08:30 | 1545.69 | 1693.16 | 1398.221
06/04/2024 09:00 | 1445.034 | 1583.547 | 1306.521
06/04/2024 09:30 | 1359.248 | 1490.146 | 1228.35
06/04/2024 10:00 | 1315.891 | 1443.203 | 1188.58
06/04/2024 10:30 | 1297.316 | 1423.411 | 1171.221
06/04/2024 11:00 | 1312.337 | 1440.479 | 1184.195
06/04/2024 11:30 | 1325.47 | 1455.487 | 1195.452
06/04/2024 12:00 | 1365.073 | 1499.586 | 1230.56
06/04/2024 12:30 | 1415.821 | 1555.969 | 1275.674
06/04/2024 13:00 | 1478.271 | 1625.262 | 1331.281
06/04/2024 13:30 | 1600.207 | 1760.038 | 1440.376
06/04/2024 14:00 | 1753.075 | 1928.959 | 1577.191
06/04/2024 14:30 | 1933.905 | 2128.797 | 1739.013
06/04/2024 15:00 | 2107.812 | 2321.173 | 1894.451
06/04/2024 15:30 | 2272.577 | 2503.633 | 2041.521
06/04/2024 16:00 | 2459.291 | 2688.971 | 2190.667
06/04/2024 16:30 | 2578.058 | 2823.104 | 2297.865
06/04/2024 17:00 | 2641.696 | 2896.348 | 2355.351
06/04/2024 17:30 | 2684.41 | 2946.932 | 2394.319
06/04/2024 18:00 | 2665.733 | 2928.672 | 2377.331
06/04/2024 18:30 | 2594.051 | 2852.043 | 2313.035
06/04/2024 19:00 | 2519.263 | 2771.758 | 2245.89
06/04/2024 19:30 | 2454.091 | 2700.823 | 2186.434
06/04/2024 20:00 | 2389.826 | 2630.968 | 2127.957
06/04/2024 20:30 | 2340.315 | 2577.473 | 2082.803
06/04/2024 21:00 | 2293.476 | 2526.651 | 2039.887
06/04/2024 21:30 | 2235.798 | 2463.99 | 1987.499
06/04/2024 22:00 | 2174.675 | 2397.83 | 1932.382
06/04/2024 22:30 | 2112.191 | 2330.125 | 1876.12
06/04/2024 23:00 | 2052.896 | 2275.395 | 1822.656
06/04/2024 23:30 | 1999 | 2216.553 | 1773.97
07/04/2024 00:00 | 1949.885 | 2162.965 | 1729.4
07/04/2024 00:30 | 1910.803 | 2120.468 | 1693.835
07/04/2024 01:00 | 1880.194 | 2087.341 | 1665.854
07/04/2024 01:30 | 1857.833 | 2063.348 | 1645.413
07/04/2024 02:00 | 1844.192 | 2049.023 | 1632.657
07/04/2024 02:30 | 1829.131 | 2033.108 | 1618.728
07/04/2024 03:00 | 1817.276 | 2020.745 | 1607.763
07/04/2024 03:30 | 1813.085 | 2016.895 | 1603.4
07/04/2024 04:00 | 1811.157 | 2015.561 | 1600.927
07/04/2024 04:30 | 1814.891 | 2020.529 | 1603.542
07/04/2024 05:00 | 1835.675 | 2044.489 | 1621.041
07/04/2024 05:30 | 1868.33 | 2081.694 | 1648.749
07/04/2024 06:00 | 1882.133 | 2097.916 | 1659.746
07/04/2024 06:30 | 1850.72 | 2063.729 | 1630.603
07/04/2024 07:00 | 1757.148 | 1960.174 | 1546.324
07/04/2024 07:30 | 1622.297 | 1810.467 | 1426.071