## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
07/04/2024 08:00 | 1593.61 | 1629.19 | 1575.28
07/04/2024 08:30 | 1525.06 | 1556.547 | 1493.573 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
07/04/2024 09:00 | 1443.782 | 1479.11 | 1408.454 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
07/04/2024 09:30 | 1412.828 | 1452.801 | 1372.856 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
07/04/2024 10:00 | 1407.947 | 1453.163 | 1362.73 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
07/04/2024 10:30 | 1416.345 | 1465.844 | 1366.847 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
07/04/2024 11:00 | 1437.521 | 1489.015 | 1386.028 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
07/04/2024 11:30 | 1478.785 | 1533.296 | 1424.417 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
07/04/2024 12:00 | 1529.724 | 1587.706 | 1465.664 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
07/04/2024 12:30 | 1599.424 | 1654.119 | 1530.109 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
07/04/2024 13:00 | 1685.065 | 1746.371 | 1612.077 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
07/04/2024 13:30 | 1805.366 | 1874.024 | 1726.308
07/04/2024 14:00 | 1957.681 | 2035.19 | 1870.864 | Summary view - for each schedule horizon (dispatch, week-ahead)
07/04/2024 14:30 | 2140.245 | 2228.125 | 2043.95
07/04/2024 15:00 | 2326.265 | 2424.989 | 2219.904 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
07/04/2024 15:30 | 2516.239 | 2625.915 | 2398.826 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
07/04/2024 16:00 | 2703.793 | 2824.653 | 2574.995 | Scenario | Violations
07/04/2024 16:30 | 2852.64 | 2983.513 | 2714.144 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
07/04/2024 17:00 | 2944.343 | 3082.663 | 2798.493 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
07/04/2024 17:30 | 2989.317 | 3132.878 | 2838.146 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0
07/04/2024 18:00 | 2956.301 | 3105.303 | 2807.298 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0
07/04/2024 18:30 | 2863.419 | 3009.929 | 2716.908 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0
07/04/2024 19:00 | 2768.352 | 2910.597 | 2626.108
07/04/2024 19:30 | 2686.566 | 2825.315 | 2547.817 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
07/04/2024 20:00 | 2595.345 | 2730.067 | 2460.624
07/04/2024 20:30 | 2511.265 | 2642.283 | 2380.247 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
07/04/2024 21:00 | 2426.884 | 2554.138 | 2299.629 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
07/04/2024 21:30 | 2338.038 | 2461.25 | 2214.826 | [7 empty] | 07/04/2024 09:00 | [11 empty] | 07/04/2024 09:00 | [11 empty] | 07/04/2024 09:00
07/04/2024 22:00 | 2254.272 | 2373.663 | 2134.881 | [7 empty] | 07/04/2024 09:30 | [11 empty] | 07/04/2024 09:30 | [11 empty] | 07/04/2024 09:30
07/04/2024 22:30 | 2179.594 | 2295.603 | 2063.584 | [7 empty] | 07/04/2024 10:00 | [11 empty] | 07/04/2024 10:00 | [11 empty] | 07/04/2024 10:00
07/04/2024 23:00 | 2118.879 | 2232.215 | 2005.543 | [7 empty] | 07/04/2024 10:30 | [11 empty] | 07/04/2024 10:30 | [11 empty] | 07/04/2024 10:30
07/04/2024 23:30 | 2064.146 | 2170.368 | 1957.925 | [7 empty] | 07/04/2024 11:00 | [11 empty] | 07/04/2024 11:00 | [11 empty] | 07/04/2024 11:00
08/04/2024 00:00 | 2014.743 | 2109.901 | 1919.585 | [7 empty] | 07/04/2024 11:30 | [11 empty] | 07/04/2024 11:30 | [11 empty] | 07/04/2024 11:30
08/04/2024 00:30 | 1973.697 | 2068.476 | 1878.917 | [7 empty] | 07/04/2024 12:00 | [11 empty] | 07/04/2024 12:00 | [11 empty] | 07/04/2024 12:00
08/04/2024 01:00 | 1941.666 | 2035.667 | 1847.665 | [7 empty] | 07/04/2024 12:30 | [11 empty] | 07/04/2024 12:30 | [11 empty] | 07/04/2024 12:30
08/04/2024 01:30 | 1920.165 | 2013.877 | 1826.453 | [7 empty] | 08/04/2024 09:30 | [11 empty] | 08/04/2024 09:30 | [11 empty] | 08/04/2024 10:00
08/04/2024 02:00 | 1906.9 | 2000.71 | 1813.089 | [7 empty] | 08/04/2024 10:00 | [11 empty] | 08/04/2024 10:00 | [11 empty] | 08/04/2024 10:30
08/04/2024 02:30 | 1895.75 | 1989.754 | 1801.745 | [7 empty] | 08/04/2024 10:30 | [11 empty] | 08/04/2024 10:30 | [11 empty] | 08/04/2024 11:00
08/04/2024 03:00 | 1889.481 | 1983.914 | 1795.048 | [7 empty] | 08/04/2024 11:00 | [11 empty] | 08/04/2024 11:00 | [11 empty] | 08/04/2024 12:00
08/04/2024 03:30 | 1895.529 | 1991.006 | 1800.052 | [7 empty] | 08/04/2024 11:30 | [11 empty] | 08/04/2024 11:30
08/04/2024 04:00 | 1917.69 | 2015.033 | 1820.346 | [7 empty] | 08/04/2024 12:00 | [11 empty] | 08/04/2024 12:00
08/04/2024 04:30 | 1965.458 | 2065.996 | 1864.921 | [19 empty] | 08/04/2024 12:30
08/04/2024 05:00 | 2037.24 | 2142.247 | 1932.233
08/04/2024 05:30 | 2118.954 | 2229.002 | 2008.906
08/04/2024 06:00 | 2195.912 | 2310.817 | 2081.008
08/04/2024 06:30 | 2219.297 | 2336.115 | 2102.479
08/04/2024 07:00 | 2168.417 | 2282.885 | 2053.949
08/04/2024 07:30 | 2066.183 | 2175.595 | 1956.77
08/04/2024 08:00 | 1962.184 | 2066.413 | 1857.955
08/04/2024 08:30 | 1837.78 | 1935.705 | 1739.856
08/04/2024 09:00 | 1717.084 | 1808.861 | 1625.307
08/04/2024 09:30 | 1611.665 | 1698.074 | 1525.257
08/04/2024 10:00 | 1546.8 | 1629.986 | 1463.614
08/04/2024 10:30 | 1518.971 | 1600.911 | 1437.031
08/04/2024 11:00 | 1523.175 | 1605.594 | 1440.757
08/04/2024 11:30 | 1554.494 | 1638.863 | 1470.124
08/04/2024 12:00 | 1590.995 | 1677.609 | 1504.382
08/04/2024 12:30 | 1649.044 | 1739.09 | 1558.998
08/04/2024 13:00 | 1735.389 | 1830.436 | 1640.342
08/04/2024 13:30 | 1841.36 | 1942.516 | 1740.205
08/04/2024 14:00 | 1972.193 | 2080.861 | 1863.525
08/04/2024 14:30 | 2135.855 | 2253.894 | 2017.816
08/04/2024 15:00 | 2302.749 | 2430.391 | 2175.106
08/04/2024 15:30 | 2467.985 | 2605.195 | 2330.776
08/04/2024 16:00 | 2638.148 | 2785.253 | 2491.043
08/04/2024 16:30 | 2790.63 | 2946.698 | 2634.562
08/04/2024 17:00 | 2887.969 | 3049.957 | 2725.98
08/04/2024 17:30 | 2921.548 | 3085.903 | 2757.194
08/04/2024 18:00 | 2886.678 | 3049.547 | 2723.808
08/04/2024 18:30 | 2788.804 | 2946.613 | 2630.997
08/04/2024 19:00 | 2683.444 | 2835.733 | 2531.155
08/04/2024 19:30 | 2593.29 | 2740.89 | 2445.689
08/04/2024 20:00 | 2498.155 | 2640.753 | 2355.557
08/04/2024 20:30 | 2409.52 | 2547.457 | 2271.583
08/04/2024 21:00 | 2323.064 | 2456.436 | 2189.693
08/04/2024 21:30 | 2235.967 | 2364.707 | 2107.227
08/04/2024 22:00 | 2156.166 | 2280.646 | 2031.646
08/04/2024 22:30 | 2082.407 | 2202.976 | 1961.806
08/04/2024 23:00 | 2019.754 | 2137.033 | 1902.452
08/04/2024 23:30 | 1965.158 | 2079.603 | 1850.705
09/04/2024 00:00 | 1915.774 | 2027.659 | 1803.888
09/04/2024 00:30 | 1879.451 | 1989.526 | 1769.376
09/04/2024 01:00 | 1853.638 | 1962.506 | 1744.769
09/04/2024 01:30 | 1834.344 | 1942.383 | 1726.306
09/04/2024 02:00 | 1824.415 | 1932.17 | 1716.66
09/04/2024 02:30 | 1817.666 | 1925.322 | 1710.009
09/04/2024 03:00 | 1814.704 | 1922.485 | 1706.923
09/04/2024 03:30 | 1821.998 | 1930.513 | 1713.484
09/04/2024 04:00 | 1845.738 | 1955.972 | 1735.505
09/04/2024 04:30 | 1895.275 | 2008.78 | 1781.771
09/04/2024 05:00 | 1972.256 | 2090.697 | 1853.815
09/04/2024 05:30 | 2063.164 | 2187.405 | 1938.923
09/04/2024 06:00 | 2141.016 | 2270.299 | 2011.734
09/04/2024 06:30 | 2152.063 | 2282.409 | 2021.717
09/04/2024 07:00 | 2086.068 | 2212.879 | 1959.257
09/04/2024 07:30 | 1973.587 | 2093.991 | 1853.182
09/04/2024 08:00 | 1844.715 | 1957.66 | 1731.769
09/04/2024 08:30 | 1704.964 | 1809.726 | 1600.203
09/04/2024 09:00 | 1587.775 | 1685.682 | 1489.867
09/04/2024 09:30 | 1483.339 | 1575.131 | 1391.547
09/04/2024 10:00 | 1412.756 | 1500.489 | 1325.023
09/04/2024 10:30 | 1372.125 | 1457.635 | 1286.616
09/04/2024 11:00 | 1365.413 | 1450.803 | 1280.024
09/04/2024 11:30 | 1374.977 | 1461.264 | 1288.689
09/04/2024 12:00 | 1390.649 | 1478.224 | 1303.073
09/04/2024 12:30 | 1427.37 | 1517.569 | 1337.17
09/04/2024 13:00 | 1495.926 | 1590.784 | 1401.067
09/04/2024 13:30 | 1582.683 | 1683.389 | 1481.978
09/04/2024 14:00 | 1697.64 | 1806.031 | 1589.249
09/04/2024 14:30 | 1863.476 | 1982.863 | 1744.089
09/04/2024 15:00 | 2022.597 | 2152.62 | 1893.458
09/04/2024 15:30 | 2180.416 | 2321.06 | 2040.724
09/04/2024 16:00 | 2353.602 | 2505.932 | 2202.3
09/04/2024 16:30 | 2526.341 | 2689.299 | 2363.383
09/04/2024 17:00 | 2642.854 | 2813.906 | 2471.803
09/04/2024 17:30 | 2702.139 | 2877.618 | 2526.661
09/04/2024 18:00 | 2697.551 | 2873.321 | 2521.781
09/04/2024 18:30 | 2622.388 | 2793.833 | 2450.943
09/04/2024 19:00 | 2535.125 | 2701.419 | 2368.831
09/04/2024 19:30 | 2466.958 | 2629.32 | 2304.596
09/04/2024 20:00 | 2391.249 | 2549.151 | 2233.347
09/04/2024 20:30 | 2319.28 | 2472.936 | 2165.624
09/04/2024 21:00 | 2246.888 | 2396.239 | 2097.537
09/04/2024 21:30 | 2169.79 | 2314.49 | 2025.089
09/04/2024 22:00 | 2096.552 | 2236.826 | 1956.278
09/04/2024 22:30 | 2029.984 | 2166.248 | 1893.721
09/04/2024 23:00 | 1975.625 | 2108.671 | 1842.579
09/04/2024 23:30 | 1932.252 | 2062.8 | 1801.704
10/04/2024 00:00 | 1894.251 | 2022.645 | 1765.857
10/04/2024 00:30 | 1864.654 | 1991.449 | 1737.858
10/04/2024 01:00 | 1842.461 | 1968.15 | 1716.772
10/04/2024 01:30 | 1825.459 | 1950.387 | 1700.531
10/04/2024 02:00 | 1816.772 | 1941.503 | 1692.042
10/04/2024 02:30 | 1810.398 | 1935.087 | 1685.71
10/04/2024 03:00 | 1809.46 | 1934.479 | 1684.441
10/04/2024 03:30 | 1818.393 | 1944.426 | 1692.359
10/04/2024 04:00 | 1843.257 | 1971.416 | 1715.097
10/04/2024 04:30 | 1895.15 | 2027.331 | 1762.968
10/04/2024 05:00 | 1974.915 | 2113.091 | 1836.738
10/04/2024 05:30 | 2066.56 | 2211.6 | 1921.52
10/04/2024 06:00 | 2146.242 | 2297.344 | 1995.141
10/04/2024 06:30 | 2156.845 | 2309.165 | 2004.526
10/04/2024 07:00 | 2078.392 | 2225.625 | 1931.159
10/04/2024 07:30 | 1956.817 | 2095.865 | 1817.769
10/04/2024 08:00 | 1833.047 | 1963.701 | 1702.394
10/04/2024 08:30 | 1691.125 | 1812.033 | 1570.218
10/04/2024 09:00 | 1569.443 | 1681.994 | 1456.893
10/04/2024 09:30 | 1470.914 | 1576.72 | 1365.108
10/04/2024 10:00 | 1406.773 | 1508.273 | 1305.274
10/04/2024 10:30 | 1365.585 | 1464.411 | 1266.759
10/04/2024 11:00 | 1367.937 | 1467.232 | 1268.642
10/04/2024 11:30 | 1390.665 | 1491.913 | 1289.416
10/04/2024 12:00 | 1405.563 | 1508.204 | 1302.923
10/04/2024 12:30 | 1453.054 | 1559.48 | 1346.628
10/04/2024 13:00 | 1530.275 | 1642.691 | 1417.858
10/04/2024 13:30 | 1617.986 | 1737.199 | 1498.773
10/04/2024 14:00 | 1726.053 | 1853.606 | 1598.5
10/04/2024 14:30 | 1877.973 | 2017.163 | 1738.784
10/04/2024 15:00 | 2031.195 | 2182.185 | 1880.205
10/04/2024 15:30 | 2191.011 | 2354.359 | 2027.662
10/04/2024 16:00 | 2365.139 | 2541.987 | 2188.292
10/04/2024 16:30 | 2532.763 | 2722.697 | 2342.829
10/04/2024 17:00 | 2647.784 | 2846.922 | 2448.646
10/04/2024 17:30 | 2703.523 | 2907.445 | 2499.602
10/04/2024 18:00 | 2697.555 | 2901.615 | 2493.495
10/04/2024 18:30 | 2622.336 | 2821.28 | 2423.393
10/04/2024 19:00 | 2531.688 | 2724.307 | 2339.068
10/04/2024 19:30 | 2465.738 | 2653.878 | 2277.597
10/04/2024 20:00 | 2389.663 | 2572.521 | 2206.805
10/04/2024 20:30 | 2316.128 | 2493.865 | 2138.391
10/04/2024 21:00 | 2243.456 | 2416.106 | 2070.805
10/04/2024 21:30 | 2166.397 | 2333.59 | 1999.204
10/04/2024 22:00 | 2095.027 | 2257.17 | 1932.884
10/04/2024 22:30 | 2031.556 | 2189.231 | 1873.881
10/04/2024 23:00 | 1979.738 | 2133.823 | 1825.652
10/04/2024 23:30 | 1936.477 | 2087.618 | 1785.336
11/04/2024 00:00 | 1900.067 | 2048.782 | 1751.352
11/04/2024 00:30 | 1871.223 | 2018.089 | 1724.357
11/04/2024 01:00 | 1848.768 | 1994.275 | 1703.26
11/04/2024 01:30 | 1830.497 | 1974.966 | 1686.027
11/04/2024 02:00 | 1822.939 | 1967.21 | 1678.668
11/04/2024 02:30 | 1818.162 | 1962.453 | 1673.872
11/04/2024 03:00 | 1817.449 | 1962.08 | 1672.818
11/04/2024 03:30 | 1827.053 | 1972.848 | 1681.259
11/04/2024 04:00 | 1852.994 | 2001.263 | 1704.724
11/04/2024 04:30 | 1903.139 | 2055.836 | 1750.442
11/04/2024 05:00 | 1981.366 | 2140.773 | 1821.959
11/04/2024 05:30 | 2074.386 | 2241.73 | 1907.042
11/04/2024 06:00 | 2154.791 | 2329.092 | 1980.49
11/04/2024 06:30 | 2168.782 | 2344.688 | 1992.875
11/04/2024 07:00 | 2099.831 | 2270.604 | 1929.058
11/04/2024 07:30 | 1978.306 | 2139.609 | 1817.003
11/04/2024 08:00 | 1856.062 | 2007.75 | 1704.373
11/04/2024 08:30 | 1720.173 | 1861.085 | 1579.26
11/04/2024 09:00 | 1597.249 | 1728.398 | 1466.1
11/04/2024 09:30 | 1496.866 | 1620.06 | 1373.673
11/04/2024 10:00 | 1430.454 | 1548.456 | 1312.452
11/04/2024 10:30 | 1396.589 | 1512.065 | 1281.113
11/04/2024 11:00 | 1397.06 | 1512.842 | 1281.277
11/04/2024 11:30 | 1398.231 | 1514.378 | 1282.083
11/04/2024 12:00 | 1420.068 | 1538.302 | 1301.834
11/04/2024 12:30 | 1488.939 | 1613.193 | 1364.686
11/04/2024 13:00 | 1565.436 | 1696.373 | 1434.499
11/04/2024 13:30 | 1663.645 | 1803.115 | 1524.174
11/04/2024 14:00 | 1788.589 | 1938.877 | 1638.301
11/04/2024 14:30 | 1948.212 | 2112.286 | 1784.139
11/04/2024 15:00 | 2101.803 | 2279.215 | 1924.392
11/04/2024 15:30 | 2253.228 | 2443.853 | 2062.603
11/04/2024 16:00 | 2411.917 | 2616.429 | 2207.404
11/04/2024 16:30 | 2565.882 | 2783.942 | 2347.823
11/04/2024 17:00 | 2672.824 | 2900.484 | 2445.164
11/04/2024 17:30 | 2734.035 | 2967.433 | 2500.637
11/04/2024 18:00 | 2726.831 | 2960.136 | 2493.525
11/04/2024 18:30 | 2650.669 | 2877.967 | 2423.372
11/04/2024 19:00 | 2561.245 | 2781.365 | 2341.125
11/04/2024 19:30 | 2494.08 | 2708.905 | 2279.254
11/04/2024 20:00 | 2416.094 | 2624.665 | 2207.522
11/04/2024 20:30 | 2336.517 | 2538.667 | 2134.367
11/04/2024 21:00 | 2255.823 | 2451.424 | 2060.223
11/04/2024 21:30 | 2177.875 | 2367.135 | 1988.616
11/04/2024 22:00 | 2106.805 | 2290.292 | 1923.318
11/04/2024 22:30 | 2041.719 | 2219.929 | 1863.509
11/04/2024 23:00 | 1988.805 | 2162.778 | 1814.833
11/04/2024 23:30 | 1948.154 | 2118.944 | 1777.364
12/04/2024 00:00 | 1914.057 | 2082.224 | 1745.889
12/04/2024 00:30 | 1885.138 | 2051.126 | 1719.15
12/04/2024 01:00 | 1862.099 | 2026.415 | 1697.782
12/04/2024 01:30 | 1843.714 | 2006.762 | 1680.667
12/04/2024 02:00 | 1834.569 | 1997.159 | 1671.979
12/04/2024 02:30 | 1829.691 | 1992.199 | 1667.182
12/04/2024 03:00 | 1827.508 | 1990.173 | 1664.843
12/04/2024 03:30 | 1835.895 | 1999.659 | 1672.132
12/04/2024 04:00 | 1861.644 | 2028.061 | 1695.227
12/04/2024 04:30 | 1911.062 | 2082.262 | 1739.861
12/04/2024 05:00 | 1983.287 | 2161.338 | 1805.236
12/04/2024 05:30 | 2067.578 | 2253.592 | 1881.563
12/04/2024 06:00 | 2145.14 | 2338.544 | 1951.736
12/04/2024 06:30 | 2162.315 | 2357.683 | 1966.948
12/04/2024 07:00 | 2100.791 | 2291.001 | 1910.58
12/04/2024 07:30 | 1988.541 | 2168.969 | 1808.112
12/04/2024 08:00 | 1870.61 | 2040.697 | 1700.524
12/04/2024 08:30 | 1734.549 | 1892.597 | 1576.501
12/04/2024 09:00 | 1610.746 | 1757.822 | 1463.67
12/04/2024 09:30 | 1502.041 | 1639.479 | 1364.603
12/04/2024 10:00 | 1428.783 | 1559.792 | 1297.775
12/04/2024 10:30 | 1398.996 | 1527.542 | 1270.451
12/04/2024 11:00 | 1408.619 | 1538.319 | 1278.919
12/04/2024 11:30 | 1419.466 | 1550.436 | 1288.495
12/04/2024 12:00 | 1432.325 | 1564.757 | 1299.894
12/04/2024 12:30 | 1481.083 | 1618.307 | 1343.86
12/04/2024 13:00 | 1556.832 | 1701.372 | 1412.292
12/04/2024 13:30 | 1651.397 | 1805.033 | 1497.761
12/04/2024 14:00 | 1762.696 | 1927.024 | 1598.367
12/04/2024 14:30 | 1902.329 | 2080.04 | 1724.618
12/04/2024 15:00 | 2047.982 | 2239.692 | 1856.273
12/04/2024 15:30 | 2208.895 | 2416.091 | 2001.698
12/04/2024 16:00 | 2375.149 | 2598.396 | 2151.903
12/04/2024 16:30 | 2525.303 | 2763.146 | 2287.459
12/04/2024 17:00 | 2612.954 | 2859.553 | 2366.354
12/04/2024 17:30 | 2650.007 | 2900.612 | 2399.403
12/04/2024 18:00 | 2634.094 | 2883.698 | 2384.489
12/04/2024 18:30 | 2556.192 | 2798.904 | 2313.479
12/04/2024 19:00 | 2469.629 | 2704.596 | 2234.663
12/04/2024 19:30 | 2408.796 | 2638.436 | 2179.156
12/04/2024 20:00 | 2343.942 | 2567.849 | 2120.035
12/04/2024 20:30 | 2283.111 | 2501.644 | 2064.577
12/04/2024 21:00 | 2224.292 | 2437.622 | 2010.962
12/04/2024 21:30 | 2162.698 | 2370.535 | 1954.861
12/04/2024 22:00 | 2099.468 | 2301.631 | 1897.305
12/04/2024 22:30 | 2037.524 | 2234.113 | 1840.935
12/04/2024 23:00 | 1981.093 | 2172.616 | 1789.569
12/04/2024 23:30 | 1927.705 | 2112.092 | 1743.319
13/04/2024 00:00 | 1875.616 | 2050.767 | 1700.466
13/04/2024 00:30 | 1836.778 | 2008.761 | 1664.795
13/04/2024 01:00 | 1806.704 | 1975.963 | 1637.445
13/04/2024 01:30 | 1783.3 | 1950.457 | 1616.142
13/04/2024 02:00 | 1766.756 | 1932.453 | 1601.059
13/04/2024 02:30 | 1750.047 | 1914.266 | 1585.828
13/04/2024 03:00 | 1737.076 | 1900.166 | 1573.985
13/04/2024 03:30 | 1732.978 | 1895.772 | 1570.184
13/04/2024 04:00 | 1735.346 | 1898.451 | 1572.241
13/04/2024 04:30 | 1748.07 | 1912.46 | 1583.68
13/04/2024 05:00 | 1781.874 | 1949.534 | 1614.214
13/04/2024 05:30 | 1836.357 | 2009.237 | 1663.478
13/04/2024 06:00 | 1880.414 | 2057.537 | 1703.291
13/04/2024 06:30 | 1879.603 | 2056.745 | 1702.46
13/04/2024 07:00 | 1806.187 | 1976.503 | 1635.872
13/04/2024 07:30 | 1676.116 | 1834.489 | 1517.743
13/04/2024 08:00 | 1552.502 | 1699.927 | 1405.078
13/04/2024 08:30 | 1422.72 | 1558.457 | 1286.982
13/04/2024 09:00 | 1305.312 | 1430.431 | 1180.192
13/04/2024 09:30 | 1202.594 | 1318.406 | 1086.782
13/04/2024 10:00 | 1129.375 | 1238.642 | 1020.109
13/04/2024 10:30 | 1065.847 | 1169.443 | 962.2498
13/04/2024 11:00 | 1051.321 | 1153.977 | 948.6658
13/04/2024 11:30 | 1056.83 | 1160.496 | 953.1636
13/04/2024 12:00 | 1081.389 | 1187.949 | 974.8303
13/04/2024 12:30 | 1117.319 | 1227.918 | 1006.719
13/04/2024 13:00 | 1159.25 | 1274.519 | 1043.981
13/04/2024 13:30 | 1254.053 | 1379.31 | 1128.797
13/04/2024 14:00 | 1371.148 | 1508.714 | 1233.582
13/04/2024 14:30 | 1518.294 | 1671.302 | 1365.286
13/04/2024 15:00 | 1679.24 | 1849.22 | 1509.261
13/04/2024 15:30 | 1848.515 | 2036.457 | 1660.574
13/04/2024 16:00 | 2034.612 | 2242.384 | 1826.839
13/04/2024 16:30 | 2191.656 | 2416.446 | 1966.866
13/04/2024 17:00 | 2291.865 | 2527.959 | 2055.771
13/04/2024 17:30 | 2356.711 | 2600.54 | 2112.883
13/04/2024 18:00 | 2352.965 | 2597.458 | 2108.471
13/04/2024 18:30 | 2289.474 | 2528.394 | 2050.553
13/04/2024 19:00 | 2218.271 | 2450.754 | 1985.788
13/04/2024 19:30 | 2161.755 | 2389.282 | 1934.228
13/04/2024 20:00 | 2106.623 | 2329.29 | 1883.956
13/04/2024 20:30 | 2066.338 | 2285.672 | 1847.004
13/04/2024 21:00 | 2027.78 | 2243.928 | 1811.632
13/04/2024 21:30 | 1980.673 | 2192.687 | 1768.66
13/04/2024 22:00 | 1929.608 | 2137.019 | 1722.197
13/04/2024 22:30 | 1879.542 | 2082.412 | 1676.672
13/04/2024 23:00 | 1835.96 | 2034.948 | 1636.973
13/04/2024 23:30 | 1796.37 | 1991.871 | 1600.87
14/04/2024 00:00 | 1759.865 | 1952.18 | 1567.55
14/04/2024 00:30 | 1730.021 | 1919.849 | 1540.193
14/04/2024 01:00 | 1708.332 | 1896.544 | 1520.119
14/04/2024 01:30 | 1691.568 | 1878.69 | 1504.445
14/04/2024 02:00 | 1682.211 | 1869.051 | 1495.371
14/04/2024 02:30 | 1671.8 | 1858.231 | 1485.368
14/04/2024 03:00 | 1663.764 | 1850.044 | 1477.483
14/04/2024 03:30 | 1663.547 | 1850.548 | 1476.547
14/04/2024 04:00 | 1666.03 | 1854.055 | 1478.005
14/04/2024 04:30 | 1674.069 | 1863.75 | 1484.388
14/04/2024 05:00 | 1692.887 | 1885.458 | 1500.316
14/04/2024 05:30 | 1721.895 | 1918.536 | 1525.254
14/04/2024 06:00 | 1740.987 | 1940.588 | 1541.387
14/04/2024 06:30 | 1718.472 | 1916.261 | 1520.684
14/04/2024 07:00 | 1629.49 | 1817.766 | 1441.214
14/04/2024 07:30 | 1489.639 | 1662.422 | 1316.855