## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
13/04/2024 08:00 | 1585.38 | 1614.109 | 1560.698
13/04/2024 08:30 | 1477.892 | 1508.404 | 1447.379 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
13/04/2024 09:00 | 1366.985 | 1400.434 | 1333.536 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
13/04/2024 09:30 | 1249.271 | 1284.615 | 1213.926 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
13/04/2024 10:00 | 1120.855 | 1156.852 | 1084.859 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
13/04/2024 10:30 | 1030.172 | 1066.175 | 994.1692 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
13/04/2024 11:00 | 977.0107 | 1012.008 | 942.0133 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
13/04/2024 11:30 | 937.8297 | 972.4003 | 903.2592 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
13/04/2024 12:00 | 920.9792 | 955.8878 | 884.2427 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
13/04/2024 12:30 | 944.4766 | 981.2596 | 903.0109 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
13/04/2024 13:00 | 985.5658 | 1024.975 | 942.3471 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
13/04/2024 13:30 | 1060.021 | 1100.219 | 1013.497
13/04/2024 14:00 | 1169.256 | 1215.264 | 1117.14 | Summary view - for each schedule horizon (dispatch, week-ahead)
13/04/2024 14:30 | 1319.988 | 1373.958 | 1260.388
13/04/2024 15:00 | 1490.755 | 1554.348 | 1422.895 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
13/04/2024 15:30 | 1672.599 | 1745.562 | 1594.606 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
13/04/2024 16:00 | 1870.923 | 1954.796 | 1782.021 | Scenario | Violations
13/04/2024 16:30 | 2048.314 | 2143.069 | 1949.58 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
13/04/2024 17:00 | 2177.772 | 2280.721 | 2070.477 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
13/04/2024 17:30 | 2263.876 | 2373.511 | 2150.219 | Reference Scenario | 0 | 0 | 0 | 0 | 6 | 4 | 12 | 0 | 8 | 8 | 0 | 1
13/04/2024 18:00 | 2280.082 | 2393.256 | 2163.583 | High Demand Scenario | 0 | 2 | 6 | 4 | 3 | 1 | 21 | 0 | 6 | 6 | 0 | 1
13/04/2024 18:30 | 2230.178 | 2342.87 | 2114.788 | Low Demand Scenario | 0 | 0 | 0 | 0 | 6 | 6 | 12 | 0 | 8 | 8 | 0 | 3
13/04/2024 19:00 | 2166.448 | 2276.798 | 2054.259
13/04/2024 19:30 | 2116.302 | 2224.867 | 2006.344 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
13/04/2024 20:00 | 2065.796 | 2173.03 | 1958.563
13/04/2024 20:30 | 2030.409 | 2136.34 | 1924.479 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
13/04/2024 21:00 | 1994.645 | 2099.235 | 1890.055 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
13/04/2024 21:30 | 1949.105 | 2051.821 | 1846.39 | [5 empty] | 14/04/2024 10:00 | 14/04/2024 10:30 | 13/04/2024 08:30 |  | 14/04/2024 09:30 | 14/04/2024 09:30 |  | 13/04/2024 08:00 |  | 18/04/2024 17:00 | 18/04/2024 16:30 | 18/04/2024 16:30 | 14/04/2024 10:30 | 14/04/2024 11:00 | 13/04/2024 08:30 |  | 14/04/2024 10:00 | 14/04/2024 10:00 |  | 13/04/2024 08:00 |  |  |  |  | 14/04/2024 10:00 | 14/04/2024 10:00 | 13/04/2024 08:30 |  | 14/04/2024 09:30 | 14/04/2024 09:30 |  | 13/04/2024 08:00
13/04/2024 22:00 | 1900.317 | 2000.962 | 1799.672 | [5 empty] | 14/04/2024 10:30 | 14/04/2024 11:00 | 13/04/2024 09:00 |  | 14/04/2024 10:00 | 14/04/2024 10:00 |  |  |  | 18/04/2024 17:30 | 18/04/2024 17:00 | 18/04/2024 17:00 | 14/04/2024 11:00 |  | 13/04/2024 09:00 |  | 14/04/2024 10:30 | 14/04/2024 10:30 | [6 empty] | 14/04/2024 10:30 | 14/04/2024 10:30 | 13/04/2024 09:00 |  | 14/04/2024 10:00 | 14/04/2024 10:00 |  | 14/04/2024 11:00
13/04/2024 22:30 | 1852.63 | 1951.236 | 1754.023 | [5 empty] | 14/04/2024 11:00 | 14/04/2024 11:30 | 13/04/2024 09:30 |  | 14/04/2024 10:30 | 14/04/2024 10:30 |  |  |  |  | 18/04/2024 17:30 | 18/04/2024 17:30 | 14/04/2024 11:30 |  | 13/04/2024 09:30 |  | 14/04/2024 11:00 | 14/04/2024 11:00 | [6 empty] | 14/04/2024 11:00 | 14/04/2024 11:00 | 13/04/2024 09:30 |  | 14/04/2024 10:30 | 14/04/2024 10:30 |  | 14/04/2024 11:30
13/04/2024 23:00 | 1810.292 | 1907.122 | 1713.462 | [5 empty] | 14/04/2024 11:30 | 14/04/2024 12:00 | 13/04/2024 10:00 |  | 14/04/2024 11:00 | 14/04/2024 11:00 |  |  |  |  | 18/04/2024 18:00 | 18/04/2024 18:00 |  |  | 13/04/2024 10:00 |  | 14/04/2024 11:30 | 14/04/2024 11:30 | [6 empty] | 14/04/2024 11:30 | 14/04/2024 11:30 | 13/04/2024 10:00 |  | 14/04/2024 11:00 | 14/04/2024 11:00
13/04/2024 23:30 | 1772.229 | 1867.49 | 1676.969 | [5 empty] | 14/04/2024 12:00 |  | 13/04/2024 10:30 |  | 14/04/2024 11:30 | 14/04/2024 11:30 |  |  |  |  | 19/04/2024 17:00 |  |  |  | 13/04/2024 10:30 |  | 14/04/2024 12:00 | 14/04/2024 12:00 | [6 empty] | 14/04/2024 12:00 | 14/04/2024 12:00 | 13/04/2024 10:30 |  | 14/04/2024 11:30 | 14/04/2024 11:30
14/04/2024 00:00 | 1737.614 | 1831.471 | 1643.756 | [5 empty] | 14/04/2024 12:30 |  | 13/04/2024 11:00 |  | 14/04/2024 12:00 | 14/04/2024 12:00 |  |  |  |  | 19/04/2024 17:30 |  |  |  | 13/04/2024 11:00 |  | 14/04/2024 12:30 | 14/04/2024 12:30 | [6 empty] | 14/04/2024 12:30 | 14/04/2024 12:30 | 13/04/2024 11:00 |  | 14/04/2024 12:00 | 14/04/2024 12:00
14/04/2024 00:30 | 1708.981 | 1801.742 | 1616.22 | [7 empty] | 13/04/2024 11:30 |  | 14/04/2024 12:30 | 14/04/2024 12:30 | [8 empty] | 13/04/2024 11:30 | [11 empty] | 13/04/2024 11:30 |  | 14/04/2024 12:30 | 14/04/2024 12:30
14/04/2024 01:00 | 1687.582 | 1779.625 | 1595.538 | [7 empty] | 13/04/2024 12:00 |  | 14/04/2024 13:00 | 14/04/2024 13:00 | [8 empty] | 13/04/2024 12:00 | [11 empty] | 13/04/2024 12:00 |  | 14/04/2024 13:00 | 14/04/2024 13:00
14/04/2024 01:30 | 1672.343 | 1763.995 | 1580.69 | [7 empty] | 13/04/2024 12:30 | [11 empty] | 13/04/2024 12:30 | [11 empty] | 13/04/2024 12:30
14/04/2024 02:00 | 1663.722 | 1755.341 | 1572.104 | [7 empty] | 13/04/2024 13:00 | [11 empty] | 13/04/2024 13:00 | [11 empty] | 13/04/2024 13:00
14/04/2024 02:30 | 1654.151 | 1745.677 | 1562.624 | [7 empty] | 13/04/2024 13:30 | [11 empty] | 13/04/2024 13:30 | [11 empty] | 13/04/2024 13:30
14/04/2024 03:00 | 1647.819 | 1739.43 | 1556.209 | [7 empty] | 13/04/2024 14:00 | [11 empty] | 13/04/2024 14:00 | [11 empty] | 13/04/2024 14:00
14/04/2024 03:30 | 1648.496 | 1740.578 | 1556.414 | [19 empty] | 18/04/2024 16:30
14/04/2024 04:00 | 1653.468 | 1746.263 | 1560.673 | [19 empty] | 18/04/2024 17:00
14/04/2024 04:30 | 1652.876 | 1746.074 | 1559.679 | [19 empty] | 18/04/2024 17:30
14/04/2024 05:00 | 1623.737 | 1715.718 | 1531.755 | [19 empty] | 18/04/2024 18:00
14/04/2024 05:30 | 1606.372 | 1697.793 | 1514.951 | [19 empty] | 18/04/2024 18:30
14/04/2024 06:00 | 1625.51 | 1718.448 | 1532.573 | [19 empty] | 19/04/2024 11:00
14/04/2024 06:30 | 1593.364 | 1684.843 | 1501.886 | [19 empty] | 19/04/2024 16:30
14/04/2024 07:00 | 1494.833 | 1580.934 | 1408.732 | [19 empty] | 19/04/2024 17:00
14/04/2024 07:30 | 1352.072 | 1430.208 | 1273.936 | [19 empty] | 19/04/2024 17:30
14/04/2024 08:00 | 1219.103 | 1289.787 | 1148.418
14/04/2024 08:30 | 1085.604 | 1148.756 | 1022.452
14/04/2024 09:00 | 974.045 | 1030.893 | 917.1967
14/04/2024 09:30 | 881.732 | 933.3612 | 830.1028
14/04/2024 10:00 | 817.642 | 865.6746 | 769.6093
14/04/2024 10:30 | 773.1258 | 818.691 | 727.5605
14/04/2024 11:00 | 760.2086 | 805.1578 | 715.2594
14/04/2024 11:30 | 770.5999 | 816.3107 | 724.889
14/04/2024 12:00 | 785.193 | 831.9196 | 738.4665
14/04/2024 12:30 | 817.849 | 866.6751 | 769.0229
14/04/2024 13:00 | 881.6609 | 934.4651 | 828.8568
14/04/2024 13:30 | 991.5095 | 1051.082 | 931.9369
14/04/2024 14:00 | 1127.713 | 1195.685 | 1059.741
14/04/2024 14:30 | 1280.262 | 1357.673 | 1202.851
14/04/2024 15:00 | 1444.035 | 1531.624 | 1356.446
14/04/2024 15:30 | 1627.92 | 1726.974 | 1528.866
14/04/2024 16:00 | 1829.161 | 1940.809 | 1717.512
14/04/2024 16:30 | 2005.921 | 2128.742 | 1883.1
14/04/2024 17:00 | 2137.439 | 2268.721 | 2006.157
14/04/2024 17:30 | 2223.035 | 2360 | 2086.071
14/04/2024 18:00 | 2230.599 | 2368.456 | 2092.743
14/04/2024 18:30 | 2169.815 | 2304.329 | 2035.3
14/04/2024 19:00 | 2098.14 | 2228.612 | 1967.668
14/04/2024 19:30 | 2039.925 | 2167.166 | 1912.683
14/04/2024 20:00 | 1975.493 | 2099.093 | 1851.893
14/04/2024 20:30 | 1918.887 | 2039.312 | 1798.462
14/04/2024 21:00 | 1858.997 | 1976.018 | 1741.975
14/04/2024 21:30 | 1796.748 | 1910.194 | 1683.301
14/04/2024 22:00 | 1738.538 | 1848.641 | 1628.435
14/04/2024 22:30 | 1686.818 | 1793.968 | 1579.668
14/04/2024 23:00 | 1647.822 | 1752.809 | 1542.834
14/04/2024 23:30 | 1613.506 | 1713.353 | 1513.659
15/04/2024 00:00 | 1584.451 | 1676.442 | 1492.46
15/04/2024 00:30 | 1554.914 | 1645.981 | 1463.847
15/04/2024 01:00 | 1527.468 | 1617.18 | 1437.756
15/04/2024 01:30 | 1514.227 | 1603.412 | 1425.043
15/04/2024 02:00 | 1511.243 | 1600.501 | 1421.985
15/04/2024 02:30 | 1511.272 | 1600.781 | 1421.763
15/04/2024 03:00 | 1514.675 | 1604.636 | 1424.714
15/04/2024 03:30 | 1531.297 | 1622.498 | 1440.096
15/04/2024 04:00 | 1567.724 | 1660.838 | 1474.095
15/04/2024 04:30 | 1633.343 | 1730.623 | 1535.525
15/04/2024 05:00 | 1715.527 | 1817.985 | 1612.504
15/04/2024 05:30 | 1810.027 | 1918.429 | 1701.03
15/04/2024 06:00 | 1906.34 | 2020.824 | 1791.859
15/04/2024 06:30 | 1933.151 | 2049.564 | 1816.741
15/04/2024 07:00 | 1868.145 | 1980.952 | 1755.342
15/04/2024 07:30 | 1711.923 | 1815.611 | 1608.236
15/04/2024 08:00 | 1549.336 | 1643.519 | 1455.152
15/04/2024 08:30 | 1413.796 | 1500.048 | 1327.543
15/04/2024 09:00 | 1291.247 | 1370.305 | 1212.188
15/04/2024 09:30 | 1175.74 | 1247.983 | 1103.497
15/04/2024 10:00 | 1102.064 | 1170.021 | 1034.107
15/04/2024 10:30 | 1060.93 | 1126.582 | 995.2775
15/04/2024 11:00 | 1038.313 | 1102.793 | 973.8336
15/04/2024 11:30 | 1049.546 | 1114.952 | 984.1393
15/04/2024 12:00 | 1079.42 | 1146.924 | 1011.916
15/04/2024 12:30 | 1144.874 | 1216.721 | 1073.026
15/04/2024 13:00 | 1215.281 | 1291.812 | 1138.749
15/04/2024 13:30 | 1297.906 | 1379.924 | 1215.887
15/04/2024 14:00 | 1403.38 | 1492.37 | 1314.39
15/04/2024 14:30 | 1561.953 | 1661.34 | 1462.566
15/04/2024 15:00 | 1745.765 | 1857.229 | 1634.301
15/04/2024 15:30 | 1933.006 | 2056.848 | 1809.165
15/04/2024 16:00 | 2114.147 | 2250.056 | 1978.239
15/04/2024 16:30 | 2269.446 | 2415.834 | 2123.059
15/04/2024 17:00 | 2377.353 | 2531.22 | 2223.486
15/04/2024 17:30 | 2430.531 | 2588.371 | 2272.691
15/04/2024 18:00 | 2417.181 | 2574.682 | 2259.679
15/04/2024 18:30 | 2343.005 | 2496.185 | 2189.825
15/04/2024 19:00 | 2256.163 | 2404.158 | 2108.167
15/04/2024 19:30 | 2182.207 | 2325.828 | 2038.586
15/04/2024 20:00 | 2101.818 | 2240.608 | 1963.029
15/04/2024 20:30 | 2029.953 | 2164.44 | 1895.465
15/04/2024 21:00 | 1959.322 | 2089.558 | 1829.086
15/04/2024 21:30 | 1887.101 | 2012.949 | 1761.253
15/04/2024 22:00 | 1818.357 | 1940.017 | 1696.696
15/04/2024 22:30 | 1760.576 | 1878.756 | 1642.397
15/04/2024 23:00 | 1722.125 | 1838.1 | 1606.15
15/04/2024 23:30 | 1691.453 | 1805.732 | 1577.175
16/04/2024 00:00 | 1666.972 | 1779.961 | 1553.983
16/04/2024 00:30 | 1646.942 | 1758.933 | 1534.951
16/04/2024 01:00 | 1634.573 | 1746.08 | 1523.066
16/04/2024 01:30 | 1621.921 | 1732.919 | 1510.922
16/04/2024 02:00 | 1614.121 | 1724.939 | 1503.304
16/04/2024 02:30 | 1608.819 | 1719.623 | 1498.014
16/04/2024 03:00 | 1608.231 | 1719.347 | 1497.116
16/04/2024 03:30 | 1618.6 | 1730.785 | 1506.414
16/04/2024 04:00 | 1648.118 | 1762.71 | 1533.527
16/04/2024 04:30 | 1706.833 | 1825.88 | 1587.786
16/04/2024 05:00 | 1788.979 | 1914.146 | 1663.812
16/04/2024 05:30 | 1886.589 | 2018.998 | 1754.18
16/04/2024 06:00 | 1989.284 | 2129.335 | 1849.233
16/04/2024 06:30 | 2020.529 | 2163.221 | 1877.837
16/04/2024 07:00 | 1946.87 | 2084.786 | 1808.955
16/04/2024 07:30 | 1790.995 | 1918.26 | 1663.73
16/04/2024 08:00 | 1628.591 | 1744.672 | 1512.51
16/04/2024 08:30 | 1480.139 | 1585.962 | 1374.317
16/04/2024 09:00 | 1363.378 | 1461.151 | 1265.605
16/04/2024 09:30 | 1256.202 | 1346.563 | 1165.84
16/04/2024 10:00 | 1186.244 | 1271.833 | 1100.656
16/04/2024 10:30 | 1159.355 | 1243.257 | 1075.454
16/04/2024 11:00 | 1156.207 | 1240.133 | 1072.28
16/04/2024 11:30 | 1182.193 | 1268.264 | 1096.122
16/04/2024 12:00 | 1220.49 | 1309.616 | 1131.364
16/04/2024 12:30 | 1286.421 | 1380.642 | 1192.2
16/04/2024 13:00 | 1378.919 | 1480.216 | 1277.621
16/04/2024 13:30 | 1500.471 | 1611.026 | 1389.917
16/04/2024 14:00 | 1645.569 | 1767.175 | 1523.964
16/04/2024 14:30 | 1832.59 | 1968.416 | 1696.764
16/04/2024 15:00 | 2037.824 | 2189.307 | 1886.342
16/04/2024 15:30 | 2227.058 | 2393.094 | 2061.022
16/04/2024 16:00 | 2406.073 | 2585.981 | 2226.165
16/04/2024 16:30 | 2561.387 | 2753.468 | 2369.307
16/04/2024 17:00 | 2653.264 | 2852.814 | 2453.714
16/04/2024 17:30 | 2689.906 | 2892.8 | 2487.012
16/04/2024 18:00 | 2667.118 | 2868.876 | 2465.361
16/04/2024 18:30 | 2587.281 | 2783.565 | 2390.997
16/04/2024 19:00 | 2502.148 | 2692.52 | 2311.776
16/04/2024 19:30 | 2429.971 | 2615.382 | 2244.56
16/04/2024 20:00 | 2348.028 | 2527.7 | 2168.356
16/04/2024 20:30 | 2270.924 | 2445.192 | 2096.656
16/04/2024 21:00 | 2190.286 | 2358.844 | 2021.727
16/04/2024 21:30 | 2103.04 | 2265.343 | 1940.736
16/04/2024 22:00 | 2019.933 | 2176.264 | 1863.602
16/04/2024 22:30 | 1952.821 | 2104.385 | 1801.257
16/04/2024 23:00 | 1907.981 | 2056.482 | 1759.481
16/04/2024 23:30 | 1874.219 | 2020.502 | 1727.937
17/04/2024 00:00 | 1847.239 | 1991.818 | 1702.659
17/04/2024 00:30 | 1821.917 | 1964.914 | 1678.921
17/04/2024 01:00 | 1804.079 | 1946.069 | 1662.089
17/04/2024 01:30 | 1784.351 | 1925.178 | 1643.524
17/04/2024 02:00 | 1769.554 | 1909.6 | 1629.508
17/04/2024 02:30 | 1759.581 | 1899.222 | 1619.939
17/04/2024 03:00 | 1754.487 | 1894.108 | 1614.867
17/04/2024 03:30 | 1762.647 | 1903.302 | 1621.992
17/04/2024 04:00 | 1790.284 | 1933.535 | 1647.032
17/04/2024 04:30 | 1847.31 | 1995.528 | 1699.092
17/04/2024 05:00 | 1918.791 | 2073.163 | 1764.418
17/04/2024 05:30 | 2002.97 | 2164.552 | 1841.387
17/04/2024 06:00 | 2102.019 | 2272.051 | 1931.986
17/04/2024 06:30 | 2136.262 | 2309.531 | 1962.993
17/04/2024 07:00 | 2072.87 | 2241.45 | 1904.289
17/04/2024 07:30 | 1919.645 | 2076.165 | 1763.125
17/04/2024 08:00 | 1764.159 | 1908.337 | 1619.981
17/04/2024 08:30 | 1612.874 | 1744.996 | 1480.751
17/04/2024 09:00 | 1489.211 | 1611.489 | 1366.933
17/04/2024 09:30 | 1387.941 | 1502.169 | 1273.712
17/04/2024 10:00 | 1319.052 | 1427.864 | 1210.24
17/04/2024 10:30 | 1293.734 | 1400.705 | 1186.762
17/04/2024 11:00 | 1308.369 | 1416.801 | 1199.937
17/04/2024 11:30 | 1355.871 | 1468.499 | 1243.242
17/04/2024 12:00 | 1410.144 | 1527.551 | 1292.736
17/04/2024 12:30 | 1490.021 | 1614.365 | 1365.678
17/04/2024 13:00 | 1600.129 | 1733.968 | 1466.29
17/04/2024 13:30 | 1754.347 | 1901.421 | 1607.273
17/04/2024 14:00 | 1939.563 | 2102.536 | 1776.589
17/04/2024 14:30 | 2144.331 | 2324.921 | 1963.741
17/04/2024 15:00 | 2368.015 | 2567.897 | 2168.133
17/04/2024 15:30 | 2550.354 | 2766.117 | 2334.592
17/04/2024 16:00 | 2719.838 | 2950.46 | 2489.216
17/04/2024 16:30 | 2861.824 | 3105.034 | 2618.614
17/04/2024 17:00 | 2940.074 | 3190.498 | 2689.651
17/04/2024 17:30 | 2967.655 | 3220.997 | 2714.314
17/04/2024 18:00 | 2932.753 | 3183.677 | 2681.829
17/04/2024 18:30 | 2841.827 | 3085.516 | 2598.138
17/04/2024 19:00 | 2748.17 | 2984.355 | 2511.986
17/04/2024 19:30 | 2661.324 | 2890.555 | 2432.093
17/04/2024 20:00 | 2560.385 | 2781.412 | 2339.357
17/04/2024 20:30 | 2461.81 | 2674.8 | 2248.821
17/04/2024 21:00 | 2363.857 | 2568.826 | 2158.889
17/04/2024 21:30 | 2264.379 | 2461.155 | 2067.602
17/04/2024 22:00 | 2167.599 | 2356.381 | 1978.818
17/04/2024 22:30 | 2085.102 | 2267.099 | 1903.106
17/04/2024 23:00 | 2028.655 | 2206.113 | 1851.196
17/04/2024 23:30 | 1981.963 | 2155.716 | 1808.209
18/04/2024 00:00 | 1942.733 | 2113.42 | 1772.046
18/04/2024 00:30 | 1908.325 | 2076.355 | 1740.296
18/04/2024 01:00 | 1884.681 | 2050.99 | 1718.372
18/04/2024 01:30 | 1863.162 | 2027.929 | 1698.395
18/04/2024 02:00 | 1844.534 | 2008.007 | 1681.061
18/04/2024 02:30 | 1830.166 | 1992.717 | 1667.615
18/04/2024 03:00 | 1821.801 | 1983.958 | 1659.644
18/04/2024 03:30 | 1826.689 | 1989.632 | 1663.747
18/04/2024 04:00 | 1849.844 | 2015.206 | 1684.481
18/04/2024 04:30 | 1904.809 | 2075.45 | 1734.168
18/04/2024 05:00 | 1967.692 | 2144.343 | 1791.041
18/04/2024 05:30 | 2040.425 | 2223.997 | 1856.853
18/04/2024 06:00 | 2145.512 | 2338.95 | 1952.075
18/04/2024 06:30 | 2191.159 | 2389.133 | 1993.186
18/04/2024 07:00 | 2135.287 | 2328.622 | 1941.953
18/04/2024 07:30 | 1989.03 | 2169.503 | 1808.557
18/04/2024 08:00 | 1843.12 | 2010.708 | 1675.533
18/04/2024 08:30 | 1708.668 | 1864.357 | 1552.978
18/04/2024 09:00 | 1596.072 | 1741.808 | 1450.336
18/04/2024 09:30 | 1502.901 | 1640.418 | 1365.385
18/04/2024 10:00 | 1445.971 | 1578.556 | 1313.387
18/04/2024 10:30 | 1431.639 | 1563.184 | 1300.094
18/04/2024 11:00 | 1449.07 | 1582.494 | 1315.646
18/04/2024 11:30 | 1516.183 | 1656.077 | 1376.289
18/04/2024 12:00 | 1575.721 | 1721.411 | 1430.032
18/04/2024 12:30 | 1655.349 | 1808.718 | 1501.979
18/04/2024 13:00 | 1771.135 | 1935.572 | 1606.698
18/04/2024 13:30 | 1922.904 | 2101.8 | 1744.008
18/04/2024 14:00 | 2098.006 | 2293.594 | 1902.418
18/04/2024 14:30 | 2289.539 | 2503.422 | 2075.656
18/04/2024 15:00 | 2512.717 | 2747.93 | 2277.504
18/04/2024 15:30 | 2702.722 | 2956.239 | 2449.204
18/04/2024 16:00 | 2877.246 | 3147.685 | 2606.806
18/04/2024 16:30 | 3021.342 | 3305.905 | 2736.78
18/04/2024 17:00 | 3108.852 | 3402.252 | 2815.452
18/04/2024 17:30 | 3139.619 | 3436.525 | 2842.713
18/04/2024 18:00 | 3093.011 | 3386.103 | 2799.92
18/04/2024 18:30 | 3005.479 | 3290.852 | 2720.107
18/04/2024 19:00 | 2920.274 | 3198.116 | 2642.432
18/04/2024 19:30 | 2838.814 | 3109.45 | 2568.178
18/04/2024 20:00 | 2743.756 | 3005.855 | 2481.656
18/04/2024 20:30 | 2640.718 | 2893.481 | 2387.956
18/04/2024 21:00 | 2538.463 | 2781.925 | 2295.001
18/04/2024 21:30 | 2437.051 | 2671.253 | 2202.848
18/04/2024 22:00 | 2331.394 | 2555.889 | 2106.898
18/04/2024 22:30 | 2242.33 | 2458.679 | 2025.981
18/04/2024 23:00 | 2179.732 | 2390.459 | 1969.005
18/04/2024 23:30 | 2128.632 | 2334.827 | 1922.437
19/04/2024 00:00 | 2085.127 | 2287.507 | 1882.746
19/04/2024 00:30 | 2047.045 | 2246.121 | 1847.968
19/04/2024 01:00 | 2018.888 | 2215.613 | 1822.162
19/04/2024 01:30 | 1992.322 | 2186.84 | 1797.803
19/04/2024 02:00 | 1971.994 | 2164.906 | 1779.082
19/04/2024 02:30 | 1955.989 | 2147.709 | 1764.268
19/04/2024 03:00 | 1946.419 | 2137.575 | 1755.263
19/04/2024 03:30 | 1962.359 | 2155.456 | 1769.261
19/04/2024 04:00 | 1998.743 | 2195.804 | 1801.682
19/04/2024 04:30 | 2050.628 | 2253.197 | 1848.058
19/04/2024 05:00 | 2114.591 | 2323.884 | 1905.298
19/04/2024 05:30 | 2196.653 | 2414.489 | 1978.817
19/04/2024 06:00 | 2296.54 | 2524.721 | 2068.358
19/04/2024 06:30 | 2345.702 | 2579.219 | 2112.186
19/04/2024 07:00 | 2296.121 | 2525.142 | 2067.101
19/04/2024 07:30 | 2158.01 | 2373.778 | 1942.241
19/04/2024 08:00 | 2033.119 | 2237.1 | 1829.138
19/04/2024 08:30 | 1907.707 | 2099.746 | 1715.669
19/04/2024 09:00 | 1797.045 | 1978.546 | 1615.544
19/04/2024 09:30 | 1699.464 | 1871.679 | 1527.248
19/04/2024 10:00 | 1655.672 | 1824.004 | 1487.339
19/04/2024 10:30 | 1678.716 | 1849.954 | 1507.477
19/04/2024 11:00 | 1698.907 | 1872.774 | 1525.039
19/04/2024 11:30 | 1738.12 | 1916.583 | 1559.656
19/04/2024 12:00 | 1784.055 | 1967.833 | 1600.277
19/04/2024 12:30 | 1840.079 | 2030.245 | 1649.913
19/04/2024 13:00 | 1933.254 | 2133.698 | 1732.81
19/04/2024 13:30 | 2066.48 | 2281.43 | 1851.531
19/04/2024 14:00 | 2228.535 | 2461.088 | 1995.981
19/04/2024 14:30 | 2410.004 | 2662.303 | 2157.706
19/04/2024 15:00 | 2615.471 | 2890.156 | 2340.785
19/04/2024 15:30 | 2802.169 | 3097.402 | 2506.937
19/04/2024 16:00 | 2965.256 | 3278.666 | 2651.847
19/04/2024 16:30 | 3073.863 | 3399.782 | 2747.944
19/04/2024 17:00 | 3105.922 | 3436.282 | 2775.562
19/04/2024 17:30 | 3078.734 | 3407.234 | 2750.234
19/04/2024 18:00 | 3000.677 | 3321.854 | 2679.499
19/04/2024 18:30 | 2893.179 | 3203.821 | 2582.537
19/04/2024 19:00 | 2795.782 | 3096.904 | 2494.661
19/04/2024 19:30 | 2707.847 | 3000.405 | 2415.289
19/04/2024 20:00 | 2617.859 | 2901.573 | 2334.146
19/04/2024 20:30 | 2532.029 | 2807.29 | 2256.768
19/04/2024 21:00 | 2446.718 | 2713.525 | 2179.911
19/04/2024 21:30 | 2363.259 | 2621.758 | 2104.761
19/04/2024 22:00 | 2281.705 | 2532.048 | 2031.362
19/04/2024 22:30 | 2204.003 | 2446.559 | 1961.446
19/04/2024 23:00 | 2139.885 | 2376.102 | 1903.667
19/04/2024 23:30 | 2084.109 | 2313.513 | 1854.705
20/04/2024 00:00 | 2032.87 | 2254.779 | 1810.961
20/04/2024 00:30 | 1989.489 | 2207.787 | 1771.191
20/04/2024 01:00 | 1956.978 | 2172.585 | 1741.372
20/04/2024 01:30 | 1929.815 | 2143.292 | 1716.337
20/04/2024 02:00 | 1911.075 | 2123.335 | 1698.816
20/04/2024 02:30 | 1891.915 | 2102.893 | 1680.937
20/04/2024 03:00 | 1877.024 | 2087.181 | 1666.866
20/04/2024 03:30 | 1872.079 | 2082.521 | 1661.638
20/04/2024 04:00 | 1874.663 | 2086.233 | 1663.092
20/04/2024 04:30 | 1882.58 | 2095.887 | 1669.273
20/04/2024 05:00 | 1905.054 | 2121.759 | 1688.348
20/04/2024 05:30 | 1944.262 | 2166.297 | 1722.226
20/04/2024 06:00 | 1981.71 | 2208.909 | 1754.511
20/04/2024 06:30 | 1979.161 | 2206.953 | 1751.369
20/04/2024 07:00 | 1894.124 | 2112.977 | 1675.271
20/04/2024 07:30 | 1755.339 | 1958.941 | 1551.736