## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
17/04/2024 08:00 | 1792.95 | 1821.738 | 1770.984
17/04/2024 08:30 | 1679.74 | 1708.463 | 1651.017 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
17/04/2024 09:00 | 1584.399 | 1616.202 | 1552.596 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
17/04/2024 09:30 | 1496.745 | 1531.238 | 1462.253 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
17/04/2024 10:00 | 1438.747 | 1476.18 | 1401.314 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
17/04/2024 10:30 | 1394.148 | 1433.568 | 1354.728 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
17/04/2024 11:00 | 1356.492 | 1395.988 | 1316.996 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
17/04/2024 11:30 | 1351.241 | 1391.886 | 1310.597 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
17/04/2024 12:00 | 1357.596 | 1399.739 | 1315.453 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
17/04/2024 12:30 | 1428.08 | 1473.786 | 1382.373 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
17/04/2024 13:00 | 1527.675 | 1578.041 | 1477.31 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
17/04/2024 13:30 | 1649.208 | 1704.283 | 1592.42
17/04/2024 14:00 | 1792.061 | 1854.251 | 1729.206 | Summary view - for each schedule horizon (dispatch, week-ahead)
17/04/2024 14:30 | 1970.276 | 2040.697 | 1899.413
17/04/2024 15:00 | 2171.611 | 2250.966 | 2091.087 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
17/04/2024 15:30 | 2356.663 | 2445.567 | 2267.488 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
17/04/2024 16:00 | 2530.54 | 2628.491 | 2432.395 | Scenario | Violations
17/04/2024 16:30 | 2676.406 | 2782.357 | 2569.82 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
17/04/2024 17:00 | 2760.085 | 2872.601 | 2648.057 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
17/04/2024 17:30 | 2781.727 | 2897.919 | 2666.247 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
17/04/2024 18:00 | 2747.797 | 2865.049 | 2630.922 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
17/04/2024 18:30 | 2661.441 | 2777.009 | 2546.198 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
17/04/2024 19:00 | 2565.922 | 2678.003 | 2453.667
17/04/2024 19:30 | 2484.205 | 2593.497 | 2374.378 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
17/04/2024 20:00 | 2390.727 | 2496.707 | 2283.973
17/04/2024 20:30 | 2299.713 | 2402.948 | 2196.479 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
17/04/2024 21:00 | 2211.364 | 2311.498 | 2111.23 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
17/04/2024 21:30 | 2123.685 | 2220.68 | 2026.69 | [7 empty] | 17/04/2024 12:30 |  |  |  |  | 22/04/2024 15:30 | [6 empty] | 17/04/2024 12:30 | [11 empty] | 17/04/2024 12:30
17/04/2024 22:00 | 2043.387 | 2137.514 | 1949.26
17/04/2024 22:30 | 1974.933 | 2066.68 | 1883.186
17/04/2024 23:00 | 1926.258 | 2016.498 | 1836.018
17/04/2024 23:30 | 1882.695 | 1971.631 | 1793.759
18/04/2024 00:00 | 1842.891 | 1930.668 | 1755.115
18/04/2024 00:30 | 1814.787 | 1901.935 | 1727.638
18/04/2024 01:00 | 1792.768 | 1879.561 | 1705.975
18/04/2024 01:30 | 1774.595 | 1861.202 | 1687.987
18/04/2024 02:00 | 1762.318 | 1849.016 | 1675.62
18/04/2024 02:30 | 1753.699 | 1840.659 | 1666.738
18/04/2024 03:00 | 1750.531 | 1838.019 | 1663.042
18/04/2024 03:30 | 1758.539 | 1847.116 | 1669.962
18/04/2024 04:00 | 1785.462 | 1876.094 | 1694.83
18/04/2024 04:30 | 1840.521 | 1934.668 | 1746.374
18/04/2024 05:00 | 1917.998 | 2016.859 | 1819.137
18/04/2024 05:30 | 2010.623 | 2115.045 | 1906.201
18/04/2024 06:00 | 2110.186 | 2220.605 | 1999.767
18/04/2024 06:30 | 2151.162 | 2264.393 | 2037.93
18/04/2024 07:00 | 2096.303 | 2206.964 | 1985.641
18/04/2024 07:30 | 1953.172 | 2056.6 | 1849.744
18/04/2024 08:00 | 1809.284 | 1905.391 | 1713.177
18/04/2024 08:30 | 1672.517 | 1761.635 | 1583.398
18/04/2024 09:00 | 1553.143 | 1636.157 | 1470.129
18/04/2024 09:30 | 1453.498 | 1531.426 | 1375.57
18/04/2024 10:00 | 1389.354 | 1464.073 | 1314.636
18/04/2024 10:30 | 1364.055 | 1437.638 | 1290.472
18/04/2024 11:00 | 1362.711 | 1436.447 | 1288.975
18/04/2024 11:30 | 1390.33 | 1465.79 | 1314.87
18/04/2024 12:00 | 1437.942 | 1516.224 | 1359.661
18/04/2024 12:30 | 1516.455 | 1599.261 | 1433.649
18/04/2024 13:00 | 1613.965 | 1702.362 | 1525.568
18/04/2024 13:30 | 1744.088 | 1839.9 | 1648.277
18/04/2024 14:00 | 1895.484 | 1999.926 | 1791.043
18/04/2024 14:30 | 2073.774 | 2188.382 | 1959.166
18/04/2024 15:00 | 2273.873 | 2399.915 | 2147.831
18/04/2024 15:30 | 2452.661 | 2589.018 | 2316.304
18/04/2024 16:00 | 2612.976 | 2758.677 | 2467.275
18/04/2024 16:30 | 2746.246 | 2899.831 | 2592.66
18/04/2024 17:00 | 2831.668 | 2990.498 | 2672.837
18/04/2024 17:30 | 2861.687 | 3022.674 | 2700.7
18/04/2024 18:00 | 2824.222 | 2983.568 | 2664.877
18/04/2024 18:30 | 2740.276 | 2895.338 | 2585.215
18/04/2024 19:00 | 2651.148 | 2801.604 | 2500.692
18/04/2024 19:30 | 2576.051 | 2722.67 | 2429.431
18/04/2024 20:00 | 2490.455 | 2632.614 | 2348.296
18/04/2024 20:30 | 2403.276 | 2540.153 | 2265.697
18/04/2024 21:00 | 2316.988 | 2449.321 | 2183.966
18/04/2024 21:30 | 2231.931 | 2359.766 | 2103.423
18/04/2024 22:00 | 2147.094 | 2270.417 | 2023.117
18/04/2024 22:30 | 2073.51 | 2192.938 | 1953.439
18/04/2024 23:00 | 2018.283 | 2134.856 | 1901.077
18/04/2024 23:30 | 1973.427 | 2087.725 | 1858.5
19/04/2024 00:00 | 1935.05 | 2047.435 | 1822.038
19/04/2024 00:30 | 1902.115 | 2012.897 | 1790.713
19/04/2024 01:00 | 1878.152 | 1987.845 | 1767.843
19/04/2024 01:30 | 1859.325 | 1968.226 | 1749.815
19/04/2024 02:00 | 1845.579 | 1953.979 | 1736.574
19/04/2024 02:30 | 1836.995 | 1945.194 | 1728.193
19/04/2024 03:00 | 1832.33 | 1940.556 | 1723.502
19/04/2024 03:30 | 1850.871 | 1960.498 | 1740.636
19/04/2024 04:00 | 1896.262 | 2008.891 | 1783.011
19/04/2024 04:30 | 1948.98 | 2065.062 | 1832.259
19/04/2024 05:00 | 2022.45 | 2143.241 | 1900.995
19/04/2024 05:30 | 2110.737 | 2237.151 | 1983.632
19/04/2024 06:00 | 2203.665 | 2336.006 | 2071.331
19/04/2024 06:30 | 2239.324 | 2374.178 | 2104.48
19/04/2024 07:00 | 2178.623 | 2310.181 | 2047.074
19/04/2024 07:30 | 2022.534 | 2145.037 | 1900.036
19/04/2024 08:00 | 1862.931 | 1976.178 | 1749.684
19/04/2024 08:30 | 1717.865 | 1822.668 | 1613.061
19/04/2024 09:00 | 1589.108 | 1686.403 | 1491.812
19/04/2024 09:30 | 1472.399 | 1562.87 | 1381.928
19/04/2024 10:00 | 1391.635 | 1477.448 | 1305.823
19/04/2024 10:30 | 1352.309 | 1435.992 | 1268.625
19/04/2024 11:00 | 1338.297 | 1421.406 | 1255.188
19/04/2024 11:30 | 1354.618 | 1439.037 | 1270.2
19/04/2024 12:00 | 1389.531 | 1476.429 | 1302.633
19/04/2024 12:30 | 1451.055 | 1542.117 | 1359.992
19/04/2024 13:00 | 1539.728 | 1636.692 | 1442.765
19/04/2024 13:30 | 1657.118 | 1761.836 | 1552.4
19/04/2024 14:00 | 1794.774 | 1908.583 | 1680.965
19/04/2024 14:30 | 1964.632 | 2089.641 | 1839.623
19/04/2024 15:00 | 2162.506 | 2300.579 | 2024.434
19/04/2024 15:30 | 2352.735 | 2503.467 | 2202.003
19/04/2024 16:00 | 2529.418 | 2692.022 | 2366.814
19/04/2024 16:30 | 2665.857 | 2837.815 | 2493.9
19/04/2024 17:00 | 2733.301 | 2910.206 | 2556.396
19/04/2024 17:30 | 2738.873 | 2916.737 | 2561.009
19/04/2024 18:00 | 2692.544 | 2867.988 | 2517.1
19/04/2024 18:30 | 2608.062 | 2778.571 | 2437.554
19/04/2024 19:00 | 2521.893 | 2687.319 | 2356.467
19/04/2024 19:30 | 2449.807 | 2611.04 | 2288.573
19/04/2024 20:00 | 2376.008 | 2532.904 | 2219.113
19/04/2024 20:30 | 2308.613 | 2461.562 | 2155.663
19/04/2024 21:00 | 2242.247 | 2391.289 | 2093.205
19/04/2024 21:30 | 2176.2 | 2321.327 | 2031.072
19/04/2024 22:00 | 2108.374 | 2249.439 | 1967.309
19/04/2024 22:30 | 2044.129 | 2181.342 | 1906.915
19/04/2024 23:00 | 1992.455 | 2126.635 | 1858.276
19/04/2024 23:30 | 1949.338 | 2085.683 | 1812.993
20/04/2024 00:00 | 1909.435 | 2052.427 | 1766.443
20/04/2024 00:30 | 1874.939 | 2015.036 | 1734.843
20/04/2024 01:00 | 1850.133 | 1988.818 | 1711.447
20/04/2024 01:30 | 1830.127 | 1967.75 | 1692.505
20/04/2024 02:00 | 1816.565 | 1953.602 | 1679.528
20/04/2024 02:30 | 1802.366 | 1938.762 | 1665.969
20/04/2024 03:00 | 1792.387 | 1928.456 | 1656.318
20/04/2024 03:30 | 1792.296 | 1928.786 | 1655.805
20/04/2024 04:00 | 1799.894 | 1937.393 | 1662.395
20/04/2024 04:30 | 1814.014 | 1953.025 | 1675.003
20/04/2024 05:00 | 1841.798 | 1983.378 | 1700.218
20/04/2024 05:30 | 1885.826 | 2031.241 | 1740.411
20/04/2024 06:00 | 1927.801 | 2076.913 | 1778.689
20/04/2024 06:30 | 1927.693 | 2077.257 | 1778.129
20/04/2024 07:00 | 1841.103 | 1984.388 | 1697.817
20/04/2024 07:30 | 1696.002 | 1828.401 | 1563.604
20/04/2024 08:00 | 1563.801 | 1686.253 | 1441.35
20/04/2024 08:30 | 1424.357 | 1536.229 | 1312.484
20/04/2024 09:00 | 1308.554 | 1411.644 | 1205.464
20/04/2024 09:30 | 1205.402 | 1300.654 | 1110.151
20/04/2024 10:00 | 1137.824 | 1228.007 | 1047.641
20/04/2024 10:30 | 1101.028 | 1188.558 | 1013.499
20/04/2024 11:00 | 1092.849 | 1179.99 | 1005.708
20/04/2024 11:30 | 1105.417 | 1193.824 | 1017.011
20/04/2024 12:00 | 1143.918 | 1235.678 | 1052.159
20/04/2024 12:30 | 1210.356 | 1307.734 | 1112.979
20/04/2024 13:00 | 1292.926 | 1397.255 | 1188.597
20/04/2024 13:30 | 1402.917 | 1516.458 | 1289.377
20/04/2024 14:00 | 1543.97 | 1669.295 | 1418.646
20/04/2024 14:30 | 1726.84 | 1867.42 | 1586.259
20/04/2024 15:00 | 1920.411 | 2077.209 | 1763.614
20/04/2024 15:30 | 2110.745 | 2283.587 | 1937.903
20/04/2024 16:00 | 2306.216 | 2495.616 | 2116.816
20/04/2024 16:30 | 2465.275 | 2668.326 | 2262.224
20/04/2024 17:00 | 2544.296 | 2754.464 | 2334.128
20/04/2024 17:30 | 2572.883 | 2786.027 | 2359.74
20/04/2024 18:00 | 2534.758 | 2745.349 | 2324.167
20/04/2024 18:30 | 2452.703 | 2657.063 | 2248.344
20/04/2024 19:00 | 2368.837 | 2566.775 | 2170.9
20/04/2024 19:30 | 2298.918 | 2491.563 | 2106.274
20/04/2024 20:00 | 2233.463 | 2421.156 | 2045.771
20/04/2024 20:30 | 2184.942 | 2369.08 | 2000.805
20/04/2024 21:00 | 2139.772 | 2320.614 | 1958.93
20/04/2024 21:30 | 2087.29 | 2264.195 | 1910.385
20/04/2024 22:00 | 2031.188 | 2203.823 | 1858.553
20/04/2024 22:30 | 1979.036 | 2147.711 | 1810.361
20/04/2024 23:00 | 1935.72 | 2101.166 | 1770.274
20/04/2024 23:30 | 1897.8 | 2060.458 | 1735.142
21/04/2024 00:00 | 1861.677 | 2021.684 | 1701.671
21/04/2024 00:30 | 1829.506 | 1987.185 | 1671.827
21/04/2024 01:00 | 1806.666 | 1962.808 | 1650.524
21/04/2024 01:30 | 1789.127 | 1944.18 | 1634.073
21/04/2024 02:00 | 1776.694 | 1931.094 | 1622.293
21/04/2024 02:30 | 1764.293 | 1918.037 | 1610.549
21/04/2024 03:00 | 1756.238 | 1909.7 | 1602.776
21/04/2024 03:30 | 1754.666 | 1908.41 | 1600.923
21/04/2024 04:00 | 1755.638 | 1909.886 | 1601.39
21/04/2024 04:30 | 1759.735 | 1914.764 | 1604.707
21/04/2024 05:00 | 1769.371 | 1925.671 | 1613.071
21/04/2024 05:30 | 1787.586 | 1945.922 | 1629.25
21/04/2024 06:00 | 1801.862 | 1961.893 | 1641.831
21/04/2024 06:30 | 1784.141 | 1943.024 | 1625.258
21/04/2024 07:00 | 1700.258 | 1852.078 | 1548.439
21/04/2024 07:30 | 1560.043 | 1699.61 | 1420.475
21/04/2024 08:00 | 1442.687 | 1571.812 | 1313.561
21/04/2024 08:30 | 1317.182 | 1435.141 | 1199.222
21/04/2024 09:00 | 1214.627 | 1323.465 | 1105.79
21/04/2024 09:30 | 1125.967 | 1226.917 | 1025.017
21/04/2024 10:00 | 1072.762 | 1168.996 | 976.527
21/04/2024 10:30 | 1044.406 | 1138.151 | 950.662
21/04/2024 11:00 | 1039.31 | 1132.649 | 945.9698
21/04/2024 11:30 | 1066.841 | 1162.708 | 970.9742
21/04/2024 12:00 | 1105.568 | 1204.971 | 1006.165
21/04/2024 12:30 | 1164.767 | 1269.552 | 1059.982
21/04/2024 13:00 | 1257.35 | 1370.528 | 1144.172
21/04/2024 13:30 | 1379.243 | 1503.464 | 1255.023
21/04/2024 14:00 | 1527.465 | 1665.113 | 1389.817
21/04/2024 14:30 | 1705.341 | 1859.106 | 1551.577
21/04/2024 15:00 | 1894.578 | 2065.501 | 1723.654
21/04/2024 15:30 | 2092.591 | 2281.485 | 1903.696
21/04/2024 16:00 | 2298.807 | 2506.434 | 2091.181
21/04/2024 16:30 | 2465.313 | 2688.104 | 2242.522
21/04/2024 17:00 | 2562.99 | 2794.739 | 2331.242
21/04/2024 17:30 | 2602.905 | 2838.396 | 2367.415
21/04/2024 18:00 | 2564.007 | 2796.109 | 2331.905
21/04/2024 18:30 | 2476.515 | 2700.823 | 2252.207
21/04/2024 19:00 | 2388.496 | 2604.954 | 2172.038
21/04/2024 19:30 | 2314.463 | 2524.329 | 2104.596
21/04/2024 20:00 | 2238.461 | 2441.55 | 2035.372
21/04/2024 20:30 | 2170.335 | 2367.354 | 1973.317
21/04/2024 21:00 | 2100.375 | 2291.151 | 1909.6
21/04/2024 21:30 | 2031.511 | 2216.135 | 1846.887
21/04/2024 22:00 | 1966.968 | 2145.826 | 1788.109
21/04/2024 22:30 | 1911.197 | 2085.081 | 1737.312
21/04/2024 23:00 | 1872.954 | 2043.455 | 1702.454
21/04/2024 23:30 | 1840.23 | 2005.662 | 1674.799
22/04/2024 00:00 | 1811.61 | 1970.394 | 1652.826
22/04/2024 00:30 | 1785.893 | 1943.142 | 1628.643
22/04/2024 01:00 | 1769.419 | 1925.557 | 1613.281
22/04/2024 01:30 | 1760.251 | 1915.917 | 1604.584
22/04/2024 02:00 | 1753.236 | 1908.618 | 1597.854
22/04/2024 02:30 | 1750.512 | 1905.988 | 1595.036
22/04/2024 03:00 | 1752.523 | 1908.514 | 1596.532
22/04/2024 03:30 | 1766.662 | 1924.25 | 1609.074
22/04/2024 04:00 | 1800.943 | 1961.934 | 1639.953
22/04/2024 04:30 | 1862.72 | 2029.59 | 1695.849
22/04/2024 05:00 | 1941.54 | 2115.844 | 1767.237
22/04/2024 05:30 | 2032.942 | 2215.841 | 1850.043
22/04/2024 06:00 | 2127.18 | 2318.964 | 1935.395
22/04/2024 06:30 | 2177.153 | 2373.861 | 1980.445
22/04/2024 07:00 | 2134.573 | 2327.843 | 1941.304
22/04/2024 07:30 | 1979.559 | 2159.173 | 1799.946
22/04/2024 08:00 | 1835.1 | 2001.958 | 1668.242
22/04/2024 08:30 | 1692.556 | 1846.777 | 1538.334
22/04/2024 09:00 | 1559.865 | 1702.295 | 1417.435
22/04/2024 09:30 | 1432.582 | 1563.664 | 1301.499
22/04/2024 10:00 | 1341.836 | 1464.872 | 1218.8
22/04/2024 10:30 | 1282.528 | 1400.372 | 1164.684
22/04/2024 11:00 | 1240.125 | 1354.311 | 1125.94
22/04/2024 11:30 | 1243.948 | 1358.724 | 1129.172
22/04/2024 12:00 | 1265.22 | 1382.201 | 1148.239
22/04/2024 12:30 | 1306.098 | 1427.109 | 1185.087
22/04/2024 13:00 | 1373.505 | 1501.025 | 1245.985
22/04/2024 13:30 | 1471.456 | 1608.352 | 1334.56
22/04/2024 14:00 | 1584.648 | 1732.378 | 1436.918
22/04/2024 14:30 | 1733.647 | 1895.6 | 1571.694
22/04/2024 15:00 | 1920.838 | 2100.646 | 1741.03
22/04/2024 15:30 | 2109.715 | 2307.607 | 1911.822
22/04/2024 16:00 | 2288.273 | 2503.353 | 2073.193
22/04/2024 16:30 | 2439.007 | 2668.722 | 2209.291
22/04/2024 17:00 | 2540.009 | 2779.724 | 2300.293
22/04/2024 17:30 | 2582.93 | 2827.191 | 2338.669
22/04/2024 18:00 | 2553.701 | 2795.687 | 2311.715
22/04/2024 18:30 | 2478.439 | 2713.769 | 2243.11
22/04/2024 19:00 | 2393.802 | 2621.554 | 2166.05
22/04/2024 19:30 | 2318.183 | 2539.185 | 2097.181
22/04/2024 20:00 | 2240.307 | 2454.314 | 2026.3
22/04/2024 20:30 | 2169.376 | 2377.024 | 1961.729
22/04/2024 21:00 | 2097.958 | 2299.171 | 1896.745
22/04/2024 21:30 | 2028.556 | 2223.502 | 1833.61
22/04/2024 22:00 | 1962.256 | 2151.207 | 1773.306
22/04/2024 22:30 | 1905.467 | 2089.315 | 1721.62
22/04/2024 23:00 | 1868.511 | 2049.15 | 1687.871
22/04/2024 23:30 | 1838.224 | 2016.288 | 1660.16
23/04/2024 00:00 | 1811.575 | 1987.405 | 1635.745
23/04/2024 00:30 | 1789.566 | 1963.602 | 1615.529
23/04/2024 01:00 | 1777.586 | 1950.798 | 1604.374
23/04/2024 01:30 | 1767.536 | 1940.107 | 1594.964
23/04/2024 02:00 | 1760.331 | 1932.536 | 1588.125
23/04/2024 02:30 | 1758.41 | 1930.764 | 1586.055
23/04/2024 03:00 | 1762.015 | 1935.061 | 1588.97
23/04/2024 03:30 | 1774.539 | 1949.155 | 1599.923
23/04/2024 04:00 | 1807.468 | 1985.67 | 1629.265
23/04/2024 04:30 | 1869.535 | 2054.215 | 1684.855
23/04/2024 05:00 | 1952.681 | 2145.948 | 1759.413
23/04/2024 05:30 | 2052.967 | 2256.554 | 1849.38
23/04/2024 06:00 | 2157.948 | 2372.36 | 1943.536
23/04/2024 06:30 | 2209.577 | 2429.542 | 1989.612
23/04/2024 07:00 | 2174.005 | 2390.845 | 1957.165
23/04/2024 07:30 | 2047.001 | 2251.67 | 1842.331
23/04/2024 08:00 | 1909.291 | 2100.849 | 1717.733
23/04/2024 08:30 | 1777.051 | 1955.937 | 1598.165
23/04/2024 09:00 | 1662.384 | 1830.284 | 1494.484
23/04/2024 09:30 | 1547.167 | 1703.949 | 1390.385
23/04/2024 10:00 | 1449.976 | 1597.395 | 1302.556
23/04/2024 10:30 | 1369.841 | 1509.572 | 1230.109
23/04/2024 11:00 | 1317.739 | 1452.598 | 1182.881
23/04/2024 11:30 | 1298.566 | 1431.898 | 1165.234
23/04/2024 12:00 | 1290.936 | 1423.918 | 1157.955
23/04/2024 12:30 | 1299.551 | 1433.855 | 1165.247
23/04/2024 13:00 | 1348.835 | 1488.686 | 1208.985
23/04/2024 13:30 | 1439.379 | 1589.099 | 1289.659
23/04/2024 14:00 | 1549.569 | 1711.271 | 1387.867
23/04/2024 14:30 | 1690.004 | 1866.927 | 1513.081
23/04/2024 15:00 | 1862.426 | 2058.023 | 1666.828
23/04/2024 15:30 | 2043.636 | 2258.951 | 1828.322
23/04/2024 16:00 | 2224.056 | 2459.125 | 1988.987
23/04/2024 16:30 | 2386.229 | 2639.239 | 2133.219
23/04/2024 17:00 | 2500.326 | 2766.271 | 2234.38
23/04/2024 17:30 | 2558.451 | 2831.437 | 2285.465
23/04/2024 18:00 | 2545.122 | 2817.539 | 2272.704
23/04/2024 18:30 | 2477.882 | 2743.933 | 2211.831
23/04/2024 19:00 | 2398.406 | 2656.728 | 2140.084
23/04/2024 19:30 | 2335.202 | 2587.5 | 2082.905
23/04/2024 20:00 | 2265.034 | 2510.51 | 2019.558
23/04/2024 20:30 | 2197.748 | 2436.668 | 1958.827
23/04/2024 21:00 | 2127.38 | 2359.364 | 1895.396
23/04/2024 21:30 | 2055.587 | 2280.432 | 1830.743
23/04/2024 22:00 | 1986.09 | 2203.999 | 1768.181
23/04/2024 22:30 | 1925.017 | 2136.87 | 1713.164
23/04/2024 23:00 | 1878.967 | 2086.383 | 1671.552
23/04/2024 23:30 | 1840.07 | 2043.808 | 1636.331
24/04/2024 00:00 | 1804.985 | 2005.444 | 1604.526
24/04/2024 00:30 | 1778.349 | 1976.446 | 1580.252
24/04/2024 01:00 | 1762.578 | 1959.509 | 1565.646
24/04/2024 01:30 | 1754.213 | 1950.798 | 1557.628
24/04/2024 02:00 | 1747.596 | 1944.025 | 1551.166
24/04/2024 02:30 | 1746.207 | 1943.066 | 1549.348
24/04/2024 03:00 | 1752.261 | 1950.389 | 1554.132
24/04/2024 03:30 | 1765.637 | 1965.87 | 1565.404
24/04/2024 04:00 | 1799.224 | 2003.869 | 1594.578
24/04/2024 04:30 | 1864.697 | 2077.414 | 1651.979
24/04/2024 05:00 | 1949.624 | 2172.683 | 1726.564
24/04/2024 05:30 | 2049.551 | 2284.73 | 1814.371
24/04/2024 06:00 | 2159.537 | 2408.061 | 1911.013
24/04/2024 06:30 | 2217.032 | 2472.916 | 1961.148
24/04/2024 07:00 | 2199.414 | 2454.002 | 1944.826
24/04/2024 07:30 | 2110.67 | 2355.694 | 1865.647