## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
22/04/2024 08:00 | 2097.691 | 2127.325 | 2068.058
22/04/2024 08:30 | 2021.727 | 2056.298 | 1987.157 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
22/04/2024 09:00 | 1894.837 | 1932.871 | 1856.803 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
22/04/2024 09:30 | 1807.378 | 1849.029 | 1765.727 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
22/04/2024 10:00 | 1729.798 | 1774.804 | 1684.793 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
22/04/2024 10:30 | 1656.792 | 1703.638 | 1609.945 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
22/04/2024 11:00 | 1619.132 | 1666.275 | 1571.989 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
22/04/2024 11:30 | 1598.987 | 1647.083 | 1550.89 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
22/04/2024 12:00 | 1566.063 | 1614.677 | 1517.448 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
22/04/2024 12:30 | 1551.01 | 1600.651 | 1501.369 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
22/04/2024 13:00 | 1580.538 | 1629.04 | 1528.429 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
22/04/2024 13:30 | 1662.02 | 1713.724 | 1601.242
22/04/2024 14:00 | 1752.737 | 1809.852 | 1687.802 | Summary view - for each schedule horizon (dispatch, week-ahead)
22/04/2024 14:30 | 1851.844 | 1914.785 | 1782.218
22/04/2024 15:00 | 1978.446 | 2048.1 | 1902.63 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
22/04/2024 15:30 | 2101.843 | 2178.462 | 2019.833 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
22/04/2024 16:00 | 2244.01 | 2328.505 | 2154.789 | Scenario | Violations
22/04/2024 16:30 | 2391.008 | 2483.76 | 2294.032 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
22/04/2024 17:00 | 2507.931 | 2608.359 | 2404.47 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
22/04/2024 17:30 | 2564.658 | 2670.281 | 2456.807 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 1
22/04/2024 18:00 | 2548.772 | 2656.391 | 2439.315 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 2
22/04/2024 18:30 | 2483.827 | 2590.692 | 2375.367 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 3
22/04/2024 19:00 | 2406.972 | 2511.29 | 2300.92
22/04/2024 19:30 | 2337.707 | 2440.817 | 2234.597 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
22/04/2024 20:00 | 2264.412 | 2365.176 | 2163.649
22/04/2024 20:30 | 2196.12 | 2294.704 | 2097.536 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
22/04/2024 21:00 | 2124.501 | 2220.702 | 2028.301 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
22/04/2024 21:30 | 2051.298 | 2144.987 | 1957.609 | [7 empty] | 22/04/2024 09:30 |  |  |  |  | 22/04/2024 12:30 | [6 empty] | 22/04/2024 09:30 |  |  |  |  | 22/04/2024 10:30 | [6 empty] | 22/04/2024 09:30 |  |  |  |  | 22/04/2024 12:30
22/04/2024 22:00 | 1982.104 | 2073.408 | 1890.8 | [7 empty] | 22/04/2024 10:00 | [11 empty] | 22/04/2024 10:00 |  |  |  |  | 22/04/2024 12:30 | [6 empty] | 22/04/2024 10:00 |  |  |  |  | 22/04/2024 13:00
22/04/2024 22:30 | 1923.001 | 2012.335 | 1833.667 | [7 empty] | 22/04/2024 10:30 | [11 empty] | 22/04/2024 10:30 | [11 empty] | 22/04/2024 10:30 |  |  |  |  | 22/04/2024 13:30
22/04/2024 23:00 | 1880.137 | 1968.216 | 1792.058 | [7 empty] | 22/04/2024 11:00 | [11 empty] | 22/04/2024 11:00 | [11 empty] | 22/04/2024 11:00
22/04/2024 23:30 | 1843.174 | 1930.243 | 1756.105 | [7 empty] | 22/04/2024 11:30 | [11 empty] | 22/04/2024 11:30 | [11 empty] | 22/04/2024 11:30
23/04/2024 00:00 | 1810.394 | 1896.623 | 1724.165 | [7 empty] | 22/04/2024 12:00 | [11 empty] | 22/04/2024 12:00 | [11 empty] | 22/04/2024 12:00
23/04/2024 00:30 | 1784.923 | 1870.637 | 1699.209 | [7 empty] | 22/04/2024 12:30 | [11 empty] | 22/04/2024 12:30 | [11 empty] | 22/04/2024 12:30
23/04/2024 01:00 | 1770.348 | 1856.055 | 1684.641 | [7 empty] | 22/04/2024 13:00 | [11 empty] | 22/04/2024 13:00 | [11 empty] | 22/04/2024 13:00
23/04/2024 01:30 | 1760.399 | 1846.313 | 1674.484 | [7 empty] | 22/04/2024 13:30 | [11 empty] | 22/04/2024 13:30 | [11 empty] | 22/04/2024 13:30
23/04/2024 02:00 | 1753.594 | 1839.862 | 1667.325 | [7 empty] | 22/04/2024 14:00 | [11 empty] | 22/04/2024 14:00 | [11 empty] | 22/04/2024 14:00
23/04/2024 02:30 | 1752.235 | 1839.123 | 1665.347
23/04/2024 03:00 | 1755.767 | 1843.517 | 1668.017
23/04/2024 03:30 | 1768.058 | 1857.115 | 1679.002
23/04/2024 04:00 | 1802.353 | 1893.842 | 1710.863
23/04/2024 04:30 | 1865.92 | 1961.367 | 1770.474
23/04/2024 05:00 | 1957.591 | 2058.493 | 1856.69
23/04/2024 05:30 | 2078.217 | 2186.15 | 1970.284
23/04/2024 06:00 | 2198.636 | 2313.683 | 2083.589
23/04/2024 06:30 | 2263.085 | 2382.208 | 2143.962
23/04/2024 07:00 | 2255.923 | 2375.01 | 2136.835
23/04/2024 07:30 | 2158.938 | 2273.261 | 2044.613
23/04/2024 08:00 | 2034.279 | 2142.338 | 1926.221
23/04/2024 08:30 | 1918.016 | 2020.216 | 1815.816
23/04/2024 09:00 | 1809.464 | 1906.178 | 1712.749
23/04/2024 09:30 | 1698.468 | 1789.53 | 1607.406
23/04/2024 10:00 | 1614.96 | 1701.812 | 1528.109
23/04/2024 10:30 | 1564.176 | 1648.555 | 1479.797
23/04/2024 11:00 | 1522.94 | 1605.345 | 1440.534
23/04/2024 11:30 | 1499.274 | 1580.646 | 1417.901
23/04/2024 12:00 | 1488.241 | 1569.26 | 1407.221
23/04/2024 12:30 | 1492.416 | 1573.909 | 1410.923
23/04/2024 13:00 | 1509.464 | 1592.138 | 1426.791
23/04/2024 13:30 | 1542.427 | 1627.161 | 1457.694
23/04/2024 14:00 | 1618.634 | 1707.821 | 1529.447
23/04/2024 14:30 | 1753.634 | 1850.549 | 1656.719
23/04/2024 15:00 | 1908.546 | 2014.337 | 1802.754
23/04/2024 15:30 | 2064.801 | 2179.595 | 1950.007
23/04/2024 16:00 | 2225.368 | 2349.456 | 2101.28
23/04/2024 16:30 | 2377.849 | 2510.832 | 2244.866
23/04/2024 17:00 | 2510.416 | 2651.228 | 2369.605
23/04/2024 17:30 | 2583.951 | 2729.313 | 2438.588
23/04/2024 18:00 | 2583.548 | 2729.314 | 2437.781
23/04/2024 18:30 | 2525.487 | 2668.395 | 2382.579
23/04/2024 19:00 | 2451.961 | 2591.113 | 2312.809
23/04/2024 19:30 | 2389.921 | 2525.947 | 2253.895
23/04/2024 20:00 | 2318.385 | 2450.721 | 2186.048
23/04/2024 20:30 | 2246.153 | 2374.738 | 2117.568
23/04/2024 21:00 | 2167.739 | 2292.192 | 2043.285
23/04/2024 21:30 | 2087.271 | 2207.449 | 1967.093
23/04/2024 22:00 | 2010.69 | 2126.791 | 1894.589
23/04/2024 22:30 | 1943.935 | 2056.503 | 1831.368
23/04/2024 23:00 | 1890.357 | 2000.134 | 1780.58
23/04/2024 23:30 | 1843.534 | 1950.897 | 1736.172
24/04/2024 00:00 | 1801.338 | 1906.54 | 1696.135
24/04/2024 00:30 | 1770.377 | 1874.064 | 1666.691
24/04/2024 01:00 | 1752.271 | 1855.186 | 1649.355
24/04/2024 01:30 | 1744.267 | 1847 | 1641.534
24/04/2024 02:00 | 1737.219 | 1839.824 | 1634.614
24/04/2024 02:30 | 1736.443 | 1839.289 | 1633.597
24/04/2024 03:00 | 1742.477 | 1845.968 | 1638.986
24/04/2024 03:30 | 1756.368 | 1860.974 | 1651.762
24/04/2024 04:00 | 1791.163 | 1898.137 | 1684.189
24/04/2024 04:30 | 1857.258 | 1968.48 | 1746.03
24/04/2024 05:00 | 1953.93 | 2071.263 | 1836.59
24/04/2024 05:30 | 2074.673 | 2199.601 | 1949.74
24/04/2024 06:00 | 2188.875 | 2321.04 | 2056.703
24/04/2024 06:30 | 2245.608 | 2381.612 | 2109.597
24/04/2024 07:00 | 2206.003 | 2340.097 | 2071.901
24/04/2024 07:30 | 2055.352 | 2180.74 | 1929.959
24/04/2024 08:00 | 1890.192 | 2005.922 | 1774.463
24/04/2024 08:30 | 1738.819 | 1845.661 | 1631.977
24/04/2024 09:00 | 1613.686 | 1713.192 | 1514.181
24/04/2024 09:30 | 1514.796 | 1608.534 | 1421.057
24/04/2024 10:00 | 1443.084 | 1532.7 | 1353.468
24/04/2024 10:30 | 1391.972 | 1478.719 | 1305.226
24/04/2024 11:00 | 1332.846 | 1416.199 | 1249.493
24/04/2024 11:30 | 1248.458 | 1326.806 | 1170.11
24/04/2024 12:00 | 1206.336 | 1282.305 | 1130.368
24/04/2024 12:30 | 1221.378 | 1298.56 | 1144.195
24/04/2024 13:00 | 1254.985 | 1334.566 | 1175.405
24/04/2024 13:30 | 1333.306 | 1418.144 | 1248.469
24/04/2024 14:00 | 1427.724 | 1518.881 | 1336.566
24/04/2024 14:30 | 1561.17 | 1661.189 | 1461.151
24/04/2024 15:00 | 1733.685 | 1845.135 | 1622.235
24/04/2024 15:30 | 1930.835 | 2055.381 | 1806.289
24/04/2024 16:00 | 2132.033 | 2270.023 | 1994.043
24/04/2024 16:30 | 2306.305 | 2456.078 | 2156.532
24/04/2024 17:00 | 2448.637 | 2608.188 | 2289.086
24/04/2024 17:30 | 2531.414 | 2696.911 | 2365.916
24/04/2024 18:00 | 2538.035 | 2704.52 | 2371.55
24/04/2024 18:30 | 2487.411 | 2651.119 | 2323.703
24/04/2024 19:00 | 2414.45 | 2573.883 | 2255.016
24/04/2024 19:30 | 2355.312 | 2511.355 | 2199.269
24/04/2024 20:00 | 2286.352 | 2438.326 | 2134.378
24/04/2024 20:30 | 2217.331 | 2365.202 | 2069.46
24/04/2024 21:00 | 2143.109 | 2286.498 | 1999.72
24/04/2024 21:30 | 2066.985 | 2205.732 | 1928.238
24/04/2024 22:00 | 1995.074 | 2129.43 | 1860.718
24/04/2024 22:30 | 1931.921 | 2060.172 | 1801.396
24/04/2024 23:00 | 1881.596 | 2007.426 | 1754.059
24/04/2024 23:30 | 1835.552 | 1959.275 | 1710.735
25/04/2024 00:00 | 1800.177 | 1922.436 | 1677.372
25/04/2024 00:30 | 1771.937 | 1892.953 | 1650.672
25/04/2024 01:00 | 1748.245 | 1868.194 | 1628.219
25/04/2024 01:30 | 1741.031 | 1860.794 | 1621.12
25/04/2024 02:00 | 1728.973 | 1848.287 | 1609.515
25/04/2024 02:30 | 1718.034 | 1836.979 | 1598.957
25/04/2024 03:00 | 1722.152 | 1841.733 | 1602.412
25/04/2024 03:30 | 1723.123 | 1843.167 | 1602.94
25/04/2024 04:00 | 1737.476 | 1858.281 | 1615.33
25/04/2024 04:30 | 1762.345 | 1885.264 | 1638.086
25/04/2024 05:00 | 1783.846 | 1908.655 | 1657.576
25/04/2024 05:30 | 1803.384 | 1929.953 | 1675.077
25/04/2024 06:00 | 1804.678 | 1931.733 | 1677.624
25/04/2024 06:30 | 1781.729 | 1907.556 | 1655.901
25/04/2024 07:00 | 1707.054 | 1827.982 | 1586.127
25/04/2024 07:30 | 1582.787 | 1695.257 | 1470.317
25/04/2024 08:00 | 1483.685 | 1589.437 | 1377.933
25/04/2024 08:30 | 1383.333 | 1482.235 | 1284.432
25/04/2024 09:00 | 1269.609 | 1360.657 | 1178.56
25/04/2024 09:30 | 1123.649 | 1204.475 | 1042.822
25/04/2024 10:00 | 1031.182 | 1105.582 | 956.7811
25/04/2024 10:30 | 1000.74 | 1073.163 | 928.3177
25/04/2024 11:00 | 975.2592 | 1046.051 | 904.4675
25/04/2024 11:30 | 985.6907 | 1057.455 | 913.9264
25/04/2024 12:00 | 973.5868 | 1044.682 | 902.491
25/04/2024 12:30 | 1016.054 | 1090.473 | 941.6349
25/04/2024 13:00 | 1127.008 | 1209.8 | 1044.216
25/04/2024 13:30 | 1271.718 | 1365.419 | 1178.018
25/04/2024 14:00 | 1383.813 | 1486.075 | 1281.551
25/04/2024 14:30 | 1477.238 | 1586.727 | 1367.75
25/04/2024 15:00 | 1597.852 | 1716.629 | 1479.075
25/04/2024 15:30 | 1748.869 | 1879.255 | 1618.484
25/04/2024 16:00 | 1966.931 | 2114.004 | 1819.859
25/04/2024 16:30 | 2146.967 | 2307.97 | 1985.964
25/04/2024 17:00 | 2292.477 | 2464.893 | 2120.061
25/04/2024 17:30 | 2394.59 | 2575.209 | 2213.971
25/04/2024 18:00 | 2403.062 | 2584.845 | 2221.279
25/04/2024 18:30 | 2356.326 | 2535.089 | 2177.564
25/04/2024 19:00 | 2300.499 | 2475.528 | 2125.469
25/04/2024 19:30 | 2255.439 | 2427.534 | 2083.345
25/04/2024 20:00 | 2185.919 | 2353.187 | 2018.652
25/04/2024 20:30 | 2120.119 | 2282.815 | 1957.424
25/04/2024 21:00 | 2057.692 | 2216.046 | 1899.338
25/04/2024 21:30 | 2005.512 | 2160.289 | 1850.735
25/04/2024 22:00 | 1957.433 | 2108.927 | 1805.939
25/04/2024 22:30 | 1903.151 | 2050.86 | 1755.442
25/04/2024 23:00 | 1848.785 | 1992.678 | 1704.892
25/04/2024 23:30 | 1808.316 | 1949.454 | 1667.177
26/04/2024 00:00 | 1768.07 | 1906.454 | 1629.686
26/04/2024 00:30 | 1735.919 | 1872.166 | 1599.673
26/04/2024 01:00 | 1716.493 | 1851.59 | 1581.396
26/04/2024 01:30 | 1712.67 | 1847.84 | 1577.5
26/04/2024 02:00 | 1709.881 | 1845.205 | 1574.558
26/04/2024 02:30 | 1712.478 | 1848.381 | 1576.574
26/04/2024 03:00 | 1719.682 | 1856.533 | 1582.832
26/04/2024 03:30 | 1736.017 | 1874.547 | 1597.487
26/04/2024 04:00 | 1770.385 | 1912.044 | 1628.725
26/04/2024 04:30 | 1833.86 | 1980.999 | 1686.721
26/04/2024 05:00 | 1915.794 | 2069.926 | 1761.663
26/04/2024 05:30 | 2010.775 | 2172.987 | 1848.562
26/04/2024 06:00 | 2113.444 | 2284.4 | 1942.487
26/04/2024 06:30 | 2163.234 | 2338.69 | 1987.777
26/04/2024 07:00 | 2135.283 | 2308.939 | 1961.627
26/04/2024 07:30 | 2020.837 | 2185.608 | 1856.066
26/04/2024 08:00 | 1899.226 | 2054.442 | 1744.01
26/04/2024 08:30 | 1761.564 | 1905.867 | 1617.261
26/04/2024 09:00 | 1626.878 | 1760.46 | 1493.296
26/04/2024 09:30 | 1513.181 | 1637.717 | 1388.645
26/04/2024 10:00 | 1420.266 | 1537.427 | 1303.104
26/04/2024 10:30 | 1346.629 | 1457.974 | 1235.284
26/04/2024 11:00 | 1320.905 | 1430.376 | 1211.434
26/04/2024 11:30 | 1333.842 | 1444.641 | 1223.043
26/04/2024 12:00 | 1364.388 | 1477.986 | 1250.79
26/04/2024 12:30 | 1424.776 | 1543.674 | 1305.877
26/04/2024 13:00 | 1500.051 | 1625.519 | 1374.583
26/04/2024 13:30 | 1608.711 | 1743.576 | 1473.846
26/04/2024 14:00 | 1728.54 | 1873.782 | 1583.298
26/04/2024 14:30 | 1865.119 | 2022.195 | 1708.043
26/04/2024 15:00 | 2041.603 | 2213.933 | 1869.273
26/04/2024 15:30 | 2221.534 | 2409.478 | 2033.59
26/04/2024 16:00 | 2367.606 | 2568.362 | 2166.851
26/04/2024 16:30 | 2463.025 | 2672.343 | 2253.707
26/04/2024 17:00 | 2532.45 | 2748.154 | 2316.746
26/04/2024 17:30 | 2549.288 | 2766.915 | 2331.662
26/04/2024 18:00 | 2512.334 | 2727.288 | 2297.381
26/04/2024 18:30 | 2439.321 | 2648.495 | 2230.147
26/04/2024 19:00 | 2357.151 | 2559.73 | 2154.571
26/04/2024 19:30 | 2296.694 | 2494.518 | 2098.87
26/04/2024 20:00 | 2235.97 | 2428.992 | 2042.948
26/04/2024 20:30 | 2177.481 | 2365.872 | 1989.091
26/04/2024 21:00 | 2118.274 | 2301.948 | 1934.6
26/04/2024 21:30 | 2063.429 | 2242.742 | 1884.115
26/04/2024 22:00 | 2004.08 | 2178.62 | 1829.54
26/04/2024 22:30 | 1949.653 | 2119.826 | 1779.479
26/04/2024 23:00 | 1906.322 | 2073.079 | 1739.564
26/04/2024 23:30 | 1870.733 | 2036.955 | 1704.51
27/04/2024 00:00 | 1837.071 | 2004.88 | 1669.262
27/04/2024 00:30 | 1807.105 | 1971.888 | 1642.322
27/04/2024 01:00 | 1787.966 | 1951.095 | 1624.838
27/04/2024 01:30 | 1772.006 | 1933.768 | 1610.243
27/04/2024 02:00 | 1760.335 | 1921.122 | 1599.548
27/04/2024 02:30 | 1750.216 | 1910.167 | 1590.264
27/04/2024 03:00 | 1744.622 | 1904.151 | 1585.092
27/04/2024 03:30 | 1746.736 | 1906.548 | 1586.924
27/04/2024 04:00 | 1757.118 | 1917.969 | 1596.266
27/04/2024 04:30 | 1774.687 | 1937.237 | 1612.137
27/04/2024 05:00 | 1803.786 | 1969.093 | 1638.478
27/04/2024 05:30 | 1847.765 | 2017.197 | 1678.333
27/04/2024 06:00 | 1886.75 | 2059.853 | 1713.646
27/04/2024 06:30 | 1891.032 | 2064.625 | 1717.44
27/04/2024 07:00 | 1839.781 | 2008.762 | 1670.799
27/04/2024 07:30 | 1727.159 | 1885.884 | 1568.434
27/04/2024 08:00 | 1606.194 | 1753.884 | 1458.503
27/04/2024 08:30 | 1467.11 | 1602.087 | 1332.134
27/04/2024 09:00 | 1345.149 | 1468.974 | 1221.325
27/04/2024 09:30 | 1233.85 | 1347.492 | 1120.208
27/04/2024 10:00 | 1152.44 | 1258.642 | 1046.237
27/04/2024 10:30 | 1096.069 | 1197.132 | 995.0051
27/04/2024 11:00 | 1069.457 | 1168.121 | 970.7925
27/04/2024 11:30 | 1057.656 | 1155.286 | 960.0267
27/04/2024 12:00 | 1082.367 | 1182.333 | 982.4016
27/04/2024 12:30 | 1140.346 | 1245.725 | 1034.968
27/04/2024 13:00 | 1208.177 | 1319.886 | 1096.469
27/04/2024 13:30 | 1311.203 | 1432.504 | 1189.901
27/04/2024 14:00 | 1440.579 | 1573.923 | 1307.236
27/04/2024 14:30 | 1597.627 | 1745.589 | 1449.666
27/04/2024 15:00 | 1775.192 | 1939.689 | 1610.695
27/04/2024 15:30 | 1958.783 | 2140.392 | 1777.173
27/04/2024 16:00 | 2144.656 | 2343.608 | 1945.704
27/04/2024 16:30 | 2294.665 | 2507.649 | 2081.68
27/04/2024 17:00 | 2386.215 | 2607.819 | 2164.612
27/04/2024 17:30 | 2422.634 | 2647.743 | 2197.525
27/04/2024 18:00 | 2390.457 | 2612.698 | 2168.215
27/04/2024 18:30 | 2323.181 | 2539.286 | 2107.076
27/04/2024 19:00 | 2254.769 | 2464.625 | 2044.912
27/04/2024 19:30 | 2198.149 | 2402.848 | 1993.451
27/04/2024 20:00 | 2144.964 | 2344.819 | 1945.108
27/04/2024 20:30 | 2104.613 | 2300.816 | 1908.41
27/04/2024 21:00 | 2065.4 | 2258.053 | 1872.748
27/04/2024 21:30 | 2019.919 | 2208.432 | 1831.406
27/04/2024 22:00 | 1967.526 | 2151.25 | 1783.802
27/04/2024 22:30 | 1917.588 | 2096.747 | 1738.43
27/04/2024 23:00 | 1875.829 | 2051.181 | 1700.476
27/04/2024 23:30 | 1837.66 | 2009.538 | 1665.782
28/04/2024 00:00 | 1800.417 | 1968.904 | 1631.93
28/04/2024 00:30 | 1768.949 | 1934.581 | 1603.317
28/04/2024 01:00 | 1749.209 | 1913.082 | 1585.337
28/04/2024 01:30 | 1735.353 | 1898.016 | 1572.689
28/04/2024 02:00 | 1724.919 | 1886.692 | 1563.146
28/04/2024 02:30 | 1716.4 | 1877.461 | 1555.338
28/04/2024 03:00 | 1712.073 | 1872.816 | 1551.33
28/04/2024 03:30 | 1712.42 | 1873.283 | 1551.557
28/04/2024 04:00 | 1716.491 | 1877.824 | 1555.159
28/04/2024 04:30 | 1724.272 | 1886.424 | 1562.12
28/04/2024 05:00 | 1741.209 | 1905.043 | 1577.376
28/04/2024 05:30 | 1767.599 | 1934.006 | 1601.192
28/04/2024 06:00 | 1785.738 | 1953.943 | 1617.532
28/04/2024 06:30 | 1779.338 | 1947.031 | 1611.645
28/04/2024 07:00 | 1717.433 | 1879.38 | 1555.486
28/04/2024 07:30 | 1592.96 | 1743.476 | 1442.445
28/04/2024 08:00 | 1478.017 | 1618.368 | 1337.665
28/04/2024 08:30 | 1348.946 | 1477.644 | 1220.247
28/04/2024 09:00 | 1238.622 | 1357.349 | 1119.894
28/04/2024 09:30 | 1140.086 | 1249.879 | 1030.294
28/04/2024 10:00 | 1067.833 | 1171.146 | 964.5214
28/04/2024 10:30 | 1020.746 | 1119.959 | 921.5328
28/04/2024 11:00 | 1000.067 | 1097.718 | 902.4162
28/04/2024 11:30 | 1001.35 | 1099.575 | 903.1263
28/04/2024 12:00 | 1015.88 | 1115.984 | 915.7763
28/04/2024 12:30 | 1061.126 | 1166.163 | 956.0887
28/04/2024 13:00 | 1140.645 | 1254.064 | 1027.226
28/04/2024 13:30 | 1254.579 | 1379.888 | 1129.27
28/04/2024 14:00 | 1401.266 | 1541.854 | 1260.679
28/04/2024 14:30 | 1567.721 | 1725.711 | 1409.732
28/04/2024 15:00 | 1747.873 | 1924.799 | 1570.946
28/04/2024 15:30 | 1941.058 | 2138.408 | 1743.708
28/04/2024 16:00 | 2133.272 | 2351.12 | 1915.425
28/04/2024 16:30 | 2291.5 | 2526.53 | 2056.469
28/04/2024 17:00 | 2407.432 | 2655.431 | 2159.433
28/04/2024 17:30 | 2462.163 | 2716.901 | 2207.424
28/04/2024 18:00 | 2435.469 | 2688.536 | 2182.403
28/04/2024 18:30 | 2363.406 | 2610.042 | 2116.77
28/04/2024 19:00 | 2288.823 | 2528.7 | 2048.946
28/04/2024 19:30 | 2230.14 | 2464.865 | 1995.415
28/04/2024 20:00 | 2166.607 | 2395.614 | 1937.6
28/04/2024 20:30 | 2108.343 | 2332.135 | 1884.551
28/04/2024 21:00 | 2045.961 | 2264.047 | 1827.874
28/04/2024 21:30 | 1982.815 | 2195.057 | 1770.572
28/04/2024 22:00 | 1920.768 | 2127.229 | 1714.308
28/04/2024 22:30 | 1865.732 | 2067.111 | 1664.352
28/04/2024 23:00 | 1826.325 | 2024.268 | 1628.381
28/04/2024 23:30 | 1790.893 | 1986.962 | 1594.824
29/04/2024 00:00 | 1758.467 | 1953.967 | 1562.967
29/04/2024 00:30 | 1732.099 | 1925.044 | 1539.154
29/04/2024 01:00 | 1717.716 | 1909.635 | 1525.797
29/04/2024 01:30 | 1712.378 | 1904.275 | 1520.481
29/04/2024 02:00 | 1707.747 | 1899.698 | 1515.797
29/04/2024 02:30 | 1708.013 | 1900.566 | 1515.46
29/04/2024 03:00 | 1712.958 | 1906.643 | 1519.273
29/04/2024 03:30 | 1728.451 | 1924.467 | 1532.435
29/04/2024 04:00 | 1764.501 | 1965.197 | 1563.805
29/04/2024 04:30 | 1827.72 | 2036.219 | 1619.22
29/04/2024 05:00 | 1907.279 | 2125.494 | 1689.064
29/04/2024 05:30 | 1999.835 | 2229.31 | 1770.36
29/04/2024 06:00 | 2097.688 | 2339.094 | 1856.282
29/04/2024 06:30 | 2148.243 | 2396.188 | 1900.298
29/04/2024 07:00 | 2113.608 | 2358.264 | 1868.952
29/04/2024 07:30 | 1975.196 | 2204.492 | 1745.899