## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
23/04/2024 08:00 | 1991.324 | 2019.455 | 1963.192
23/04/2024 08:30 | 1863.65 | 1895.518 | 1831.782 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
23/04/2024 09:00 | 1746.815 | 1781.877 | 1711.752 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
23/04/2024 09:30 | 1619.491 | 1656.812 | 1582.17 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
23/04/2024 10:00 | 1506.885 | 1546.091 | 1467.679 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
23/04/2024 10:30 | 1403.455 | 1443.138 | 1363.772 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
23/04/2024 11:00 | 1299.994 | 1337.845 | 1262.143 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
23/04/2024 11:30 | 1225.15 | 1262.002 | 1188.299 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
23/04/2024 12:00 | 1172.237 | 1208.626 | 1135.848 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
23/04/2024 12:30 | 1192.74 | 1230.914 | 1154.566 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
23/04/2024 13:00 | 1240.109 | 1275.653 | 1194.225 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
23/04/2024 13:30 | 1324.611 | 1364.675 | 1275.102
23/04/2024 14:00 | 1441.358 | 1487.005 | 1386.727 | Summary view - for each schedule horizon (dispatch, week-ahead)
23/04/2024 14:30 | 1590.761 | 1643.89 | 1530.078
23/04/2024 15:00 | 1765.768 | 1827.294 | 1697.507 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
23/04/2024 15:30 | 1938.153 | 2006.945 | 1860.805 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
23/04/2024 16:00 | 2111.275 | 2188.757 | 2025.467 | Scenario | Violations
23/04/2024 16:30 | 2279.959 | 2367.292 | 2186.461 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
23/04/2024 17:00 | 2428.329 | 2523.695 | 2326.424 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
23/04/2024 17:30 | 2514.56 | 2616.214 | 2407.062 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 7
23/04/2024 18:00 | 2523.624 | 2629.112 | 2414.266 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0
23/04/2024 18:30 | 2471.588 | 2577.16 | 2362.959 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 3
23/04/2024 19:00 | 2404.122 | 2507.869 | 2297.785
23/04/2024 19:30 | 2344.356 | 2446.783 | 2240.059 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
23/04/2024 20:00 | 2274.156 | 2375.354 | 2172.959
23/04/2024 20:30 | 2206.434 | 2305.481 | 2107.387 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
23/04/2024 21:00 | 2132.88 | 2229.46 | 2036.3 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
23/04/2024 21:30 | 2056.809 | 2150.75 | 1962.869 | [7 empty] | 23/04/2024 10:00 |  |  |  |  | 25/04/2024 03:00 | [6 empty] | 23/04/2024 10:30 | [11 empty] | 23/04/2024 10:00 |  |  |  |  | 25/04/2024 01:30
23/04/2024 22:00 | 1983.836 | 2075.22 | 1892.452 | [7 empty] | 23/04/2024 10:30 |  |  |  |  | 25/04/2024 03:30 | [6 empty] | 23/04/2024 11:00 | [11 empty] | 23/04/2024 10:30 |  |  |  |  | 25/04/2024 04:30
23/04/2024 22:30 | 1921.187 | 2010.436 | 1831.937 | [7 empty] | 23/04/2024 11:00 |  |  |  |  | 25/04/2024 04:00 | [6 empty] | 23/04/2024 11:30 | [11 empty] | 23/04/2024 11:00 |  |  |  |  | 25/04/2024 05:00
23/04/2024 23:00 | 1872.81 | 1960.546 | 1785.074 | [7 empty] | 23/04/2024 11:30 |  |  |  |  | 25/04/2024 04:30 | [6 empty] | 23/04/2024 12:00 | [11 empty] | 23/04/2024 11:30
23/04/2024 23:30 | 1830.594 | 1917.069 | 1744.12 | [7 empty] | 23/04/2024 12:00 |  |  |  |  | 25/04/2024 05:00 | [6 empty] | 23/04/2024 12:30 | [11 empty] | 23/04/2024 12:00
24/04/2024 00:00 | 1793.31 | 1878.725 | 1707.895 | [7 empty] | 23/04/2024 12:30 |  |  |  |  | 28/04/2024 14:00 | [6 empty] | 23/04/2024 13:00 | [11 empty] | 23/04/2024 12:30
24/04/2024 00:30 | 1765.109 | 1849.872 | 1680.347 | [7 empty] | 23/04/2024 13:00 |  |  |  |  | 29/04/2024 15:30 | [6 empty] | 23/04/2024 13:30 | [11 empty] | 23/04/2024 13:00
24/04/2024 01:00 | 1748.412 | 1833.057 | 1663.766 | [7 empty] | 23/04/2024 13:30 | [23 empty] | 23/04/2024 13:30
24/04/2024 01:30 | 1740.34 | 1825.276 | 1655.404 | [31 empty] | 23/04/2024 14:00
24/04/2024 02:00 | 1733.598 | 1818.883 | 1648.313
24/04/2024 02:30 | 1732.741 | 1818.662 | 1646.819
24/04/2024 03:00 | 1738.52 | 1825.409 | 1651.632
24/04/2024 03:30 | 1752.565 | 1840.841 | 1664.289
24/04/2024 04:00 | 1787.687 | 1878.432 | 1696.942
24/04/2024 04:30 | 1853.475 | 1948.285 | 1758.666
24/04/2024 05:00 | 1948.917 | 2049.372 | 1848.462
24/04/2024 05:30 | 2068.857 | 2176.303 | 1961.41
24/04/2024 06:00 | 2182.449 | 2296.649 | 2068.25
24/04/2024 06:30 | 2238.562 | 2356.394 | 2120.729
24/04/2024 07:00 | 2198.056 | 2314.088 | 2082.023
24/04/2024 07:30 | 2048.722 | 2157.209 | 1940.234
24/04/2024 08:00 | 1897.618 | 1998.417 | 1796.818
24/04/2024 08:30 | 1762.315 | 1856.219 | 1668.412
24/04/2024 09:00 | 1636.46 | 1723.927 | 1548.992
24/04/2024 09:30 | 1519.69 | 1601.167 | 1438.213
24/04/2024 10:00 | 1422.331 | 1498.823 | 1345.839
24/04/2024 10:30 | 1336.925 | 1409.045 | 1264.805
24/04/2024 11:00 | 1280.378 | 1349.658 | 1211.097
24/04/2024 11:30 | 1249.565 | 1317.385 | 1181.745
24/04/2024 12:00 | 1235.982 | 1303.269 | 1168.696
24/04/2024 12:30 | 1264.143 | 1333.172 | 1195.115
24/04/2024 13:00 | 1320.85 | 1393.193 | 1248.507
24/04/2024 13:30 | 1433.722 | 1512.484 | 1354.96
24/04/2024 14:00 | 1557.962 | 1643.806 | 1472.118
24/04/2024 14:30 | 1683.923 | 1776.985 | 1590.86
24/04/2024 15:00 | 1838.322 | 1940.22 | 1736.422
24/04/2024 15:30 | 1994.022 | 2104.881 | 1883.163
24/04/2024 16:00 | 2155.308 | 2275.49 | 2035.127
24/04/2024 16:30 | 2307.949 | 2437.022 | 2178.875
24/04/2024 17:00 | 2445.017 | 2582.16 | 2307.874
24/04/2024 17:30 | 2519.232 | 2660.954 | 2377.51
24/04/2024 18:00 | 2519.939 | 2662.117 | 2377.762
24/04/2024 18:30 | 2470.989 | 2610.812 | 2331.165
24/04/2024 19:00 | 2406.312 | 2542.873 | 2269.75
24/04/2024 19:30 | 2348.618 | 2482.293 | 2214.943
24/04/2024 20:00 | 2280.496 | 2410.67 | 2150.322
24/04/2024 20:30 | 2211.805 | 2338.423 | 2085.186
24/04/2024 21:00 | 2138.422 | 2261.192 | 2015.651
24/04/2024 21:30 | 2062.822 | 2181.592 | 1944.051
24/04/2024 22:00 | 1991.056 | 2106.023 | 1876.088
24/04/2024 22:30 | 1928.893 | 2040.589 | 1817.196
24/04/2024 23:00 | 1880.556 | 1989.764 | 1771.348
24/04/2024 23:30 | 1837.994 | 1945.034 | 1730.955
25/04/2024 00:00 | 1806.221 | 1911.708 | 1700.733
25/04/2024 00:30 | 1780.332 | 1884.602 | 1676.062
25/04/2024 01:00 | 1757.801 | 1861.041 | 1654.561
25/04/2024 01:30 | 1749.341 | 1852.373 | 1646.309
25/04/2024 02:00 | 1737.069 | 1839.665 | 1634.473
25/04/2024 02:30 | 1727.059 | 1829.349 | 1624.769
25/04/2024 03:00 | 1731.702 | 1834.553 | 1628.851
25/04/2024 03:30 | 1733.286 | 1836.517 | 1630.055
25/04/2024 04:00 | 1747.78 | 1852.163 | 1643.397
25/04/2024 04:30 | 1772.841 | 1879.014 | 1666.668
25/04/2024 05:00 | 1785.096 | 1892.297 | 1677.895
25/04/2024 05:30 | 1792.005 | 1899.917 | 1684.093
25/04/2024 06:00 | 1796.125 | 1904.582 | 1687.669
25/04/2024 06:30 | 1779.009 | 1886.76 | 1671.259
25/04/2024 07:00 | 1735.255 | 1840.741 | 1629.77
25/04/2024 07:30 | 1673.568 | 1775.669 | 1571.467
25/04/2024 08:00 | 1631.67 | 1731.571 | 1531.769
25/04/2024 08:30 | 1572.061 | 1668.656 | 1475.465
25/04/2024 09:00 | 1475.476 | 1566.459 | 1384.493
25/04/2024 09:30 | 1320.498 | 1402.213 | 1238.783
25/04/2024 10:00 | 1211.461 | 1286.693 | 1136.229
25/04/2024 10:30 | 1169.263 | 1242.13 | 1096.396
25/04/2024 11:00 | 1145.16 | 1216.775 | 1073.545
25/04/2024 11:30 | 1168.069 | 1241.372 | 1094.766
25/04/2024 12:00 | 1163.255 | 1236.51 | 1090
25/04/2024 12:30 | 1207.266 | 1283.556 | 1130.975
25/04/2024 13:00 | 1331.173 | 1415.585 | 1246.762
25/04/2024 13:30 | 1515.015 | 1611.415 | 1418.615
25/04/2024 14:00 | 1655.95 | 1761.68 | 1550.221
25/04/2024 14:30 | 1740.949 | 1852.486 | 1629.412
25/04/2024 15:00 | 1836.015 | 1954.043 | 1717.986
25/04/2024 15:30 | 1916.409 | 2040.025 | 1792.794
25/04/2024 16:00 | 2055.336 | 2188.362 | 1922.31
25/04/2024 16:30 | 2188.316 | 2330.427 | 2046.206
25/04/2024 17:00 | 2318.618 | 2469.697 | 2167.539
25/04/2024 17:30 | 2404.072 | 2561.244 | 2246.899
25/04/2024 18:00 | 2399.971 | 2557.4 | 2242.542
25/04/2024 18:30 | 2353.774 | 2508.687 | 2198.861
25/04/2024 19:00 | 2307.783 | 2460.174 | 2155.393
25/04/2024 19:30 | 2260.783 | 2410.563 | 2111.002
25/04/2024 20:00 | 2190.357 | 2335.95 | 2044.764
25/04/2024 20:30 | 2123.136 | 2264.725 | 1981.548
25/04/2024 21:00 | 2057.745 | 2195.423 | 1920.068
25/04/2024 21:30 | 2002.153 | 2136.549 | 1867.758
25/04/2024 22:00 | 1953.613 | 2085.177 | 1822.049
25/04/2024 22:30 | 1899.225 | 2027.542 | 1770.909
25/04/2024 23:00 | 1843.177 | 1968.109 | 1718.245
25/04/2024 23:30 | 1801.008 | 1923.476 | 1678.541
26/04/2024 00:00 | 1758.868 | 1878.854 | 1638.882
26/04/2024 00:30 | 1725.026 | 1842.327 | 1606.971
26/04/2024 01:00 | 1704.915 | 1821.221 | 1587.864
26/04/2024 01:30 | 1701.038 | 1817.451 | 1583.882
26/04/2024 02:00 | 1698.612 | 1815.23 | 1581.251
26/04/2024 02:30 | 1701.397 | 1818.578 | 1583.473
26/04/2024 03:00 | 1708.169 | 1826.189 | 1589.402
26/04/2024 03:30 | 1724.794 | 1844.34 | 1604.495
26/04/2024 04:00 | 1759.951 | 1882.318 | 1636.815
26/04/2024 04:30 | 1823.543 | 1950.73 | 1695.559
26/04/2024 05:00 | 1905.499 | 2038.819 | 1771.347
26/04/2024 05:30 | 2001.323 | 2141.784 | 1859.987
26/04/2024 06:00 | 2099.672 | 2247.495 | 1950.932
26/04/2024 06:30 | 2143.188 | 2294.543 | 1990.897
26/04/2024 07:00 | 2097.171 | 2245.734 | 1947.692
26/04/2024 07:30 | 1950.858 | 2089.483 | 1811.381
26/04/2024 08:00 | 1809.295 | 1938.256 | 1679.544
26/04/2024 08:30 | 1658.234 | 1776.789 | 1538.953
26/04/2024 09:00 | 1521.995 | 1631.143 | 1412.182
26/04/2024 09:30 | 1420.797 | 1522.998 | 1318.596
26/04/2024 10:00 | 1338.528 | 1435.104 | 1241.952
26/04/2024 10:30 | 1267.053 | 1358.749 | 1175.358
26/04/2024 11:00 | 1241.761 | 1331.898 | 1151.625
26/04/2024 11:30 | 1253.104 | 1344.337 | 1161.87
26/04/2024 12:00 | 1280.369 | 1373.867 | 1186.871
26/04/2024 12:30 | 1331.675 | 1429.211 | 1234.139
26/04/2024 13:00 | 1398.243 | 1500.96 | 1295.526
26/04/2024 13:30 | 1507.057 | 1618.097 | 1396.017
26/04/2024 14:00 | 1629.756 | 1750.193 | 1509.319
26/04/2024 14:30 | 1773.622 | 1905.078 | 1642.167
26/04/2024 15:00 | 1955.899 | 2101.292 | 1810.506
26/04/2024 15:30 | 2133.31 | 2292.356 | 1974.263
26/04/2024 16:00 | 2299.706 | 2471.66 | 2127.751
26/04/2024 16:30 | 2428.17 | 2610.26 | 2246.079
26/04/2024 17:00 | 2500.489 | 2688.549 | 2312.428
26/04/2024 17:30 | 2520.389 | 2710.497 | 2330.281
26/04/2024 18:00 | 2486.651 | 2674.757 | 2298.545
26/04/2024 18:30 | 2412.937 | 2595.994 | 2229.879
26/04/2024 19:00 | 2328.65 | 2505.821 | 2151.478
26/04/2024 19:30 | 2270.131 | 2443.346 | 2096.916
26/04/2024 20:00 | 2210.253 | 2379.382 | 2041.124
26/04/2024 20:30 | 2152.729 | 2317.927 | 1987.531
26/04/2024 21:00 | 2094.771 | 2255.979 | 1933.563
26/04/2024 21:30 | 2041.58 | 2199.141 | 1884.02
26/04/2024 22:00 | 1982.985 | 2136.456 | 1829.513
26/04/2024 22:30 | 1929.028 | 2078.746 | 1779.311
26/04/2024 23:00 | 1886.684 | 2033.527 | 1739.842
26/04/2024 23:30 | 1851.916 | 2001.513 | 1702.318
27/04/2024 00:00 | 1819.741 | 1976.99 | 1662.493
27/04/2024 00:30 | 1790.364 | 1944.67 | 1636.059
27/04/2024 01:00 | 1771.191 | 1924.267 | 1618.115
27/04/2024 01:30 | 1756.966 | 1909.232 | 1604.7
27/04/2024 02:00 | 1745.788 | 1897.502 | 1594.073
27/04/2024 02:30 | 1736.331 | 1887.639 | 1585.024
27/04/2024 03:00 | 1731.518 | 1882.82 | 1580.216
27/04/2024 03:30 | 1734.215 | 1886.167 | 1582.263
27/04/2024 04:00 | 1746.342 | 1899.773 | 1592.91
27/04/2024 04:30 | 1766.517 | 1922.143 | 1610.891
27/04/2024 05:00 | 1794.981 | 1953.543 | 1636.418
27/04/2024 05:30 | 1833.573 | 1995.983 | 1671.164
27/04/2024 06:00 | 1866.394 | 2032.156 | 1700.631
27/04/2024 06:30 | 1869.294 | 2035.761 | 1702.828
27/04/2024 07:00 | 1815.035 | 1977.103 | 1652.967
27/04/2024 07:30 | 1694.82 | 1846.446 | 1543.195
27/04/2024 08:00 | 1574.797 | 1715.747 | 1433.847
27/04/2024 08:30 | 1441.145 | 1570.206 | 1312.084
27/04/2024 09:00 | 1316.243 | 1434.185 | 1198.3
27/04/2024 09:30 | 1200.654 | 1308.3 | 1093.007
27/04/2024 10:00 | 1110.292 | 1209.894 | 1010.691
27/04/2024 10:30 | 1040.344 | 1133.724 | 946.9647
27/04/2024 11:00 | 996.2894 | 1085.766 | 906.8132
27/04/2024 11:30 | 968.6318 | 1055.673 | 881.5901
27/04/2024 12:00 | 975.1298 | 1062.805 | 887.4545
27/04/2024 12:30 | 1019.879 | 1111.629 | 928.1279
27/04/2024 13:00 | 1070.916 | 1167.312 | 974.5189
27/04/2024 13:30 | 1165.392 | 1270.352 | 1060.432
27/04/2024 14:00 | 1294.569 | 1411.229 | 1177.908
27/04/2024 14:30 | 1441.58 | 1571.562 | 1311.598
27/04/2024 15:00 | 1615.821 | 1761.596 | 1470.046
27/04/2024 15:30 | 1805.973 | 1968.995 | 1642.951
27/04/2024 16:00 | 2004.988 | 2186.076 | 1823.899
27/04/2024 16:30 | 2170.229 | 2366.353 | 1974.105
27/04/2024 17:00 | 2280.867 | 2487.105 | 2074.628
27/04/2024 17:30 | 2340.382 | 2552.122 | 2128.643
27/04/2024 18:00 | 2326.297 | 2536.881 | 2115.714
27/04/2024 18:30 | 2272.989 | 2478.863 | 2067.115
27/04/2024 19:00 | 2216.89 | 2417.796 | 2015.984
27/04/2024 19:30 | 2165.417 | 2361.768 | 1969.065
27/04/2024 20:00 | 2115.447 | 2307.375 | 1923.518
27/04/2024 20:30 | 2079.371 | 2268.132 | 1890.609
27/04/2024 21:00 | 2041.576 | 2227.01 | 1856.141
27/04/2024 21:30 | 1995.517 | 2176.869 | 1814.164
27/04/2024 22:00 | 1943.306 | 2120.012 | 1766.599
27/04/2024 22:30 | 1894.817 | 2067.211 | 1722.423
27/04/2024 23:00 | 1854.771 | 2023.616 | 1685.926
27/04/2024 23:30 | 1818.706 | 1984.36 | 1653.051
28/04/2024 00:00 | 1784.121 | 1946.717 | 1621.526
28/04/2024 00:30 | 1755.879 | 1915.991 | 1595.768
28/04/2024 01:00 | 1739.492 | 1898.198 | 1580.786
28/04/2024 01:30 | 1727.249 | 1884.926 | 1569.572
28/04/2024 02:00 | 1717.424 | 1874.291 | 1560.556
28/04/2024 02:30 | 1710.3 | 1866.604 | 1553.996
28/04/2024 03:00 | 1707.779 | 1863.939 | 1551.618
28/04/2024 03:30 | 1710.748 | 1867.268 | 1554.229
28/04/2024 04:00 | 1717.391 | 1874.605 | 1560.176
28/04/2024 04:30 | 1728.99 | 1887.354 | 1570.625
28/04/2024 05:00 | 1745.162 | 1905.097 | 1585.227
28/04/2024 05:30 | 1764.722 | 1926.539 | 1602.904
28/04/2024 06:00 | 1791.016 | 1955.336 | 1626.696
28/04/2024 06:30 | 1797.612 | 1962.629 | 1632.595
28/04/2024 07:00 | 1785.575 | 1949.577 | 1621.572
28/04/2024 07:30 | 1758.001 | 1919.561 | 1596.442
28/04/2024 08:00 | 1713.259 | 1870.794 | 1555.724
28/04/2024 08:30 | 1651.592 | 1803.541 | 1499.643
28/04/2024 09:00 | 1619.223 | 1768.277 | 1470.17
28/04/2024 09:30 | 1601.444 | 1748.943 | 1453.946
28/04/2024 10:00 | 1562.071 | 1706.022 | 1418.119
28/04/2024 10:30 | 1486.011 | 1623.03 | 1348.993
28/04/2024 11:00 | 1450.071 | 1583.85 | 1316.293
28/04/2024 11:30 | 1462.865 | 1597.898 | 1327.831
28/04/2024 12:00 | 1477.104 | 1613.526 | 1340.681
28/04/2024 12:30 | 1516.141 | 1656.246 | 1376.035
28/04/2024 13:00 | 1539.396 | 1681.729 | 1397.063
28/04/2024 13:30 | 1469.305 | 1605.232 | 1333.377
28/04/2024 14:00 | 1466.34 | 1602.068 | 1330.612
28/04/2024 14:30 | 1598.141 | 1746.15 | 1450.131
28/04/2024 15:00 | 1742.62 | 1904.099 | 1581.141
28/04/2024 15:30 | 1924.542 | 2102.977 | 1746.107
28/04/2024 16:00 | 2115.163 | 2311.378 | 1918.947
28/04/2024 16:30 | 2282.954 | 2494.851 | 2071.056
28/04/2024 17:00 | 2402.143 | 2625.226 | 2179.06
28/04/2024 17:30 | 2464.367 | 2693.354 | 2235.38
28/04/2024 18:00 | 2446.504 | 2673.956 | 2219.052
28/04/2024 18:30 | 2369.48 | 2589.892 | 2149.068
28/04/2024 19:00 | 2277.17 | 2489.111 | 2065.229
28/04/2024 19:30 | 2223.691 | 2430.769 | 2016.614
28/04/2024 20:00 | 2164.527 | 2366.205 | 1962.849
28/04/2024 20:30 | 2108.397 | 2304.953 | 1911.841
28/04/2024 21:00 | 2049.642 | 2240.824 | 1858.459
28/04/2024 21:30 | 1987.345 | 2172.819 | 1801.872
28/04/2024 22:00 | 1924.922 | 2104.668 | 1745.177
28/04/2024 22:30 | 1869.712 | 2044.398 | 1695.027
28/04/2024 23:00 | 1823.356 | 1993.804 | 1652.909
28/04/2024 23:30 | 1779.072 | 1947.635 | 1610.509
29/04/2024 00:00 | 1738.121 | 1907.168 | 1569.075
29/04/2024 00:30 | 1707.06 | 1873.073 | 1541.047
29/04/2024 01:00 | 1690.191 | 1854.888 | 1525.495
29/04/2024 01:30 | 1688.248 | 1853.079 | 1523.417
29/04/2024 02:00 | 1684.604 | 1849.402 | 1519.807
29/04/2024 02:30 | 1686.674 | 1851.998 | 1521.351
29/04/2024 03:00 | 1694.176 | 1860.56 | 1527.793
29/04/2024 03:30 | 1711.212 | 1879.596 | 1542.827
29/04/2024 04:00 | 1749.126 | 1921.577 | 1576.676
29/04/2024 04:30 | 1814.097 | 1993.301 | 1634.893
29/04/2024 05:00 | 1905.746 | 2094.368 | 1717.123
29/04/2024 05:30 | 2017.244 | 2217.289 | 1817.199
29/04/2024 06:00 | 2120.943 | 2331.678 | 1910.208
29/04/2024 06:30 | 2179.056 | 2395.983 | 1962.13
29/04/2024 07:00 | 2132.987 | 2345.736 | 1920.238
29/04/2024 07:30 | 1966.531 | 2163.155 | 1769.907
29/04/2024 08:00 | 1815.344 | 1997.476 | 1633.212
29/04/2024 08:30 | 1664.863 | 1832.455 | 1497.27
29/04/2024 09:00 | 1522.446 | 1676.213 | 1368.68
29/04/2024 09:30 | 1391.166 | 1532.14 | 1250.192
29/04/2024 10:00 | 1291.087 | 1422.353 | 1159.822
29/04/2024 10:30 | 1217.705 | 1341.918 | 1093.492
29/04/2024 11:00 | 1163.482 | 1282.554 | 1044.41
29/04/2024 11:30 | 1143.31 | 1260.701 | 1025.919
29/04/2024 12:00 | 1144.472 | 1262.366 | 1026.578
29/04/2024 12:30 | 1184.149 | 1306.527 | 1061.771
29/04/2024 13:00 | 1241.453 | 1370.17 | 1112.737
29/04/2024 13:30 | 1339.664 | 1479.012 | 1200.316
29/04/2024 14:00 | 1454.398 | 1606.169 | 1302.628
29/04/2024 14:30 | 1596.314 | 1763.429 | 1429.199
29/04/2024 15:00 | 1780.258 | 1967.227 | 1593.29
29/04/2024 15:30 | 1977.473 | 2185.816 | 1769.129
29/04/2024 16:00 | 2170.215 | 2399.594 | 1940.837
29/04/2024 16:30 | 2342.501 | 2590.874 | 2094.127
29/04/2024 17:00 | 2467.202 | 2729.625 | 2204.779
29/04/2024 17:30 | 2527.191 | 2796.842 | 2257.541
29/04/2024 18:00 | 2508.688 | 2777.205 | 2240.17
29/04/2024 18:30 | 2442 | 2704.198 | 2179.802
29/04/2024 19:00 | 2363.198 | 2617.727 | 2108.668
29/04/2024 19:30 | 2298.835 | 2547.203 | 2050.467
29/04/2024 20:00 | 2227.795 | 2469.236 | 1986.355
29/04/2024 20:30 | 2162.014 | 2397.049 | 1926.978
29/04/2024 21:00 | 2093.958 | 2322.298 | 1865.619
29/04/2024 21:30 | 2025.531 | 2247.088 | 1803.974
29/04/2024 22:00 | 1958.561 | 2173.449 | 1743.672
29/04/2024 22:30 | 1898.821 | 2107.792 | 1689.851
29/04/2024 23:00 | 1855.122 | 2059.905 | 1650.339
29/04/2024 23:30 | 1814.846 | 2015.792 | 1613.901
30/04/2024 00:00 | 1777.112 | 1974.476 | 1579.749
30/04/2024 00:30 | 1749.783 | 1944.698 | 1554.868
30/04/2024 01:00 | 1736.815 | 1930.868 | 1542.762
30/04/2024 01:30 | 1729.986 | 1923.856 | 1536.116
30/04/2024 02:00 | 1724.177 | 1917.974 | 1530.38
30/04/2024 02:30 | 1724.543 | 1918.959 | 1530.126
30/04/2024 03:00 | 1730.683 | 1926.372 | 1534.995
30/04/2024 03:30 | 1744.176 | 1941.976 | 1546.377
30/04/2024 04:00 | 1778.304 | 1980.57 | 1576.038
30/04/2024 04:30 | 1841.211 | 2051.249 | 1631.172
30/04/2024 05:00 | 1923.987 | 2144.113 | 1703.861
30/04/2024 05:30 | 2024.46 | 2256.76 | 1792.16
30/04/2024 06:00 | 2134.08 | 2379.675 | 1888.486
30/04/2024 06:30 | 2193.588 | 2446.767 | 1940.41
30/04/2024 07:00 | 2176.72 | 2428.681 | 1924.758
30/04/2024 07:30 | 2065.042 | 2304.768 | 1825.315