## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
26/04/2024 08:00 | 1930.091 | 1957.357 | 1902.825
26/04/2024 08:30 | 1804.008 | 1834.856 | 1773.16 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
26/04/2024 09:00 | 1697.238 | 1731.305 | 1663.17 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
26/04/2024 09:30 | 1570.818 | 1607.018 | 1534.619 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
26/04/2024 10:00 | 1464.088 | 1502.18 | 1425.996 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
26/04/2024 10:30 | 1401.457 | 1441.084 | 1361.831 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
26/04/2024 11:00 | 1359.344 | 1398.922 | 1319.765 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
26/04/2024 11:30 | 1351.695 | 1392.353 | 1311.037 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
26/04/2024 12:00 | 1358.657 | 1400.833 | 1316.481 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
26/04/2024 12:30 | 1403.366 | 1448.282 | 1358.451 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
26/04/2024 13:00 | 1470.028 | 1518.493 | 1421.563 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
26/04/2024 13:30 | 1577.167 | 1629.784 | 1522.811
26/04/2024 14:00 | 1701.733 | 1760.105 | 1641.41 | Summary view - for each schedule horizon (dispatch, week-ahead)
26/04/2024 14:30 | 1838.659 | 1903.688 | 1771.889
26/04/2024 15:00 | 2007.854 | 2081.116 | 1933.301 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
26/04/2024 15:30 | 2172.239 | 2253.215 | 2089.142 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
26/04/2024 16:00 | 2322.341 | 2411.09 | 2231.214 | Scenario | Violations
26/04/2024 16:30 | 2446.269 | 2542.689 | 2348.459 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
26/04/2024 17:00 | 2522.611 | 2624.519 | 2419.367 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
26/04/2024 17:30 | 2542.018 | 2647.342 | 2435.702 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 1
26/04/2024 18:00 | 2510.265 | 2617.021 | 2403.163 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 1
26/04/2024 18:30 | 2436.844 | 2542.436 | 2331.122 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 2
26/04/2024 19:00 | 2355.342 | 2458.263 | 2252.335
26/04/2024 19:30 | 2295.872 | 2397.156 | 2194.625 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
26/04/2024 20:00 | 2236.357 | 2335.872 | 2136.842
26/04/2024 20:30 | 2177.41 | 2275.154 | 2079.666 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
26/04/2024 21:00 | 2117.135 | 2213.002 | 2021.268 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
26/04/2024 21:30 | 2062.036 | 2156.215 | 1967.857 | [7 empty] | 26/04/2024 09:30 |  |  |  |  | 26/04/2024 08:00 | [6 empty] | 26/04/2024 09:30 |  |  |  |  | 26/04/2024 08:00 | [6 empty] | 26/04/2024 09:30 |  |  |  |  | 26/04/2024 08:00
26/04/2024 22:00 | 2003.599 | 2095.894 | 1911.305 | [7 empty] | 26/04/2024 10:00 | [11 empty] | 26/04/2024 10:00 | [11 empty] | 26/04/2024 10:00 |  |  |  |  | 28/04/2024 06:00
26/04/2024 22:30 | 1948.771 | 2039.302 | 1858.24 | [7 empty] | 26/04/2024 10:30 | [11 empty] | 26/04/2024 10:30 | [11 empty] | 26/04/2024 10:30
26/04/2024 23:00 | 1903.082 | 1992.236 | 1813.928 | [7 empty] | 26/04/2024 11:00 | [11 empty] | 26/04/2024 11:00 | [11 empty] | 26/04/2024 11:00
26/04/2024 23:30 | 1863.702 | 1956.012 | 1771.393 | [7 empty] | 26/04/2024 11:30 | [11 empty] | 26/04/2024 11:30 | [11 empty] | 26/04/2024 11:30
27/04/2024 00:00 | 1828.487 | 1927.982 | 1728.991 | [7 empty] | 26/04/2024 12:00 | [11 empty] | 26/04/2024 12:00 | [11 empty] | 26/04/2024 12:00
27/04/2024 00:30 | 1798.264 | 1895.871 | 1700.657 | [7 empty] | 26/04/2024 12:30 | [11 empty] | 26/04/2024 12:30 | [11 empty] | 26/04/2024 12:30
27/04/2024 01:00 | 1777.92 | 1874.89 | 1680.949 | [19 empty] | 02/05/2024 10:30
27/04/2024 01:30 | 1762.655 | 1859.257 | 1666.052 | [19 empty] | 02/05/2024 11:00
27/04/2024 02:00 | 1751.549 | 1848.004 | 1655.094
27/04/2024 02:30 | 1742.898 | 1839.335 | 1646.46
27/04/2024 03:00 | 1738.442 | 1835.091 | 1641.794
27/04/2024 03:30 | 1740.596 | 1837.823 | 1643.369
27/04/2024 04:00 | 1752.061 | 1850.389 | 1653.732
27/04/2024 04:30 | 1771.505 | 1871.391 | 1671.619
27/04/2024 05:00 | 1797.137 | 1898.942 | 1695.333
27/04/2024 05:30 | 1836.043 | 1940.535 | 1731.552
27/04/2024 06:00 | 1872.942 | 1980.026 | 1765.857
27/04/2024 06:30 | 1877.088 | 1984.855 | 1769.32
27/04/2024 07:00 | 1824.02 | 1929.081 | 1718.958
27/04/2024 07:30 | 1706.512 | 1805.132 | 1607.893
27/04/2024 08:00 | 1595.513 | 1688.022 | 1503.003
27/04/2024 08:30 | 1470.784 | 1556.343 | 1385.226
27/04/2024 09:00 | 1352.66 | 1431.605 | 1273.714
27/04/2024 09:30 | 1240.027 | 1312.635 | 1167.418
27/04/2024 10:00 | 1142.192 | 1209.29 | 1075.093
27/04/2024 10:30 | 1069.095 | 1132.103 | 1006.086
27/04/2024 11:00 | 1034.386 | 1095.547 | 973.2255
27/04/2024 11:30 | 1011.686 | 1071.698 | 951.6746
27/04/2024 12:00 | 1015.255 | 1075.673 | 954.8378
27/04/2024 12:30 | 1053.271 | 1116.152 | 990.3903
27/04/2024 13:00 | 1111.387 | 1177.95 | 1044.824
27/04/2024 13:30 | 1203.207 | 1275.499 | 1130.915
27/04/2024 14:00 | 1319.774 | 1399.322 | 1240.226
27/04/2024 14:30 | 1462.159 | 1550.568 | 1373.75
27/04/2024 15:00 | 1636.247 | 1735.495 | 1536.999
27/04/2024 15:30 | 1831.31 | 1942.74 | 1719.88
27/04/2024 16:00 | 2035.301 | 2159.532 | 1911.07
27/04/2024 16:30 | 2216.99 | 2352.735 | 2081.246
27/04/2024 17:00 | 2331.117 | 2474.295 | 2187.939
27/04/2024 17:30 | 2388.211 | 2535.352 | 2241.071
27/04/2024 18:00 | 2374.282 | 2521.019 | 2227.546
27/04/2024 18:30 | 2315.341 | 2458.877 | 2171.805
27/04/2024 19:00 | 2251.937 | 2391.973 | 2111.901
27/04/2024 19:30 | 2200.687 | 2337.956 | 2063.418
27/04/2024 20:00 | 2151.376 | 2285.98 | 2016.771
27/04/2024 20:30 | 2112.434 | 2245.006 | 1979.863
27/04/2024 21:00 | 2071.754 | 2202.169 | 1941.34
27/04/2024 21:30 | 2023.11 | 2150.849 | 1895.371
27/04/2024 22:00 | 1968.816 | 2093.502 | 1844.129
27/04/2024 22:30 | 1916.082 | 2037.795 | 1794.369
27/04/2024 23:00 | 1869.186 | 1988.278 | 1750.095
27/04/2024 23:30 | 1825.487 | 1942.143 | 1708.831
28/04/2024 00:00 | 1784.401 | 1898.772 | 1670.029
28/04/2024 00:30 | 1752.403 | 1865.063 | 1639.747
28/04/2024 01:00 | 1732.521 | 1844.231 | 1620.813
28/04/2024 01:30 | 1721.22 | 1832.531 | 1609.912
28/04/2024 02:00 | 1711.706 | 1822.729 | 1600.686
28/04/2024 02:30 | 1705.115 | 1816.036 | 1594.196
28/04/2024 03:00 | 1703.557 | 1814.702 | 1592.415
28/04/2024 03:30 | 1705.572 | 1817.174 | 1593.971
28/04/2024 04:00 | 1711.335 | 1823.641 | 1599.031
28/04/2024 04:30 | 1721.44 | 1834.738 | 1608.144
28/04/2024 05:00 | 1740.997 | 1855.915 | 1626.083
28/04/2024 05:30 | 1767.984 | 1885.021 | 1650.951
28/04/2024 06:00 | 1787.879 | 1906.574 | 1669.187
28/04/2024 06:30 | 1785.031 | 1903.909 | 1666.157
28/04/2024 07:00 | 1727.916 | 1843.408 | 1612.427
28/04/2024 07:30 | 1621.135 | 1729.877 | 1512.396
28/04/2024 08:00 | 1529.617 | 1632.584 | 1426.65
28/04/2024 08:30 | 1422.452 | 1518.545 | 1326.359
28/04/2024 09:00 | 1328.939 | 1419.032 | 1238.846
28/04/2024 09:30 | 1236.187 | 1320.288 | 1152.086
28/04/2024 10:00 | 1174.884 | 1255.095 | 1094.673
28/04/2024 10:30 | 1162.717 | 1242.375 | 1083.059
28/04/2024 11:00 | 1151.061 | 1230.195 | 1071.927
28/04/2024 11:30 | 1110.756 | 1187.385 | 1034.128
28/04/2024 12:00 | 1096.71 | 1172.631 | 1020.788
28/04/2024 12:30 | 1140.199 | 1219.404 | 1060.995
28/04/2024 13:00 | 1219.612 | 1304.624 | 1134.6
28/04/2024 13:30 | 1342.713 | 1436.627 | 1248.8
28/04/2024 14:00 | 1487.475 | 1591.869 | 1383.081
28/04/2024 14:30 | 1629.056 | 1743.776 | 1514.337
28/04/2024 15:00 | 1785.864 | 1912.053 | 1659.675
28/04/2024 15:30 | 1960.089 | 2099.057 | 1821.121
28/04/2024 16:00 | 2119.105 | 2269.853 | 1968.357
28/04/2024 16:30 | 2259.091 | 2420.337 | 2097.845
28/04/2024 17:00 | 2375.328 | 2545.438 | 2205.218
28/04/2024 17:30 | 2432.161 | 2605.422 | 2257.4
28/04/2024 18:00 | 2411.336 | 2583.737 | 2237.495
28/04/2024 18:30 | 2349.045 | 2517.565 | 2179.134
28/04/2024 19:00 | 2284.914 | 2449.371 | 2119.095
28/04/2024 19:30 | 2230.803 | 2391.931 | 2068.379
28/04/2024 20:00 | 2172.692 | 2330.16 | 2013.98
28/04/2024 20:30 | 2116.762 | 2270.701 | 1961.63
28/04/2024 21:00 | 2055.403 | 2205.394 | 1904.276
28/04/2024 21:30 | 1992.167 | 2138.036 | 1845.215
28/04/2024 22:00 | 1930.038 | 2071.831 | 1787.207
28/04/2024 22:30 | 1875.408 | 2013.65 | 1736.172
28/04/2024 23:00 | 1834.184 | 1969.825 | 1698.365
28/04/2024 23:30 | 1796.451 | 1925.445 | 1667.269
29/04/2024 00:00 | 1763.51 | 1882.222 | 1644.6
29/04/2024 00:30 | 1738.208 | 1856.299 | 1619.918
29/04/2024 01:00 | 1723.317 | 1840.775 | 1605.666
29/04/2024 01:30 | 1719.442 | 1837.02 | 1601.687
29/04/2024 02:00 | 1716.096 | 1833.826 | 1598.2
29/04/2024 02:30 | 1717.533 | 1835.742 | 1599.168
29/04/2024 03:00 | 1725.204 | 1844.323 | 1605.938
29/04/2024 03:30 | 1741.332 | 1861.951 | 1620.576
29/04/2024 04:00 | 1777.53 | 1901.051 | 1653.881
29/04/2024 04:30 | 1841.459 | 1969.834 | 1712.968
29/04/2024 05:00 | 1926.719 | 2061.463 | 1791.862
29/04/2024 05:30 | 2024.989 | 2167.053 | 1882.816
29/04/2024 06:00 | 2128.084 | 2277.852 | 1978.213
29/04/2024 06:30 | 2190.442 | 2345.074 | 2035.698
29/04/2024 07:00 | 2177.18 | 2331.411 | 2022.949
29/04/2024 07:30 | 2088.519 | 2236.926 | 1940.113
29/04/2024 08:00 | 1975.926 | 2116.763 | 1835.088
29/04/2024 08:30 | 1823.527 | 1953.9 | 1693.153
29/04/2024 09:00 | 1700.389 | 1822.33 | 1578.448
29/04/2024 09:30 | 1596.329 | 1711.156 | 1481.501
29/04/2024 10:00 | 1504.565 | 1613.121 | 1396.01
29/04/2024 10:30 | 1449.487 | 1554.385 | 1344.589
29/04/2024 11:00 | 1431.955 | 1535.897 | 1328.013
29/04/2024 11:30 | 1448.09 | 1553.519 | 1342.66
29/04/2024 12:00 | 1454.24 | 1560.435 | 1348.044
29/04/2024 12:30 | 1462.318 | 1569.422 | 1355.213
29/04/2024 13:00 | 1518.565 | 1630.121 | 1407.009
29/04/2024 13:30 | 1635.202 | 1755.683 | 1514.72
29/04/2024 14:00 | 1744.331 | 1873.235 | 1615.428
29/04/2024 14:30 | 1878.533 | 2017.764 | 1739.302
29/04/2024 15:00 | 2045.967 | 2198.054 | 1893.879
29/04/2024 15:30 | 2227.302 | 2393.357 | 2061.248
29/04/2024 16:00 | 2386.563 | 2565.012 | 2208.114
29/04/2024 16:30 | 2524.387 | 2713.693 | 2335.081
29/04/2024 17:00 | 2628.048 | 2825.702 | 2430.394
29/04/2024 17:30 | 2661.192 | 2861.92 | 2460.464
29/04/2024 18:00 | 2628.214 | 2827.029 | 2429.399
29/04/2024 18:30 | 2553.24 | 2746.941 | 2359.539
29/04/2024 19:00 | 2468.931 | 2656.775 | 2281.086
29/04/2024 19:30 | 2406.126 | 2589.718 | 2222.534
29/04/2024 20:00 | 2339.14 | 2518.131 | 2160.148
29/04/2024 20:30 | 2269.809 | 2443.992 | 2095.627
29/04/2024 21:00 | 2199.096 | 2368.333 | 2029.86
29/04/2024 21:30 | 2129.136 | 2293.454 | 1964.819
29/04/2024 22:00 | 2058.68 | 2218.01 | 1899.35
29/04/2024 22:30 | 1996.231 | 2151.164 | 1841.298
29/04/2024 23:00 | 1949.301 | 2101.017 | 1797.584
29/04/2024 23:30 | 1907.028 | 2055.871 | 1758.185
30/04/2024 00:00 | 1868.733 | 2014.995 | 1722.471
30/04/2024 00:30 | 1840.6 | 1985.063 | 1696.138
30/04/2024 01:00 | 1826.365 | 1970.11 | 1682.621
30/04/2024 01:30 | 1815.856 | 1959.17 | 1672.542
30/04/2024 02:00 | 1806.872 | 1949.872 | 1663.872
30/04/2024 02:30 | 1804.584 | 1947.797 | 1661.371
30/04/2024 03:00 | 1807.19 | 1951.005 | 1663.375
30/04/2024 03:30 | 1817.645 | 1962.688 | 1672.601
30/04/2024 04:00 | 1849.208 | 1997.174 | 1701.242
30/04/2024 04:30 | 1909.25 | 2062.437 | 1756.062
30/04/2024 05:00 | 1992.463 | 2152.763 | 1832.163
30/04/2024 05:30 | 2094.093 | 2263.026 | 1925.159
30/04/2024 06:00 | 2203.569 | 2381.816 | 2025.322
30/04/2024 06:30 | 2265.997 | 2449.789 | 2082.206
30/04/2024 07:00 | 2242.904 | 2425.312 | 2060.495
30/04/2024 07:30 | 2127.325 | 2300.779 | 1953.872
30/04/2024 08:00 | 1991.213 | 2153.947 | 1828.479
30/04/2024 08:30 | 1849.753 | 2001.281 | 1698.226
30/04/2024 09:00 | 1730.235 | 1872.303 | 1588.166
30/04/2024 09:30 | 1614.021 | 1746.856 | 1481.185
30/04/2024 10:00 | 1516.586 | 1641.693 | 1391.479
30/04/2024 10:30 | 1449.252 | 1569.082 | 1329.422
30/04/2024 11:00 | 1415.651 | 1532.974 | 1298.328
30/04/2024 11:30 | 1401.396 | 1517.807 | 1284.986
30/04/2024 12:00 | 1404.038 | 1520.937 | 1287.139
30/04/2024 12:30 | 1442.021 | 1562.358 | 1321.683
30/04/2024 13:00 | 1514.541 | 1641.221 | 1387.861
30/04/2024 13:30 | 1634.737 | 1771.784 | 1497.69
30/04/2024 14:00 | 1803.912 | 1955.487 | 1652.336
30/04/2024 14:30 | 2024.312 | 2194.794 | 1853.829
30/04/2024 15:00 | 2210.522 | 2397.11 | 2023.933
30/04/2024 15:30 | 2305.191 | 2500.213 | 2110.17
30/04/2024 16:00 | 2400.902 | 2604.481 | 2197.324
30/04/2024 16:30 | 2516.888 | 2730.784 | 2302.992
30/04/2024 17:00 | 2606.335 | 2828.332 | 2384.338
30/04/2024 17:30 | 2626.836 | 2851.083 | 2402.59
30/04/2024 18:00 | 2587.321 | 2808.691 | 2365.952
30/04/2024 18:30 | 2519.423 | 2735.466 | 2303.38
30/04/2024 19:00 | 2452.195 | 2662.943 | 2241.447
30/04/2024 19:30 | 2390.909 | 2596.848 | 2184.97
30/04/2024 20:00 | 2324.083 | 2524.711 | 2123.454
30/04/2024 20:30 | 2257.708 | 2453.04 | 2062.377
30/04/2024 21:00 | 2188.881 | 2378.678 | 1999.085
30/04/2024 21:30 | 2117.771 | 2301.807 | 1933.735
30/04/2024 22:00 | 2044.979 | 2223.081 | 1866.876
30/04/2024 22:30 | 1985.845 | 2159.178 | 1812.512
30/04/2024 23:00 | 1948.511 | 2118.959 | 1778.063
30/04/2024 23:30 | 1921.61 | 2090.073 | 1753.147
01/05/2024 00:00 | 1899.406 | 2066.287 | 1732.526
01/05/2024 00:30 | 1878.489 | 2043.891 | 1713.086
01/05/2024 01:00 | 1860.83 | 2025.034 | 1696.626
01/05/2024 01:30 | 1843.303 | 2006.314 | 1680.292
01/05/2024 02:00 | 1835.616 | 1998.299 | 1672.933
01/05/2024 02:30 | 1829.537 | 1992.032 | 1667.042
01/05/2024 03:00 | 1829.136 | 1991.946 | 1666.326
01/05/2024 03:30 | 1839.9 | 2004.021 | 1675.779
01/05/2024 04:00 | 1871.603 | 2038.91 | 1704.296
01/05/2024 04:30 | 1940.009 | 2113.802 | 1766.214
01/05/2024 05:00 | 2018.411 | 2199.615 | 1837.206
01/05/2024 05:30 | 2119.106 | 2309.757 | 1928.456
01/05/2024 06:00 | 2268.439 | 2472.959 | 2063.918
01/05/2024 06:30 | 2365.162 | 2578.856 | 2151.468
01/05/2024 07:00 | 2367.736 | 2582.117 | 2153.355
01/05/2024 07:30 | 2256.874 | 2461.65 | 2052.099
01/05/2024 08:00 | 2165.689 | 2362.606 | 1968.772
01/05/2024 08:30 | 2140.861 | 2335.93 | 1945.791
01/05/2024 09:00 | 2054.118 | 2241.678 | 1866.558
01/05/2024 09:30 | 1908.196 | 2082.797 | 1733.594
01/05/2024 10:00 | 1777.116 | 1940.064 | 1614.168
01/05/2024 10:30 | 1655.722 | 1807.857 | 1503.588
01/05/2024 11:00 | 1588.248 | 1734.487 | 1442.009
01/05/2024 11:30 | 1590.402 | 1737.145 | 1443.66
01/05/2024 12:00 | 1612.825 | 1761.945 | 1463.705
01/05/2024 12:30 | 1683.552 | 1839.534 | 1527.569
01/05/2024 13:00 | 1750.428 | 1912.942 | 1587.914
01/05/2024 13:30 | 1754.548 | 1917.781 | 1591.315
01/05/2024 14:00 | 1798.234 | 1965.876 | 1630.592
01/05/2024 14:30 | 1935.461 | 2116.267 | 1754.655
01/05/2024 15:00 | 2083.298 | 2278.313 | 1888.282
01/05/2024 15:30 | 2259.448 | 2471.386 | 2047.51
01/05/2024 16:00 | 2423.821 | 2651.642 | 2196
01/05/2024 16:30 | 2548.525 | 2788.556 | 2308.495
01/05/2024 17:00 | 2647.904 | 2897.802 | 2398.006
01/05/2024 17:30 | 2683.647 | 2937.433 | 2429.862
01/05/2024 18:00 | 2643.699 | 2894.214 | 2393.184
01/05/2024 18:30 | 2575.408 | 2819.945 | 2330.871
01/05/2024 19:00 | 2496.259 | 2733.759 | 2258.759
01/05/2024 19:30 | 2431.139 | 2662.909 | 2199.369
01/05/2024 20:00 | 2355.797 | 2580.836 | 2130.758
01/05/2024 20:30 | 2279.004 | 2497.144 | 2060.864
01/05/2024 21:00 | 2199.96 | 2410.956 | 1988.964
01/05/2024 21:30 | 2116.567 | 2319.97 | 1913.163
01/05/2024 22:00 | 2040.249 | 2236.709 | 1843.788
01/05/2024 22:30 | 1979.807 | 2170.827 | 1788.787
01/05/2024 23:00 | 1936.868 | 2124.116 | 1749.62
01/05/2024 23:30 | 1903.338 | 2087.71 | 1718.967
02/05/2024 00:00 | 1878.908 | 2061.273 | 1696.543
02/05/2024 00:30 | 1859.211 | 2040.021 | 1678.402
02/05/2024 01:00 | 1842.835 | 2022.405 | 1663.265
02/05/2024 01:30 | 1826.017 | 2004.299 | 1647.736
02/05/2024 02:00 | 1820.944 | 1999.079 | 1642.809
02/05/2024 02:30 | 1818.963 | 1997.253 | 1640.673
02/05/2024 03:00 | 1820.929 | 1999.761 | 1642.097
02/05/2024 03:30 | 1833.853 | 2014.305 | 1653.4
02/05/2024 04:00 | 1868.76 | 2053.006 | 1684.515
02/05/2024 04:30 | 1935.688 | 2126.903 | 1744.473
02/05/2024 05:00 | 2027.364 | 2228.024 | 1826.704
02/05/2024 05:30 | 2149.234 | 2362.367 | 1936.1
02/05/2024 06:00 | 2291.019 | 2518.652 | 2063.385
02/05/2024 06:30 | 2381.398 | 2618.468 | 2144.329
02/05/2024 07:00 | 2383.71 | 2621.468 | 2145.954
02/05/2024 07:30 | 2273.714 | 2501.052 | 2046.377
02/05/2024 08:00 | 2132.84 | 2346.826 | 1918.854
02/05/2024 08:30 | 1983.913 | 2183.622 | 1784.203
02/05/2024 09:00 | 1855.819 | 2043.256 | 1668.381
02/05/2024 09:30 | 1771.394 | 1950.898 | 1591.89
02/05/2024 10:00 | 1722.749 | 1897.902 | 1547.597
02/05/2024 10:30 | 1706.821 | 1880.926 | 1532.715
02/05/2024 11:00 | 1706.521 | 1881.168 | 1531.874
02/05/2024 11:30 | 1715.427 | 1891.56 | 1539.293
02/05/2024 12:00 | 1735.051 | 1913.781 | 1556.321
02/05/2024 12:30 | 1762.775 | 1944.952 | 1580.598
02/05/2024 13:00 | 1827.785 | 2017.293 | 1638.276
02/05/2024 13:30 | 1973.013 | 2178.241 | 1767.786
02/05/2024 14:00 | 2127.624 | 2349.647 | 1905.601
02/05/2024 14:30 | 2256.236 | 2492.437 | 2020.035
02/05/2024 15:00 | 2370.202 | 2619.128 | 2121.276
02/05/2024 15:30 | 2436.078 | 2692.74 | 2179.416
02/05/2024 16:00 | 2498.125 | 2762.161 | 2234.088
02/05/2024 16:30 | 2580.851 | 2854.496 | 2307.205
02/05/2024 17:00 | 2665.655 | 2949.186 | 2382.124
02/05/2024 17:30 | 2695.3 | 2982.888 | 2407.712
02/05/2024 18:00 | 2645.681 | 2928.861 | 2362.5
02/05/2024 18:30 | 2588.825 | 2866.788 | 2310.862
02/05/2024 19:00 | 2537.385 | 2810.676 | 2264.094
02/05/2024 19:30 | 2470.24 | 2737.126 | 2203.353
02/05/2024 20:00 | 2393.279 | 2652.653 | 2133.904
02/05/2024 20:30 | 2313.421 | 2564.917 | 2061.926
02/05/2024 21:00 | 2227.251 | 2470.126 | 1984.377
02/05/2024 21:30 | 2142.06 | 2376.363 | 1907.757
02/05/2024 22:00 | 2066.249 | 2292.952 | 1839.545
02/05/2024 22:30 | 2003.308 | 2223.777 | 1782.838
02/05/2024 23:00 | 1957.418 | 2173.494 | 1741.343
02/05/2024 23:30 | 1924.595 | 2137.692 | 1711.497
03/05/2024 00:00 | 1899.161 | 2110.079 | 1688.243
03/05/2024 00:30 | 1876.368 | 2085.384 | 1667.352
03/05/2024 01:00 | 1858.069 | 2065.669 | 1650.468
03/05/2024 01:30 | 1841.506 | 2047.873 | 1635.138
03/05/2024 02:00 | 1833.563 | 2039.655 | 1627.471
03/05/2024 02:30 | 1830.006 | 2036.312 | 1623.7
03/05/2024 03:00 | 1829.347 | 2036.192 | 1622.502
03/05/2024 03:30 | 1839.67 | 2048.299 | 1631.041
03/05/2024 04:00 | 1872.463 | 2085.438 | 1659.487
03/05/2024 04:30 | 1938.223 | 2159.328 | 1717.118
03/05/2024 05:00 | 2022.565 | 2253.97 | 1791.16
03/05/2024 05:30 | 2129.108 | 2373.416 | 1884.799
03/05/2024 06:00 | 2257.869 | 2517.709 | 1998.028
03/05/2024 06:30 | 2339.53 | 2609.552 | 2069.507
03/05/2024 07:00 | 2329.151 | 2598.756 | 2059.545
03/05/2024 07:30 | 2199.634 | 2454.985 | 1944.282