## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
29/04/2024 08:00 | 2116.168 | 2146.063 | 2086.274
29/04/2024 08:30 | 2019.263 | 2053.791 | 1984.734 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
29/04/2024 09:00 | 1908.344 | 1946.648 | 1870.039 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
29/04/2024 09:30 | 1767.761 | 1808.499 | 1727.023 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
29/04/2024 10:00 | 1623.649 | 1665.892 | 1581.405 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
29/04/2024 10:30 | 1501.013 | 1543.455 | 1458.572 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
29/04/2024 11:00 | 1409.155 | 1450.184 | 1368.126 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
29/04/2024 11:30 | 1333.141 | 1373.241 | 1293.041 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
29/04/2024 12:00 | 1274.012 | 1313.56 | 1234.464 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
29/04/2024 12:30 | 1312.232 | 1354.23 | 1270.233 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
29/04/2024 13:00 | 1390.617 | 1436.464 | 1344.77 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
29/04/2024 13:30 | 1494.968 | 1545.695 | 1444.241
29/04/2024 14:00 | 1606.182 | 1664.532 | 1552.282 | Summary view - for each schedule horizon (dispatch, week-ahead)
29/04/2024 14:30 | 1740.066 | 1804.443 | 1679.516
29/04/2024 15:00 | 1914.966 | 1987.34 | 1846.185 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
29/04/2024 15:30 | 2098.735 | 2179.786 | 2021.061 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
29/04/2024 16:00 | 2278.485 | 2368.325 | 2191.639 | Scenario | Violations
29/04/2024 16:30 | 2449.874 | 2548.485 | 2353.813 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
29/04/2024 17:00 | 2576.959 | 2683.073 | 2473.344 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
29/04/2024 17:30 | 2631.906 | 2742.466 | 2523.22 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0
29/04/2024 18:00 | 2615.581 | 2727.792 | 2504.882 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 1
29/04/2024 18:30 | 2547.958 | 2659.57 | 2438.521 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0
29/04/2024 19:00 | 2466.009 | 2575.017 | 2359.308
29/04/2024 19:30 | 2401.952 | 2508.791 | 2296.828 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
29/04/2024 20:00 | 2332.434 | 2436.918 | 2229.278
29/04/2024 20:30 | 2262.313 | 2364.468 | 2161.305 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
29/04/2024 21:00 | 2188.61 | 2288.234 | 2089.981 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
29/04/2024 21:30 | 2114.727 | 2211.876 | 2018.655 | [7 empty] | 29/04/2024 10:30 | [11 empty] | 29/04/2024 10:30 |  |  |  |  | 01/05/2024 01:30 | [6 empty] | 29/04/2024 10:00
29/04/2024 22:00 | 2042.681 | 2136.775 | 1948.586 | [7 empty] | 29/04/2024 11:00 | [11 empty] | 29/04/2024 11:00 | [11 empty] | 29/04/2024 10:30
29/04/2024 22:30 | 1980.145 | 2072.133 | 1888.156 | [7 empty] | 29/04/2024 11:30 | [11 empty] | 29/04/2024 11:30 | [11 empty] | 29/04/2024 11:00
29/04/2024 23:00 | 1935.183 | 2025.841 | 1844.526 | [7 empty] | 29/04/2024 12:00 | [11 empty] | 29/04/2024 12:00 | [11 empty] | 29/04/2024 11:30
29/04/2024 23:30 | 1896.387 | 1985.969 | 1806.805 | [7 empty] | 29/04/2024 12:30 | [11 empty] | 29/04/2024 12:30 | [11 empty] | 29/04/2024 12:00
30/04/2024 00:00 | 1861.756 | 1950.431 | 1773.081 | [7 empty] | 29/04/2024 13:00 | [11 empty] | 29/04/2024 13:00 | [11 empty] | 29/04/2024 12:30
30/04/2024 00:30 | 1835.395 | 1923.533 | 1747.257 | [7 empty] | 29/04/2024 13:30 | [11 empty] | 29/04/2024 13:30 | [11 empty] | 29/04/2024 13:00
30/04/2024 01:00 | 1821.611 | 1909.801 | 1733.422 | [7 empty] | 29/04/2024 14:00 | [11 empty] | 29/04/2024 14:00 | [11 empty] | 29/04/2024 13:30
30/04/2024 01:30 | 1810.486 | 1898.845 | 1722.127 | [31 empty] | 29/04/2024 14:00
30/04/2024 02:00 | 1801.169 | 1889.779 | 1712.56 | [31 empty] | 03/05/2024 11:00
30/04/2024 02:30 | 1799.429 | 1888.657 | 1710.201
30/04/2024 03:00 | 1803.418 | 1893.55 | 1713.286
30/04/2024 03:30 | 1814.279 | 1905.663 | 1722.894
30/04/2024 04:00 | 1846.922 | 1940.674 | 1753.171
30/04/2024 04:30 | 1909.189 | 2006.849 | 1811.53
30/04/2024 05:00 | 1995.299 | 2098.144 | 1892.453
30/04/2024 05:30 | 2106.596 | 2216.003 | 1997.19
30/04/2024 06:00 | 2232.241 | 2349.047 | 2115.436
30/04/2024 06:30 | 2317.383 | 2439.365 | 2195.402
30/04/2024 07:00 | 2339.101 | 2462.579 | 2215.623
30/04/2024 07:30 | 2279.032 | 2399.716 | 2158.348
30/04/2024 08:00 | 2199.812 | 2316.664 | 2082.96
30/04/2024 08:30 | 2123.333 | 2236.472 | 2010.193
30/04/2024 09:00 | 2057.716 | 2167.699 | 1947.733
30/04/2024 09:30 | 1994.024 | 2100.932 | 1887.116
30/04/2024 10:00 | 1941.849 | 2046.28 | 1837.417
30/04/2024 10:30 | 1899.41 | 2001.873 | 1796.947
30/04/2024 11:00 | 1892.735 | 1995.15 | 1790.32
30/04/2024 11:30 | 1926.311 | 2030.861 | 1821.761
30/04/2024 12:00 | 1950.233 | 2056.404 | 1844.063
30/04/2024 12:30 | 1965.173 | 2072.481 | 1857.865
30/04/2024 13:00 | 1969.282 | 2077.14 | 1861.425
30/04/2024 13:30 | 1925.71 | 2031.5 | 1819.921
30/04/2024 14:00 | 1933.505 | 2040.042 | 1826.969
30/04/2024 14:30 | 2045.126 | 2158.15 | 1932.101
30/04/2024 15:00 | 2171.021 | 2291.362 | 2050.68
30/04/2024 15:30 | 2296.137 | 2423.792 | 2168.482
30/04/2024 16:00 | 2428.734 | 2564.162 | 2293.306
30/04/2024 16:30 | 2564.284 | 2707.693 | 2420.874
30/04/2024 17:00 | 2660.837 | 2810.086 | 2511.588
30/04/2024 17:30 | 2691.958 | 2843.397 | 2540.52
30/04/2024 18:00 | 2659.826 | 2809.896 | 2509.756
30/04/2024 18:30 | 2584.574 | 2730.825 | 2438.323
30/04/2024 19:00 | 2498.937 | 2640.755 | 2357.119
30/04/2024 19:30 | 2437.034 | 2575.742 | 2298.327
30/04/2024 20:00 | 2368.701 | 2503.91 | 2233.492
30/04/2024 20:30 | 2296.185 | 2427.634 | 2164.736
30/04/2024 21:00 | 2215.936 | 2343.157 | 2088.716
30/04/2024 21:30 | 2134.102 | 2256.976 | 2011.227
30/04/2024 22:00 | 2054.674 | 2173.314 | 1936.033
30/04/2024 22:30 | 1986.869 | 2101.923 | 1871.816
30/04/2024 23:00 | 1934.526 | 2046.869 | 1822.184
30/04/2024 23:30 | 1891.468 | 2001.622 | 1781.314
01/05/2024 00:00 | 1852.416 | 1960.601 | 1744.23
01/05/2024 00:30 | 1823.503 | 1930.302 | 1716.705
01/05/2024 01:00 | 1802.639 | 1908.512 | 1696.765
01/05/2024 01:30 | 1788.683 | 1894.032 | 1683.333
01/05/2024 02:00 | 1782.911 | 1888.215 | 1677.608
01/05/2024 02:30 | 1779.637 | 1885.042 | 1674.233
01/05/2024 03:00 | 1781.936 | 1887.77 | 1676.101
01/05/2024 03:30 | 1795.429 | 1902.362 | 1688.497
01/05/2024 04:00 | 1829.982 | 1939.275 | 1720.69
01/05/2024 04:30 | 1900.37 | 2014.18 | 1786.56
01/05/2024 05:00 | 1992.775 | 2112.448 | 1873.102
01/05/2024 05:30 | 2108.781 | 2235.768 | 1981.793
01/05/2024 06:00 | 2244.973 | 2380.533 | 2109.414
01/05/2024 06:30 | 2327.907 | 2468.898 | 2186.911
01/05/2024 07:00 | 2310.943 | 2451.419 | 2170.462
01/05/2024 07:30 | 2164.295 | 2296.332 | 2032.256
01/05/2024 08:00 | 2005.689 | 2128.49 | 1882.888
01/05/2024 08:30 | 1884.277 | 2000.056 | 1768.498
01/05/2024 09:00 | 1750.282 | 1858.21 | 1642.354
01/05/2024 09:30 | 1610.152 | 1709.792 | 1510.513
01/05/2024 10:00 | 1506.399 | 1599.947 | 1412.851
01/05/2024 10:30 | 1442.083 | 1531.951 | 1352.214
01/05/2024 11:00 | 1419.453 | 1508.222 | 1330.684
01/05/2024 11:30 | 1444.554 | 1535.208 | 1353.9
01/05/2024 12:00 | 1472.646 | 1565.385 | 1379.907
01/05/2024 12:30 | 1527.344 | 1623.861 | 1430.827
01/05/2024 13:00 | 1615.845 | 1718.308 | 1513.382
01/05/2024 13:30 | 1724.574 | 1834.308 | 1614.84
01/05/2024 14:00 | 1839.732 | 1957.196 | 1722.268
01/05/2024 14:30 | 1974.525 | 2101.027 | 1848.024
01/05/2024 15:00 | 2116.279 | 2252.325 | 1980.234
01/05/2024 15:30 | 2254.186 | 2399.589 | 2108.782
01/05/2024 16:00 | 2389.713 | 2544.38 | 2235.045
01/05/2024 16:30 | 2507.223 | 2670.044 | 2344.403
01/05/2024 17:00 | 2610.969 | 2781.097 | 2440.841
01/05/2024 17:30 | 2649.676 | 2822.906 | 2476.447
01/05/2024 18:00 | 2610.062 | 2781.271 | 2438.852
01/05/2024 18:30 | 2550.931 | 2718.819 | 2383.042
01/05/2024 19:00 | 2487.605 | 2651.87 | 2323.341
01/05/2024 19:30 | 2422.602 | 2583.103 | 2262.101
01/05/2024 20:00 | 2348.007 | 2504.079 | 2191.935
01/05/2024 20:30 | 2271.711 | 2423.208 | 2120.214
01/05/2024 21:00 | 2193.377 | 2340.129 | 2046.625
01/05/2024 21:30 | 2111.157 | 2252.87 | 1969.445
01/05/2024 22:00 | 2034.834 | 2171.868 | 1897.8
01/05/2024 22:30 | 1975.613 | 2109.091 | 1842.136
01/05/2024 23:00 | 1936.433 | 2067.687 | 1805.18
01/05/2024 23:30 | 1907.971 | 2037.712 | 1778.23
02/05/2024 00:00 | 1889.419 | 2018.311 | 1760.527
02/05/2024 00:30 | 1874.094 | 2002.35 | 1745.837
02/05/2024 01:00 | 1859.721 | 1987.4 | 1732.042
02/05/2024 01:30 | 1841.401 | 1968.225 | 1714.578
02/05/2024 02:00 | 1837.109 | 1964.039 | 1710.18
02/05/2024 02:30 | 1836.433 | 1963.717 | 1709.149
02/05/2024 03:00 | 1839.641 | 1966.745 | 1711.733
02/05/2024 03:30 | 1853.353 | 1981.809 | 1724.086
02/05/2024 04:00 | 1889.636 | 2021.02 | 1757.426
02/05/2024 04:30 | 1956.607 | 2093.076 | 1819.284
02/05/2024 05:00 | 2043.988 | 2186.997 | 1900.086
02/05/2024 05:30 | 2166.984 | 2319.072 | 2013.949
02/05/2024 06:00 | 2328.619 | 2492.56 | 2163.66
02/05/2024 06:30 | 2437.979 | 2610.152 | 2264.74
02/05/2024 07:00 | 2471.122 | 2646.176 | 2294.989
02/05/2024 07:30 | 2431.239 | 2603.999 | 2257.417
02/05/2024 08:00 | 2398.808 | 2569.787 | 2226.781
02/05/2024 08:30 | 2352.159 | 2520.327 | 2182.964
02/05/2024 09:00 | 2263.062 | 2425.354 | 2100.769
02/05/2024 09:30 | 2158.92 | 2314.216 | 2003.624
02/05/2024 10:00 | 2076.258 | 2226.061 | 1926.455
02/05/2024 10:30 | 2016.693 | 2162.639 | 1870.746
02/05/2024 11:00 | 1997.12 | 2142.087 | 1852.154
02/05/2024 11:30 | 2022.501 | 2169.752 | 1875.251
02/05/2024 12:00 | 2059.989 | 2210.418 | 1909.559
02/05/2024 12:30 | 2104.864 | 2259.031 | 1950.697
02/05/2024 13:00 | 2129.348 | 2285.773 | 1972.923
02/05/2024 13:30 | 2146.006 | 2304.124 | 1987.888
02/05/2024 14:00 | 2225.555 | 2390.02 | 2061.09
02/05/2024 14:30 | 2354.05 | 2528.525 | 2179.575
02/05/2024 15:00 | 2439.028 | 2620.335 | 2257.722
02/05/2024 15:30 | 2467.316 | 2651.265 | 2283.368
02/05/2024 16:00 | 2519.031 | 2707.385 | 2330.677
02/05/2024 16:30 | 2603.215 | 2798.432 | 2407.997
02/05/2024 17:00 | 2678.124 | 2879.544 | 2476.704
02/05/2024 17:30 | 2702.645 | 2906.499 | 2498.79
02/05/2024 18:00 | 2650.573 | 2851.08 | 2450.067
02/05/2024 18:30 | 2588.19 | 2784.543 | 2391.837
02/05/2024 19:00 | 2529.03 | 2721.447 | 2336.613
02/05/2024 19:30 | 2462.025 | 2649.882 | 2274.168
02/05/2024 20:00 | 2384.525 | 2566.99 | 2202.061
02/05/2024 20:30 | 2305.219 | 2482.119 | 2128.319
02/05/2024 21:00 | 2216.682 | 2387.272 | 2046.092
02/05/2024 21:30 | 2127.956 | 2292.183 | 1963.729
02/05/2024 22:00 | 2053.332 | 2212.248 | 1894.416
02/05/2024 22:30 | 1994.778 | 2149.598 | 1839.957
02/05/2024 23:00 | 1955.753 | 2107.972 | 1803.535
02/05/2024 23:30 | 1933.267 | 2084.158 | 1782.376
03/05/2024 00:00 | 1917.882 | 2067.991 | 1767.773
03/05/2024 00:30 | 1899.7 | 2048.801 | 1750.599
03/05/2024 01:00 | 1883.176 | 2031.391 | 1734.96
03/05/2024 01:30 | 1865.384 | 2012.606 | 1718.161
03/05/2024 02:00 | 1857.188 | 2004.169 | 1710.206
03/05/2024 02:30 | 1854.502 | 2001.676 | 1707.327
03/05/2024 03:00 | 1854.468 | 2002.044 | 1706.891
03/05/2024 03:30 | 1864.846 | 2013.656 | 1716.036
03/05/2024 04:00 | 1898.759 | 2050.69 | 1746.828
03/05/2024 04:30 | 1967.252 | 2125.094 | 1809.411
03/05/2024 05:00 | 2047.891 | 2212.65 | 1883.132
03/05/2024 05:30 | 2150.842 | 2324.354 | 1977.33
03/05/2024 06:00 | 2295.547 | 2481.234 | 2109.86
03/05/2024 06:30 | 2401.245 | 2596.006 | 2206.484
03/05/2024 07:00 | 2441.801 | 2640.385 | 2243.217
03/05/2024 07:30 | 2407.176 | 2603.447 | 2210.905
03/05/2024 08:00 | 2368.207 | 2561.751 | 2174.663
03/05/2024 08:30 | 2311.468 | 2500.818 | 2122.118
03/05/2024 09:00 | 2186.529 | 2366.063 | 2006.995
03/05/2024 09:30 | 2002.802 | 2167.635 | 1837.97
03/05/2024 10:00 | 1842.486 | 1994.478 | 1690.495
03/05/2024 10:30 | 1739.601 | 1883.438 | 1595.763
03/05/2024 11:00 | 1748.422 | 1893.324 | 1603.52
03/05/2024 11:30 | 1871.731 | 2027.212 | 1716.251
03/05/2024 12:00 | 1936.553 | 2097.789 | 1775.317
03/05/2024 12:30 | 1958.134 | 2121.542 | 1794.726
03/05/2024 13:00 | 1970.541 | 2135.362 | 1805.72
03/05/2024 13:30 | 1932.168 | 2094.15 | 1770.187
03/05/2024 14:00 | 1940.726 | 2103.797 | 1777.655
03/05/2024 14:30 | 2037.773 | 2209.389 | 1866.157
03/05/2024 15:00 | 2148.032 | 2329.345 | 1966.718
03/05/2024 15:30 | 2291.56 | 2485.428 | 2097.692
03/05/2024 16:00 | 2410.316 | 2614.693 | 2205.939
03/05/2024 16:30 | 2516.359 | 2730.21 | 2302.509
03/05/2024 17:00 | 2605.208 | 2827.109 | 2383.307
03/05/2024 17:30 | 2635.97 | 2860.997 | 2410.944
03/05/2024 18:00 | 2597.842 | 2820.111 | 2375.573
03/05/2024 18:30 | 2534.879 | 2752.248 | 2317.511
03/05/2024 19:00 | 2465.215 | 2677.082 | 2253.348
03/05/2024 19:30 | 2403.517 | 2610.542 | 2196.492
03/05/2024 20:00 | 2337.585 | 2539.38 | 2135.791
03/05/2024 20:30 | 2270.592 | 2467.038 | 2074.146
03/05/2024 21:00 | 2199.754 | 2390.493 | 2009.016
03/05/2024 21:30 | 2126.637 | 2311.443 | 1941.83
03/05/2024 22:00 | 2055.147 | 2234.135 | 1876.159
03/05/2024 22:30 | 1991.838 | 2165.694 | 1817.982
03/05/2024 23:00 | 1934.4 | 2103.613 | 1765.186
03/05/2024 23:30 | 1887.18 | 2054.864 | 1719.496
04/05/2024 00:00 | 1845.754 | 2014.357 | 1677.152
04/05/2024 00:30 | 1812.757 | 1978.055 | 1647.459
04/05/2024 01:00 | 1787.864 | 1950.983 | 1624.745
04/05/2024 01:30 | 1769.963 | 1931.539 | 1608.387
04/05/2024 02:00 | 1760.927 | 1921.768 | 1600.085
04/05/2024 02:30 | 1751.339 | 1911.394 | 1591.285
04/05/2024 03:00 | 1745.701 | 1905.329 | 1586.072
04/05/2024 03:30 | 1749.34 | 1909.39 | 1589.289
04/05/2024 04:00 | 1763.803 | 1925.266 | 1602.339
04/05/2024 04:30 | 1791.363 | 1955.441 | 1627.286
04/05/2024 05:00 | 1834.71 | 2002.851 | 1666.568
04/05/2024 05:30 | 1898.846 | 2072.962 | 1724.73
04/05/2024 06:00 | 1959.262 | 2139.018 | 1779.506
04/05/2024 06:30 | 1991.039 | 2173.812 | 1808.266
04/05/2024 07:00 | 1967.672 | 2148.4 | 1786.944
04/05/2024 07:30 | 1860.202 | 2031.154 | 1689.25
04/05/2024 08:00 | 1705.31 | 1862.114 | 1548.506
04/05/2024 08:30 | 1520.944 | 1660.874 | 1381.015
04/05/2024 09:00 | 1356.148 | 1480.985 | 1231.312
04/05/2024 09:30 | 1234.466 | 1348.165 | 1120.767
04/05/2024 10:00 | 1142.479 | 1247.763 | 1037.194
04/05/2024 10:30 | 1073.437 | 1172.414 | 974.4604
04/05/2024 11:00 | 1042.427 | 1138.598 | 946.2562
04/05/2024 11:30 | 1032.21 | 1127.49 | 936.9291
04/05/2024 12:00 | 1043.184 | 1139.53 | 946.8367
04/05/2024 12:30 | 1087.832 | 1188.358 | 987.3062
04/05/2024 13:00 | 1137.289 | 1242.443 | 1032.134
04/05/2024 13:30 | 1219.584 | 1332.409 | 1106.759
04/05/2024 14:00 | 1345.331 | 1469.858 | 1220.804
04/05/2024 14:30 | 1510.457 | 1650.345 | 1370.568
04/05/2024 15:00 | 1689.649 | 1846.22 | 1533.079
04/05/2024 15:30 | 1898.933 | 2074.993 | 1722.873
04/05/2024 16:00 | 2116.837 | 2313.208 | 1920.466
04/05/2024 16:30 | 2296.226 | 2509.356 | 2083.096
04/05/2024 17:00 | 2411.946 | 2635.939 | 2187.953
04/05/2024 17:30 | 2475.822 | 2705.874 | 2245.771
04/05/2024 18:00 | 2448.819 | 2676.487 | 2221.152
04/05/2024 18:30 | 2390.144 | 2612.478 | 2167.81
04/05/2024 19:00 | 2327.307 | 2543.915 | 2110.699
04/05/2024 19:30 | 2268.577 | 2479.834 | 2057.32
04/05/2024 20:00 | 2208.607 | 2414.392 | 2002.822
04/05/2024 20:30 | 2158.584 | 2359.818 | 1957.349
04/05/2024 21:00 | 2106.055 | 2302.499 | 1909.61
04/05/2024 21:30 | 2043.492 | 2234.205 | 1852.779
04/05/2024 22:00 | 1980.499 | 2165.434 | 1795.563
04/05/2024 22:30 | 1924.215 | 2103.993 | 1744.438
04/05/2024 23:00 | 1874.356 | 2049.571 | 1699.141
04/05/2024 23:30 | 1831.451 | 2002.749 | 1660.154
05/05/2024 00:00 | 1793.056 | 1960.854 | 1625.258
05/05/2024 00:30 | 1763.147 | 1928.236 | 1598.059
05/05/2024 01:00 | 1741.425 | 1904.568 | 1578.281
05/05/2024 01:30 | 1726.498 | 1888.332 | 1564.665
05/05/2024 02:00 | 1719.484 | 1880.747 | 1558.22
05/05/2024 02:30 | 1712.504 | 1873.2 | 1551.808
05/05/2024 03:00 | 1709.276 | 1869.756 | 1548.795
05/05/2024 03:30 | 1711.971 | 1872.792 | 1551.151
05/05/2024 04:00 | 1720.374 | 1882.071 | 1558.676
05/05/2024 04:30 | 1738.504 | 1901.995 | 1575.014
05/05/2024 05:00 | 1772.422 | 1939.193 | 1605.652
05/05/2024 05:30 | 1821.719 | 1993.221 | 1650.218
05/05/2024 06:00 | 1863.604 | 2039.144 | 1688.064
05/05/2024 06:30 | 1886.753 | 2064.569 | 1708.936
05/05/2024 07:00 | 1842.371 | 2016.099 | 1668.643
05/05/2024 07:30 | 1706.866 | 1868.144 | 1545.588
05/05/2024 08:00 | 1567.275 | 1716.103 | 1418.448
05/05/2024 08:30 | 1419.602 | 1555.042 | 1284.162
05/05/2024 09:00 | 1282.1 | 1404.995 | 1159.205
05/05/2024 09:30 | 1174.734 | 1287.863 | 1061.605
05/05/2024 10:00 | 1096.887 | 1203.01 | 990.7638
05/05/2024 10:30 | 1039.123 | 1140.122 | 938.1237
05/05/2024 11:00 | 1015.63 | 1114.801 | 916.4598
05/05/2024 11:30 | 1016.393 | 1116.093 | 916.6935
05/05/2024 12:00 | 1028.943 | 1130.334 | 927.5522
05/05/2024 12:30 | 1097.563 | 1206.207 | 988.9186
05/05/2024 13:00 | 1162.247 | 1277.814 | 1046.68
05/05/2024 13:30 | 1207.39 | 1327.986 | 1086.794
05/05/2024 14:00 | 1310.707 | 1442.209 | 1179.205
05/05/2024 14:30 | 1471.361 | 1619.64 | 1323.083
05/05/2024 15:00 | 1638.108 | 1803.923 | 1472.292
05/05/2024 15:30 | 1847.122 | 2034.922 | 1659.323
05/05/2024 16:00 | 2071.16 | 2282.664 | 1859.655
05/05/2024 16:30 | 2265.141 | 2497.468 | 2032.813
05/05/2024 17:00 | 2401.669 | 2649.074 | 2154.264
05/05/2024 17:30 | 2480.623 | 2737.271 | 2223.975
05/05/2024 18:00 | 2458.679 | 2714.157 | 2203.201
05/05/2024 18:30 | 2395.433 | 2645.412 | 2145.455
05/05/2024 19:00 | 2325.959 | 2569.729 | 2082.19
05/05/2024 19:30 | 2269.006 | 2507.822 | 2030.191
05/05/2024 20:00 | 2202.692 | 2435.513 | 1969.87
05/05/2024 20:30 | 2138.447 | 2365.434 | 1911.459
05/05/2024 21:00 | 2067.646 | 2288.043 | 1847.248
05/05/2024 21:30 | 1992.586 | 2205.875 | 1779.298
05/05/2024 22:00 | 1923.194 | 2129.915 | 1716.473
05/05/2024 22:30 | 1867.984 | 2069.606 | 1666.361
05/05/2024 23:00 | 1830.94 | 2029.384 | 1632.497
05/05/2024 23:30 | 1803.22 | 2000.638 | 1605.802
06/05/2024 00:00 | 1783.251 | 1981.507 | 1584.996
06/05/2024 00:30 | 1765.448 | 1962.109 | 1568.788
06/05/2024 01:00 | 1751.375 | 1947.055 | 1555.696
06/05/2024 01:30 | 1743.557 | 1938.947 | 1548.166
06/05/2024 02:00 | 1742.945 | 1938.852 | 1547.039
06/05/2024 02:30 | 1743.832 | 1940.423 | 1547.241
06/05/2024 03:00 | 1750.14 | 1948.029 | 1552.251
06/05/2024 03:30 | 1767.989 | 1968.489 | 1567.489
06/05/2024 04:00 | 1808.618 | 2014.332 | 1602.904
06/05/2024 04:30 | 1882.079 | 2096.78 | 1667.379
06/05/2024 05:00 | 1991.086 | 2218.889 | 1763.283
06/05/2024 05:30 | 2133.965 | 2378.831 | 1889.099
06/05/2024 06:00 | 2282.116 | 2544.747 | 2019.486
06/05/2024 06:30 | 2391.351 | 2667.354 | 2115.347
06/05/2024 07:00 | 2407.365 | 2686.024 | 2128.706
06/05/2024 07:30 | 2295.219 | 2561.666 | 2028.771