## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
04/05/2024 08:00 | 1719.579 | 1748.508 | 1690.651
04/05/2024 08:30 | 1611.071 | 1644.333 | 1577.808 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
04/05/2024 09:00 | 1527.913 | 1565.3 | 1490.526 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
04/05/2024 09:30 | 1400.334 | 1439.953 | 1360.716 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
04/05/2024 10:00 | 1276.789 | 1317.793 | 1235.784 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
04/05/2024 10:30 | 1162.071 | 1202.683 | 1121.458 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
04/05/2024 11:00 | 1081.912 | 1120.667 | 1043.157 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
04/05/2024 11:30 | 1006.613 | 1043.719 | 969.5068 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
04/05/2024 12:00 | 974.7003 | 1011.645 | 937.7554 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
04/05/2024 12:30 | 1039.709 | 1080.201 | 999.2172 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
04/05/2024 13:00 | 1120.359 | 1165.158 | 1075.559 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
04/05/2024 13:30 | 1243.373 | 1294.386 | 1192.359
04/05/2024 14:00 | 1391.799 | 1450.352 | 1333.247 | Summary view - for each schedule horizon (dispatch, week-ahead)
04/05/2024 14:30 | 1510.551 | 1575.672 | 1445.429
04/05/2024 15:00 | 1632.179 | 1704.244 | 1560.113 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
04/05/2024 15:30 | 1780.543 | 1861.013 | 1700.073 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
04/05/2024 16:00 | 1943.994 | 2033.876 | 1854.112 | Scenario | Violations
04/05/2024 16:30 | 2090.349 | 2186.892 | 1991.523 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
04/05/2024 17:00 | 2209.126 | 2313.204 | 2102.384 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
04/05/2024 17:30 | 2273.292 | 2382.986 | 2158.802 | Reference Scenario | 0 | 0 | 2 | 0 | 2 | 0 | 14 | 0 | 3 | 3 | 0 | 0
04/05/2024 18:00 | 2255.691 | 2367.41 | 2140.218 | High Demand Scenario | 0 | 0 | 2 | 0 | 1 | 0 | 12 | 0 | 2 | 2 | 0 | 1
04/05/2024 18:30 | 2219.493 | 2331.251 | 2104.301 | Low Demand Scenario | 0 | 0 | 2 | 0 | 2 | 0 | 13 | 0 | 3 | 3 | 0 | 0
04/05/2024 19:00 | 2182.616 | 2293.228 | 2069.083
04/05/2024 19:30 | 2137.978 | 2247.424 | 2026.685 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
04/05/2024 20:00 | 2091.67 | 2199.68 | 1982.584
04/05/2024 20:30 | 2053.698 | 2160.43 | 1946.18 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
04/05/2024 21:00 | 2012.548 | 2117.788 | 1906.759 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
04/05/2024 21:30 | 1960.129 | 2063.088 | 1856.529 |  |  |  | 05/05/2024 16:00 |  | 05/05/2024 15:00 |  | 04/05/2024 08:30 |  | 05/05/2024 15:30 | 05/05/2024 15:30 |  |  |  |  | 05/05/2024 15:30 |  | 05/05/2024 15:00 |  | 04/05/2024 09:00 |  | 05/05/2024 15:30 | 05/05/2024 15:30 |  | 04/05/2024 12:00 |  |  | 05/05/2024 16:00 |  | 05/05/2024 15:00 |  | 04/05/2024 09:00 |  | 05/05/2024 15:30 | 05/05/2024 15:30
04/05/2024 22:00 | 1905.661 | 2006.156 | 1804.344 |  |  |  | 05/05/2024 16:30 |  | 05/05/2024 15:30 |  | 04/05/2024 09:00 |  | 05/05/2024 16:00 | 05/05/2024 16:00 |  |  |  |  | 05/05/2024 16:00 |  |  |  | 04/05/2024 09:30 |  | 05/05/2024 16:00 | 05/05/2024 16:00 |  |  |  |  | 05/05/2024 16:30 |  | 05/05/2024 15:30 |  | 04/05/2024 09:30 |  | 05/05/2024 16:00 | 05/05/2024 16:00
04/05/2024 22:30 | 1855.987 | 1954.405 | 1756.872 | [7 empty] | 04/05/2024 09:30 |  | 05/05/2024 16:30 | 05/05/2024 16:30 | [8 empty] | 04/05/2024 10:00 | [11 empty] | 04/05/2024 10:00 |  | 05/05/2024 16:30 | 05/05/2024 16:30
04/05/2024 23:00 | 1812.672 | 1909.298 | 1715.417 | [7 empty] | 04/05/2024 10:00 | [11 empty] | 04/05/2024 10:30 | [11 empty] | 04/05/2024 10:30
04/05/2024 23:30 | 1775.872 | 1870.911 | 1680.041 | [7 empty] | 04/05/2024 10:30 | [11 empty] | 04/05/2024 11:00 | [11 empty] | 04/05/2024 11:00
05/05/2024 00:00 | 1743.739 | 1837.642 | 1649.295 | [7 empty] | 04/05/2024 11:00 | [11 empty] | 04/05/2024 11:30 | [11 empty] | 04/05/2024 11:30
05/05/2024 00:30 | 1719.351 | 1812.375 | 1625.758 | [7 empty] | 04/05/2024 11:30 | [11 empty] | 04/05/2024 12:00 | [11 empty] | 04/05/2024 12:00
05/05/2024 01:00 | 1702.654 | 1795.296 | 1609.588 | [7 empty] | 04/05/2024 12:00 | [11 empty] | 04/05/2024 12:30 | [11 empty] | 04/05/2024 12:30
05/05/2024 01:30 | 1692.495 | 1784.993 | 1599.505 | [7 empty] | 04/05/2024 12:30 | [11 empty] | 04/05/2024 13:00 | [11 empty] | 04/05/2024 13:00
05/05/2024 02:00 | 1690.773 | 1783.619 | 1597.431 | [7 empty] | 04/05/2024 13:00 | [11 empty] | 04/05/2024 13:30 | [11 empty] | 04/05/2024 13:30
05/05/2024 02:30 | 1689.287 | 1782.509 | 1595.593 | [7 empty] | 04/05/2024 13:30 | [11 empty] | 04/05/2024 14:00 | [11 empty] | 04/05/2024 14:00
05/05/2024 03:00 | 1690.628 | 1784.446 | 1596.484 | [7 empty] | 04/05/2024 14:00 | [11 empty] | 04/05/2024 14:30 | [11 empty] | 04/05/2024 14:30
05/05/2024 03:30 | 1698.014 | 1792.626 | 1602.955 | [7 empty] | 04/05/2024 14:30 | [23 empty] | 04/05/2024 15:00
05/05/2024 04:00 | 1712.943 | 1808.883 | 1616.638 | [7 empty] | 04/05/2024 15:00
05/05/2024 04:30 | 1738.393 | 1836.199 | 1640.184
05/05/2024 05:00 | 1770.746 | 1871.055 | 1670.437
05/05/2024 05:30 | 1810.608 | 1913.652 | 1707.564
05/05/2024 06:00 | 1843.755 | 1949.172 | 1738.339
05/05/2024 06:30 | 1860.022 | 1966.81 | 1753.234
05/05/2024 07:00 | 1823.916 | 1928.972 | 1718.861
05/05/2024 07:30 | 1699.51 | 1797.725 | 1601.296
05/05/2024 08:00 | 1562.719 | 1653.328 | 1472.111
05/05/2024 08:30 | 1428.819 | 1511.937 | 1345.702
05/05/2024 09:00 | 1299.169 | 1374.992 | 1223.345
05/05/2024 09:30 | 1193.896 | 1263.804 | 1123.988
05/05/2024 10:00 | 1119.611 | 1185.383 | 1053.839
05/05/2024 10:30 | 1066.972 | 1129.856 | 1004.089
05/05/2024 11:00 | 1039.371 | 1100.826 | 977.9153
05/05/2024 11:30 | 1034.109 | 1095.451 | 972.7676
05/05/2024 12:00 | 1035.552 | 1097.178 | 973.927
05/05/2024 12:30 | 1074.273 | 1138.408 | 1010.138
05/05/2024 13:00 | 1131.785 | 1199.569 | 1064
05/05/2024 13:30 | 1226.916 | 1300.632 | 1153.199
05/05/2024 14:00 | 1357.674 | 1439.506 | 1275.842
05/05/2024 14:30 | 1488.263 | 1578.251 | 1398.276
05/05/2024 15:00 | 1637.022 | 1736.317 | 1537.727
05/05/2024 15:30 | 1839.605 | 1951.54 | 1727.67
05/05/2024 16:00 | 2058.146 | 2183.771 | 1932.52
05/05/2024 16:30 | 2247.427 | 2385.035 | 2109.819
05/05/2024 17:00 | 2393.963 | 2541.001 | 2246.926
05/05/2024 17:30 | 2478.561 | 2631.268 | 2325.854
05/05/2024 18:00 | 2463.048 | 2615.27 | 2310.826
05/05/2024 18:30 | 2410.043 | 2559.45 | 2260.636
05/05/2024 19:00 | 2352.774 | 2499.08 | 2206.468
05/05/2024 19:30 | 2299.423 | 2442.851 | 2155.995
05/05/2024 20:00 | 2234.082 | 2373.861 | 2094.302
05/05/2024 20:30 | 2168.453 | 2304.54 | 2032.366
05/05/2024 21:00 | 2095.822 | 2227.751 | 1963.892
05/05/2024 21:30 | 2017.778 | 2145.181 | 1890.376
05/05/2024 22:00 | 1945.099 | 2068.284 | 1821.914
05/05/2024 22:30 | 1885.331 | 2005.091 | 1765.571
05/05/2024 23:00 | 1839.998 | 1957.23 | 1722.766
05/05/2024 23:30 | 1801.863 | 1913.365 | 1690.36
06/05/2024 00:00 | 1770.977 | 1873.797 | 1668.156
06/05/2024 00:30 | 1746.773 | 1849.077 | 1644.469
06/05/2024 01:00 | 1730.573 | 1832.213 | 1628.932
06/05/2024 01:30 | 1723.052 | 1824.536 | 1621.568
06/05/2024 02:00 | 1721.14 | 1822.795 | 1619.484
06/05/2024 02:30 | 1722.9 | 1824.943 | 1620.856
06/05/2024 03:00 | 1728.36 | 1831.013 | 1625.708
06/05/2024 03:30 | 1746.174 | 1850.173 | 1642.175
06/05/2024 04:00 | 1788.156 | 1894.951 | 1681.362
06/05/2024 04:30 | 1864.081 | 1975.718 | 1752.444
06/05/2024 05:00 | 1973.027 | 2091.514 | 1854.54
06/05/2024 05:30 | 2118.079 | 2245.627 | 1990.531
06/05/2024 06:00 | 2262.972 | 2399.618 | 2126.326
06/05/2024 06:30 | 2357.658 | 2500.456 | 2214.86
06/05/2024 07:00 | 2345.241 | 2487.807 | 2202.675
06/05/2024 07:30 | 2178.216 | 2311.104 | 2045.327
06/05/2024 08:00 | 1991.357 | 2113.281 | 1869.434
06/05/2024 08:30 | 1819.97 | 1931.798 | 1708.142
06/05/2024 09:00 | 1649.219 | 1750.915 | 1547.523
06/05/2024 09:30 | 1499.497 | 1592.289 | 1406.705
06/05/2024 10:00 | 1399.558 | 1486.471 | 1312.645
06/05/2024 10:30 | 1335.62 | 1418.854 | 1252.385
06/05/2024 11:00 | 1289.728 | 1370.385 | 1209.072
06/05/2024 11:30 | 1275.8 | 1355.864 | 1195.736
06/05/2024 12:00 | 1280.686 | 1361.336 | 1200.035
06/05/2024 12:30 | 1321.229 | 1404.721 | 1237.736
06/05/2024 13:00 | 1361.068 | 1447.375 | 1274.761
06/05/2024 13:30 | 1435.969 | 1527.339 | 1344.598
06/05/2024 14:00 | 1544.671 | 1643.295 | 1446.046
06/05/2024 14:30 | 1699.977 | 1808.889 | 1591.065
06/05/2024 15:00 | 1878.723 | 1999.497 | 1757.949
06/05/2024 15:30 | 2085.295 | 2219.805 | 1950.786
06/05/2024 16:00 | 2290.007 | 2438.222 | 2141.793
06/05/2024 16:30 | 2466.177 | 2626.332 | 2306.021
06/05/2024 17:00 | 2610.226 | 2779.165 | 2440.146
06/05/2024 17:30 | 2684.374 | 2858.698 | 2508.876
06/05/2024 18:00 | 2662.417 | 2835.898 | 2487.773
06/05/2024 18:30 | 2596.982 | 2766.766 | 2426.062
06/05/2024 19:00 | 2517.816 | 2682.975 | 2351.557
06/05/2024 19:30 | 2443.838 | 2604.679 | 2281.93
06/05/2024 20:00 | 2358.125 | 2513.84 | 2201.381
06/05/2024 20:30 | 2272.844 | 2423.423 | 2121.271
06/05/2024 21:00 | 2182.469 | 2327.537 | 2036.446
06/05/2024 21:30 | 2090.426 | 2229.833 | 1950.105
06/05/2024 22:00 | 2006.194 | 2140.422 | 1871.089
06/05/2024 22:30 | 1935.717 | 2065.653 | 1804.935
06/05/2024 23:00 | 1881.113 | 2007.794 | 1753.609
06/05/2024 23:30 | 1834.694 | 1958.65 | 1709.936
07/05/2024 00:00 | 1795.431 | 1917.127 | 1672.951
07/05/2024 00:30 | 1768.138 | 1888.371 | 1647.133
07/05/2024 01:00 | 1752.224 | 1871.757 | 1632.691
07/05/2024 01:30 | 1742.318 | 1861.556 | 1623.08
07/05/2024 02:00 | 1738.003 | 1857.326 | 1618.681
07/05/2024 02:30 | 1738.559 | 1858.299 | 1618.819
07/05/2024 03:00 | 1743.819 | 1864.302 | 1623.335
07/05/2024 03:30 | 1759 | 1880.917 | 1637.083
07/05/2024 04:00 | 1796.293 | 1921.187 | 1671.399
07/05/2024 04:30 | 1866.743 | 1996.944 | 1736.543
07/05/2024 05:00 | 1982.446 | 2121.15 | 1843.743
07/05/2024 05:30 | 2137.862 | 2287.906 | 1987.818
07/05/2024 06:00 | 2283.691 | 2444.469 | 2122.913
07/05/2024 06:30 | 2376.798 | 2544.65 | 2208.945
07/05/2024 07:00 | 2339.166 | 2504.872 | 2173.46
07/05/2024 07:30 | 2141.288 | 2293.444 | 1989.132
07/05/2024 08:00 | 1931.374 | 2069.036 | 1793.712
07/05/2024 08:30 | 1750.541 | 1875.697 | 1625.386
07/05/2024 09:00 | 1582.828 | 1696.338 | 1469.317
07/05/2024 09:30 | 1433.554 | 1536.673 | 1330.436
07/05/2024 10:00 | 1326.706 | 1422.428 | 1230.983
07/05/2024 10:30 | 1247.042 | 1337.289 | 1156.795
07/05/2024 11:00 | 1191.552 | 1278.043 | 1105.06
07/05/2024 11:30 | 1164.277 | 1249.043 | 1079.51
07/05/2024 12:00 | 1154.917 | 1239.254 | 1070.579
07/05/2024 12:30 | 1179.234 | 1265.605 | 1092.863
07/05/2024 13:00 | 1227.279 | 1317.437 | 1137.122
07/05/2024 13:30 | 1313.307 | 1410.071 | 1216.542
07/05/2024 14:00 | 1432.252 | 1538.093 | 1326.411
07/05/2024 14:30 | 1597.906 | 1716.338 | 1479.474
07/05/2024 15:00 | 1781.312 | 1913.727 | 1648.897
07/05/2024 15:30 | 1979.56 | 2127.145 | 1831.976
07/05/2024 16:00 | 2178.551 | 2341.447 | 2015.656
07/05/2024 16:30 | 2353.698 | 2530.204 | 2177.192
07/05/2024 17:00 | 2493.28 | 2680.798 | 2305.762
07/05/2024 17:30 | 2565.94 | 2759.484 | 2372.397
07/05/2024 18:00 | 2545.295 | 2737.838 | 2352.753
07/05/2024 18:30 | 2490.57 | 2679.517 | 2301.623
07/05/2024 19:00 | 2423.526 | 2607.916 | 2239.136
07/05/2024 19:30 | 2358.125 | 2538.054 | 2178.196
07/05/2024 20:00 | 2283.693 | 2458.442 | 2108.944
07/05/2024 20:30 | 2209.105 | 2378.63 | 2039.581
07/05/2024 21:00 | 2130.023 | 2293.944 | 1966.102
07/05/2024 21:30 | 2047.843 | 2205.886 | 1889.799
07/05/2024 22:00 | 1970.837 | 2123.369 | 1818.306
07/05/2024 22:30 | 1907.163 | 2055.183 | 1759.143
07/05/2024 23:00 | 1859.653 | 2004.392 | 1714.914
07/05/2024 23:30 | 1821.808 | 1963.999 | 1679.616
08/05/2024 00:00 | 1789.633 | 1929.705 | 1649.562
08/05/2024 00:30 | 1765.979 | 1904.585 | 1627.373
08/05/2024 01:00 | 1751.067 | 1888.885 | 1613.249
08/05/2024 01:30 | 1739.991 | 1877.318 | 1602.665
08/05/2024 02:00 | 1735.015 | 1872.328 | 1597.703
08/05/2024 02:30 | 1734.23 | 1871.86 | 1596.601
08/05/2024 03:00 | 1739.374 | 1877.792 | 1600.956
08/05/2024 03:30 | 1754.054 | 1894.024 | 1614.085
08/05/2024 04:00 | 1790.454 | 1933.719 | 1647.189
08/05/2024 04:30 | 1862.5 | 2011.937 | 1713.063
08/05/2024 05:00 | 1960.574 | 2118.309 | 1802.84
08/05/2024 05:30 | 2081.576 | 2249.5 | 1913.652
08/05/2024 06:00 | 2211.962 | 2390.887 | 2033.036
08/05/2024 06:30 | 2294.935 | 2481.073 | 2108.796
08/05/2024 07:00 | 2264.496 | 2448.661 | 2080.332
08/05/2024 07:30 | 2090.458 | 2260.906 | 1920.011
08/05/2024 08:00 | 1909.594 | 2065.658 | 1753.531
08/05/2024 08:30 | 1740.2 | 1882.753 | 1597.647
08/05/2024 09:00 | 1582.872 | 1712.84 | 1452.903
08/05/2024 09:30 | 1455.25 | 1575.019 | 1335.482
08/05/2024 10:00 | 1359.098 | 1471.214 | 1246.983
08/05/2024 10:30 | 1290.175 | 1396.852 | 1183.497
08/05/2024 11:00 | 1271.024 | 1376.361 | 1165.687
08/05/2024 11:30 | 1292.847 | 1400.241 | 1185.453
08/05/2024 12:00 | 1310.832 | 1419.971 | 1201.693
08/05/2024 12:30 | 1352.336 | 1465.19 | 1239.483
08/05/2024 13:00 | 1428.383 | 1547.856 | 1308.909
08/05/2024 13:30 | 1537.521 | 1666.417 | 1408.624
08/05/2024 14:00 | 1684.592 | 1826.141 | 1543.043
08/05/2024 14:30 | 1885.818 | 2044.637 | 1726.999
08/05/2024 15:00 | 2081.146 | 2256.814 | 1905.478
08/05/2024 15:30 | 2221.847 | 2409.818 | 2033.877
08/05/2024 16:00 | 2343.646 | 2542.37 | 2144.923
08/05/2024 16:30 | 2475.942 | 2686.358 | 2265.526
08/05/2024 17:00 | 2592.53 | 2813.351 | 2371.709
08/05/2024 17:30 | 2633.055 | 2857.833 | 2408.278
08/05/2024 18:00 | 2589.135 | 2810.659 | 2367.61
08/05/2024 18:30 | 2526.483 | 2743.131 | 2309.835
08/05/2024 19:00 | 2459.258 | 2670.613 | 2247.903
08/05/2024 19:30 | 2394.899 | 2601.181 | 2188.616
08/05/2024 20:00 | 2320.765 | 2521.107 | 2120.423
08/05/2024 20:30 | 2243.847 | 2437.979 | 2049.715
08/05/2024 21:00 | 2164.042 | 2351.684 | 1976.399
08/05/2024 21:30 | 2081.847 | 2262.761 | 1900.932
08/05/2024 22:00 | 2004.649 | 2179.239 | 1830.059
08/05/2024 22:30 | 1942.091 | 2111.604 | 1772.577
08/05/2024 23:00 | 1896.443 | 2062.336 | 1730.55
08/05/2024 23:30 | 1858.854 | 2021.815 | 1695.893
09/05/2024 00:00 | 1829.605 | 1990.353 | 1668.858
09/05/2024 00:30 | 1807.911 | 1967.099 | 1648.723
09/05/2024 01:00 | 1792.283 | 1950.439 | 1634.128
09/05/2024 01:30 | 1778.623 | 1935.914 | 1621.332
09/05/2024 02:00 | 1774.739 | 1932.027 | 1617.451
09/05/2024 02:30 | 1775.169 | 1932.835 | 1617.503
09/05/2024 03:00 | 1780.387 | 1938.858 | 1621.917
09/05/2024 03:30 | 1794.684 | 1954.771 | 1634.596
09/05/2024 04:00 | 1831.045 | 1994.727 | 1667.363
09/05/2024 04:30 | 1899.154 | 2069.288 | 1729.019
09/05/2024 05:00 | 1989.845 | 2168.485 | 1811.205
09/05/2024 05:30 | 2110.517 | 2300.395 | 1920.639
09/05/2024 06:00 | 2256.112 | 2459.521 | 2052.703
09/05/2024 06:30 | 2353.653 | 2566.308 | 2140.999
09/05/2024 07:00 | 2363.077 | 2577.036 | 2149.118
09/05/2024 07:30 | 2249.513 | 2453.621 | 2045.406
09/05/2024 08:00 | 2129.369 | 2322.983 | 1935.754
09/05/2024 08:30 | 2029.326 | 2214.233 | 1844.419
09/05/2024 09:00 | 1900.014 | 2073.503 | 1726.525
09/05/2024 09:30 | 1762.99 | 1924.305 | 1601.675
09/05/2024 10:00 | 1659.052 | 1811.174 | 1506.929
09/05/2024 10:30 | 1600.686 | 1747.764 | 1453.608
09/05/2024 11:00 | 1585.613 | 1731.609 | 1439.616
09/05/2024 11:30 | 1601.881 | 1749.682 | 1454.079
09/05/2024 12:00 | 1635.476 | 1786.691 | 1484.261
09/05/2024 12:30 | 1698.856 | 1856.257 | 1541.456
09/05/2024 13:00 | 1761.22 | 1924.736 | 1597.704
09/05/2024 13:30 | 1830.97 | 2001.313 | 1660.628
09/05/2024 14:00 | 1934.927 | 2115.312 | 1754.542
09/05/2024 14:30 | 2072.346 | 2265.94 | 1878.753
09/05/2024 15:00 | 2209.862 | 2416.726 | 2002.999
09/05/2024 15:30 | 2342.347 | 2562.061 | 2122.633
09/05/2024 16:00 | 2456.317 | 2687.193 | 2225.442
09/05/2024 16:30 | 2561.239 | 2802.468 | 2320.011
09/05/2024 17:00 | 2662.301 | 2913.557 | 2411.044
09/05/2024 17:30 | 2698.051 | 2953.199 | 2442.903
09/05/2024 18:00 | 2650.53 | 2901.692 | 2399.368
09/05/2024 18:30 | 2587.795 | 2833.508 | 2342.082
09/05/2024 19:00 | 2523.76 | 2763.876 | 2283.643
09/05/2024 19:30 | 2462.259 | 2696.996 | 2227.522
09/05/2024 20:00 | 2388.914 | 2617.116 | 2160.711
09/05/2024 20:30 | 2310.356 | 2531.497 | 2089.214
09/05/2024 21:00 | 2224.797 | 2438.175 | 2011.419
09/05/2024 21:30 | 2140.418 | 2346.114 | 1934.723
09/05/2024 22:00 | 2063.399 | 2262.089 | 1864.709
09/05/2024 22:30 | 2003.558 | 2196.87 | 1810.247
09/05/2024 23:00 | 1967.872 | 2158.118 | 1777.627
09/05/2024 23:30 | 1949.603 | 2138.457 | 1760.75
10/05/2024 00:00 | 1939.996 | 2128.29 | 1751.701
10/05/2024 00:30 | 1925.984 | 2113.288 | 1738.681
10/05/2024 01:00 | 1913.259 | 2099.692 | 1726.827
10/05/2024 01:30 | 1895.826 | 2080.923 | 1710.729
10/05/2024 02:00 | 1888.2 | 2072.914 | 1703.485
10/05/2024 02:30 | 1886.948 | 2071.901 | 1701.994
10/05/2024 03:00 | 1887.962 | 2073.377 | 1702.547
10/05/2024 03:30 | 1898.283 | 2085.075 | 1711.491
10/05/2024 04:00 | 1932.706 | 2123.256 | 1742.156
10/05/2024 04:30 | 2000.855 | 2198.508 | 1803.203
10/05/2024 05:00 | 2084.098 | 2290.373 | 1877.823
10/05/2024 05:30 | 2191.088 | 2408.373 | 1973.804
10/05/2024 06:00 | 2348.939 | 2582.328 | 2115.551
10/05/2024 06:30 | 2475.419 | 2721.849 | 2228.989
10/05/2024 07:00 | 2539.898 | 2793.233 | 2286.562
10/05/2024 07:30 | 2530.009 | 2782.973 | 2277.046
10/05/2024 08:00 | 2513.724 | 2765.924 | 2261.524
10/05/2024 08:30 | 2489.297 | 2739.881 | 2238.713
10/05/2024 09:00 | 2428.812 | 2674.121 | 2183.502
10/05/2024 09:30 | 2332.848 | 2569.247 | 2096.448
10/05/2024 10:00 | 2277.15 | 2508.668 | 2045.631
10/05/2024 10:30 | 2286.586 | 2519.831 | 2053.341
10/05/2024 11:00 | 2301.778 | 2537.344 | 2066.211
10/05/2024 11:30 | 2313.846 | 2551.423 | 2076.269
10/05/2024 12:00 | 2313.915 | 2552.274 | 2075.555
10/05/2024 12:30 | 2313.008 | 2552.05 | 2073.966
10/05/2024 13:00 | 2350.76 | 2594.492 | 2107.028
10/05/2024 13:30 | 2371.384 | 2618.049 | 2124.719
10/05/2024 14:00 | 2409.009 | 2660.396 | 2157.622
10/05/2024 14:30 | 2440.209 | 2695.67 | 2184.749
10/05/2024 15:00 | 2459.9 | 2718.247 | 2201.553
10/05/2024 15:30 | 2497.879 | 2761.052 | 2234.706
10/05/2024 16:00 | 2554.818 | 2824.847 | 2284.789
10/05/2024 16:30 | 2641.646 | 2921.738 | 2361.555
10/05/2024 17:00 | 2705.634 | 2993.417 | 2417.85
10/05/2024 17:30 | 2706.534 | 2995.32 | 2417.747
10/05/2024 18:00 | 2644.685 | 2927.759 | 2361.611
10/05/2024 18:30 | 2579.123 | 2856.044 | 2302.202
10/05/2024 19:00 | 2517.983 | 2789.184 | 2246.782
10/05/2024 19:30 | 2452.821 | 2717.826 | 2187.816
10/05/2024 20:00 | 2384.984 | 2643.459 | 2126.508
10/05/2024 20:30 | 2314.469 | 2566.078 | 2062.859
10/05/2024 21:00 | 2242.099 | 2486.593 | 1997.605
10/05/2024 21:30 | 2167.846 | 2404.969 | 1930.722
10/05/2024 22:00 | 2094.537 | 2324.344 | 1864.73
10/05/2024 22:30 | 2033.117 | 2256.867 | 1809.367
10/05/2024 23:00 | 1977.798 | 2196.124 | 1759.473
10/05/2024 23:30 | 1934.145 | 2147.043 | 1721.248
11/05/2024 00:00 | 1896.334 | 2103.338 | 1689.329
11/05/2024 00:30 | 1864.075 | 2068.613 | 1659.538
11/05/2024 01:00 | 1841.013 | 2043.843 | 1638.183
11/05/2024 01:30 | 1820.562 | 2021.953 | 1619.17
11/05/2024 02:00 | 1808.198 | 2009.031 | 1607.364
11/05/2024 02:30 | 1798.441 | 1998.995 | 1597.887
11/05/2024 03:00 | 1793.466 | 1994.268 | 1592.664
11/05/2024 03:30 | 1795.395 | 1997.216 | 1593.573
11/05/2024 04:00 | 1805.692 | 2009.479 | 1601.905
11/05/2024 04:30 | 1830.185 | 2037.555 | 1622.814
11/05/2024 05:00 | 1868.333 | 2080.862 | 1655.805
11/05/2024 05:30 | 1928.998 | 2149.29 | 1708.705
11/05/2024 06:00 | 2002.275 | 2231.832 | 1772.718
11/05/2024 06:30 | 2056.845 | 2293.579 | 1820.112
11/05/2024 07:00 | 2066.457 | 2305.221 | 1827.692
11/05/2024 07:30 | 1995.839 | 2227.338 | 1764.341