## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
06/05/2024 08:00 | 2066.743 | 2095.94 | 2037.547
06/05/2024 08:30 | 1902.66 | 1935.194 | 1870.125 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
06/05/2024 09:00 | 1760.184 | 1795.516 | 1724.853 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
06/05/2024 09:30 | 1677.631 | 1716.292 | 1638.97 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
06/05/2024 10:00 | 1606.024 | 1647.809 | 1564.239 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
06/05/2024 10:30 | 1545.883 | 1589.594 | 1502.173 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
06/05/2024 11:00 | 1470.015 | 1512.816 | 1427.214 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
06/05/2024 11:30 | 1436.892 | 1480.113 | 1393.672 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
06/05/2024 12:00 | 1408.175 | 1451.888 | 1364.462 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
06/05/2024 12:30 | 1436.043 | 1473.11 | 1390.082 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
06/05/2024 13:00 | 1467.743 | 1508.758 | 1412.449 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
06/05/2024 13:30 | 1527.692 | 1573.621 | 1470.335
06/05/2024 14:00 | 1615.433 | 1667.208 | 1554.777 | Summary view - for each schedule horizon (dispatch, week-ahead)
06/05/2024 14:30 | 1756.166 | 1814.923 | 1689.27
06/05/2024 15:00 | 1924.286 | 1991.203 | 1849.774 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
06/05/2024 15:30 | 2112.81 | 2189.061 | 2029.66 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
06/05/2024 16:00 | 2304.449 | 2390.404 | 2212.07 | Scenario | Violations
06/05/2024 16:30 | 2488.001 | 2583.727 | 2386.363 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
06/05/2024 17:00 | 2638.927 | 2743.666 | 2529.2 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
06/05/2024 17:30 | 2712.268 | 2822.839 | 2597.169 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0
06/05/2024 18:00 | 2690.103 | 2804.7 | 2575.505 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 0 | 1
06/05/2024 18:30 | 2626.866 | 2740.765 | 2512.967 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 0 | 0 | 0 | 0
06/05/2024 19:00 | 2546.918 | 2658.259 | 2435.577
06/05/2024 19:30 | 2476.187 | 2585.405 | 2366.969 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
06/05/2024 20:00 | 2393.72 | 2500.237 | 2287.202
06/05/2024 20:30 | 2307.226 | 2410.798 | 2203.655 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
06/05/2024 21:00 | 2215.029 | 2315.329 | 2114.729 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
06/05/2024 21:30 | 2121.57 | 2218.468 | 2024.672 | [7 empty] | 06/05/2024 10:30 | [11 empty] | 06/05/2024 10:30 |  |  |  |  | 06/05/2024 09:00 | [6 empty] | 06/05/2024 10:30
06/05/2024 22:00 | 2035.125 | 2128.872 | 1941.379 | [7 empty] | 06/05/2024 11:30 | [11 empty] | 06/05/2024 11:00 | [11 empty] | 06/05/2024 11:00
06/05/2024 22:30 | 1963.853 | 2055.084 | 1872.62 | [7 empty] | 06/05/2024 12:00 | [11 empty] | 06/05/2024 11:30 | [11 empty] | 06/05/2024 11:30
06/05/2024 23:00 | 1906.778 | 1996.105 | 1817.451 | [7 empty] | 06/05/2024 12:30 | [11 empty] | 06/05/2024 12:00 | [11 empty] | 06/05/2024 12:00
06/05/2024 23:30 | 1858.178 | 1945.956 | 1770.401 | [7 empty] | 06/05/2024 13:00 | [11 empty] | 06/05/2024 12:30 | [11 empty] | 06/05/2024 12:30
07/05/2024 00:00 | 1816.012 | 1902.509 | 1729.516 | [7 empty] | 06/05/2024 13:30 | [11 empty] | 06/05/2024 13:00 | [11 empty] | 06/05/2024 13:00
07/05/2024 00:30 | 1786.866 | 1872.674 | 1701.059 | [7 empty] | 06/05/2024 14:00 | [11 empty] | 06/05/2024 13:30 | [11 empty] | 06/05/2024 13:30
07/05/2024 01:00 | 1769.814 | 1855.496 | 1684.133 | [7 empty] | 09/05/2024 12:00 | [11 empty] | 06/05/2024 14:00 | [11 empty] | 06/05/2024 14:00
07/05/2024 01:30 | 1758.94 | 1844.783 | 1673.096 | [7 empty] | 09/05/2024 12:30 | [11 empty] | 09/05/2024 11:30 | [11 empty] | 09/05/2024 11:30
07/05/2024 02:00 | 1754.086 | 1840.379 | 1667.793 | [7 empty] | 09/05/2024 13:00 | [11 empty] | 09/05/2024 12:00 | [11 empty] | 09/05/2024 12:00
07/05/2024 02:30 | 1754.13 | 1841.112 | 1667.148 | [7 empty] | 10/05/2024 11:00 | [11 empty] | 09/05/2024 12:30 | [11 empty] | 09/05/2024 12:30
07/05/2024 03:00 | 1759.168 | 1847.089 | 1671.248 | [7 empty] | 10/05/2024 12:30 | [23 empty] | 09/05/2024 13:00
07/05/2024 03:30 | 1774.109 | 1863.47 | 1684.748 | [31 empty] | 10/05/2024 11:00
07/05/2024 04:00 | 1810.966 | 1902.893 | 1719.04 | [31 empty] | 10/05/2024 11:30
07/05/2024 04:30 | 1882.479 | 1978.772 | 1786.185 | [31 empty] | 10/05/2024 12:00
07/05/2024 05:00 | 1982.175 | 2084.344 | 1880.006 | [31 empty] | 10/05/2024 12:30
07/05/2024 05:30 | 2108.187 | 2217.676 | 1998.698 | [31 empty] | 10/05/2024 13:00
07/05/2024 06:00 | 2245.305 | 2362.794 | 2127.816 | [31 empty] | 10/05/2024 13:30
07/05/2024 06:30 | 2331.871 | 2455.17 | 2209.127
07/05/2024 07:00 | 2308.404 | 2430.865 | 2186.546
07/05/2024 07:30 | 2148.212 | 2262.555 | 2034.456
07/05/2024 08:00 | 1963.788 | 2068.634 | 1859.952
07/05/2024 08:30 | 1786.841 | 1882.497 | 1692.031
07/05/2024 09:00 | 1627.862 | 1715.255 | 1541.2
07/05/2024 09:30 | 1489.948 | 1570.174 | 1410.374
07/05/2024 10:00 | 1379.89 | 1454.385 | 1305.937
07/05/2024 10:30 | 1295.051 | 1365.137 | 1225.392
07/05/2024 11:00 | 1254.152 | 1322.183 | 1186.443
07/05/2024 11:30 | 1246.815 | 1314.643 | 1179.286
07/05/2024 12:00 | 1251.826 | 1320.157 | 1183.84
07/05/2024 12:30 | 1289.492 | 1360.093 | 1219.249
07/05/2024 13:00 | 1358.046 | 1432.583 | 1283.807
07/05/2024 13:30 | 1447.833 | 1527.496 | 1368.409
07/05/2024 14:00 | 1564.076 | 1650.257 | 1477.895
07/05/2024 14:30 | 1724.364 | 1819.662 | 1629.067
07/05/2024 15:00 | 1908.722 | 2014.523 | 1802.92
07/05/2024 15:30 | 2100.999 | 2217.806 | 1984.193
07/05/2024 16:00 | 2284.16 | 2411.526 | 2156.794
07/05/2024 16:30 | 2449.337 | 2586.318 | 2312.356
07/05/2024 17:00 | 2575.938 | 2720.424 | 2431.451
07/05/2024 17:30 | 2630.375 | 2778.349 | 2482.4
07/05/2024 18:00 | 2595.122 | 2741.541 | 2448.702
07/05/2024 18:30 | 2529.21 | 2672.328 | 2386.091
07/05/2024 19:00 | 2454.47 | 2593.764 | 2315.175
07/05/2024 19:30 | 2386.159 | 2521.97 | 2250.347
07/05/2024 20:00 | 2309.74 | 2441.583 | 2177.896
07/05/2024 20:30 | 2232.739 | 2360.555 | 2104.922
07/05/2024 21:00 | 2151.077 | 2274.574 | 2027.58
07/05/2024 21:30 | 2067.371 | 2186.403 | 1948.338
07/05/2024 22:00 | 1988.934 | 2103.779 | 1874.089
07/05/2024 22:30 | 1923.323 | 2034.697 | 1811.949
07/05/2024 23:00 | 1872.86 | 1981.621 | 1764.099
07/05/2024 23:30 | 1831.483 | 1938.143 | 1724.822
08/05/2024 00:00 | 1795.572 | 1900.438 | 1690.707
08/05/2024 00:30 | 1769.666 | 1873.311 | 1666.021
08/05/2024 01:00 | 1753.057 | 1856.019 | 1650.096
08/05/2024 01:30 | 1741.15 | 1843.699 | 1638.6
08/05/2024 02:00 | 1735.621 | 1838.132 | 1633.111
08/05/2024 02:30 | 1734.564 | 1836.726 | 1631.83
08/05/2024 03:00 | 1739.137 | 1841.855 | 1635.845
08/05/2024 03:30 | 1753.443 | 1857.295 | 1649.011
08/05/2024 04:00 | 1789.295 | 1895.566 | 1682.432
08/05/2024 04:30 | 1860.192 | 1970.982 | 1748.789
08/05/2024 05:00 | 1954.505 | 2071.235 | 1837.13
08/05/2024 05:30 | 2070.641 | 2194.648 | 1945.95
08/05/2024 06:00 | 2197.206 | 2329.156 | 2064.531
08/05/2024 06:30 | 2273.063 | 2409.944 | 2135.389
08/05/2024 07:00 | 2242.725 | 2378.148 | 2106.391
08/05/2024 07:30 | 2064.814 | 2189.875 | 1938.844
08/05/2024 08:00 | 1866.09 | 1979.529 | 1752.652
08/05/2024 08:30 | 1689.138 | 1792.189 | 1586.087
08/05/2024 09:00 | 1524.749 | 1618.104 | 1431.394
08/05/2024 09:30 | 1394.781 | 1480.483 | 1309.079
08/05/2024 10:00 | 1298.407 | 1378.471 | 1218.343
08/05/2024 10:30 | 1230.194 | 1306.321 | 1154.067
08/05/2024 11:00 | 1211.056 | 1286.263 | 1135.849
08/05/2024 11:30 | 1224.791 | 1301.119 | 1148.464
08/05/2024 12:00 | 1244.228 | 1322.038 | 1166.417
08/05/2024 12:30 | 1298.279 | 1379.754 | 1216.804
08/05/2024 13:00 | 1384.72 | 1471.922 | 1297.518
08/05/2024 13:30 | 1494.635 | 1589.085 | 1400.185
08/05/2024 14:00 | 1621.175 | 1723.975 | 1518.374
08/05/2024 14:30 | 1786.187 | 1899.842 | 1672.533
08/05/2024 15:00 | 1975.584 | 2101.722 | 1849.447
08/05/2024 15:30 | 2175.982 | 2315.391 | 2036.574
08/05/2024 16:00 | 2359.634 | 2511.323 | 2207.944
08/05/2024 16:30 | 2514.375 | 2676.562 | 2352.188
08/05/2024 17:00 | 2633.222 | 2803.649 | 2462.794
08/05/2024 17:30 | 2676.097 | 2849.885 | 2502.31
08/05/2024 18:00 | 2636.786 | 2808.596 | 2464.975
08/05/2024 18:30 | 2571.798 | 2739.936 | 2403.66
08/05/2024 19:00 | 2499.386 | 2663.336 | 2335.436
08/05/2024 19:30 | 2437.388 | 2597.804 | 2276.972
08/05/2024 20:00 | 2364.374 | 2520.5 | 2208.247
08/05/2024 20:30 | 2288.318 | 2439.923 | 2136.714
08/05/2024 21:00 | 2210.024 | 2356.925 | 2063.124
08/05/2024 21:30 | 2128.179 | 2270.104 | 1986.254
08/05/2024 22:00 | 2049.199 | 2186.305 | 1912.093
08/05/2024 22:30 | 1985.431 | 2118.704 | 1852.158
08/05/2024 23:00 | 1941.718 | 2072.481 | 1810.955
08/05/2024 23:30 | 1907.535 | 2036.413 | 1778.657
09/05/2024 00:00 | 1882.501 | 2010.098 | 1754.903
09/05/2024 00:30 | 1863.176 | 1989.871 | 1736.481
09/05/2024 01:00 | 1848.551 | 1974.655 | 1722.446
09/05/2024 01:30 | 1832.308 | 1957.705 | 1706.912
09/05/2024 02:00 | 1827.501 | 1952.968 | 1702.035
09/05/2024 02:30 | 1826.879 | 1952.702 | 1701.055
09/05/2024 03:00 | 1830.156 | 1956.604 | 1703.707
09/05/2024 03:30 | 1843.156 | 1970.905 | 1715.406
09/05/2024 04:00 | 1878.876 | 2009.512 | 1748.24
09/05/2024 04:30 | 1944.318 | 2079.929 | 1808.708
09/05/2024 05:00 | 2041.894 | 2184.757 | 1899.031
09/05/2024 05:30 | 2174.381 | 2326.988 | 2021.773
09/05/2024 06:00 | 2320.303 | 2483.659 | 2156.947
09/05/2024 06:30 | 2418.136 | 2588.908 | 2247.365
09/05/2024 07:00 | 2424.897 | 2596.676 | 2253.118
09/05/2024 07:30 | 2311.059 | 2475.279 | 2146.839
09/05/2024 08:00 | 2177.137 | 2332.316 | 2021.958
09/05/2024 08:30 | 2042.122 | 2188.124 | 1896.12
09/05/2024 09:00 | 1895.563 | 2031.501 | 1759.625
09/05/2024 09:30 | 1759.561 | 1886.13 | 1632.992
09/05/2024 10:00 | 1668.799 | 1789.204 | 1548.394
09/05/2024 10:30 | 1635.197 | 1753.534 | 1516.859
09/05/2024 11:00 | 1663.663 | 1784.425 | 1542.902
09/05/2024 11:30 | 1747.039 | 1874.234 | 1619.844
09/05/2024 12:00 | 1830.82 | 1964.515 | 1697.125
09/05/2024 12:30 | 1934.987 | 2076.712 | 1793.263
09/05/2024 13:00 | 2030.69 | 2179.868 | 1881.513
09/05/2024 13:30 | 2158.101 | 2317.11 | 1999.092
09/05/2024 14:00 | 2280.266 | 2448.774 | 2111.757
09/05/2024 14:30 | 2363.225 | 2538.38 | 2188.07
09/05/2024 15:00 | 2434.21 | 2615.158 | 2253.262
09/05/2024 15:30 | 2474.89 | 2659.403 | 2290.377
09/05/2024 16:00 | 2528.397 | 2717.452 | 2339.343
09/05/2024 16:30 | 2604.628 | 2799.952 | 2409.305
09/05/2024 17:00 | 2678.148 | 2879.57 | 2476.727
09/05/2024 17:30 | 2688.218 | 2890.984 | 2485.451
09/05/2024 18:00 | 2621.713 | 2820.037 | 2423.39
09/05/2024 18:30 | 2563.691 | 2758.186 | 2369.197
09/05/2024 19:00 | 2518.983 | 2710.636 | 2327.331
09/05/2024 19:30 | 2453.517 | 2640.724 | 2266.309
09/05/2024 20:00 | 2377.956 | 2559.918 | 2195.994
09/05/2024 20:30 | 2300.441 | 2476.974 | 2123.908
09/05/2024 21:00 | 2216.496 | 2387.072 | 2045.921
09/05/2024 21:30 | 2133.056 | 2297.676 | 1968.436
09/05/2024 22:00 | 2058.288 | 2217.587 | 1898.988
09/05/2024 22:30 | 2001.739 | 2157.099 | 1846.378
09/05/2024 23:00 | 1969.923 | 2123.245 | 1816.602
09/05/2024 23:30 | 1955.532 | 2108.16 | 1802.903
10/05/2024 00:00 | 1948.765 | 2101.291 | 1796.239
10/05/2024 00:30 | 1935.015 | 2086.888 | 1783.142
10/05/2024 01:00 | 1921.87 | 2073.132 | 1770.609
10/05/2024 01:30 | 1902.946 | 2053.133 | 1752.758
10/05/2024 02:00 | 1893.336 | 2043.179 | 1743.494
10/05/2024 02:30 | 1890.874 | 2040.935 | 1740.813
10/05/2024 03:00 | 1891.313 | 2041.822 | 1740.804
10/05/2024 03:30 | 1900.458 | 2052.11 | 1748.806
10/05/2024 04:00 | 1933.005 | 2087.677 | 1778.334
10/05/2024 04:30 | 2000.014 | 2160.484 | 1839.544
10/05/2024 05:00 | 2082.539 | 2250.086 | 1914.992
10/05/2024 05:30 | 2188.496 | 2365.045 | 2011.946
10/05/2024 06:00 | 2343.446 | 2533.008 | 2153.885
10/05/2024 06:30 | 2470.581 | 2670.966 | 2270.196
10/05/2024 07:00 | 2535.121 | 2741.294 | 2328.947
10/05/2024 07:30 | 2521.524 | 2727.119 | 2315.929
10/05/2024 08:00 | 2503.618 | 2708.229 | 2299.007
10/05/2024 08:30 | 2473.89 | 2676.545 | 2271.235
10/05/2024 09:00 | 2398.939 | 2595.915 | 2201.964
10/05/2024 09:30 | 2278.536 | 2466.061 | 2091.01
10/05/2024 10:00 | 2222.025 | 2405.325 | 2038.724
10/05/2024 10:30 | 2249.762 | 2435.782 | 2063.742
10/05/2024 11:00 | 2251.946 | 2438.579 | 2065.314
10/05/2024 11:30 | 2257.185 | 2444.684 | 2069.686
10/05/2024 12:00 | 2255.68 | 2443.486 | 2067.874
10/05/2024 12:30 | 2254.526 | 2442.669 | 2066.384
10/05/2024 13:00 | 2295.203 | 2487.179 | 2103.226
10/05/2024 13:30 | 2307.743 | 2501.211 | 2114.275
10/05/2024 14:00 | 2295.682 | 2488.579 | 2102.786
10/05/2024 14:30 | 2282.951 | 2475.215 | 2090.686
10/05/2024 15:00 | 2337.062 | 2534.331 | 2139.792
10/05/2024 15:30 | 2441.355 | 2647.896 | 2234.814
10/05/2024 16:00 | 2526.002 | 2740.188 | 2311.816
10/05/2024 16:30 | 2627.228 | 2850.501 | 2403.955
10/05/2024 17:00 | 2704.128 | 2934.455 | 2473.802
10/05/2024 17:30 | 2716.723 | 2948.643 | 2484.803
10/05/2024 18:00 | 2663.083 | 2890.935 | 2435.232
10/05/2024 18:30 | 2596.343 | 2818.982 | 2373.705
10/05/2024 19:00 | 2527.531 | 2744.753 | 2310.308
10/05/2024 19:30 | 2464.028 | 2676.265 | 2251.791
10/05/2024 20:00 | 2398.025 | 2605.037 | 2191.013
10/05/2024 20:30 | 2328.892 | 2530.382 | 2127.402
10/05/2024 21:00 | 2255.726 | 2451.318 | 2060.133
10/05/2024 21:30 | 2179.729 | 2369.149 | 1990.309
10/05/2024 22:00 | 2105.294 | 2288.65 | 1921.939
10/05/2024 22:30 | 2040.943 | 2219.085 | 1862.801
10/05/2024 23:00 | 1981.994 | 2155.371 | 1808.618
10/05/2024 23:30 | 1934.273 | 2106.142 | 1762.405
11/05/2024 00:00 | 1892.277 | 2065.129 | 1719.425
11/05/2024 00:30 | 1857.748 | 2027.148 | 1688.347
11/05/2024 01:00 | 1833.316 | 2000.582 | 1666.05
11/05/2024 01:30 | 1813.612 | 1979.173 | 1648.051
11/05/2024 02:00 | 1801.73 | 1966.298 | 1637.162
11/05/2024 02:30 | 1792.427 | 1956.236 | 1628.617
11/05/2024 03:00 | 1787.973 | 1951.466 | 1624.479
11/05/2024 03:30 | 1790.212 | 1954.002 | 1626.422
11/05/2024 04:00 | 1801.107 | 1965.986 | 1636.229
11/05/2024 04:30 | 1826.171 | 1993.437 | 1658.905
11/05/2024 05:00 | 1865.448 | 2036.407 | 1694.49
11/05/2024 05:30 | 1927.712 | 2104.475 | 1750.949
11/05/2024 06:00 | 2001.1 | 2184.695 | 1817.506
11/05/2024 06:30 | 2056.73 | 2245.534 | 1867.927
11/05/2024 07:00 | 2068.36 | 2258.336 | 1878.384
11/05/2024 07:30 | 2002.581 | 2186.617 | 1818.544
11/05/2024 08:00 | 1902.263 | 2077.177 | 1727.349
11/05/2024 08:30 | 1769.171 | 1931.938 | 1606.404
11/05/2024 09:00 | 1640.723 | 1791.756 | 1489.69
11/05/2024 09:30 | 1540.836 | 1682.753 | 1398.92
11/05/2024 10:00 | 1468.79 | 1604.145 | 1333.434
11/05/2024 10:30 | 1427.19 | 1558.784 | 1295.595
11/05/2024 11:00 | 1394.374 | 1523.014 | 1265.734
11/05/2024 11:30 | 1320.129 | 1441.987 | 1198.271
11/05/2024 12:00 | 1288.028 | 1406.989 | 1169.068
11/05/2024 12:30 | 1308.329 | 1429.231 | 1187.427
11/05/2024 13:00 | 1351.015 | 1475.93 | 1226.099
11/05/2024 13:30 | 1431.213 | 1563.617 | 1298.81
11/05/2024 14:00 | 1533.861 | 1675.839 | 1391.883
11/05/2024 14:30 | 1666.468 | 1820.805 | 1512.13
11/05/2024 15:00 | 1821.537 | 1990.329 | 1652.746
11/05/2024 15:30 | 2018.281 | 2205.407 | 1831.156
11/05/2024 16:00 | 2221.843 | 2427.955 | 2015.731
11/05/2024 16:30 | 2391.674 | 2613.663 | 2169.685
11/05/2024 17:00 | 2501.311 | 2733.603 | 2269.018
11/05/2024 17:30 | 2544.886 | 2781.355 | 2308.417
11/05/2024 18:00 | 2500.691 | 2733.181 | 2268.201
11/05/2024 18:30 | 2430.299 | 2656.368 | 2204.229
11/05/2024 19:00 | 2358.164 | 2577.644 | 2138.685
11/05/2024 19:30 | 2302.326 | 2516.726 | 2087.926
11/05/2024 20:00 | 2245.655 | 2454.892 | 2036.418
11/05/2024 20:30 | 2195.08 | 2399.717 | 1990.444
11/05/2024 21:00 | 2140.315 | 2339.956 | 1940.675
11/05/2024 21:30 | 2076.792 | 2270.613 | 1882.971
11/05/2024 22:00 | 2011.308 | 2199.12 | 1823.496
11/05/2024 22:30 | 1953.086 | 2135.561 | 1770.611
11/05/2024 23:00 | 1905.817 | 2083.973 | 1727.661
11/05/2024 23:30 | 1866.739 | 2041.337 | 1692.141
12/05/2024 00:00 | 1831.968 | 2003.407 | 1660.528
12/05/2024 00:30 | 1802.784 | 1971.584 | 1633.984
12/05/2024 01:00 | 1781.572 | 1948.477 | 1614.667
12/05/2024 01:30 | 1763.284 | 1928.566 | 1598.003
12/05/2024 02:00 | 1753.054 | 1917.466 | 1588.642
12/05/2024 02:30 | 1744.466 | 1908.161 | 1580.771
12/05/2024 03:00 | 1740.037 | 1903.406 | 1576.669
12/05/2024 03:30 | 1742.024 | 1905.667 | 1578.38
12/05/2024 04:00 | 1750.021 | 1914.505 | 1585.537
12/05/2024 04:30 | 1768.126 | 1934.403 | 1601.85
12/05/2024 05:00 | 1776.229 | 1943.358 | 1609.1
12/05/2024 05:30 | 1790.167 | 1958.699 | 1621.636
12/05/2024 06:00 | 1840.161 | 2013.493 | 1666.829
12/05/2024 06:30 | 1876.857 | 2053.741 | 1699.973
12/05/2024 07:00 | 1894.569 | 2073.219 | 1715.92
12/05/2024 07:30 | 1895.641 | 2074.756 | 1716.526
12/05/2024 08:00 | 1903.542 | 2084.302 | 1722.783
12/05/2024 08:30 | 1863.613 | 2041.415 | 1685.812
12/05/2024 09:00 | 1806.986 | 1980.194 | 1633.779
12/05/2024 09:30 | 1764.583 | 1934.516 | 1594.651
12/05/2024 10:00 | 1682.849 | 1845.664 | 1520.035
12/05/2024 10:30 | 1552.276 | 1703.152 | 1401.4
12/05/2024 11:00 | 1475.684 | 1619.776 | 1331.592
12/05/2024 11:30 | 1461.196 | 1604.527 | 1317.865
12/05/2024 12:00 | 1431.724 | 1572.805 | 1290.643
12/05/2024 12:30 | 1406.304 | 1545.509 | 1267.099
12/05/2024 13:00 | 1420.43 | 1561.669 | 1279.191
12/05/2024 13:30 | 1476.433 | 1623.901 | 1328.965
12/05/2024 14:00 | 1584.958 | 1743.976 | 1425.941
12/05/2024 14:30 | 1747.384 | 1923.479 | 1571.288
12/05/2024 15:00 | 1910.124 | 2103.474 | 1716.773
12/05/2024 15:30 | 2096.183 | 2309.305 | 1883.061
12/05/2024 16:00 | 2267.289 | 2498.822 | 2035.756
12/05/2024 16:30 | 2421.63 | 2670.008 | 2173.252
12/05/2024 17:00 | 2546.756 | 2809.107 | 2284.405
12/05/2024 17:30 | 2602.588 | 2871.855 | 2333.321
12/05/2024 18:00 | 2561.82 | 2828.015 | 2295.624
12/05/2024 18:30 | 2487.232 | 2746.79 | 2227.674
12/05/2024 19:00 | 2408.359 | 2660.763 | 2155.954
12/05/2024 19:30 | 2349.38 | 2596.656 | 2102.105
12/05/2024 20:00 | 2281.141 | 2522.254 | 2040.028
12/05/2024 20:30 | 2210.85 | 2445.523 | 1976.177
12/05/2024 21:00 | 2134.738 | 2362.287 | 1907.188
12/05/2024 21:30 | 2053.985 | 2273.845 | 1834.124
12/05/2024 22:00 | 1977.479 | 2190.035 | 1764.922
12/05/2024 22:30 | 1914.948 | 2121.64 | 1708.256
12/05/2024 23:00 | 1866.471 | 2068.766 | 1664.177
12/05/2024 23:30 | 1826.275 | 2026.218 | 1626.332
13/05/2024 00:00 | 1792.836 | 1992.157 | 1593.515
13/05/2024 00:30 | 1766.284 | 1963.037 | 1569.531
13/05/2024 01:00 | 1747.746 | 1943.021 | 1552.472
13/05/2024 01:30 | 1738.858 | 1933.722 | 1543.994
13/05/2024 02:00 | 1736.503 | 1931.686 | 1541.321
13/05/2024 02:30 | 1737.4 | 1933.266 | 1541.534
13/05/2024 03:00 | 1742.756 | 1939.81 | 1545.702
13/05/2024 03:30 | 1759.903 | 1959.486 | 1560.32
13/05/2024 04:00 | 1801.613 | 2006.53 | 1596.696
13/05/2024 04:30 | 1875.998 | 2090.005 | 1661.991
13/05/2024 05:00 | 1979.256 | 2205.706 | 1752.806
13/05/2024 05:30 | 2119.124 | 2362.287 | 1875.961
13/05/2024 06:00 | 2269.767 | 2530.977 | 2008.558
13/05/2024 06:30 | 2382.383 | 2657.352 | 2107.415
13/05/2024 07:00 | 2407.229 | 2685.873 | 2128.586
13/05/2024 07:30 | 2290.729 | 2556.655 | 2024.803