## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
07/05/2024 08:00 | 1996.647 | 2024.853 | 1968.44
07/05/2024 08:30 | 1845.289 | 1876.843 | 1813.735 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
07/05/2024 09:00 | 1696.855 | 1730.915 | 1662.795 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
07/05/2024 09:30 | 1545.294 | 1580.906 | 1509.683 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
07/05/2024 10:00 | 1423.427 | 1460.461 | 1386.392 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
07/05/2024 10:30 | 1317.658 | 1354.915 | 1280.401 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
07/05/2024 11:00 | 1252.778 | 1289.254 | 1216.301 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
07/05/2024 11:30 | 1206.727 | 1243.024 | 1170.429 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
07/05/2024 12:00 | 1179.378 | 1215.989 | 1142.767 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
07/05/2024 12:30 | 1215.761 | 1254.672 | 1176.85 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
07/05/2024 13:00 | 1274.654 | 1316.678 | 1232.631 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
07/05/2024 13:30 | 1374.707 | 1421.353 | 1328.061
07/05/2024 14:00 | 1505.927 | 1558.476 | 1453.378 | Summary view - for each schedule horizon (dispatch, week-ahead)
07/05/2024 14:30 | 1669.834 | 1729.711 | 1609.958
07/05/2024 15:00 | 1857.28 | 1925.667 | 1788.893 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
07/05/2024 15:30 | 2052.784 | 2130.346 | 1975.221 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
07/05/2024 16:00 | 2244.323 | 2331.284 | 2157.361 | Scenario | Violations
07/05/2024 16:30 | 2422.54 | 2518.74 | 2326.34 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
07/05/2024 17:00 | 2564.357 | 2668.658 | 2460.055 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
07/05/2024 17:30 | 2631.435 | 2740.999 | 2521.871 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 1
07/05/2024 18:00 | 2608.072 | 2719.175 | 2496.969 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0
07/05/2024 18:30 | 2549.849 | 2660.409 | 2439.29 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0
07/05/2024 19:00 | 2478.887 | 2587.254 | 2370.521
07/05/2024 19:30 | 2410.052 | 2516.353 | 2303.751 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
07/05/2024 20:00 | 2333.021 | 2436.838 | 2229.205
07/05/2024 20:30 | 2254.21 | 2355.402 | 2153.018 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
07/05/2024 21:00 | 2169.885 | 2268.141 | 2071.552 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
07/05/2024 21:30 | 2083.572 | 2178.759 | 1988.431 | [7 empty] | 07/05/2024 09:30 |  |  |  |  | 08/05/2024 12:30 | [6 empty] | 07/05/2024 09:30 | [11 empty] | 07/05/2024 09:30
07/05/2024 22:00 | 2002.528 | 2094.932 | 1910.428 | [7 empty] | 07/05/2024 10:00 | [11 empty] | 07/05/2024 10:00 | [11 empty] | 07/05/2024 10:00
07/05/2024 22:30 | 1935.069 | 2025.099 | 1845.297 | [7 empty] | 07/05/2024 10:30 | [11 empty] | 07/05/2024 10:30 | [11 empty] | 07/05/2024 10:30
07/05/2024 23:00 | 1883.092 | 1971.436 | 1794.99 | [7 empty] | 07/05/2024 11:00 | [11 empty] | 07/05/2024 11:00 | [11 empty] | 07/05/2024 11:00
07/05/2024 23:30 | 1840.344 | 1927.451 | 1753.565 | [7 empty] | 07/05/2024 11:30 | [11 empty] | 07/05/2024 11:30 | [11 empty] | 07/05/2024 11:30
08/05/2024 00:00 | 1803.616 | 1889.54 | 1717.726 | [7 empty] | 07/05/2024 12:00 | [11 empty] | 07/05/2024 12:00 | [11 empty] | 07/05/2024 12:00
08/05/2024 00:30 | 1777.166 | 1862.501 | 1691.819 | [7 empty] | 07/05/2024 12:30 | [11 empty] | 07/05/2024 12:30 | [11 empty] | 07/05/2024 12:30
08/05/2024 01:00 | 1760.162 | 1845.242 | 1674.826 | [7 empty] | 07/05/2024 13:00 | [11 empty] | 07/05/2024 13:00 | [11 empty] | 07/05/2024 13:00
08/05/2024 01:30 | 1748.392 | 1833.667 | 1663.015 | [7 empty] | 07/05/2024 13:30 | [11 empty] | 07/05/2024 13:30 | [11 empty] | 07/05/2024 13:30
08/05/2024 02:00 | 1743.149 | 1828.872 | 1657.365 | [7 empty] | 07/05/2024 14:00 | [11 empty] | 07/05/2024 14:00 | [11 empty] | 07/05/2024 14:00
08/05/2024 02:30 | 1741.961 | 1828.307 | 1655.553 | [7 empty] | 09/05/2024 10:30 | [11 empty] | 09/05/2024 10:30 | [11 empty] | 07/05/2024 14:30
08/05/2024 03:00 | 1746.781 | 1833.955 | 1659.365 | [7 empty] | 09/05/2024 11:00 | [11 empty] | 09/05/2024 11:00 | [11 empty] | 09/05/2024 11:30
08/05/2024 03:30 | 1761.733 | 1850.447 | 1672.974 | [7 empty] | 09/05/2024 11:30 | [11 empty] | 09/05/2024 11:30 | [11 empty] | 09/05/2024 12:00
08/05/2024 04:00 | 1798.35 | 1889.561 | 1706.996 | [7 empty] | 09/05/2024 12:00 | [11 empty] | 13/05/2024 12:00 | [11 empty] | 13/05/2024 11:30
08/05/2024 04:30 | 1869.379 | 1964.959 | 1773.717 | [7 empty] | 13/05/2024 12:00 | [11 empty] | 13/05/2024 12:30 | [11 empty] | 13/05/2024 12:00
08/05/2024 05:00 | 1965.763 | 2067.053 | 1864.411 | [7 empty] | 13/05/2024 12:30
08/05/2024 05:30 | 2085.284 | 2193.483 | 1976.893 | [7 empty] | 13/05/2024 13:00
08/05/2024 06:00 | 2213.817 | 2329.562 | 2097.889
08/05/2024 06:30 | 2290.871 | 2411.437 | 2170.268
08/05/2024 07:00 | 2260.681 | 2380.02 | 2141.343
08/05/2024 07:30 | 2095.236 | 2206.187 | 1984.285
08/05/2024 08:00 | 1911.708 | 2013.256 | 1810.16
08/05/2024 08:30 | 1735.911 | 1828.407 | 1643.414
08/05/2024 09:00 | 1577.026 | 1661.317 | 1492.736
08/05/2024 09:30 | 1448.517 | 1526.178 | 1370.856
08/05/2024 10:00 | 1353.53 | 1426.322 | 1280.738
08/05/2024 10:30 | 1289.429 | 1358.987 | 1219.872
08/05/2024 11:00 | 1274.689 | 1343.662 | 1205.716
08/05/2024 11:30 | 1288.45 | 1358.38 | 1218.519
08/05/2024 12:00 | 1311.565 | 1382.967 | 1240.164
08/05/2024 12:30 | 1373.023 | 1447.997 | 1298.049
08/05/2024 13:00 | 1472.937 | 1553.609 | 1392.264
08/05/2024 13:30 | 1612.273 | 1700.844 | 1523.703
08/05/2024 14:00 | 1760.809 | 1857.83 | 1663.788
08/05/2024 14:30 | 1918.438 | 2024.461 | 1812.415
08/05/2024 15:00 | 2088.519 | 2204.286 | 1972.751
08/05/2024 15:30 | 2251.823 | 2377.015 | 2126.632
08/05/2024 16:00 | 2400.366 | 2534.212 | 2266.52
08/05/2024 16:30 | 2535.218 | 2677.002 | 2393.434
08/05/2024 17:00 | 2651.149 | 2799.854 | 2502.444
08/05/2024 17:30 | 2688.37 | 2839.607 | 2537.133
08/05/2024 18:00 | 2642.463 | 2791.554 | 2493.373
08/05/2024 18:30 | 2576.727 | 2722.534 | 2430.92
08/05/2024 19:00 | 2507.043 | 2649.321 | 2364.765
08/05/2024 19:30 | 2441.237 | 2580.184 | 2302.291
08/05/2024 20:00 | 2364.893 | 2499.885 | 2229.901
08/05/2024 20:30 | 2285.161 | 2415.979 | 2154.343
08/05/2024 21:00 | 2203.497 | 2330.003 | 2076.99
08/05/2024 21:30 | 2119.6 | 2241.64 | 1997.56
08/05/2024 22:00 | 2039.878 | 2157.665 | 1922.092
08/05/2024 22:30 | 1975.451 | 2089.844 | 1861.059
08/05/2024 23:00 | 1929.771 | 2041.837 | 1817.705
08/05/2024 23:30 | 1893.561 | 2003.837 | 1783.285
09/05/2024 00:00 | 1866.458 | 1975.463 | 1757.452
09/05/2024 00:30 | 1845.816 | 1953.921 | 1737.712
09/05/2024 01:00 | 1830.453 | 1937.96 | 1722.946
09/05/2024 01:30 | 1815.344 | 1922.264 | 1708.424
09/05/2024 02:00 | 1810.564 | 1917.5 | 1703.627
09/05/2024 02:30 | 1810.259 | 1917.476 | 1703.041
09/05/2024 03:00 | 1814.614 | 1922.39 | 1706.839
09/05/2024 03:30 | 1828.541 | 1937.446 | 1719.637
09/05/2024 04:00 | 1864.563 | 1975.921 | 1753.205
09/05/2024 04:30 | 1931.223 | 2046.881 | 1815.565
09/05/2024 05:00 | 2026.128 | 2147.804 | 1904.452
09/05/2024 05:30 | 2156.174 | 2286.016 | 2026.332
09/05/2024 06:00 | 2308.89 | 2448.309 | 2169.47
09/05/2024 06:30 | 2416.676 | 2563.049 | 2270.304
09/05/2024 07:00 | 2438.94 | 2587.202 | 2290.678
09/05/2024 07:30 | 2351.73 | 2495.205 | 2208.256
09/05/2024 08:00 | 2257.125 | 2395.321 | 2118.929
09/05/2024 08:30 | 2164.082 | 2297.053 | 2031.11
09/05/2024 09:00 | 2057.873 | 2184.768 | 1930.977
09/05/2024 09:30 | 1964.766 | 2086.349 | 1843.182
09/05/2024 10:00 | 1898.471 | 2016.366 | 1780.575
09/05/2024 10:30 | 1856.276 | 1971.957 | 1740.595
09/05/2024 11:00 | 1862.197 | 1978.654 | 1745.74
09/05/2024 11:30 | 1910.688 | 2030.594 | 1790.781
09/05/2024 12:00 | 1983.609 | 2108.526 | 1858.693
09/05/2024 12:30 | 2099.962 | 2232.664 | 1967.26
09/05/2024 13:00 | 2178.912 | 2317.079 | 2040.744
09/05/2024 13:30 | 2224.385 | 2365.922 | 2082.848
09/05/2024 14:00 | 2297.597 | 2444.295 | 2150.9
09/05/2024 14:30 | 2381.115 | 2532.625 | 2228.565
09/05/2024 15:00 | 2454.357 | 2611.064 | 2296.579
09/05/2024 15:30 | 2501.165 | 2661.406 | 2339.83
09/05/2024 16:00 | 2552.403 | 2716.485 | 2387.206
09/05/2024 16:30 | 2627.091 | 2796.548 | 2457.634
09/05/2024 17:00 | 2702.526 | 2877.439 | 2527.613
09/05/2024 17:30 | 2715.614 | 2891.967 | 2539.26
09/05/2024 18:00 | 2651.286 | 2824.041 | 2478.53
09/05/2024 18:30 | 2589.691 | 2758.999 | 2420.384
09/05/2024 19:00 | 2537.746 | 2704.212 | 2371.28
09/05/2024 19:30 | 2472.288 | 2635 | 2309.575
09/05/2024 20:00 | 2396.712 | 2554.975 | 2238.45
09/05/2024 20:30 | 2318.411 | 2472.01 | 2164.813
09/05/2024 21:00 | 2231.834 | 2380.185 | 2083.484
09/05/2024 21:30 | 2144.821 | 2287.856 | 2001.786
09/05/2024 22:00 | 2068.851 | 2207.272 | 1930.431
09/05/2024 22:30 | 2009.506 | 2144.395 | 1874.617
09/05/2024 23:00 | 1971.25 | 2104.002 | 1838.498
09/05/2024 23:30 | 1949.289 | 2080.988 | 1817.59
10/05/2024 00:00 | 1934.517 | 2065.64 | 1803.393
10/05/2024 00:30 | 1916.71 | 2047.045 | 1786.375
10/05/2024 01:00 | 1901.621 | 2031.346 | 1771.897
10/05/2024 01:30 | 1884.003 | 2012.938 | 1755.069
10/05/2024 02:00 | 1875.199 | 2003.941 | 1746.457
10/05/2024 02:30 | 1872.961 | 2001.958 | 1743.964
10/05/2024 03:00 | 1873.375 | 2002.81 | 1743.94
10/05/2024 03:30 | 1882.994 | 2013.505 | 1752.484
10/05/2024 04:00 | 1916.089 | 2049.312 | 1782.865
10/05/2024 04:30 | 1982.85 | 2121.149 | 1844.552
10/05/2024 05:00 | 2067.463 | 2212.115 | 1922.811
10/05/2024 05:30 | 2175.9 | 2328.614 | 2023.186
10/05/2024 06:00 | 2323.09 | 2486.642 | 2159.538
10/05/2024 06:30 | 2437.794 | 2609.955 | 2265.634
10/05/2024 07:00 | 2486.2 | 2662.322 | 2310.078
10/05/2024 07:30 | 2439.208 | 2612.534 | 2265.883
10/05/2024 08:00 | 2382.072 | 2551.858 | 2212.286
10/05/2024 08:30 | 2330.625 | 2497.253 | 2163.996
10/05/2024 09:00 | 2214.701 | 2373.525 | 2055.876
10/05/2024 09:30 | 2028.427 | 2174.336 | 1882.518
10/05/2024 10:00 | 1930.836 | 2070.147 | 1791.525
10/05/2024 10:30 | 1991.299 | 2135.408 | 1847.191
10/05/2024 11:00 | 2015.207 | 2161.486 | 1868.928
10/05/2024 11:30 | 1970.599 | 2114.07 | 1827.127
10/05/2024 12:00 | 1950.675 | 2093.122 | 1808.228
10/05/2024 12:30 | 1977.478 | 2122.314 | 1832.642
10/05/2024 13:00 | 2046.919 | 2197.289 | 1896.549
10/05/2024 13:30 | 2141.084 | 2298.839 | 1983.329
10/05/2024 14:00 | 2235.918 | 2401.149 | 2070.687
10/05/2024 14:30 | 2311.419 | 2482.734 | 2140.103
10/05/2024 15:00 | 2374.075 | 2550.553 | 2197.597
10/05/2024 15:30 | 2429.538 | 2610.669 | 2248.406
10/05/2024 16:00 | 2500.593 | 2687.568 | 2313.617
10/05/2024 16:30 | 2597.927 | 2792.748 | 2403.106
10/05/2024 17:00 | 2670.933 | 2871.812 | 2470.053
10/05/2024 17:30 | 2677.407 | 2879.358 | 2475.456
10/05/2024 18:00 | 2618.741 | 2816.839 | 2420.642
10/05/2024 18:30 | 2558.325 | 2752.412 | 2364.238
10/05/2024 19:00 | 2503.332 | 2693.794 | 2312.87
10/05/2024 19:30 | 2441.181 | 2627.448 | 2254.914
10/05/2024 20:00 | 2376.486 | 2558.335 | 2194.636
10/05/2024 20:30 | 2310.164 | 2487.443 | 2132.885
10/05/2024 21:00 | 2240.916 | 2413.37 | 2068.461
10/05/2024 21:30 | 2168.497 | 2335.852 | 2001.141
10/05/2024 22:00 | 2095.58 | 2257.766 | 1933.394
10/05/2024 22:30 | 2035.143 | 2193.096 | 1877.19
10/05/2024 23:00 | 1985.778 | 2140.334 | 1831.223
10/05/2024 23:30 | 1949.468 | 2106.946 | 1791.99
11/05/2024 00:00 | 1918.796 | 2084.604 | 1752.988
11/05/2024 00:30 | 1890.625 | 2053.571 | 1727.678
11/05/2024 01:00 | 1870.888 | 2032.58 | 1709.196
11/05/2024 01:30 | 1850.147 | 2010.489 | 1689.805
11/05/2024 02:00 | 1837.378 | 1997.052 | 1677.704
11/05/2024 02:30 | 1828.571 | 1987.916 | 1669.225
11/05/2024 03:00 | 1825.223 | 1984.713 | 1665.734
11/05/2024 03:30 | 1827.135 | 1987.228 | 1667.042
11/05/2024 04:00 | 1835.266 | 1996.51 | 1674.022
11/05/2024 04:30 | 1860.276 | 2024.162 | 1696.39
11/05/2024 05:00 | 1884.481 | 2050.949 | 1718.012
11/05/2024 05:30 | 1919.55 | 2089.575 | 1749.525
11/05/2024 06:00 | 1994.397 | 2171.528 | 1817.267
11/05/2024 06:30 | 2056.225 | 2239.338 | 1873.112
11/05/2024 07:00 | 2092.017 | 2278.817 | 1905.216
11/05/2024 07:30 | 2106.531 | 2294.989 | 1918.072
11/05/2024 08:00 | 2131.418 | 2322.188 | 1940.649
11/05/2024 08:30 | 2112.071 | 2301.216 | 1922.925
11/05/2024 09:00 | 2037.468 | 2220.036 | 1854.899
11/05/2024 09:30 | 1920.294 | 2092.461 | 1748.127
11/05/2024 10:00 | 1770.734 | 1929.582 | 1611.886
11/05/2024 10:30 | 1601.713 | 1745.48 | 1457.946
11/05/2024 11:00 | 1506.802 | 1642.127 | 1371.477
11/05/2024 11:30 | 1445.826 | 1575.748 | 1315.903
11/05/2024 12:00 | 1422.865 | 1550.797 | 1294.933
11/05/2024 12:30 | 1454.161 | 1584.981 | 1323.341
11/05/2024 13:00 | 1509.806 | 1645.709 | 1373.904
11/05/2024 13:30 | 1621.066 | 1767.066 | 1475.066
11/05/2024 14:00 | 1733.032 | 1889.205 | 1576.859
11/05/2024 14:30 | 1832.59 | 1997.828 | 1667.352
11/05/2024 15:00 | 1959.411 | 2136.184 | 1782.639
11/05/2024 15:30 | 2126.654 | 2318.623 | 1934.684
11/05/2024 16:00 | 2306.52 | 2514.843 | 2098.197
11/05/2024 16:30 | 2453.523 | 2675.249 | 2231.798
11/05/2024 17:00 | 2552.182 | 2782.954 | 2321.411
11/05/2024 17:30 | 2583.052 | 2816.746 | 2349.357
11/05/2024 18:00 | 2528.971 | 2757.901 | 2300.04
11/05/2024 18:30 | 2455.582 | 2677.994 | 2233.169
11/05/2024 19:00 | 2382.135 | 2598.016 | 2166.254
11/05/2024 19:30 | 2327.873 | 2538.955 | 2116.79
11/05/2024 20:00 | 2273.619 | 2479.897 | 2067.34
11/05/2024 20:30 | 2222.245 | 2423.976 | 2020.514
11/05/2024 21:00 | 2166.062 | 2362.803 | 1969.321
11/05/2024 21:30 | 2102.389 | 2293.454 | 1911.324
11/05/2024 22:00 | 2036.713 | 2221.913 | 1851.512
11/05/2024 22:30 | 1978.31 | 2158.301 | 1798.32
11/05/2024 23:00 | 1933.346 | 2109.344 | 1757.348
11/05/2024 23:30 | 1896.97 | 2069.754 | 1724.187
12/05/2024 00:00 | 1865.283 | 2035.276 | 1695.291
12/05/2024 00:30 | 1837.564 | 2005.124 | 1670.004
12/05/2024 01:00 | 1816.755 | 1982.51 | 1651
12/05/2024 01:30 | 1795.63 | 1959.549 | 1631.71
12/05/2024 02:00 | 1783.656 | 1946.573 | 1620.739
12/05/2024 02:30 | 1773.785 | 1935.891 | 1611.679
12/05/2024 03:00 | 1767.839 | 1929.491 | 1606.186
12/05/2024 03:30 | 1769.885 | 1931.815 | 1607.955
12/05/2024 04:00 | 1777.968 | 1940.728 | 1615.208
12/05/2024 04:30 | 1793.937 | 1958.25 | 1629.623
12/05/2024 05:00 | 1825.28 | 1992.557 | 1658.003
12/05/2024 05:30 | 1871.664 | 2043.287 | 1700.04
12/05/2024 06:00 | 1919.907 | 2096.052 | 1743.762
12/05/2024 06:30 | 1964.995 | 2145.378 | 1784.614
12/05/2024 07:00 | 1986.211 | 2168.641 | 1803.78
12/05/2024 07:30 | 1976.011 | 2157.606 | 1794.416
12/05/2024 08:00 | 1942.621 | 2121.246 | 1763.996
12/05/2024 08:30 | 1859.021 | 2030.054 | 1687.988
12/05/2024 09:00 | 1837.601 | 2006.757 | 1668.445
12/05/2024 09:30 | 1925.094 | 2102.403 | 1747.786
12/05/2024 10:00 | 2020.134 | 2206.299 | 1833.97
12/05/2024 10:30 | 2054.569 | 2244.011 | 1865.126
12/05/2024 11:00 | 2048.646 | 2237.647 | 1859.646
12/05/2024 11:30 | 2044.41 | 2233.125 | 1855.696
12/05/2024 12:00 | 2046.312 | 2235.306 | 1857.318
12/05/2024 12:30 | 2062.366 | 2252.948 | 1871.784
12/05/2024 13:00 | 2106.6 | 2301.377 | 1911.823
12/05/2024 13:30 | 2113.735 | 2309.279 | 1918.19
12/05/2024 14:00 | 2149.342 | 2348.291 | 1950.394
12/05/2024 14:30 | 2213.71 | 2418.729 | 2008.691
12/05/2024 15:00 | 2256.151 | 2465.216 | 2047.087
12/05/2024 15:30 | 2320.573 | 2535.726 | 2105.421
12/05/2024 16:00 | 2423.144 | 2647.93 | 2198.358
12/05/2024 16:30 | 2541.643 | 2777.551 | 2305.734
12/05/2024 17:00 | 2629.355 | 2873.539 | 2385.172
12/05/2024 17:30 | 2652.969 | 2899.481 | 2406.457
12/05/2024 18:00 | 2593.032 | 2834.107 | 2351.957
12/05/2024 18:30 | 2527.912 | 2763.061 | 2292.762
12/05/2024 19:00 | 2470.226 | 2700.135 | 2240.316
12/05/2024 19:30 | 2407.809 | 2632.032 | 2183.586
12/05/2024 20:00 | 2338.528 | 2556.419 | 2120.638
12/05/2024 20:30 | 2264.371 | 2475.467 | 2053.275
12/05/2024 21:00 | 2185.673 | 2389.544 | 1981.802
12/05/2024 21:30 | 2101.723 | 2297.871 | 1905.575
12/05/2024 22:00 | 2021.13 | 2209.859 | 1832.401
12/05/2024 22:30 | 1955.043 | 2137.701 | 1772.385
12/05/2024 23:00 | 1899.527 | 2077.095 | 1721.959
12/05/2024 23:30 | 1852.306 | 2027.808 | 1676.804
13/05/2024 00:00 | 1812.822 | 1989.134 | 1636.51
13/05/2024 00:30 | 1783.07 | 1956.474 | 1609.665
13/05/2024 01:00 | 1761.848 | 1933.527 | 1590.169
13/05/2024 01:30 | 1753.349 | 1924.535 | 1582.162
13/05/2024 02:00 | 1751.886 | 1923.265 | 1580.506
13/05/2024 02:30 | 1752.912 | 1924.728 | 1581.096
13/05/2024 03:00 | 1758.879 | 1931.617 | 1586.141
13/05/2024 03:30 | 1776.052 | 1950.816 | 1601.287
13/05/2024 04:00 | 1817.677 | 1996.886 | 1638.467
13/05/2024 04:30 | 1893.206 | 2080.225 | 1706.188
13/05/2024 05:00 | 1976.943 | 2172.612 | 1781.274
13/05/2024 05:30 | 2086.884 | 2293.834 | 1879.933
13/05/2024 06:00 | 2243.563 | 2466.481 | 2020.645
13/05/2024 06:30 | 2368.678 | 2604.482 | 2132.874
13/05/2024 07:00 | 2422.714 | 2664.362 | 2181.067
13/05/2024 07:30 | 2382.07 | 2620.241 | 2143.898
13/05/2024 08:00 | 2359.753 | 2596.505 | 2123.001
13/05/2024 08:30 | 2328.346 | 2562.728 | 2093.964
13/05/2024 09:00 | 2255.318 | 2483.105 | 2027.532
13/05/2024 09:30 | 2151.558 | 2369.586 | 1933.529
13/05/2024 10:00 | 2088.206 | 2300.514 | 1875.897
13/05/2024 10:30 | 2093.694 | 2307.263 | 1880.126
13/05/2024 11:00 | 2055.891 | 2266.292 | 1845.489
13/05/2024 11:30 | 1973.318 | 2175.931 | 1770.705
13/05/2024 12:00 | 1866.131 | 2058.364 | 1673.898
13/05/2024 12:30 | 1781.528 | 1965.643 | 1597.413
13/05/2024 13:00 | 1738.953 | 1919.251 | 1558.654
13/05/2024 13:30 | 1774.053 | 1958.586 | 1589.521
13/05/2024 14:00 | 1831.84 | 2022.998 | 1640.683
13/05/2024 14:30 | 1968.053 | 2174.084 | 1762.021
13/05/2024 15:00 | 2123.777 | 2346.823 | 1900.731
13/05/2024 15:30 | 2307.562 | 2550.684 | 2064.441
13/05/2024 16:00 | 2458.493 | 2718.34 | 2198.645
13/05/2024 16:30 | 2597.175 | 2872.551 | 2321.799
13/05/2024 17:00 | 2727.432 | 3017.534 | 2437.33
13/05/2024 17:30 | 2777.521 | 3073.882 | 2481.16
13/05/2024 18:00 | 2738.002 | 3031.065 | 2444.94
13/05/2024 18:30 | 2659.948 | 2945.547 | 2374.348
13/05/2024 19:00 | 2568.198 | 2844.807 | 2291.589
13/05/2024 19:30 | 2500.031 | 2770.136 | 2229.925
13/05/2024 20:00 | 2420.031 | 2682.305 | 2157.757
13/05/2024 20:30 | 2332.721 | 2586.314 | 2079.127
13/05/2024 21:00 | 2241.606 | 2486.046 | 1997.166
13/05/2024 21:30 | 2150.072 | 2385.251 | 1914.892
13/05/2024 22:00 | 2063.328 | 2289.711 | 1836.945
13/05/2024 22:30 | 1989.63 | 2208.594 | 1770.666
13/05/2024 23:00 | 1927.503 | 2140.276 | 1714.729
13/05/2024 23:30 | 1872.395 | 2079.713 | 1665.077
14/05/2024 00:00 | 1823.622 | 2026.151 | 1621.093
14/05/2024 00:30 | 1789.853 | 1989.231 | 1590.474
14/05/2024 01:00 | 1769.971 | 1967.728 | 1572.214
14/05/2024 01:30 | 1758.45 | 1955.51 | 1561.39
14/05/2024 02:00 | 1753.015 | 1950.053 | 1555.976
14/05/2024 02:30 | 1752.953 | 1950.573 | 1555.334
14/05/2024 03:00 | 1756.74 | 1955.376 | 1558.105
14/05/2024 03:30 | 1770.665 | 1971.469 | 1569.862
14/05/2024 04:00 | 1809.489 | 2015.302 | 1603.676
14/05/2024 04:30 | 1881.296 | 2095.907 | 1666.685
14/05/2024 05:00 | 1981.761 | 2208.497 | 1755.025
14/05/2024 05:30 | 2122.69 | 2366.262 | 1879.118
14/05/2024 06:00 | 2276.53 | 2538.518 | 2014.542
14/05/2024 06:30 | 2385.82 | 2661.185 | 2110.455
14/05/2024 07:00 | 2407.981 | 2686.711 | 2129.25
14/05/2024 07:30 | 2288.394 | 2554.049 | 2022.738