## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
14/05/2024 08:00 | 2085.676 | 2115.14 | 2056.212
14/05/2024 08:30 | 1946.24 | 1979.52 | 1912.96 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
14/05/2024 09:00 | 1802.263 | 1838.439 | 1766.088 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
14/05/2024 09:30 | 1709.824 | 1749.227 | 1670.421 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
14/05/2024 10:00 | 1668.594 | 1712.007 | 1625.181 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
14/05/2024 10:30 | 1642.073 | 1688.503 | 1595.643 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
14/05/2024 11:00 | 1641.05 | 1688.831 | 1590.142 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
14/05/2024 11:30 | 1640.24 | 1688.417 | 1589.81 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
14/05/2024 12:00 | 1627.781 | 1678.406 | 1577.34 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
14/05/2024 12:30 | 1653.159 | 1708.643 | 1602.663 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
14/05/2024 13:00 | 1709.833 | 1768.62 | 1655.724 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
14/05/2024 13:30 | 1796.509 | 1858.124 | 1736.163
14/05/2024 14:00 | 1910.734 | 1979.042 | 1845.582 | Summary view - for each schedule horizon (dispatch, week-ahead)
14/05/2024 14:30 | 2054.121 | 2129.173 | 1981.763
14/05/2024 15:00 | 2219.377 | 2301.522 | 2138.052 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
14/05/2024 15:30 | 2381.805 | 2473.495 | 2293.382 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
14/05/2024 16:00 | 2530.877 | 2628.942 | 2432.813 | Scenario | Violations
14/05/2024 16:30 | 2658.147 | 2763.704 | 2552.592 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
14/05/2024 17:00 | 2742.239 | 2853.775 | 2630.702 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
14/05/2024 17:30 | 2748.344 | 2862.775 | 2633.912 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
14/05/2024 18:00 | 2680.951 | 2795.159 | 2566.743 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 2 | 2 | 0 | 0
14/05/2024 18:30 | 2596.332 | 2708.907 | 2483.757 | Low Demand Scenario | 0 | 0 | 0 | 0 | 4 | 3 | 6 | 0 | 5 | 5 | 0 | 1
14/05/2024 19:00 | 2511.832 | 2621.639 | 2402.025
14/05/2024 19:30 | 2436.035 | 2543.482 | 2328.588 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
14/05/2024 20:00 | 2352.949 | 2457.653 | 2248.246
14/05/2024 20:30 | 2270.296 | 2372.209 | 2168.382 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
14/05/2024 21:00 | 2187.323 | 2286.368 | 2088.277 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
14/05/2024 21:30 | 2103.626 | 2199.705 | 2007.547 | [7 empty] | 14/05/2024 10:00 | [11 empty] | 14/05/2024 09:30 |  | 18/05/2024 11:00 | 18/05/2024 11:00 | [6 empty] | 18/05/2024 10:30 | 18/05/2024 10:30 | 14/05/2024 10:00 |  | 18/05/2024 10:00 | 18/05/2024 10:00 |  | 14/05/2024 09:30
14/05/2024 22:00 | 2023.109 | 2116.302 | 1929.916 | [7 empty] | 14/05/2024 10:30 | [11 empty] | 14/05/2024 10:00 |  | 18/05/2024 11:30 | 18/05/2024 11:30 | [6 empty] | 18/05/2024 11:00 | 18/05/2024 11:00 | 14/05/2024 10:30 |  | 18/05/2024 10:30 | 18/05/2024 10:30
14/05/2024 22:30 | 1960.709 | 2051.795 | 1869.622 | [7 empty] | 14/05/2024 11:00 | [11 empty] | 14/05/2024 10:30 | [9 empty] | 18/05/2024 11:30 | 18/05/2024 11:30 | 14/05/2024 11:00 |  | 18/05/2024 11:00 | 18/05/2024 11:00
14/05/2024 23:00 | 1918.541 | 2008.419 | 1828.662 | [7 empty] | 14/05/2024 11:30 | [11 empty] | 14/05/2024 11:00 | [9 empty] | 18/05/2024 12:00 |  | 14/05/2024 11:30 |  | 18/05/2024 11:30 | 18/05/2024 11:30
14/05/2024 23:30 | 1887.761 | 1976.936 | 1798.586 | [7 empty] | 14/05/2024 12:00 | [23 empty] | 14/05/2024 12:00 |  | 18/05/2024 12:00 | 18/05/2024 12:00
15/05/2024 00:00 | 1859.695 | 1948.272 | 1771.118 | [31 empty] | 14/05/2024 12:30
15/05/2024 00:30 | 1834.944 | 1923.06 | 1746.827
15/05/2024 01:00 | 1819.09 | 1907.157 | 1731.023
15/05/2024 01:30 | 1802.027 | 1889.973 | 1714.081
15/05/2024 02:00 | 1792.383 | 1880.56 | 1704.206
15/05/2024 02:30 | 1788.395 | 1877.076 | 1699.714
15/05/2024 03:00 | 1789.635 | 1879.078 | 1700.192
15/05/2024 03:30 | 1802.088 | 1892.858 | 1711.317
15/05/2024 04:00 | 1835.83 | 1929.019 | 1742.641
15/05/2024 04:30 | 1900.283 | 1997.487 | 1803.079
15/05/2024 05:00 | 1986.492 | 2088.883 | 1884.101
15/05/2024 05:30 | 2099.281 | 2208.307 | 1990.254
15/05/2024 06:00 | 2226.508 | 2343.013 | 2110.002
15/05/2024 06:30 | 2305.882 | 2427.258 | 2184.506
15/05/2024 07:00 | 2285.81 | 2406.475 | 2165.145
15/05/2024 07:30 | 2127.223 | 2239.868 | 2014.578
15/05/2024 08:00 | 1951.423 | 2055.08 | 1847.765
15/05/2024 08:30 | 1783.367 | 1878.392 | 1688.342
15/05/2024 09:00 | 1623.031 | 1709.781 | 1536.281
15/05/2024 09:30 | 1492.504 | 1572.524 | 1412.484
15/05/2024 10:00 | 1400.267 | 1475.573 | 1324.962
15/05/2024 10:30 | 1341.4 | 1413.761 | 1269.039
15/05/2024 11:00 | 1318.151 | 1389.476 | 1246.827
15/05/2024 11:30 | 1323.159 | 1394.973 | 1251.345
15/05/2024 12:00 | 1348.763 | 1422.189 | 1275.337
15/05/2024 12:30 | 1409.825 | 1486.809 | 1332.842
15/05/2024 13:00 | 1503.719 | 1586.078 | 1421.36
15/05/2024 13:30 | 1619.158 | 1708.107 | 1530.21
15/05/2024 14:00 | 1755.513 | 1852.242 | 1658.784
15/05/2024 14:30 | 1919.494 | 2025.576 | 1813.413
15/05/2024 15:00 | 2118.28 | 2235.697 | 2000.863
15/05/2024 15:30 | 2318.204 | 2447.086 | 2189.323
15/05/2024 16:00 | 2490.764 | 2629.651 | 2351.877
15/05/2024 16:30 | 2631.187 | 2776.737 | 2484.036
15/05/2024 17:00 | 2732.5 | 2884.233 | 2579.232
15/05/2024 17:30 | 2746.103 | 2899.204 | 2591.618
15/05/2024 18:00 | 2676.235 | 2826.002 | 2525.239
15/05/2024 18:30 | 2592.866 | 2738.43 | 2446.734
15/05/2024 19:00 | 2509.348 | 2650.928 | 2367.768
15/05/2024 19:30 | 2431.767 | 2569.372 | 2294.163
15/05/2024 20:00 | 2348.754 | 2482.048 | 2215.459
15/05/2024 20:30 | 2263.302 | 2392.122 | 2134.483
15/05/2024 21:00 | 2177.151 | 2301.426 | 2052.876
15/05/2024 21:30 | 2092.582 | 2212.375 | 1972.789
15/05/2024 22:00 | 2012.377 | 2127.911 | 1896.843
15/05/2024 22:30 | 1946.302 | 2058.363 | 1834.24
15/05/2024 23:00 | 1898.962 | 2008.612 | 1789.312
15/05/2024 23:30 | 1860.575 | 1968.315 | 1752.835
16/05/2024 00:00 | 1828.215 | 1934.383 | 1722.046
16/05/2024 00:30 | 1802.41 | 1907.378 | 1697.443
16/05/2024 01:00 | 1785.955 | 1890.259 | 1681.651
16/05/2024 01:30 | 1772.63 | 1876.449 | 1668.812
16/05/2024 02:00 | 1766.406 | 1870.151 | 1662.66
16/05/2024 02:30 | 1764.985 | 1868.939 | 1661.032
16/05/2024 03:00 | 1769.368 | 1873.872 | 1664.864
16/05/2024 03:30 | 1783.499 | 1889.132 | 1677.866
16/05/2024 04:00 | 1818.585 | 1926.596 | 1710.574
16/05/2024 04:30 | 1883.846 | 1996.045 | 1771.648
16/05/2024 05:00 | 1971.583 | 2089.332 | 1853.833
16/05/2024 05:30 | 2086.666 | 2211.633 | 1961.699
16/05/2024 06:00 | 2216.272 | 2349.34 | 2083.177
16/05/2024 06:30 | 2297.622 | 2435.953 | 2159.262
16/05/2024 07:00 | 2276.783 | 2414.233 | 2139.303
16/05/2024 07:30 | 2105.044 | 2232.511 | 1977.546
16/05/2024 08:00 | 1916.12 | 2032.571 | 1799.64
16/05/2024 08:30 | 1745.999 | 1852.489 | 1639.479
16/05/2024 09:00 | 1578.17 | 1674.767 | 1481.544
16/05/2024 09:30 | 1445.065 | 1533.828 | 1356.273
16/05/2024 10:00 | 1351.116 | 1434.404 | 1267.802
16/05/2024 10:30 | 1295.601 | 1375.753 | 1215.427
16/05/2024 11:00 | 1267.992 | 1346.719 | 1189.25
16/05/2024 11:30 | 1260.715 | 1339.268 | 1182.149
16/05/2024 12:00 | 1287.055 | 1367.527 | 1206.566
16/05/2024 12:30 | 1357.705 | 1442.893 | 1272.501
16/05/2024 13:00 | 1449.011 | 1540.261 | 1357.775
16/05/2024 13:30 | 1568.562 | 1667.683 | 1469.455
16/05/2024 14:00 | 1713.237 | 1821.875 | 1604.612
16/05/2024 14:30 | 1882.406 | 2002.183 | 1762.643
16/05/2024 15:00 | 2078.353 | 2211.052 | 1945.654
16/05/2024 15:30 | 2276.877 | 2422.75 | 2131.005
16/05/2024 16:00 | 2444.724 | 2601.884 | 2287.565
16/05/2024 16:30 | 2580.893 | 2747.37 | 2414.416
16/05/2024 17:00 | 2688.271 | 2862.262 | 2514.28
16/05/2024 17:30 | 2718.856 | 2895.42 | 2542.292
16/05/2024 18:00 | 2659.866 | 2833.181 | 2486.552
16/05/2024 18:30 | 2584.827 | 2753.817 | 2415.837
16/05/2024 19:00 | 2507.927 | 2672.437 | 2343.417
16/05/2024 19:30 | 2439.113 | 2599.643 | 2278.584
16/05/2024 20:00 | 2361.338 | 2517.265 | 2205.412
16/05/2024 20:30 | 2275.953 | 2426.739 | 2125.168
16/05/2024 21:00 | 2188.733 | 2334.219 | 2043.248
16/05/2024 21:30 | 2108.732 | 2249.361 | 1968.104
16/05/2024 22:00 | 2031.534 | 2167.458 | 1895.61
16/05/2024 22:30 | 1964.638 | 2096.516 | 1832.761
16/05/2024 23:00 | 1914.526 | 2043.458 | 1785.594
16/05/2024 23:30 | 1875.09 | 2001.776 | 1748.405
17/05/2024 00:00 | 1841.352 | 1966.161 | 1716.544
17/05/2024 00:30 | 1813.979 | 1937.329 | 1690.63
17/05/2024 01:00 | 1795.709 | 1918.209 | 1673.21
17/05/2024 01:30 | 1781.489 | 1903.408 | 1659.57
17/05/2024 02:00 | 1773.721 | 1895.495 | 1651.946
17/05/2024 02:30 | 1772.077 | 1894.126 | 1650.028
17/05/2024 03:00 | 1774.667 | 1897.282 | 1652.052
17/05/2024 03:30 | 1787.375 | 1911.258 | 1663.491
17/05/2024 04:00 | 1821.4 | 1948.04 | 1694.76
17/05/2024 04:30 | 1883.896 | 2015.293 | 1752.5
17/05/2024 05:00 | 1964.688 | 2102.149 | 1827.227
17/05/2024 05:30 | 2073.368 | 2218.885 | 1927.85
17/05/2024 06:00 | 2200.334 | 2355.243 | 2045.424
17/05/2024 06:30 | 2279.741 | 2440.739 | 2118.743
17/05/2024 07:00 | 2256.481 | 2416.33 | 2096.633
17/05/2024 07:30 | 2089.466 | 2237.939 | 1940.992
17/05/2024 08:00 | 1909.795 | 2045.919 | 1773.671
17/05/2024 08:30 | 1738.764 | 1863.078 | 1614.451
17/05/2024 09:00 | 1565.653 | 1677.932 | 1453.374
17/05/2024 09:30 | 1423.421 | 1525.811 | 1321.031
17/05/2024 10:00 | 1323.28 | 1418.755 | 1227.804
17/05/2024 10:30 | 1267.071 | 1358.768 | 1175.374
17/05/2024 11:00 | 1245.743 | 1336.168 | 1155.317
17/05/2024 11:30 | 1249.476 | 1340.446 | 1158.507
17/05/2024 12:00 | 1282.53 | 1376.186 | 1188.874
17/05/2024 12:30 | 1358.719 | 1458.236 | 1259.203
17/05/2024 13:00 | 1455.153 | 1562.05 | 1348.255
17/05/2024 13:30 | 1574.154 | 1690.138 | 1458.17
17/05/2024 14:00 | 1722.192 | 1849.46 | 1594.925
17/05/2024 14:30 | 1894.358 | 2034.762 | 1753.954
17/05/2024 15:00 | 2098.652 | 2254.657 | 1942.648
17/05/2024 15:30 | 2304.74 | 2476.567 | 2132.912
17/05/2024 16:00 | 2475.95 | 2661.083 | 2290.818
17/05/2024 16:30 | 2599.241 | 2794.16 | 2404.321
17/05/2024 17:00 | 2680.735 | 2882.351 | 2479.118
17/05/2024 17:30 | 2678.333 | 2880.354 | 2476.312
17/05/2024 18:00 | 2604.733 | 2801.772 | 2407.695
17/05/2024 18:30 | 2527.5 | 2719.249 | 2335.752
17/05/2024 19:00 | 2457.926 | 2644.933 | 2270.919
17/05/2024 19:30 | 2396.55 | 2579.411 | 2213.689
17/05/2024 20:00 | 2331.05 | 2509.422 | 2152.677
17/05/2024 20:30 | 2264.24 | 2437.996 | 2090.485
17/05/2024 21:00 | 2197.684 | 2366.811 | 2028.556
17/05/2024 21:30 | 2130.547 | 2294.974 | 1966.121
17/05/2024 22:00 | 2059.567 | 2218.966 | 1900.168
17/05/2024 22:30 | 1996.247 | 2151.181 | 1841.313
17/05/2024 23:00 | 1947.471 | 2099.045 | 1795.897
17/05/2024 23:30 | 1909.719 | 2063.985 | 1755.452
18/05/2024 00:00 | 1875.499 | 2037.565 | 1713.432
18/05/2024 00:30 | 1845.859 | 2004.948 | 1686.771
18/05/2024 01:00 | 1825.427 | 1983.191 | 1667.664
18/05/2024 01:30 | 1806.711 | 1963.288 | 1650.134
18/05/2024 02:00 | 1795.709 | 1951.762 | 1639.656
18/05/2024 02:30 | 1785.638 | 1941.242 | 1630.034
18/05/2024 03:00 | 1779.565 | 1935.066 | 1624.065
18/05/2024 03:30 | 1781.873 | 1938 | 1625.746
18/05/2024 04:00 | 1793.383 | 1950.948 | 1635.819
18/05/2024 04:30 | 1813.371 | 1973.125 | 1653.618
18/05/2024 05:00 | 1844.86 | 2007.828 | 1681.891
18/05/2024 05:30 | 1902.193 | 2070.681 | 1733.706
18/05/2024 06:00 | 1973.57 | 2148.851 | 1798.289
18/05/2024 06:30 | 2013.211 | 2192.493 | 1833.928
18/05/2024 07:00 | 1979.064 | 2155.778 | 1802.349
18/05/2024 07:30 | 1848.191 | 2013.537 | 1682.844
18/05/2024 08:00 | 1704.754 | 1857.335 | 1552.172
18/05/2024 08:30 | 1549.42 | 1688.178 | 1410.663
18/05/2024 09:00 | 1394.078 | 1518.995 | 1269.161
18/05/2024 09:30 | 1265.252 | 1378.69 | 1151.814
18/05/2024 10:00 | 1177.017 | 1282.605 | 1071.43
18/05/2024 10:30 | 1122.632 | 1223.398 | 1021.866
18/05/2024 11:00 | 1105.648 | 1204.946 | 1006.35
18/05/2024 11:30 | 1107.182 | 1206.673 | 1007.69
18/05/2024 12:00 | 1140.327 | 1242.855 | 1037.799
18/05/2024 12:30 | 1216.475 | 1325.912 | 1107.038
18/05/2024 13:00 | 1317.402 | 1435.986 | 1198.819
18/05/2024 13:30 | 1464.452 | 1596.347 | 1332.557
18/05/2024 14:00 | 1645.403 | 1793.679 | 1497.127
18/05/2024 14:30 | 1826.32 | 1990.993 | 1661.648
18/05/2024 15:00 | 2013.369 | 2195.01 | 1831.729
18/05/2024 15:30 | 2190.292 | 2388.005 | 1992.578
18/05/2024 16:00 | 2355.751 | 2568.521 | 2142.982
18/05/2024 16:30 | 2478.965 | 2702.99 | 2254.941
18/05/2024 17:00 | 2552.391 | 2783.181 | 2321.601
18/05/2024 17:30 | 2554.527 | 2785.641 | 2323.414
18/05/2024 18:00 | 2477.809 | 2702.108 | 2253.51
18/05/2024 18:30 | 2411.085 | 2629.468 | 2192.703
18/05/2024 19:00 | 2359.966 | 2573.838 | 2146.094
18/05/2024 19:30 | 2296.415 | 2504.644 | 2088.185
18/05/2024 20:00 | 2235.97 | 2438.833 | 2033.107
18/05/2024 20:30 | 2186.877 | 2385.397 | 1988.356
18/05/2024 21:00 | 2140.263 | 2334.661 | 1945.865
18/05/2024 21:30 | 2084.474 | 2273.911 | 1895.037
18/05/2024 22:00 | 2023.894 | 2207.929 | 1839.859
18/05/2024 22:30 | 1972.851 | 2152.345 | 1793.357
18/05/2024 23:00 | 1936.662 | 2112.962 | 1760.362
18/05/2024 23:30 | 1910.281 | 2084.277 | 1736.285
19/05/2024 00:00 | 1885.841 | 2057.708 | 1713.975
19/05/2024 00:30 | 1861.107 | 2030.814 | 1691.4
19/05/2024 01:00 | 1843.844 | 2012.071 | 1675.618
19/05/2024 01:30 | 1822.552 | 1988.929 | 1656.176
19/05/2024 02:00 | 1809.804 | 1975.109 | 1644.499
19/05/2024 02:30 | 1798.681 | 1963.062 | 1634.3
19/05/2024 03:00 | 1791.027 | 1954.8 | 1627.254
19/05/2024 03:30 | 1790.818 | 1954.663 | 1626.973
19/05/2024 04:00 | 1794.982 | 1959.299 | 1630.664
19/05/2024 04:30 | 1804.393 | 1969.664 | 1639.121
19/05/2024 05:00 | 1821.849 | 1988.812 | 1654.886
19/05/2024 05:30 | 1855.982 | 2026.167 | 1685.796
19/05/2024 06:00 | 1906.388 | 2081.293 | 1731.484
19/05/2024 06:30 | 1940.22 | 2118.328 | 1762.113
19/05/2024 07:00 | 1928.656 | 2105.801 | 1751.512
19/05/2024 07:30 | 1863.314 | 2034.552 | 1692.076
19/05/2024 08:00 | 1782.02 | 1945.878 | 1618.162
19/05/2024 08:30 | 1670.212 | 1823.874 | 1516.549
19/05/2024 09:00 | 1557.019 | 1700.347 | 1413.691
19/05/2024 09:30 | 1449.122 | 1582.591 | 1315.653
19/05/2024 10:00 | 1365.602 | 1491.449 | 1239.756
19/05/2024 10:30 | 1301.763 | 1421.792 | 1181.733
19/05/2024 11:00 | 1266.98 | 1383.867 | 1150.093
19/05/2024 11:30 | 1273.973 | 1391.571 | 1156.376
19/05/2024 12:00 | 1293.125 | 1412.557 | 1173.694
19/05/2024 12:30 | 1344.056 | 1468.26 | 1219.853
19/05/2024 13:00 | 1427.828 | 1559.845 | 1295.81
19/05/2024 13:30 | 1533.043 | 1674.867 | 1391.219
19/05/2024 14:00 | 1679.642 | 1835.114 | 1524.171
19/05/2024 14:30 | 1844.738 | 2015.585 | 1673.89
19/05/2024 15:00 | 2011.808 | 2198.231 | 1825.385
19/05/2024 15:30 | 2182.069 | 2384.381 | 1979.758
19/05/2024 16:00 | 2343.001 | 2560.353 | 2125.649
19/05/2024 16:30 | 2476.559 | 2706.427 | 2246.692
19/05/2024 17:00 | 2568.31 | 2806.825 | 2329.796
19/05/2024 17:30 | 2581.292 | 2821.144 | 2341.44
19/05/2024 18:00 | 2504.848 | 2737.725 | 2271.972
19/05/2024 18:30 | 2424.534 | 2650.067 | 2199.001
19/05/2024 19:00 | 2353.95 | 2573.037 | 2134.863
19/05/2024 19:30 | 2287.214 | 2500.206 | 2074.221
19/05/2024 20:00 | 2218.141 | 2424.814 | 2011.467
19/05/2024 20:30 | 2151.329 | 2351.887 | 1950.771
19/05/2024 21:00 | 2084.568 | 2279.009 | 1890.128
19/05/2024 21:30 | 2016.35 | 2204.53 | 1828.17
19/05/2024 22:00 | 1948.865 | 2130.846 | 1766.884
19/05/2024 22:30 | 1898.148 | 2075.49 | 1720.806
19/05/2024 23:00 | 1869.993 | 2044.801 | 1695.186
19/05/2024 23:30 | 1852.801 | 2028.35 | 1677.253
20/05/2024 00:00 | 1840.62 | 2019.636 | 1661.605
20/05/2024 00:30 | 1824.783 | 2002.245 | 1647.322
20/05/2024 01:00 | 1813.24 | 1989.926 | 1636.553
20/05/2024 01:30 | 1800.093 | 1975.843 | 1624.342
20/05/2024 02:00 | 1793.713 | 1969.185 | 1618.242
20/05/2024 02:30 | 1791.759 | 1967.382 | 1616.135
20/05/2024 03:00 | 1795.114 | 1971.41 | 1618.818
20/05/2024 03:30 | 1810.344 | 1988.483 | 1632.204
20/05/2024 04:00 | 1847.071 | 2029.178 | 1664.964
20/05/2024 04:30 | 1914.23 | 2103.325 | 1725.134
20/05/2024 05:00 | 1999.435 | 2197.331 | 1801.54
20/05/2024 05:30 | 2111.729 | 2321.144 | 1902.315
20/05/2024 06:00 | 2256.539 | 2480.747 | 2032.332
20/05/2024 06:30 | 2366.293 | 2601.859 | 2130.727
20/05/2024 07:00 | 2396.159 | 2635.158 | 2157.16
20/05/2024 07:30 | 2309.544 | 2540.464 | 2078.624
20/05/2024 08:00 | 2225.433 | 2448.709 | 2002.157
20/05/2024 08:30 | 2158.845 | 2376.164 | 1941.526
20/05/2024 09:00 | 2027.059 | 2231.791 | 1822.326
20/05/2024 09:30 | 1826.07 | 2011.115 | 1641.025
20/05/2024 10:00 | 1684.32 | 1855.566 | 1513.075
20/05/2024 10:30 | 1650.001 | 1818.311 | 1481.692
20/05/2024 11:00 | 1630.692 | 1797.578 | 1463.805
20/05/2024 11:30 | 1652.493 | 1822.165 | 1482.822
20/05/2024 12:00 | 1679.381 | 1852.377 | 1506.386
20/05/2024 12:30 | 1725.28 | 1903.582 | 1546.978
20/05/2024 13:00 | 1813.703 | 2001.751 | 1625.654
20/05/2024 13:30 | 1949.894 | 2152.717 | 1747.071
20/05/2024 14:00 | 2095.191 | 2313.83 | 1876.552
20/05/2024 14:30 | 2224.936 | 2457.86 | 1992.012
20/05/2024 15:00 | 2374.156 | 2623.497 | 2124.814
20/05/2024 15:30 | 2496.296 | 2759.303 | 2233.29
20/05/2024 16:00 | 2605.365 | 2880.736 | 2329.993
20/05/2024 16:30 | 2721.324 | 3009.864 | 2432.784
20/05/2024 17:00 | 2814.872 | 3114.274 | 2515.469
20/05/2024 17:30 | 2818.877 | 3119.651 | 2518.104
20/05/2024 18:00 | 2732.615 | 3025.1 | 2440.129
20/05/2024 18:30 | 2645.393 | 2929.429 | 2361.356
20/05/2024 19:00 | 2566.494 | 2842.919 | 2290.068
20/05/2024 19:30 | 2482.563 | 2750.781 | 2214.344
20/05/2024 20:00 | 2394.494 | 2654 | 2134.987
20/05/2024 20:30 | 2304.497 | 2555.022 | 2053.971
20/05/2024 21:00 | 2212.97 | 2454.288 | 1971.653
20/05/2024 21:30 | 2123.291 | 2355.541 | 1891.04
20/05/2024 22:00 | 2039.543 | 2263.317 | 1815.77
20/05/2024 22:30 | 1970.644 | 2187.519 | 1753.769
20/05/2024 23:00 | 1919.645 | 2131.55 | 1707.739
20/05/2024 23:30 | 1878.1 | 2086.05 | 1670.151
21/05/2024 00:00 | 1841.903 | 2046.462 | 1637.344
21/05/2024 00:30 | 1815.259 | 2017.468 | 1613.051
21/05/2024 01:00 | 1800.58 | 2001.757 | 1599.402
21/05/2024 01:30 | 1786.816 | 1987.054 | 1586.577
21/05/2024 02:00 | 1779.599 | 1979.626 | 1579.573
21/05/2024 02:30 | 1778.184 | 1978.648 | 1577.72
21/05/2024 03:00 | 1781.156 | 1982.552 | 1579.76
21/05/2024 03:30 | 1794.989 | 1998.55 | 1591.427
21/05/2024 04:00 | 1829.634 | 2037.738 | 1621.529
21/05/2024 04:30 | 1894.281 | 2110.374 | 1678.188
21/05/2024 05:00 | 1985.104 | 2212.223 | 1757.985
21/05/2024 05:30 | 2108.374 | 2350.303 | 1866.444
21/05/2024 06:00 | 2252.785 | 2512.041 | 1993.53
21/05/2024 06:30 | 2356.317 | 2628.277 | 2084.357
21/05/2024 07:00 | 2380.015 | 2655.509 | 2104.522
21/05/2024 07:30 | 2283.685 | 2548.794 | 2018.577