## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
17/05/2024 08:00 | 2072.96 | 2102.245 | 2043.676
17/05/2024 08:30 | 1939.812 | 1972.982 | 1906.642 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
17/05/2024 09:00 | 1791.245 | 1827.2 | 1755.291 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
17/05/2024 09:30 | 1643.752 | 1681.632 | 1605.872 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
17/05/2024 10:00 | 1512.307 | 1551.654 | 1472.96 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
17/05/2024 10:30 | 1418.354 | 1458.458 | 1378.25 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
17/05/2024 11:00 | 1371.599 | 1411.535 | 1331.663 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
17/05/2024 11:30 | 1348.911 | 1389.485 | 1308.336 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
17/05/2024 12:00 | 1359.771 | 1401.981 | 1317.56 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
17/05/2024 12:30 | 1424.927 | 1470.533 | 1379.321 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
17/05/2024 13:00 | 1512.197 | 1562.052 | 1462.342 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
17/05/2024 13:30 | 1628.259 | 1683.508 | 1573.009
17/05/2024 14:00 | 1770.252 | 1832.024 | 1708.479 | Summary view - for each schedule horizon (dispatch, week-ahead)
17/05/2024 14:30 | 1927.788 | 1996.915 | 1858.662
17/05/2024 15:00 | 2109.816 | 2187.502 | 2032.13 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
17/05/2024 15:30 | 2302.16 | 2389.145 | 2215.175 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
17/05/2024 16:00 | 2467.909 | 2563.534 | 2372.284 | Scenario | Violations
17/05/2024 16:30 | 2597.218 | 2700.354 | 2494.081 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
17/05/2024 17:00 | 2682.3 | 2791.207 | 2573.202 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
17/05/2024 17:30 | 2685.624 | 2797.311 | 2573.681 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0
17/05/2024 18:00 | 2618.563 | 2730.033 | 2506.94 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 0
17/05/2024 18:30 | 2542.709 | 2653.229 | 2432.707 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0
17/05/2024 19:00 | 2470.022 | 2578.23 | 2362.252
17/05/2024 19:30 | 2407.073 | 2513.187 | 2300.853 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
17/05/2024 20:00 | 2340.963 | 2444.909 | 2236.589
17/05/2024 20:30 | 2271.958 | 2373.7 | 2169.744 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
17/05/2024 21:00 | 2202.583 | 2302.07 | 2102.619 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
17/05/2024 21:30 | 2133.257 | 2230.598 | 2035.742 | [7 empty] | 17/05/2024 10:00 | [11 empty] | 17/05/2024 10:00 | [11 empty] | 17/05/2024 10:00
17/05/2024 22:00 | 2061.53 | 2156.624 | 1966.686 | [7 empty] | 17/05/2024 10:30 | [11 empty] | 17/05/2024 10:30 | [11 empty] | 17/05/2024 10:30
17/05/2024 22:30 | 1997.072 | 2089.975 | 1904.413 | [7 empty] | 17/05/2024 11:00 | [11 empty] | 17/05/2024 11:00 | [11 empty] | 17/05/2024 11:00
17/05/2024 23:00 | 1944.337 | 2035.431 | 1853.257 | [7 empty] | 17/05/2024 11:30 | [11 empty] | 17/05/2024 11:30 | [11 empty] | 17/05/2024 11:30
17/05/2024 23:30 | 1902.46 | 1996.714 | 1808.253 | [7 empty] | 17/05/2024 12:00 | [11 empty] | 17/05/2024 12:00 | [11 empty] | 17/05/2024 12:00
18/05/2024 00:00 | 1864.557 | 1965.859 | 1762.959 | [7 empty] | 17/05/2024 12:30 | [11 empty] | 17/05/2024 12:30 | [11 empty] | 17/05/2024 12:30
18/05/2024 00:30 | 1833.071 | 1932.421 | 1733.443 | [7 empty] | 17/05/2024 13:00 | [11 empty] | 17/05/2024 13:00 | [11 empty] | 17/05/2024 13:00
18/05/2024 01:00 | 1811.656 | 1910.466 | 1712.845 | [19 empty] | 21/05/2024 09:30 | [11 empty] | 17/05/2024 13:30
18/05/2024 01:30 | 1793.968 | 1892.286 | 1695.649 | [19 empty] | 21/05/2024 10:00 | [11 empty] | 20/05/2024 10:30
18/05/2024 02:00 | 1783.504 | 1881.719 | 1685.289 | [19 empty] | 21/05/2024 10:30 | [11 empty] | 20/05/2024 11:00
18/05/2024 02:30 | 1774.59 | 1872.781 | 1676.399 | [19 empty] | 21/05/2024 11:00 | [11 empty] | 20/05/2024 11:30
18/05/2024 03:00 | 1770.65 | 1869.09 | 1672.211 | [19 empty] | 21/05/2024 11:30 | [11 empty] | 20/05/2024 12:00
18/05/2024 03:30 | 1774.147 | 1873.248 | 1675.047 | [19 empty] | 21/05/2024 12:00 | [11 empty] | 20/05/2024 12:30
18/05/2024 04:00 | 1786.247 | 1886.494 | 1686 | [19 empty] | 21/05/2024 12:30 | [11 empty] | 20/05/2024 13:00
18/05/2024 04:30 | 1807.008 | 1908.896 | 1705.12 | [19 empty] | 21/05/2024 13:00 | [11 empty] | 20/05/2024 13:30
18/05/2024 05:00 | 1842.806 | 1947.198 | 1738.415 | [31 empty] | 20/05/2024 14:00
18/05/2024 05:30 | 1904.561 | 2012.952 | 1796.17
18/05/2024 06:00 | 1973.888 | 2086.745 | 1861.032
18/05/2024 06:30 | 2015.395 | 2131.104 | 1899.687
18/05/2024 07:00 | 1990.079 | 2104.706 | 1875.453
18/05/2024 07:30 | 1870.863 | 1978.98 | 1762.746
18/05/2024 08:00 | 1734.523 | 1835.092 | 1633.953
18/05/2024 08:30 | 1585.652 | 1677.893 | 1493.411
18/05/2024 09:00 | 1438.507 | 1522.463 | 1354.551
18/05/2024 09:30 | 1314.384 | 1391.347 | 1237.421
18/05/2024 10:00 | 1225.717 | 1297.723 | 1153.712
18/05/2024 10:30 | 1165.615 | 1234.312 | 1096.917
18/05/2024 11:00 | 1140.164 | 1207.579 | 1072.749
18/05/2024 11:30 | 1128.812 | 1195.772 | 1061.853
18/05/2024 12:00 | 1148.896 | 1217.267 | 1080.526
18/05/2024 12:30 | 1210.848 | 1283.136 | 1138.56
18/05/2024 13:00 | 1291.088 | 1368.413 | 1213.762
18/05/2024 13:30 | 1403.066 | 1487.366 | 1318.766
18/05/2024 14:00 | 1547.645 | 1640.927 | 1454.362
18/05/2024 14:30 | 1711.557 | 1815.046 | 1608.068
18/05/2024 15:00 | 1897.641 | 2012.744 | 1782.538
18/05/2024 15:30 | 2096.411 | 2223.971 | 1968.85
18/05/2024 16:00 | 2283.425 | 2422.801 | 2144.049
18/05/2024 16:30 | 2426.874 | 2575.469 | 2278.278
18/05/2024 17:00 | 2514.544 | 2668.988 | 2360.1
18/05/2024 17:30 | 2530.873 | 2686.803 | 2374.943
18/05/2024 18:00 | 2461.133 | 2613.237 | 2309.029
18/05/2024 18:30 | 2386.237 | 2534.168 | 2238.306
18/05/2024 19:00 | 2319.734 | 2463.986 | 2175.483
18/05/2024 19:30 | 2257.973 | 2398.815 | 2117.131
18/05/2024 20:00 | 2198.724 | 2336.291 | 2061.157
18/05/2024 20:30 | 2149.441 | 2284.335 | 2014.547
18/05/2024 21:00 | 2101.359 | 2233.637 | 1969.081
18/05/2024 21:30 | 2045.516 | 2174.67 | 1916.363
18/05/2024 22:00 | 1986.176 | 2111.962 | 1860.389
18/05/2024 22:30 | 1933.746 | 2056.582 | 1810.911
18/05/2024 23:00 | 1892.485 | 2013.061 | 1771.909
18/05/2024 23:30 | 1859.624 | 1978.462 | 1740.787
19/05/2024 00:00 | 1828.365 | 1945.555 | 1711.176
19/05/2024 00:30 | 1800.591 | 1916.344 | 1684.838
19/05/2024 01:00 | 1781.536 | 1896.404 | 1666.667
19/05/2024 01:30 | 1763.118 | 1877.136 | 1649.1
19/05/2024 02:00 | 1752.336 | 1865.992 | 1638.681
19/05/2024 02:30 | 1743.41 | 1856.82 | 1630
19/05/2024 03:00 | 1738.695 | 1852.13 | 1625.26
19/05/2024 03:30 | 1739.923 | 1853.771 | 1626.076
19/05/2024 04:00 | 1745.49 | 1860.036 | 1630.944
19/05/2024 04:30 | 1755.811 | 1871.37 | 1640.253
19/05/2024 05:00 | 1779.906 | 1897.391 | 1662.422
19/05/2024 05:30 | 1824.932 | 1945.737 | 1704.127
19/05/2024 06:00 | 1871.771 | 1996.034 | 1747.508
19/05/2024 06:30 | 1901.266 | 2027.883 | 1774.649
19/05/2024 07:00 | 1873.648 | 1998.879 | 1748.418
19/05/2024 07:30 | 1760.217 | 1878.286 | 1642.147
19/05/2024 08:00 | 1636.746 | 1746.143 | 1526.567
19/05/2024 08:30 | 1502.577 | 1603.365 | 1401.071
19/05/2024 09:00 | 1374.457 | 1466.979 | 1281.277
19/05/2024 09:30 | 1272.972 | 1358.966 | 1186.369
19/05/2024 10:00 | 1210.636 | 1292.709 | 1127.984
19/05/2024 10:30 | 1170.498 | 1250.129 | 1090.307
19/05/2024 11:00 | 1151.117 | 1229.705 | 1071.979
19/05/2024 11:30 | 1155.744 | 1234.924 | 1076.012
19/05/2024 12:00 | 1176.39 | 1257.266 | 1094.953
19/05/2024 12:30 | 1232.267 | 1317.278 | 1146.667
19/05/2024 13:00 | 1317.45 | 1408.652 | 1225.618
19/05/2024 13:30 | 1431.769 | 1531.228 | 1331.626
19/05/2024 14:00 | 1587.882 | 1698.564 | 1476.441
19/05/2024 14:30 | 1752.06 | 1874.605 | 1628.678
19/05/2024 15:00 | 1921.136 | 2055.965 | 1785.389
19/05/2024 15:30 | 2096.898 | 2244.563 | 1948.23
19/05/2024 16:00 | 2260.853 | 2420.605 | 2100.021
19/05/2024 16:30 | 2402.552 | 2572.89 | 2231.067
19/05/2024 17:00 | 2505.314 | 2683.536 | 2325.895
19/05/2024 17:30 | 2530.371 | 2710.979 | 2348.553
19/05/2024 18:00 | 2464.125 | 2640.595 | 2286.479
19/05/2024 18:30 | 2390.766 | 2562.552 | 2217.837
19/05/2024 19:00 | 2325.411 | 2493.057 | 2156.654
19/05/2024 19:30 | 2262.825 | 2426.499 | 2099.15
19/05/2024 20:00 | 2197.453 | 2356.924 | 2037.982
19/05/2024 20:30 | 2133.562 | 2288.906 | 1978.219
19/05/2024 21:00 | 2067.356 | 2218.373 | 1916.339
19/05/2024 21:30 | 1999.241 | 2145.76 | 1852.722
19/05/2024 22:00 | 1932.441 | 2074.527 | 1790.356
19/05/2024 22:30 | 1880.988 | 2019.74 | 1742.237
19/05/2024 23:00 | 1851.602 | 1988.628 | 1714.576
19/05/2024 23:30 | 1833.496 | 1965.253 | 1701.739
20/05/2024 00:00 | 1821.351 | 1944.066 | 1698.637
20/05/2024 00:30 | 1806.984 | 1929.858 | 1684.11
20/05/2024 01:00 | 1796.518 | 1919.073 | 1673.963
20/05/2024 01:30 | 1785.932 | 1908.154 | 1663.709
20/05/2024 02:00 | 1781.972 | 1904.313 | 1659.631
20/05/2024 02:30 | 1781.283 | 1903.966 | 1658.6
20/05/2024 03:00 | 1786.313 | 1909.733 | 1662.893
20/05/2024 03:30 | 1803.164 | 1928.141 | 1678.186
20/05/2024 04:00 | 1841.993 | 1970.064 | 1713.921
20/05/2024 04:30 | 1909.922 | 2043.134 | 1776.71
20/05/2024 05:00 | 1995.439 | 2135.052 | 1855.826
20/05/2024 05:30 | 2107.458 | 2255.368 | 1959.547
20/05/2024 06:00 | 2254.653 | 2413.387 | 2095.919
20/05/2024 06:30 | 2366.53 | 2533.657 | 2199.403
20/05/2024 07:00 | 2397.482 | 2567.319 | 2227.645
20/05/2024 07:30 | 2309.858 | 2473.993 | 2145.724
20/05/2024 08:00 | 2214.526 | 2372.37 | 2056.682
20/05/2024 08:30 | 2150.177 | 2303.905 | 1996.45
20/05/2024 09:00 | 2050.865 | 2197.94 | 1903.79
20/05/2024 09:30 | 1917.97 | 2055.934 | 1780.006
20/05/2024 10:00 | 1842.194 | 1975.109 | 1709.278
20/05/2024 10:30 | 1854.696 | 1988.918 | 1720.473
20/05/2024 11:00 | 1847.177 | 1981.259 | 1713.095
20/05/2024 11:30 | 1835.125 | 1968.734 | 1701.517
20/05/2024 12:00 | 1822.966 | 1956.087 | 1689.845
20/05/2024 12:30 | 1813.26 | 1946.068 | 1680.451
20/05/2024 13:00 | 1852.239 | 1988.307 | 1716.17
20/05/2024 13:30 | 1934.218 | 2076.731 | 1791.705
20/05/2024 14:00 | 2036.179 | 2186.65 | 1885.708
20/05/2024 14:30 | 2165.045 | 2325.511 | 2004.578
20/05/2024 15:00 | 2317.797 | 2490.092 | 2145.503
20/05/2024 15:30 | 2468.444 | 2652.476 | 2284.412
20/05/2024 16:00 | 2591.044 | 2784.783 | 2397.306
20/05/2024 16:30 | 2697.885 | 2900.202 | 2495.568
20/05/2024 17:00 | 2783.967 | 2993.348 | 2574.587
20/05/2024 17:30 | 2784.414 | 2994.437 | 2574.392
20/05/2024 18:00 | 2699.205 | 2903.39 | 2495.02
20/05/2024 18:30 | 2610.164 | 2808.184 | 2412.144
20/05/2024 19:00 | 2524.638 | 2716.721 | 2332.555
20/05/2024 19:30 | 2444.558 | 2631.082 | 2258.034
20/05/2024 20:00 | 2361.954 | 2542.691 | 2181.216
20/05/2024 20:30 | 2276.074 | 2450.737 | 2101.411
20/05/2024 21:00 | 2191 | 2359.613 | 2022.386
20/05/2024 21:30 | 2107.948 | 2270.63 | 1945.265
20/05/2024 22:00 | 2028.469 | 2185.461 | 1871.477
20/05/2024 22:30 | 1964.399 | 2116.862 | 1811.937
20/05/2024 23:00 | 1917.188 | 2066.406 | 1767.971
20/05/2024 23:30 | 1878.629 | 2025.255 | 1732.003
21/05/2024 00:00 | 1844.267 | 1988.615 | 1699.92
21/05/2024 00:30 | 1818.241 | 1960.949 | 1675.534
21/05/2024 01:00 | 1803.857 | 1945.83 | 1661.885
21/05/2024 01:30 | 1789.3 | 1930.518 | 1648.082
21/05/2024 02:00 | 1781.772 | 1922.786 | 1640.759
21/05/2024 02:30 | 1780.069 | 1921.336 | 1638.802
21/05/2024 03:00 | 1782.56 | 1924.414 | 1640.705
21/05/2024 03:30 | 1796.424 | 1939.774 | 1653.073
21/05/2024 04:00 | 1830.76 | 1977.25 | 1684.27
21/05/2024 04:30 | 1893.691 | 2045.631 | 1741.752
21/05/2024 05:00 | 1985.414 | 2145.147 | 1825.682
21/05/2024 05:30 | 2110.652 | 2280.921 | 1940.382
21/05/2024 06:00 | 2250.12 | 2432.132 | 2068.107
21/05/2024 06:30 | 2348.052 | 2538.499 | 2157.605
21/05/2024 07:00 | 2367.106 | 2559.616 | 2174.597
21/05/2024 07:30 | 2258.86 | 2443.038 | 2074.682
21/05/2024 08:00 | 2106.562 | 2278.723 | 1934.402
21/05/2024 08:30 | 1963.934 | 2124.815 | 1803.053
21/05/2024 09:00 | 1817.224 | 1966.435 | 1668.013
21/05/2024 09:30 | 1666.026 | 1803.142 | 1528.911
21/05/2024 10:00 | 1573.949 | 1703.788 | 1444.11
21/05/2024 10:30 | 1554.801 | 1683.358 | 1426.243
21/05/2024 11:00 | 1535.717 | 1662.991 | 1408.443
21/05/2024 11:30 | 1536.841 | 1664.503 | 1409.18
21/05/2024 12:00 | 1552.737 | 1682.016 | 1423.457
21/05/2024 12:30 | 1582.093 | 1714.12 | 1450.066
21/05/2024 13:00 | 1652.73 | 1790.968 | 1514.491
21/05/2024 13:30 | 1767.996 | 1916.214 | 1619.777
21/05/2024 14:00 | 1922.331 | 2083.857 | 1760.805
21/05/2024 14:30 | 2096.436 | 2272.992 | 1919.879
21/05/2024 15:00 | 2263.637 | 2454.709 | 2072.565
21/05/2024 15:30 | 2368.954 | 2569.37 | 2168.539
21/05/2024 16:00 | 2466.389 | 2675.52 | 2257.257
21/05/2024 16:30 | 2586.668 | 2806.494 | 2366.842
21/05/2024 17:00 | 2677.733 | 2905.812 | 2449.655
21/05/2024 17:30 | 2682.129 | 2911.096 | 2453.163
21/05/2024 18:00 | 2604.07 | 2826.873 | 2381.268
21/05/2024 18:30 | 2527.891 | 2744.66 | 2311.122
21/05/2024 19:00 | 2460.261 | 2671.702 | 2248.82
21/05/2024 19:30 | 2386.496 | 2592.055 | 2180.937
21/05/2024 20:00 | 2308.425 | 2507.702 | 2109.148
21/05/2024 20:30 | 2228.756 | 2421.582 | 2035.929
21/05/2024 21:00 | 2147.38 | 2333.577 | 1961.182
21/05/2024 21:30 | 2066.324 | 2245.89 | 1886.759
21/05/2024 22:00 | 1987.475 | 2160.569 | 1814.381
21/05/2024 22:30 | 1924.797 | 2092.802 | 1756.793
21/05/2024 23:00 | 1883.213 | 2047.948 | 1718.477
21/05/2024 23:30 | 1855.114 | 2017.747 | 1692.48
22/05/2024 00:00 | 1831.719 | 1992.652 | 1670.785
22/05/2024 00:30 | 1811.01 | 1970.47 | 1651.549
22/05/2024 01:00 | 1797.972 | 1956.63 | 1639.314
22/05/2024 01:30 | 1784.463 | 1942.271 | 1626.656
22/05/2024 02:00 | 1777.526 | 1935.06 | 1619.991
22/05/2024 02:30 | 1775.838 | 1933.563 | 1618.112
22/05/2024 03:00 | 1780.102 | 1938.547 | 1621.656
22/05/2024 03:30 | 1794.808 | 1954.906 | 1634.71
22/05/2024 04:00 | 1829.712 | 1993.274 | 1666.149
22/05/2024 04:30 | 1895.81 | 2065.645 | 1725.975
22/05/2024 05:00 | 1985.182 | 2163.403 | 1806.96
22/05/2024 05:30 | 2102.104 | 2291.225 | 1912.983
22/05/2024 06:00 | 2245.452 | 2447.901 | 2043.004
22/05/2024 06:30 | 2348.654 | 2560.857 | 2136.451
22/05/2024 07:00 | 2365.835 | 2580.043 | 2151.626
22/05/2024 07:30 | 2259.828 | 2464.872 | 2054.785
22/05/2024 08:00 | 2130.302 | 2324.001 | 1936.602
22/05/2024 08:30 | 2015.252 | 2198.877 | 1831.627
22/05/2024 09:00 | 1880.998 | 2052.75 | 1709.245
22/05/2024 09:30 | 1742.722 | 1902.182 | 1583.261
22/05/2024 10:00 | 1638.396 | 1788.624 | 1488.167
22/05/2024 10:30 | 1565.515 | 1709.361 | 1421.669
22/05/2024 11:00 | 1532.617 | 1673.734 | 1391.5
22/05/2024 11:30 | 1555.317 | 1698.822 | 1411.812
22/05/2024 12:00 | 1567.483 | 1712.411 | 1422.555
22/05/2024 12:30 | 1573.265 | 1719.029 | 1427.501
22/05/2024 13:00 | 1627.326 | 1778.411 | 1476.241
22/05/2024 13:30 | 1733.952 | 1895.269 | 1572.635
22/05/2024 14:00 | 1859.809 | 2033.191 | 1686.427
22/05/2024 14:30 | 2001.319 | 2188.277 | 1814.361
22/05/2024 15:00 | 2160.75 | 2363.016 | 1958.484
22/05/2024 15:30 | 2310.972 | 2527.743 | 2094.201
22/05/2024 16:00 | 2444.825 | 2674.62 | 2215.03
22/05/2024 16:30 | 2568.319 | 2810.214 | 2326.424
22/05/2024 17:00 | 2670.041 | 2922.028 | 2418.053
22/05/2024 17:30 | 2681.766 | 2935.374 | 2428.158
22/05/2024 18:00 | 2609.509 | 2856.783 | 2362.234
22/05/2024 18:30 | 2535.614 | 2776.372 | 2294.855
22/05/2024 19:00 | 2460.943 | 2695.083 | 2226.803
22/05/2024 19:30 | 2390.913 | 2618.849 | 2162.978
22/05/2024 20:00 | 2314.406 | 2535.491 | 2093.321
22/05/2024 20:30 | 2234.817 | 2448.728 | 2020.906
22/05/2024 21:00 | 2152.575 | 2359.026 | 1946.123
22/05/2024 21:30 | 2070.154 | 2269.098 | 1871.211
22/05/2024 22:00 | 1992.416 | 2184.27 | 1800.561
22/05/2024 22:30 | 1928.879 | 2114.985 | 1742.773
22/05/2024 23:00 | 1882.407 | 2064.39 | 1700.424
22/05/2024 23:30 | 1844.229 | 2022.874 | 1665.583
23/05/2024 00:00 | 1812.26 | 1988.156 | 1636.363
23/05/2024 00:30 | 1786.963 | 1960.747 | 1613.18
23/05/2024 01:00 | 1771.467 | 1944.083 | 1598.851
23/05/2024 01:30 | 1759.991 | 1931.826 | 1588.156
23/05/2024 02:00 | 1754.874 | 1926.546 | 1583.202
23/05/2024 02:30 | 1755.487 | 1927.555 | 1583.419
23/05/2024 03:00 | 1761.18 | 1934.144 | 1588.216
23/05/2024 03:30 | 1777.738 | 1952.668 | 1602.807
23/05/2024 04:00 | 1815.003 | 1993.949 | 1636.058
23/05/2024 04:30 | 1880.487 | 2066.249 | 1694.725
23/05/2024 05:00 | 1978.359 | 2174.169 | 1782.55
23/05/2024 05:30 | 2110.473 | 2319.763 | 1901.183
23/05/2024 06:00 | 2249.567 | 2473.082 | 2026.052
23/05/2024 06:30 | 2345.392 | 2578.877 | 2111.906
23/05/2024 07:00 | 2340.33 | 2573.76 | 2106.9
23/05/2024 07:30 | 2175.411 | 2392.92 | 1957.902
23/05/2024 08:00 | 1982.128 | 2180.993 | 1783.263
23/05/2024 08:30 | 1812.581 | 1995.044 | 1630.119
23/05/2024 09:00 | 1648.314 | 1814.794 | 1481.835
23/05/2024 09:30 | 1512.374 | 1665.63 | 1359.117
23/05/2024 10:00 | 1411.242 | 1554.723 | 1267.76
23/05/2024 10:30 | 1344.083 | 1481.187 | 1206.979
23/05/2024 11:00 | 1301.563 | 1434.767 | 1168.36
23/05/2024 11:30 | 1270.621 | 1401.083 | 1140.158
23/05/2024 12:00 | 1276.503 | 1407.997 | 1145.008
23/05/2024 12:30 | 1337.205 | 1475.401 | 1199.009
23/05/2024 13:00 | 1405.613 | 1551.35 | 1259.876
23/05/2024 13:30 | 1509.479 | 1666.491 | 1352.467
23/05/2024 14:00 | 1651.05 | 1823.342 | 1478.759
23/05/2024 14:30 | 1807.587 | 1996.82 | 1618.355
23/05/2024 15:00 | 1991.309 | 2200.443 | 1782.176
23/05/2024 15:30 | 2186.36 | 2416.712 | 1956.009
23/05/2024 16:00 | 2358.045 | 2607.276 | 2108.814
23/05/2024 16:30 | 2496.499 | 2761.201 | 2231.798
23/05/2024 17:00 | 2619.509 | 2898.132 | 2340.886
23/05/2024 17:30 | 2663.42 | 2947.607 | 2379.234
23/05/2024 18:00 | 2609.755 | 2889.09 | 2330.42
23/05/2024 18:30 | 2543.751 | 2816.875 | 2270.628
23/05/2024 19:00 | 2473.908 | 2740.361 | 2207.454
23/05/2024 19:30 | 2407.514 | 2667.624 | 2147.404
23/05/2024 20:00 | 2329.607 | 2582.081 | 2077.133
23/05/2024 20:30 | 2247.059 | 2491.34 | 2002.778
23/05/2024 21:00 | 2160.025 | 2395.569 | 1924.481
23/05/2024 21:30 | 2079.103 | 2306.52 | 1851.686
23/05/2024 22:00 | 2001.586 | 2221.195 | 1781.977
23/05/2024 22:30 | 1936.619 | 2149.749 | 1723.489
23/05/2024 23:00 | 1891.152 | 2099.912 | 1682.391
23/05/2024 23:30 | 1859.104 | 2064.95 | 1653.258
24/05/2024 00:00 | 1835.262 | 2039.084 | 1631.44
24/05/2024 00:30 | 1814.799 | 2016.957 | 1612.642
24/05/2024 01:00 | 1800.955 | 2002.174 | 1599.736
24/05/2024 01:30 | 1788.982 | 1989.463 | 1588.5
24/05/2024 02:00 | 1783.668 | 1984.152 | 1583.184
24/05/2024 02:30 | 1786.124 | 1987.483 | 1584.765
24/05/2024 03:00 | 1791.777 | 1994.374 | 1589.18
24/05/2024 03:30 | 1807.785 | 2012.798 | 1602.772
24/05/2024 04:00 | 1845.029 | 2054.884 | 1635.173
24/05/2024 04:30 | 1911.614 | 2129.684 | 1693.544
24/05/2024 05:00 | 1998.71 | 2227.385 | 1770.035
24/05/2024 05:30 | 2113.914 | 2356.479 | 1871.349
24/05/2024 06:00 | 2265.933 | 2526.702 | 2005.165
24/05/2024 06:30 | 2384.333 | 2659.527 | 2109.139
24/05/2024 07:00 | 2433.502 | 2715.187 | 2151.818
24/05/2024 07:30 | 2391.049 | 2668.621 | 2113.477