## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
21/05/2024 08:00 | 2217.499 | 2248.825 | 2186.172
21/05/2024 08:30 | 2085.348 | 2121.007 | 2049.69 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
21/05/2024 09:00 | 1947.26 | 1986.346 | 1908.174 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
21/05/2024 09:30 | 1813.829 | 1855.629 | 1772.03 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
21/05/2024 10:00 | 1721.353 | 1766.139 | 1676.568 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
21/05/2024 10:30 | 1664.977 | 1712.055 | 1617.899 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
21/05/2024 11:00 | 1652.846 | 1700.971 | 1604.722 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
21/05/2024 11:30 | 1672.874 | 1723.193 | 1622.555 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
21/05/2024 12:00 | 1705.254 | 1758.19 | 1652.319 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
21/05/2024 12:30 | 1751.012 | 1807.054 | 1694.97 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
21/05/2024 13:00 | 1808.541 | 1868.166 | 1748.916 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
21/05/2024 13:30 | 1886.865 | 1950.889 | 1822.84
21/05/2024 14:00 | 1999.515 | 2069.287 | 1929.742 | Summary view - for each schedule horizon (dispatch, week-ahead)
21/05/2024 14:30 | 2119.561 | 2195.564 | 2043.558
21/05/2024 15:00 | 2234.482 | 2316.758 | 2152.206 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
21/05/2024 15:30 | 2337.219 | 2425.529 | 2248.745 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
21/05/2024 16:00 | 2448.745 | 2543.939 | 2354.151 | Scenario | Violations
21/05/2024 16:30 | 2576.121 | 2678.563 | 2473.954 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
21/05/2024 17:00 | 2678.292 | 2788.037 | 2570.103 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
21/05/2024 17:30 | 2698.823 | 2812.343 | 2587.512 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
21/05/2024 18:00 | 2637.975 | 2751.601 | 2526.745 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
21/05/2024 18:30 | 2566.154 | 2678.905 | 2456.249 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0
21/05/2024 19:00 | 2494.742 | 2605.079 | 2386.852
21/05/2024 19:30 | 2425.753 | 2533.829 | 2319.751 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
21/05/2024 20:00 | 2349.371 | 2454.866 | 2245.697
21/05/2024 20:30 | 2268.407 | 2371.162 | 2167.425 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
21/05/2024 21:00 | 2181.907 | 2281.501 | 2083.833 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
21/05/2024 21:30 | 2094.365 | 2190.71 | 1999.338 | [7 empty] | 21/05/2024 11:30 | [11 empty] | 21/05/2024 17:30 | [11 empty] | 21/05/2024 11:30
21/05/2024 22:00 | 2011.426 | 2104.739 | 1919.372 | [31 empty] | 21/05/2024 12:00
21/05/2024 22:30 | 1942.921 | 2033.744 | 1853.175 | [31 empty] | 22/05/2024 09:30
21/05/2024 23:00 | 1890.537 | 1979.104 | 1801.971 | [31 empty] | 22/05/2024 10:00
21/05/2024 23:30 | 1848.558 | 1935.881 | 1761.235 | [31 empty] | 22/05/2024 10:30
22/05/2024 00:00 | 1811.599 | 1897.885 | 1725.313 | [31 empty] | 22/05/2024 11:00
22/05/2024 00:30 | 1784.263 | 1869.945 | 1698.58 | [31 empty] | 22/05/2024 11:30
22/05/2024 01:00 | 1767.677 | 1853.255 | 1682.099 | [31 empty] | 22/05/2024 12:00
22/05/2024 01:30 | 1756.839 | 1842.58 | 1671.098 | [31 empty] | 22/05/2024 12:30
22/05/2024 02:00 | 1751.529 | 1837.696 | 1665.362 | [31 empty] | 22/05/2024 13:00
22/05/2024 02:30 | 1752.032 | 1838.91 | 1665.155 | [31 empty] | 22/05/2024 13:30
22/05/2024 03:00 | 1758.108 | 1845.975 | 1670.241 | [31 empty] | 27/05/2024 10:00
22/05/2024 03:30 | 1774.683 | 1864.073 | 1685.293 | [31 empty] | 27/05/2024 10:30
22/05/2024 04:00 | 1812.381 | 1904.379 | 1720.383 | [31 empty] | 27/05/2024 11:00
22/05/2024 04:30 | 1881.052 | 1977.273 | 1784.832
22/05/2024 05:00 | 1983.466 | 2085.701 | 1881.23
22/05/2024 05:30 | 2121.742 | 2231.936 | 2011.549
22/05/2024 06:00 | 2270.628 | 2389.442 | 2151.814
22/05/2024 06:30 | 2375.594 | 2500.639 | 2250.549
22/05/2024 07:00 | 2385.722 | 2511.661 | 2259.783
22/05/2024 07:30 | 2255.645 | 2375.09 | 2136.199
22/05/2024 08:00 | 2097.04 | 2208.433 | 1985.647
22/05/2024 08:30 | 1963.345 | 2067.96 | 1858.73
22/05/2024 09:00 | 1825.406 | 1922.972 | 1727.839
22/05/2024 09:30 | 1695.179 | 1786.065 | 1604.293
22/05/2024 10:00 | 1595.015 | 1680.794 | 1509.236
22/05/2024 10:30 | 1517.865 | 1599.745 | 1435.985
22/05/2024 11:00 | 1476.49 | 1556.382 | 1396.598
22/05/2024 11:30 | 1467.732 | 1547.393 | 1388.071
22/05/2024 12:00 | 1464.387 | 1544.108 | 1384.666
22/05/2024 12:30 | 1483.022 | 1564.003 | 1402.042
22/05/2024 13:00 | 1531.221 | 1615.086 | 1447.356
22/05/2024 13:30 | 1635.863 | 1725.729 | 1545.997
22/05/2024 14:00 | 1773.092 | 1870.789 | 1675.394
22/05/2024 14:30 | 1923.347 | 2029.642 | 1817.053
22/05/2024 15:00 | 2085.788 | 2201.404 | 1970.172
22/05/2024 15:30 | 2234.649 | 2358.885 | 2110.412
22/05/2024 16:00 | 2376.572 | 2509.091 | 2244.053
22/05/2024 16:30 | 2517.192 | 2657.968 | 2376.416
22/05/2024 17:00 | 2634.129 | 2781.88 | 2486.379
22/05/2024 17:30 | 2663.028 | 2812.839 | 2513.217
22/05/2024 18:00 | 2605.556 | 2752.564 | 2458.547
22/05/2024 18:30 | 2540.188 | 2683.928 | 2396.449
22/05/2024 19:00 | 2471.189 | 2611.433 | 2330.946
22/05/2024 19:30 | 2405.167 | 2542.061 | 2268.273
22/05/2024 20:00 | 2329.571 | 2462.546 | 2196.595
22/05/2024 20:30 | 2249.827 | 2378.622 | 2121.032
22/05/2024 21:00 | 2166.169 | 2290.532 | 2041.806
22/05/2024 21:30 | 2081.227 | 2201.057 | 1961.396
22/05/2024 22:00 | 2001.635 | 2117.213 | 1886.057
22/05/2024 22:30 | 1935.265 | 2047.331 | 1823.2
22/05/2024 23:00 | 1883.489 | 1992.867 | 1774.11
22/05/2024 23:30 | 1838.768 | 1945.853 | 1731.683
23/05/2024 00:00 | 1800.757 | 1905.925 | 1695.588
23/05/2024 00:30 | 1773.417 | 1877.282 | 1669.552
23/05/2024 01:00 | 1757.033 | 1860.228 | 1653.838
23/05/2024 01:30 | 1746.69 | 1849.566 | 1643.814
23/05/2024 02:00 | 1743.082 | 1846.033 | 1640.131
23/05/2024 02:30 | 1745.344 | 1848.716 | 1641.97
23/05/2024 03:00 | 1752.453 | 1856.536 | 1648.369
23/05/2024 03:30 | 1770.008 | 1875.426 | 1664.589
23/05/2024 04:00 | 1808.422 | 1916.427 | 1700.417
23/05/2024 04:30 | 1875.571 | 1987.896 | 1763.247
23/05/2024 05:00 | 1975.439 | 2094.071 | 1856.807
23/05/2024 05:30 | 2108.641 | 2235.62 | 1981.662
23/05/2024 06:00 | 2247.861 | 2383.595 | 2112.127
23/05/2024 06:30 | 2342.082 | 2483.937 | 2200.228
23/05/2024 07:00 | 2338.718 | 2479.938 | 2196.549
23/05/2024 07:30 | 2179.285 | 2311.279 | 2046.331
23/05/2024 08:00 | 1988.726 | 2109.62 | 1866.963
23/05/2024 08:30 | 1826.515 | 1937.947 | 1714.285
23/05/2024 09:00 | 1665.803 | 1767.794 | 1563.812
23/05/2024 09:30 | 1532.069 | 1626.207 | 1437.932
23/05/2024 10:00 | 1431.407 | 1519.673 | 1343.142
23/05/2024 10:30 | 1365.337 | 1449.826 | 1280.847
23/05/2024 11:00 | 1324.633 | 1406.894 | 1242.373
23/05/2024 11:30 | 1292.307 | 1372.842 | 1211.772
23/05/2024 12:00 | 1297.042 | 1378.155 | 1215.928
23/05/2024 12:30 | 1360.932 | 1446.339 | 1275.526
23/05/2024 13:00 | 1426.669 | 1516.513 | 1336.826
23/05/2024 13:30 | 1525.482 | 1621.881 | 1429.082
23/05/2024 14:00 | 1659.409 | 1764.634 | 1554.183
23/05/2024 14:30 | 1810.407 | 1925.602 | 1695.211
23/05/2024 15:00 | 1986.268 | 2113.087 | 1859.448
23/05/2024 15:30 | 2176.141 | 2315.559 | 2036.722
23/05/2024 16:00 | 2343.576 | 2494.233 | 2192.919
23/05/2024 16:30 | 2481.154 | 2641.197 | 2321.11
23/05/2024 17:00 | 2600.189 | 2768.479 | 2431.899
23/05/2024 17:30 | 2641.65 | 2813.201 | 2470.1
23/05/2024 18:00 | 2589.64 | 2758.378 | 2420.901
23/05/2024 18:30 | 2525.651 | 2690.772 | 2360.53
23/05/2024 19:00 | 2457.91 | 2619.139 | 2296.68
23/05/2024 19:30 | 2394.082 | 2551.647 | 2236.516
23/05/2024 20:00 | 2318.685 | 2471.795 | 2165.575
23/05/2024 20:30 | 2237.698 | 2385.949 | 2089.447
23/05/2024 21:00 | 2151.883 | 2294.919 | 2008.847
23/05/2024 21:30 | 2072.582 | 2210.8 | 1934.365
23/05/2024 22:00 | 1997.571 | 2131.223 | 1863.92
23/05/2024 22:30 | 1932.436 | 2062.151 | 1802.72
23/05/2024 23:00 | 1882.719 | 2009.509 | 1755.929
23/05/2024 23:30 | 1844.044 | 1968.632 | 1719.456
24/05/2024 00:00 | 1812.68 | 1935.545 | 1689.815
24/05/2024 00:30 | 1788.225 | 1909.823 | 1666.627
24/05/2024 01:00 | 1772.448 | 1893.36 | 1651.535
24/05/2024 01:30 | 1761.938 | 1882.519 | 1641.358
24/05/2024 02:00 | 1757.442 | 1878.099 | 1636.785
24/05/2024 02:30 | 1760.329 | 1881.568 | 1639.089
24/05/2024 03:00 | 1765.98 | 1887.995 | 1643.966
24/05/2024 03:30 | 1782.328 | 1905.862 | 1658.794
24/05/2024 04:00 | 1820.355 | 1946.923 | 1693.788
24/05/2024 04:30 | 1886.842 | 2018.444 | 1755.24
24/05/2024 05:00 | 1977.427 | 2115.779 | 1839.075
24/05/2024 05:30 | 2095.411 | 2242.475 | 1948.346
24/05/2024 06:00 | 2231.937 | 2389.072 | 2074.803
24/05/2024 06:30 | 2332.571 | 2497.3 | 2167.842
24/05/2024 07:00 | 2358.546 | 2525.625 | 2191.467
24/05/2024 07:30 | 2259.79 | 2420.366 | 2099.213
24/05/2024 08:00 | 2115.361 | 2266.137 | 1964.585
24/05/2024 08:30 | 1964.605 | 2105.065 | 1824.145
24/05/2024 09:00 | 1816.656 | 1946.935 | 1686.376
24/05/2024 09:30 | 1686.408 | 1807.715 | 1565.101
24/05/2024 10:00 | 1602.584 | 1718.211 | 1486.956
24/05/2024 10:30 | 1583.488 | 1698.084 | 1468.892
24/05/2024 11:00 | 1568.186 | 1682.017 | 1454.355
24/05/2024 11:30 | 1528.852 | 1640.161 | 1417.542
24/05/2024 12:00 | 1508.495 | 1618.652 | 1398.338
24/05/2024 12:30 | 1532.369 | 1644.604 | 1420.134
24/05/2024 13:00 | 1579.907 | 1695.969 | 1463.844
24/05/2024 13:30 | 1658.44 | 1780.634 | 1536.246
24/05/2024 14:00 | 1776.095 | 1907.346 | 1644.844
24/05/2024 14:30 | 1919.76 | 2062.046 | 1777.473
24/05/2024 15:00 | 2080.296 | 2234.936 | 1925.656
24/05/2024 15:30 | 2244.218 | 2411.533 | 2076.902
24/05/2024 16:00 | 2387.921 | 2566.472 | 2209.371
24/05/2024 16:30 | 2512.665 | 2701.092 | 2324.238
24/05/2024 17:00 | 2606.616 | 2802.658 | 2410.574
24/05/2024 17:30 | 2618.544 | 2816.056 | 2421.033
24/05/2024 18:00 | 2555.294 | 2748.593 | 2361.995
24/05/2024 18:30 | 2485.857 | 2674.446 | 2297.268
24/05/2024 19:00 | 2417.266 | 2601.179 | 2233.352
24/05/2024 19:30 | 2359.802 | 2539.859 | 2179.745
24/05/2024 20:00 | 2295.901 | 2471.584 | 2120.218
24/05/2024 20:30 | 2231.297 | 2402.524 | 2060.07
24/05/2024 21:00 | 2163.158 | 2329.629 | 1996.687
24/05/2024 21:30 | 2095.325 | 2257.033 | 1933.616
24/05/2024 22:00 | 2024.615 | 2181.309 | 1867.921
24/05/2024 22:30 | 1964.418 | 2116.882 | 1811.954
24/05/2024 23:00 | 1918.671 | 2068.004 | 1769.339
24/05/2024 23:30 | 1885.973 | 2038.322 | 1733.625
25/05/2024 00:00 | 1858.479 | 2019.075 | 1697.883
25/05/2024 00:30 | 1833.797 | 1991.846 | 1675.749
25/05/2024 01:00 | 1817.646 | 1974.737 | 1660.556
25/05/2024 01:30 | 1800.589 | 1956.635 | 1644.542
25/05/2024 02:00 | 1790.292 | 1945.875 | 1634.71
25/05/2024 02:30 | 1785.251 | 1940.822 | 1629.681
25/05/2024 03:00 | 1785.564 | 1941.588 | 1629.54
25/05/2024 03:30 | 1791.205 | 1948.15 | 1634.26
25/05/2024 04:00 | 1802.082 | 1960.41 | 1643.753
25/05/2024 04:30 | 1825.949 | 1986.811 | 1665.088
25/05/2024 05:00 | 1855.707 | 2019.634 | 1691.78
25/05/2024 05:30 | 1899.71 | 2067.977 | 1731.443
25/05/2024 06:00 | 1974.891 | 2150.289 | 1799.492
25/05/2024 06:30 | 2040.682 | 2222.41 | 1858.953
25/05/2024 07:00 | 2082.47 | 2268.417 | 1896.522
25/05/2024 07:30 | 2065.08 | 2249.831 | 1880.33
25/05/2024 08:00 | 2049.882 | 2233.354 | 1866.41
25/05/2024 08:30 | 2053.916 | 2237.854 | 1869.979
25/05/2024 09:00 | 1985.775 | 2163.711 | 1807.838
25/05/2024 09:30 | 1836.728 | 2001.402 | 1672.053
25/05/2024 10:00 | 1725.711 | 1880.521 | 1570.902
25/05/2024 10:30 | 1727.176 | 1882.205 | 1572.148
25/05/2024 11:00 | 1659.043 | 1808.04 | 1510.045
25/05/2024 11:30 | 1451.644 | 1582.09 | 1321.199
25/05/2024 12:00 | 1370.484 | 1493.706 | 1247.262
25/05/2024 12:30 | 1431.414 | 1560.187 | 1302.64
25/05/2024 13:00 | 1485.415 | 1619.122 | 1351.707
25/05/2024 13:30 | 1570.944 | 1712.43 | 1429.458
25/05/2024 14:00 | 1688.886 | 1841.08 | 1536.692
25/05/2024 14:30 | 1812.321 | 1975.731 | 1648.911
25/05/2024 15:00 | 1957.863 | 2134.496 | 1781.23
25/05/2024 15:30 | 2126.205 | 2318.133 | 1934.276
25/05/2024 16:00 | 2298.519 | 2506.12 | 2090.919
25/05/2024 16:30 | 2441.818 | 2662.486 | 2221.151
25/05/2024 17:00 | 2541.541 | 2771.35 | 2311.731
25/05/2024 17:30 | 2563.688 | 2795.63 | 2331.745
25/05/2024 18:00 | 2497.921 | 2724.041 | 2271.802
25/05/2024 18:30 | 2426.452 | 2646.226 | 2206.678
25/05/2024 19:00 | 2358.223 | 2571.938 | 2144.509
25/05/2024 19:30 | 2304.058 | 2512.981 | 2095.135
25/05/2024 20:00 | 2249.174 | 2453.235 | 2045.113
25/05/2024 20:30 | 2199.792 | 2399.485 | 2000.1
25/05/2024 21:00 | 2145.45 | 2340.32 | 1950.581
25/05/2024 21:30 | 2084.875 | 2274.348 | 1895.401
25/05/2024 22:00 | 2021.374 | 2205.179 | 1837.568
25/05/2024 22:30 | 1959.644 | 2137.936 | 1781.351
25/05/2024 23:00 | 1907.021 | 2080.623 | 1733.419
25/05/2024 23:30 | 1861.835 | 2031.418 | 1692.252
26/05/2024 00:00 | 1820.297 | 1986.19 | 1654.405
26/05/2024 00:30 | 1788.542 | 1951.632 | 1625.452
26/05/2024 01:00 | 1767.906 | 1929.204 | 1606.608
26/05/2024 01:30 | 1751.475 | 1911.364 | 1591.587
26/05/2024 02:00 | 1742.429 | 1901.58 | 1583.277
26/05/2024 02:30 | 1736.554 | 1895.257 | 1577.85
26/05/2024 03:00 | 1733.529 | 1892.044 | 1575.014
26/05/2024 03:30 | 1738.018 | 1897.032 | 1579.003
26/05/2024 04:00 | 1746.345 | 1906.211 | 1586.48
26/05/2024 04:30 | 1759.938 | 1921.137 | 1598.739
26/05/2024 05:00 | 1788.713 | 1952.64 | 1624.787
26/05/2024 05:30 | 1831.956 | 1999.939 | 1663.974
26/05/2024 06:00 | 1879.519 | 2051.959 | 1707.08
26/05/2024 06:30 | 1921.939 | 2098.368 | 1745.509
26/05/2024 07:00 | 1925.216 | 2102.044 | 1748.387
26/05/2024 07:30 | 1845.162 | 2014.732 | 1675.593
26/05/2024 08:00 | 1739.243 | 1899.168 | 1579.319
26/05/2024 08:30 | 1650.906 | 1802.792 | 1499.02
26/05/2024 09:00 | 1565.426 | 1709.528 | 1421.325
26/05/2024 09:30 | 1480.918 | 1617.316 | 1344.52
26/05/2024 10:00 | 1418.875 | 1549.631 | 1288.12
26/05/2024 10:30 | 1373.453 | 1500.093 | 1246.813
26/05/2024 11:00 | 1330.608 | 1453.365 | 1207.851
26/05/2024 11:30 | 1286.426 | 1405.172 | 1167.679
26/05/2024 12:00 | 1268.84 | 1386.028 | 1151.652
26/05/2024 12:30 | 1309.162 | 1430.141 | 1188.183
26/05/2024 13:00 | 1371.519 | 1498.33 | 1244.708
26/05/2024 13:30 | 1473.656 | 1609.986 | 1337.326
26/05/2024 14:00 | 1630.449 | 1781.367 | 1479.531
26/05/2024 14:30 | 1787.142 | 1952.656 | 1621.629
26/05/2024 15:00 | 1932.689 | 2111.78 | 1753.597
26/05/2024 15:30 | 2077.072 | 2269.648 | 1884.495
26/05/2024 16:00 | 2239.192 | 2446.913 | 2031.47
26/05/2024 16:30 | 2388.858 | 2610.585 | 2167.131
26/05/2024 17:00 | 2499.354 | 2731.465 | 2267.244
26/05/2024 17:30 | 2532.194 | 2767.484 | 2296.905
26/05/2024 18:00 | 2470.337 | 2700.005 | 2240.669
26/05/2024 18:30 | 2406.176 | 2630.001 | 2182.351
26/05/2024 19:00 | 2347.525 | 2566.014 | 2129.036
26/05/2024 19:30 | 2288.528 | 2501.643 | 2075.413
26/05/2024 20:00 | 2223.522 | 2430.697 | 2016.347
26/05/2024 20:30 | 2159.75 | 2361.093 | 1958.407
26/05/2024 21:00 | 2090.97 | 2286.008 | 1895.933
26/05/2024 21:30 | 2019.415 | 2207.882 | 1830.949
26/05/2024 22:00 | 1949.476 | 2131.514 | 1767.438
26/05/2024 22:30 | 1893.643 | 2070.564 | 1716.722
26/05/2024 23:00 | 1856.927 | 2030.513 | 1683.341
26/05/2024 23:30 | 1830.842 | 2004.31 | 1657.374
27/05/2024 00:00 | 1812.276 | 1988.535 | 1636.017
27/05/2024 00:30 | 1794.594 | 1969.12 | 1620.069
27/05/2024 01:00 | 1781.626 | 1955.232 | 1608.02
27/05/2024 01:30 | 1772.013 | 1945.022 | 1599.004
27/05/2024 02:00 | 1769.016 | 1942.071 | 1595.96
27/05/2024 02:30 | 1770.879 | 1944.456 | 1597.302
27/05/2024 03:00 | 1777.111 | 1951.64 | 1602.583
27/05/2024 03:30 | 1795.424 | 1972.095 | 1618.753
27/05/2024 04:00 | 1836.189 | 2017.224 | 1655.155
27/05/2024 04:30 | 1906.69 | 2095.041 | 1718.34
27/05/2024 05:00 | 1996.66 | 2194.281 | 1799.039
27/05/2024 05:30 | 2115.095 | 2324.844 | 1905.347
27/05/2024 06:00 | 2269.799 | 2495.324 | 2044.274
27/05/2024 06:30 | 2399.426 | 2638.29 | 2160.561
27/05/2024 07:00 | 2454.917 | 2699.776 | 2210.057
27/05/2024 07:30 | 2408.185 | 2648.968 | 2167.402
27/05/2024 08:00 | 2353.322 | 2589.428 | 2117.215
27/05/2024 08:30 | 2267.872 | 2496.166 | 2039.578
27/05/2024 09:00 | 2169.612 | 2388.742 | 1950.481
27/05/2024 09:30 | 2116.027 | 2330.454 | 1901.599
27/05/2024 10:00 | 2048.419 | 2256.683 | 1840.156
27/05/2024 10:30 | 1973.352 | 2174.645 | 1772.059
27/05/2024 11:00 | 1901.935 | 2096.581 | 1707.289
27/05/2024 11:30 | 1811.892 | 1997.931 | 1625.854
27/05/2024 12:00 | 1749.737 | 1929.98 | 1569.494
27/05/2024 12:30 | 1750.094 | 1930.96 | 1569.227
27/05/2024 13:00 | 1767.135 | 1950.355 | 1583.915
27/05/2024 13:30 | 1797.34 | 1984.295 | 1610.386
27/05/2024 14:00 | 1868.171 | 2063.12 | 1673.222
27/05/2024 14:30 | 1988.524 | 2196.699 | 1780.35
27/05/2024 15:00 | 2133.897 | 2358.006 | 1909.788
27/05/2024 15:30 | 2307.866 | 2551.02 | 2064.713
27/05/2024 16:00 | 2469.592 | 2730.613 | 2208.572
27/05/2024 16:30 | 2610.334 | 2887.106 | 2333.563
27/05/2024 17:00 | 2732.219 | 3022.83 | 2441.608
27/05/2024 17:30 | 2766.467 | 3061.648 | 2471.286
27/05/2024 18:00 | 2705.505 | 2995.089 | 2415.921
27/05/2024 18:30 | 2627.331 | 2909.429 | 2345.234
27/05/2024 19:00 | 2542.374 | 2816.202 | 2268.546
27/05/2024 19:30 | 2471.106 | 2738.086 | 2204.125
27/05/2024 20:00 | 2390.601 | 2649.686 | 2131.517
27/05/2024 20:30 | 2306.736 | 2557.505 | 2055.968
27/05/2024 21:00 | 2219.247 | 2461.249 | 1977.245
27/05/2024 21:30 | 2130.972 | 2364.063 | 1897.882
27/05/2024 22:00 | 2046.049 | 2270.536 | 1821.561
27/05/2024 22:30 | 1975.622 | 2193.044 | 1758.199
27/05/2024 23:00 | 1920.715 | 2132.739 | 1708.691
27/05/2024 23:30 | 1874.944 | 2082.544 | 1667.344
28/05/2024 00:00 | 1836.209 | 2040.136 | 1632.283
28/05/2024 00:30 | 1809.215 | 2010.751 | 1607.68
28/05/2024 01:00 | 1794.455 | 1994.948 | 1593.962
28/05/2024 01:30 | 1782.114 | 1981.826 | 1582.402
28/05/2024 02:00 | 1776.058 | 1975.687 | 1576.429
28/05/2024 02:30 | 1776.798 | 1977.105 | 1576.49
28/05/2024 03:00 | 1781.519 | 1982.956 | 1580.082
28/05/2024 03:30 | 1797.551 | 2001.403 | 1593.698
28/05/2024 04:00 | 1834.709 | 2043.391 | 1626.028
28/05/2024 04:30 | 1902.332 | 2119.343 | 1685.321
28/05/2024 05:00 | 2002.62 | 2231.743 | 1773.497
28/05/2024 05:30 | 2143.136 | 2389.054 | 1897.218
28/05/2024 06:00 | 2305.424 | 2570.737 | 2040.111
28/05/2024 06:30 | 2436.849 | 2718.104 | 2155.594
28/05/2024 07:00 | 2494.895 | 2783.686 | 2206.104
28/05/2024 07:30 | 2443.89 | 2727.596 | 2160.184