## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
22/05/2024 08:00 | 2237.582 | 2269.192 | 2205.972
22/05/2024 08:30 | 2107.423 | 2143.459 | 2071.387 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
22/05/2024 09:00 | 1970.144 | 2009.689 | 1930.599 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
22/05/2024 09:30 | 1818.857 | 1860.773 | 1776.941 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
22/05/2024 10:00 | 1688.852 | 1732.792 | 1644.912 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
22/05/2024 10:30 | 1576.16 | 1620.727 | 1531.594 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
22/05/2024 11:00 | 1506.252 | 1550.108 | 1462.396 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
22/05/2024 11:30 | 1481.696 | 1526.265 | 1437.128 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
22/05/2024 12:00 | 1475.839 | 1521.653 | 1430.025 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
22/05/2024 12:30 | 1526.611 | 1575.471 | 1477.751 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
22/05/2024 13:00 | 1598.078 | 1650.765 | 1545.392 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
22/05/2024 13:30 | 1699.57 | 1757.239 | 1641.9
22/05/2024 14:00 | 1827.044 | 1890.798 | 1767.898 | Summary view - for each schedule horizon (dispatch, week-ahead)
22/05/2024 14:30 | 1957.766 | 2032.418 | 1891.707
22/05/2024 15:00 | 2101.149 | 2182.521 | 2027.504 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
22/05/2024 15:30 | 2246.347 | 2335.62 | 2165.547 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
22/05/2024 16:00 | 2385.511 | 2482.269 | 2297.082 | Scenario | Violations
22/05/2024 16:30 | 2526.467 | 2630.283 | 2429.363 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
22/05/2024 17:00 | 2643.28 | 2754.001 | 2538.728 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
22/05/2024 17:30 | 2674.414 | 2788.2 | 2565.299 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0
22/05/2024 18:00 | 2622.17 | 2735.601 | 2512.053 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0
22/05/2024 18:30 | 2558.737 | 2671.341 | 2449.313 | Low Demand Scenario | 0 | 0 | 0 | 0 | 2 | 1 | 5 | 0 | 4 | 4 | 0 | 1
22/05/2024 19:00 | 2489.382 | 2599.686 | 2381.911
22/05/2024 19:30 | 2423.09 | 2531.112 | 2317.264 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
22/05/2024 20:00 | 2346.981 | 2452.311 | 2243.36
22/05/2024 20:30 | 2266.346 | 2368.082 | 2164.609 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
22/05/2024 21:00 | 2180.397 | 2279.129 | 2081.665 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
22/05/2024 21:30 | 2093.236 | 2188.84 | 1997.631 | [7 empty] | 22/05/2024 12:30 | [11 empty] | 23/05/2024 09:30 | [9 empty] | 26/05/2024 11:30 | 26/05/2024 12:00 | 22/05/2024 11:00 |  | 25/05/2024 12:00 | 25/05/2024 12:00 |  | 22/05/2024 10:30
22/05/2024 22:00 | 2011.429 | 2104.084 | 1918.774 | [7 empty] | 22/05/2024 13:00 | [11 empty] | 23/05/2024 10:00 | [9 empty] | 26/05/2024 12:00 |  | 22/05/2024 11:30 |  | 26/05/2024 11:30 | 26/05/2024 11:30
22/05/2024 22:30 | 1943.28 | 2033.556 | 1853.003 | [19 empty] | 23/05/2024 10:30 | [11 empty] | 22/05/2024 12:00 |  | 26/05/2024 12:00 | 26/05/2024 12:00
22/05/2024 23:00 | 1890.276 | 1978.83 | 1801.723 | [19 empty] | 23/05/2024 11:00 | [11 empty] | 22/05/2024 12:30 |  | 26/05/2024 12:30 | 26/05/2024 12:30
22/05/2024 23:30 | 1845.157 | 1932.319 | 1757.994 | [19 empty] | 23/05/2024 11:30 | [11 empty] | 27/05/2024 10:30
23/05/2024 00:00 | 1806.565 | 1892.612 | 1720.519 | [19 empty] | 23/05/2024 12:00
23/05/2024 00:30 | 1778.697 | 1864.112 | 1693.282 | [19 empty] | 23/05/2024 12:30
23/05/2024 01:00 | 1761.742 | 1847.033 | 1676.452
23/05/2024 01:30 | 1750.988 | 1836.443 | 1665.532
23/05/2024 02:00 | 1747.149 | 1833.101 | 1661.198
23/05/2024 02:30 | 1749.11 | 1835.843 | 1662.377
23/05/2024 03:00 | 1755.893 | 1843.649 | 1668.136
23/05/2024 03:30 | 1773.47 | 1862.799 | 1684.141
23/05/2024 04:00 | 1811.924 | 1903.899 | 1719.949
23/05/2024 04:30 | 1879.024 | 1975.14 | 1782.907
23/05/2024 05:00 | 1982.467 | 2084.651 | 1880.283
23/05/2024 05:30 | 2123.349 | 2233.626 | 2013.073
23/05/2024 06:00 | 2268.051 | 2386.73 | 2149.372
23/05/2024 06:30 | 2364.27 | 2488.719 | 2239.821
23/05/2024 07:00 | 2356.177 | 2480.556 | 2231.797
23/05/2024 07:30 | 2196.594 | 2312.912 | 2080.276
23/05/2024 08:00 | 2010.824 | 2117.637 | 1904.011
23/05/2024 08:30 | 1852.188 | 1950.88 | 1753.495
23/05/2024 09:00 | 1694.332 | 1784.892 | 1603.771
23/05/2024 09:30 | 1552.647 | 1635.892 | 1469.403
23/05/2024 10:00 | 1446.231 | 1524.009 | 1368.454
23/05/2024 10:30 | 1375.262 | 1449.45 | 1301.074
23/05/2024 11:00 | 1328.795 | 1400.696 | 1256.895
23/05/2024 11:30 | 1290.25 | 1360.278 | 1220.222
23/05/2024 12:00 | 1288.907 | 1359.075 | 1218.739
23/05/2024 12:30 | 1346.778 | 1420.318 | 1273.237
23/05/2024 13:00 | 1408.056 | 1485.175 | 1330.937
23/05/2024 13:30 | 1508.962 | 1591.857 | 1426.067
23/05/2024 14:00 | 1643.145 | 1733.683 | 1552.607
23/05/2024 14:30 | 1795.235 | 1894.449 | 1696.02
23/05/2024 15:00 | 1973.279 | 2082.659 | 1863.899
23/05/2024 15:30 | 2163.966 | 2284.273 | 2043.659
23/05/2024 16:00 | 2337.953 | 2468.319 | 2207.587
23/05/2024 16:30 | 2484.927 | 2623.899 | 2345.956
23/05/2024 17:00 | 2609.359 | 2755.72 | 2462.997
23/05/2024 17:30 | 2655.013 | 2804.373 | 2505.653
23/05/2024 18:00 | 2605.105 | 2752.088 | 2458.123
23/05/2024 18:30 | 2541.93 | 2685.769 | 2398.092
23/05/2024 19:00 | 2473.948 | 2614.347 | 2333.548
23/05/2024 19:30 | 2409.058 | 2546.173 | 2271.943
23/05/2024 20:00 | 2332.625 | 2465.775 | 2199.475
23/05/2024 20:30 | 2249.967 | 2378.771 | 2121.164
23/05/2024 21:00 | 2162.627 | 2286.787 | 2038.467
23/05/2024 21:30 | 2081.702 | 2201.56 | 1961.845
23/05/2024 22:00 | 2004.94 | 2120.709 | 1889.171
23/05/2024 22:30 | 1938.777 | 2051.046 | 1826.508
23/05/2024 23:00 | 1888.419 | 1998.084 | 1778.755
23/05/2024 23:30 | 1849.092 | 1956.778 | 1741.406
24/05/2024 00:00 | 1817.482 | 1923.627 | 1711.336
24/05/2024 00:30 | 1793.054 | 1898.069 | 1688.04
24/05/2024 01:00 | 1777.001 | 1881.369 | 1672.634
24/05/2024 01:30 | 1765.893 | 1869.9 | 1661.886
24/05/2024 02:00 | 1761.435 | 1865.47 | 1657.4
24/05/2024 02:30 | 1764.258 | 1868.751 | 1659.765
24/05/2024 03:00 | 1769.669 | 1874.775 | 1664.563
24/05/2024 03:30 | 1785.948 | 1892.316 | 1679.58
24/05/2024 04:00 | 1824.177 | 1933.123 | 1715.232
24/05/2024 04:30 | 1891.322 | 2004.59 | 1778.054
24/05/2024 05:00 | 1977.687 | 2096.454 | 1858.92
24/05/2024 05:30 | 2092.52 | 2218.529 | 1966.512
24/05/2024 06:00 | 2237.72 | 2372.842 | 2102.599
24/05/2024 06:30 | 2346.745 | 2488.882 | 2204.608
24/05/2024 07:00 | 2386.355 | 2531.42 | 2241.29
24/05/2024 07:30 | 2317.913 | 2459.324 | 2176.501
24/05/2024 08:00 | 2228.629 | 2365.08 | 2092.178
24/05/2024 08:30 | 2133.964 | 2265.085 | 2002.843
24/05/2024 09:00 | 2002.374 | 2125.847 | 1878.9
24/05/2024 09:30 | 1862.687 | 1977.14 | 1747.421
24/05/2024 10:00 | 1726.213 | 1832.657 | 1619.014
24/05/2024 10:30 | 1602.611 | 1701.784 | 1502.738
24/05/2024 11:00 | 1544.317 | 1640.22 | 1447.74
24/05/2024 11:30 | 1526.208 | 1621.32 | 1430.43
24/05/2024 12:00 | 1522.333 | 1617.535 | 1426.465
24/05/2024 12:30 | 1569.8 | 1668.314 | 1470.6
24/05/2024 13:00 | 1623.736 | 1725.99 | 1521.483
24/05/2024 13:30 | 1679.22 | 1785.335 | 1573.106
24/05/2024 14:00 | 1772.094 | 1884.464 | 1659.723
24/05/2024 14:30 | 1901.708 | 2022.713 | 1780.703
24/05/2024 15:00 | 2054.1 | 2185.25 | 1922.949
24/05/2024 15:30 | 2236.441 | 2379.722 | 2093.159
24/05/2024 16:00 | 2392.427 | 2546.225 | 2238.63
24/05/2024 16:30 | 2517.412 | 2679.794 | 2355.029
24/05/2024 17:00 | 2612.76 | 2781.863 | 2443.656
24/05/2024 17:30 | 2626.818 | 2797.406 | 2456.231
24/05/2024 18:00 | 2567.865 | 2735.185 | 2400.545
24/05/2024 18:30 | 2496.852 | 2660.09 | 2333.614
24/05/2024 19:00 | 2423.344 | 2582.306 | 2264.382
24/05/2024 19:30 | 2367.482 | 2523.297 | 2211.667
24/05/2024 20:00 | 2304.587 | 2456.766 | 2152.408
24/05/2024 20:30 | 2240.447 | 2388.88 | 2092.014
24/05/2024 21:00 | 2172.834 | 2317.263 | 2028.406
24/05/2024 21:30 | 2105.241 | 2245.637 | 1964.846
24/05/2024 22:00 | 2034.317 | 2170.427 | 1898.207
24/05/2024 22:30 | 1972.749 | 2105.171 | 1840.328
24/05/2024 23:00 | 1923.333 | 2052.858 | 1793.808
24/05/2024 23:30 | 1885.957 | 2017.868 | 1754.045
25/05/2024 00:00 | 1854.469 | 1993.346 | 1715.593
25/05/2024 00:30 | 1827.888 | 1964.469 | 1691.307
25/05/2024 01:00 | 1810.765 | 1946.5 | 1675.031
25/05/2024 01:30 | 1795.152 | 1930.145 | 1660.16
25/05/2024 02:00 | 1785.571 | 1920.269 | 1650.872
25/05/2024 02:30 | 1780.569 | 1915.316 | 1645.823
25/05/2024 03:00 | 1780.547 | 1915.718 | 1645.377
25/05/2024 03:30 | 1786.538 | 1922.59 | 1650.486
25/05/2024 04:00 | 1798.641 | 1936.044 | 1661.238
25/05/2024 04:30 | 1823.349 | 1963.075 | 1683.623
25/05/2024 05:00 | 1853.708 | 1996.203 | 1711.212
25/05/2024 05:30 | 1899.951 | 2046.455 | 1753.447
25/05/2024 06:00 | 1977.751 | 2130.727 | 1824.776
25/05/2024 06:30 | 2043.371 | 2201.91 | 1884.832
25/05/2024 07:00 | 2078.327 | 2240.074 | 1916.579
25/05/2024 07:30 | 2074.815 | 2236.785 | 1912.844
25/05/2024 08:00 | 2069.102 | 2231.121 | 1907.084
25/05/2024 08:30 | 2020.231 | 2178.905 | 1861.556
25/05/2024 09:00 | 1918.095 | 2069.206 | 1766.985
25/05/2024 09:30 | 1769.503 | 1909.33 | 1629.677
25/05/2024 10:00 | 1597.657 | 1724.286 | 1471.028
25/05/2024 10:30 | 1433.356 | 1547.305 | 1319.407
25/05/2024 11:00 | 1360.149 | 1468.604 | 1251.695
25/05/2024 11:30 | 1347.21 | 1454.954 | 1239.466
25/05/2024 12:00 | 1365.989 | 1475.562 | 1256.417
25/05/2024 12:30 | 1446.962 | 1563.375 | 1330.549
25/05/2024 13:00 | 1511.418 | 1633.379 | 1389.458
25/05/2024 13:30 | 1574.294 | 1701.704 | 1446.884
25/05/2024 14:00 | 1670.8 | 1806.419 | 1535.18
25/05/2024 14:30 | 1773.662 | 1918.054 | 1629.27
25/05/2024 15:00 | 1912.086 | 2068.204 | 1755.968
25/05/2024 15:30 | 2094.073 | 2265.55 | 1922.596
25/05/2024 16:00 | 2281.754 | 2469.145 | 2094.364
25/05/2024 16:30 | 2431.007 | 2631.236 | 2230.778
25/05/2024 17:00 | 2531.022 | 2740.094 | 2321.951
25/05/2024 17:30 | 2556.473 | 2768.257 | 2344.688
25/05/2024 18:00 | 2492.337 | 2699.404 | 2285.271
25/05/2024 18:30 | 2421.861 | 2623.651 | 2220.071
25/05/2024 19:00 | 2355.346 | 2552.157 | 2158.536
25/05/2024 19:30 | 2301.371 | 2494.221 | 2108.521
25/05/2024 20:00 | 2245.534 | 2434.241 | 2056.826
25/05/2024 20:30 | 2196.804 | 2381.941 | 2011.667
25/05/2024 21:00 | 2143.464 | 2324.618 | 1962.31
25/05/2024 21:30 | 2082.319 | 2258.802 | 1905.835
25/05/2024 22:00 | 2018.568 | 2190.131 | 1847.006
25/05/2024 22:30 | 1958.242 | 2125.145 | 1791.339
25/05/2024 23:00 | 1906.971 | 2069.96 | 1743.983
25/05/2024 23:30 | 1862.899 | 2022.566 | 1703.232
26/05/2024 00:00 | 1822.494 | 1979.133 | 1665.855
26/05/2024 00:30 | 1790.893 | 1945.245 | 1636.542
26/05/2024 01:00 | 1770.111 | 1923.093 | 1617.128
26/05/2024 01:30 | 1753.533 | 1905.501 | 1601.564
26/05/2024 02:00 | 1744.207 | 1895.784 | 1592.629
26/05/2024 02:30 | 1738.069 | 1889.528 | 1586.61
26/05/2024 03:00 | 1734.808 | 1886.397 | 1583.219
26/05/2024 03:30 | 1738.628 | 1890.966 | 1586.289
26/05/2024 04:00 | 1746.339 | 1899.77 | 1592.908
26/05/2024 04:30 | 1758.895 | 1913.849 | 1603.94
26/05/2024 05:00 | 1791.137 | 1949.36 | 1632.915
26/05/2024 05:30 | 1840.728 | 2003.771 | 1677.685
26/05/2024 06:00 | 1886.164 | 2053.682 | 1718.646
26/05/2024 06:30 | 1926.874 | 2098.468 | 1755.28
26/05/2024 07:00 | 1919.05 | 2090.405 | 1747.694
26/05/2024 07:30 | 1812.874 | 1975.061 | 1650.687
26/05/2024 08:00 | 1680.136 | 1830.514 | 1529.758
26/05/2024 08:30 | 1558.727 | 1698.318 | 1419.136
26/05/2024 09:00 | 1444.269 | 1573.684 | 1314.855
26/05/2024 09:30 | 1343.979 | 1464.476 | 1223.483
26/05/2024 10:00 | 1270.166 | 1384.109 | 1156.222
26/05/2024 10:30 | 1214.909 | 1323.957 | 1105.861
26/05/2024 11:00 | 1181.273 | 1287.363 | 1075.184
26/05/2024 11:30 | 1165.378 | 1270.099 | 1060.656
26/05/2024 12:00 | 1161.831 | 1266.293 | 1057.369
26/05/2024 12:30 | 1202.043 | 1310.182 | 1093.904
26/05/2024 13:00 | 1259.553 | 1372.93 | 1146.177
26/05/2024 13:30 | 1344.058 | 1465.11 | 1223.007
26/05/2024 14:00 | 1488.303 | 1622.422 | 1354.184
26/05/2024 14:30 | 1649.135 | 1797.831 | 1500.439
26/05/2024 15:00 | 1816.922 | 1980.839 | 1653.004
26/05/2024 15:30 | 2012.414 | 2194.071 | 1830.756
26/05/2024 16:00 | 2206.912 | 2406.239 | 2007.586
26/05/2024 16:30 | 2366.268 | 2580.108 | 2152.428
26/05/2024 17:00 | 2487.006 | 2711.885 | 2262.128
26/05/2024 17:30 | 2529.35 | 2758.186 | 2300.514
26/05/2024 18:00 | 2472.769 | 2696.612 | 2248.926
26/05/2024 18:30 | 2405.585 | 2623.469 | 2187.701
26/05/2024 19:00 | 2341.477 | 2553.674 | 2129.281
26/05/2024 19:30 | 2282.635 | 2489.616 | 2075.655
26/05/2024 20:00 | 2216.949 | 2418.087 | 2015.812
26/05/2024 20:30 | 2153.69 | 2349.197 | 1958.182
26/05/2024 21:00 | 2084.65 | 2273.997 | 1895.303
26/05/2024 21:30 | 2012.648 | 2195.558 | 1829.739
26/05/2024 22:00 | 1942.882 | 2119.55 | 1766.214
26/05/2024 22:30 | 1887.316 | 2059.028 | 1715.604
26/05/2024 23:00 | 1852.055 | 2020.653 | 1683.457
26/05/2024 23:30 | 1827.678 | 1991.981 | 1663.375
27/05/2024 00:00 | 1811.178 | 1969.924 | 1652.432
27/05/2024 00:30 | 1794.928 | 1952.973 | 1636.883
27/05/2024 01:00 | 1782.85 | 1940.173 | 1625.527
27/05/2024 01:30 | 1773.496 | 1930.333 | 1616.658
27/05/2024 02:00 | 1770.762 | 1927.698 | 1613.827
27/05/2024 02:30 | 1772.724 | 1930.173 | 1615.275
27/05/2024 03:00 | 1779.186 | 1937.55 | 1620.822
27/05/2024 03:30 | 1797.598 | 1957.945 | 1637.25
27/05/2024 04:00 | 1838.375 | 2002.711 | 1674.038
27/05/2024 04:30 | 1908.732 | 2079.724 | 1737.74
27/05/2024 05:00 | 2001.911 | 2181.634 | 1822.188
27/05/2024 05:30 | 2124.291 | 2315.408 | 1933.173
27/05/2024 06:00 | 2278.491 | 2483.918 | 2073.064
27/05/2024 06:30 | 2408.16 | 2625.739 | 2190.581
27/05/2024 07:00 | 2461.299 | 2684.151 | 2238.447
27/05/2024 07:30 | 2410.898 | 2629.649 | 2192.147
27/05/2024 08:00 | 2347.785 | 2561.26 | 2134.311
27/05/2024 08:30 | 2256.705 | 2462.33 | 2051.079
27/05/2024 09:00 | 2147.73 | 2343.837 | 1951.623
27/05/2024 09:30 | 2045.784 | 2232.974 | 1858.593
27/05/2024 10:00 | 1958.875 | 2138.489 | 1779.26
27/05/2024 10:30 | 1920.008 | 2096.426 | 1743.589
27/05/2024 11:00 | 1895.853 | 2070.415 | 1721.291
27/05/2024 11:30 | 1879.272 | 2052.667 | 1705.876
27/05/2024 12:00 | 1824.272 | 1992.943 | 1655.602
27/05/2024 12:30 | 1719.646 | 1878.972 | 1560.319
27/05/2024 13:00 | 1683.282 | 1839.562 | 1527.002
27/05/2024 13:30 | 1770.098 | 1934.778 | 1605.419
27/05/2024 14:00 | 1890.881 | 2067.16 | 1714.602
27/05/2024 14:30 | 2045.966 | 2237.095 | 1854.837
27/05/2024 15:00 | 2199.9 | 2405.831 | 1993.97
27/05/2024 15:30 | 2333.312 | 2552.178 | 2114.445
27/05/2024 16:00 | 2467.395 | 2699.312 | 2235.479
27/05/2024 16:30 | 2605.022 | 2850.374 | 2359.671
27/05/2024 17:00 | 2723.646 | 2980.693 | 2466.6
27/05/2024 17:30 | 2754.69 | 3015.194 | 2494.186
27/05/2024 18:00 | 2691.03 | 2946.029 | 2436.03
27/05/2024 18:30 | 2614.738 | 2863.01 | 2366.467
27/05/2024 19:00 | 2533.448 | 2774.487 | 2292.41
27/05/2024 19:30 | 2462.591 | 2697.36 | 2227.823
27/05/2024 20:00 | 2383.347 | 2611.018 | 2155.676
27/05/2024 20:30 | 2300.321 | 2520.502 | 2080.14
27/05/2024 21:00 | 2213.982 | 2426.323 | 2001.641
27/05/2024 21:30 | 2127.005 | 2331.412 | 1922.598
27/05/2024 22:00 | 2043.137 | 2239.876 | 1846.399
27/05/2024 22:30 | 1973.684 | 2164.113 | 1783.255
27/05/2024 23:00 | 1919.359 | 2104.914 | 1733.803
27/05/2024 23:30 | 1873.854 | 2055.369 | 1692.339
28/05/2024 00:00 | 1835.143 | 2013.261 | 1657.026
28/05/2024 00:30 | 1807.847 | 1983.662 | 1632.033
28/05/2024 01:00 | 1792.789 | 1967.483 | 1618.096
28/05/2024 01:30 | 1780.383 | 1954.209 | 1606.557
28/05/2024 02:00 | 1774.061 | 1947.609 | 1600.512
28/05/2024 02:30 | 1774.725 | 1948.679 | 1600.771
28/05/2024 03:00 | 1779.064 | 1953.785 | 1604.344
28/05/2024 03:30 | 1794.766 | 1971.372 | 1618.159
28/05/2024 04:00 | 1831.596 | 2012.178 | 1651.015
28/05/2024 04:30 | 1898.484 | 2086.024 | 1710.944
28/05/2024 05:00 | 1998.551 | 2196.359 | 1800.743
28/05/2024 05:30 | 2138.854 | 2350.959 | 1926.75
28/05/2024 06:00 | 2298.431 | 2526.801 | 2070.061
28/05/2024 06:30 | 2425.769 | 2667.256 | 2184.282
28/05/2024 07:00 | 2478.757 | 2725.994 | 2231.52
28/05/2024 07:30 | 2421.255 | 2663.345 | 2179.166
28/05/2024 08:00 | 2331.65 | 2565.582 | 2097.718
28/05/2024 08:30 | 2227.5 | 2451.73 | 2003.27
28/05/2024 09:00 | 2107.435 | 2320.285 | 1894.584
28/05/2024 09:30 | 1964.104 | 2163.136 | 1765.071
28/05/2024 10:00 | 1835.235 | 2021.824 | 1648.646
28/05/2024 10:30 | 1737.83 | 1915.099 | 1560.562
28/05/2024 11:00 | 1678.023 | 1849.753 | 1506.292
28/05/2024 11:30 | 1659.838 | 1830.264 | 1489.412
28/05/2024 12:00 | 1656.501 | 1827.139 | 1485.862
28/05/2024 12:30 | 1683.667 | 1857.669 | 1509.666
28/05/2024 13:00 | 1720.716 | 1899.124 | 1542.309
28/05/2024 13:30 | 1771.346 | 1955.597 | 1587.095
28/05/2024 14:00 | 1858.41 | 2052.34 | 1664.48
28/05/2024 14:30 | 1960.378 | 2165.606 | 1755.15
28/05/2024 15:00 | 2089.197 | 2308.611 | 1869.782
28/05/2024 15:30 | 2250.922 | 2488.076 | 2013.768
28/05/2024 16:00 | 2420.52 | 2676.354 | 2164.686
28/05/2024 16:30 | 2577.156 | 2850.409 | 2303.902
28/05/2024 17:00 | 2706.895 | 2994.812 | 2418.977
28/05/2024 17:30 | 2748.825 | 3042.124 | 2455.526
28/05/2024 18:00 | 2695.233 | 2983.718 | 2406.749
28/05/2024 18:30 | 2625.206 | 2907.075 | 2343.337
28/05/2024 19:00 | 2550.502 | 2825.206 | 2275.799
28/05/2024 19:30 | 2483.223 | 2751.513 | 2214.934
28/05/2024 20:00 | 2403.59 | 2664.082 | 2143.098
28/05/2024 20:30 | 2319.973 | 2572.181 | 2067.765
28/05/2024 21:00 | 2228.277 | 2471.263 | 1985.29
28/05/2024 21:30 | 2133.828 | 2367.23 | 1900.425
28/05/2024 22:00 | 2044.145 | 2268.423 | 1819.867
28/05/2024 22:30 | 1970.102 | 2186.917 | 1753.287
28/05/2024 23:00 | 1913.533 | 2124.764 | 1702.302
28/05/2024 23:30 | 1869.854 | 2076.89 | 1662.818
29/05/2024 00:00 | 1832.677 | 2036.211 | 1629.142
29/05/2024 00:30 | 1804.058 | 2005.019 | 1603.097
29/05/2024 01:00 | 1786.385 | 1985.976 | 1586.793
29/05/2024 01:30 | 1774.36 | 1973.203 | 1575.517
29/05/2024 02:00 | 1767.921 | 1966.635 | 1569.207
29/05/2024 02:30 | 1769.176 | 1968.624 | 1569.728
29/05/2024 03:00 | 1774.633 | 1975.291 | 1573.974
29/05/2024 03:30 | 1792.091 | 1995.324 | 1588.858
29/05/2024 04:00 | 1831.16 | 2039.438 | 1622.882
29/05/2024 04:30 | 1900.971 | 2117.826 | 1684.115
29/05/2024 05:00 | 2006.515 | 2236.083 | 1776.946
29/05/2024 05:30 | 2150.598 | 2397.372 | 1903.824
29/05/2024 06:00 | 2306.306 | 2571.72 | 2040.891
29/05/2024 06:30 | 2425.855 | 2705.842 | 2145.869
29/05/2024 07:00 | 2456.552 | 2740.905 | 2172.199
29/05/2024 07:30 | 2360.553 | 2634.585 | 2086.521