## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
23/05/2024 08:00 | 2144.039 | 2174.327 | 2113.75
23/05/2024 08:30 | 1992.71 | 2026.785 | 1958.635 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
23/05/2024 09:00 | 1841.696 | 1878.663 | 1804.729 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
23/05/2024 09:30 | 1683.28 | 1722.071 | 1644.489 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
23/05/2024 10:00 | 1543.576 | 1583.736 | 1503.415 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
23/05/2024 10:30 | 1417.951 | 1458.044 | 1377.858 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
23/05/2024 11:00 | 1323.541 | 1362.078 | 1285.005 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
23/05/2024 11:30 | 1251.043 | 1288.674 | 1213.413 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
23/05/2024 12:00 | 1207.997 | 1245.496 | 1170.498 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
23/05/2024 12:30 | 1269.065 | 1309.682 | 1228.448 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
23/05/2024 13:00 | 1352.563 | 1397.155 | 1307.971 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
23/05/2024 13:30 | 1473.598 | 1523.599 | 1423.596
23/05/2024 14:00 | 1619.655 | 1676.172 | 1563.137 | Summary view - for each schedule horizon (dispatch, week-ahead)
23/05/2024 14:30 | 1775.773 | 1839.448 | 1712.097
23/05/2024 15:00 | 1961.959 | 2034.2 | 1889.717 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
23/05/2024 15:30 | 2162.484 | 2241.416 | 2080.777 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
23/05/2024 16:00 | 2337.917 | 2426.716 | 2245.673 | Scenario | Violations
23/05/2024 16:30 | 2494.193 | 2592.534 | 2394.497 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
23/05/2024 17:00 | 2630.604 | 2738.379 | 2524.327 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
23/05/2024 17:30 | 2690.469 | 2803.926 | 2579.767 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
23/05/2024 18:00 | 2653.789 | 2768.445 | 2542.213 | High Demand Scenario | 0 | 0 | 1 | 1 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 2
23/05/2024 18:30 | 2595.197 | 2709.748 | 2484.528 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 2
23/05/2024 19:00 | 2526.044 | 2638.494 | 2417.468
23/05/2024 19:30 | 2464.126 | 2572.812 | 2355.44 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
23/05/2024 20:00 | 2389.017 | 2495.325 | 2282.708
23/05/2024 20:30 | 2303.573 | 2406.98 | 2200.165 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
23/05/2024 21:00 | 2210.044 | 2310.118 | 2109.97 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
23/05/2024 21:30 | 2122.101 | 2219.024 | 2025.179 | [12 empty] | 23/05/2024 08:00 |  |  | 29/05/2024 17:30 | 29/05/2024 17:30 |  |  | 29/05/2024 17:00 |  |  |  |  | 23/05/2024 08:00 | [6 empty] | 23/05/2024 12:00 |  |  |  |  | 23/05/2024 08:00
23/05/2024 22:00 | 2038.257 | 2132.148 | 1944.366 | [12 empty] | 23/05/2024 10:00 | [6 empty] | 29/05/2024 17:30 |  |  |  |  | 23/05/2024 10:00 | [11 empty] | 23/05/2024 10:00
23/05/2024 22:30 | 1966.572 | 2057.93 | 1875.213 | [12 empty] | 24/05/2024 05:00 | [6 empty] | 29/05/2024 18:00
23/05/2024 23:00 | 1911.9 | 2001.467 | 1822.333 | [19 empty] | 29/05/2024 18:30
23/05/2024 23:30 | 1869.571 | 1957.886 | 1781.255
24/05/2024 00:00 | 1834.774 | 1922.164 | 1747.384
24/05/2024 00:30 | 1807.944 | 1894.764 | 1721.125
24/05/2024 01:00 | 1790.434 | 1877.114 | 1703.754
24/05/2024 01:30 | 1778.819 | 1865.633 | 1692.005
24/05/2024 02:00 | 1773.752 | 1861.013 | 1686.492
24/05/2024 02:30 | 1776.522 | 1864.614 | 1688.43
24/05/2024 03:00 | 1782.243 | 1871.317 | 1693.17
24/05/2024 03:30 | 1798.728 | 1889.329 | 1708.127
24/05/2024 04:00 | 1837.188 | 1930.446 | 1743.931
24/05/2024 04:30 | 1905.065 | 2002.514 | 1807.617
24/05/2024 05:00 | 1996.643 | 2099.557 | 1893.728
24/05/2024 05:30 | 2118.041 | 2228.042 | 2008.04
24/05/2024 06:00 | 2263.348 | 2381.781 | 2144.915
24/05/2024 06:30 | 2372.847 | 2497.748 | 2247.947
24/05/2024 07:00 | 2407.47 | 2534.558 | 2280.383
24/05/2024 07:30 | 2327.466 | 2450.714 | 2204.218
24/05/2024 08:00 | 2210.272 | 2327.679 | 2092.864
24/05/2024 08:30 | 2080.057 | 2190.891 | 1969.223
24/05/2024 09:00 | 1949.095 | 2053.272 | 1844.917
24/05/2024 09:30 | 1830.477 | 1928.617 | 1732.337
24/05/2024 10:00 | 1730.3 | 1823.354 | 1637.245
24/05/2024 10:30 | 1649.58 | 1738.565 | 1560.594
24/05/2024 11:00 | 1615.468 | 1702.88 | 1528.055
24/05/2024 11:30 | 1614.411 | 1702.033 | 1526.79
24/05/2024 12:00 | 1607.17 | 1694.664 | 1519.676
24/05/2024 12:30 | 1605.01 | 1692.652 | 1517.369
24/05/2024 13:00 | 1627.383 | 1716.515 | 1538.251
24/05/2024 13:30 | 1688.356 | 1781.107 | 1595.606
24/05/2024 14:00 | 1784.968 | 1883.32 | 1686.616
24/05/2024 14:30 | 1914.143 | 2019.929 | 1808.357
24/05/2024 15:00 | 2071.713 | 2186.549 | 1956.877
24/05/2024 15:30 | 2255.426 | 2380.818 | 2130.034
24/05/2024 16:00 | 2418.031 | 2552.862 | 2283.2
24/05/2024 16:30 | 2548.867 | 2691.415 | 2406.32
24/05/2024 17:00 | 2645.633 | 2794.028 | 2497.237
24/05/2024 17:30 | 2660.39 | 2810.052 | 2510.727
24/05/2024 18:00 | 2598.416 | 2745.021 | 2451.811
24/05/2024 18:30 | 2526.894 | 2669.881 | 2383.906
24/05/2024 19:00 | 2453.736 | 2592.989 | 2314.483
24/05/2024 19:30 | 2393.924 | 2530.178 | 2257.671
24/05/2024 20:00 | 2327.813 | 2460.688 | 2194.938
24/05/2024 20:30 | 2260.592 | 2390.004 | 2131.181
24/05/2024 21:00 | 2188.754 | 2314.414 | 2063.094
24/05/2024 21:30 | 2117.287 | 2239.194 | 1995.38
24/05/2024 22:00 | 2044.274 | 2162.315 | 1926.234
24/05/2024 22:30 | 1978.946 | 2093.541 | 1864.351
24/05/2024 23:00 | 1923.99 | 2035.72 | 1812.259
24/05/2024 23:30 | 1880.004 | 1993.292 | 1766.716
25/05/2024 00:00 | 1842.337 | 1961.055 | 1723.619
25/05/2024 00:30 | 1812.26 | 1928.763 | 1695.757
25/05/2024 01:00 | 1792.515 | 1908.091 | 1676.938
25/05/2024 01:30 | 1777.87 | 1892.842 | 1662.898
25/05/2024 02:00 | 1769.005 | 1883.742 | 1654.268
25/05/2024 02:30 | 1763.945 | 1878.69 | 1649.199
25/05/2024 03:00 | 1763.33 | 1878.373 | 1648.288
25/05/2024 03:30 | 1769.794 | 1885.596 | 1653.992
25/05/2024 04:00 | 1783.555 | 1900.598 | 1666.511
25/05/2024 04:30 | 1808.591 | 1927.624 | 1689.559
25/05/2024 05:00 | 1845.942 | 1967.785 | 1724.099
25/05/2024 05:30 | 1905.208 | 2031.327 | 1779.09
25/05/2024 06:00 | 1983.93 | 2115.639 | 1852.221
25/05/2024 06:30 | 2049.895 | 2186.41 | 1913.38
25/05/2024 07:00 | 2078.833 | 2217.778 | 1939.888
25/05/2024 07:30 | 2016.995 | 2152.288 | 1881.701
25/05/2024 08:00 | 1920.425 | 2049.699 | 1791.151
25/05/2024 08:30 | 1830 | 1953.625 | 1706.375
25/05/2024 09:00 | 1732.081 | 1848.677 | 1614.658
25/05/2024 09:30 | 1639.407 | 1750.157 | 1527.875
25/05/2024 10:00 | 1527.759 | 1631.331 | 1423.458
25/05/2024 10:30 | 1394.193 | 1489.043 | 1298.677
25/05/2024 11:00 | 1345.79 | 1437.669 | 1253.269
25/05/2024 11:30 | 1352.678 | 1445.35 | 1259.36
25/05/2024 12:00 | 1357.966 | 1451.325 | 1263.959
25/05/2024 12:30 | 1377.336 | 1472.355 | 1281.659
25/05/2024 13:00 | 1417.154 | 1515.259 | 1318.372
25/05/2024 13:30 | 1514.544 | 1619.753 | 1409.336
25/05/2024 14:00 | 1647.967 | 1762.837 | 1533.096
25/05/2024 14:30 | 1782.193 | 1906.845 | 1657.54
25/05/2024 15:00 | 1935.076 | 2070.884 | 1799.268
25/05/2024 15:30 | 2099.242 | 2247.073 | 1951.411
25/05/2024 16:00 | 2272.755 | 2433.347 | 2112.162
25/05/2024 16:30 | 2417.383 | 2588.772 | 2245.994
25/05/2024 17:00 | 2518.083 | 2697.213 | 2338.953
25/05/2024 17:30 | 2546.615 | 2728.383 | 2364.846
25/05/2024 18:00 | 2483.95 | 2661.839 | 2306.061
25/05/2024 18:30 | 2417.921 | 2591.659 | 2244.183
25/05/2024 19:00 | 2357.891 | 2527.878 | 2187.903
25/05/2024 19:30 | 2302.553 | 2469.101 | 2136.005
25/05/2024 20:00 | 2245.174 | 2408.108 | 2082.24
25/05/2024 20:30 | 2196.791 | 2356.738 | 2036.843
25/05/2024 21:00 | 2143.781 | 2300.382 | 1987.181
25/05/2024 21:30 | 2080.893 | 2233.396 | 1928.389
25/05/2024 22:00 | 2015.969 | 2164.196 | 1867.742
25/05/2024 22:30 | 1956.921 | 2101.274 | 1812.569
25/05/2024 23:00 | 1907.798 | 2048.983 | 1766.613
25/05/2024 23:30 | 1866.889 | 2005.493 | 1728.286
26/05/2024 00:00 | 1830.194 | 1966.511 | 1693.878
26/05/2024 00:30 | 1800.739 | 1935.291 | 1666.186
26/05/2024 01:00 | 1781.089 | 1914.599 | 1647.579
26/05/2024 01:30 | 1763.616 | 1896.237 | 1630.995
26/05/2024 02:00 | 1753.672 | 1885.964 | 1621.379
26/05/2024 02:30 | 1747.25 | 1879.475 | 1615.025
26/05/2024 03:00 | 1743.836 | 1876.219 | 1611.452
26/05/2024 03:30 | 1748.055 | 1881.176 | 1614.934
26/05/2024 04:00 | 1756.339 | 1890.51 | 1622.167
26/05/2024 04:30 | 1769.489 | 1905.088 | 1633.89
26/05/2024 05:00 | 1808.272 | 1947.275 | 1669.269
26/05/2024 05:30 | 1866.197 | 2010.098 | 1722.296
26/05/2024 06:00 | 1913.898 | 2061.934 | 1765.861
26/05/2024 06:30 | 1963.37 | 2115.702 | 1811.038
26/05/2024 07:00 | 1966.046 | 2119.056 | 1813.037
26/05/2024 07:30 | 1869.158 | 2015.073 | 1723.242
26/05/2024 08:00 | 1746.617 | 1883.384 | 1609.85
26/05/2024 08:30 | 1640.936 | 1769.819 | 1512.052
26/05/2024 09:00 | 1548.407 | 1670.393 | 1426.421
26/05/2024 09:30 | 1470.257 | 1586.438 | 1354.077
26/05/2024 10:00 | 1460.681 | 1576.454 | 1344.909
26/05/2024 10:30 | 1519.775 | 1640.594 | 1398.956
26/05/2024 11:00 | 1530.966 | 1653.041 | 1408.891
26/05/2024 11:30 | 1490.667 | 1609.885 | 1371.45
26/05/2024 12:00 | 1478.752 | 1597.369 | 1360.134
26/05/2024 12:30 | 1516.058 | 1638.031 | 1394.086
26/05/2024 13:00 | 1601.008 | 1730.198 | 1471.819
26/05/2024 13:30 | 1732.877 | 1873.121 | 1592.633
26/05/2024 14:00 | 1787.738 | 1932.849 | 1642.627
26/05/2024 14:30 | 1769.902 | 1913.988 | 1625.816
26/05/2024 15:00 | 1882.901 | 2036.636 | 1729.166
26/05/2024 15:30 | 2068.868 | 2238.281 | 1899.455
26/05/2024 16:00 | 2255.719 | 2440.971 | 2070.466
26/05/2024 16:30 | 2405.594 | 2603.73 | 2207.458
26/05/2024 17:00 | 2518.943 | 2727.017 | 2310.87
26/05/2024 17:30 | 2554.646 | 2766.279 | 2343.014
26/05/2024 18:00 | 2494.684 | 2701.946 | 2287.423
26/05/2024 18:30 | 2428.292 | 2630.618 | 2225.967
26/05/2024 19:00 | 2365.247 | 2562.885 | 2167.609
26/05/2024 19:30 | 2305.791 | 2499.011 | 2112.57
26/05/2024 20:00 | 2239.771 | 2427.993 | 2051.548
26/05/2024 20:30 | 2174.377 | 2357.624 | 1991.13
26/05/2024 21:00 | 2103.408 | 2281.177 | 1925.64
26/05/2024 21:30 | 2029.408 | 2201.408 | 1857.409
26/05/2024 22:00 | 1957.522 | 2123.896 | 1791.148
26/05/2024 22:30 | 1899.663 | 2061.573 | 1737.752
26/05/2024 23:00 | 1859.834 | 2018.794 | 1700.874
26/05/2024 23:30 | 1830.864 | 1982.786 | 1678.941
27/05/2024 00:00 | 1809.647 | 1950.443 | 1668.85
27/05/2024 00:30 | 1790.71 | 1931.257 | 1650.163
27/05/2024 01:00 | 1776.63 | 1916.46 | 1636.8
27/05/2024 01:30 | 1767.502 | 1906.999 | 1628.004
27/05/2024 02:00 | 1765.214 | 1904.917 | 1625.511
27/05/2024 02:30 | 1767.598 | 1907.876 | 1627.321
27/05/2024 03:00 | 1774.895 | 1916.139 | 1633.65
27/05/2024 03:30 | 1793.705 | 1936.838 | 1650.572
27/05/2024 04:00 | 1835.053 | 1981.887 | 1688.219
27/05/2024 04:30 | 1906.263 | 2059.212 | 1753.315
27/05/2024 05:00 | 1997.204 | 2157.886 | 1836.523
27/05/2024 05:30 | 2116.11 | 2286.82 | 1945.4
27/05/2024 06:00 | 2272.458 | 2456.277 | 2088.639
27/05/2024 06:30 | 2408.532 | 2603.884 | 2213.18
27/05/2024 07:00 | 2472.972 | 2674.092 | 2271.853
27/05/2024 07:30 | 2440.018 | 2638.967 | 2241.069
27/05/2024 08:00 | 2392.83 | 2588.387 | 2197.274
27/05/2024 08:30 | 2328.482 | 2519.225 | 2137.738
27/05/2024 09:00 | 2257.753 | 2443.135 | 2072.371
27/05/2024 09:30 | 2173.555 | 2352.44 | 1994.669
27/05/2024 10:00 | 2084.441 | 2256.392 | 1912.49
27/05/2024 10:30 | 2012.028 | 2178.391 | 1845.665
27/05/2024 11:00 | 1968.017 | 2131.118 | 1804.915
27/05/2024 11:30 | 1937.094 | 2098.004 | 1776.185
27/05/2024 12:00 | 1902.486 | 2060.885 | 1744.087
27/05/2024 12:30 | 1906.438 | 2065.532 | 1747.344
27/05/2024 13:00 | 1920.172 | 2080.78 | 1759.563
27/05/2024 13:30 | 1925.794 | 2087.242 | 1764.347
27/05/2024 14:00 | 1992.766 | 2160.21 | 1825.322
27/05/2024 14:30 | 2130.608 | 2310.042 | 1951.173
27/05/2024 15:00 | 2262.294 | 2453.252 | 2071.335
27/05/2024 15:30 | 2381.391 | 2582.859 | 2179.923
27/05/2024 16:00 | 2504.552 | 2716.92 | 2292.185
27/05/2024 16:30 | 2639.121 | 2863.405 | 2414.838
27/05/2024 17:00 | 2755.753 | 2990.477 | 2521.03
27/05/2024 17:30 | 2783.963 | 3021.623 | 2546.303
27/05/2024 18:00 | 2719.15 | 2951.798 | 2486.501
27/05/2024 18:30 | 2642.286 | 2868.864 | 2415.707
27/05/2024 19:00 | 2561.706 | 2781.865 | 2341.546
27/05/2024 19:30 | 2489.722 | 2704.172 | 2275.271
27/05/2024 20:00 | 2408.91 | 2616.862 | 2200.959
27/05/2024 20:30 | 2323.76 | 2524.806 | 2122.714
27/05/2024 21:00 | 2235.142 | 2428.949 | 2041.334
27/05/2024 21:30 | 2145.987 | 2332.475 | 1959.498
27/05/2024 22:00 | 2059.821 | 2239.216 | 1880.426
27/05/2024 22:30 | 1987.121 | 2160.565 | 1813.677
27/05/2024 23:00 | 1927.75 | 2096.382 | 1759.119
27/05/2024 23:30 | 1877.254 | 2041.828 | 1712.679
28/05/2024 00:00 | 1833.321 | 1994.395 | 1672.247
28/05/2024 00:30 | 1802.915 | 1961.663 | 1644.167
28/05/2024 01:00 | 1785.729 | 1943.307 | 1628.152
28/05/2024 01:30 | 1773.656 | 1930.508 | 1616.804
28/05/2024 02:00 | 1767.752 | 1924.42 | 1611.083
28/05/2024 02:30 | 1768.793 | 1925.892 | 1611.693
28/05/2024 03:00 | 1773.337 | 1931.181 | 1615.494
28/05/2024 03:30 | 1789.395 | 1949.011 | 1629.78
28/05/2024 04:00 | 1826.922 | 1990.236 | 1663.609
28/05/2024 04:30 | 1894.558 | 2064.28 | 1724.835
28/05/2024 05:00 | 1991.156 | 2169.914 | 1812.399
28/05/2024 05:30 | 2126.757 | 2318.096 | 1935.418
28/05/2024 06:00 | 2287.188 | 2493.399 | 2080.978
28/05/2024 06:30 | 2414.485 | 2632.636 | 2196.334
28/05/2024 07:00 | 2469.589 | 2693.192 | 2245.987
28/05/2024 07:30 | 2415.792 | 2634.987 | 2196.597
28/05/2024 08:00 | 2334.622 | 2546.9 | 2122.345
28/05/2024 08:30 | 2246.578 | 2451.28 | 2041.875
28/05/2024 09:00 | 2134.519 | 2329.42 | 1939.618
28/05/2024 09:30 | 1978.692 | 2159.744 | 1797.64
28/05/2024 10:00 | 1865.033 | 2036.042 | 1694.024
28/05/2024 10:30 | 1837.311 | 2006.131 | 1668.492
28/05/2024 11:00 | 1780.282 | 1944.203 | 1616.361
28/05/2024 11:30 | 1671.978 | 1826.247 | 1517.709
28/05/2024 12:00 | 1637.859 | 1789.294 | 1486.424
28/05/2024 12:30 | 1714.055 | 1872.864 | 1555.247
28/05/2024 13:00 | 1748.365 | 1910.688 | 1586.043
28/05/2024 13:30 | 1717.787 | 1877.6 | 1557.974
28/05/2024 14:00 | 1771.457 | 1936.602 | 1606.311
28/05/2024 14:30 | 1918.115 | 2097.3 | 1738.929
28/05/2024 15:00 | 2077.053 | 2271.484 | 1882.622
28/05/2024 15:30 | 2248.74 | 2459.674 | 2037.806
28/05/2024 16:00 | 2418.766 | 2646.112 | 2191.421
28/05/2024 16:30 | 2582.109 | 2825.303 | 2338.916
28/05/2024 17:00 | 2718.468 | 2975.025 | 2461.91
28/05/2024 17:30 | 2767.957 | 3029.716 | 2506.198
28/05/2024 18:00 | 2720.843 | 2978.668 | 2463.019
28/05/2024 18:30 | 2649.298 | 2900.851 | 2397.745
28/05/2024 19:00 | 2570.068 | 2814.591 | 2325.546
28/05/2024 19:30 | 2503.401 | 2742.06 | 2264.741
28/05/2024 20:00 | 2422.386 | 2653.786 | 2190.986
28/05/2024 20:30 | 2337.398 | 2561.128 | 2113.668
28/05/2024 21:00 | 2243.928 | 2459.141 | 2028.715
28/05/2024 21:30 | 2147.398 | 2353.764 | 1941.031
28/05/2024 22:00 | 2055.533 | 2253.465 | 1857.601
28/05/2024 22:30 | 1981.945 | 2173.171 | 1790.719
28/05/2024 23:00 | 1929.715 | 2116.272 | 1743.159
28/05/2024 23:30 | 1893.017 | 2076.389 | 1709.646
29/05/2024 00:00 | 1865.265 | 2046.306 | 1684.224
29/05/2024 00:30 | 1841.299 | 2020.366 | 1662.231
29/05/2024 01:00 | 1822.976 | 2000.612 | 1645.341
29/05/2024 01:30 | 1809.368 | 1986.023 | 1632.712
29/05/2024 02:00 | 1804.444 | 1980.965 | 1627.923
29/05/2024 02:30 | 1804.957 | 1981.874 | 1628.04
29/05/2024 03:00 | 1811.052 | 1988.913 | 1633.19
29/05/2024 03:30 | 1829.377 | 2009.389 | 1649.365
29/05/2024 04:00 | 1868.431 | 2052.644 | 1684.218
29/05/2024 04:30 | 1939.681 | 2131.291 | 1748.071
29/05/2024 05:00 | 2030.737 | 2231.731 | 1829.744
29/05/2024 05:30 | 2157.291 | 2371.223 | 1943.358
29/05/2024 06:00 | 2333.409 | 2565.254 | 2101.564
29/05/2024 06:30 | 2482.301 | 2729.416 | 2235.186
29/05/2024 07:00 | 2562.173 | 2817.73 | 2306.616
29/05/2024 07:30 | 2540.497 | 2794.509 | 2286.485
29/05/2024 08:00 | 2507.676 | 2759.269 | 2256.083
29/05/2024 08:30 | 2477.089 | 2726.444 | 2227.734
29/05/2024 09:00 | 2428.562 | 2673.845 | 2183.277
29/05/2024 09:30 | 2341.059 | 2578.29 | 2103.827
29/05/2024 10:00 | 2265.024 | 2495.31 | 2034.739
29/05/2024 10:30 | 2240.863 | 2469.443 | 2012.282
29/05/2024 11:00 | 2201.529 | 2426.836 | 1976.223
29/05/2024 11:30 | 2157.136 | 2378.623 | 1935.65
29/05/2024 12:00 | 2153.228 | 2375.035 | 1931.421
29/05/2024 12:30 | 2207.07 | 2435.164 | 1978.977
29/05/2024 13:00 | 2248.454 | 2481.578 | 2015.329
29/05/2024 13:30 | 2265.845 | 2501.533 | 2030.158
29/05/2024 14:00 | 2338.107 | 2582.095 | 2094.119
29/05/2024 14:30 | 2411.259 | 2663.688 | 2158.829
29/05/2024 15:00 | 2462.42 | 2721.031 | 2203.809
29/05/2024 15:30 | 2523.959 | 2789.88 | 2258.039
29/05/2024 16:00 | 2640.265 | 2919.325 | 2361.205
29/05/2024 16:30 | 2783.647 | 3078.795 | 2488.5
29/05/2024 17:00 | 2910.581 | 3220.164 | 2600.999
29/05/2024 17:30 | 2937.496 | 3250.926 | 2624.066
29/05/2024 18:00 | 2871.447 | 3178.793 | 2564.102
29/05/2024 18:30 | 2801.421 | 3102.21 | 2500.631
29/05/2024 19:00 | 2728.371 | 3022.231 | 2434.51
29/05/2024 19:30 | 2657.839 | 2944.995 | 2370.684
29/05/2024 20:00 | 2569.477 | 2847.947 | 2291.006
29/05/2024 20:30 | 2467.951 | 2736.246 | 2199.656
29/05/2024 21:00 | 2356.87 | 2613.879 | 2099.861
29/05/2024 21:30 | 2242.773 | 2488.093 | 1997.454
29/05/2024 22:00 | 2138.295 | 2372.904 | 1903.687
29/05/2024 22:30 | 2049.582 | 2275.144 | 1824.02
29/05/2024 23:00 | 1978.474 | 2196.874 | 1760.074
29/05/2024 23:30 | 1920.43 | 2133.066 | 1707.793
30/05/2024 00:00 | 1871.826 | 2079.708 | 1663.944
30/05/2024 00:30 | 1838.257 | 2043.028 | 1633.487
30/05/2024 01:00 | 1817.198 | 2020.233 | 1614.164
30/05/2024 01:30 | 1802.652 | 2004.666 | 1600.639
30/05/2024 02:00 | 1797.348 | 1999.37 | 1595.326
30/05/2024 02:30 | 1801.904 | 2005.042 | 1598.767
30/05/2024 03:00 | 1809.752 | 2014.381 | 1605.122
30/05/2024 03:30 | 1828.966 | 2036.381 | 1621.551
30/05/2024 04:00 | 1869.599 | 2082.248 | 1656.948
30/05/2024 04:30 | 1938.71 | 2159.87 | 1717.549
30/05/2024 05:00 | 2041.811 | 2275.417 | 1808.204
30/05/2024 05:30 | 2186.038 | 2436.878 | 1935.197
30/05/2024 06:00 | 2353.333 | 2624.159 | 2082.506
30/05/2024 06:30 | 2488.688 | 2775.926 | 2201.45
30/05/2024 07:00 | 2551.915 | 2847.306 | 2256.524
30/05/2024 07:30 | 2500.117 | 2790.351 | 2209.884