## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
25/05/2024 08:00 | 1840.738 | 1871.705 | 1809.771
25/05/2024 08:30 | 1733.122 | 1768.905 | 1697.34 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
25/05/2024 09:00 | 1660.563 | 1701.195 | 1619.93 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
25/05/2024 09:30 | 1569.075 | 1613.468 | 1524.682 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
25/05/2024 10:00 | 1493.005 | 1540.953 | 1445.057 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
25/05/2024 10:30 | 1425.436 | 1475.253 | 1375.619 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
25/05/2024 11:00 | 1388.904 | 1438.656 | 1339.153 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
25/05/2024 11:30 | 1347.635 | 1397.312 | 1297.958 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
25/05/2024 12:00 | 1320.195 | 1370.235 | 1270.155 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
25/05/2024 12:30 | 1339.459 | 1391.625 | 1287.293 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
25/05/2024 13:00 | 1385.997 | 1441.419 | 1330.575 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
25/05/2024 13:30 | 1462.792 | 1522.808 | 1402.776
25/05/2024 14:00 | 1571.223 | 1637.324 | 1505.122 | Summary view - for each schedule horizon (dispatch, week-ahead)
25/05/2024 14:30 | 1692.201 | 1765.154 | 1619.248
25/05/2024 15:00 | 1843.913 | 1925.327 | 1762.499 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
25/05/2024 15:30 | 2016.256 | 2107.379 | 1925.133 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
25/05/2024 16:00 | 2193.679 | 2290.813 | 2092.253 | Scenario | Violations
25/05/2024 16:30 | 2348.638 | 2455.838 | 2234.111 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
25/05/2024 17:00 | 2460.896 | 2575.606 | 2338.178 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
25/05/2024 17:30 | 2503.618 | 2622.88 | 2376.128 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0
25/05/2024 18:00 | 2456.282 | 2576.367 | 2329.122 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0
25/05/2024 18:30 | 2398.066 | 2518.315 | 2273.154 | Low Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0
25/05/2024 19:00 | 2338.884 | 2457.764 | 2217.536
25/05/2024 19:30 | 2285.282 | 2402.298 | 2166.348 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
25/05/2024 20:00 | 2229.421 | 2344.374 | 2112.997
25/05/2024 20:30 | 2182.92 | 2296.137 | 2068.428 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
25/05/2024 21:00 | 2132.712 | 2243.935 | 2020.336 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
25/05/2024 21:30 | 2071.978 | 2180.58 | 1962.257 | [7 empty] | 25/05/2024 10:00 | [11 empty] | 25/05/2024 11:00 | [11 empty] | 25/05/2024 10:00
25/05/2024 22:00 | 2008.867 | 2114.668 | 1901.941 | [7 empty] | 25/05/2024 10:30 | [11 empty] | 25/05/2024 11:30 | [11 empty] | 25/05/2024 10:30
25/05/2024 22:30 | 1950.892 | 2054.162 | 1846.546 | [7 empty] | 25/05/2024 11:00 | [11 empty] | 25/05/2024 12:00 | [11 empty] | 25/05/2024 11:00
25/05/2024 23:00 | 1901.219 | 2002.348 | 1799.018 | [7 empty] | 25/05/2024 11:30 | [11 empty] | 25/05/2024 12:30 | [11 empty] | 25/05/2024 11:30
25/05/2024 23:30 | 1859.134 | 1958.474 | 1758.671 | [7 empty] | 25/05/2024 12:00 | [11 empty] | 25/05/2024 13:00 | [11 empty] | 25/05/2024 12:00
26/05/2024 00:00 | 1820.803 | 1918.618 | 1721.971 | [7 empty] | 25/05/2024 12:30 | [23 empty] | 25/05/2024 12:30
26/05/2024 00:30 | 1789.642 | 1886.257 | 1692.033 | [7 empty] | 25/05/2024 13:00 | [23 empty] | 25/05/2024 13:00
26/05/2024 01:00 | 1768.211 | 1864.182 | 1671.348 | [7 empty] | 25/05/2024 13:30 | [23 empty] | 25/05/2024 13:30
26/05/2024 01:30 | 1751.417 | 1846.939 | 1655.014 | [31 empty] | 28/05/2024 13:30
26/05/2024 02:00 | 1741.565 | 1837.47 | 1645.66
26/05/2024 02:30 | 1735.537 | 1831.567 | 1639.507
26/05/2024 03:00 | 1732.605 | 1828.929 | 1636.281
26/05/2024 03:30 | 1735.888 | 1832.851 | 1638.924
26/05/2024 04:00 | 1743.879 | 1841.748 | 1646.01
26/05/2024 04:30 | 1756.921 | 1855.985 | 1657.858
26/05/2024 05:00 | 1780.24 | 1881.087 | 1679.393
26/05/2024 05:30 | 1813.32 | 1916.519 | 1710.122
26/05/2024 06:00 | 1848.322 | 1953.999 | 1742.645
26/05/2024 06:30 | 1881.909 | 1989.954 | 1773.865
26/05/2024 07:00 | 1885.38 | 1993.976 | 1776.784
26/05/2024 07:30 | 1813.773 | 1918.591 | 1708.955
26/05/2024 08:00 | 1703.254 | 1802.01 | 1604.498
26/05/2024 08:30 | 1589.05 | 1681.488 | 1496.611
26/05/2024 09:00 | 1481.485 | 1567.949 | 1395.021
26/05/2024 09:30 | 1386.309 | 1467.483 | 1305.135
26/05/2024 10:00 | 1310.918 | 1387.928 | 1233.907
26/05/2024 10:30 | 1244.372 | 1317.71 | 1171.033
26/05/2024 11:00 | 1203.02 | 1274.151 | 1131.889
26/05/2024 11:30 | 1174.147 | 1243.796 | 1104.498
26/05/2024 12:00 | 1157.539 | 1226.424 | 1088.655
26/05/2024 12:30 | 1187.327 | 1258.211 | 1116.442
26/05/2024 13:00 | 1238.518 | 1312.695 | 1164.341
26/05/2024 13:30 | 1336.693 | 1417.005 | 1256.381
26/05/2024 14:00 | 1492.269 | 1582.214 | 1402.324
26/05/2024 14:30 | 1648.589 | 1748.27 | 1548.907
26/05/2024 15:00 | 1814.527 | 1924.589 | 1704.465
26/05/2024 15:30 | 2001.181 | 2122.947 | 1879.415
26/05/2024 16:00 | 2185.146 | 2318.524 | 2051.769
26/05/2024 16:30 | 2352.221 | 2496.246 | 2208.197
26/05/2024 17:00 | 2476.973 | 2629.109 | 2324.837
26/05/2024 17:30 | 2523.449 | 2678.922 | 2367.976
26/05/2024 18:00 | 2470.538 | 2623.223 | 2317.853
26/05/2024 18:30 | 2408.521 | 2557.834 | 2259.209
26/05/2024 19:00 | 2352.003 | 2498.261 | 2205.745
26/05/2024 19:30 | 2293.087 | 2436.119 | 2150.054
26/05/2024 20:00 | 2225.723 | 2364.979 | 2086.467
26/05/2024 20:30 | 2162.043 | 2297.729 | 2026.359
26/05/2024 21:00 | 2091.595 | 2223.259 | 1959.932
26/05/2024 21:30 | 2017.415 | 2144.794 | 1890.036
26/05/2024 22:00 | 1945.851 | 2069.083 | 1822.618
26/05/2024 22:30 | 1885.938 | 2005.736 | 1766.139
26/05/2024 23:00 | 1842.868 | 1960.282 | 1725.453
26/05/2024 23:30 | 1808.974 | 1920.917 | 1697.031
27/05/2024 00:00 | 1781.974 | 1885.433 | 1678.515
27/05/2024 00:30 | 1760.036 | 1863.116 | 1656.955
27/05/2024 01:00 | 1745.767 | 1848.3 | 1643.234
27/05/2024 01:30 | 1738.296 | 1840.678 | 1635.914
27/05/2024 02:00 | 1736 | 1838.533 | 1633.467
27/05/2024 02:30 | 1739.23 | 1842.241 | 1636.219
27/05/2024 03:00 | 1746.833 | 1850.583 | 1643.083
27/05/2024 03:30 | 1766.369 | 1871.571 | 1661.167
27/05/2024 04:00 | 1807.963 | 1915.94 | 1699.985
27/05/2024 04:30 | 1878.64 | 1991.149 | 1766.132
27/05/2024 05:00 | 1978.279 | 2097.081 | 1859.477
27/05/2024 05:30 | 2111.383 | 2238.527 | 1984.239
27/05/2024 06:00 | 2263.849 | 2400.548 | 2127.149
27/05/2024 06:30 | 2389.049 | 2533.748 | 2244.35
27/05/2024 07:00 | 2437.865 | 2586.062 | 2289.669
27/05/2024 07:30 | 2356.919 | 2500.71 | 2213.129
27/05/2024 08:00 | 2236.794 | 2373.745 | 2099.843
27/05/2024 08:30 | 2125.911 | 2256.537 | 1995.285
27/05/2024 09:00 | 2015.442 | 2139.721 | 1891.163
27/05/2024 09:30 | 1897.144 | 2014.543 | 1779.745
27/05/2024 10:00 | 1831.978 | 1945.745 | 1718.212
27/05/2024 10:30 | 1848.677 | 1963.076 | 1733.469
27/05/2024 11:00 | 1820.016 | 1933.039 | 1706.197
27/05/2024 11:30 | 1708.8 | 1815.29 | 1601.562
27/05/2024 12:00 | 1623.518 | 1725.048 | 1521.278
27/05/2024 12:30 | 1570.141 | 1668.677 | 1470.92
27/05/2024 13:00 | 1550.515 | 1648.158 | 1452.195
27/05/2024 13:30 | 1617.522 | 1719.738 | 1514.6
27/05/2024 14:00 | 1728.364 | 1837.962 | 1618.011
27/05/2024 14:30 | 1881.797 | 2001.535 | 1761.236
27/05/2024 15:00 | 2045.796 | 2176.417 | 1915.175
27/05/2024 15:30 | 2225.058 | 2367.61 | 2082.506
27/05/2024 16:00 | 2398.119 | 2552.282 | 2243.955
27/05/2024 16:30 | 2551.877 | 2716.483 | 2387.272
27/05/2024 17:00 | 2682.232 | 2855.832 | 2508.633
27/05/2024 17:30 | 2726.66 | 2903.731 | 2549.589
27/05/2024 18:00 | 2675.154 | 2849.465 | 2500.844
27/05/2024 18:30 | 2603.235 | 2773.428 | 2433.042
27/05/2024 19:00 | 2523.851 | 2689.405 | 2358.296
27/05/2024 19:30 | 2452.122 | 2613.507 | 2290.736
27/05/2024 20:00 | 2369.653 | 2526.129 | 2213.178
27/05/2024 20:30 | 2287.496 | 2439.046 | 2135.945
27/05/2024 21:00 | 2201.245 | 2347.562 | 2054.928
27/05/2024 21:30 | 2113.556 | 2254.506 | 1972.606
27/05/2024 22:00 | 2029.109 | 2164.87 | 1893.347
27/05/2024 22:30 | 1960.999 | 2092.632 | 1829.366
27/05/2024 23:00 | 1912.784 | 2041.599 | 1783.97
27/05/2024 23:30 | 1876.486 | 2003.266 | 1749.706
28/05/2024 00:00 | 1847.156 | 1972.358 | 1721.954
28/05/2024 00:30 | 1824.908 | 1949.001 | 1700.815
28/05/2024 01:00 | 1811.036 | 1934.581 | 1687.491
28/05/2024 01:30 | 1796.125 | 1919.045 | 1673.204
28/05/2024 02:00 | 1790.443 | 1913.365 | 1667.52
28/05/2024 02:30 | 1790.776 | 1914.113 | 1667.439
28/05/2024 03:00 | 1795.124 | 1919.153 | 1671.096
28/05/2024 03:30 | 1810.949 | 1936.467 | 1685.432
28/05/2024 04:00 | 1848.709 | 1977.247 | 1720.17
28/05/2024 04:30 | 1918.779 | 2052.609 | 1784.95
28/05/2024 05:00 | 2011.189 | 2151.903 | 1870.474
28/05/2024 05:30 | 2141.884 | 2292.21 | 1991.557
28/05/2024 06:00 | 2312.589 | 2475.402 | 2149.777
28/05/2024 06:30 | 2458.307 | 2631.915 | 2284.698
28/05/2024 07:00 | 2547.025 | 2727.455 | 2366.594
28/05/2024 07:30 | 2540.64 | 2721.173 | 2360.106
28/05/2024 08:00 | 2518.562 | 2698.076 | 2339.047
28/05/2024 08:30 | 2501.649 | 2680.505 | 2322.793
28/05/2024 09:00 | 2469.733 | 2646.847 | 2292.62
28/05/2024 09:30 | 2397.677 | 2570.147 | 2225.207
28/05/2024 10:00 | 2344.455 | 2513.608 | 2175.301
28/05/2024 10:30 | 2330.538 | 2499.197 | 2161.879
28/05/2024 11:00 | 2319.347 | 2487.703 | 2150.991
28/05/2024 11:30 | 2315.637 | 2484.229 | 2147.044
28/05/2024 12:00 | 2309.927 | 2478.608 | 2141.245
28/05/2024 12:30 | 2308.09 | 2477.141 | 2139.038
28/05/2024 13:00 | 2319.019 | 2489.377 | 2148.66
28/05/2024 13:30 | 2315.042 | 2485.614 | 2144.469
28/05/2024 14:00 | 2354.177 | 2528.147 | 2180.207
28/05/2024 14:30 | 2417.928 | 2597.138 | 2238.719
28/05/2024 15:00 | 2477.527 | 2661.695 | 2293.359
28/05/2024 15:30 | 2540.232 | 2729.616 | 2350.848
28/05/2024 16:00 | 2651.985 | 2850.28 | 2453.689
28/05/2024 16:30 | 2799.939 | 3009.909 | 2589.969
28/05/2024 17:00 | 2920.345 | 3139.982 | 2700.708
28/05/2024 17:30 | 2949.086 | 3171.53 | 2726.643
28/05/2024 18:00 | 2885.246 | 3103.505 | 2666.988
28/05/2024 18:30 | 2808.021 | 3021.052 | 2594.991
28/05/2024 19:00 | 2731.671 | 2939.505 | 2523.836
28/05/2024 19:30 | 2659.591 | 2862.522 | 2456.659
28/05/2024 20:00 | 2572.567 | 2769.421 | 2375.713
28/05/2024 20:30 | 2474.896 | 2664.816 | 2284.975
28/05/2024 21:00 | 2364.283 | 2546.232 | 2182.334
28/05/2024 21:30 | 2251.873 | 2425.663 | 2078.083
28/05/2024 22:00 | 2145.418 | 2311.461 | 1979.375
28/05/2024 22:30 | 2056.866 | 2216.506 | 1897.227
28/05/2024 23:00 | 1988.605 | 2143.381 | 1833.83
28/05/2024 23:30 | 1937.499 | 2066.578 | 1808.419
29/05/2024 00:00 | 1895.488 | 1979.181 | 1811.795
29/05/2024 00:30 | 1862.863 | 1948.866 | 1776.861
29/05/2024 01:00 | 1838.631 | 1923.645 | 1753.617
29/05/2024 01:30 | 1824.92 | 1909.429 | 1740.411
29/05/2024 02:00 | 1820.453 | 1904.883 | 1736.023
29/05/2024 02:30 | 1820.876 | 1905.454 | 1736.297
29/05/2024 03:00 | 1827.396 | 1912.407 | 1742.385
29/05/2024 03:30 | 1846.885 | 1932.933 | 1760.837
29/05/2024 04:00 | 1887.442 | 1975.513 | 1799.371
29/05/2024 04:30 | 1960.904 | 2052.542 | 1869.267
29/05/2024 05:00 | 2054.624 | 2150.786 | 1958.462
29/05/2024 05:30 | 2186.615 | 2289.109 | 2084.121
29/05/2024 06:00 | 2371.386 | 2482.709 | 2260.064
29/05/2024 06:30 | 2529.716 | 2648.65 | 2410.782
29/05/2024 07:00 | 2617.037 | 2740.261 | 2493.813
29/05/2024 07:30 | 2595.966 | 2718.408 | 2473.523
29/05/2024 08:00 | 2563.456 | 2684.625 | 2442.286
29/05/2024 08:30 | 2533.929 | 2653.956 | 2413.902
29/05/2024 09:00 | 2480.353 | 2598.089 | 2362.616
29/05/2024 09:30 | 2396.295 | 2510.281 | 2282.309
29/05/2024 10:00 | 2337.742 | 2449.176 | 2226.307
29/05/2024 10:30 | 2321.042 | 2431.912 | 2210.172
29/05/2024 11:00 | 2306.698 | 2417.113 | 2196.283
29/05/2024 11:30 | 2326.684 | 2438.288 | 2215.08
29/05/2024 12:00 | 2342.16 | 2454.74 | 2229.579
29/05/2024 12:30 | 2351.911 | 2465.195 | 2238.627
29/05/2024 13:00 | 2372.656 | 2487.176 | 2258.135
29/05/2024 13:30 | 2364.47 | 2478.832 | 2250.109
29/05/2024 14:00 | 2401.727 | 2518.129 | 2285.323
29/05/2024 14:30 | 2461.342 | 2580.88 | 2341.804
29/05/2024 15:00 | 2516.629 | 2639.104 | 2394.155
29/05/2024 15:30 | 2580.479 | 2706.318 | 2454.639
29/05/2024 16:00 | 2703.86 | 2835.987 | 2571.734
29/05/2024 16:30 | 2859.846 | 2999.881 | 2719.812
29/05/2024 17:00 | 3000.556 | 3147.78 | 2853.332
29/05/2024 17:30 | 3038.992 | 3188.405 | 2889.579
29/05/2024 18:00 | 2979.077 | 3125.842 | 2832.312
29/05/2024 18:30 | 2909.655 | 3053.291 | 2766.02
29/05/2024 19:00 | 2835.887 | 2976.164 | 2695.61
29/05/2024 19:30 | 2764.588 | 2901.615 | 2627.562
29/05/2024 20:00 | 2673.141 | 2805.901 | 2540.38
29/05/2024 20:30 | 2563.583 | 2691.159 | 2436.008
29/05/2024 21:00 | 2441.115 | 2562.84 | 2319.39
29/05/2024 21:30 | 2316.304 | 2432.037 | 2200.572
29/05/2024 22:00 | 2201.566 | 2311.785 | 2091.346
29/05/2024 22:30 | 2101.948 | 2207.39 | 1996.506
29/05/2024 23:00 | 2021.394 | 2122.997 | 1919.791
29/05/2024 23:30 | 1955.72 | 2080.22 | 1831.221
30/05/2024 00:00 | 1899.847 | 2071.068 | 1728.626
30/05/2024 00:30 | 1860.464 | 2024.28 | 1696.649
30/05/2024 01:00 | 1835.989 | 1998.001 | 1673.976
30/05/2024 01:30 | 1822.907 | 1984.114 | 1661.7
30/05/2024 02:00 | 1817.418 | 1978.489 | 1656.348
30/05/2024 02:30 | 1821.182 | 1982.935 | 1659.429
30/05/2024 03:00 | 1828.129 | 1990.849 | 1665.409
30/05/2024 03:30 | 1847.103 | 2011.866 | 1682.339
30/05/2024 04:00 | 1889.85 | 2058.788 | 1720.911
30/05/2024 04:30 | 1964.516 | 2140.506 | 1788.527
30/05/2024 05:00 | 2075.89 | 2262.255 | 1889.526
30/05/2024 05:30 | 2232.887 | 2433.774 | 2032
30/05/2024 06:00 | 2407.07 | 2624.089 | 2190.05
30/05/2024 06:30 | 2547.146 | 2777.283 | 2317.009
30/05/2024 07:00 | 2598.328 | 2833.587 | 2363.069
30/05/2024 07:30 | 2473.449 | 2697.876 | 2249.023
30/05/2024 08:00 | 2297.354 | 2506.243 | 2088.465
30/05/2024 08:30 | 2150.293 | 2346.223 | 1954.364
30/05/2024 09:00 | 1993.571 | 2175.603 | 1811.54
30/05/2024 09:30 | 1838.146 | 2006.338 | 1669.954
30/05/2024 10:00 | 1704.301 | 1860.572 | 1548.029
30/05/2024 10:30 | 1595.868 | 1742.503 | 1449.233
30/05/2024 11:00 | 1530.84 | 1671.793 | 1389.887
30/05/2024 11:30 | 1496.665 | 1634.758 | 1358.571
30/05/2024 12:00 | 1494.834 | 1633.045 | 1356.623
30/05/2024 12:30 | 1541.977 | 1684.843 | 1399.112
30/05/2024 13:00 | 1575.264 | 1721.515 | 1429.013
30/05/2024 13:30 | 1651.119 | 1804.729 | 1497.508
30/05/2024 14:00 | 1781.069 | 1947.111 | 1615.028
30/05/2024 14:30 | 1919.782 | 2099.124 | 1740.441
30/05/2024 15:00 | 2088.715 | 2284.238 | 1893.192
30/05/2024 15:30 | 2264.973 | 2477.429 | 2052.517
30/05/2024 16:00 | 2432.354 | 2660.976 | 2203.731
30/05/2024 16:30 | 2607.026 | 2852.567 | 2361.486
30/05/2024 17:00 | 2770.988 | 3032.502 | 2509.474
30/05/2024 17:30 | 2847.63 | 3116.923 | 2578.337
30/05/2024 18:00 | 2813.114 | 3079.682 | 2546.545
30/05/2024 18:30 | 2757.051 | 3018.835 | 2495.267
30/05/2024 19:00 | 2690.654 | 2946.649 | 2434.658
30/05/2024 19:30 | 2625.218 | 2875.491 | 2374.945
30/05/2024 20:00 | 2539.002 | 2781.542 | 2296.462
30/05/2024 20:30 | 2440.779 | 2674.404 | 2207.154
30/05/2024 21:00 | 2330.097 | 2553.575 | 2106.62
30/05/2024 21:30 | 2221.946 | 2435.477 | 2008.415
30/05/2024 22:00 | 2121.645 | 2325.943 | 1917.347
30/05/2024 22:30 | 2036.247 | 2232.712 | 1839.781
30/05/2024 23:00 | 1968.637 | 2158.957 | 1778.318
30/05/2024 23:30 | 1915.148 | 2100.664 | 1729.633
31/05/2024 00:00 | 1873.276 | 2055.094 | 1691.457
31/05/2024 00:30 | 1842.337 | 2021.505 | 1663.168
31/05/2024 01:00 | 1822.519 | 2000.109 | 1644.928
31/05/2024 01:30 | 1810.703 | 1987.489 | 1633.917
31/05/2024 02:00 | 1805.058 | 1981.64 | 1628.477
31/05/2024 02:30 | 1809.175 | 1986.505 | 1631.844
31/05/2024 03:00 | 1815.047 | 1993.301 | 1636.793
31/05/2024 03:30 | 1832.592 | 2012.92 | 1652.263
31/05/2024 04:00 | 1872.847 | 2057.496 | 1688.199
31/05/2024 04:30 | 1943.158 | 2135.111 | 1751.205
31/05/2024 05:00 | 2049.355 | 2252.192 | 1846.519
31/05/2024 05:30 | 2194.052 | 2411.631 | 1976.474
31/05/2024 06:00 | 2355.693 | 2589.752 | 2121.634
31/05/2024 06:30 | 2487.785 | 2735.445 | 2240.124
31/05/2024 07:00 | 2541.005 | 2794.451 | 2287.559
31/05/2024 07:30 | 2443.173 | 2687.454 | 2198.892
31/05/2024 08:00 | 2282.899 | 2511.941 | 2053.858
31/05/2024 08:30 | 2136.38 | 2351.438 | 1921.323
31/05/2024 09:00 | 1991.746 | 2192.911 | 1790.58
31/05/2024 09:30 | 1855.274 | 2043.278 | 1667.269
31/05/2024 10:00 | 1723.072 | 1898.257 | 1547.886
31/05/2024 10:30 | 1587.407 | 1749.331 | 1425.483
31/05/2024 11:00 | 1519.427 | 1674.927 | 1363.927
31/05/2024 11:30 | 1500.783 | 1654.877 | 1346.688
31/05/2024 12:00 | 1486.969 | 1640.143 | 1333.794
31/05/2024 12:30 | 1497.14 | 1651.865 | 1342.416
31/05/2024 13:00 | 1527.531 | 1685.909 | 1369.154
31/05/2024 13:30 | 1635.56 | 1805.687 | 1465.434
31/05/2024 14:00 | 1800.831 | 1988.753 | 1612.91
31/05/2024 14:30 | 1962.907 | 2168.4 | 1757.415
31/05/2024 15:00 | 2110.285 | 2331.914 | 1888.656
31/05/2024 15:30 | 2223.436 | 2457.694 | 1989.177
31/05/2024 16:00 | 2362.1 | 2611.76 | 2112.44
31/05/2024 16:30 | 2515.261 | 2781.952 | 2248.57
31/05/2024 17:00 | 2641.477 | 2922.437 | 2360.518
31/05/2024 17:30 | 2679.708 | 2965.632 | 2393.783
31/05/2024 18:00 | 2629.117 | 2910.525 | 2347.71
31/05/2024 18:30 | 2576.082 | 2852.677 | 2299.487
31/05/2024 19:00 | 2521.549 | 2793.134 | 2249.964
31/05/2024 19:30 | 2463.043 | 2729.152 | 2196.934
31/05/2024 20:00 | 2394.529 | 2654.04 | 2135.019
31/05/2024 20:30 | 2324.551 | 2577.256 | 2071.845
31/05/2024 21:00 | 2245.589 | 2490.464 | 2000.715
31/05/2024 21:30 | 2164.779 | 2401.568 | 1927.991
31/05/2024 22:00 | 2083.433 | 2312.021 | 1854.844
31/05/2024 22:30 | 2010.848 | 2232.147 | 1789.549
31/05/2024 23:00 | 1949.306 | 2164.487 | 1734.126
31/05/2024 23:30 | 1899.999 | 2109.138 | 1690.86
01/06/2024 00:00 | 1857.45 | 2060.21 | 1654.69
01/06/2024 00:30 | 1825.177 | 2025.446 | 1624.908
01/06/2024 01:00 | 1805.302 | 2004.197 | 1606.406
01/06/2024 01:30 | 1790.083 | 1988.104 | 1592.063
01/06/2024 02:00 | 1781.017 | 1978.831 | 1583.203
01/06/2024 02:30 | 1775.515 | 1973.513 | 1577.517
01/06/2024 03:00 | 1774.366 | 1973.03 | 1575.702
01/06/2024 03:30 | 1777.541 | 1977.355 | 1577.726
01/06/2024 04:00 | 1793.41 | 1995.811 | 1591.01
01/06/2024 04:30 | 1826.495 | 2033.447 | 1619.543
01/06/2024 05:00 | 1877.738 | 2091.336 | 1664.139
01/06/2024 05:30 | 1954.576 | 2177.789 | 1731.362
01/06/2024 06:00 | 2043.697 | 2278.002 | 1809.391
01/06/2024 06:30 | 2116.783 | 2360.415 | 1873.151
01/06/2024 07:00 | 2143.234 | 2390.87 | 1895.599
01/06/2024 07:30 | 2086.489 | 2328.502 | 1844.477