## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
28/05/2024 08:00 | 2342.804 | 2375.9 | 2309.707
28/05/2024 08:30 | 2218.769 | 2256.709 | 2180.828 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
28/05/2024 09:00 | 2087.399 | 2129.298 | 2045.5 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
28/05/2024 09:30 | 1971.984 | 2017.429 | 1926.54 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
28/05/2024 10:00 | 1893.453 | 1942.716 | 1844.189 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
28/05/2024 10:30 | 1840.91 | 1892.962 | 1788.858 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
28/05/2024 11:00 | 1812.14 | 1864.903 | 1759.377 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
28/05/2024 11:30 | 1775.428 | 1828.831 | 1722.024 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
28/05/2024 12:00 | 1739.492 | 1793.49 | 1685.494 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
28/05/2024 12:30 | 1753.873 | 1810.007 | 1697.74 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
28/05/2024 13:00 | 1766.034 | 1824.258 | 1707.81 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
28/05/2024 13:30 | 1784.353 | 1844.899 | 1723.807
28/05/2024 14:00 | 1849.655 | 1914.198 | 1786.254 | Summary view - for each schedule horizon (dispatch, week-ahead)
28/05/2024 14:30 | 1965.474 | 2036.8 | 1895.786
28/05/2024 15:00 | 2105.55 | 2183.694 | 2028.593 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
28/05/2024 15:30 | 2269.617 | 2355.769 | 2184.229 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
28/05/2024 16:00 | 2433.186 | 2527.524 | 2338.961 | Scenario | Violations
28/05/2024 16:30 | 2598.278 | 2701.208 | 2494.87 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
28/05/2024 17:00 | 2735.501 | 2845.828 | 2623.376 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
28/05/2024 17:30 | 2787.463 | 2902.017 | 2670.017 | Reference Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0
28/05/2024 18:00 | 2750.665 | 2866.458 | 2632.216 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0
28/05/2024 18:30 | 2683.701 | 2799.358 | 2566.69 | Low Demand Scenario | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 7 | 7 | 0 | 0
28/05/2024 19:00 | 2608.539 | 2722.559 | 2494.491
28/05/2024 19:30 | 2541.526 | 2653.701 | 2429.495 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
28/05/2024 20:00 | 2458.647 | 2568.209 | 2349.383
28/05/2024 20:30 | 2372.091 | 2478.575 | 2265.608 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
28/05/2024 21:00 | 2275.245 | 2378.272 | 2172.219 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
28/05/2024 21:30 | 2175.155 | 2274.501 | 2075.81 | [9 empty] | 01/06/2024 11:30 | 01/06/2024 11:30 | [8 empty] | 30/05/2024 17:30 | [9 empty] | 01/06/2024 11:30 |  |  |  | 01/06/2024 10:30 | 01/06/2024 10:30
28/05/2024 22:00 | 2079.988 | 2175.801 | 1984.174 | [9 empty] | 01/06/2024 12:00 | 01/06/2024 12:00 | [18 empty] | 01/06/2024 12:00 |  |  |  | 01/06/2024 11:00 | 01/06/2024 11:00
28/05/2024 22:30 | 2002.273 | 2095.29 | 1909.256 | [33 empty] | 01/06/2024 11:30 | 01/06/2024 11:30
28/05/2024 23:00 | 1944.034 | 2035.106 | 1852.962 | [33 empty] | 01/06/2024 12:00 | 01/06/2024 12:00
28/05/2024 23:30 | 1899.96 | 1984.501 | 1815.419 | [33 empty] | 01/06/2024 12:30 | 01/06/2024 12:30
29/05/2024 00:00 | 1865.011 | 1938.452 | 1791.57 | [33 empty] | 01/06/2024 13:00 | 01/06/2024 13:00
29/05/2024 00:30 | 1837.457 | 1910.964 | 1763.95 | [33 empty] | 02/06/2024 11:30 | 02/06/2024 11:30
29/05/2024 01:00 | 1819.101 | 1892.185 | 1746.016
29/05/2024 01:30 | 1806.559 | 1879.449 | 1733.668
29/05/2024 02:00 | 1800.031 | 1872.967 | 1727.095
29/05/2024 02:30 | 1800.907 | 1874.188 | 1727.627
29/05/2024 03:00 | 1807.278 | 1881.128 | 1733.429
29/05/2024 03:30 | 1826.223 | 1901.16 | 1751.286
29/05/2024 04:00 | 1867.951 | 1944.921 | 1790.982
29/05/2024 04:30 | 1940.971 | 2021.283 | 1860.66
29/05/2024 05:00 | 2044.285 | 2129.221 | 1959.348
29/05/2024 05:30 | 2192.414 | 2283.882 | 2100.947
29/05/2024 06:00 | 2370.348 | 2469.646 | 2271.051
29/05/2024 06:30 | 2520.787 | 2626.634 | 2414.94
29/05/2024 07:00 | 2598.844 | 2707.847 | 2489.841
29/05/2024 07:30 | 2542.224 | 2648.764 | 2435.683
29/05/2024 08:00 | 2453.905 | 2556.66 | 2351.15
29/05/2024 08:30 | 2372.647 | 2471.918 | 2273.375
29/05/2024 09:00 | 2263.238 | 2357.854 | 2168.623
29/05/2024 09:30 | 2115.21 | 2203.565 | 2026.855
29/05/2024 10:00 | 2009.628 | 2093.504 | 1925.753
29/05/2024 10:30 | 1968.478 | 2050.569 | 1886.388
29/05/2024 11:00 | 1952.988 | 2034.365 | 1871.61
29/05/2024 11:30 | 1974.32 | 2056.519 | 1892.122
29/05/2024 12:00 | 1983.627 | 2066.145 | 1901.109
29/05/2024 12:30 | 1976.5 | 2058.654 | 1894.347
29/05/2024 13:00 | 1974.206 | 2056.196 | 1892.215
29/05/2024 13:30 | 1981.901 | 2064.143 | 1899.659
29/05/2024 14:00 | 2061.88 | 2147.37 | 1976.39
29/05/2024 14:30 | 2223.209 | 2315.312 | 2131.106
29/05/2024 15:00 | 2390.521 | 2489.473 | 2291.568
29/05/2024 15:30 | 2528.417 | 2632.99 | 2423.844
29/05/2024 16:00 | 2684.134 | 2795.055 | 2573.212
29/05/2024 16:30 | 2864.822 | 2983.112 | 2746.532
29/05/2024 17:00 | 3017.702 | 3142.201 | 2893.204
29/05/2024 17:30 | 3070.524 | 3197.097 | 2943.952
29/05/2024 18:00 | 3019.486 | 3143.851 | 2895.121
29/05/2024 18:30 | 2944.565 | 3065.744 | 2823.387
29/05/2024 19:00 | 2859.334 | 2976.906 | 2741.762
29/05/2024 19:30 | 2784.489 | 2898.889 | 2670.09
29/05/2024 20:00 | 2690.14 | 2800.571 | 2579.709
29/05/2024 20:30 | 2577.197 | 2682.903 | 2471.491
29/05/2024 21:00 | 2448.622 | 2548.97 | 2348.274
29/05/2024 21:30 | 2319.77 | 2414.758 | 2224.782
29/05/2024 22:00 | 2200.854 | 2290.897 | 2110.811
29/05/2024 22:30 | 2102.635 | 2188.587 | 2016.682
29/05/2024 23:00 | 2028.183 | 2111.023 | 1945.344
29/05/2024 23:30 | 1968.784 | 2049.13 | 1888.439
30/05/2024 00:00 | 1920.158 | 1998.453 | 1841.862
30/05/2024 00:30 | 1884.054 | 1960.812 | 1807.295
30/05/2024 01:00 | 1859.575 | 1935.272 | 1783.878
30/05/2024 01:30 | 1843.216 | 1918.184 | 1768.248
30/05/2024 02:00 | 1836.594 | 1911.23 | 1761.958
30/05/2024 02:30 | 1839.823 | 1914.527 | 1765.119
30/05/2024 03:00 | 1847.355 | 1922.302 | 1772.409
30/05/2024 03:30 | 1867.077 | 1942.759 | 1791.395
30/05/2024 04:00 | 1909.412 | 1986.745 | 1832.079
30/05/2024 04:30 | 1984.041 | 2064.328 | 1903.754
30/05/2024 05:00 | 2086.383 | 2170.922 | 2002.026
30/05/2024 05:30 | 2231.384 | 2321.72 | 2141.124
30/05/2024 06:00 | 2412.77 | 2510.365 | 2315.255
30/05/2024 06:30 | 2567.961 | 2671.747 | 2464.263
30/05/2024 07:00 | 2647.391 | 2754.295 | 2540.576
30/05/2024 07:30 | 2596.206 | 2701.031 | 2491.43
30/05/2024 08:00 | 2530.831 | 2633.185 | 2428.473
30/05/2024 08:30 | 2476.056 | 2576.371 | 2375.74
30/05/2024 09:00 | 2363.761 | 2459.694 | 2267.828
30/05/2024 09:30 | 2207.586 | 2297.336 | 2117.835
30/05/2024 10:00 | 2115.382 | 2201.533 | 2029.23
30/05/2024 10:30 | 2139.263 | 2226.539 | 2051.988
30/05/2024 11:00 | 2132.67 | 2219.826 | 2045.513
30/05/2024 11:30 | 2099.187 | 2185.123 | 2013.25
30/05/2024 12:00 | 2098.775 | 2184.844 | 2012.707
30/05/2024 12:30 | 2085.141 | 2170.797 | 1999.484
30/05/2024 13:00 | 2071.819 | 2157.074 | 1986.563
30/05/2024 13:30 | 2138.892 | 2227.058 | 2050.725
30/05/2024 14:00 | 2260.538 | 2353.879 | 2167.197
30/05/2024 14:30 | 2383.455 | 2482.039 | 2284.87
30/05/2024 15:00 | 2489.809 | 2592.969 | 2386.649
30/05/2024 15:30 | 2576.444 | 2683.375 | 2469.512
30/05/2024 16:00 | 2701.13 | 2813.427 | 2588.833
30/05/2024 16:30 | 2853.916 | 2972.766 | 2735.065
30/05/2024 17:00 | 2999.115 | 3124.224 | 2874.005
30/05/2024 17:30 | 3052.221 | 3179.761 | 2924.681
30/05/2024 18:00 | 3001.15 | 3126.768 | 2875.531
30/05/2024 18:30 | 2934.967 | 3058.022 | 2811.911
30/05/2024 19:00 | 2862.834 | 2983.067 | 2742.601
30/05/2024 19:30 | 2788.002 | 2905.29 | 2670.715
30/05/2024 20:00 | 2692.653 | 2806.12 | 2579.187
30/05/2024 20:30 | 2579.754 | 2688.645 | 2470.863
30/05/2024 21:00 | 2451.878 | 2555.545 | 2348.211
30/05/2024 21:30 | 2328.221 | 2426.824 | 2229.618
30/05/2024 22:00 | 2214.587 | 2308.534 | 2120.64
30/05/2024 22:30 | 2113.976 | 2203.804 | 2024.148
30/05/2024 23:00 | 2032.44 | 2118.947 | 1945.932
30/05/2024 23:30 | 1966.898 | 2068.265 | 1865.53
31/05/2024 00:00 | 1914.1 | 2046.731 | 1781.468
31/05/2024 00:30 | 1877.377 | 2005.037 | 1749.716
31/05/2024 01:00 | 1853.879 | 1980.346 | 1727.411
31/05/2024 01:30 | 1840.607 | 1966.571 | 1714.642
31/05/2024 02:00 | 1834.438 | 1960.381 | 1708.494
31/05/2024 02:30 | 1839.033 | 1965.693 | 1712.373
31/05/2024 03:00 | 1845.783 | 1973.312 | 1718.255
31/05/2024 03:30 | 1864.62 | 1993.857 | 1735.382
31/05/2024 04:00 | 1907.207 | 2039.813 | 1774.601
31/05/2024 04:30 | 1980.433 | 2118.563 | 1842.303
31/05/2024 05:00 | 2096.088 | 2242.743 | 1949.434
31/05/2024 05:30 | 2255.834 | 2414.158 | 2097.51
31/05/2024 06:00 | 2425.777 | 2596.559 | 2254.996
31/05/2024 06:30 | 2572.429 | 2754.097 | 2390.76
31/05/2024 07:00 | 2638.285 | 2825.18 | 2451.389
31/05/2024 07:30 | 2535.874 | 2716.068 | 2355.679
31/05/2024 08:00 | 2366.732 | 2535.425 | 2198.04
31/05/2024 08:30 | 2217.066 | 2375.576 | 2058.557
31/05/2024 09:00 | 2065.718 | 2213.858 | 1917.578
31/05/2024 09:30 | 1914.536 | 2052.252 | 1776.819
31/05/2024 10:00 | 1795.837 | 1925.408 | 1666.266
31/05/2024 10:30 | 1693.948 | 1816.538 | 1571.359
31/05/2024 11:00 | 1656.951 | 1777.225 | 1536.677
31/05/2024 11:30 | 1671.9 | 1793.625 | 1550.176
31/05/2024 12:00 | 1680.848 | 1803.591 | 1558.104
31/05/2024 12:30 | 1697.17 | 1821.476 | 1572.864
31/05/2024 13:00 | 1711.078 | 1836.776 | 1585.379
31/05/2024 13:30 | 1749.214 | 1878.096 | 1620.332
31/05/2024 14:00 | 1827.755 | 1962.823 | 1692.687
31/05/2024 14:30 | 1931.765 | 2074.942 | 1788.589
31/05/2024 15:00 | 2051.337 | 2203.824 | 1898.85
31/05/2024 15:30 | 2217.879 | 2383.23 | 2052.527
31/05/2024 16:00 | 2388.261 | 2566.837 | 2209.685
31/05/2024 16:30 | 2549.762 | 2740.97 | 2358.553
31/05/2024 17:00 | 2683.912 | 2885.768 | 2482.057
31/05/2024 17:30 | 2730.876 | 2936.861 | 2524.892
31/05/2024 18:00 | 2692.853 | 2896.558 | 2489.148
31/05/2024 18:30 | 2640.06 | 2840.348 | 2439.772
31/05/2024 19:00 | 2579.558 | 2775.819 | 2383.296
31/05/2024 19:30 | 2522.309 | 2714.766 | 2329.853
31/05/2024 20:00 | 2453.92 | 2641.695 | 2266.145
31/05/2024 20:30 | 2381.056 | 2563.775 | 2198.336
31/05/2024 21:00 | 2296.781 | 2473.535 | 2120.027
31/05/2024 21:30 | 2210.631 | 2381.239 | 2040.024
31/05/2024 22:00 | 2124.038 | 2288.426 | 1959.649
31/05/2024 22:30 | 2047.55 | 2206.466 | 1888.634
31/05/2024 23:00 | 1981.188 | 2135.386 | 1826.99
31/05/2024 23:30 | 1927.98 | 2083.722 | 1772.238
01/06/2024 00:00 | 1881.735 | 2044.34 | 1719.129
01/06/2024 00:30 | 1846.223 | 2005.343 | 1687.104
01/06/2024 01:00 | 1824.09 | 1981.737 | 1666.442
01/06/2024 01:30 | 1808.126 | 1964.826 | 1651.426
01/06/2024 02:00 | 1797.932 | 1954.178 | 1641.686
01/06/2024 02:30 | 1792.686 | 1948.904 | 1636.467
01/06/2024 03:00 | 1791.595 | 1948.147 | 1635.044
01/06/2024 03:30 | 1794.786 | 1952.045 | 1637.527
01/06/2024 04:00 | 1812.468 | 1971.708 | 1653.227
01/06/2024 04:30 | 1848.18 | 2011 | 1685.36
01/06/2024 05:00 | 1907.951 | 2076.493 | 1739.41
01/06/2024 05:30 | 1995.306 | 2172.041 | 1818.571
01/06/2024 06:00 | 2083.86 | 2268.937 | 1898.784
01/06/2024 06:30 | 2160.411 | 2352.802 | 1968.019
01/06/2024 07:00 | 2189.429 | 2384.927 | 1993.931
01/06/2024 07:30 | 2094.456 | 2281.835 | 1907.078
01/06/2024 08:00 | 1930.953 | 2103.78 | 1758.126
01/06/2024 08:30 | 1773.785 | 1932.636 | 1614.935
01/06/2024 09:00 | 1618.606 | 1763.642 | 1473.57
01/06/2024 09:30 | 1487.668 | 1621.048 | 1354.289
01/06/2024 10:00 | 1366.223 | 1488.783 | 1243.663
01/06/2024 10:30 | 1281.648 | 1396.687 | 1166.61
01/06/2024 11:00 | 1223.037 | 1332.877 | 1113.197
01/06/2024 11:30 | 1178.149 | 1284.018 | 1072.28
01/06/2024 12:00 | 1162.407 | 1266.921 | 1057.894
01/06/2024 12:30 | 1189.543 | 1296.557 | 1082.529
01/06/2024 13:00 | 1239.629 | 1351.212 | 1128.046
01/06/2024 13:30 | 1345.077 | 1466.22 | 1223.933
01/06/2024 14:00 | 1477.685 | 1610.847 | 1344.523
01/06/2024 14:30 | 1626.207 | 1772.836 | 1479.578
01/06/2024 15:00 | 1816.183 | 1980.034 | 1652.332
01/06/2024 15:30 | 2022.381 | 2204.938 | 1839.824
01/06/2024 16:00 | 2210.359 | 2409.997 | 2010.721
01/06/2024 16:30 | 2383.828 | 2599.255 | 2168.401
01/06/2024 17:00 | 2511.606 | 2738.708 | 2284.503
01/06/2024 17:30 | 2559.104 | 2790.631 | 2327.576
01/06/2024 18:00 | 2517.831 | 2745.752 | 2289.909
01/06/2024 18:30 | 2465.42 | 2688.723 | 2242.117
01/06/2024 19:00 | 2416.276 | 2635.251 | 2197.301
01/06/2024 19:30 | 2364.373 | 2578.765 | 2149.98
01/06/2024 20:00 | 2307.124 | 2516.442 | 2097.805
01/06/2024 20:30 | 2255.553 | 2460.307 | 2050.798
01/06/2024 21:00 | 2199.146 | 2398.893 | 1999.4
01/06/2024 21:30 | 2126.614 | 2319.88 | 1933.347
01/06/2024 22:00 | 2049.256 | 2235.597 | 1862.915
01/06/2024 22:30 | 1982.032 | 2162.362 | 1801.703
01/06/2024 23:00 | 1927.537 | 2103.006 | 1752.067
01/06/2024 23:30 | 1883.501 | 2055.058 | 1711.944
02/06/2024 00:00 | 1844.339 | 2012.423 | 1676.255
02/06/2024 00:30 | 1813.08 | 1978.407 | 1647.753
02/06/2024 01:00 | 1792.263 | 1955.783 | 1628.742
02/06/2024 01:30 | 1774.91 | 1936.938 | 1612.882
02/06/2024 02:00 | 1764.985 | 1926.197 | 1603.773
02/06/2024 02:30 | 1757.567 | 1918.19 | 1596.943
02/06/2024 03:00 | 1752.143 | 1912.36 | 1591.926
02/06/2024 03:30 | 1752.877 | 1913.251 | 1592.503
02/06/2024 04:00 | 1765.496 | 1927.114 | 1603.878
02/06/2024 04:30 | 1789.417 | 1953.316 | 1625.517
02/06/2024 05:00 | 1826.204 | 1993.566 | 1658.842
02/06/2024 05:30 | 1882.817 | 2055.463 | 1710.17
02/06/2024 06:00 | 1944.108 | 2122.473 | 1765.742
02/06/2024 06:30 | 2000.617 | 2184.269 | 1816.965
02/06/2024 07:00 | 2026.542 | 2212.677 | 1840.407
02/06/2024 07:30 | 1981.578 | 2163.684 | 1799.471
02/06/2024 08:00 | 1912.617 | 2088.484 | 1736.751
02/06/2024 08:30 | 1809.759 | 1976.26 | 1643.258
02/06/2024 09:00 | 1674.894 | 1829.072 | 1520.715
02/06/2024 09:30 | 1533.004 | 1674.199 | 1391.809
02/06/2024 10:00 | 1462.453 | 1597.225 | 1327.681
02/06/2024 10:30 | 1560.614 | 1704.511 | 1416.716
02/06/2024 11:00 | 1548.226 | 1691.06 | 1405.392
02/06/2024 11:30 | 1396.31 | 1525.2 | 1267.42
02/06/2024 12:00 | 1352.725 | 1477.661 | 1227.789
02/06/2024 12:30 | 1482.046 | 1619.002 | 1345.091
02/06/2024 13:00 | 1599.524 | 1747.417 | 1451.632
02/06/2024 13:30 | 1748.248 | 1909.981 | 1586.515
02/06/2024 14:00 | 1917.49 | 2094.978 | 1740.003
02/06/2024 14:30 | 1999.85 | 2185.063 | 1814.637
02/06/2024 15:00 | 2086.111 | 2279.419 | 1892.803
02/06/2024 15:30 | 2187.508 | 2390.324 | 1984.693
02/06/2024 16:00 | 2334.254 | 2550.794 | 2117.714
02/06/2024 16:30 | 2491.674 | 2722.945 | 2260.404
02/06/2024 17:00 | 2605.625 | 2847.605 | 2363.645
02/06/2024 17:30 | 2634.701 | 2879.515 | 2389.886
02/06/2024 18:00 | 2579.721 | 2819.559 | 2339.884
02/06/2024 18:30 | 2524.808 | 2759.668 | 2289.947
02/06/2024 19:00 | 2483.994 | 2715.185 | 2252.803
02/06/2024 19:30 | 2426.596 | 2652.568 | 2200.623
02/06/2024 20:00 | 2356.708 | 2576.292 | 2137.124
02/06/2024 20:30 | 2283.089 | 2495.93 | 2070.247
02/06/2024 21:00 | 2204.309 | 2409.918 | 1998.7
02/06/2024 21:30 | 2113.859 | 2311.139 | 1916.578
02/06/2024 22:00 | 2024.031 | 2213.032 | 1835.031
02/06/2024 22:30 | 1952.638 | 2135.072 | 1770.205
02/06/2024 23:00 | 1898.381 | 2075.842 | 1720.92
02/06/2024 23:30 | 1853.115 | 2028.693 | 1677.537
03/06/2024 00:00 | 1810.341 | 1986.411 | 1634.27
03/06/2024 00:30 | 1779.399 | 1952.446 | 1606.351
03/06/2024 01:00 | 1759.178 | 1930.596 | 1587.76
03/06/2024 01:30 | 1734.579 | 1903.933 | 1565.225
03/06/2024 02:00 | 1721.873 | 1890.316 | 1553.429
03/06/2024 02:30 | 1722.291 | 1891.105 | 1553.477
03/06/2024 03:00 | 1724.852 | 1894.248 | 1555.456
03/06/2024 03:30 | 1727.394 | 1897.371 | 1557.417
03/06/2024 04:00 | 1734.244 | 1905.228 | 1563.261
03/06/2024 04:30 | 1736.754 | 1908.318 | 1565.191
03/06/2024 05:00 | 1758.338 | 1932.371 | 1584.306
03/06/2024 05:30 | 1794.942 | 1972.942 | 1616.943
03/06/2024 06:00 | 1815.741 | 1996.151 | 1635.33
03/06/2024 06:30 | 1830.645 | 2012.887 | 1648.403
03/06/2024 07:00 | 1847.124 | 2031.36 | 1662.887
03/06/2024 07:30 | 1862.716 | 2048.96 | 1676.472
03/06/2024 08:00 | 1856.769 | 2043.057 | 1670.481
03/06/2024 08:30 | 1771.777 | 1950.132 | 1593.422
03/06/2024 09:00 | 1671.396 | 1840.206 | 1502.585
03/06/2024 09:30 | 1598.936 | 1760.964 | 1436.908
03/06/2024 10:00 | 1493.149 | 1644.958 | 1341.34
03/06/2024 10:30 | 1478.447 | 1629.256 | 1327.637
03/06/2024 11:00 | 1530.039 | 1686.625 | 1373.453
03/06/2024 11:30 | 1630.98 | 1798.443 | 1463.517
03/06/2024 12:00 | 1631.87 | 1799.971 | 1463.769
03/06/2024 12:30 | 1546.289 | 1706.093 | 1386.485
03/06/2024 13:00 | 1547.825 | 1708.307 | 1387.343
03/06/2024 13:30 | 1565.761 | 1728.628 | 1402.895
03/06/2024 14:00 | 1680.52 | 1855.887 | 1505.153
03/06/2024 14:30 | 1847.96 | 2041.419 | 1654.501
03/06/2024 15:00 | 2009.512 | 2220.558 | 1798.467
03/06/2024 15:30 | 2217.05 | 2450.635 | 1983.465
03/06/2024 16:00 | 2402.194 | 2656.092 | 2148.297
03/06/2024 16:30 | 2590.816 | 2865.519 | 2316.114
03/06/2024 17:00 | 2704.161 | 2991.788 | 2416.534
03/06/2024 17:30 | 2717.485 | 3007.439 | 2427.53
03/06/2024 18:00 | 2661.191 | 2946.032 | 2376.35
03/06/2024 18:30 | 2586.355 | 2864.053 | 2308.657
03/06/2024 19:00 | 2505.974 | 2775.882 | 2236.067
03/06/2024 19:30 | 2437.084 | 2700.389 | 2173.779
03/06/2024 20:00 | 2342.782 | 2596.684 | 2088.88
03/06/2024 20:30 | 2255.173 | 2500.336 | 2010.009
03/06/2024 21:00 | 2180.227 | 2417.973 | 1942.48
03/06/2024 21:30 | 2093.749 | 2322.767 | 1864.73
03/06/2024 22:00 | 2007.664 | 2227.939 | 1787.388
03/06/2024 22:30 | 1935.981 | 2149.041 | 1722.921
03/06/2024 23:00 | 1879.033 | 2086.456 | 1671.61
03/06/2024 23:30 | 1832.601 | 2035.513 | 1629.69
04/06/2024 00:00 | 1787.515 | 1986.034 | 1588.996
04/06/2024 00:30 | 1754.455 | 1949.891 | 1559.02
04/06/2024 01:00 | 1737.715 | 1931.868 | 1543.561
04/06/2024 01:30 | 1730.738 | 1924.693 | 1536.784
04/06/2024 02:00 | 1727.742 | 1921.94 | 1533.545
04/06/2024 02:30 | 1730.628 | 1925.73 | 1535.525
04/06/2024 03:00 | 1737.526 | 1933.989 | 1541.063
04/06/2024 03:30 | 1754.434 | 1953.397 | 1555.472
04/06/2024 04:00 | 1793.879 | 1997.916 | 1589.841
04/06/2024 04:30 | 1869.179 | 2082.408 | 1655.95
04/06/2024 05:00 | 1986.218 | 2213.464 | 1758.972
04/06/2024 05:30 | 2150.242 | 2396.976 | 1903.509
04/06/2024 06:00 | 2321.353 | 2588.5 | 2054.207
04/06/2024 06:30 | 2448.086 | 2730.638 | 2165.535
04/06/2024 07:00 | 2481.251 | 2768.462 | 2194.039
04/06/2024 07:30 | 2370.563 | 2645.757 | 2095.369