## ST-PASA
Dispatch Interval | Forecast Reference | Forecast High | Forecast Low | Scenario Heading Definitions
29/05/2024 08:00 | 2481.814 | 2515.765 | 2447.862
29/05/2024 08:30 | 2346.429 | 2384.445 | 2308.413 | Forecast Operational Demand : | AEMOs forecast of Low / Referece (central) /High Operational Demand from the WEMDE Week-Ahead Schedule
29/05/2024 09:00 | 2201.81 | 2243.035 | 2160.584 | Energy Shortage : | Dispatch Interval where the Forecast Operational Demand is unable to be met by available generation
29/05/2024 09:30 | 2086.746 | 2131.079 | 2042.413 | Regulation Raise Shortage : | Dispatch Interval where the Regulation Raise is unable to be meet the forecast ESS requirement
29/05/2024 10:00 | 2022.58 | 2070.649 | 1974.51 | Regulation Lower Shortage : | Dispatch Interval where the Regulation Lower is unable to be meet the forecast ESS requirement
29/05/2024 10:30 | 1979.415 | 2030.23 | 1928.6 | Contingency Raise Shortage : | Dispatch Interval where the Contingency Raise is unable to be meet the forecast ESS requirement
29/05/2024 11:00 | 1969.523 | 2021.433 | 1917.614 | Contingency Lower Shortage : | Dispatch Interval where the Contingency Lower is unable to be meet the forecast ESS requirement
29/05/2024 11:30 | 2012.267 | 2066.893 | 1957.641 | RoCoF Shortage : | Dispatch Interval where the RoCoF requirement is below 7300MW/s
29/05/2024 12:00 | 2067.967 | 2125.738 | 2010.196 | Limit 1 Margin: | The Disatch Interval limit where a service is approaching a shortfall
29/05/2024 12:30 | 2129.34 | 2190.507 | 2068.172 | Limit 2 Margin: | The Disatch Interval limit where Energy Shortage or ESS shortfall is belwo forecast requirements
29/05/2024 13:00 | 2177.789 | 2242.068 | 2113.51 | Table Contents: | Any interval where a limit 1 or Limit 2 violation is observed the table will indicate which Limit and which interval by pacing a date-time in the corresponding cell (As Forecast at 11AM on the trading day the ST PASA report is published)
29/05/2024 13:30 | 2187.75 | 2254.051 | 2121.448
29/05/2024 14:00 | 2213.111 | 2281.929 | 2144.293 | Summary view - for each schedule horizon (dispatch, week-ahead)
29/05/2024 14:30 | 2274.713 | 2347.243 | 2202.183
29/05/2024 15:00 | 2394.46 | 2472.7 | 2318.395 |  | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin | L1 Margin | L2 Margin
29/05/2024 15:30 | 2559.448 | 2647.279 | 2475.834 |  | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MW | 0MW | 100MWs | 0MWs
29/05/2024 16:00 | 2736.232 | 2831.818 | 2644.236 | Scenario | Violations
29/05/2024 16:30 | 2907.406 | 3010.73 | 2806.855 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
29/05/2024 17:00 | 3051.607 | 3161.793 | 2943.03 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
29/05/2024 17:30 | 3098.234 | 3211.974 | 2985.013 | Reference Scenario | 0 | 0 | 0 | 0 | 2 | 1 | 0 | 0 | 4 | 4 | 0 | 1
29/05/2024 18:00 | 3045.351 | 3159.361 | 2931.477 | High Demand Scenario | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0
29/05/2024 18:30 | 2969.844 | 3082.874 | 2857.244 | Low Demand Scenario | 0 | 0 | 0 | 0 | 4 | 4 | 0 | 0 | 6 | 6 | 0 | 2
29/05/2024 19:00 | 2881.868 | 2992.241 | 2772.5
29/05/2024 19:30 | 2801.989 | 2909.837 | 2695.222 | Detail view - Reference Load Scenario | [12 empty] | Detail view - High Load Scenario | [11 empty] | Detail view - Low Load Scenario
29/05/2024 20:00 | 2702.834 | 2807.38 | 2599.429
29/05/2024 20:30 | 2586.873 | 2687.357 | 2487.442 |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage |  | Energy Shortage |  | Regulation Raise Shortage |  | Regulation Lower Shortage |  | Contingency Raise Shortage |  | Contingency Lower Shortage |  | RoCoF Shortage
29/05/2024 21:00 | 2454.055 | 2549.772 | 2359.281 |  | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2 | Limit 1 | Limit 2
29/05/2024 21:30 | 2321.089 | 2411.955 | 2230.994 | [5 empty] | 01/06/2024 11:30 | 01/06/2024 11:30 |  |  | 01/06/2024 11:00 | 01/06/2024 11:00 |  | 04/06/2024 14:00 | [8 empty] | 01/06/2024 11:30 | 01/06/2024 11:30 | [6 empty] | 01/06/2024 11:00 | 01/06/2024 11:00 |  |  | 01/06/2024 10:30 | 01/06/2024 10:30 |  | 04/06/2024 09:30
29/05/2024 22:00 | 2200.301 | 2286.764 | 2114.469 | [5 empty] | 01/06/2024 12:00 |  |  |  | 01/06/2024 11:30 | 01/06/2024 11:30 | [10 empty] | 01/06/2024 12:00 | 01/06/2024 12:00 | [6 empty] | 01/06/2024 11:30 | 01/06/2024 11:30 |  |  | 01/06/2024 11:00 | 01/06/2024 11:00 |  | 04/06/2024 14:00
29/05/2024 22:30 | 2100.77 | 2183.369 | 2018.171 | [9 empty] | 01/06/2024 12:00 | 01/06/2024 12:00 | [18 empty] | 01/06/2024 12:00 | 01/06/2024 12:00 |  |  | 01/06/2024 11:30 | 01/06/2024 11:30
29/05/2024 23:00 | 2023.96 | 2103.887 | 1944.034 | [9 empty] | 01/06/2024 12:30 | 01/06/2024 12:30 | [18 empty] | 01/06/2024 12:30 | 01/06/2024 12:30 |  |  | 01/06/2024 12:00 | 01/06/2024 12:00
29/05/2024 23:30 | 1961.091 | 2038.871 | 1883.311 | [33 empty] | 01/06/2024 12:30 | 01/06/2024 12:30
30/05/2024 00:00 | 1909.192 | 1985.241 | 1833.143 | [33 empty] | 01/06/2024 13:00 | 01/06/2024 13:00
30/05/2024 00:30 | 1871.512 | 1946.381 | 1796.642
30/05/2024 01:00 | 1847.109 | 1921.319 | 1772.9
30/05/2024 01:30 | 1830.744 | 1904.61 | 1756.877
30/05/2024 02:00 | 1823.065 | 1896.934 | 1749.196
30/05/2024 02:30 | 1826.405 | 1900.722 | 1752.087
30/05/2024 03:00 | 1833.837 | 1908.772 | 1758.903
30/05/2024 03:30 | 1852.576 | 1928.594 | 1776.557
30/05/2024 04:00 | 1893.909 | 1971.948 | 1815.87
30/05/2024 04:30 | 1965.131 | 2046.442 | 1883.821
30/05/2024 05:00 | 2068.648 | 2154.597 | 1982.699
30/05/2024 05:30 | 2216.12 | 2308.576 | 2123.664
30/05/2024 06:00 | 2391.662 | 2491.852 | 2291.472
30/05/2024 06:30 | 2540.974 | 2647.668 | 2434.279
30/05/2024 07:00 | 2614.083 | 2723.726 | 2504.441
30/05/2024 07:30 | 2559.676 | 2666.948 | 2452.404
30/05/2024 08:00 | 2486.584 | 2590.708 | 2382.46
30/05/2024 08:30 | 2416.489 | 2517.595 | 2315.384
30/05/2024 09:00 | 2306.946 | 2403.389 | 2210.503
30/05/2024 09:30 | 2146.816 | 2236.491 | 2057.141
30/05/2024 10:00 | 2044.861 | 2130.207 | 1959.515
30/05/2024 10:30 | 2071.112 | 2157.482 | 1984.741
30/05/2024 11:00 | 2068.905 | 2155.112 | 1982.697
30/05/2024 11:30 | 2006.746 | 2090.294 | 1923.197
30/05/2024 12:00 | 2005.967 | 2089.414 | 1922.519
30/05/2024 12:30 | 2079.064 | 2165.48 | 1992.647
30/05/2024 13:00 | 2127.298 | 2215.646 | 2038.95
30/05/2024 13:30 | 2215.621 | 2307.561 | 2123.68
30/05/2024 14:00 | 2323.406 | 2419.74 | 2227.073
30/05/2024 14:30 | 2382.631 | 2481.338 | 2283.924
30/05/2024 15:00 | 2444.022 | 2545.189 | 2342.855
30/05/2024 15:30 | 2519.685 | 2623.897 | 2415.473
30/05/2024 16:00 | 2623.778 | 2732.205 | 2515.351
30/05/2024 16:30 | 2752.258 | 2865.9 | 2638.616
30/05/2024 17:00 | 2880.94 | 2999.797 | 2762.084
30/05/2024 17:30 | 2925.835 | 3046.444 | 2805.227
30/05/2024 18:00 | 2873.782 | 2992.146 | 2755.418
30/05/2024 18:30 | 2811.702 | 2927.412 | 2695.991
30/05/2024 19:00 | 2748.863 | 2861.893 | 2635.833
30/05/2024 19:30 | 2680.609 | 2790.741 | 2570.478
30/05/2024 20:00 | 2592.122 | 2698.529 | 2485.715
30/05/2024 20:30 | 2490.394 | 2592.54 | 2388.249
30/05/2024 21:00 | 2374.113 | 2471.408 | 2276.818
30/05/2024 21:30 | 2261.551 | 2354.155 | 2168.947
30/05/2024 22:00 | 2158.733 | 2247.052 | 2070.413
30/05/2024 22:30 | 2068.56 | 2153.119 | 1984
30/05/2024 23:00 | 1996.349 | 2077.888 | 1914.81
30/05/2024 23:30 | 1938.386 | 2029.594 | 1847.177
31/05/2024 00:00 | 1892.85 | 2005.392 | 1780.308
31/05/2024 00:30 | 1860.035 | 1968.973 | 1751.097
31/05/2024 01:00 | 1838.166 | 1946.126 | 1730.206
31/05/2024 01:30 | 1824.085 | 1931.519 | 1716.65
31/05/2024 02:00 | 1817.402 | 1924.742 | 1710.061
31/05/2024 02:30 | 1821.183 | 1929.048 | 1713.318
31/05/2024 03:00 | 1827.188 | 1935.709 | 1718.665
31/05/2024 03:30 | 1845.45 | 1954.686 | 1735.539
31/05/2024 04:00 | 1886.774 | 1998.771 | 1774.09
31/05/2024 04:30 | 1957.979 | 2074.529 | 1840.719
31/05/2024 05:00 | 2062.028 | 2185.114 | 1938.196
31/05/2024 05:30 | 2205.581 | 2337.602 | 2072.764
31/05/2024 06:00 | 2369.454 | 2511.676 | 2226.378
31/05/2024 06:30 | 2508.477 | 2659.456 | 2356.544
31/05/2024 07:00 | 2575.878 | 2731.34 | 2419.292
31/05/2024 07:30 | 2500.068 | 2651.448 | 2347.544
31/05/2024 08:00 | 2357.771 | 2501.102 | 2214.447
31/05/2024 08:30 | 2212.275 | 2347.241 | 2077.309
31/05/2024 09:00 | 2085.883 | 2213.594 | 1958.172
31/05/2024 09:30 | 1986.832 | 2108.912 | 1864.751
31/05/2024 10:00 | 1875.389 | 1991.032 | 1759.746
31/05/2024 10:30 | 1722.52 | 1829.113 | 1615.927
31/05/2024 11:00 | 1651.685 | 1754.255 | 1549.114
31/05/2024 11:30 | 1639.567 | 1741.743 | 1537.391
31/05/2024 12:00 | 1629.654 | 1731.568 | 1527.74
31/05/2024 12:30 | 1639.458 | 1742.343 | 1536.572
31/05/2024 13:00 | 1655.235 | 1759.472 | 1550.998
31/05/2024 13:30 | 1722.12 | 1830.945 | 1613.294
31/05/2024 14:00 | 1828.807 | 1944.774 | 1712.84
31/05/2024 14:30 | 1950.773 | 2074.9 | 1826.646
31/05/2024 15:00 | 2078.046 | 2210.725 | 1945.366
31/05/2024 15:30 | 2231.984 | 2374.98 | 2088.988
31/05/2024 16:00 | 2395.553 | 2549.551 | 2241.554
31/05/2024 16:30 | 2550.915 | 2715.458 | 2386.371
31/05/2024 17:00 | 2678.389 | 2851.74 | 2505.038
31/05/2024 17:30 | 2719.89 | 2896.522 | 2543.259
31/05/2024 18:00 | 2678.592 | 2853.126 | 2504.057
31/05/2024 18:30 | 2622.783 | 2794.254 | 2451.312
31/05/2024 19:00 | 2561.236 | 2729.243 | 2393.229
31/05/2024 19:30 | 2503.83 | 2668.619 | 2339.042
31/05/2024 20:00 | 2434.792 | 2595.569 | 2274.015
31/05/2024 20:30 | 2363.181 | 2519.746 | 2206.617
31/05/2024 21:00 | 2281.498 | 2433.149 | 2129.847
31/05/2024 21:30 | 2197.567 | 2344.12 | 2051.015
31/05/2024 22:00 | 2112.76 | 2254.118 | 1971.401
31/05/2024 22:30 | 2037.039 | 2173.776 | 1900.302
31/05/2024 23:00 | 1971.344 | 2104.102 | 1838.586
31/05/2024 23:30 | 1918.263 | 2052.434 | 1784.091
01/06/2024 00:00 | 1872.24 | 2012.447 | 1732.033
01/06/2024 00:30 | 1837.172 | 1974.446 | 1699.897
01/06/2024 01:00 | 1815.495 | 1951.584 | 1679.406
01/06/2024 01:30 | 1800.067 | 1935.43 | 1664.705
01/06/2024 02:00 | 1789.984 | 1925.015 | 1654.952
01/06/2024 02:30 | 1784.528 | 1919.575 | 1649.482
01/06/2024 03:00 | 1783.4 | 1918.787 | 1648.013
01/06/2024 03:30 | 1786.642 | 1922.702 | 1650.582
01/06/2024 04:00 | 1804.171 | 1941.997 | 1666.346
01/06/2024 04:30 | 1839.241 | 1980.185 | 1698.297
01/06/2024 05:00 | 1899.073 | 2045.056 | 1753.091
01/06/2024 05:30 | 1986.041 | 2139.183 | 1832.898
01/06/2024 06:00 | 2072.31 | 2232.599 | 1912.02
01/06/2024 06:30 | 2146.49 | 2313.03 | 1979.95
01/06/2024 07:00 | 2171.992 | 2341.03 | 2002.955
01/06/2024 07:30 | 2072.94 | 2234.764 | 1911.116
01/06/2024 08:00 | 1905.246 | 2054.434 | 1756.058
01/06/2024 08:30 | 1745.18 | 1882.252 | 1608.109
01/06/2024 09:00 | 1587.292 | 1712.341 | 1462.242
01/06/2024 09:30 | 1453.656 | 1568.525 | 1338.788
01/06/2024 10:00 | 1329.853 | 1435.257 | 1224.45
01/06/2024 10:30 | 1243.386 | 1342.233 | 1144.539
01/06/2024 11:00 | 1184.271 | 1278.701 | 1089.84
01/06/2024 11:30 | 1139.259 | 1230.373 | 1048.146
01/06/2024 12:00 | 1123.636 | 1213.768 | 1033.504
01/06/2024 12:30 | 1152.846 | 1245.597 | 1060.095
01/06/2024 13:00 | 1205.187 | 1302.437 | 1107.938
01/06/2024 13:30 | 1314.228 | 1420.59 | 1207.865
01/06/2024 14:00 | 1448.714 | 1566.307 | 1331.122
01/06/2024 14:30 | 1598.499 | 1728.631 | 1468.367
01/06/2024 15:00 | 1788.345 | 1934.359 | 1642.33
01/06/2024 15:30 | 2001.194 | 2165.066 | 1837.323
01/06/2024 16:00 | 2200.006 | 2380.684 | 2019.329
01/06/2024 16:30 | 2372.645 | 2568.067 | 2177.223
01/06/2024 17:00 | 2499.951 | 2706.455 | 2293.446
01/06/2024 17:30 | 2547.551 | 2758.596 | 2336.505
01/06/2024 18:00 | 2505.989 | 2714.189 | 2297.788
01/06/2024 18:30 | 2452.621 | 2656.973 | 2248.268
01/06/2024 19:00 | 2402.42 | 2603.164 | 2201.677
01/06/2024 19:30 | 2350.539 | 2547.509 | 2153.568
01/06/2024 20:00 | 2293.554 | 2486.297 | 2100.812
01/06/2024 20:30 | 2242.763 | 2431.773 | 2053.753
01/06/2024 21:00 | 2187.654 | 2372.542 | 2002.766
01/06/2024 21:30 | 2116.497 | 2295.877 | 1937.117
01/06/2024 22:00 | 2040.364 | 2213.779 | 1866.949
01/06/2024 22:30 | 1975.44 | 2143.809 | 1807.071
01/06/2024 23:00 | 1924.463 | 2088.947 | 1759.979
01/06/2024 23:30 | 1884.582 | 2046.108 | 1723.057
02/06/2024 00:00 | 1849.279 | 2008.22 | 1690.338
02/06/2024 00:30 | 1819.381 | 1976.187 | 1662.574
02/06/2024 01:00 | 1798.316 | 1953.736 | 1642.895
02/06/2024 01:30 | 1780.064 | 1934.333 | 1625.796
02/06/2024 02:00 | 1770.268 | 1924.11 | 1616.426
02/06/2024 02:30 | 1762.673 | 1916.276 | 1609.07
02/06/2024 03:00 | 1757.313 | 1910.869 | 1603.758
02/06/2024 03:30 | 1757.663 | 1911.669 | 1603.657
02/06/2024 04:00 | 1770.282 | 1925.817 | 1614.747
02/06/2024 04:30 | 1796.667 | 1954.948 | 1638.385
02/06/2024 05:00 | 1799.969 | 1958.972 | 1640.966
02/06/2024 05:30 | 1810.307 | 1970.655 | 1649.958
02/06/2024 06:00 | 1878.479 | 2045.315 | 1711.644
02/06/2024 06:30 | 1937.228 | 2109.744 | 1764.712
02/06/2024 07:00 | 1992.859 | 2170.805 | 1814.913
02/06/2024 07:30 | 2023.344 | 2204.36 | 1842.327
02/06/2024 08:00 | 2041.053 | 2223.734 | 1858.371
02/06/2024 08:30 | 2049.895 | 2233.472 | 1866.318
02/06/2024 09:00 | 2038.22 | 2220.855 | 1855.584
02/06/2024 09:30 | 1974.831 | 2151.887 | 1797.774
02/06/2024 10:00 | 1889.97 | 2059.514 | 1720.425
02/06/2024 10:30 | 1820.122 | 1983.493 | 1656.751
02/06/2024 11:00 | 1695.738 | 1848.031 | 1543.445
02/06/2024 11:30 | 1527.078 | 1664.302 | 1389.854
02/06/2024 12:00 | 1470.68 | 1602.911 | 1338.449
02/06/2024 12:30 | 1596.939 | 1740.604 | 1453.275
02/06/2024 13:00 | 1674.074 | 1824.763 | 1523.385
02/06/2024 13:30 | 1695.905 | 1848.645 | 1543.164
02/06/2024 14:00 | 1800.801 | 1963.081 | 1638.521
02/06/2024 14:30 | 1962.671 | 2139.638 | 1785.704
02/06/2024 15:00 | 2099.649 | 2289.073 | 1910.224
02/06/2024 15:30 | 2223.443 | 2424.149 | 2022.737
02/06/2024 16:00 | 2380.742 | 2595.769 | 2165.715
02/06/2024 16:30 | 2554.117 | 2784.933 | 2323.301
02/06/2024 17:00 | 2683.166 | 2925.781 | 2440.551
02/06/2024 17:30 | 2724.662 | 2971.168 | 2478.156
02/06/2024 18:00 | 2677.914 | 2920.327 | 2435.501
02/06/2024 18:30 | 2614.18 | 2850.957 | 2377.403
02/06/2024 19:00 | 2558.046 | 2789.869 | 2326.223
02/06/2024 19:30 | 2499 | 2725.6 | 2272.401
02/06/2024 20:00 | 2425.26 | 2645.297 | 2205.223
02/06/2024 20:30 | 2346.27 | 2559.259 | 2133.28
02/06/2024 21:00 | 2260.717 | 2466.055 | 2055.378
02/06/2024 21:30 | 2163.7 | 2360.337 | 1967.063
02/06/2024 22:00 | 2066.907 | 2254.853 | 1878.961
02/06/2024 22:30 | 1987.738 | 2168.586 | 1806.89
02/06/2024 23:00 | 1926.798 | 2102.2 | 1751.396
02/06/2024 23:30 | 1876.136 | 2044.795 | 1707.476
03/06/2024 00:00 | 1827.46 | 1987.633 | 1667.286
03/06/2024 00:30 | 1792.601 | 1950.441 | 1634.761
03/06/2024 01:00 | 1770.577 | 1926.818 | 1614.337
03/06/2024 01:30 | 1745.829 | 1900.22 | 1591.438
03/06/2024 02:00 | 1732.951 | 1886.535 | 1579.367
03/06/2024 02:30 | 1733.467 | 1887.429 | 1579.504
03/06/2024 03:00 | 1735.241 | 1889.693 | 1580.789
03/06/2024 03:30 | 1737.685 | 1892.688 | 1582.682
03/06/2024 04:00 | 1746.036 | 1902.119 | 1589.953
03/06/2024 04:30 | 1751.549 | 1908.459 | 1594.638
03/06/2024 05:00 | 1771.357 | 1930.382 | 1612.332
03/06/2024 05:30 | 1808.115 | 1970.786 | 1645.443
03/06/2024 06:00 | 1835.85 | 2001.369 | 1670.332
03/06/2024 06:30 | 1855.945 | 2023.631 | 1688.259
03/06/2024 07:00 | 1880.834 | 2051.13 | 1710.539
03/06/2024 07:30 | 1898.826 | 2071.115 | 1726.538
03/06/2024 08:00 | 1908.895 | 2082.463 | 1735.327
03/06/2024 08:30 | 1829.707 | 1996.425 | 1662.988
03/06/2024 09:00 | 1692.989 | 1847.574 | 1538.403
03/06/2024 09:30 | 1595.935 | 1741.964 | 1449.905
03/06/2024 10:00 | 1455.163 | 1588.59 | 1321.735
03/06/2024 10:30 | 1391.854 | 1519.743 | 1263.964
03/06/2024 11:00 | 1377.13 | 1503.931 | 1250.33
03/06/2024 11:30 | 1372.081 | 1498.679 | 1245.483
03/06/2024 12:00 | 1371.732 | 1498.561 | 1244.903
03/06/2024 12:30 | 1446.133 | 1580.118 | 1312.147
03/06/2024 13:00 | 1539.096 | 1681.99 | 1396.203
03/06/2024 13:30 | 1552.807 | 1697.271 | 1408.343
03/06/2024 14:00 | 1677.085 | 1833.433 | 1520.738
03/06/2024 14:30 | 1848.665 | 2021.363 | 1675.968
03/06/2024 15:00 | 2017.07 | 2205.886 | 1828.254
03/06/2024 15:30 | 2225.458 | 2434.208 | 2016.708
03/06/2024 16:00 | 2413.107 | 2639.921 | 2186.293
03/06/2024 16:30 | 2614.523 | 2860.77 | 2368.277
03/06/2024 17:00 | 2739.459 | 2997.998 | 2480.921
03/06/2024 17:30 | 2760.559 | 3021.617 | 2499.5
03/06/2024 18:00 | 2708.748 | 2965.426 | 2452.069
03/06/2024 18:30 | 2634.703 | 2884.87 | 2384.536
03/06/2024 19:00 | 2555.797 | 2798.962 | 2312.633
03/06/2024 19:30 | 2486.356 | 2723.391 | 2249.322
03/06/2024 20:00 | 2388.605 | 2616.779 | 2160.432
03/06/2024 20:30 | 2296.55 | 2516.37 | 2076.73
03/06/2024 21:00 | 2215.288 | 2427.754 | 2002.822
03/06/2024 21:30 | 2121.799 | 2325.706 | 1917.893
03/06/2024 22:00 | 2029.818 | 2225.274 | 1834.362
03/06/2024 22:30 | 1955.738 | 2144.436 | 1767.04
03/06/2024 23:00 | 1900.201 | 2083.905 | 1716.498
03/06/2024 23:30 | 1857.375 | 2037.294 | 1677.456
04/06/2024 00:00 | 1816.516 | 1992.825 | 1640.207
04/06/2024 00:30 | 1784.256 | 1957.776 | 1610.736
04/06/2024 01:00 | 1767.91 | 1940.179 | 1595.64
04/06/2024 01:30 | 1760.027 | 1931.866 | 1588.189
04/06/2024 02:00 | 1756.364 | 1928.181 | 1584.546
04/06/2024 02:30 | 1759.064 | 1931.483 | 1586.646
04/06/2024 03:00 | 1765.067 | 1938.413 | 1591.722
04/06/2024 03:30 | 1781.573 | 1956.881 | 1606.265
04/06/2024 04:00 | 1823.129 | 2002.876 | 1643.382
04/06/2024 04:30 | 1902.279 | 2090.194 | 1714.364
04/06/2024 05:00 | 2019.939 | 2219.864 | 1820.014
04/06/2024 05:30 | 2187.943 | 2404.915 | 1970.97
04/06/2024 06:00 | 2369.115 | 2604.508 | 2133.722
04/06/2024 06:30 | 2506.509 | 2756.034 | 2256.984
04/06/2024 07:00 | 2550.125 | 2804.481 | 2295.77
04/06/2024 07:30 | 2419.434 | 2661.341 | 2177.526
04/06/2024 08:00 | 2223.663 | 2446.761 | 2000.565
04/06/2024 08:30 | 2034.341 | 2239.127 | 1829.556
04/06/2024 09:00 | 1863.103 | 2051.276 | 1674.93
04/06/2024 09:30 | 1723.912 | 1898.605 | 1549.219
04/06/2024 10:00 | 1588.09 | 1749.552 | 1426.628
04/06/2024 10:30 | 1483.655 | 1634.997 | 1332.314
04/06/2024 11:00 | 1417.229 | 1562.27 | 1272.188
04/06/2024 11:30 | 1392.3 | 1535.256 | 1249.344
04/06/2024 12:00 | 1384.706 | 1527.346 | 1242.065
04/06/2024 12:30 | 1403.132 | 1548.141 | 1258.123
04/06/2024 13:00 | 1451.373 | 1601.854 | 1300.891
04/06/2024 13:30 | 1560.67 | 1723.007 | 1398.334
04/06/2024 14:00 | 1690.803 | 1867.243 | 1514.363
04/06/2024 14:30 | 1838.836 | 2031.34 | 1646.332
04/06/2024 15:00 | 2039.416 | 2253.602 | 1825.229
04/06/2024 15:30 | 2260.766 | 2498.957 | 2022.575
04/06/2024 16:00 | 2461.461 | 2721.623 | 2201.3
04/06/2024 16:30 | 2643.781 | 2924.098 | 2363.463
04/06/2024 17:00 | 2791.245 | 3088.134 | 2494.355
04/06/2024 17:30 | 2851.289 | 3155.521 | 2547.057
04/06/2024 18:00 | 2814.465 | 3115.711 | 2513.219
04/06/2024 18:30 | 2742.717 | 3037.204 | 2448.231
04/06/2024 19:00 | 2667.646 | 2954.966 | 2380.325
04/06/2024 19:30 | 2594.387 | 2874.687 | 2314.087
04/06/2024 20:00 | 2505.974 | 2777.562 | 2234.385
04/06/2024 20:30 | 2411.872 | 2674.07 | 2149.673
04/06/2024 21:00 | 2306.338 | 2557.836 | 2054.839
04/06/2024 21:30 | 2194.224 | 2434.233 | 1954.215
04/06/2024 22:00 | 2089.09 | 2318.3 | 1859.881
04/06/2024 22:30 | 2007.384 | 2228.302 | 1786.466
04/06/2024 23:00 | 1947.131 | 2162.071 | 1732.191
04/06/2024 23:30 | 1901.363 | 2111.888 | 1690.838
05/06/2024 00:00 | 1866.25 | 2073.513 | 1658.987
05/06/2024 00:30 | 1839.637 | 2044.562 | 1634.713
05/06/2024 01:00 | 1823.28 | 2026.994 | 1619.567
05/06/2024 01:30 | 1811.101 | 2014.061 | 1608.141
05/06/2024 02:00 | 1805.102 | 2007.995 | 1602.209
05/06/2024 02:30 | 1804.919 | 2008.397 | 1601.441
05/06/2024 03:00 | 1809.385 | 2013.973 | 1604.797
05/06/2024 03:30 | 1824.093 | 2030.956 | 1617.231
05/06/2024 04:00 | 1867.241 | 2079.622 | 1654.859
05/06/2024 04:30 | 1947.537 | 2169.705 | 1725.37
05/06/2024 05:00 | 2058.067 | 2293.534 | 1822.6
05/06/2024 05:30 | 2213.079 | 2467.023 | 1959.135
05/06/2024 06:00 | 2396.708 | 2672.526 | 2120.889
05/06/2024 06:30 | 2540.876 | 2834.138 | 2247.615
05/06/2024 07:00 | 2591.212 | 2891.152 | 2291.272
05/06/2024 07:30 | 2497.774 | 2787.736 | 2207.813